## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-07-21 00:00:00 | 0 | 44.8821 | 3.6837 | 88.9436 | 3.1723 | 31.7387 | 0 | 221.538 | 25.34 | 963.573 | 67.2916 | 0.022169
2019-07-21 00:15:00 | 0 | 48.5815 | 3.1723 | 101.989 | 2.9167 | 54.2283 | 0 | 232.223 | 26.72 | 963.703 | 62.7917 | -0.26233
2019-07-21 00:30:00 | 0 | 48.7215 | 3.428 | 93.5051 | 3.6837 | 42.2967 | 0 | 230.953 | 26.65 | 963.686 | 62.5112 | -0.28081
2019-07-21 00:45:00 | 0 | 66.0462 | 2.4053 | 117.203 | 2.4053 | 45.8479 | 0 | 289.104 | 27.02 | 963.773 | 62.4404 | -0.26233
2019-07-21 01:00:00 | 0 | 131.411 | 0.37567 | 137.28 | 0 | 69.7939 | 0 | 304.533 | 27.67 | 963.68 | 57.5324 | -0.26233
2019-07-21 01:15:00 | 0 | 232.427 | 1.894 | 177.019 | 0 | 261.313 | 0 | 64.9025 | 27.53 | 963.651 | 61.3156 | -0.25125
2019-07-21 01:30:00 | 0 | 215.709 | 1.3827 | 276.819 | 1.127 | 255.473 | 0 | 53.9759 | 26.83 | 963.686 | 63.94 | -0.25125
2019-07-21 01:45:00 | 0 | 214.346 | 0 | 276.794 | 0 | 222.717 | 0 | 53.8055 | 26.71 | 963.985 | 63.7355 | -0.25125
2019-07-21 02:00:00 | 0 | 275.866 | 0 | 327.047 | 1.6383 | 20.7337 | 0 | 53.8299 | 26.28 | 963.573 | 69.8705 | -0.26233
2019-07-21 02:15:00 | 0 | 220.008 | 1.127 | 254.791 | 0 | 66.2944 | 0 | 53.8094 | 25.57 | 963.397 | 68.9552 | -0.26233
2019-07-21 02:30:00 | 0 | 210.095 | 2.4053 | 254.496 | 1.894 | 136.494 | 0 | 34.2207 | 26.41 | 963.721 | 64.3588 | -0.26233
2019-07-21 02:45:00 | 0 | 160.15 | 2.4053 | 220.37 | 0 | 136.492 | 0 | 351.015 | 26.1 | 963.425 | 66.1308 | -0.26972
2019-07-21 03:00:00 | 0 | 179.502 | 2.4053 | 226.849 | 1.127 | 161.905 | 0 | 11.1961 | 26.46 | 963.425 | 62.8595 | -0.26972
2019-07-21 03:15:00 | 0 | 180.884 | 1.894 | 227.816 | 0.75133 | 169.494 | 0 | 10.4169 | 26.91 | 963.276 | 60.8806 | -0.25125
2019-07-21 03:30:00 | 0 | 177.42 | 2.1497 | 227.073 | 1.127 | 169.486 | 0 | 8.1774 | 26.82 | 963.685 | 61.5252 | -0.25125
2019-07-21 03:45:00 | 0 | 181.648 | 2.9167 | 228.427 | 2.1497 | 169.48 | 0 | 11.2921 | 26.76 | 963.555 | 62.9887 | -0.25125
2019-07-21 04:00:00 | 0 | 195.565 | 1.6383 | 231.684 | 0 | 169.476 | 0 | 28.2299 | 26.68 | 963.52 | 65.8506 | -0.25125
2019-07-21 04:15:00 | 0 | 217.027 | 1.894 | 236.889 | 0 | 169.523 | 0 | 28.619 | 26.63 | 963.698 | 65.7818 | -0.26233
2019-07-21 04:30:00 | 0 | 216.498 | 2.4053 | 238.503 | 1.6383 | 169.528 | 0 | 28.6197 | 26.67 | 963.505 | 64.6929 | -0.25125
2019-07-21 04:45:00 | 0 | 212.796 | 2.1497 | 240.3 | 1.894 | 179.99 | 0 | 28.6194 | 26.7 | 963.797 | 62.1698 | -0.26233
2019-07-21 05:00:00 | 6.7333 | 208.944 | 2.9167 | 240.778 | 1.6383 | 210.452 | 0 | 38.3526 | 26.87 | 963.901 | 63.4629 | -0.25125
2019-07-21 05:15:00 | 4.946 | 206.802 | 2.9167 | 241.703 | 2.661 | 194.634 | 0.37567 | 36.5031 | 26.73 | 964.169 | 63.531 | -0.25125
2019-07-21 05:30:00 | 8.5207 | 216.877 | 2.9167 | 244.526 | 2.4053 | 192.834 | 0 | 39.5693 | 26.8 | 963.954 | 62.3381 | -0.26233
2019-07-21 05:45:00 | 2.0207 | 228.753 | 2.661 | 244.574 | 2.1497 | 202.47 | 0 | 56.6771 | 27.07 | 963.731 | 60.0205 | -0.26233
2019-07-21 06:00:00 | 0 | 237.708 | 2.4053 | 244.672 | 1.894 | 227 | 0 | 67.0683 | 27.28 | 964.318 | 59.1002 | -0.26233
2019-07-21 06:15:00 | 0 | 241.097 | 0.75133 | 244.604 | 0 | 268.838 | 0 | 66.8688 | 27.29 | 964.466 | 62.913 | -0.26233
2019-07-21 06:30:00 | 0 | 314.58 | 0 | 243.383 | 0 | 324.752 | 0 | 66.9651 | 27.03 | 964.338 | 68.4331 | -0.26233
2019-07-21 06:45:00 | 0 | 283.752 | 0.37567 | 246.333 | 0 | 325.156 | 0 | 94.5596 | 26.98 | 964.618 | 66.7122 | -0.26233
2019-07-21 07:00:00 | 0 | 267.355 | 1.127 | 246.503 | 0 | 292.339 | 0 | 92.443 | 28.21 | 964.765 | 60.8518 | -0.26233
2019-07-21 07:15:00 | 0 | 271.804 | 0 | 246.453 | 0 | 288.682 | 0 | 93.3413 | 27.82 | 965.358 | 58.3823 | -0.26233
2019-07-21 07:30:00 | 0 | 294.841 | 0.75133 | 246.534 | 1.3827 | 292.944 | 0 | 117.119 | 29.09 | 965.506 | 60.1839 | -0.26233
2019-07-21 07:45:00 | 0 | 323.732 | 1.6383 | 246.729 | 1.3827 | 289.029 | 0 | 162.839 | 28.35 | 965.401 | 61.0014 | -0.26233
2019-07-21 08:00:00 | 0 | 287.837 | 1.6383 | 335.444 | 1.3827 | 276.067 | 0 | 134.921 | 27.47 | 965.391 | 59.9455 | -0.26233
2019-07-21 08:15:00 | 0 | 283.752 | 1.3827 | 4.6593 | 0 | 289.686 | 0 | 70.6218 | 28.25 | 965.899 | 56.267 | -0.26233
2019-07-21 08:30:00 | 0 | 275.555 | 1.127 | 330.158 | 0.75133 | 278.473 | 0 | 105.534 | 28.59 | 965.858 | 57.6921 | -0.26233
2019-07-21 08:45:00 | 0 | 275.869 | 1.127 | 316.478 | 0.75133 | 311.68 | 0 | 99.655 | 28.79 | 966.106 | 56.7962 | -0.25125
2019-07-21 09:00:00 | 0 | 252.64 | 0.75133 | 294.779 | 0.75133 | 259.447 | 0 | 107.26 | 29.09 | 965.574 | 58.6325 | -0.26233
2019-07-21 09:15:00 | 0 | 278.599 | 3.1723 | 318.038 | 1.6383 | 252.829 | 0 | 102.347 | 29.17 | 965.676 | 56.1117 | -0.26972
2019-07-21 09:30:00 | 0 | 279.474 | 1.6383 | 310.234 | 1.3827 | 293.939 | 0 | 94.9326 | 29.34 | 965.688 | 51.413 | -0.26603
2019-07-21 09:45:00 | 0 | 266.347 | 2.1497 | 315.486 | 2.4053 | 251.08 | 0 | 101.91 | 29.66 | 966.036 | 54.6818 | -0.24016
2019-07-21 10:00:00 | 0 | 302.816 | 2.1497 | 16.2075 | 2.1497 | 307.775 | 0 | 114.067 | 29.95 | 966.019 | 47.9407 | -0.25125
2019-07-21 10:15:00 | 0 | 310.105 | 3.1723 | 33.8235 | 2.4053 | 281.516 | 0 | 110.37 | 30.31 | 966.052 | 48.1444 | -0.26233
2019-07-21 10:30:00 | 0 | 306.313 | 3.6837 | 336.83 | 3.428 | 298.558 | 0 | 117.517 | 30.28 | 966.283 | 49.4723 | -0.25125
2019-07-21 10:45:00 | 0 | 309.4 | 2.661 | 9.4978 | 2.1497 | 288.639 | 0 | 157.046 | 30.86 | 965.987 | 48.0763 | -0.24016
2019-07-21 11:00:00 | 0 | 334.221 | 2.9167 | 9.8776 | 3.1723 | 325.615 | 0 | 144.794 | 30.86 | 965.712 | 48.1444 | -0.27342
2019-07-21 11:15:00 | 0 | 304.544 | 4.4507 | 2.3746 | 3.1723 | 284.803 | 0 | 133.419 | 31.2 | 966.245 | 49.1667 | 0.10346
2019-07-21 11:30:00 | 0 | 290.952 | 2.4053 | 336.786 | 3.428 | 334.468 | 0 | 116.23 | 31.25 | 966.041 | 49.2005 | 0.44338
2019-07-21 11:45:00 | 0 | 294.643 | 3.1723 | 332.92 | 3.1723 | 293.719 | 0 | 125.233 | 31.54 | 966.32 | 47.2288 | 0.30667
2019-07-21 12:00:00 | 0 | 302.314 | 3.428 | 19.8541 | 2.4053 | 291.907 | 0 | 125.502 | 31.76 | 965.827 | 44.8885 | 0.0073897
2019-07-21 12:15:00 | 0 | 315.001 | 5.9847 | 19.8541 | 4.7063 | 280.371 | 0 | 136.842 | 31.86 | 966.284 | 45.436 | 0.081287
2019-07-21 12:30:00 | 0 | 32.2954 | 1.894 | 19.3964 | 2.4053 | 318.503 | 0 | 214.322 | 32.14 | 966.059 | 41.0422 | -0.011085
2019-07-21 12:45:00 | 0 | 292.02 | 3.428 | 15.5253 | 3.1723 | 309.141 | 0 | 112.426 | 33.1 | 966.247 | 40.4632 | 1.1011
2019-07-21 13:00:00 | 0 | 293.358 | 3.9393 | 6.2157 | 2.4053 | 340.658 | 0 | 122.299 | 32.65 | 966.099 | 42.0981 | 1.659
2019-07-21 13:15:00 | 0 | 316.752 | 6.496 | 6.6247 | 5.729 | 274.34 | 1.007 | 131.857 | 32.99 | 966.247 | 38.624 | 2.4017
2019-07-21 13:30:00 | 0 | 82.7082 | 3.6837 | 16.2836 | 3.6837 | 313.98 | 0 | 196.812 | 33.63 | 965.951 | 38.9986 | 1.8474
2019-07-21 13:45:00 | 0 | 286.937 | 3.1723 | 317.934 | 3.6837 | 284.579 | 0 | 105.082 | 33 | 966.543 | 40.5654 | 0.73158
2019-07-21 14:00:00 | 0 | 4.9124 | 3.1723 | 32.2125 | 2.661 | 328.936 | 0 | 157.197 | 33.68 | 966.654 | 39.3052 | 0.69833
2019-07-21 14:15:00 | 0 | 330.687 | 3.9393 | 26.6191 | 4.195 | 315.755 | 0 | 126.336 | 33.83 | 966.751 | 38.2493 | 0.73897
2019-07-21 14:30:00 | 0 | 290.172 | 3.428 | 294.88 | 3.428 | 248.635 | 0 | 118.141 | 33.74 | 966.665 | 40.1567 | 0.38057
2019-07-21 14:45:00 | 0 | 312.15 | 3.6837 | 307.515 | 2.9167 | 264.424 | 0 | 108.07 | 33.63 | 966.292 | 40.8615 | 0.24016
2019-07-21 15:00:00 | 0 | 14.0273 | 3.9393 | 82.7855 | 1.6383 | 332.594 | 3.428 | 174.235 | 33.65 | 966.124 | 39.9049 | 0.30667
2019-07-21 15:15:00 | 0 | 40.9389 | 2.661 | 110.304 | 2.9167 | 28.419 | 0 | 227.814 | 33.88 | 965.818 | 40.1771 | -0.0073897
2019-07-21 15:30:00 | 0 | 293.477 | 4.195 | 19.7569 | 4.195 | 294.887 | 0 | 107.696 | 33.89 | 965.955 | 40.4154 | 0.52467
2019-07-21 15:45:00 | 0 | 298.825 | 3.428 | 12.1234 | 3.1723 | 322.187 | 0 | 130.013 | 33.44 | 965.659 | 43.2074 | 0.3584
2019-07-21 16:00:00 | 0 | 298.193 | 3.6837 | 6.4498 | 1.3827 | 312.852 | 0 | 132.176 | 33.41 | 965.325 | 43.0371 | 1.0272
2019-07-21 16:15:00 | 0 | 340.35 | 2.661 | 28.5728 | 4.4507 | 296.396 | 0 | 161.131 | 33.82 | 965.565 | 43.5822 | 1.5149
2019-07-21 16:30:00 | 0 | 20.7126 | 2.9167 | 57.4047 | 2.1497 | 4.1814 | 0 | 205.521 | 33.48 | 965.706 | 42.0838 | 0.77961
2019-07-21 16:45:00 | 0 | 332.811 | 3.9393 | 4.733 | 2.661 | 283.85 | 0 | 137.476 | 33.97 | 965.511 | 43.0371 | 0.55053
2019-07-21 17:00:00 | 0 | 301.407 | 2.661 | 5.8997 | 2.1497 | 340.183 | 0 | 127.268 | 32.99 | 965.087 | 44.8084 | 0.69833
2019-07-21 17:15:00 | 0 | 26.2594 | 3.428 | 72.1997 | 1.894 | 14.9776 | 0 | 187.317 | 32.83 | 965.315 | 45.6999 | 0.36579
2019-07-21 17:30:00 | 0 | 6.4442 | 3.428 | 74.4498 | 1.6383 | 335.219 | 0 | 175.063 | 32.85 | 965.227 | 47.9542 | 0.31037
2019-07-21 17:45:00 | 0 | 349.509 | 2.661 | 59.3764 | 1.3827 | 54.7415 | 0 | 172.785 | 32.41 | 965.025 | 47.6838 | 0.059118
2019-07-21 18:00:00 | 0 | 343.527 | 2.9167 | 49.4545 | 0.75133 | 17.0232 | 0 | 181.953 | 32.21 | 964.764 | 48.1267 | -0.033254
2019-07-21 18:15:00 | 0 | 83.2189 | 2.661 | 48.4817 | 2.1497 | 357 | 0 | 180.64 | 31.92 | 964.74 | 47.752 | -0.27342
2019-07-21 18:30:00 | 0 | 356.903 | 3.428 | 34.9605 | 3.1723 | 353.255 | 0 | 185.212 | 31.79 | 964.468 | 47.752 | -0.24755
2019-07-21 18:45:00 | 0 | 355.638 | 2.9167 | 38.5597 | 2.9167 | 356.951 | 0 | 179.91 | 31.9 | 964.616 | 47.8202 | -0.25125
2019-07-21 19:00:00 | 0 | 356.34 | 3.1723 | 39.5399 | 2.661 | 356.972 | 0 | 178.328 | 31.76 | 964.616 | 48.9844 | -0.26233
2019-07-21 19:15:00 | 0 | 0.77838 | 2.9167 | 44.0224 | 1.3827 | 2.2379 | 0 | 187.884 | 31.52 | 964.32 | 50.2845 | -0.22169
2019-07-21 19:30:00 | 0 | 11.2875 | 3.1723 | 60.1807 | 2.1497 | 24.351 | 0 | 195.611 | 31.43 | 964.32 | 50.1525 | -0.10715
2019-07-21 19:45:00 | 0 | 11.9689 | 2.9167 | 59.8901 | 1.894 | 6.617 | 0.75133 | 197.804 | 31.48 | 964.616 | 48.1772 | -0.19213
2019-07-21 20:00:00 | 0 | 15.3747 | 2.9167 | 60.5956 | 1.6383 | 22.8675 | 0 | 201.526 | 31.5 | 964.616 | 49.6422 | -0.17735
2019-07-21 20:15:00 | 0 | 25.4948 | 2.9167 | 78.5733 | 2.4053 | 23.6459 | 0 | 205.321 | 31.31 | 964.765 | 48.586 | -0.12562
2019-07-21 20:30:00 | 0 | 26.7598 | 3.1723 | 81.5899 | 1.6383 | 24.9353 | 0 | 209.578 | 31.25 | 964.616 | 48.9267 | -0.12562
2019-07-21 20:45:00 | 0 | 30.6521 | 2.661 | 80.9087 | 1.127 | 35.9068 | 0 | 208.337 | 31.17 | 964.913 | 49.9489 | -0.19583
2019-07-21 21:00:00 | 0 | 27.4409 | 3.1723 | 78.3787 | 2.1497 | 36.0041 | 0 | 210.064 | 31.08 | 964.616 | 50.971 | 0.051728
2019-07-21 21:15:00 | 0 | 17.3209 | 2.9167 | 68.356 | 3.1723 | 26.0543 | 0 | 203.058 | 31.06 | 964.765 | 51.7206 | -0.12932
2019-07-21 21:30:00 | 0 | 21.9917 | 3.1723 | 70.3994 | 2.661 | 22.4782 | 0 | 205.345 | 31.09 | 964.913 | 51.6865 | -0.22169
2019-07-21 21:45:00 | 0 | 26.0057 | 3.1723 | 82.8549 | 2.661 | 25.0569 | 0 | 216.487 | 31.06 | 964.913 | 51.448 | -0.22539
2019-07-21 22:00:00 | 0.62733 | 32.574 | 2.661 | 82.3197 | 2.4053 | 24.2298 | 0 | 225.755 | 31.18 | 964.616 | 49.8467 | -0.25494
2019-07-21 22:15:00 | 1.2547 | 34.9337 | 2.1497 | 82.563 | 2.1497 | 23.2567 | 0 | 233.37 | 31.28 | 964.616 | 49.6763 | -0.24016
2019-07-21 22:30:00 | 0 | 72.9812 | 1.894 | 85.7255 | 1.3827 | 29.4358 | 0 | 279.859 | 31.28 | 964.765 | 49.8807 | -0.24016
2019-07-21 22:45:00 | 0 | 132.266 | 1.894 | 147.37 | 0.75133 | 110.153 | 0 | 307.567 | 31.45 | 964.616 | 48.9267 | -0.24016
2019-07-21 23:00:00 | 0 | 159.294 | 2.4053 | 201.425 | 1.894 | 150.147 | 0 | 346.783 | 31.59 | 964.616 | 49.1993 | -0.24016
2019-07-21 23:15:00 | 6.9887 | 167.468 | 2.4053 | 220.449 | 1.6383 | 172.43 | 0 | 348.412 | 31.18 | 964.765 | 49.8126 | -0.24016
2019-07-21 23:30:00 | 0.744 | 162.797 | 2.4053 | 222.103 | 1.127 | 178.804 | 0 | 347.147 | 31.08 | 964.765 | 50.3577 | -0.24016
2019-07-21 23:45:00 | 0 | 151.023 | 2.9167 | 208.48 | 1.894 | 164.451 | 0 | 345.931 | 30.84 | 964.616 | 51.0392 | -0.24016