## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-07-22 00:00:00 | 0 | 145.792 | 3.1723 | 193.908 | 2.9167 | 153.65 | 0 | 327.005 | 30.8 | 964.468 | 51.891 | -0.2882
2019-07-22 00:15:00 | 0 | 141.438 | 2.661 | 195.538 | 2.661 | 146.546 | 0 | 323.842 | 30.51 | 964.616 | 53.0835 | 0.040643
2019-07-22 00:30:00 | 0 | 131.05 | 3.9393 | 182.693 | 2.661 | 129.858 | 0 | 310.56 | 30.25 | 964.468 | 53.7649 | 0.81287
2019-07-22 00:45:00 | 0 | 123.874 | 2.9167 | 161.115 | 2.4053 | 89.1344 | 0 | 312.944 | 30.35 | 964.468 | 53.2198 | 0.6466
2019-07-22 01:00:00 | 0 | 129.809 | 3.428 | 170.822 | 3.1723 | 104.655 | 0 | 308.613 | 30.95 | 964.632 | 52.6746 | 0.82395
2019-07-22 01:15:00 | 0 | 138.275 | 3.428 | 183.958 | 2.661 | 132.437 | 0 | 317.809 | 30.83 | 964.469 | 53.2198 | 0.787
2019-07-22 01:30:00 | 0 | 136.524 | 4.4507 | 185.54 | 3.6837 | 139.054 | 0 | 324.961 | 30.5 | 964.765 | 54.7189 | 1.2489
2019-07-22 01:45:00 | 0 | 142.946 | 3.6837 | 173.011 | 2.9167 | 137.497 | 0 | 336.346 | 30.24 | 964.321 | 54.9233 | 1.6183
2019-07-22 02:00:00 | 0 | 136.232 | 4.195 | 182.036 | 3.428 | 140.465 | 0 | 337.49 | 30.3 | 964.469 | 54.4463 | 2.3167
2019-07-22 02:15:00 | 0 | 132.339 | 3.9393 | 182.183 | 2.9167 | 133.118 | 0 | 311.971 | 30.27 | 964.024 | 54.0375 | 3.1074
2019-07-22 02:30:00 | 0 | 137.156 | 4.195 | 184.883 | 4.195 | 126.185 | 0 | 320.461 | 30.43 | 964.172 | 53.8331 | 4.6223
2019-07-22 02:45:00 | 0 | 138.178 | 4.4507 | 177.95 | 4.195 | 125.722 | 0 | 320.972 | 30.5 | 964.024 | 53.4924 | 4.8181
2019-07-22 03:00:00 | 0 | 134.238 | 5.729 | 179.435 | 5.4733 | 130.589 | 0 | 320.147 | 30.3 | 964.024 | 54.4467 | 8.1028
2019-07-22 03:15:00 | 0 | 135.599 | 5.729 | 182.134 | 4.962 | 117.257 | 0 | 328.1 | 29.84 | 964.024 | 60.1022 | 8.8898
2019-07-22 03:30:00 | 0 | 131.756 | 5.4733 | 179.871 | 4.7063 | 143.189 | 0 | 322.504 | 29.08 | 964.024 | 64.259 | 9.2667
2019-07-22 03:45:00 | 0 | 138.044 | 6.496 | 178.867 | 5.4733 | 115.418 | 2.9167 | 325.915 | 28.76 | 963.335 | 62.152 | 13.3088
2019-07-22 04:00:00 | 0 | 153.618 | 4.7063 | 175.448 | 4.7063 | 139.383 | 1.007 | 320.961 | 28.8 | 963.792 | 64.6853 | 18.5296
2019-07-22 04:15:00 | 0 | 133.891 | 7.0073 | 181.761 | 6.2403 | 133.404 | 4.7063 | 320.418 | 28.43 | 963.721 | 68.506 | 12.9948
2019-07-22 04:30:00 | 0 | 126.15 | 6.2403 | 172.17 | 4.7063 | 119.75 | 0 | 313.283 | 28.41 | 964.021 | 71.3676 | 16.3756
2019-07-22 04:45:00 | 0 | 133.643 | 5.2177 | 175.841 | 5.9847 | 130.577 | 1.2627 | 307.803 | 28.19 | 963.724 | 72.8662 | 16.1021
2019-07-22 05:00:00 | 0 | 127.676 | 5.729 | 176.976 | 5.2177 | 121.446 | 3.428 | 321.488 | 28.04 | 963.873 | 74.5328 | 15.4814
2019-07-22 05:15:00 | 0 | 118.288 | 6.2403 | 161.654 | 4.7063 | 125.758 | 1.007 | 322.426 | 28.1 | 963.576 | 75.2174 | 16.612
2019-07-22 05:30:00 | 0 | 116.73 | 4.962 | 193.555 | 4.7063 | 163.232 | 2.2853 | 306.998 | 28.02 | 964.021 | 74.7742 | 18.6109
2019-07-22 05:45:00 | 7.244 | 144.978 | 6.7517 | 195.69 | 5.4733 | 136.534 | 4.195 | 327.745 | 28.06 | 964.466 | 75.3173 | 28.2028
2019-07-22 06:00:00 | 0 | 128.992 | 5.2177 | 182.967 | 4.195 | 147.097 | 0 | 320.668 | 28.02 | 964.169 | 75.8636 | 22.2836
2019-07-22 06:15:00 | 6.7333 | 141.7 | 7.5187 | 191.637 | 7.0073 | 139.339 | 1.3827 | 325.815 | 27.96 | 964.318 | 75.7301 | 27.9109
2019-07-22 06:30:00 | 10.308 | 143.189 | 8.5413 | 194.686 | 7.263 | 153.215 | 5.9847 | 326.312 | 28.06 | 964.466 | 74.5737 | 26.5512
2019-07-22 06:45:00 | 6.2227 | 152.178 | 8.2857 | 195.225 | 6.2403 | 128.186 | 6.2403 | 331.658 | 28.24 | 964.648 | 71.9763 | 28.539
2019-07-22 07:00:00 | 5.2013 | 128.132 | 7.7743 | 204.151 | 5.9847 | 144.236 | 4.195 | 322.823 | 28.37 | 964.92 | 71.1419 | 27.2975
2019-07-22 07:15:00 | 3.042 | 151.679 | 7.263 | 188.337 | 6.7517 | 150.658 | 2.0297 | 328.659 | 28.41 | 965.062 | 71.2777 | 24.9328
2019-07-22 07:30:00 | 1.882 | 146.449 | 7.7743 | 193.835 | 9.564 | 150.293 | 2.1497 | 318.296 | 28.32 | 964.765 | 70.5281 | 24.7481
2019-07-22 07:45:00 | 2.67 | 127.693 | 8.5413 | 205.707 | 9.8197 | 170.022 | 5.729 | 313.625 | 28.35 | 964.765 | 71.0733 | 23.8096
2019-07-22 08:00:00 | 0 | 152.555 | 7.263 | 198.019 | 8.797 | 155.912 | 0 | 320.923 | 28.59 | 964.765 | 68.4838 | 21.2786
2019-07-22 08:15:00 | 4.18 | 149.003 | 8.5413 | 190.77 | 6.496 | 153.991 | 1.894 | 324.986 | 29.1 | 965.358 | 68.2113 | 20.8463
2019-07-22 08:30:00 | 0 | 142.423 | 7.7743 | 197.344 | 8.03 | 158.21 | 1.3827 | 318.172 | 28.98 | 965.062 | 68.8188 | 23.0706
2019-07-22 08:45:00 | 5.2013 | 143.41 | 8.2857 | 190.032 | 7.0073 | 151.34 | 5.9847 | 324.716 | 29.19 | 965.358 | 66.7698 | 24.7665
2019-07-22 09:00:00 | 0 | 148.339 | 7.0073 | 205.536 | 6.496 | 154.808 | 1.774 | 320.342 | 29.71 | 965.655 | 63.6318 | 24.0461
2019-07-22 09:15:00 | 0 | 178.816 | 6.496 | 213.996 | 7.7743 | 148.734 | 0 | 343.795 | 30.31 | 965.655 | 63.4878 | 20.0593
2019-07-22 09:30:00 | 0.372 | 151.482 | 8.797 | 185.032 | 8.5413 | 141.876 | 0.75133 | 332.049 | 30.13 | 965.358 | 62.6363 | 20.4916
2019-07-22 09:45:00 | 0 | 141.535 | 7.263 | 193.908 | 7.5187 | 165.611 | 0.63133 | 331.636 | 30.69 | 965.21 | 58.7194 | 21.4744
2019-07-22 10:00:00 | 0 | 136.939 | 7.7743 | 183.305 | 6.2403 | 150.777 | 1.774 | 325.532 | 30.39 | 965.358 | 60.5586 | 20.898
2019-07-22 10:15:00 | 0 | 193.383 | 4.195 | 219.151 | 4.195 | 181.321 | 0 | 13.0835 | 30.79 | 965.358 | 60.0136 | 19.2391
2019-07-22 10:30:00 | 0 | 144.235 | 6.2403 | 187.829 | 7.5187 | 140.757 | 1.5183 | 330.541 | 31.42 | 965.21 | 60.4224 | 17.3732
2019-07-22 10:45:00 | 0 | 141.997 | 4.4507 | 204.633 | 5.4733 | 147.177 | 4.195 | 328.96 | 30.41 | 965.358 | 60.2861 | 11.7755
2019-07-22 11:00:00 | 0 | 156.808 | 4.4507 | 204.511 | 5.2177 | 141.852 | 0 | 331.83 | 31.5 | 965.21 | 58.1403 | 12.2152
2019-07-22 11:15:00 | 0 | 189.687 | 6.7517 | 237.998 | 7.7743 | 197.055 | 0 | 1.5564 | 31.16 | 964.617 | 57.8338 | 11.6757
2019-07-22 11:30:00 | 0 | 123.053 | 5.729 | 168.228 | 5.729 | 119.162 | 0 | 316.923 | 31.48 | 965.062 | 57.97 | 12.6807
2019-07-22 11:45:00 | 0 | 139.857 | 7.0073 | 194.297 | 6.7517 | 145.329 | 0.37567 | 335.989 | 31.74 | 965.02 | 58.1063 | 10.582
2019-07-22 12:00:00 | 0 | 142.873 | 6.2403 | 184.643 | 6.2403 | 146.861 | 2.1497 | 327.307 | 31.6 | 964.889 | 57.9019 | 10.0352
2019-07-22 12:15:00 | 0.372 | 131.37 | 3.428 | 182.649 | 2.661 | 172.809 | 1.5183 | 315.999 | 32.09 | 965.285 | 56.6758 | 10.2495
2019-07-22 12:30:00 | 0 | 187.547 | 8.03 | 238.947 | 5.2177 | 160.066 | 4.962 | 13.7401 | 32.28 | 964.952 | 56.9482 | 14.0404
2019-07-22 12:45:00 | 0 | 143.53 | 6.496 | 178.101 | 4.4507 | 146.594 | 0 | 323.367 | 32.19 | 964.515 | 57.6294 | 14.9346
2019-07-22 13:00:00 | 0 | 95.0622 | 5.2177 | 137.391 | 4.4507 | 74.8776 | 1.2627 | 269.404 | 31.97 | 964.529 | 58.1063 | 18.8844
2019-07-22 13:15:00 | 0 | 154.4 | 9.3083 | 208.499 | 8.2857 | 155.981 | 0 | 347.832 | 32.03 | 964.319 | 56.5395 | 16.1834
2019-07-22 13:30:00 | 0 | 200.484 | 7.5187 | 250.401 | 7.5187 | 206.394 | 0 | 34.8002 | 32.21 | 964.113 | 54.5981 | 14.4542
2019-07-22 13:45:00 | 0 | 178.305 | 6.496 | 231.554 | 5.9847 | 189.687 | 4.962 | 81.8328 | 32.83 | 963.957 | 52.7248 | 15.2819
2019-07-22 14:00:00 | 0 | 186.671 | 6.7517 | 239.336 | 7.5187 | 197.177 | 1.007 | 5.3745 | 33.15 | 963.655 | 52.1798 | 17.5062
2019-07-22 14:15:00 | 0 | 216.146 | 5.729 | 241.914 | 6.2403 | 200.654 | 0 | 55.3253 | 32.73 | 963.346 | 53.1335 | 19.2686
2019-07-22 14:30:00 | 0 | 214.2 | 7.5187 | 257.453 | 9.564 | 197.785 | 0 | 34.4597 | 33.17 | 963.302 | 51.0218 | 17.4434
2019-07-22 14:45:00 | 0 | 151.433 | 5.729 | 189.458 | 5.9847 | 170.28 | 5.9847 | 333.8 | 33.07 | 963.184 | 52.4523 | 19.446
2019-07-22 15:00:00 | 0 | 139.249 | 7.5187 | 179.974 | 6.7517 | 138.593 | 5.729 | 343.795 | 33.13 | 963.263 | 51.2262 | 19.7526
2019-07-22 15:15:00 | 0 | 142.362 | 5.729 | 207.916 | 5.729 | 164.93 | 1.774 | 319.33 | 33.81 | 963.677 | 49.6254 | 22.3206
2019-07-22 15:30:00 | 3.2973 | 137.982 | 9.3083 | 180.262 | 8.2857 | 148.877 | 1.3983 | 332.554 | 33.22 | 963.475 | 51.4296 | 21.7774
2019-07-22 15:45:00 | 0 | 137.994 | 8.797 | 189.143 | 7.0073 | 131.137 | 0.37567 | 335.174 | 33.29 | 963.492 | 52.1401 | 21.5225
2019-07-22 16:00:00 | 2.648 | 145.158 | 6.496 | 191.961 | 7.263 | 141.997 | 3.6837 | 316.823 | 33.4 | 962.808 | 51.7708 | 21.3377
2019-07-22 16:15:00 | 0 | 154.57 | 7.0073 | 211.393 | 7.7743 | 170.11 | 1.894 | 342.919 | 33.11 | 962.639 | 51.6349 | 21.5373
2019-07-22 16:30:00 | 5.2013 | 131.321 | 8.2857 | 179.414 | 7.7743 | 135.188 | 5.4733 | 315.901 | 32.87 | 962.159 | 51.2261 | 20.1923
2019-07-22 16:45:00 | 0 | 151.312 | 6.7517 | 188.558 | 5.4733 | 142.703 | 4.195 | 324.583 | 32.96 | 962.67 | 51.4986 | 13.6968
2019-07-22 17:00:00 | 0 | 157.999 | 5.2177 | 195.951 | 5.729 | 144.818 | 0 | 330.736 | 33.09 | 962.959 | 51.5667 | 12.0637
2019-07-22 17:15:00 | 0 | 151.02 | 6.7517 | 201.593 | 6.2403 | 157.318 | 0.37567 | 341.29 | 33.14 | 962.589 | 50.8515 | 13.2645
2019-07-22 17:30:00 | 0 | 117.873 | 7.263 | 182.357 | 6.2403 | 161.939 | 7.0073 | 323.513 | 33.17 | 962.43 | 50.1362 | 13.5342
2019-07-22 17:45:00 | 0 | 137.961 | 7.5187 | 185.251 | 7.7743 | 142.143 | 0.37567 | 316.436 | 33.17 | 962.514 | 49.8638 | 13.9739
2019-07-22 18:00:00 | 0 | 137.742 | 6.496 | 187.196 | 6.2403 | 140.587 | 4.7063 | 321.981 | 33.12 | 962.357 | 50.5109 | 12.2299
2019-07-22 18:15:00 | 0 | 153.354 | 5.4733 | 205.289 | 5.729 | 158.875 | 1.007 | 324.315 | 33.02 | 962.392 | 50.8855 | 12.0932
2019-07-22 18:30:00 | 0 | 138.86 | 6.7517 | 199.015 | 6.2403 | 160.164 | 2.541 | 318.649 | 32.89 | 962.097 | 50.8855 | 11.7459
2019-07-22 18:45:00 | 0 | 158.121 | 5.729 | 203.149 | 5.729 | 164.201 | 4.4507 | 332.146 | 32.7 | 962.097 | 51.4305 | 14.1476
2019-07-22 19:00:00 | 0 | 149.927 | 7.5187 | 191.77 | 5.9847 | 162.864 | 2.1497 | 350.096 | 32.57 | 961.652 | 52.8955 | 12.98
2019-07-22 19:15:00 | 0 | 136.254 | 5.2177 | 205.906 | 4.195 | 173.515 | 0 | 340.464 | 32.2 | 962.097 | 56.2071 | 16.0393
2019-07-22 19:30:00 | 0 | 150.195 | 6.496 | 219.023 | 5.9847 | 198.938 | 3.6837 | 330.38 | 31.97 | 961.652 | 57.7758 | 17.4914
2019-07-22 19:45:00 | 0 | 212.644 | 5.729 | 244.406 | 8.03 | 196.541 | 0 | 347.839 | 31.77 | 961.652 | 59.5505 | 21.988
2019-07-22 20:00:00 | 0 | 149.803 | 7.5187 | 223.8 | 8.5413 | 177.292 | 2.2853 | 335.414 | 31.72 | 961.8 | 58.9424 | 26.529
2019-07-22 20:15:00 | 7.244 | 168.951 | 6.2403 | 199.771 | 6.2403 | 175.593 | 2.1497 | 354.299 | 31.57 | 961.8 | 59.4207 | 24.7148
2019-07-22 20:30:00 | 0 | 161.508 | 6.2403 | 212.664 | 7.263 | 143.797 | 0 | 320.315 | 31.45 | 961.8 | 57.7513 | 21.2971
2019-07-22 20:45:00 | 9.0313 | 149.952 | 6.7517 | 202.69 | 7.263 | 138.518 | 3.6837 | 336.03 | 31.27 | 961.652 | 59.0119 | 22.9561
2019-07-22 21:00:00 | 9.0313 | 153.82 | 8.2857 | 192.448 | 8.797 | 170.241 | 3.6837 | 332.6 | 31.01 | 961.652 | 59.2504 | 27.0721
2019-07-22 21:15:00 | 0 | 147.544 | 8.797 | 202.009 | 8.03 | 156.545 | 2.661 | 329.121 | 31.04 | 961.8 | 59.7615 | 31.4838
2019-07-22 21:30:00 | 0.744 | 136.572 | 7.5187 | 187.997 | 5.2177 | 150.22 | 5.2177 | 322.577 | 31.05 | 962.245 | 60.6474 | 39.4831
2019-07-22 21:45:00 | 3.6693 | 144.649 | 8.2857 | 183.545 | 8.5413 | 156.739 | 3.6837 | 327.053 | 30.69 | 961.948 | 62.2828 | 44.2125
2019-07-22 22:00:00 | 2.276 | 143.797 | 8.5413 | 202.69 | 9.0527 | 152.701 | 3.1723 | 334.619 | 30.41 | 961.8 | 61.8058 | 48.081
2019-07-22 22:15:00 | 0.372 | 133.264 | 10.0753 | 185.248 | 9.3083 | 144.697 | 0.75133 | 318.612 | 30.31 | 961.8 | 61.8739 | 55.8607
2019-07-22 22:30:00 | 2.0207 | 158.613 | 9.564 | 192.497 | 9.0527 | 156.91 | 4.962 | 330.094 | 30.15 | 961.207 | 62.3509 | 58.0239
2019-07-22 22:45:00 | 0.99933 | 131.342 | 10.0753 | 184.907 | 10.0753 | 144.479 | 4.7063 | 316.009 | 29.98 | 961.207 | 63.4412 | 57.0057
2019-07-22 23:00:00 | 3.1587 | 142.411 | 12.632 | 201.839 | 11.3537 | 148.614 | 4.195 | 334.254 | 29.74 | 960.911 | 64.0545 | 56.147
2019-07-22 23:15:00 | 2.3927 | 151.996 | 7.5187 | 196.414 | 8.03 | 145.427 | 5.2177 | 327.419 | 29.53 | 961.059 | 65.2811 | 61.231
2019-07-22 23:30:00 | 4.6907 | 151.588 | 9.564 | 195.522 | 9.3083 | 140.689 | 5.729 | 326.603 | 29.38 | 960.786 | 65.4879 | 59.3983
2019-07-22 23:45:00 | 0 | 154.107 | 11.3537 | 207.706 | 11.098 | 158.292 | 4.4507 | 337.533 | 29.18 | 960.65 | 66.3117 | 60.4551