## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-07-23 00:00:00 | 3.9247 | 153 | 13.9103 | 205.607 | 13.6547 | 136.284 | 5.729 | 326.391 | 29.11 | 960.225 | 66.1806 | 61.472
2019-07-23 00:15:00 | 3.414 | 141.918 | 14.166 | 193.46 | 14.4217 | 139.484 | 6.2403 | 319.971 | 28.98 | 960.26 | 66.3229 | 66.9063
2019-07-23 00:30:00 | 2.648 | 125.637 | 10.8423 | 197.522 | 9.8197 | 169.243 | 4.962 | 319.044 | 28.94 | 960.314 | 64.959 | 63.555
2019-07-23 00:45:00 | 7.7547 | 129.948 | 9.564 | 174.557 | 8.5413 | 149.416 | 5.729 | 317.91 | 28.86 | 960.461 | 64.3134 | 59.8471
2019-07-23 01:00:00 | 2.3927 | 129.507 | 11.3537 | 190.614 | 10.5867 | 149.048 | 5.9847 | 318.123 | 28.76 | 959.721 | 63.8351 | 59.9462
2019-07-23 01:15:00 | 3.808 | 138.879 | 12.1207 | 189.645 | 11.865 | 131.262 | 4.195 | 322.875 | 28.63 | 959.869 | 64.2455 | 59.6754
2019-07-23 01:30:00 | 2.0207 | 136.689 | 10.331 | 197.018 | 11.3537 | 137.881 | 3.9393 | 323.677 | 28.47 | 959.721 | 64.4839 | 61.5331
2019-07-23 01:45:00 | 0.372 | 138.561 | 9.8197 | 177.792 | 8.2857 | 145.764 | 2.1497 | 329.953 | 28.35 | 959.721 | 65.3695 | 58.9217
2019-07-23 02:00:00 | 0.372 | 137.515 | 13.6547 | 190.446 | 9.564 | 135.252 | 1.007 | 321.412 | 28.23 | 959.573 | 65.8466 | 56.9782
2019-07-23 02:15:00 | 1.2547 | 137.172 | 11.865 | 187.839 | 11.098 | 141.407 | 4.4507 | 314.594 | 28.16 | 959.573 | 66.4592 | 61.4629
2019-07-23 02:30:00 | 2.648 | 135.464 | 9.3083 | 182.794 | 9.8197 | 137.021 | 3.1723 | 325.434 | 28.08 | 959.424 | 66.4907 | 57.828
2019-07-23 02:45:00 | 0 | 124.593 | 8.03 | 182.925 | 8.2857 | 159.537 | 0.37567 | 302.599 | 28.03 | 959.721 | 67.0732 | 49.1895
2019-07-23 03:00:00 | 0 | 130.65 | 9.8197 | 185.478 | 9.564 | 146.151 | 3.9393 | 320.822 | 27.97 | 959.424 | 67.4132 | 56.4018
2019-07-23 03:15:00 | 0.372 | 147.635 | 9.8197 | 194.821 | 9.0527 | 144.666 | 1.774 | 318.094 | 27.95 | 959.721 | 67.9581 | 51.3657
2019-07-23 03:30:00 | 1.6267 | 137.734 | 11.3537 | 189.23 | 11.3537 | 136.201 | 5.2177 | 318.492 | 27.85 | 959.276 | 68.8801 | 52.4077
2019-07-23 03:45:00 | 0 | 146.178 | 6.7517 | 190.616 | 5.9847 | 154.281 | 1.2627 | 324.307 | 27.48 | 959.573 | 74.7761 | 39.0293
2019-07-23 04:00:00 | 5.4567 | 229.434 | 14.933 | 267.863 | 13.1433 | 223.058 | 7.5187 | 55.5577 | 26.41 | 960.314 | 90.9679 | 58.8262
2019-07-23 04:15:00 | 4.4353 | 218.678 | 8.797 | 251.096 | 8.2857 | 207.143 | 0 | 37.8415 | 24.36 | 960.165 | 95.7396 | 36.1286
2019-07-23 04:30:00 | 3.1587 | 151.464 | 6.496 | 202 | 6.496 | 168.721 | 0.37567 | 344.597 | 24.13 | 959.865 | 96.9826 | 29.5292
2019-07-23 04:45:00 | 6.9887 | 144.698 | 8.5413 | 184.038 | 9.3083 | 129.827 | 1.1427 | 326.15 | 24.16 | 959.865 | 97.0172 | 52.574
2019-07-23 05:00:00 | 1.3713 | 144.796 | 11.3537 | 191.024 | 9.3083 | 141.291 | 0 | 326.88 | 23.89 | 959.568 | 96.949 | 66.0232
2019-07-23 05:15:00 | 0.744 | 144.7 | 8.03 | 210.474 | 7.0073 | 167.531 | 0 | 327.857 | 24.1 | 959.264 | 96.3366 | 60.9797
2019-07-23 05:30:00 | 2.648 | 150.47 | 9.564 | 205.85 | 12.1207 | 151.127 | 1.007 | 312.866 | 24.21 | 959.568 | 96.7462 | 64.0428
2019-07-23 05:45:00 | 5.712 | 120.944 | 7.7743 | 189.857 | 6.7517 | 151.101 | 2.1497 | 329.95 | 24.36 | 959.272 | 96.2 | 58.7554
2019-07-23 06:00:00 | 0 | 146.16 | 8.5413 | 202.076 | 7.7743 | 152.489 | 0.63133 | 333.845 | 24.73 | 959.272 | 95.4161 | 51.9384
2019-07-23 06:15:00 | 5.712 | 140.756 | 8.5413 | 196.281 | 7.5187 | 146.475 | 2.541 | 326.223 | 24.85 | 959.253 | 94.1538 | 48.3175
2019-07-23 06:30:00 | 0.372 | 138.37 | 9.0527 | 190.61 | 8.2857 | 138.906 | 1.007 | 340.826 | 24.87 | 959.717 | 92.7902 | 50.5122
2019-07-23 06:45:00 | 0.99933 | 161.152 | 10.5867 | 218.6 | 10.8423 | 141.875 | 1.894 | 335.715 | 25.12 | 959.566 | 92.313 | 53.0765
2019-07-23 07:00:00 | 0 | 156.281 | 6.496 | 193.015 | 5.9847 | 150.561 | 0 | 334.15 | 25.8 | 960.013 | 91.0156 | 51.1367
2019-07-23 07:15:00 | 1.882 | 157.698 | 7.7743 | 210.243 | 7.5187 | 168.284 | 0.37567 | 337.833 | 25.88 | 959.941 | 89.3003 | 49.3262
2019-07-23 07:30:00 | 4.18 | 153.97 | 7.263 | 206.733 | 6.496 | 158.083 | 2.541 | 340.063 | 26.03 | 960.375 | 90.7294 | 44.6522
2019-07-23 07:45:00 | 0 | 147.107 | 7.7743 | 202.206 | 8.03 | 147.594 | 0.887 | 323.709 | 26.04 | 960.352 | 89.8432 | 43.6472
2019-07-23 08:00:00 | 0 | 154.384 | 7.5187 | 210.091 | 6.7517 | 158.983 | 5.2177 | 333.711 | 26.13 | 960.166 | 89.5024 | 44.3271
2019-07-23 08:15:00 | 0.372 | 145.696 | 8.5413 | 184.636 | 9.8197 | 119.73 | 2.1497 | 331.351 | 26.62 | 960.018 | 85.9577 | 44.8887
2019-07-23 08:30:00 | 0 | 157.582 | 8.03 | 208.975 | 7.5187 | 160.672 | 5.4733 | 334.435 | 27.1 | 960.462 | 84.5186 | 40.9906
2019-07-23 08:45:00 | 5.9673 | 143.738 | 8.03 | 196.275 | 7.7743 | 159.043 | 5.9847 | 321.298 | 27.06 | 960.892 | 85.7463 | 38.2823
2019-07-23 09:00:00 | 8.2653 | 158.889 | 7.0073 | 192.971 | 7.263 | 128.697 | 7.0073 | 339.065 | 26.92 | 960.625 | 88.0456 | 30.0576
2019-07-23 09:15:00 | 6.7333 | 154.575 | 7.5187 | 206.607 | 6.496 | 157.251 | 5.4733 | 325.011 | 26.87 | 960.17 | 87.3256 | 25.7679
2019-07-23 09:30:00 | 9.0313 | 153.601 | 8.2857 | 202.934 | 9.564 | 147.325 | 3.9393 | 334.133 | 27.27 | 960.318 | 88.6542 | 18.7957
2019-07-23 09:45:00 | 0 | 151.023 | 7.263 | 203.639 | 7.5187 | 150.512 | 0 | 339.071 | 27.39 | 960.615 | 87.4276 | 15.7031
2019-07-23 10:00:00 | 0 | 185.956 | 5.9847 | 220.157 | 5.4733 | 168.562 | 5.9847 | 17.1019 | 27.66 | 960.911 | 87.2573 | 14.4395
2019-07-23 10:15:00 | 0 | 132.315 | 7.0073 | 198.579 | 4.962 | 138.032 | 0 | 321.701 | 28.37 | 961.059 | 84.77 | 16.0578
2019-07-23 10:30:00 | 0 | 166.288 | 7.0073 | 206.664 | 6.2403 | 158.066 | 1.007 | 355.151 | 28.16 | 961.059 | 83.4695 | 8.8565
2019-07-23 10:45:00 | 0 | 189.432 | 5.2177 | 246.513 | 5.9847 | 203.248 | 0 | 349.311 | 28.92 | 961.208 | 81.5896 | 6.4069
2019-07-23 11:00:00 | 0 | 179.938 | 5.4733 | 231.3 | 5.729 | 180.619 | 0 | 356.422 | 29.06 | 961.208 | 81.518 | 7.4525
2019-07-23 11:15:00 | 0 | 154.913 | 5.4733 | 201.436 | 4.4507 | 163.012 | 2.9167 | 335.413 | 28.65 | 961.356 | 83.3929 | 5.5681
2019-07-23 11:30:00 | 0 | 127.747 | 3.6837 | 182.396 | 3.1723 | 139.471 | 0.887 | 315.063 | 28.71 | 961.208 | 85.3028 | 4.3784
2019-07-23 11:45:00 | 0 | 192.67 | 5.2177 | 241.662 | 4.195 | 193.984 | 0 | 16.2018 | 28.84 | 961.059 | 82.3168 | 1.5851
2019-07-23 12:00:00 | 0 | 205.029 | 4.195 | 216.362 | 7.5187 | 166.665 | 0.37567 | 41.2344 | 29.45 | 960.763 | 77.2743 | 0.93849
2019-07-23 12:15:00 | 0 | 254.364 | 4.4507 | 302.674 | 3.9393 | 250.788 | 0 | 79.5252 | 29.95 | 960.911 | 76.8654 | 0.94957
2019-07-23 12:30:00 | 0 | 275.245 | 4.4507 | 317.027 | 4.7063 | 267.656 | 0 | 96.6618 | 29.88 | 961.059 | 73.4817 | 2.2021
2019-07-23 12:45:00 | 0 | 254.828 | 4.195 | 297.167 | 3.428 | 239.432 | 0 | 80.0701 | 30.27 | 961.356 | 70.3108 | 1.5555
2019-07-23 13:00:00 | 0 | 266.024 | 3.6837 | 320.999 | 3.1723 | 272.055 | 0 | 82.4896 | 30.79 | 961.801 | 66.8258 | 1.9213
2019-07-23 13:15:00 | 0 | 303.596 | 4.962 | 15.3065 | 4.962 | 309.627 | 0 | 125.096 | 31.25 | 961.801 | 66.7575 | 2.3832
2019-07-23 13:30:00 | 0 | 291.655 | 3.1723 | 298.868 | 1.127 | 253.791 | 0 | 70.4759 | 31.05 | 961.208 | 66.451 | 5.6088
2019-07-23 13:45:00 | 0 | 282.341 | 6.496 | 329.753 | 4.7063 | 286.086 | 0 | 109.897 | 31.07 | 960.911 | 65.7357 | 3.4214
2019-07-23 14:00:00 | 0 | 276.359 | 2.661 | 335.2 | 3.1723 | 306.514 | 0 | 105.106 | 31.23 | 961.184 | 65.8719 | 4.0791
2019-07-23 14:15:00 | 0 | 303.839 | 3.428 | 19.8541 | 3.6837 | 302.915 | 0 | 130.106 | 31.27 | 961.049 | 65.4632 | 3.6099
2019-07-23 14:30:00 | 0 | 307.001 | 3.9393 | 17.6654 | 3.428 | 304.569 | 0 | 122.64 | 31.49 | 960.882 | 65.4632 | 2.3943
2019-07-23 14:45:00 | 0 | 316.923 | 3.6837 | 5.4087 | 3.6837 | 342.044 | 0 | 123.248 | 31.73 | 961.985 | 63.0109 | -0.42121
2019-07-23 15:00:00 | 0 | 306.028 | 3.9393 | 5.4087 | 3.428 | 308.362 | 0 | 133.948 | 31.76 | 960.966 | 63.624 | -0.051728
2019-07-23 15:15:00 | 0 | 329.958 | 3.1723 | 2.2959 | 2.661 | 308.752 | 0 | 124.658 | 31.06 | 960.221 | 63.5559 | 0.18474
2019-07-23 15:30:00 | 0 | 263.786 | 2.1497 | 328.051 | 1.6383 | 273.295 | 0 | 87.9854 | 30.95 | 960.607 | 62.5341 | -0.31406
2019-07-23 15:45:00 | 0 | 25.7779 | 1.3827 | 80.5826 | 0 | 22.3733 | 0 | 198.612 | 31.33 | 960.911 | 66.6894 | -0.27342
2019-07-23 16:00:00 | 0 | 12.816 | 1.127 | 69.3959 | 0 | 53.8175 | 0 | 199.414 | 30.92 | 961.207 | 64.3052 | 0.60965
2019-07-23 16:15:00 | 0 | 115.271 | 8.797 | 153.466 | 6.496 | 108.875 | 0 | 298.294 | 29.58 | 960.466 | 79.9046 | 14.3704
2019-07-23 16:30:00 | 0 | 120.517 | 7.5187 | 197.636 | 6.2403 | 135.864 | 0 | 287.854 | 28.31 | 960.318 | 82.3007 | 26.7314
2019-07-23 16:45:00 | 0 | 130.042 | 6.2403 | 170.782 | 4.962 | 139.724 | 0 | 320.63 | 27.61 | 959.873 | 83.4005 | 22.993
2019-07-23 17:00:00 | 0 | 128.569 | 5.4733 | 180.917 | 3.9393 | 115.067 | 3.6837 | 316.544 | 27.59 | 960.021 | 85.7921 | 22.6531
2019-07-23 17:15:00 | 0 | 116.381 | 4.195 | 176.757 | 3.6837 | 134.067 | 0.37567 | 301.559 | 27.87 | 960.021 | 80.8518 | 9.0967
2019-07-23 17:30:00 | 0 | 128.544 | 3.6837 | 167.562 | 2.9167 | 146.668 | 0 | 303.213 | 28.7 | 960.762 | 78.569 | 6.8022
2019-07-23 17:45:00 | 0 | 138.293 | 0.75133 | 198.545 | 1.127 | 174.174 | 0 | 323.901 | 29.04 | 960.762 | 76.7939 | 0.070202
2019-07-23 18:00:00 | 0 | 150.997 | 2.1497 | 191.391 | 2.1497 | 160.118 | 0 | 320.407 | 29.16 | 961.207 | 76.9207 | 0.82395
2019-07-23 18:15:00 | 0 | 151.504 | 1.6383 | 201.723 | 1.3827 | 160.236 | 0 | 326.431 | 29.32 | 961.652 | 77.1912 | 1.6701
2019-07-23 18:30:00 | 0 | 125.189 | 1.6383 | 174.97 | 2.661 | 150.703 | 0 | 301.99 | 28.86 | 961.8 | 81.0415 | 2.446
2019-07-23 18:45:00 | 0 | 146.229 | 0 | 215.835 | 0.75133 | 154.791 | 0 | 302.65 | 28.44 | 961.207 | 81.6215 | 2.7231
2019-07-23 19:00:00 | 0 | 85.3387 | 0 | 108.543 | 0 | 105.092 | 0 | 254.654 | 28.43 | 960.762 | 78.9772 | 4.8365
2019-07-23 19:15:00 | 0 | 104.704 | 1.127 | 161.285 | 0 | 135.988 | 0 | 273.436 | 28.5 | 960.614 | 78.9778 | 6.5066
2019-07-23 19:30:00 | 0 | 177.785 | 2.4053 | 229.308 | 2.1497 | 172.75 | 0 | 333.214 | 27.79 | 960.318 | 84.1582 | 7.8663
2019-07-23 19:45:00 | 0 | 145.81 | 1.6383 | 189.078 | 1.6383 | 138.899 | 0 | 314.859 | 27.67 | 960.594 | 77.9781 | 10.6559
2019-07-23 20:00:00 | 0 | 137.029 | 3.1723 | 179.301 | 2.661 | 156.57 | 0 | 319.758 | 27.31 | 960.462 | 86.5007 | 11.2065
2019-07-23 20:15:00 | 0 | 131.408 | 3.9393 | 184.12 | 2.9167 | 138.027 | 0 | 318.688 | 26.68 | 960.017 | 88.5118 | 12.6438
2019-07-23 20:30:00 | 0 | 134.891 | 4.7063 | 188.116 | 5.2177 | 144.917 | 0 | 324.147 | 26.16 | 960.166 | 89.366 | 16.4716
2019-07-23 20:45:00 | 0 | 139.782 | 4.7063 | 189.503 | 3.6837 | 133.48 | 0 | 325.948 | 25.95 | 960.637 | 89.8091 | 19.1393
2019-07-23 21:00:00 | 0 | 140.561 | 3.9393 | 204.859 | 3.6837 | 150.977 | 0 | 326.775 | 26.03 | 960.672 | 89.0252 | 15.9876
2019-07-23 21:15:00 | 0 | 140.366 | 4.962 | 194.103 | 4.7063 | 157.547 | 7.5187 | 346.876 | 25.9 | 960.612 | 88.7185 | 12.4886
2019-07-23 21:30:00 | 0 | 136.28 | 6.2403 | 188.193 | 5.2177 | 142.924 | 0 | 327.608 | 26.16 | 960.378 | 89.3676 | 11.7127
2019-07-23 21:45:00 | 0 | 152.341 | 3.9393 | 200.432 | 3.428 | 144.846 | 0.37567 | 353.865 | 26.18 | 960.587 | 90.7305 | 5.9561
2019-07-23 22:00:00 | 0 | 160.177 | 3.428 | 213.427 | 3.1723 | 166.845 | 0 | 334.979 | 26.26 | 960.263 | 88.4124 | 6.4438
2019-07-23 22:15:00 | 0 | 151.854 | 4.962 | 202.135 | 3.9393 | 165.093 | 2.9167 | 332.035 | 26.36 | 960.592 | 86.5039 | 9.1706
2019-07-23 22:30:00 | 0 | 154.628 | 4.962 | 204.471 | 5.2177 | 154.579 | 4.7063 | 333.129 | 26.12 | 961.041 | 87.4578 | 10.1534
2019-07-23 22:45:00 | 0 | 151.491 | 7.263 | 197.904 | 5.9847 | 155.117 | 1.654 | 332.77 | 26.05 | 961.183 | 87.1868 | 13.4862
2019-07-23 23:00:00 | 0 | 159.212 | 4.7063 | 204.435 | 4.7063 | 161.013 | 0 | 341.106 | 25.79 | 961.182 | 88.8262 | 11.8531
2019-07-23 23:15:00 | 0 | 150.34 | 5.4733 | 200.605 | 5.2177 | 156.059 | 2.9167 | 337.771 | 26.07 | 961.344 | 86.9237 | 15.8657
2019-07-23 23:30:00 | 12.8613 | 158.925 | 8.797 | 207.606 | 8.03 | 154.349 | 9.0527 | 343.867 | 26.21 | 961.175 | 87.6701 | 22.9043
2019-07-23 23:45:00 | 3.1587 | 136.505 | 6.7517 | 190.853 | 6.7517 | 146.775 | 5.4733 | 322.486 | 26.17 | 961.489 | 87.5985 | 22.5423