## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-07-24 00:00:00 | 0 | 145.822 | 6.2403 | 200.486 | 5.2177 | 148.256 | 3.428 | 338.711 | 25.79 | 961.32 | 86.574 | 14.2104
2019-07-24 00:15:00 | 0 | 144.27 | 6.2403 | 193.046 | 4.962 | 154.004 | 0.75133 | 332.76 | 25.83 | 961.478 | 87.3609 | 14.5318
2019-07-24 00:30:00 | 0.62733 | 148.117 | 7.263 | 200.934 | 5.9847 | 154.152 | 1.5183 | 339.7 | 26.08 | 961.181 | 84.8056 | 18.441
2019-07-24 00:45:00 | 8.776 | 147.749 | 6.496 | 198.861 | 5.729 | 153.371 | 5.729 | 344.463 | 25.94 | 961.181 | 87.4625 | 16.2204
2019-07-24 01:00:00 | 0 | 158.987 | 6.7517 | 205.887 | 5.9847 | 163.952 | 0 | 344.598 | 25.75 | 960.901 | 88.4141 | 15.0676
2019-07-24 01:15:00 | 0 | 161.552 | 5.729 | 213.128 | 5.4733 | 166.468 | 0 | 343.547 | 25.78 | 960.751 | 88.8622 | 11.1178
2019-07-24 01:30:00 | 0 | 178.94 | 5.2177 | 228.988 | 4.7063 | 175.046 | 1.007 | 0.19471 | 25.65 | 961.052 | 89.3112 | 10.6338
2019-07-24 01:45:00 | 0 | 193.664 | 4.195 | 219.664 | 4.7063 | 178.428 | 0 | 356.758 | 25.66 | 960.874 | 90.8104 | 11.3949
2019-07-24 02:00:00 | 0 | 159.399 | 5.729 | 210.008 | 5.2177 | 161.468 | 0 | 347.617 | 25.46 | 960.607 | 92.1083 | 9.2778
2019-07-24 02:15:00 | 0 | 176.997 | 5.729 | 216.41 | 4.195 | 168.721 | 3.6837 | 15.772 | 25.25 | 961.051 | 93.7446 | 6.3145
2019-07-24 02:30:00 | 0.372 | 176.997 | 4.4507 | 220.401 | 3.428 | 179.626 | 7.5187 | 12.7539 | 25.32 | 961.036 | 94.256 | 2.5531
2019-07-24 02:45:00 | 0 | 188.972 | 3.6837 | 239.119 | 3.1723 | 170.523 | 0 | 15.918 | 25.35 | 960.755 | 94.4946 | 1.7514
2019-07-24 03:00:00 | 0 | 169.452 | 3.1723 | 229.261 | 2.9167 | 178.652 | 0 | 3.9917 | 25.28 | 960.903 | 95.1082 | 0.66507
2019-07-24 03:15:00 | 0 | 181.329 | 2.9167 | 232.157 | 3.1723 | 171.448 | 0 | 17.3297 | 25.23 | 961.052 | 95.2446 | 0.70941
2019-07-24 03:30:00 | 0 | 224.264 | 4.7063 | 264.359 | 2.1497 | 197.637 | 0 | 52.622 | 25.3 | 961.052 | 95.1764 | 0.56901
2019-07-24 03:45:00 | 0 | 223.291 | 3.428 | 258.225 | 1.894 | 190.919 | 0 | 54.4475 | 25.51 | 961.052 | 94.5628 | 0.89415
2019-07-24 04:00:00 | 0 | 236.751 | 4.4507 | 286.142 | 1.894 | 204.549 | 0 | 68.3697 | 25.71 | 961.348 | 93.3697 | 1.1011
2019-07-24 04:15:00 | 0 | 258.486 | 2.9167 | 298.823 | 2.1497 | 242.811 | 0 | 78.4706 | 26.14 | 961.793 | 89.0745 | 0.77222
2019-07-24 04:30:00 | 0 | 253.472 | 3.428 | 296.535 | 2.661 | 244.466 | 0 | 77.5214 | 26.24 | 961.645 | 88.495 | 0.60965
2019-07-24 04:45:00 | 0 | 248.816 | 3.1723 | 288.324 | 2.661 | 239.202 | 0 | 80.3181 | 26.21 | 961.2 | 88.2879 | 0.22908
2019-07-24 05:00:00 | 0 | 253.854 | 2.661 | 287.594 | 2.1497 | 231.365 | 0 | 86.695 | 26.25 | 961.497 | 87.4699 | -0.31776
2019-07-24 05:15:00 | 0 | 240.051 | 1.127 | 265.053 | 0 | 208.046 | 0 | 85.0877 | 26.24 | 961.481 | 88.0143 | -0.32884
2019-07-24 05:30:00 | 0 | 263.93 | 1.6383 | 306.5 | 0 | 247.016 | 0 | 91.7003 | 26.39 | 961.626 | 86.9164 | -0.25864
2019-07-24 05:45:00 | 0 | 260.875 | 0 | 309.015 | 0 | 246.956 | 0 | 89.0919 | 26.55 | 961.793 | 86.5031 | -0.27711
2019-07-24 06:00:00 | 0 | 261.021 | 0 | 309.014 | 0 | 246.882 | 0 | 95.5407 | 27.01 | 962.1 | 83.7764 | -0.2882
2019-07-24 06:15:00 | 0 | 271.58 | 1.3827 | 309.108 | 0 | 246.855 | 0 | 107.561 | 27.72 | 962.687 | 82.344 | -0.25864
2019-07-24 06:30:00 | 0 | 278.381 | 0 | 309.142 | 0 | 246.844 | 0 | 129.603 | 27.45 | 962.627 | 82.2722 | -0.26972
2019-07-24 06:45:00 | 0 | 356.879 | 0 | 309.098 | 0 | 246.775 | 0 | 214.857 | 28.83 | 962.988 | 73.254 | -0.26972
2019-07-24 07:00:00 | 0 | 32.4959 | 1.6383 | 63.0398 | 0.37567 | 0.048647 | 0 | 210.397 | 31.38 | 963.135 | 69.6996 | -0.2882
2019-07-24 07:15:00 | 0 | 13.424 | 2.1497 | 78.8317 | 1.6383 | 0.048647 | 0 | 203.135 | 28.89 | 963.579 | 78.2017 | -0.26972
2019-07-24 07:30:00 | 0 | 39.7856 | 1.894 | 90.991 | 0.37567 | 0.048647 | 0 | 203.111 | 28.27 | 963.579 | 78.5423 | -0.26972
2019-07-24 07:45:00 | 0 | 63.1316 | 1.894 | 152.98 | 0 | 343.576 | 0 | 263.81 | 28.88 | 963.688 | 74.0463 | -0.25125
2019-07-24 08:00:00 | 0 | 335.6 | 0 | 16.5755 | 0 | 306.976 | 0 | 219.574 | 30.59 | 963.754 | 69.1076 | -0.25125
2019-07-24 08:15:00 | 0 | 27.5206 | 0 | 87.7484 | 0 | 50.1302 | 0 | 208.592 | 30.99 | 963.833 | 61.9704 | -0.25125
2019-07-24 08:30:00 | 0 | 295.495 | 1.3827 | 19.8541 | 1.6383 | 267.999 | 0 | 136.504 | 29.79 | 963.685 | 71.5697 | -0.25125
2019-07-24 08:45:00 | 0 | 197.013 | 1.3827 | 230.69 | 0 | 248.94 | 0 | 39.456 | 29.65 | 963.386 | 70.2077 | -0.25125
2019-07-24 09:00:00 | 0 | 90.4352 | 0 | 7.6168 | 0 | 224.727 | 0 | 220.642 | 30.68 | 963.885 | 67.7562 | -0.25125
2019-07-24 09:15:00 | 0 | 289.884 | 1.894 | 321.657 | 1.3827 | 219.248 | 0 | 129.653 | 32.19 | 964.177 | 68.8354 | -0.24016
2019-07-24 09:30:00 | 0 | 229.659 | 0 | 287.833 | 0 | 223.728 | 0 | 33.9335 | 30.94 | 964.177 | 68.6675 | -0.24016
2019-07-24 09:45:00 | 0 | 299.306 | 2.4053 | 7.1643 | 2.661 | 281.122 | 5.2177 | 121.94 | 31.5 | 964.177 | 70.9556 | -0.23647
2019-07-24 10:00:00 | 0 | 304.854 | 0 | 2.5937 | 1.894 | 272.181 | 0 | 115.183 | 30.85 | 963.921 | 67.8924 | -0.24386
2019-07-24 10:15:00 | 0 | 183.69 | 2.1497 | 235.26 | 3.428 | 183.666 | 0 | 345.501 | 31.13 | 963.925 | 70.5482 | -0.25864
2019-07-24 10:30:00 | 0 | 240.304 | 1.3827 | 240.85 | 1.127 | 198.708 | 0 | 13.8113 | 30.42 | 963.893 | 73.0469 | -0.25125
2019-07-24 10:45:00 | 0 | 213.13 | 2.9167 | 236.612 | 2.9167 | 210.406 | 0 | 60.6024 | 30.88 | 964.369 | 70.0953 | -0.25125
2019-07-24 11:00:00 | 0 | 274.9 | 2.9167 | 335.735 | 2.1497 | 269.841 | 0 | 90.6605 | 31.49 | 964.499 | 65.7357 | -0.24016
2019-07-24 11:15:00 | 0 | 212.522 | 4.7063 | 263.46 | 4.962 | 184.774 | 0 | 28.8664 | 31.76 | 963.94 | 67.4046 | -0.24016
2019-07-24 11:30:00 | 0 | 191.51 | 4.7063 | 244.37 | 4.195 | 200.971 | 0 | 14.9804 | 31.54 | 964.084 | 61.376 | -0.25864
2019-07-24 11:45:00 | 0 | 207.342 | 3.9393 | 266.184 | 4.7063 | 205.445 | 0 | 19.1146 | 32.25 | 964.037 | 57.4932 | -0.25864
2019-07-24 12:00:00 | 0 | 128.817 | 2.661 | 164.02 | 0.37567 | 136.769 | 0 | 294.817 | 32.51 | 963.932 | 55.2452 | -0.23647
2019-07-24 12:15:00 | 0 | 123.345 | 2.9167 | 168.325 | 2.661 | 104.546 | 0 | 311.208 | 32.87 | 964.324 | 53.9509 | 1.6516
2019-07-24 12:30:00 | 0 | 142.8 | 4.4507 | 196.632 | 4.962 | 146.01 | 0 | 330.444 | 33.63 | 964.056 | 54.8024 | 2.2649
2019-07-24 12:45:00 | 0 | 157.513 | 3.9393 | 206.213 | 4.4507 | 140.174 | 0 | 342.579 | 32.63 | 964.045 | 53.2357 | 3.3401
2019-07-24 13:00:00 | 0 | 143.189 | 6.2403 | 194.759 | 5.4733 | 155.519 | 0 | 328.79 | 33.8 | 964.116 | 51.6349 | 2.8302
2019-07-24 13:15:00 | 0 | 163.252 | 4.962 | 207.77 | 5.2177 | 181.978 | 0 | 333.751 | 32.72 | 963.917 | 53.2697 | 3.233
2019-07-24 13:30:00 | 0 | 136.039 | 5.2177 | 187.293 | 4.7063 | 129.036 | 2.661 | 324.802 | 33.01 | 963.98 | 55.5858 | 1.5445
2019-07-24 13:45:00 | 0 | 109.386 | 2.9167 | 217.838 | 0.75133 | 140.076 | 0 | 321.3 | 32.91 | 964.267 | 53.4741 | 0.82026
2019-07-24 14:00:00 | 0 | 152.065 | 3.9393 | 223.382 | 4.195 | 176.992 | 0 | 337.083 | 33.2 | 964.526 | 55.2452 | 1.1897
2019-07-24 14:15:00 | 0 | 202.843 | 3.9393 | 246.339 | 4.195 | 197.712 | 1.007 | 23.0542 | 34.01 | 964.082 | 54.2234 | 0.96435
2019-07-24 14:30:00 | 0 | 151.163 | 5.2177 | 201.443 | 5.729 | 147.88 | 0.75133 | 334.84 | 33.67 | 964.428 | 51.0209 | 0.67616
2019-07-24 14:45:00 | 0 | 148.062 | 5.2177 | 197.425 | 4.962 | 155.599 | 5.9847 | 328.776 | 33.73 | 964.516 | 48.4204 | 0.1441
2019-07-24 15:00:00 | 0 | 147.225 | 3.428 | 191.891 | 3.1723 | 163.853 | 0 | 326.952 | 34.62 | 964.504 | 44.9098 | 0.0036948
2019-07-24 15:15:00 | 0 | 91.2617 | 4.195 | 147.378 | 1.894 | 112.12 | 0 | 269.093 | 34.93 | 964.474 | 45.6929 | -0.12932
2019-07-24 15:30:00 | 0 | 132.228 | 2.661 | 184.272 | 1.894 | 149.194 | 0 | 298.776 | 35.69 | 964.77 | 45.9918 | -0.12932
2019-07-24 15:45:00 | 0 | 118.032 | 3.6837 | 158.944 | 2.9167 | 73.5268 | 0 | 274.492 | 35 | 964.77 | 46.5362 | 0.32884
2019-07-24 16:00:00 | 0 | 15.3373 | 4.962 | 70.6142 | 3.6837 | 353.658 | 0.75133 | 203.712 | 35.47 | 964.918 | 53.5149 | 1.8659
2019-07-24 16:15:00 | 0 | 50.5573 | 2.4053 | 96.0873 | 2.4053 | 207.674 | 0 | 240.536 | 34.47 | 964.177 | 50.8596 | 1.9509
2019-07-24 16:30:00 | 0 | 8.1183 | 3.6837 | 0.78196 | 1.3827 | 17.9867 | 0 | 199.653 | 34.28 | 964.474 | 54.4 | 1.1824
2019-07-24 16:45:00 | 0 | 17.2585 | 2.9167 | 55.451 | 2.1497 | 7.5111 | 0 | 192.663 | 33.4 | 963.585 | 56.9903 | 1.3375
2019-07-24 17:00:00 | 0 | 335.028 | 1.127 | 59.2535 | 0 | 0.26742 | 0 | 161.327 | 33.21 | 963.039 | 58.3598 | 1.1232
2019-07-24 17:15:00 | 0 | 331.997 | 1.894 | 51.983 | 0 | 4.1342 | 0 | 171.641 | 33.22 | 962.971 | 60.1153 | 0.16996
2019-07-24 17:30:00 | 0 | 344.354 | 0 | 22.0229 | 0.37567 | 312.642 | 0 | 212.887 | 32.6 | 963.206 | 57.4591 | 0.53575
2019-07-24 17:45:00 | 0 | 342.992 | 0.75133 | 22.0229 | 0 | 319.063 | 0 | 212.449 | 32.95 | 963.578 | 55.7221 | -0.018474
2019-07-24 18:00:00 | 0 | 127.528 | 1.894 | 187.342 | 1.127 | 134.434 | 0 | 313.445 | 33.17 | 964.024 | 57.4932 | 0.38057
2019-07-24 18:15:00 | 0 | 130.786 | 1.6383 | 182.332 | 1.894 | 125.096 | 0 | 319.038 | 32.99 | 964.172 | 51.0218 | 0.61334
2019-07-24 18:30:00 | 0 | 97.9561 | 2.4053 | 144.979 | 2.4053 | 108.073 | 0 | 287.181 | 33.04 | 964.024 | 53.3038 | 1.0272
2019-07-24 18:45:00 | 0 | 128.622 | 3.9393 | 168.884 | 2.9167 | 126.701 | 0 | 320.497 | 33.12 | 963.727 | 47.4796 | 2.6603
2019-07-24 19:00:00 | 0 | 149.317 | 3.428 | 201.398 | 2.9167 | 155.64 | 0 | 332.341 | 32.94 | 963.727 | 50.6812 | 3.8168
2019-07-24 19:15:00 | 0 | 149.806 | 3.9393 | 200.551 | 3.6837 | 141.903 | 2.4053 | 333.538 | 32.49 | 963.579 | 53.5431 | 2.3721
2019-07-24 19:30:00 | 0 | 144.865 | 4.195 | 192.579 | 3.6837 | 145.351 | 0.37567 | 324 | 32.04 | 963.282 | 55.2537 | 2.2169
2019-07-24 19:45:00 | 0 | 139.334 | 4.195 | 192.018 | 3.428 | 144.345 | 0 | 323.403 | 31.9 | 963.579 | 55.0553 | 2.4275
2019-07-24 20:00:00 | 0 | 143.432 | 4.195 | 191.548 | 3.1723 | 139.978 | 0 | 327.199 | 31.76 | 963.579 | 55.1276 | 1.0309
2019-07-24 20:15:00 | 0 | 138.762 | 3.1723 | 183.666 | 1.894 | 127.133 | 0 | 323.185 | 31.82 | 963.431 | 54.31 | 0.15149
2019-07-24 20:30:00 | 0 | 158.126 | 3.1723 | 201.012 | 2.661 | 147.86 | 0 | 338.341 | 31.89 | 963.875 | 54.9915 | -0.077592
2019-07-24 20:45:00 | 0 | 161.508 | 3.428 | 209.988 | 3.428 | 164.329 | 1.2627 | 343.596 | 31.83 | 964.172 | 55.2981 | 0.62443
2019-07-24 21:00:00 | 0 | 165.108 | 4.4507 | 215.656 | 3.9393 | 167.565 | 0 | 346.685 | 31.62 | 964.024 | 56.6951 | 1.2526
2019-07-24 21:15:00 | 0 | 181.869 | 3.1723 | 220.546 | 2.4053 | 166.981 | 0 | 347.902 | 31.37 | 964.024 | 57.5809 | 0.92741
2019-07-24 21:30:00 | 0 | 157.737 | 3.9393 | 213.345 | 2.9167 | 166.251 | 0 | 349.337 | 31.21 | 964.172 | 58.7393 | 1.3375
2019-07-24 21:45:00 | 0 | 171.457 | 3.9393 | 220.181 | 4.195 | 172.333 | 0 | 355.467 | 31.09 | 964.024 | 59.3526 | 2.6344
2019-07-24 22:00:00 | 0 | 158.856 | 6.2403 | 204.661 | 4.7063 | 166.835 | 5.2177 | 345.055 | 31.02 | 963.727 | 59.8637 | 8.9932
2019-07-24 22:15:00 | 0 | 148.152 | 7.263 | 194.03 | 7.0073 | 136.718 | 0.37567 | 335.057 | 30.47 | 963.431 | 64.8722 | 10.0943
2019-07-24 22:30:00 | 2.276 | 156.058 | 6.2403 | 194.078 | 4.962 | 160.121 | 5.729 | 337.441 | 29.51 | 963.431 | 72.1635 | 14.554
2019-07-24 22:45:00 | 0 | 148.006 | 5.4733 | 199.868 | 5.9847 | 161.945 | 3.9393 | 333.281 | 28.84 | 963.134 | 77.2061 | 14.0219
2019-07-24 23:00:00 | 0.88267 | 164.475 | 7.0073 | 197.321 | 7.5187 | 150.12 | 3.9393 | 345.495 | 28.52 | 963.541 | 79.262 | 23.4364
2019-07-24 23:15:00 | 0 | 137.243 | 6.7517 | 191.363 | 6.7517 | 142.791 | 0.37567 | 324.953 | 28.28 | 963.552 | 81.9646 | 25.4316
2019-07-24 23:30:00 | 0 | 147.274 | 7.263 | 206.362 | 6.496 | 151.192 | 1.5183 | 321.025 | 28.06 | 963.576 | 83.2291 | 30.8852
2019-07-24 23:45:00 | 2.7867 | 144.403 | 5.9847 | 198.064 | 6.496 | 151.898 | 5.9847 | 323.556 | 27.82 | 963.724 | 83.3314 | 33.0282