## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-07-25 00:00:00 | 0.88267 | 147.367 | 7.5187 | 201.172 | 8.03 | 148.462 | 0 | 334.593 | 27.55 | 963.428 | 84.4535 | 32.4629
2019-07-25 00:15:00 | 0 | 177.107 | 5.9847 | 210.399 | 5.9847 | 147.029 | 0.63133 | 5.1102 | 27.35 | 963.428 | 84.6597 | 26.0819
2019-07-25 00:30:00 | 0 | 147.739 | 8.2857 | 194.417 | 6.7517 | 151.73 | 5.9847 | 331.932 | 27.25 | 963.131 | 84.5596 | 20.9461
2019-07-25 00:45:00 | 1.3933 | 144.625 | 6.7517 | 206.124 | 5.2177 | 142.094 | 4.7063 | 339.673 | 27.13 | 963.131 | 82.2767 | 18.2156
2019-07-25 01:00:00 | 0 | 139.077 | 6.2403 | 182.787 | 4.7063 | 126.885 | 2.9167 | 345.027 | 27.03 | 962.686 | 76.1418 | 17.0258
2019-07-25 01:15:00 | 0 | 159.591 | 7.7743 | 206.854 | 8.5413 | 151.366 | 3.9393 | 353.447 | 27.52 | 962.686 | 75.4601 | 19.7489
2019-07-25 01:30:00 | 0 | 148.3 | 6.7517 | 192.569 | 6.2403 | 141.535 | 3.1723 | 339.795 | 27.67 | 962.686 | 78.8003 | 20.1073
2019-07-25 01:45:00 | 0.99933 | 140.658 | 8.797 | 194.833 | 9.0527 | 142.654 | 5.729 | 338.724 | 27.25 | 962.39 | 79.7546 | 29.8174
2019-07-25 02:00:00 | 3.5527 | 130 | 7.263 | 184.563 | 6.7517 | 155.187 | 1.2627 | 320.448 | 26.87 | 962.538 | 81.4587 | 32.5072
2019-07-25 02:15:00 | 3.414 | 142.021 | 6.496 | 195.757 | 7.263 | 156.622 | 0.887 | 325.632 | 26.49 | 962.543 | 88.0027 | 21.9141
2019-07-25 02:30:00 | 0 | 143.189 | 6.496 | 191.377 | 6.2403 | 143.433 | 3.428 | 324.731 | 26.34 | 962.393 | 87.7641 | 15.1563
2019-07-25 02:45:00 | 0 | 147.448 | 5.2177 | 208.655 | 5.729 | 167.184 | 0.63133 | 334.149 | 26.23 | 962.762 | 88.4117 | 15.958
2019-07-25 03:00:00 | 0 | 153.118 | 4.4507 | 205.151 | 3.9393 | 168.109 | 0 | 337.021 | 26.31 | 963.063 | 87.1165 | 16.5936
2019-07-25 03:15:00 | 0 | 156.574 | 5.2177 | 210.48 | 4.962 | 158.959 | 3.5637 | 342.472 | 26.27 | 962.779 | 87.0484 | 16.176
2019-07-25 03:30:00 | 0 | 153.605 | 4.7063 | 201.598 | 3.1723 | 159.251 | 0 | 336.071 | 26.19 | 962.983 | 86.912 | 12.06
2019-07-25 03:45:00 | 0 | 180.568 | 2.661 | 226.566 | 2.1497 | 192.298 | 0 | 345.465 | 26.24 | 963.091 | 85.6851 | 7.2456
2019-07-25 04:00:00 | 0 | 185.144 | 3.428 | 222.624 | 2.9167 | 168.912 | 0 | 1.7035 | 26.65 | 962.952 | 84.4921 | 2.5568
2019-07-25 04:15:00 | 0 | 159.591 | 3.428 | 207.438 | 2.661 | 166.162 | 0 | 343.956 | 26.5 | 962.904 | 85.5487 | 5.4868
2019-07-25 04:30:00 | 0.62733 | 151.609 | 5.2177 | 192.642 | 4.7063 | 151.512 | 4.962 | 330.28 | 26.41 | 963.214 | 86.5712 | 6.7911
2019-07-25 04:45:00 | 0 | 156.793 | 5.9847 | 193.519 | 5.4733 | 138.809 | 5.2177 | 348.945 | 26.45 | 963.208 | 86.3667 | 10.97
2019-07-25 05:00:00 | 0 | 152.072 | 5.729 | 194.808 | 5.2177 | 171.029 | 0 | 340.841 | 26.46 | 963.193 | 86.06 | 10.7742
2019-07-25 05:15:00 | 0 | 147.375 | 5.4733 | 190.647 | 5.4733 | 134.696 | 0 | 331.034 | 26.32 | 963.201 | 86.3667 | 13.2645
2019-07-25 05:30:00 | 0 | 141.802 | 4.195 | 193.713 | 3.428 | 158.277 | 0 | 324.366 | 26.41 | 963.349 | 85.3442 | 11.2988
2019-07-25 05:45:00 | 0 | 149.979 | 4.4507 | 203.885 | 4.195 | 152.972 | 0 | 336.071 | 26.31 | 963.453 | 85.2761 | 12.9209
2019-07-25 06:00:00 | 0 | 124.402 | 5.729 | 177.798 | 5.2177 | 128.637 | 0 | 303.778 | 26.4 | 963.403 | 83.6741 | 16.6416
2019-07-25 06:15:00 | 0 | 138.322 | 6.2403 | 189.99 | 5.4733 | 140.634 | 0.63133 | 323.393 | 26.44 | 963.453 | 84.7989 | 18.2008
2019-07-25 06:30:00 | 0 | 140.001 | 3.428 | 199.651 | 3.428 | 150.66 | 0 | 317.552 | 26.17 | 963.592 | 83.9127 | 13.7929
2019-07-25 06:45:00 | 0 | 133.942 | 4.4507 | 183.93 | 4.195 | 148.056 | 0.63133 | 319.158 | 26.34 | 963.728 | 82.6516 | 14.9272
2019-07-25 07:00:00 | 0 | 141.681 | 5.729 | 192.131 | 4.7063 | 138.152 | 0 | 323.928 | 26.59 | 963.873 | 81.5269 | 17.4175
2019-07-25 07:15:00 | 0 | 135.84 | 4.7063 | 179.964 | 4.7063 | 131.265 | 1.007 | 321.032 | 26.54 | 964.021 | 81.5269 | 12.1339
2019-07-25 07:30:00 | 0 | 132.725 | 6.2403 | 185.829 | 6.2403 | 145.282 | 0 | 324.196 | 26.58 | 963.873 | 82.0722 | 13.1204
2019-07-25 07:45:00 | 0 | 155.746 | 4.962 | 207.828 | 4.4507 | 170.275 | 0 | 344.589 | 26.59 | 963.576 | 83.3674 | 9.3886
2019-07-25 08:00:00 | 0 | 146.791 | 4.4507 | 192.788 | 4.7063 | 149.419 | 1.774 | 332.592 | 26.47 | 963.725 | 83.8446 | 7.5486
2019-07-25 08:15:00 | 0 | 157.497 | 3.6837 | 201.62 | 3.428 | 152.776 | 0.37567 | 327.989 | 26.65 | 964.021 | 84.0822 | 5.3243
2019-07-25 08:30:00 | 0 | 138.019 | 4.195 | 193.55 | 4.195 | 152.984 | 2.9167 | 316.675 | 27.29 | 964.318 | 82.3382 | 3.2478
2019-07-25 08:45:00 | 0 | 153.959 | 1.894 | 201.144 | 2.661 | 160.797 | 0 | 332.568 | 27.49 | 964.599 | 80.2942 | 2.6492
2019-07-25 09:00:00 | 0 | 152.191 | 3.9393 | 203.907 | 3.9393 | 153.188 | 0 | 337.272 | 27.85 | 964.62 | 79.0462 | 1.9546
2019-07-25 09:15:00 | 0 | 172.382 | 2.9167 | 226.069 | 3.1723 | 168.489 | 1.007 | 350.407 | 28.01 | 964.765 | 78.7053 | 1.0161
2019-07-25 09:30:00 | 0 | 153.845 | 4.7063 | 206.266 | 4.962 | 163.867 | 2.9167 | 323.526 | 27.58 | 964.469 | 83.4753 | 2.5975
2019-07-25 09:45:00 | 0 | 145.914 | 3.9393 | 197.144 | 4.7063 | 142.362 | 5.729 | 330.484 | 27.09 | 964.321 | 85.5878 | 2.1467
2019-07-25 10:00:00 | 0 | 145.671 | 4.4507 | 199.625 | 4.7063 | 136.864 | 4.195 | 329.024 | 27.28 | 964.469 | 85.1108 | 2.1134
2019-07-25 10:15:00 | 0 | 130.515 | 4.4507 | 182.158 | 1.6383 | 154.234 | 0 | 339.217 | 27.37 | 964.617 | 85.8263 | 0.96435
2019-07-25 10:30:00 | 0 | 161.362 | 4.962 | 213.151 | 4.4507 | 161.24 | 0.37567 | 342.671 | 27.31 | 964.469 | 85.69 | 1.4299
2019-07-25 10:45:00 | 0 | 170.952 | 3.9393 | 213.839 | 4.4507 | 160.856 | 0 | 344.482 | 27.36 | 964.627 | 84.8067 | 1.9028
2019-07-25 11:00:00 | 0 | 152.732 | 4.7063 | 187.446 | 3.428 | 152.026 | 3.428 | 0.19462 | 27.53 | 964.556 | 85.7958 | 2.18
2019-07-25 11:15:00 | 0 | 156.221 | 4.4507 | 210.743 | 4.4507 | 154.615 | 0 | 340.835 | 27.54 | 964.687 | 84.711 | 1.8437
2019-07-25 11:30:00 | 0 | 147.401 | 4.195 | 194.715 | 4.962 | 136.818 | 0 | 333.482 | 27.79 | 964.638 | 83.1021 | 2.0839
2019-07-25 11:45:00 | 0 | 141.754 | 3.9393 | 189.383 | 4.962 | 137.57 | 0 | 320.145 | 27.96 | 964.469 | 83.339 | 0.7168
2019-07-25 12:00:00 | 0 | 153.942 | 4.4507 | 198.676 | 4.7063 | 136.013 | 5.9847 | 321.774 | 27.94 | 964.765 | 83.4753 | 1.2045
2019-07-25 12:15:00 | 0 | 151.12 | 3.9393 | 209.599 | 4.962 | 158.369 | 0 | 331.019 | 28.35 | 964.765 | 82.7939 | 2.5753
2019-07-25 12:30:00 | 0 | 157.396 | 4.962 | 199.163 | 5.2177 | 144.211 | 0 | 342.55 | 28.65 | 964.765 | 82.3169 | 1.1491
2019-07-25 12:45:00 | 0 | 156.745 | 2.9167 | 197.069 | 4.4507 | 142.175 | 2.661 | 333.095 | 29.12 | 964.913 | 79.3771 | 0.31776
2019-07-25 13:00:00 | 0 | 129.068 | 3.428 | 199.807 | 3.6837 | 147.746 | 0 | 309.063 | 29.61 | 964.913 | 76.776 | -0.066507
2019-07-25 13:15:00 | 0 | 185.309 | 4.195 | 216.646 | 3.1723 | 160.383 | 1.007 | 352.526 | 29.99 | 964.913 | 77.793 | -0.24755
2019-07-25 13:30:00 | 0.99933 | 174.901 | 3.428 | 235.347 | 3.6837 | 192.216 | 0.37567 | 0.19455 | 30.1 | 964.469 | 74.2507 | -0.26972
2019-07-25 13:45:00 | 0 | 153.695 | 1.3827 | 211.515 | 2.4053 | 174.949 | 0 | 336.961 | 30.56 | 963.876 | 73.9101 | -0.25494
2019-07-25 14:00:00 | 0 | 133.316 | 2.9167 | 197.313 | 2.661 | 149.682 | 0 | 322.759 | 30.37 | 964.172 | 71.1512 | -0.24016
2019-07-25 14:15:00 | 0 | 149.026 | 2.661 | 201.982 | 1.894 | 160.796 | 0 | 319.841 | 30.37 | 964.172 | 70.5041 | -0.24016
2019-07-25 14:30:00 | 0 | 112.791 | 1.127 | 155.484 | 0 | 99.7557 | 0 | 348.099 | 31.04 | 964.617 | 67.2343 | -0.24016
2019-07-25 14:45:00 | 0 | 109.897 | 3.1723 | 155.874 | 2.4053 | 129.109 | 0 | 306.928 | 31.91 | 964.964 | 68.154 | -0.24016
2019-07-25 15:00:00 | 0 | 151.549 | 1.3827 | 188.551 | 1.6383 | 161.52 | 0 | 344.148 | 32.7 | 964.94 | 63.8261 | -0.25864
2019-07-25 15:15:00 | 0 | 301.552 | 3.6837 | 302.289 | 3.428 | 234.648 | 0 | 135.266 | 33.08 | 964.787 | 61.0155 | -0.24016
2019-07-25 15:30:00 | 0 | 317.933 | 3.6837 | 19.5624 | 3.428 | 289.174 | 0 | 128.554 | 32.47 | 964.038 | 67.2796 | -0.25864
2019-07-25 15:45:00 | 0 | 294.838 | 3.9393 | 334.642 | 3.9393 | 285.795 | 0 | 112.363 | 31.82 | 964.1 | 69.0501 | -0.24016
2019-07-25 16:00:00 | 0 | 259.639 | 2.1497 | 319.864 | 1.6383 | 273.399 | 0 | 78.9613 | 31.67 | 963.781 | 71.1277 | -0.24016
2019-07-25 16:15:00 | 0 | 295.236 | 2.661 | 7.2609 | 2.4053 | 282.788 | 0 | 121.289 | 31.57 | 963.701 | 73.2061 | -0.26972
2019-07-25 16:30:00 | 0 | 305.581 | 2.661 | 16.7905 | 1.894 | 299.453 | 0 | 94.2904 | 31.9 | 963.426 | 69.5372 | -0.26972
2019-07-25 16:45:00 | 0 | 295.516 | 2.661 | 329.77 | 2.1497 | 292.986 | 0 | 106.709 | 31.42 | 963.513 | 74.4875 | -0.24016
2019-07-25 17:00:00 | 0 | 292.215 | 2.661 | 326.786 | 2.9167 | 273.246 | 0 | 128.598 | 31.48 | 963.172 | 73.8419 | -0.27711
2019-07-25 17:15:00 | 0 | 303.693 | 3.1723 | 335.541 | 1.3827 | 266.729 | 0 | 127.82 | 31.31 | 963.359 | 75.6131 | -0.26972
2019-07-25 17:30:00 | 0 | 332.389 | 2.661 | 6.9452 | 1.894 | 293.674 | 0 | 123.272 | 31.34 | 963.536 | 75.8855 | -0.26972
2019-07-25 17:45:00 | 0 | 356.903 | 1.894 | 44.5907 | 1.3827 | 357 | 0 | 135.212 | 30.92 | 963.124 | 77.1117 | -0.27711
2019-07-25 18:00:00 | 0 | 39.2019 | 2.1497 | 81.6526 | 0.75133 | 9.8734 | 0 | 207.658 | 30.66 | 963.43 | 78.5422 | -0.26972
2019-07-25 18:15:00 | 0 | 4.7665 | 2.1497 | 57.7472 | 1.3827 | 14.8831 | 0 | 187.449 | 30.29 | 963.431 | 80.9945 | -0.27711
2019-07-25 18:30:00 | 0 | 8.2684 | 2.661 | 58.3065 | 1.127 | 25.1943 | 0 | 203.889 | 30.1 | 963.282 | 80.4496 | -0.27711
2019-07-25 18:45:00 | 0 | 17.3172 | 1.894 | 72.3746 | 0.75133 | 25.8785 | 0 | 210.603 | 30.1 | 962.986 | 80.8345 | -0.2882
2019-07-25 19:00:00 | 0 | 46.2158 | 2.1497 | 85.518 | 1.127 | 32.7889 | 0 | 237.087 | 29.99 | 962.838 | 82.1365 | -0.2882
2019-07-25 19:15:00 | 0 | 82.0309 | 2.1497 | 125.889 | 1.127 | 58.3849 | 1.007 | 274.02 | 29.89 | 962.689 | 81.5672 | -0.2882
2019-07-25 19:30:00 | 0 | 91.6401 | 2.9167 | 139.002 | 1.894 | 92.8321 | 0 | 279.956 | 30.1 | 962.097 | 79.8637 | -0.30667
2019-07-25 19:45:00 | 0 | 108.523 | 6.2403 | 155.836 | 4.195 | 121.246 | 0.63133 | 286.841 | 30 | 962.541 | 68.6882 | 5.6383
2019-07-25 20:00:00 | 0 | 111.223 | 5.4733 | 156.809 | 3.428 | 116.916 | 0 | 287.814 | 29.47 | 962.417 | 63.3049 | 20.5396
2019-07-25 20:15:00 | 0 | 146.598 | 6.7517 | 188.999 | 5.729 | 139.13 | 0 | 307.404 | 29.99 | 963.022 | 61.5346 | 25.7863
2019-07-25 20:30:00 | 4.4353 | 120.876 | 6.2403 | 175.985 | 4.195 | 112.311 | 3.9393 | 305.328 | 29.33 | 963.089 | 62.6331 | 26.3627
2019-07-25 20:45:00 | 0 | 136.87 | 7.263 | 207.533 | 5.4733 | 152.127 | 0.75133 | 315.958 | 29.51 | 963.178 | 60.0474 | 32.3964
2019-07-25 21:00:00 | 0 | 128.486 | 5.729 | 184.409 | 5.4733 | 150.095 | 0 | 307.393 | 29.12 | 963.54 | 61.211 | 49.2807
2019-07-25 21:15:00 | 0 | 131.702 | 5.9847 | 189.185 | 6.496 | 149.199 | 3.308 | 320.591 | 28.34 | 963.131 | 61.8943 | 49.1003
2019-07-25 21:30:00 | 2.3927 | 125.933 | 5.729 | 169.325 | 4.195 | 112.865 | 0.37567 | 320.587 | 28.55 | 963.28 | 60.0873 | 47.6118
2019-07-25 21:45:00 | 1.882 | 137.267 | 7.263 | 191.558 | 7.7743 | 138.484 | 1.127 | 307.068 | 28.73 | 963.131 | 60.7323 | 45.6535
2019-07-25 22:00:00 | 1.6487 | 132.644 | 8.2857 | 180.024 | 7.263 | 126.657 | 0.37567 | 317.094 | 28.25 | 962.983 | 61.1071 | 50.9815
2019-07-25 22:15:00 | 5.9673 | 123.13 | 9.3083 | 180.075 | 7.5187 | 137.171 | 2.4053 | 321.721 | 28.36 | 963.28 | 59.8468 | 59.2358
2019-07-25 22:30:00 | 3.414 | 141.63 | 11.6093 | 188.697 | 12.1207 | 135.522 | 2.1497 | 322.829 | 27.82 | 962.686 | 64.0755 | 63.1523
2019-07-25 22:45:00 | 2.648 | 146.424 | 8.03 | 188.552 | 8.5413 | 150.196 | 1.127 | 327.721 | 27.27 | 962.835 | 67.0748 | 60.0782
2019-07-25 23:00:00 | 2.0207 | 145.307 | 9.8197 | 195.855 | 8.797 | 145.672 | 0 | 328.235 | 27.06 | 962.538 | 69.4615 | 58.6926
2019-07-25 23:15:00 | 0 | 151.269 | 8.5413 | 205.297 | 8.2857 | 142.897 | 0 | 327.432 | 26.79 | 962.538 | 72.12 | 54.366
2019-07-25 23:30:00 | 1.2547 | 147.278 | 7.0073 | 196.926 | 7.263 | 163.266 | 3.0523 | 331.399 | 26.58 | 962.686 | 74.9829 | 51.5653
2019-07-25 23:45:00 | 2.648 | 149.054 | 9.3083 | 202.62 | 8.2857 | 153.362 | 1.3827 | 329.452 | 26.39 | 961.97 | 77.7778 | 48.8495