## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-07-26 00:00:00 | 0.99933 | 148.786 | 9.0527 | 201.452 | 8.5413 | 160.102 | 1.127 | 339.332 | 26.19 | 961.865 | 79.5501 | 41.0054
2019-07-26 00:15:00 | 0 | 156.914 | 6.7517 | 213.839 | 7.5187 | 168.644 | 1.007 | 332.494 | 26.31 | 962.195 | 79.6182 | 40.3551
2019-07-26 00:30:00 | 0.372 | 140.342 | 7.7743 | 199.846 | 5.9847 | 151.439 | 3.9393 | 335.682 | 25.78 | 961.993 | 82.4131 | 33.2351
2019-07-26 00:45:00 | 6.9887 | 165.973 | 10.8423 | 215.721 | 11.3537 | 163.88 | 5.9847 | 353.752 | 25.81 | 961.764 | 78.3601 | 33.6342
2019-07-26 01:00:00 | 0 | 151.613 | 7.263 | 209.878 | 7.7743 | 158.647 | 0.37567 | 330.581 | 25.87 | 962.212 | 81.086 | 30.4049
2019-07-26 01:15:00 | 2.0207 | 161.158 | 7.7743 | 209.495 | 6.496 | 163.178 | 3.428 | 348.015 | 26.01 | 962.218 | 80.4406 | 25.8454
2019-07-26 01:30:00 | 5.4567 | 164.935 | 8.5413 | 222.718 | 8.797 | 168.367 | 3.9393 | 354.306 | 25.62 | 961.941 | 81.3296 | 21.371
2019-07-26 01:45:00 | 5.9673 | 154.211 | 8.03 | 211.121 | 7.5187 | 161.293 | 4.7063 | 354.324 | 25.77 | 961.94 | 83.6519 | 22.1247
2019-07-26 02:00:00 | 0 | 166.941 | 6.2403 | 210.343 | 3.9393 | 175.751 | 5.729 | 343.349 | 25.59 | 962.238 | 82.8 | 17.4692
2019-07-26 02:15:00 | 0 | 176.68 | 5.9847 | 216.75 | 4.962 | 163.95 | 0.37567 | 339.949 | 25.65 | 962.238 | 82.086 | 20.4177
2019-07-26 02:30:00 | 0 | 163.561 | 4.962 | 205.894 | 4.962 | 148.665 | 0 | 342.626 | 25.55 | 962.09 | 83.5857 | 19.4497
2019-07-26 02:45:00 | 0 | 160.495 | 6.2403 | 204.021 | 4.7063 | 160.154 | 5.4733 | 346.595 | 25.6 | 962.238 | 85.1542 | 19.6012
2019-07-26 03:00:00 | 0 | 157.89 | 7.0073 | 212.588 | 7.263 | 165.898 | 5.729 | 344.599 | 25.42 | 961.939 | 86.6542 | 18.4077
2019-07-26 03:15:00 | 0 | 161.712 | 4.962 | 212.71 | 3.9393 | 185.175 | 0 | 349.613 | 25.38 | 962.08 | 85.2224 | 13.6746
2019-07-26 03:30:00 | 0 | 154.41 | 3.9393 | 206.577 | 3.9393 | 161.444 | 3.6837 | 343.236 | 25.52 | 962.238 | 85.2224 | 14.1069
2019-07-26 03:45:00 | 0 | 158.937 | 4.7063 | 213.075 | 4.195 | 162.199 | 5.2177 | 345.159 | 25.33 | 962.238 | 87.4041 | 12.629
2019-07-26 04:00:00 | 0 | 161.882 | 4.962 | 204.581 | 2.661 | 168.77 | 0 | 234.414 | 25.42 | 962.238 | 85.0861 | 12.1856
2019-07-26 04:15:00 | 0 | 167.018 | 3.6837 | 216.848 | 2.661 | 163.318 | 0 | 6.3283 | 26.07 | 962.09 | 79.4614 | 13.6894
2019-07-26 04:30:00 | 0 | 153.607 | 3.6837 | 193.652 | 2.9167 | 144.431 | 0 | 354.408 | 26.26 | 962.238 | 82.6998 | 13.8335
2019-07-26 04:45:00 | 0 | 171.788 | 3.6837 | 217.505 | 3.6837 | 159.619 | 0 | 4.6732 | 25.79 | 962.089 | 82.2567 | 12.3999
2019-07-26 05:00:00 | 0 | 167.188 | 4.195 | 205.481 | 3.6837 | 156.26 | 0 | 2.2392 | 25.99 | 962.238 | 81.2681 | 11.8863
2019-07-26 05:15:00 | 0 | 185.173 | 3.6837 | 230.719 | 3.9393 | 148.129 | 5.9847 | 2.3609 | 25.92 | 962.386 | 74.9269 | 9.9428
2019-07-26 05:30:00 | 0 | 187.461 | 3.428 | 206.671 | 1.894 | 160.396 | 0.63133 | 20.5667 | 26.19 | 962.535 | 81.4717 | 11.6425
2019-07-26 05:45:00 | 0 | 184.171 | 3.428 | 214.643 | 4.4507 | 143.093 | 2.4053 | 9.5152 | 26.17 | 962.672 | 78.5961 | 8.0326
2019-07-26 06:00:00 | 0 | 154.092 | 3.1723 | 196.488 | 2.9167 | 147.278 | 0 | 345.343 | 26.46 | 962.558 | 82.3449 | 9.481
2019-07-26 06:15:00 | 0.372 | 159.08 | 5.729 | 211.478 | 4.962 | 159.251 | 0.75133 | 345.927 | 25.85 | 962.835 | 85.651 | 10.5229
2019-07-26 06:30:00 | 0 | 156.861 | 5.2177 | 204.342 | 5.729 | 146.787 | 1.3983 | 342 | 25.64 | 962.687 | 84.7966 | 11.321
2019-07-26 06:45:00 | 0 | 151.792 | 4.195 | 199.975 | 3.6837 | 153.69 | 0 | 336.435 | 25.65 | 963.28 | 83.8381 | 9.0302
2019-07-26 07:00:00 | 0 | 148.731 | 4.7063 | 201.344 | 3.6837 | 162.82 | 2.9167 | 334.181 | 25.91 | 963.428 | 83.9086 | 9.5844
2019-07-26 07:15:00 | 0 | 141.324 | 3.9393 | 199.735 | 3.428 | 169.034 | 1.2627 | 332.595 | 26.09 | 963.336 | 82.049 | 9.5512
2019-07-26 07:30:00 | 0 | 159.124 | 3.1723 | 207.166 | 3.1723 | 156.496 | 0 | 342.307 | 26.31 | 963.431 | 80.2726 | 7.955
2019-07-26 07:45:00 | 0 | 115.846 | 2.4053 | 181.599 | 2.4053 | 152.774 | 0 | 295.453 | 27.2 | 963.728 | 75.3663 | 6.0189
2019-07-26 08:00:00 | 0 | 163.989 | 3.1723 | 188.064 | 1.894 | 162.044 | 0 | 344.324 | 27.58 | 964.172 | 73.3795 | 3.4953
2019-07-26 08:15:00 | 0 | 154.863 | 2.9167 | 201.692 | 3.1723 | 152.966 | 0 | 320.962 | 28.21 | 964.321 | 68.461 | 3.3254
2019-07-26 08:30:00 | 0 | 127.722 | 2.4053 | 197.969 | 3.1723 | 168.967 | 0 | 312.181 | 28.62 | 964.765 | 67.2343 | 2.3499
2019-07-26 08:45:00 | 0 | 145.645 | 3.9393 | 196.243 | 2.9167 | 154.23 | 0 | 306.806 | 29.67 | 964.737 | 66.1444 | 2.2797
2019-07-26 09:00:00 | 0 | 153.403 | 3.6837 | 197.532 | 4.195 | 150.777 | 0 | 333.776 | 29.04 | 964.825 | 64.6458 | 3.2145
2019-07-26 09:15:00 | 0 | 148.904 | 3.9393 | 200.863 | 4.195 | 179.789 | 0 | 318.285 | 29.09 | 964.809 | 66.485 | 3.7318
2019-07-26 09:30:00 | 0 | 152.917 | 3.6837 | 199.599 | 4.962 | 154.424 | 1.3827 | 322.2 | 29.71 | 964.97 | 66.0082 | 5.1839
2019-07-26 09:45:00 | 0 | 153.184 | 5.4733 | 200.353 | 5.729 | 165.149 | 2.1497 | 323.367 | 29.69 | 965.003 | 67.0981 | 5.2688
2019-07-26 10:00:00 | 0 | 136.891 | 2.9167 | 199.161 | 3.6837 | 144.746 | 3.9393 | 314.272 | 30.06 | 964.731 | 66.1444 | 5.3945
2019-07-26 10:15:00 | 0 | 138.034 | 5.4733 | 193.787 | 6.2403 | 139.809 | 3.6837 | 321.446 | 30.14 | 964.608 | 65.8038 | 6.4955
2019-07-26 10:30:00 | 0 | 129.887 | 5.9847 | 196.754 | 5.729 | 144.259 | 4.4507 | 321.397 | 30.55 | 964.729 | 63.7602 | 4.504
2019-07-26 10:45:00 | 0 | 148.442 | 5.729 | 204.536 | 5.2177 | 145.937 | 0 | 333.605 | 31 | 964.943 | 61.0354 | 4.1013
2019-07-26 11:00:00 | 0 | 136.039 | 5.4733 | 190.747 | 4.962 | 168.286 | 2.2853 | 320.327 | 31.41 | 964.807 | 58.0722 | 5.1247
2019-07-26 11:15:00 | 0 | 146.813 | 5.4733 | 196.802 | 5.2177 | 162.887 | 5.729 | 328.766 | 31.6 | 964.379 | 58.6172 | 4.6407
2019-07-26 11:30:00 | 0 | 139.833 | 5.2177 | 210.518 | 7.0073 | 143.676 | 0 | 336.621 | 31.72 | 964.506 | 56.6076 | 3.2182
2019-07-26 11:45:00 | 0 | 129.23 | 2.1497 | 186.296 | 0.37567 | 95.427 | 0 | 315.974 | 32.23 | 964.656 | 48.3992 | 3.5286
2019-07-26 12:00:00 | 0 | 158.315 | 4.4507 | 201.715 | 4.962 | 134.629 | 5.9847 | 343.527 | 32.95 | 964.702 | 50 | 3.8168
2019-07-26 12:15:00 | 0 | 137.644 | 4.4507 | 189.823 | 3.6837 | 173.636 | 0 | 344.889 | 32.88 | 964.676 | 48.9782 | 3.4547
2019-07-26 12:30:00 | 0 | 130.932 | 3.9393 | 176.155 | 1.127 | 81.0059 | 0 | 338.834 | 32.53 | 964.401 | 51.3284 | 2.5975
2019-07-26 12:45:00 | 0 | 145.816 | 5.2177 | 186.977 | 5.4733 | 133.486 | 4.7063 | 324.997 | 33.12 | 964.732 | 52.8951 | 3.0741
2019-07-26 13:00:00 | 0 | 241.534 | 1.3827 | 179.609 | 0 | 114.493 | 0 | 41.7797 | 33.26 | 964.576 | 50.9878 | 2.5531
2019-07-26 13:15:00 | 0 | 134.702 | 3.9393 | 189.823 | 3.9393 | 132.781 | 0 | 310.065 | 34.58 | 964.683 | 44.9591 | 1.1565
2019-07-26 13:30:00 | 0 | 153.136 | 4.4507 | 181.165 | 5.2177 | 99.9503 | 2.1497 | 334.797 | 33.5 | 964.402 | 45.8788 | 2.3167
2019-07-26 13:45:00 | 0 | 163.276 | 3.428 | 214.02 | 3.1723 | 164.59 | 1.5183 | 346.008 | 33.85 | 964.661 | 43.6649 | 2.8007
2019-07-26 14:00:00 | 0 | 146.107 | 6.496 | 190.066 | 6.496 | 147.372 | 0.63133 | 329.082 | 34.67 | 964.901 | 42.4387 | 2.9411
2019-07-26 14:15:00 | 0 | 164.05 | 3.428 | 217.699 | 3.9393 | 169.813 | 0 | 337.024 | 34.61 | 965.006 | 43.6232 | 2.6714
2019-07-26 14:30:00 | 0 | 152.675 | 4.7063 | 218.591 | 5.4733 | 183.088 | 1.3983 | 321.882 | 34.5 | 964.832 | 42.3235 | 4.7774
2019-07-26 14:45:00 | 0 | 102.201 | 2.661 | 178.666 | 2.1497 | 116.204 | 0 | 283.218 | 34.94 | 964.092 | 39.0875 | 2.6455
2019-07-26 15:00:00 | 0 | 192.515 | 5.2177 | 224.758 | 5.4733 | 172.289 | 0 | 6.418 | 34.94 | 964.183 | 40.3133 | 3.8537
2019-07-26 15:15:00 | 0 | 136.528 | 6.2403 | 192.28 | 5.729 | 131.812 | 0 | 324.473 | 34.79 | 964.177 | 40.9602 | 3.7909
2019-07-26 15:30:00 | 0 | 145.971 | 3.1723 | 200.428 | 2.661 | 162.768 | 0 | 317.077 | 35.17 | 964.474 | 38.6413 | 3.5877
2019-07-26 15:45:00 | 0 | 95.9374 | 4.4507 | 142.756 | 2.9167 | 91.6595 | 0 | 282.829 | 34.98 | 964.326 | 33.0894 | 3.2441
2019-07-26 16:00:00 | 0 | 136.091 | 3.428 | 191.854 | 3.6837 | 84.489 | 0 | 332.001 | 35.39 | 964.177 | 38.0596 | 1.6848
2019-07-26 16:15:00 | 0 | 154.321 | 4.7063 | 203.278 | 5.729 | 96.3505 | 0 | 328.574 | 34.97 | 964.029 | 37.9915 | 2.93
2019-07-26 16:30:00 | 0 | 141.269 | 2.661 | 195.938 | 2.1497 | 96.0589 | 0 | 335.453 | 34.93 | 964.326 | 37.3447 | 3.4769
2019-07-26 16:45:00 | 0 | 128.702 | 6.2403 | 180.722 | 5.2177 | 96.1804 | 0.63133 | 306.722 | 35.16 | 964.029 | 34.383 | 3.6985
2019-07-26 17:00:00 | 0 | 132.495 | 2.661 | 187.384 | 2.9167 | 96.1569 | 0 | 324.347 | 34.96 | 963.881 | 35.0301 | 3.1997
2019-07-26 17:15:00 | 0 | 158.487 | 5.4733 | 198.114 | 5.729 | 96.2587 | 3.308 | 327.742 | 34.76 | 963.585 | 34.3509 | 2.3499
2019-07-26 17:30:00 | 0 | 147.897 | 4.7063 | 182.934 | 3.428 | 96.1674 | 0 | 326.449 | 34.64 | 963.881 | 38.3364 | 2.1356
2019-07-26 17:45:00 | 0 | 196.721 | 2.9167 | 241.411 | 2.4053 | 96.1237 | 0 | 6.9042 | 34.36 | 963.588 | 39.7003 | 0.76853
2019-07-26 18:00:00 | 0 | 194.387 | 3.9393 | 248.728 | 3.1723 | 96.1238 | 0 | 11.7663 | 34.9 | 963.697 | 40.0409 | 0.96066
2019-07-26 18:15:00 | 0 | 183.972 | 2.1497 | 229.348 | 1.127 | 96.0828 | 0 | 5.7377 | 34.34 | 963.65 | 40.1121 | 0.85351
2019-07-26 18:30:00 | 0 | 157.78 | 2.9167 | 205.678 | 2.4053 | 96.1075 | 0 | 349.8 | 34.18 | 963.524 | 41.2805 | 0.87198
2019-07-26 18:45:00 | 0 | 168.408 | 4.4507 | 225.717 | 4.4507 | 96.1565 | 0 | 355.395 | 33.63 | 963.384 | 43.0518 | 0.75744
2019-07-26 19:00:00 | 0 | 156.978 | 2.4053 | 207.429 | 2.4053 | 96.1079 | 0 | 332.389 | 33.3 | 963.429 | 44.891 | 0.48033
2019-07-26 19:15:00 | 0 | 148.053 | 3.1723 | 189.288 | 2.4053 | 96.1079 | 0 | 328.717 | 33.13 | 963.431 | 39.9182 | 0.50619
2019-07-26 19:30:00 | 0 | 146.476 | 3.9393 | 198.316 | 3.9393 | 96.1106 | 0 | 325.249 | 33.21 | 963.431 | 39.9194 | 2.0839
2019-07-26 19:45:00 | 0 | 147.417 | 4.7063 | 195.787 | 4.4507 | 96.1217 | 1.007 | 321.517 | 33.03 | 963.134 | 40.1284 | 3.1406
2019-07-26 20:00:00 | 0 | 133.776 | 5.2177 | 186.842 | 3.9393 | 96.1971 | 0 | 310.701 | 33.21 | 963.431 | 39.9931 | 2.313
2019-07-26 20:15:00 | 0 | 135.772 | 5.4733 | 179.061 | 5.2177 | 96.2225 | 1.007 | 311.92 | 33.18 | 963.431 | 39.4145 | 5.1247
2019-07-26 20:30:00 | 0 | 127.745 | 3.6837 | 166.146 | 4.195 | 96.1253 | 0 | 313.867 | 33.08 | 963.134 | 36.8595 | 5.9228
2019-07-26 20:45:00 | 0 | 129.33 | 4.962 | 196.775 | 3.9393 | 96.1282 | 3.428 | 321.1 | 33.06 | 963.282 | 40.8124 | 10.2347
2019-07-26 21:00:00 | 0 | 120.135 | 7.263 | 186.096 | 6.2403 | 96.3953 | 3.6837 | 302.88 | 32.75 | 963.134 | 42.5837 | 9.662
2019-07-26 21:15:00 | 0 | 139.235 | 6.2403 | 186.128 | 5.2177 | 96.3262 | 1.774 | 322.255 | 32.52 | 963.134 | 46.1285 | 12.3038
2019-07-26 21:30:00 | 0 | 124.502 | 5.9847 | 173.832 | 5.4733 | 96.3322 | 5.9847 | 299.919 | 31.97 | 962.986 | 50.765 | 12.943
2019-07-26 21:45:00 | 0.744 | 148.93 | 8.797 | 200.768 | 9.8197 | 97.3083 | 4.4507 | 330.07 | 31.28 | 962.986 | 55.9455 | 16.6674
2019-07-26 22:00:00 | 0 | 147.884 | 4.195 | 198.555 | 4.195 | 155.499 | 0 | 331.043 | 30.65 | 962.838 | 58.569 | 12.9837
2019-07-26 22:15:00 | 2.9033 | 156.934 | 5.729 | 201.571 | 5.4733 | 159.488 | 5.729 | 349.215 | 30.17 | 962.838 | 60.1022 | 11.5205
2019-07-26 22:30:00 | 0 | 159.634 | 3.1723 | 204.539 | 3.9393 | 164.646 | 0 | 325.083 | 30.11 | 962.689 | 61.7376 | 8.1915
2019-07-26 22:45:00 | 0 | 129.834 | 3.6837 | 186.975 | 2.4053 | 164.159 | 0 | 324.621 | 30.19 | 962.541 | 61.2606 | 7.6151
2019-07-26 23:00:00 | 0 | 121.781 | 3.428 | 186.878 | 3.6837 | 162.845 | 0.37567 | 327.759 | 30.31 | 962.541 | 61.2947 | 6.1704
2019-07-26 23:15:00 | 0 | 130.004 | 5.2177 | 179.506 | 4.962 | 162.845 | 1.1427 | 315.668 | 30.18 | 962.245 | 63.2368 | 6.9168
2019-07-26 23:30:00 | 0 | 122.414 | 7.263 | 171.235 | 7.0073 | 161.045 | 0 | 316.763 | 30.11 | 962.097 | 63.9182 | 7.7629
2019-07-26 23:45:00 | 0 | 138.446 | 5.9847 | 191.232 | 5.729 | 161.046 | 0 | 319.853 | 30.24 | 962.103 | 65.213 | 9.2075