## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-07-27 00:00:00 | 0 | 134.286 | 5.4733 | 192.327 | 5.2177 | 160.267 | 0 | 330.24 | 30.12 | 962.248 | 66.5758 | 11.6203
2019-07-27 00:15:00 | 6.7333 | 146.619 | 7.5187 | 193.592 | 6.7517 | 160.559 | 5.2177 | 324.183 | 30.05 | 962.245 | 67.3935 | 11.2878
2019-07-27 00:30:00 | 0 | 139.248 | 7.5187 | 195.635 | 7.5187 | 161.045 | 0 | 327.053 | 29.99 | 962.394 | 68.4838 | 14.2769
2019-07-27 00:45:00 | 0 | 128.01 | 4.962 | 182.963 | 3.1723 | 161.29 | 0 | 323.529 | 29.66 | 962.542 | 69.1659 | 15.4518
2019-07-27 01:00:00 | 0 | 148.447 | 5.2177 | 205.712 | 3.9393 | 160.173 | 1.5183 | 323.022 | 29.33 | 962.258 | 70.189 | 10.6781
2019-07-27 01:15:00 | 0.372 | 134.402 | 5.4733 | 194.912 | 5.4733 | 157.662 | 2.661 | 318.682 | 29.27 | 962.469 | 71.7651 | 11.14
2019-07-27 01:30:00 | 0 | 122.827 | 6.496 | 183.487 | 6.2403 | 157.646 | 4.4507 | 305.802 | 29.33 | 962.188 | 71.7344 | 15.2449
2019-07-27 01:45:00 | 0 | 123.563 | 4.195 | 185.565 | 3.428 | 157.094 | 0.37567 | 293.042 | 29.25 | 962.474 | 71.3631 | 9.5733
2019-07-27 02:00:00 | 0 | 103.221 | 3.428 | 160.746 | 3.1723 | 157.094 | 0 | 289.539 | 29.26 | 962.438 | 71.4315 | 10.5008
2019-07-27 02:15:00 | 0 | 139.09 | 4.4507 | 195.911 | 3.9393 | 160.212 | 0 | 313.659 | 29.19 | 962.812 | 71.8417 | 9.1373
2019-07-27 02:30:00 | 0 | 135.908 | 5.9847 | 189.082 | 5.9847 | 160.315 | 0 | 328.88 | 29.18 | 962.508 | 71.0266 | 11.7829
2019-07-27 02:45:00 | 0 | 126.589 | 4.962 | 155.307 | 3.9393 | 158.565 | 3.428 | 314.477 | 29.09 | 962.369 | 72.0497 | 8.96
2019-07-27 03:00:00 | 0 | 126.344 | 4.7063 | 179.347 | 5.729 | 158.563 | 0 | 290.333 | 29 | 962.231 | 72.6623 | 4.977
2019-07-27 03:15:00 | 0 | 119.947 | 4.195 | 174.583 | 3.6837 | 158.591 | 0 | 297.763 | 28.98 | 962.092 | 72.2553 | 4.105
2019-07-27 03:30:00 | 0 | 107.752 | 3.9393 | 149.585 | 2.4053 | 158.488 | 0 | 300.819 | 28.96 | 962.39 | 72.5254 | 4.9622
2019-07-27 03:45:00 | 0 | 106 | 3.9393 | 162.41 | 2.661 | 158.514 | 0 | 294.81 | 28.75 | 962.242 | 72.9347 | 4.7146
2019-07-27 04:00:00 | 0 | 105.807 | 4.4507 | 144.818 | 4.7063 | 158.467 | 0 | 299.145 | 28.44 | 962.093 | 74.4351 | 4.3858
2019-07-27 04:15:00 | 0 | 96.7552 | 3.428 | 140.512 | 3.1723 | 158.468 | 0 | 283.014 | 28.37 | 962.39 | 76.14 | 4.5151
2019-07-27 04:30:00 | 0 | 127.51 | 4.195 | 159.22 | 3.428 | 158.463 | 0 | 308.944 | 28.2 | 962.242 | 78.3868 | 4.8661
2019-07-27 04:45:00 | 0 | 119.845 | 4.7063 | 169.221 | 4.7063 | 158.463 | 0 | 303.543 | 28.24 | 961.945 | 79.1367 | 5.0656
2019-07-27 05:00:00 | 0 | 113.055 | 3.9393 | 166.421 | 4.4507 | 158.462 | 0 | 293.611 | 28.14 | 962.093 | 79.6812 | 10.135
2019-07-27 05:15:00 | 0 | 126.975 | 7.5187 | 181.73 | 6.7517 | 158.269 | 1.5183 | 315.905 | 28.04 | 962.242 | 80.7047 | 15.4888
2019-07-27 05:30:00 | 0 | 113.785 | 4.4507 | 184.6 | 4.195 | 158.292 | 0 | 297.044 | 28.03 | 962.686 | 81.0108 | 12.5403
2019-07-27 05:45:00 | 0 | 109.647 | 5.4733 | 171.554 | 5.2177 | 158.363 | 0.37567 | 296.602 | 28 | 962.686 | 81.6572 | 14.3545
2019-07-27 06:00:00 | 0 | 119.893 | 4.962 | 173.016 | 5.2177 | 158.364 | 1.9097 | 300.911 | 27.92 | 962.686 | 81.4534 | 15.2597
2019-07-27 06:15:00 | 0 | 111.5 | 5.2177 | 156.644 | 5.2177 | 157.298 | 0.37567 | 286.124 | 27.82 | 962.686 | 82.1372 | 14.8754
2019-07-27 06:30:00 | 6.478 | 126.873 | 5.4733 | 164.008 | 5.4733 | 156.511 | 3.6837 | 300.953 | 27.81 | 962.686 | 82.6784 | 17.8831
2019-07-27 06:45:00 | 0 | 130.282 | 5.2177 | 167.806 | 4.7063 | 107.36 | 0.63133 | 296.139 | 27.76 | 962.242 | 82.8158 | 18.3597
2019-07-27 07:00:00 | 0 | 123.083 | 7.5187 | 169.37 | 5.729 | 97.6783 | 0 | 300.286 | 27.7 | 962.39 | 82.6824 | 18.6183
2019-07-27 07:15:00 | 0 | 100.525 | 5.9847 | 168.469 | 3.9393 | 98.3106 | 0 | 266.217 | 27.82 | 963.131 | 82.205 | 16.298
2019-07-27 07:30:00 | 0 | 125.664 | 7.263 | 149.102 | 5.9847 | 81.4725 | 0 | 322.313 | 28.02 | 963.28 | 81.3201 | 14.8939
2019-07-27 07:45:00 | 0 | 103.469 | 4.4507 | 150.559 | 2.4053 | 81.5685 | 0 | 267.093 | 27.99 | 963.428 | 81.5914 | 14.5983
2019-07-27 08:00:00 | 0 | 110.62 | 4.4507 | 196.446 | 3.1723 | 87.4059 | 0 | 290.055 | 27.93 | 963.312 | 80.2937 | 10.1091
2019-07-27 08:15:00 | 0 | 117.063 | 3.1723 | 175.543 | 3.1723 | 82.6156 | 0 | 295.602 | 28.1 | 963.603 | 80.8186 | 13.9998
2019-07-27 08:30:00 | 0 | 151.071 | 4.195 | 199.722 | 4.195 | 85.0475 | 0 | 326.372 | 28.5 | 963.728 | 78.7053 | 11.7348
2019-07-27 08:45:00 | 0 | 133.094 | 5.9847 | 188.726 | 5.729 | 85.9233 | 0 | 314.379 | 29.15 | 964.172 | 78.2283 | 13.9628
2019-07-27 09:00:00 | 0 | 152.482 | 1.894 | 189.87 | 1.127 | 84.8529 | 0 | 335.325 | 28.82 | 963.876 | 79.3186 | 10.2015
2019-07-27 09:15:00 | 0 | 125.941 | 3.428 | 177.56 | 2.661 | 83.5879 | 0 | 311.727 | 29.29 | 964.172 | 75.23 | 9.6657
2019-07-27 09:30:00 | 0 | 145.28 | 4.195 | 217.755 | 4.4507 | 82.7947 | 0 | 323.031 | 29.71 | 964.321 | 73.8881 | 6.2
2019-07-27 09:45:00 | 0 | 136.088 | 6.2403 | 190.528 | 5.729 | 87.6937 | 0 | 321.981 | 30.11 | 964.913 | 73.0246 | 13.4234
2019-07-27 10:00:00 | 0 | 129.084 | 3.9393 | 200.231 | 4.4507 | 90.9523 | 0 | 302.745 | 29.73 | 964.765 | 72.2752 | 8.9932
2019-07-27 10:15:00 | 0 | 152.868 | 7.5187 | 197.848 | 7.263 | 92.0224 | 0 | 320.692 | 30.41 | 964.617 | 69.5505 | 14.1402
2019-07-27 10:30:00 | 0 | 146.156 | 6.496 | 197.605 | 5.9847 | 159.41 | 3.0523 | 322.321 | 30.96 | 964.765 | 68.733 | 25.5782
2019-07-27 10:45:00 | 2.3927 | 173.807 | 9.8197 | 228.854 | 10.0753 | 188.519 | 1.2627 | 342.384 | 29.44 | 964.024 | 82.4932 | 50.5196
2019-07-27 11:00:00 | 7.4993 | 139.438 | 9.0527 | 194.46 | 7.263 | 145.812 | 3.6837 | 327.699 | 26.27 | 963.135 | 89.9458 | 58.0321
2019-07-27 11:15:00 | 0 | 144.864 | 3.1723 | 196.517 | 2.1497 | 130.363 | 0 | 284.935 | 25.79 | 962.791 | 94.5619 | 31.5814
2019-07-27 11:30:00 | 0.372 | 93.5427 | 5.729 | 152.631 | 3.9393 | 97.6553 | 0 | 294.11 | 26.07 | 962.686 | 93.5899 | 30.8224
2019-07-27 11:45:00 | 0 | 115.435 | 6.2403 | 173.69 | 4.7063 | 117.187 | 5.9847 | 297.567 | 27.28 | 963.382 | 88.3346 | 20.5581
2019-07-27 12:00:00 | 0 | 137.91 | 4.4507 | 192.741 | 3.428 | 135.575 | 0 | 311.192 | 28.56 | 963.581 | 82.8621 | 17.7131
2019-07-27 12:15:00 | 0 | 155.596 | 5.729 | 204.903 | 5.4733 | 130.709 | 0 | 311.726 | 29.28 | 963.728 | 79.5909 | 18.9989
2019-07-27 12:30:00 | 0 | 132.029 | 7.5187 | 189.573 | 4.7063 | 151.561 | 5.9847 | 312.462 | 29.16 | 963.135 | 81.556 | 20.0039
2019-07-27 12:45:00 | 1.2547 | 130.249 | 6.7517 | 190.831 | 6.496 | 144.357 | 5.4733 | 310.166 | 29.29 | 963.135 | 82.7798 | 21.8439
2019-07-27 13:00:00 | 0 | 133.412 | 5.4733 | 180.033 | 6.2403 | 134.896 | 0 | 322.451 | 29.47 | 963.579 | 80.5999 | 16.6564
2019-07-27 13:15:00 | 1.138 | 143.43 | 7.5187 | 190.39 | 7.5187 | 153.572 | 0.63133 | 332.099 | 30.14 | 963.283 | 77.2938 | 17.2808
2019-07-27 13:30:00 | 0 | 145.05 | 7.5187 | 206.014 | 7.263 | 149.841 | 1.774 | 324.125 | 30.23 | 963.135 | 74.5296 | 13.3088
2019-07-27 13:45:00 | 0 | 138.812 | 3.6837 | 211.005 | 4.7063 | 162.693 | 0 | 321.86 | 30.68 | 964.172 | 71.5942 | 10.449
2019-07-27 14:00:00 | 0 | 133.17 | 5.729 | 183.913 | 6.2403 | 124.755 | 0 | 316.947 | 31 | 964.172 | 71.5259 | 8.5757
2019-07-27 14:15:00 | 0 | 122.907 | 4.7063 | 193.616 | 4.7063 | 145.816 | 1.894 | 310.819 | 31.07 | 964.172 | 70.5041 | 4.2638
2019-07-27 14:30:00 | 0 | 133.194 | 4.4507 | 186.223 | 4.7063 | 148.734 | 0.63133 | 313.761 | 31.18 | 963.728 | 71.4578 | 7.1791
2019-07-27 14:45:00 | 0 | 128.452 | 4.4507 | 182.722 | 5.4733 | 128.111 | 4.962 | 303.815 | 31.02 | 963.431 | 73.0927 | 7.9587
2019-07-27 15:00:00 | 0 | 154.351 | 3.9393 | 210.542 | 4.962 | 138.106 | 4.962 | 333.922 | 31.3 | 962.986 | 71.3897 | 9.8874
2019-07-27 15:15:00 | 0 | 151.166 | 4.7063 | 209.253 | 4.962 | 161.039 | 0.37567 | 335.916 | 30.7 | 962.394 | 75.7834 | 26.5955
2019-07-27 15:30:00 | 0 | 60.3191 | 2.9167 | 123.379 | 2.9167 | 67.8833 | 0 | 246.506 | 29.43 | 962.986 | 69.6283 | 15.9063
2019-07-27 15:45:00 | 2.3927 | 356.899 | 14.6773 | 24.1046 | 17.4897 | 354.904 | 5.2177 | 139.417 | 28.24 | 961.949 | 72.8783 | 28.3252
2019-07-27 16:00:00 | 6.478 | 324.863 | 15.7 | 10.024 | 16.2113 | 334.255 | 2.1497 | 143.648 | 23.32 | 960.004 | 95.3462 | 36.6998
2019-07-27 16:15:00 | 0 | 129.026 | 5.4733 | 188.408 | 5.729 | 140.244 | 0 | 310.713 | 22.78 | 961.084 | 88.3433 | 32.188
2019-07-27 16:30:00 | 1.6267 | 87.8167 | 9.8197 | 142.295 | 6.7517 | 102.931 | 0 | 271.531 | 23.13 | 960.899 | 95.3124 | 46.9884
2019-07-27 16:45:00 | 1.138 | 125.641 | 12.3763 | 181.823 | 12.1207 | 119.726 | 0 | 305.51 | 24.6 | 961.497 | 75.2003 | 47.4218
2019-07-27 17:00:00 | 8.01 | 120.493 | 5.4733 | 164.864 | 6.496 | 106.11 | 9.564 | 297.448 | 26.02 | 962.066 | 85.2139 | 41.7702
2019-07-27 17:15:00 | 0 | 133.699 | 6.2403 | 190.428 | 4.7063 | 146.961 | 0 | 316.676 | 25.58 | 960.784 | 86.0941 | 35.8696
2019-07-27 17:30:00 | 6.2227 | 136.035 | 7.0073 | 183.346 | 4.7063 | 149.346 | 7.263 | 322.736 | 26.38 | 960.831 | 81.1861 | 22.7559
2019-07-27 17:45:00 | 0.372 | 137.446 | 5.729 | 189.309 | 6.2403 | 138.979 | 0.37567 | 317.99 | 26.09 | 960.206 | 80.7771 | 15.0861
2019-07-27 18:00:00 | 4.4353 | 155.795 | 8.2857 | 203.52 | 5.729 | 140.22 | 3.308 | 343.275 | 27.34 | 960.939 | 73.4833 | 12.2299
2019-07-27 18:15:00 | 0 | 159.202 | 6.7517 | 206.1 | 4.7063 | 155.138 | 0 | 346.901 | 27.57 | 961.204 | 71.4724 | 10.9257
2019-07-27 18:30:00 | 0 | 132.336 | 4.962 | 184.417 | 3.1723 | 151.853 | 0 | 323.758 | 27.57 | 961.797 | 70.4158 | 9.6214
2019-07-27 18:45:00 | 0 | 84.7845 | 2.661 | 118.225 | 1.127 | 109.12 | 0 | 272.873 | 27.03 | 961.204 | 80.3681 | 10.8074
2019-07-27 19:00:00 | 0 | 88.2401 | 3.6837 | 115.305 | 3.9393 | 49.4008 | 0 | 299.325 | 26.43 | 960.759 | 83.5719 | 9.1558
2019-07-27 19:15:00 | 0 | 315.533 | 4.195 | 2.3155 | 4.4507 | 331.886 | 0 | 134.842 | 26.23 | 960.907 | 86.2986 | 3.2699
2019-07-27 19:30:00 | 0 | 329.866 | 2.9167 | 17.5008 | 1.894 | 356.854 | 0 | 159.64 | 24.98 | 961.702 | 93.4901 | 1.5481
2019-07-27 19:45:00 | 0 | 71.0689 | 2.9167 | 129.318 | 3.6837 | 63.9864 | 0 | 257.162 | 24.66 | 962.086 | 94.5254 | 16.0467
2019-07-27 20:00:00 | 0 | 79.5415 | 4.4507 | 149.16 | 5.729 | 86.527 | 0 | 266.323 | 24.56 | 960.903 | 95.4491 | 21.9585
2019-07-27 20:15:00 | 2.1373 | 120.213 | 5.2177 | 174.57 | 4.962 | 108.165 | 5.2177 | 299.352 | 26.22 | 961.2 | 76.632 | 29.4886
2019-07-27 20:30:00 | 0 | 115.564 | 4.7063 | 171.649 | 4.195 | 102.275 | 0 | 301.177 | 27.39 | 961.942 | 72.6095 | 31.9309
2019-07-27 20:45:00 | 0 | 124.558 | 8.2857 | 172.312 | 7.5187 | 120.858 | 0 | 302.608 | 26.77 | 961.932 | 76.9655 | 31.4653
2019-07-27 21:00:00 | 3.1587 | 126.739 | 7.0073 | 182.057 | 5.2177 | 128.272 | 5.9847 | 308.062 | 26.63 | 962.624 | 76.2101 | 31.9382
2019-07-27 21:15:00 | 2.1373 | 131.387 | 5.9847 | 171.373 | 6.2403 | 122.212 | 1.007 | 312.612 | 26 | 962.575 | 79.4819 | 41.8109
2019-07-27 21:30:00 | 2.3927 | 122.265 | 6.7517 | 171.064 | 6.496 | 131.951 | 3.1723 | 303.254 | 25.24 | 962.945 | 80.1664 | 54.7613
2019-07-27 21:45:00 | 4.6907 | 138.842 | 11.3537 | 195.115 | 9.3083 | 139.767 | 3.428 | 324.12 | 25.7 | 962.973 | 83.9183 | 60.1077
2019-07-27 22:00:00 | 4.4353 | 126.607 | 8.5413 | 196.78 | 7.7743 | 150.385 | 0.63133 | 309.703 | 25.33 | 962.673 | 83.9905 | 68.8017
2019-07-27 22:15:00 | 2.3927 | 149.492 | 9.0527 | 198.177 | 8.797 | 147.228 | 1.127 | 332.183 | 25.52 | 962.683 | 86.0397 | 75.8035
2019-07-27 22:30:00 | 3.1587 | 135.62 | 13.399 | 191.413 | 10.8423 | 159.375 | 1.894 | 323.715 | 25.47 | 962.535 | 87.2677 | 74.5103
2019-07-27 22:45:00 | 0.62733 | 137.567 | 10.5867 | 201.368 | 10.331 | 147.644 | 1.007 | 325.006 | 25.25 | 962.683 | 85.9724 | 58.615
2019-07-27 23:00:00 | 1.2547 | 152.219 | 9.3083 | 186.107 | 11.098 | 138.979 | 0 | 325.395 | 25.31 | 962.238 | 88.0177 | 59.3819
2019-07-27 23:15:00 | 2.9033 | 132.748 | 10.331 | 181.483 | 8.797 | 153.655 | 3.9393 | 328.803 | 25.13 | 962.386 | 89.7903 | 50.7561
2019-07-27 23:30:00 | 1.2547 | 152.487 | 7.5187 | 198.179 | 7.0073 | 185.735 | 2.661 | 323.764 | 25 | 962.386 | 91.0175 | 43.7359
2019-07-27 23:45:00 | 2.276 | 150.71 | 9.0527 | 199.202 | 9.564 | 142.167 | 1.2627 | 332.916 | 25.03 | 962.386 | 91.1539 | 47.9443