## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-07-28 00:00:00 | 1.3933 | 143.774 | 9.564 | 193.044 | 9.3083 | 150.929 | 1.127 | 322.791 | 25.04 | 962.09 | 91.0175 | 55.6555
2019-07-28 00:15:00 | 0.372 | 137.08 | 8.5413 | 191.364 | 9.0527 | 137.981 | 1.5183 | 323.034 | 25.03 | 961.793 | 90.1994 | 56.5237
2019-07-28 00:30:00 | 0.744 | 160.008 | 7.7743 | 204.751 | 8.5413 | 161.736 | 1.894 | 311.935 | 24.95 | 961.941 | 91.0857 | 50.6009
2019-07-28 00:45:00 | 0.99933 | 150.491 | 9.3083 | 202.22 | 9.3083 | 147.96 | 3.9393 | 336.421 | 24.66 | 961.793 | 92.4493 | 47.2977
2019-07-28 01:00:00 | 5.712 | 147.765 | 8.5413 | 200.979 | 10.0753 | 137.47 | 2.1497 | 328.705 | 24.44 | 961.497 | 92.8583 | 46.7546
2019-07-28 01:15:00 | 2.4147 | 151.1 | 10.0753 | 200.589 | 9.3083 | 147.303 | 3.9393 | 340.826 | 24.51 | 961.348 | 88.9381 | 42.4833
2019-07-28 01:30:00 | 3.1587 | 147.547 | 10.0753 | 197.158 | 8.797 | 156.26 | 3.1723 | 342.263 | 24.91 | 961.645 | 88.7679 | 45.0734
2019-07-28 01:45:00 | 4.4353 | 159.643 | 11.6093 | 209.936 | 12.3763 | 167.772 | 5.729 | 344.356 | 24.49 | 961.645 | 91.3585 | 47.7928
2019-07-28 02:00:00 | 3.414 | 157.503 | 8.03 | 210.911 | 8.5413 | 160.083 | 4.4507 | 327.126 | 24.16 | 961.942 | 90.3366 | 54.8795
2019-07-28 02:15:00 | 0 | 142.807 | 8.797 | 195.902 | 9.0527 | 147.334 | 1.2627 | 312.632 | 23.97 | 961.793 | 89.9309 | 53.7563
2019-07-28 02:30:00 | 0.372 | 138.94 | 8.5413 | 205.327 | 8.03 | 173.018 | 0.37567 | 325.711 | 24.38 | 962.09 | 86.8309 | 53.3831
2019-07-28 02:45:00 | 4.4353 | 139.621 | 8.5413 | 196.027 | 8.03 | 149.99 | 0.37567 | 334.277 | 24.68 | 962.09 | 81.8871 | 52.4151
2019-07-28 03:00:00 | 2.7867 | 150.474 | 9.0527 | 202.084 | 9.0527 | 160.794 | 1.007 | 331.154 | 24.37 | 961.942 | 82.1582 | 52.4409
2019-07-28 03:15:00 | 1.3713 | 145.336 | 10.8423 | 201.157 | 9.3083 | 139.324 | 0 | 327.013 | 24.74 | 962.386 | 83.0437 | 47.815
2019-07-28 03:30:00 | 0.372 | 152.733 | 8.5413 | 200.884 | 7.263 | 159.451 | 0.63133 | 327.128 | 24.51 | 962.09 | 80.8943 | 44.7113
2019-07-28 03:45:00 | 0.62733 | 147.455 | 9.0527 | 205.442 | 9.564 | 146.408 | 2.1497 | 333.417 | 24.69 | 962.09 | 78.8852 | 43.1115
2019-07-28 04:00:00 | 4.18 | 143.36 | 7.263 | 200.128 | 7.263 | 153.875 | 3.9393 | 321.624 | 24.84 | 962.386 | 77.3823 | 38.6812
2019-07-28 04:15:00 | 1.6487 | 148.205 | 8.2857 | 190.589 | 8.03 | 145.966 | 3.428 | 336.06 | 24.97 | 962.535 | 76.1899 | 39.4055
2019-07-28 04:30:00 | 2.276 | 138.176 | 8.2857 | 202.999 | 8.2857 | 159.156 | 2.1497 | 338.514 | 24.99 | 962.683 | 75.8821 | 33.7265
2019-07-28 04:45:00 | 0.88267 | 159.254 | 10.5867 | 177.613 | 7.0073 | 138.906 | 1.127 | 336.689 | 24.97 | 962.683 | 74.5867 | 30.0058
2019-07-28 05:00:00 | 0.88267 | 159.181 | 8.5413 | 199.177 | 8.03 | 160.105 | 3.8193 | 336.445 | 25.23 | 962.817 | 74.0413 | 25.3319
2019-07-28 05:15:00 | 3.9247 | 144.309 | 7.5187 | 190.294 | 6.7517 | 130.922 | 2.9167 | 327.878 | 25.6 | 963.276 | 74.2458 | 29.0304
2019-07-28 05:30:00 | 0.62733 | 150.54 | 10.331 | 188.444 | 9.8197 | 159.497 | 0 | 333.208 | 25.06 | 962.832 | 78.4047 | 31.8496
2019-07-28 05:45:00 | 0.99933 | 149.542 | 10.0753 | 191.949 | 7.5187 | 120.189 | 3.9393 | 332.94 | 24.9 | 962.832 | 80.2455 | 29.7029
2019-07-28 06:00:00 | 0 | 139.539 | 9.0527 | 193.92 | 8.03 | 136.593 | 0.37567 | 325.906 | 25 | 962.98 | 81.2681 | 23.1593
2019-07-28 06:15:00 | 0 | 155.738 | 5.9847 | 206.172 | 7.263 | 153.691 | 0 | 335.685 | 24.98 | 963.396 | 80.4445 | 17.8276
2019-07-28 06:30:00 | 0 | 156.477 | 7.0073 | 202.036 | 5.9847 | 159.178 | 0.37567 | 341.158 | 25.36 | 963.2 | 81.4929 | 13.9407
2019-07-28 06:45:00 | 0 | 154.919 | 6.2403 | 199.602 | 5.9847 | 167.914 | 0 | 348.288 | 25.44 | 963.726 | 81.3224 | 14.1808
2019-07-28 07:00:00 | 0 | 142.554 | 6.7517 | 194.513 | 3.9393 | 151.707 | 0 | 328.114 | 25.78 | 963.873 | 79.7533 | 11.8457
2019-07-28 07:15:00 | 0 | 144.328 | 7.0073 | 193.073 | 7.0073 | 140.435 | 0.63133 | 337.715 | 25.51 | 964.318 | 79.8881 | 13.1019
2019-07-28 07:30:00 | 0 | 147.566 | 6.496 | 195.727 | 5.4733 | 158.662 | 3.6837 | 337.936 | 25.83 | 964.318 | 79.6842 | 8.3504
2019-07-28 07:45:00 | 0 | 147.655 | 5.2177 | 199.257 | 4.4507 | 162.35 | 0 | 346.451 | 26.28 | 964.352 | 78.1676 | 7.4931
2019-07-28 08:00:00 | 0 | 144.187 | 4.962 | 193.47 | 5.4733 | 147.13 | 0 | 326.348 | 26.8 | 964.765 | 77.4106 | 7.3047
2019-07-28 08:15:00 | 0 | 144.649 | 6.496 | 202.885 | 5.9847 | 148.493 | 4.962 | 338.803 | 26.74 | 964.617 | 77.2743 | 9.5549
2019-07-28 08:30:00 | 0 | 138.056 | 8.03 | 188.702 | 3.428 | 186.346 | 5.9847 | 338.633 | 26.76 | 965.062 | 78.8416 | 9.4662
2019-07-28 08:45:00 | 0 | 178.847 | 5.2177 | 213.46 | 4.7063 | 143.527 | 1.6383 | 350.499 | 26.74 | 964.913 | 79.5206 | 8.4021
2019-07-28 09:00:00 | 0 | 154.023 | 4.195 | 213.516 | 4.195 | 166.696 | 0.37567 | 333.441 | 27.07 | 965.21 | 78.9356 | 5.7972
2019-07-28 09:15:00 | 1.138 | 155.279 | 3.6837 | 206.497 | 2.9167 | 148.492 | 2.1497 | 339.648 | 27.57 | 965.506 | 75.6264 | 1.3154
2019-07-28 09:30:00 | 0 | 157.541 | 2.4053 | 193.816 | 3.1723 | 127.531 | 0 | 333.224 | 28.16 | 965.506 | 73.2307 | 0.27342
2019-07-28 09:45:00 | 0 | 157.634 | 3.9393 | 207.332 | 2.661 | 159.92 | 0 | 353.668 | 28.69 | 965.655 | 71.9006 | 0.5025
2019-07-28 10:00:00 | 0 | 188.933 | 3.9393 | 239.628 | 4.962 | 190.465 | 0.887 | 6.0797 | 29.25 | 965.358 | 71.3897 | -0.39904
2019-07-28 10:15:00 | 0.372 | 191.778 | 3.428 | 261.369 | 3.6837 | 212.157 | 0 | 14.7858 | 29.37 | 965.358 | 72.6839 | -0.16627
2019-07-28 10:30:00 | 0 | 208.047 | 3.428 | 236.904 | 4.195 | 200.387 | 0 | 30.8362 | 29.88 | 965.358 | 71.4918 | -0.25125
2019-07-28 10:45:00 | 0 | 185.65 | 4.4507 | 250.158 | 4.195 | 198.831 | 0 | 46.8867 | 29.91 | 965.358 | 71.0491 | -0.26972
2019-07-28 11:00:00 | 0 | 201.262 | 1.3827 | 242.643 | 0.75133 | 176.457 | 0 | 27.0425 | 30.71 | 965.803 | 68.8011 | -0.25125
2019-07-28 11:15:00 | 1.51 | 200.095 | 3.1723 | 257.721 | 2.9167 | 188.738 | 0 | 10.7732 | 30.79 | 965.854 | 69.5845 | -0.25125
2019-07-28 11:30:00 | 0 | 200.387 | 3.6837 | 244.005 | 4.195 | 198.831 | 0 | 75.8503 | 30.88 | 965.901 | 69.9251 | -0.25125
2019-07-28 11:45:00 | 0 | 203.646 | 3.9393 | 231.7 | 3.6837 | 165.733 | 2.0297 | 28.8664 | 31.07 | 965.681 | 69.9591 | -0.22539
2019-07-28 12:00:00 | 0 | 204.545 | 3.9393 | 254.243 | 4.195 | 205.251 | 0 | 31.6144 | 30.88 | 965.774 | 70.6403 | -0.11084
2019-07-28 12:15:00 | 0 | 181.71 | 3.6837 | 239.336 | 4.195 | 199.22 | 0 | 3.3074 | 31.01 | 965.801 | 67.3025 | -0.17735
2019-07-28 12:30:00 | 0 | 151.603 | 3.9393 | 222.58 | 5.2177 | 171.302 | 0 | 340.974 | 31.34 | 965.654 | 69.4142 | -0.22169
2019-07-28 12:45:00 | 0 | 137.79 | 4.962 | 192.911 | 5.2177 | 132.027 | 2.9167 | 295.644 | 31.42 | 965.802 | 66.7916 | -0.092371
2019-07-28 13:00:00 | 0 | 152.746 | 5.4733 | 204.122 | 5.729 | 144.891 | 2.2853 | 321.592 | 31.08 | 965.951 | 67.9837 | 1.6479
2019-07-28 13:15:00 | 0 | 134.386 | 4.7063 | 181.992 | 4.4507 | 159.775 | 0 | 316.752 | 31.37 | 965.951 | 65.1908 | 4.4892
2019-07-28 13:30:00 | 0 | 162.255 | 5.4733 | 212.828 | 6.7517 | 162.061 | 3.8193 | 353.498 | 31.4 | 965.802 | 66.0423 | 6.0817
2019-07-28 13:45:00 | 0 | 153.598 | 3.9393 | 200.717 | 3.9393 | 140.125 | 0 | 334.092 | 31.49 | 966.247 | 66.8256 | 7.8183
2019-07-28 14:00:00 | 0 | 105.106 | 3.6837 | 178.004 | 4.195 | 141.633 | 0 | 303.912 | 31.83 | 965.654 | 67.9155 | 5.8859
2019-07-28 14:15:00 | 0 | 178.646 | 5.729 | 237.366 | 6.7517 | 188.787 | 0 | 83.8026 | 31.81 | 965.802 | 66.9619 | 9.2778
2019-07-28 14:30:00 | 0 | 134.313 | 4.4507 | 193.446 | 4.7063 | 145.572 | 0 | 316.923 | 31.98 | 966.099 | 66.3488 | 9.9502
2019-07-28 14:45:00 | 0 | 225.484 | 4.195 | 257.38 | 4.4507 | 175.484 | 0 | 14.5426 | 32.16 | 965.792 | 65.5313 | 10.5081
2019-07-28 15:00:00 | 1.2547 | 175.995 | 7.5187 | 237.22 | 7.7743 | 184.774 | 2.4053 | 0.24319 | 32.11 | 965.325 | 66.5872 | 12.4886
2019-07-28 15:15:00 | 2.648 | 187.96 | 8.03 | 240.309 | 8.797 | 192.751 | 5.729 | 13.886 | 32.06 | 964.975 | 66.5191 | 13.9665
2019-07-28 15:30:00 | 1.3933 | 182.488 | 6.7517 | 251.982 | 8.03 | 215.489 | 1.2627 | 1.1916 | 32.17 | 964.729 | 66.0082 | 15.777
2019-07-28 15:45:00 | 0 | 173.49 | 4.4507 | 236.126 | 6.2403 | 188.106 | 0 | 351.018 | 32.08 | 965.037 | 65.3951 | 19.0913
2019-07-28 16:00:00 | 0 | 180.64 | 5.9847 | 220.27 | 6.2403 | 186.768 | 1.007 | 0.3891 | 32.43 | 965.011 | 64.5096 | 18.5629
2019-07-28 16:15:00 | 0 | 164.176 | 4.962 | 204.706 | 5.4733 | 202.77 | 0 | 313.421 | 32.08 | 964.672 | 65.8379 | 15.5073
2019-07-28 16:30:00 | 0 | 129.425 | 9.0527 | 183.5 | 7.5187 | 139.079 | 3.9393 | 318.844 | 32.14 | 964.934 | 65.1908 | 15.2449
2019-07-28 16:45:00 | 0 | 148.831 | 5.4733 | 210.153 | 5.4733 | 161.915 | 0 | 333.532 | 32.2 | 965.294 | 65.2589 | 11.8568
2019-07-28 17:00:00 | 0 | 180.105 | 5.729 | 206.967 | 5.9847 | 173.15 | 0 | 6.639 | 32.27 | 964.604 | 65.8719 | 9.7581
2019-07-28 17:15:00 | 0 | 166.535 | 4.7063 | 195.003 | 4.962 | 148.637 | 3.9393 | 350.142 | 32.44 | 964.286 | 65.5313 | 12.0637
2019-07-28 17:30:00 | 0 | 158.559 | 5.9847 | 214.336 | 5.4733 | 170.621 | 0 | 338.761 | 32.34 | 964.285 | 66.7575 | 12.145
2019-07-28 17:45:00 | 0 | 165.781 | 4.195 | 224.453 | 3.9393 | 179.667 | 0 | 347.929 | 31.86 | 964.765 | 68.188 | 13.3347
2019-07-28 18:00:00 | 0 | 156.637 | 5.9847 | 197.556 | 5.4733 | 152.503 | 4.195 | 341.339 | 31.76 | 964.616 | 69.6867 | 10.9072
2019-07-28 18:15:00 | 0 | 158.048 | 4.4507 | 208.281 | 5.4733 | 179.205 | 5.4733 | 323.075 | 31.54 | 963.875 | 69.891 | 15.8361
2019-07-28 18:30:00 | 0 | 146.691 | 4.7063 | 218.178 | 5.4733 | 177.868 | 0 | 343.479 | 31.46 | 964.024 | 70.1635 | 19.4792
2019-07-28 18:45:00 | 0 | 179.007 | 4.962 | 218.06 | 5.729 | 178.691 | 0 | 349.988 | 31.26 | 964.172 | 71.2275 | 19.0876
2019-07-28 19:00:00 | 0 | 143.948 | 5.2177 | 200.033 | 4.962 | 157.837 | 1.007 | 321.438 | 31.17 | 964.172 | 73.7888 | 24.5005
2019-07-28 19:15:00 | 0 | 146.449 | 7.263 | 195.635 | 7.0073 | 150.73 | 5.729 | 334.765 | 30.95 | 964.172 | 72.9812 | 26.6472
2019-07-28 19:30:00 | 0 | 143.822 | 7.263 | 194.565 | 7.263 | 156.52 | 0 | 335.13 | 30.85 | 964.172 | 75.4344 | 25.0584
2019-07-28 19:45:00 | 2.3927 | 166.008 | 6.496 | 212.105 | 9.564 | 161.386 | 1.1427 | 354.008 | 30.61 | 964.172 | 75.4344 | 21.855
2019-07-28 20:00:00 | 0 | 141.632 | 7.0073 | 197.435 | 6.7517 | 152.506 | 5.9847 | 314.963 | 30.58 | 964.32 | 76.184 | 26.0154
2019-07-28 20:15:00 | 0 | 146.181 | 7.263 | 196.073 | 7.5187 | 161.435 | 0 | 333.841 | 30.45 | 964.765 | 76.8654 | 26.2851
2019-07-28 20:30:00 | 0 | 146.157 | 7.263 | 187.632 | 5.4733 | 139.881 | 5.2177 | 327.734 | 30.4 | 964.616 | 77.8876 | 22.4166
2019-07-28 20:45:00 | 0 | 151.144 | 5.4733 | 225.825 | 4.962 | 151.266 | 2.2853 | 331.165 | 30.28 | 965.061 | 78.569 | 20.063
2019-07-28 21:00:00 | 6.2227 | 146.765 | 5.9847 | 205.269 | 5.9847 | 149.028 | 5.2177 | 331.554 | 30.15 | 965.061 | 79.1823 | 22.3206
2019-07-28 21:15:00 | 2.276 | 141.267 | 5.4733 | 194.127 | 5.9847 | 131.634 | 5.729 | 324.767 | 30.09 | 965.209 | 79.8637 | 24.8811
2019-07-28 21:30:00 | 4.3187 | 140.002 | 7.263 | 191.256 | 7.0073 | 146.595 | 4.962 | 326.688 | 29.98 | 964.765 | 81.1584 | 26.9613
2019-07-28 21:45:00 | 0 | 131.366 | 5.9847 | 172.379 | 6.496 | 130.831 | 0.75133 | 327.613 | 29.94 | 965.061 | 81.8399 | 24.8737
2019-07-28 22:00:00 | 1.7653 | 149.029 | 5.4733 | 185.42 | 4.962 | 151.316 | 2.2853 | 315.55 | 29.85 | 964.913 | 82.5222 | 20.7096
2019-07-28 22:15:00 | 3.6693 | 142.096 | 8.03 | 184.909 | 8.797 | 136.331 | 5.4733 | 324.722 | 29.89 | 964.469 | 81.6363 | 27.316
2019-07-28 22:30:00 | 0 | 125.845 | 9.0527 | 177.269 | 6.7517 | 122.779 | 5.2177 | 320.852 | 30.01 | 964.475 | 81.3292 | 30.2682
2019-07-28 22:45:00 | 5.712 | 140.197 | 8.2857 | 186.05 | 7.5187 | 139.808 | 5.2177 | 327.686 | 30.03 | 964.469 | 81.2266 | 30.7337
2019-07-28 23:00:00 | 0 | 158.126 | 8.03 | 210.159 | 7.263 | 152.531 | 2.9167 | 321.069 | 30.03 | 964.333 | 81.7036 | 29.1191
2019-07-28 23:15:00 | 0 | 132.777 | 6.7517 | 184.712 | 4.7063 | 145.111 | 3.9393 | 307.081 | 29.85 | 964.617 | 82.2487 | 28.5944
2019-07-28 23:30:00 | 0.372 | 133.608 | 6.7517 | 204.303 | 7.0073 | 158.496 | 5.729 | 320.811 | 29.75 | 964.469 | 82.7964 | 35.2193
2019-07-28 23:45:00 | 5.2013 | 140.418 | 8.5413 | 193.303 | 7.5187 | 146.743 | 3.6837 | 328.493 | 29.72 | 964.178 | 82.8632 | 30.767