## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-07-29 00:00:00 | 0 | 131.346 | 6.7517 | 191.799 | 7.263 | 136.309 | 1.5183 | 318.549 | 29.69 | 964.223 | 82.8647 | 31.9937
2019-07-29 00:15:00 | 3.414 | 128.533 | 8.2857 | 173.152 | 8.5413 | 127.17 | 1.3827 | 320.25 | 29.48 | 964.051 | 83.2792 | 32.6624
2019-07-29 00:30:00 | 0.372 | 127.902 | 9.564 | 171.574 | 9.0527 | 127.927 | 1.127 | 330.668 | 29.39 | 963.693 | 83.2124 | 42.2912
2019-07-29 00:45:00 | 2.4147 | 133.918 | 7.5187 | 195.937 | 7.0073 | 147.129 | 1.5183 | 319.028 | 29.26 | 964.14 | 83.8635 | 39.4462
2019-07-29 01:00:00 | 0.744 | 150.206 | 11.3537 | 200.698 | 8.5413 | 140.789 | 0.75133 | 317.859 | 29.16 | 964.085 | 84.892 | 39.9339
2019-07-29 01:15:00 | 0.372 | 140.254 | 7.263 | 189.797 | 6.7517 | 146.07 | 0 | 326.449 | 28.88 | 964.102 | 85.6759 | 31.4875
2019-07-29 01:30:00 | 0 | 150.536 | 6.2403 | 202.956 | 7.0073 | 164.017 | 2.661 | 323.605 | 28.75 | 964.152 | 86.9784 | 31.469
2019-07-29 01:45:00 | 2.0207 | 133.743 | 7.5187 | 199.011 | 6.496 | 138.658 | 2.661 | 314.475 | 28.76 | 964.166 | 86.0911 | 28.0328
2019-07-29 02:00:00 | 5.9673 | 133.576 | 7.5187 | 184.075 | 7.7743 | 133.722 | 2.4053 | 320.69 | 28.79 | 964.318 | 86.639 | 28.624
2019-07-29 02:15:00 | 5.2013 | 133.963 | 8.03 | 187.844 | 8.2857 | 125.908 | 0.887 | 320.222 | 28.83 | 964.169 | 87.0464 | 30.161
2019-07-29 02:30:00 | 0 | 125.688 | 7.0073 | 175.017 | 7.0073 | 131.212 | 1.894 | 322.068 | 28.84 | 964.466 | 86.4321 | 29.3038
2019-07-29 02:45:00 | 0 | 149.269 | 6.496 | 193.099 | 8.03 | 146.519 | 5.9847 | 327.059 | 28.85 | 964.021 | 86.0918 | 35.6109
2019-07-29 03:00:00 | 2.3927 | 151.99 | 7.0073 | 199.492 | 6.496 | 140.163 | 1.5183 | 319.042 | 28.83 | 963.724 | 86.0888 | 37.6542
2019-07-29 03:15:00 | 5.9673 | 141.625 | 9.3083 | 202.073 | 9.564 | 138.485 | 3.6837 | 328 | 28.71 | 963.279 | 85.9533 | 39.945
2019-07-29 03:30:00 | 0 | 134.083 | 7.263 | 203.78 | 7.263 | 160.827 | 1.5183 | 319.463 | 28.65 | 963.395 | 86.4999 | 44.2347
2019-07-29 03:45:00 | 1.882 | 133.206 | 8.797 | 177.545 | 7.0073 | 149.704 | 1.6383 | 320.749 | 28.63 | 963.576 | 86.09 | 47.4307
2019-07-29 04:00:00 | 4.946 | 145.716 | 8.5413 | 189.157 | 8.5413 | 148.783 | 0.37567 | 328.203 | 28.4 | 963.428 | 88.0004 | 48.0884
2019-07-29 04:15:00 | 9.0313 | 145.179 | 7.7743 | 195.846 | 9.3083 | 139.412 | 4.3307 | 318.342 | 28.17 | 962.983 | 88.0672 | 32.3964
2019-07-29 04:30:00 | 0 | 184.551 | 6.7517 | 238.138 | 7.263 | 185.014 | 0 | 4.3802 | 28.26 | 963.428 | 88.7486 | 20.4473
2019-07-29 04:45:00 | 0 | 142.347 | 5.9847 | 191.112 | 5.4733 | 145.778 | 0 | 329.759 | 27.73 | 963.724 | 91.2652 | 26.9724
2019-07-29 05:00:00 | 0 | 144.208 | 6.7517 | 199.012 | 5.729 | 151.192 | 2.4053 | 327.302 | 27.49 | 963.576 | 91.5449 | 30.5675
2019-07-29 05:15:00 | 8.01 | 149.659 | 5.729 | 192.954 | 5.729 | 133.014 | 4.4507 | 322.632 | 27.81 | 963.724 | 89.8413 | 35.6294
2019-07-29 05:30:00 | 5.2013 | 137.048 | 6.7517 | 197.715 | 5.9847 | 149.288 | 1.007 | 318.068 | 28.25 | 963.724 | 87.1792 | 38.7848
2019-07-29 05:45:00 | 2.648 | 155.858 | 7.7743 | 196.425 | 6.7517 | 146.635 | 4.4507 | 333.689 | 28.13 | 963.724 | 87.2132 | 44.1275
2019-07-29 06:00:00 | 4.4353 | 130.09 | 7.263 | 180.926 | 7.263 | 141.648 | 2.661 | 316.999 | 28.05 | 963.724 | 85.9871 | 49.9728
2019-07-29 06:15:00 | 0.372 | 131.381 | 10.8423 | 178.885 | 10.0753 | 130.846 | 0.37567 | 317.126 | 28.1 | 963.724 | 86.6359 | 50.8632
2019-07-29 06:30:00 | 2.1373 | 129.069 | 9.3083 | 190.394 | 9.3083 | 142.185 | 0 | 319.119 | 28.02 | 963.724 | 86.1242 | 46.8469
2019-07-29 06:45:00 | 8.01 | 161.073 | 6.7517 | 190.497 | 5.4733 | 146.472 | 4.4507 | 325.455 | 28.12 | 964.169 | 85.7515 | 41.7591
2019-07-29 07:00:00 | 2.9033 | 149.308 | 7.0073 | 197.308 | 7.7743 | 159.429 | 2.9167 | 329.928 | 28.23 | 964.203 | 85.4246 | 44.7299
2019-07-29 07:15:00 | 2.7867 | 128.69 | 10.331 | 189.237 | 7.263 | 158.418 | 2.541 | 320.534 | 28.08 | 964.172 | 85.7922 | 51.0849
2019-07-29 07:30:00 | 3.5527 | 115.627 | 7.5187 | 182.669 | 8.03 | 133.458 | 0.75133 | 303.797 | 28.14 | 964.024 | 84.77 | 53.021
2019-07-29 07:45:00 | 3.6693 | 127.888 | 10.331 | 194.37 | 10.8423 | 140.416 | 0 | 309.708 | 28.35 | 963.876 | 84.8382 | 52.4372
2019-07-29 08:00:00 | 1.882 | 127.547 | 11.098 | 174.276 | 9.8197 | 138.591 | 0 | 311.581 | 28.29 | 963.579 | 84.4293 | 55.3266
2019-07-29 08:15:00 | 2.648 | 141.972 | 8.03 | 183.592 | 8.03 | 146.764 | 4.195 | 319.558 | 28.42 | 964.172 | 84.3605 | 52.735
2019-07-29 08:30:00 | 6.2227 | 137.751 | 8.2857 | 189.533 | 8.03 | 149.646 | 2.9167 | 321.038 | 28.51 | 964.024 | 84.3189 | 51.4027
2019-07-29 08:45:00 | 2.0207 | 134.266 | 9.3083 | 189.572 | 9.3083 | 136.601 | 1.774 | 315.55 | 28.86 | 964.469 | 82.1007 | 47.1119
2019-07-29 09:00:00 | 1.2547 | 131.879 | 8.797 | 188.545 | 8.5413 | 132.609 | 2.1497 | 310.555 | 29.08 | 965.062 | 80.2589 | 45.4133
2019-07-29 09:15:00 | 4.4353 | 152.091 | 10.331 | 193.75 | 8.2857 | 128.036 | 3.428 | 320.649 | 29.2 | 965.358 | 80.0205 | 46.858
2019-07-29 09:30:00 | 1.882 | 137.247 | 11.6093 | 195.503 | 11.098 | 134.766 | 0.63133 | 320.323 | 29.39 | 965.21 | 79.8598 | 40.7541
2019-07-29 09:45:00 | 0 | 148.658 | 9.8197 | 200.202 | 8.797 | 141.701 | 0 | 326.362 | 29.57 | 965.358 | 80.8151 | 40.1482
2019-07-29 10:00:00 | 4.946 | 147.756 | 8.03 | 203.288 | 6.7517 | 159.651 | 2.9167 | 324.119 | 29.49 | 965.21 | 81.2569 | 42.1426
2019-07-29 10:15:00 | 1.51 | 144.083 | 8.2857 | 195.261 | 7.7743 | 150.165 | 2.7967 | 323.464 | 29.64 | 965.358 | 79.0427 | 41.2197
2019-07-29 10:30:00 | 0.99933 | 147.402 | 10.331 | 203.146 | 8.797 | 152.097 | 0.37567 | 329.052 | 30.09 | 964.765 | 72.0515 | 40.7135
2019-07-29 10:45:00 | 4.3187 | 158.755 | 8.03 | 217.487 | 9.564 | 159.144 | 0 | 336.651 | 30.5 | 964.172 | 73.7177 | 45.8013
2019-07-29 11:00:00 | 1.2547 | 146.041 | 12.1207 | 202.187 | 11.6093 | 157.471 | 1.007 | 328.61 | 30.31 | 963.728 | 73.0959 | 45.7939
2019-07-29 11:15:00 | 6.9887 | 185.553 | 9.564 | 244.079 | 8.2857 | 165.952 | 4.195 | 356.685 | 30.67 | 964.024 | 72.8545 | 41.3073
2019-07-29 11:30:00 | 2.1373 | 153.938 | 9.3083 | 209.059 | 10.331 | 165.027 | 1.6383 | 351.99 | 31.41 | 964.469 | 71.4578 | 49.6946
2019-07-29 11:45:00 | 0 | 184.969 | 5.9847 | 218.251 | 5.9847 | 170.086 | 0 | 80.2521 | 31.6 | 964.617 | 70.0954 | 37.6209
2019-07-29 12:00:00 | 5.2013 | 164.274 | 8.2857 | 233.061 | 7.5187 | 193.164 | 0.37567 | 334.14 | 31.75 | 964.469 | 69.2098 | 38.9865
2019-07-29 12:15:00 | 0 | 156.662 | 6.7517 | 210.445 | 7.0073 | 177.017 | 4.195 | 335.381 | 31.66 | 964.765 | 68.188 | 50.507
2019-07-29 12:30:00 | 1.882 | 172.274 | 10.8423 | 217.035 | 11.865 | 171.229 | 0.37567 | 356.319 | 32.18 | 964.024 | 65.906 | 54.7202
2019-07-29 12:45:00 | 6.2227 | 180.251 | 9.564 | 229.487 | 11.6093 | 189.468 | 3.428 | 356.538 | 32.4 | 963.876 | 64.5777 | 58.3084
2019-07-29 13:00:00 | 3.2973 | 195.304 | 10.5867 | 238.168 | 10.8423 | 197.761 | 0.63133 | 12.1837 | 32.52 | 963.728 | 62.7384 | 60.5744
2019-07-29 13:15:00 | 0 | 201.676 | 9.564 | 260.834 | 12.3763 | 202.016 | 1.3827 | 19.5766 | 32.6 | 963.579 | 63.2834 | 58.284
2019-07-29 13:30:00 | 0.88267 | 185.698 | 9.8197 | 230.63 | 11.098 | 191.681 | 0.37567 | 354.203 | 32.88 | 963.283 | 60.8651 | 58.7565
2019-07-29 13:45:00 | 7.7547 | 191 | 8.03 | 224.282 | 7.7743 | 176.579 | 3.1723 | 4.8638 | 33.13 | 963.876 | 58.2425 | 58.9782
2019-07-29 14:00:00 | 7.244 | 171.229 | 7.7743 | 212.926 | 8.5413 | 182.44 | 4.195 | 356.806 | 33.12 | 964.024 | 59.2303 | 61.3618
2019-07-29 14:15:00 | 6.478 | 200.971 | 9.8197 | 242.692 | 11.098 | 193.262 | 2.1497 | 20.8899 | 33.38 | 963.579 | 58.0041 | 62.1425
2019-07-29 14:30:00 | 6.478 | 173.977 | 7.7743 | 232.843 | 5.9847 | 154.497 | 0.75133 | 323.854 | 33.54 | 964.134 | 60.4224 | 53.7341
2019-07-29 14:45:00 | 6.7333 | 164.784 | 9.0527 | 223.82 | 10.8423 | 194.55 | 3.1723 | 348.926 | 33.51 | 962.931 | 59.2643 | 60.8393
2019-07-29 15:00:00 | 8.01 | 168.7 | 11.3537 | 223.431 | 14.6773 | 185.236 | 2.661 | 348.416 | 33.6 | 962.424 | 58.5831 | 60.5031
2019-07-29 15:15:00 | 2.9033 | 167.338 | 10.331 | 216.379 | 10.8423 | 179.983 | 0.37567 | 347.175 | 33.3 | 962.598 | 61.5123 | 56.2481
2019-07-29 15:30:00 | 9.0313 | 198.831 | 9.564 | 233.402 | 8.797 | 182.245 | 3.1723 | 26.848 | 33.47 | 963.206 | 58.3788 | 58.5813
2019-07-29 15:45:00 | 2.7867 | 174.779 | 10.8423 | 225.328 | 11.098 | 167.411 | 0.887 | 0.24319 | 33.48 | 963.22 | 59.8774 | 52.8917
2019-07-29 16:00:00 | 4.6907 | 180.081 | 10.8423 | 223.845 | 10.8423 | 182.732 | 0.37567 | 356.806 | 33.59 | 962.733 | 59.4687 | 56.6848
2019-07-29 16:15:00 | 4.18 | 184.215 | 13.399 | 228.733 | 12.632 | 186.112 | 1.6383 | 7.5632 | 33.52 | 962.762 | 58.5831 | 55.2918
2019-07-29 16:30:00 | 3.1587 | 168.554 | 9.564 | 221.097 | 9.564 | 174.706 | 1.007 | 1.5807 | 33.33 | 963.082 | 59.4687 | 53.5753
2019-07-29 16:45:00 | 5.712 | 184.482 | 11.098 | 227.565 | 12.3763 | 176.457 | 3.428 | 6.2499 | 33.37 | 962.688 | 58.515 | 49.0206
2019-07-29 17:00:00 | 1.882 | 170.037 | 10.0753 | 230.678 | 12.8877 | 184.653 | 1.127 | 352.793 | 33.08 | 962.393 | 59.9115 | 46.9393
2019-07-29 17:15:00 | 8.01 | 168.264 | 7.263 | 226.937 | 8.797 | 197.933 | 2.9167 | 356.446 | 32.88 | 962.689 | 61.1725 | 31.2769
2019-07-29 17:30:00 | 4.6907 | 187.474 | 10.0753 | 234.132 | 8.5413 | 185.334 | 0 | 3.5992 | 32.78 | 962.689 | 62.0572 | 14.7677
2019-07-29 17:45:00 | 0 | 282.289 | 7.263 | 336.831 | 7.5187 | 302.718 | 0.75133 | 98.6199 | 32.12 | 962.986 | 75.7548 | 12.3983
2019-07-29 18:00:00 | 1.138 | 299.483 | 9.0527 | 19.8297 | 7.0073 | 314.882 | 2.9167 | 120.173 | 27.68 | 962.986 | 77.545 | 39.3617
2019-07-29 18:15:00 | 3.9247 | 315.352 | 8.797 | 16.3753 | 4.7063 | 335.86 | 3.6837 | 132.169 | 26.57 | 962.986 | 81.1584 | 37.0778
2019-07-29 18:30:00 | 0 | 346.183 | 3.9393 | 27.8416 | 3.1723 | 13.895 | 0 | 147.856 | 25.8 | 962.384 | 86.091 | 16.489
2019-07-29 18:45:00 | 0 | 350.794 | 2.1497 | 82.5004 | 2.1497 | 325.096 | 1.3983 | 157.133 | 24.56 | 962.242 | 92.0924 | 16.9963
2019-07-29 19:00:00 | 1.882 | 350.752 | 4.195 | 50.8171 | 5.2177 | 355.838 | 0 | 178.089 | 24.15 | 961.732 | 92.9123 | 14.0626
2019-07-29 19:15:00 | 0 | 331.869 | 6.7517 | 11.2276 | 6.496 | 344.185 | 2.2853 | 141.705 | 24.09 | 962.238 | 93.4037 | 23.7061
2019-07-29 19:30:00 | 0 | 324.738 | 2.1497 | 4.3395 | 2.4053 | 348.688 | 0 | 140.342 | 23.98 | 962.98 | 94.7673 | 19.2874
2019-07-29 19:45:00 | 0.62733 | 346.161 | 5.729 | 27.7581 | 5.4733 | 350.543 | 0 | 144.345 | 23.83 | 962.386 | 96.0025 | 19.9038
2019-07-29 20:00:00 | 0 | 260.13 | 0 | 334.581 | 0 | 209.934 | 0 | 31.1591 | 23.62 | 963.573 | 96.6903 | 0.73158
2019-07-29 20:15:00 | 0 | 329.905 | 3.6837 | 14.9818 | 1.894 | 305.805 | 0 | 148.107 | 23.6 | 963.276 | 96.9655 | 5.1765
2019-07-29 20:30:00 | 1.51 | 277.007 | 8.797 | 318.669 | 8.03 | 268.559 | 0 | 98.884 | 23.62 | 964.167 | 97.3747 | 33.2096
2019-07-29 20:45:00 | 0 | 356.924 | 4.7063 | 55.1483 | 3.1723 | 37.0994 | 0 | 140.851 | 23.62 | 963.425 | 97.7489 | 16.555
2019-07-29 21:00:00 | 0 | 11.9771 | 0.37567 | 49.6716 | 1.127 | 11.2468 | 0 | 159.914 | 23.57 | 964.167 | 97.9202 | -0.43599
2019-07-29 21:15:00 | 0 | 35.6391 | 3.6837 | 90.1308 | 3.1723 | 34.4706 | 0 | 214.054 | 23.55 | 963.276 | 98.1589 | 0.081287
2019-07-29 21:30:00 | 0 | 36.3208 | 3.9393 | 89.4005 | 3.6837 | 36.905 | 0 | 215.368 | 23.56 | 963.87 | 98.2611 | 3.233
2019-07-29 21:45:00 | 0 | 41.0921 | 4.962 | 94.7074 | 5.2177 | 43.3804 | 0 | 216.196 | 23.48 | 963.425 | 98.193 | 3.1369
2019-07-29 22:00:00 | 0 | 252.103 | 1.6383 | 62.6954 | 1.6383 | 60.1776 | 0 | 73.9561 | 23.4 | 963.425 | 97.4429 | 0.34362
2019-07-29 22:15:00 | 0 | 154.412 | 3.428 | 204.692 | 2.661 | 160.181 | 0 | 340.032 | 23.9 | 963.573 | 91.4081 | 4.3082
2019-07-29 22:30:00 | 0 | 177.025 | 1.127 | 207.416 | 0 | 155.214 | 0 | 355.244 | 24.49 | 964.018 | 88.5774 | 2.9226
2019-07-29 22:45:00 | 0 | 184.806 | 1.3827 | 215.486 | 1.3827 | 154.427 | 0 | 11.7817 | 25.14 | 964.018 | 82.2998 | 0.2845
2019-07-29 23:00:00 | 0 | 202.563 | 3.428 | 264.202 | 1.894 | 189.371 | 0 | 18.645 | 25.79 | 963.87 | 80.7607 | -0.10715
2019-07-29 23:15:00 | 0 | 193.575 | 4.195 | 238.635 | 3.1723 | 172.813 | 0 | 14.5066 | 25.86 | 964.018 | 83.4168 | 1.1417
2019-07-29 23:30:00 | 0 | 204.696 | 3.428 | 254.55 | 2.661 | 213.458 | 0 | 31.252 | 25.56 | 964.167 | 82.6318 | 1.7107
2019-07-29 23:45:00 | 0 | 207.47 | 4.4507 | 257.008 | 3.6837 | 208.346 | 0 | 28.6233 | 25.8 | 964.612 | 84.7111 | 3.1