## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-07-31 00:00:00 | 6.7333 | 146.645 | 7.7743 | 193.421 | 6.496 | 164.945 | 2.9167 | 338.87 | 25.2 | 964.816 | 93.6605 | 29.5662
2019-07-31 00:15:00 | 4.6907 | 158.027 | 8.03 | 200.211 | 8.2857 | 144.958 | 6.7517 | 338.835 | 24.93 | 964.611 | 93.8756 | 29.7989
2019-07-31 00:30:00 | 4.18 | 155.383 | 8.5413 | 205.651 | 8.03 | 143.871 | 3.1723 | 341.653 | 24.89 | 964.463 | 92.5855 | 29.7029
2019-07-31 00:45:00 | 3.6693 | 152.341 | 6.2403 | 206.674 | 6.2403 | 172.056 | 3.9393 | 339.196 | 24.89 | 964.463 | 88.1541 | 21.7072
2019-07-31 01:00:00 | 1.2547 | 154.653 | 5.4733 | 204.605 | 6.2403 | 150.467 | 5.9847 | 344.794 | 24.76 | 964.76 | 87.9495 | 20.802
2019-07-31 01:15:00 | 6.7333 | 149.25 | 7.5187 | 206.455 | 5.9847 | 155.53 | 1.5183 | 340.12 | 24.56 | 964.167 | 89.8244 | 21.6038
2019-07-31 01:30:00 | 0 | 151.587 | 7.263 | 204.581 | 6.2403 | 161.03 | 0.887 | 347.812 | 24.18 | 964.463 | 90.0971 | 21.4966
2019-07-31 01:45:00 | 0 | 147.529 | 7.0073 | 196.242 | 5.4733 | 145.362 | 5.9847 | 334.027 | 24.09 | 964.315 | 89.2149 | 20.5766
2019-07-31 02:00:00 | 0.62733 | 150.768 | 6.2403 | 204.132 | 5.4733 | 160.383 | 0.37567 | 331.159 | 24.01 | 964.463 | 89.7276 | 27.8222
2019-07-31 02:15:00 | 8.2653 | 155.791 | 5.729 | 199.227 | 5.729 | 160.635 | 5.9847 | 333.684 | 23.84 | 964.315 | 90.1415 | 25.1767
2019-07-31 02:30:00 | 0 | 143.601 | 5.9847 | 201.281 | 5.9847 | 161.761 | 5.9847 | 335.548 | 23.73 | 964.463 | 90.8271 | 23.2184
2019-07-31 02:45:00 | 0 | 147.717 | 6.496 | 191.011 | 6.2403 | 146.305 | 5.9847 | 331.317 | 23.63 | 964.315 | 91.8513 | 27.3788
2019-07-31 03:00:00 | 0.99933 | 147.328 | 9.0527 | 200.748 | 7.5187 | 155.313 | 0.37567 | 333.654 | 23.49 | 964.315 | 92.1923 | 35.7846
2019-07-31 03:15:00 | 1.6487 | 149.908 | 6.2403 | 196.318 | 6.2403 | 159.768 | 2.1497 | 332.194 | 23.38 | 964.167 | 93.7606 | 30.2534
2019-07-31 03:30:00 | 0 | 155.994 | 6.496 | 201.26 | 5.9847 | 152.464 | 2.4053 | 327.836 | 23.09 | 964.612 | 94.238 | 32.0269
2019-07-31 03:45:00 | 6.9887 | 143.068 | 8.5413 | 195.368 | 8.03 | 144.139 | 3.428 | 323.016 | 23.01 | 964.167 | 93.8629 | 32.9026
2019-07-31 04:00:00 | 6.7333 | 133.282 | 6.7517 | 187.286 | 5.9847 | 122.789 | 2.7967 | 318.756 | 23.08 | 964.612 | 93.4538 | 24.3934
2019-07-31 04:15:00 | 0.88267 | 147.377 | 7.5187 | 188.26 | 6.2403 | 138.321 | 4.075 | 333.411 | 23.35 | 964.612 | 92.2605 | 38.1456
2019-07-31 04:30:00 | 2.648 | 144.334 | 8.5413 | 204.668 | 8.03 | 161.545 | 5.2177 | 331.561 | 23.11 | 964.463 | 94.4425 | 50.6748
2019-07-31 04:45:00 | 0.62733 | 145.307 | 9.3083 | 197.17 | 9.0527 | 146.671 | 4.4507 | 332.096 | 23.2 | 964.76 | 93.5561 | 53.5531
2019-07-31 05:00:00 | 7.244 | 152.416 | 8.5413 | 191.06 | 8.03 | 157.041 | 5.729 | 330.757 | 23.28 | 964.76 | 93.4197 | 48.7941
2019-07-31 05:15:00 | 0.99933 | 140.487 | 10.5867 | 192.983 | 10.8423 | 148.594 | 2.9167 | 328.664 | 23.15 | 964.463 | 92.5332 | 51.9347
2019-07-31 05:30:00 | 5.2013 | 148.156 | 11.3537 | 201.795 | 11.098 | 149.324 | 1.6383 | 327.934 | 23.1 | 964.463 | 90.7603 | 55.3841
2019-07-31 05:45:00 | 3.414 | 144.503 | 10.0753 | 195.318 | 9.564 | 148.641 | 4.195 | 337.376 | 23.15 | 964.612 | 89.8049 | 61.2827
2019-07-31 06:00:00 | 3.6693 | 148.423 | 12.632 | 201.089 | 11.3537 | 146.452 | 4.962 | 329.759 | 23.13 | 964.612 | 89.1237 | 60.9058
2019-07-31 06:15:00 | 1.6487 | 145.599 | 9.8197 | 199.628 | 9.0527 | 152.391 | 1.2627 | 330.417 | 23.21 | 964.908 | 89.1919 | 60.5105
2019-07-31 06:30:00 | 3.6693 | 150.614 | 12.1207 | 206.226 | 12.1207 | 150.03 | 2.661 | 337.841 | 23.25 | 964.908 | 88.8851 | 53.3757
2019-07-31 06:45:00 | 3.9247 | 158.112 | 10.0753 | 198.192 | 8.797 | 144.869 | 3.428 | 334.823 | 23.71 | 965.057 | 85.7142 | 48.2797
2019-07-31 07:00:00 | 0.744 | 147.157 | 11.3537 | 199.067 | 11.6093 | 149.153 | 3.0523 | 334.797 | 23.96 | 965.057 | 84.2136 | 49.9506
2019-07-31 07:15:00 | 2.648 | 146.025 | 13.1433 | 203.7 | 10.5867 | 157.174 | 2.9167 | 333.018 | 24.28 | 965.501 | 82.5024 | 53.6455
2019-07-31 07:30:00 | 1.6267 | 135.328 | 9.0527 | 202.95 | 9.564 | 160.3 | 1.774 | 324.471 | 24.4 | 965.798 | 81.95 | 51.0443
2019-07-31 07:45:00 | 1.7653 | 144.114 | 11.098 | 200.467 | 10.331 | 161.274 | 3.6837 | 332.575 | 24.58 | 965.65 | 82.768 | 45.8774
2019-07-31 08:00:00 | 3.5527 | 152.463 | 11.3537 | 197.376 | 9.564 | 154.507 | 1.774 | 333.354 | 24.43 | 966.095 | 84.8816 | 46.6105
2019-07-31 08:15:00 | 1.6487 | 145.224 | 8.5413 | 203.544 | 7.7743 | 150.092 | 0.37567 | 336.326 | 24.71 | 966.242 | 84.0579 | 42.4353
2019-07-31 08:30:00 | 8.01 | 151.881 | 9.0527 | 202.333 | 8.797 | 152.635 | 0.37567 | 327.197 | 24.67 | 966.208 | 83.8466 | 49.6698
2019-07-31 08:45:00 | 0.62733 | 143.238 | 9.0527 | 198.653 | 9.0527 | 149.249 | 0 | 327.311 | 24.78 | 966.119 | 83.9128 | 50.3349
2019-07-31 09:00:00 | 6.9887 | 137.252 | 9.3083 | 190.404 | 7.0073 | 146.28 | 2.1497 | 323.782 | 25.05 | 966.56 | 82.9584 | 53.4652
2019-07-31 09:15:00 | 1.2547 | 144.503 | 9.564 | 197.145 | 10.0753 | 145.161 | 0.63133 | 328.09 | 25.2 | 966.394 | 81.3906 | 45.2935
2019-07-31 09:30:00 | 0 | 146.158 | 10.0753 | 200.211 | 10.8423 | 141.535 | 0.63133 | 329.136 | 25.63 | 966.987 | 81.1179 | 44.2523
2019-07-31 09:45:00 | 2.0207 | 143.382 | 9.564 | 205.002 | 9.3083 | 161.755 | 2.1497 | 326.601 | 25.76 | 966.69 | 81.3555 | 47.4825
2019-07-31 10:00:00 | 2.648 | 150.535 | 10.5867 | 199.719 | 9.564 | 145.887 | 2.4053 | 332.413 | 25.94 | 966.987 | 80.9796 | 56.8837
2019-07-31 10:15:00 | 3.1587 | 146.907 | 8.03 | 194.241 | 10.331 | 155.352 | 2.4053 | 326.764 | 26.26 | 967.283 | 80.1608 | 49.1836
2019-07-31 10:30:00 | 3.1587 | 155.063 | 11.098 | 212.376 | 11.865 | 161.585 | 3.6837 | 337.43 | 26.86 | 967.135 | 78.1177 | 56.6013
2019-07-31 10:45:00 | 7.7547 | 155.244 | 10.0753 | 207.245 | 10.331 | 156.972 | 2.661 | 322.971 | 27.14 | 967.591 | 80.6327 | 48.6351
2019-07-31 11:00:00 | 0 | 158.176 | 11.098 | 198.362 | 7.7743 | 150.416 | 0.75133 | 339.463 | 26.82 | 967.304 | 81.1592 | 53.7909
2019-07-31 11:15:00 | 4.6907 | 150.658 | 11.3537 | 209.964 | 10.5867 | 156.715 | 2.1497 | 341.066 | 27.11 | 967.137 | 79.7615 | 46.6651
2019-07-31 11:30:00 | 5.712 | 144.187 | 10.331 | 193.884 | 11.098 | 151.315 | 1.2627 | 325.326 | 26.87 | 967.137 | 80.5452 | 43.3295
2019-07-31 11:45:00 | 4.6907 | 132.266 | 7.5187 | 201.523 | 7.263 | 152.19 | 4.962 | 315.133 | 26.96 | 967.433 | 78.092 | 32.1858
2019-07-31 12:00:00 | 4.0633 | 159.683 | 7.0073 | 213.905 | 3.9393 | 160.559 | 0 | 352.11 | 27.46 | 967.582 | 77.6491 | 29.8507
2019-07-31 12:15:00 | 3.9247 | 144.26 | 9.0527 | 201.279 | 10.331 | 139.832 | 3.1723 | 324.572 | 27.57 | 967.433 | 80.0682 | 34.0221
2019-07-31 12:30:00 | 2.276 | 153.82 | 10.0753 | 202.471 | 8.2857 | 167.443 | 5.729 | 343.134 | 27.66 | 967.433 | 77.5469 | 28.7143
2019-07-31 12:45:00 | 2.7867 | 134.991 | 6.2403 | 189.335 | 4.4507 | 156.131 | 0.37567 | 336.809 | 27.75 | 967.73 | 77.3424 | 27.268
2019-07-31 13:00:00 | 4.946 | 138.956 | 8.2857 | 202.374 | 6.2403 | 156.18 | 1.6383 | 320.436 | 28.1 | 967.73 | 77.138 | 25.9267
2019-07-31 13:15:00 | 3.1587 | 147.957 | 8.797 | 207.385 | 6.2403 | 170.265 | 0.37567 | 330.094 | 28.26 | 967.433 | 74.7189 | 26.7581
2019-07-31 13:30:00 | 0 | 157.956 | 6.2403 | 208.577 | 6.496 | 159.44 | 1.007 | 343.815 | 28.27 | 967.433 | 75.1959 | 24.7185
2019-07-31 13:45:00 | 0 | 148.371 | 7.5187 | 205.172 | 6.2403 | 172.747 | 0.75133 | 332.576 | 28.65 | 967.582 | 72.7769 | 22.2097
2019-07-31 14:00:00 | 0 | 152.65 | 7.263 | 200.886 | 7.263 | 148.903 | 1.007 | 333.956 | 28.93 | 967.582 | 72.4007 | 18.2045
2019-07-31 14:15:00 | 0 | 129.728 | 7.7743 | 190.1 | 4.7063 | 135.08 | 3.6837 | 316.646 | 28.86 | 967.73 | 74.9186 | 18.9989
2019-07-31 14:30:00 | 0 | 142.727 | 5.4733 | 189.737 | 6.496 | 147.373 | 2.9167 | 306.639 | 29.28 | 968.026 | 73.2414 | 21.2047
2019-07-31 14:45:00 | 0 | 131.563 | 7.5187 | 198.906 | 6.496 | 147.519 | 1.2627 | 330.743 | 28.89 | 967.73 | 74.9787 | 22.376
2019-07-31 15:00:00 | 2.7867 | 149.572 | 8.797 | 189.304 | 8.03 | 136.026 | 2.0297 | 338.325 | 29.11 | 967.878 | 75.0059 | 24.4562
2019-07-31 15:15:00 | 4.946 | 150.468 | 8.797 | 212.646 | 7.263 | 193.126 | 3.6837 | 327.251 | 28.96 | 967.582 | 73.9821 | 26.4773
2019-07-31 15:30:00 | 0 | 169.968 | 4.7063 | 218.972 | 5.4733 | 138.178 | 1.1427 | 336.921 | 28.94 | 967.433 | 71.9467 | 24.9402
2019-07-31 15:45:00 | 0 | 160.439 | 6.496 | 196.895 | 5.4733 | 149.688 | 0.37567 | 320.733 | 28.77 | 966.84 | 72.5625 | 22.7196
2019-07-31 16:00:00 | 4.4353 | 141.194 | 7.0073 | 199.211 | 7.5187 | 150.39 | 4.962 | 325.447 | 28.55 | 966.396 | 74.4802 | 25.0363
2019-07-31 16:15:00 | 0 | 130.588 | 3.428 | 184.177 | 5.4733 | 122.9 | 1.5183 | 316.666 | 28.49 | 966.544 | 74.753 | 20.898
2019-07-31 16:30:00 | 0 | 160.729 | 7.5187 | 198.457 | 6.496 | 149.003 | 1.894 | 344.277 | 28.63 | 966.84 | 74.31 | 23.03
2019-07-31 16:45:00 | 0 | 185.032 | 8.797 | 201.595 | 8.797 | 154.185 | 4.7063 | 6.7143 | 28.59 | 966.544 | 74.753 | 20.5655
2019-07-31 17:00:00 | 0 | 145.476 | 7.263 | 205.342 | 6.7517 | 160.121 | 1.007 | 326.469 | 28.49 | 966.692 | 76.1158 | 23.0484
2019-07-31 17:15:00 | 0 | 137.083 | 8.2857 | 185.126 | 4.4507 | 141.754 | 0.37567 | 338.292 | 28.57 | 966.989 | 77.4446 | 28.7053
2019-07-31 17:30:00 | 5.2013 | 151.825 | 7.5187 | 202.204 | 7.7743 | 127.109 | 5.9847 | 336.833 | 28.6 | 967.433 | 77.9557 | 32.086
2019-07-31 17:45:00 | 0 | 147.811 | 8.03 | 212.931 | 5.4733 | 179.533 | 5.729 | 349.409 | 28.38 | 967.137 | 78.8073 | 34.139
2019-07-31 18:00:00 | 3.414 | 138.154 | 9.3083 | 190.429 | 11.3537 | 142.508 | 1.5183 | 325.521 | 28.27 | 966.544 | 79.4548 | 36.7489
2019-07-31 18:15:00 | 0 | 156.739 | 6.7517 | 197.533 | 7.0073 | 153.917 | 0.75133 | 351.21 | 28.04 | 966.248 | 80.5451 | 37.5455
2019-07-31 18:30:00 | 6.7333 | 138.956 | 8.5413 | 187.461 | 8.03 | 140.489 | 4.195 | 322.042 | 27.83 | 966.248 | 80.4429 | 34.2549
2019-07-31 18:45:00 | 3.6693 | 146.668 | 9.0527 | 202.045 | 8.797 | 141.583 | 3.1723 | 328.226 | 27.58 | 965.874 | 80.831 | 39.7307
2019-07-31 19:00:00 | 0 | 143.307 | 5.9847 | 183.122 | 4.962 | 136.786 | 0.75133 | 325.696 | 27.47 | 966.092 | 82.7517 | 44.63
2019-07-31 19:15:00 | 0 | 130.864 | 9.8197 | 183.961 | 6.496 | 129.72 | 0.75133 | 326.187 | 27.28 | 966.097 | 83.4282 | 52.6848
2019-07-31 19:30:00 | 3.9247 | 151.707 | 12.1207 | 202.425 | 12.3763 | 148.738 | 5.9847 | 325.729 | 27.39 | 965.949 | 83.64 | 54.9904
2019-07-31 19:45:00 | 2.9033 | 136.448 | 11.3537 | 185.853 | 12.3763 | 136.473 | 2.9167 | 319.475 | 27.23 | 966.542 | 85.4806 | 59.0067
2019-07-31 20:00:00 | 0.99933 | 145.307 | 9.3083 | 194.492 | 8.2857 | 153.191 | 5.2177 | 327.968 | 27.17 | 966.542 | 84.1854 | 59.9969
2019-07-31 20:15:00 | 1.51 | 136.959 | 9.0527 | 198.434 | 8.5413 | 154.359 | 4.195 | 327.384 | 27.34 | 966.69 | 82.4131 | 68.7093
2019-07-31 20:30:00 | 2.648 | 144.211 | 7.7743 | 215.469 | 7.0073 | 181.445 | 4.962 | 323.49 | 27.18 | 966.69 | 83.1629 | 63.7952
2019-07-31 20:45:00 | 12.0953 | 156.866 | 6.2403 | 205.784 | 5.729 | 163.363 | 4.4507 | 337.726 | 27 | 967.135 | 84.4581 | 56.642
2019-07-31 21:00:00 | 0.88267 | 150.174 | 8.797 | 199.529 | 8.2857 | 149.882 | 0.37567 | 330.255 | 26.85 | 967.141 | 84.5603 | 59.184
2019-07-31 21:15:00 | 2.648 | 138.371 | 8.5413 | 188.53 | 8.2857 | 141.875 | 5.9847 | 324.95 | 26.86 | 967.135 | 82.6176 | 55.467
2019-07-31 21:30:00 | 0 | 138.906 | 8.03 | 194.297 | 8.5413 | 148.202 | 0.63133 | 327.457 | 27.23 | 967.728 | 82.4131 | 51.0406
2019-07-31 21:45:00 | 3.042 | 131.703 | 6.7517 | 196.633 | 5.9847 | 166.551 | 0.75133 | 324.926 | 27.18 | 967.877 | 84.1172 | 42.2727
2019-07-31 22:00:00 | 4.18 | 148.446 | 7.5187 | 190.233 | 6.7517 | 149.127 | 4.4507 | 327.943 | 27.06 | 968.025 | 84.5944 | 43.2482
2019-07-31 22:15:00 | 0.744 | 154.773 | 7.7743 | 201.014 | 7.263 | 162.998 | 0 | 328.187 | 27.2 | 968.038 | 85.8214 | 48.3951
2019-07-31 22:30:00 | 4.6907 | 140.099 | 7.5187 | 189.625 | 6.2403 | 155.333 | 3.1723 | 327.165 | 27.15 | 968.025 | 86.7075 | 45.5611
2019-07-31 22:45:00 | 1.2547 | 153.8 | 9.0527 | 207.049 | 6.2403 | 158.229 | 0.37567 | 337.386 | 26.94 | 968.025 | 87.8664 | 40.9479
2019-07-31 23:00:00 | 2.1373 | 156.501 | 9.0527 | 203.666 | 8.5413 | 171.224 | 0 | 333.395 | 26.8 | 968.323 | 89.0934 | 43.7654
2019-07-31 23:15:00 | 3.6693 | 149.419 | 6.7517 | 191.985 | 6.2403 | 152.388 | 6.2403 | 332.665 | 26.66 | 968.173 | 89.8432 | 35.6553
2019-07-31 23:30:00 | 7.7547 | 149.225 | 8.2857 | 201.866 | 8.03 | 155.357 | 5.4733 | 334.806 | 26.53 | 968.324 | 90.6953 | 26.4514
2019-07-31 23:45:00 | 4.4353 | 149.2 | 7.5187 | 204.518 | 6.496 | 157.45 | 2.661 | 334.903 | 26.59 | 968.18 | 90.9339 | 25.923