## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-08-01 00:00:00 | 5.4567 | 148.932 | 7.5187 | 204.104 | 6.2403 | 155.454 | 1.007 | 333.808 | 26.38 | 968.33 | 91.7178 | 31.5946
2019-08-01 00:15:00 | 0 | 136.327 | 5.4733 | 205.419 | 6.7517 | 170.713 | 2.9167 | 329.744 | 26.41 | 968.583 | 90.6612 | 19.1282
2019-08-01 00:30:00 | 0 | 154.53 | 5.2177 | 210.31 | 4.962 | 171.029 | 0 | 337.288 | 26.33 | 968.91 | 91.6837 | 5.2688
2019-08-01 00:45:00 | 0 | 181.542 | 0 | 19.562 | 0 | 333.297 | 0 | 344.175 | 26.28 | 969.168 | 93.0129 | -0.66507
2019-08-01 01:00:00 | 0 | 27.645 | 2.1497 | 64.7844 | 2.1497 | 348.337 | 0 | 160.808 | 26.21 | 969.299 | 93.3878 | -0.39535
2019-08-01 01:15:00 | 0 | 137.161 | 3.1723 | 191.095 | 2.4053 | 107.665 | 0 | 321.753 | 26.1 | 969.329 | 83.6439 | -0.34731
2019-08-01 01:30:00 | 0 | 139.394 | 3.6837 | 194.59 | 1.894 | 148.325 | 0 | 331.96 | 26.71 | 968.708 | 83.5042 | 3.0852
2019-08-01 01:45:00 | 0 | 186.994 | 2.1497 | 232.261 | 0 | 176.237 | 0 | 20.9285 | 27.36 | 968.55 | 76.4829 | -0.099761
2019-08-01 02:00:00 | 0 | 200.524 | 2.1497 | 255.063 | 2.1497 | 191.763 | 0 | 22.1939 | 27.59 | 968.445 | 76.1419 | -0.28081
2019-08-01 02:15:00 | 2.0207 | 192.371 | 3.428 | 238.588 | 3.1723 | 197.092 | 0 | 20.101 | 27.5 | 968.571 | 76.2781 | -0.29928
2019-08-01 02:30:00 | 0 | 182.15 | 4.4507 | 223.767 | 3.1723 | 181.153 | 0 | 1.6548 | 27.48 | 968.182 | 77.5051 | -0.2143
2019-08-01 02:45:00 | 0 | 151.366 | 4.7063 | 201.695 | 4.4507 | 155.746 | 0 | 331.18 | 26.7 | 967.877 | 81.3224 | 7.12
2019-08-01 03:00:00 | 0 | 156.622 | 3.1723 | 192.448 | 0 | 171.71 | 0 | 348.531 | 26.45 | 968.039 | 82.6176 | 0.99761
2019-08-01 03:15:00 | 0 | 209.82 | 1.894 | 262.704 | 1.127 | 182.905 | 0 | 14.2119 | 26.85 | 968.54 | 80.7771 | -0.29928
2019-08-01 03:30:00 | 0 | 228.169 | 1.127 | 302.054 | 0 | 298.303 | 0 | 65.9976 | 26.83 | 968.408 | 79.9591 | -0.2882
2019-08-01 03:45:00 | 0 | 228.169 | 0 | 302.054 | 0 | 298.352 | 0 | 65.4622 | 26.89 | 968.531 | 80.5726 | -0.26972
2019-08-01 04:00:00 | 0 | 228.169 | 1.6383 | 70.0409 | 1.894 | 23.3133 | 0 | 65.4865 | 26.56 | 968.191 | 85.0034 | -0.2882
2019-08-01 04:15:00 | 0 | 164.118 | 1.6383 | 157.064 | 0.75133 | 56.3607 | 0 | 64.2454 | 26.07 | 968.416 | 81.7996 | -0.26972
2019-08-01 04:30:00 | 0 | 186.02 | 1.894 | 225.301 | 0 | 59.8653 | 0 | 11.1943 | 26.76 | 968.046 | 81.459 | -0.2882
2019-08-01 04:45:00 | 0 | 188.332 | 1.127 | 225.277 | 0 | 59.8652 | 0 | 11.5837 | 26.77 | 968.22 | 81.8679 | -0.2882
2019-08-01 05:00:00 | 0 | 164.848 | 1.127 | 225.009 | 0 | 59.8652 | 0 | 11.5107 | 26.73 | 968.834 | 81.3907 | -0.2882
2019-08-01 05:15:00 | 0.372 | 133.455 | 2.4053 | 221.358 | 1.127 | 60.0597 | 0 | 325.267 | 26.9 | 968.803 | 80.5044 | 0.21061
2019-08-01 05:30:00 | 0 | 141.729 | 2.9167 | 189.747 | 2.4053 | 86.7313 | 0 | 321.519 | 26.88 | 968.962 | 80.9134 | 3.5138
2019-08-01 05:45:00 | 0 | 125.473 | 3.428 | 157.454 | 3.1723 | 86.7313 | 0 | 299.082 | 26.69 | 969.291 | 80.6408 | 3.4251
2019-08-01 06:00:00 | 0 | 113.598 | 3.1723 | 152.781 | 2.4053 | 86.7313 | 0 | 295.651 | 26.74 | 969.217 | 78.7321 | 2.2539
2019-08-01 06:15:00 | 0 | 116.566 | 4.4507 | 163.878 | 3.428 | 86.7313 | 0 | 306.382 | 26.96 | 969.064 | 76.6871 | 2.4645
2019-08-01 06:30:00 | 0 | 128.685 | 5.2177 | 176.606 | 4.962 | 86.7313 | 0 | 307.624 | 26.99 | 969.211 | 77.437 | 5.7566
2019-08-01 06:45:00 | 0 | 110.359 | 5.2177 | 170.154 | 5.2177 | 86.7301 | 0 | 291.072 | 26.98 | 969.211 | 79.1401 | 9.8431
2019-08-01 07:00:00 | 0 | 115.54 | 4.962 | 176.111 | 4.4507 | 86.9223 | 0 | 308.754 | 26.65 | 969.508 | 83.1253 | 10.353
2019-08-01 07:15:00 | 0 | 126.857 | 3.428 | 173.777 | 3.6837 | 86.9236 | 0 | 298.733 | 26.68 | 969.656 | 82.2745 | 9.1521
2019-08-01 07:30:00 | 0 | 101.468 | 4.195 | 164.736 | 5.729 | 86.9173 | 3.8193 | 314.309 | 26.77 | 970.101 | 79.6444 | 8.5979
2019-08-01 07:45:00 | 0 | 98.7003 | 5.4733 | 148.029 | 4.195 | 86.8251 | 0 | 304.131 | 27.04 | 970.397 | 74.2983 | 10.1054
2019-08-01 08:00:00 | 0 | 103.957 | 5.9847 | 150.535 | 4.962 | 86.9224 | 0 | 290.382 | 27.5 | 970.397 | 70.3448 | 11.1954
2019-08-01 08:15:00 | 0 | 109.947 | 3.9393 | 173.368 | 4.4507 | 86.9254 | 0 | 292.071 | 27.83 | 970.694 | 68.9839 | 9.8283
2019-08-01 08:30:00 | 0 | 122.687 | 4.7063 | 168.094 | 4.962 | 86.9175 | 0 | 304.503 | 28.33 | 971.061 | 68.1597 | 8.8824
2019-08-01 08:45:00 | 0 | 135.453 | 4.7063 | 149.292 | 4.195 | 86.8965 | 0 | 321.872 | 28.56 | 970.696 | 68.5521 | 10.2901
2019-08-01 09:00:00 | 0 | 121.149 | 2.661 | 169.751 | 3.6837 | 86.8964 | 0 | 296.353 | 28.46 | 970.991 | 66.9165 | 8.1287
2019-08-01 09:15:00 | 0 | 147.48 | 7.0073 | 205.392 | 5.4733 | 87.082 | 0 | 335.047 | 29.84 | 971.139 | 66.3646 | 11.3616
2019-08-01 09:30:00 | 0 | 78.8909 | 3.6837 | 142.962 | 3.1723 | 87.0621 | 0 | 273.686 | 29.3 | 971.139 | 68.8018 | 18.8954
2019-08-01 09:45:00 | 0 | 94.4542 | 4.4507 | 118.909 | 2.9167 | 86.8668 | 0 | 294.695 | 29.45 | 971.732 | 69.3801 | 21.3119
2019-08-01 10:00:00 | 0 | 109.046 | 4.962 | 153.734 | 3.9393 | 86.4777 | 0 | 289.564 | 29.77 | 971.88 | 66.6213 | 23.9463
2019-08-01 10:15:00 | 0 | 146.351 | 6.7517 | 207.405 | 8.03 | 156.419 | 0.75133 | 326.699 | 29.82 | 971.238 | 64.782 | 23.5694
2019-08-01 10:30:00 | 0 | 145.816 | 5.4733 | 207.186 | 5.729 | 155.154 | 0.75133 | 331.125 | 29.27 | 971.277 | 66.3829 | 10.4897
2019-08-01 10:45:00 | 0 | 147.421 | 5.4733 | 208.767 | 4.7063 | 158.753 | 5.4733 | 329.325 | 29.13 | 971.139 | 65.2589 | 13.2202
2019-08-01 11:00:00 | 0 | 158.948 | 7.263 | 206.651 | 6.2403 | 159.142 | 3.308 | 328.45 | 29.24 | 971.287 | 66.0082 | 16.3977
2019-08-01 11:15:00 | 0 | 140.806 | 7.0073 | 196.535 | 7.263 | 161.671 | 4.4507 | 322.905 | 29.4 | 971.139 | 66.0763 | 16.6638
2019-08-01 11:30:00 | 0 | 151.749 | 5.2177 | 205.776 | 5.4733 | 161.088 | 0.887 | 338.104 | 29.66 | 970.99 | 66.2125 | 19.1282
2019-08-01 11:45:00 | 5.4567 | 145.816 | 8.03 | 198.334 | 7.0073 | 152.819 | 3.1723 | 332.876 | 29.7 | 970.842 | 64.6458 | 22.5386
2019-08-01 12:00:00 | 0 | 85.0915 | 5.9847 | 188.899 | 6.2403 | 150.631 | 0 | 277.016 | 30.17 | 970.99 | 61.9891 | 22.3612
2019-08-01 12:15:00 | 4.6907 | 145.524 | 6.7517 | 207.794 | 7.0073 | 170.402 | 0.75133 | 333.143 | 30.25 | 970.694 | 59.8093 | 18.622
2019-08-01 12:30:00 | 0.62733 | 152.7 | 4.962 | 204.783 | 4.4507 | 153.649 | 5.9847 | 324.759 | 29.65 | 969.953 | 62.9439 | 14.7461
2019-08-01 12:45:00 | 0 | 132.414 | 6.2403 | 184.02 | 5.9847 | 153.769 | 0 | 315.517 | 29.39 | 970.101 | 62.5446 | 13.8778
2019-08-01 13:00:00 | 0.372 | 121.145 | 5.729 | 176.728 | 4.7063 | 136.422 | 0.37567 | 305.637 | 29.23 | 969.953 | 62.6558 | 16.7931
2019-08-01 13:15:00 | 0.372 | 137.642 | 5.9847 | 177.463 | 5.4733 | 123.8 | 5.729 | 319.195 | 29.3 | 969.953 | 64.5314 | 15.9654
2019-08-01 13:30:00 | 0 | 137.448 | 6.2403 | 184.98 | 6.2403 | 140.002 | 0 | 323.891 | 29.19 | 969.212 | 73.1175 | 19.1762
2019-08-01 13:45:00 | 5.4567 | 137.18 | 9.3083 | 196.414 | 9.8197 | 154.939 | 3.428 | 318.733 | 28.73 | 969.063 | 73.322 | 21.1123
2019-08-01 14:00:00 | 0 | 135.307 | 4.962 | 204.953 | 4.962 | 160.461 | 5.9847 | 316.057 | 28.69 | 969.36 | 69.1652 | 15.1378
2019-08-01 14:15:00 | 0.88267 | 135.21 | 8.5413 | 189.651 | 7.0073 | 134.042 | 1.2627 | 315.084 | 29.27 | 970.101 | 66.5417 | 17.3325
2019-08-01 14:30:00 | 0 | 138.305 | 6.7517 | 182.957 | 6.496 | 137.113 | 5.729 | 319.468 | 29.24 | 970.101 | 66.9754 | 19.797
2019-08-01 14:45:00 | 3.414 | 134.798 | 8.03 | 185.773 | 6.7517 | 145.184 | 5.9847 | 316.297 | 29.24 | 969.36 | 68.4724 | 24.2382
2019-08-01 15:00:00 | 0 | 152.355 | 5.729 | 210.478 | 6.7517 | 154.082 | 3.428 | 328.034 | 28.75 | 969.36 | 71.6724 | 20.2551
2019-08-01 15:15:00 | 0 | 135.192 | 5.9847 | 199.653 | 6.7517 | 158.636 | 0 | 322.865 | 28.6 | 969.212 | 71.7321 | 19.579
2019-08-01 15:30:00 | 0 | 139.785 | 6.2403 | 195.928 | 4.962 | 141.172 | 2.661 | 303.501 | 28.53 | 968.767 | 73.9106 | 17.7907
2019-08-01 15:45:00 | 0 | 153.391 | 8.03 | 204.845 | 8.03 | 146.07 | 0.37567 | 322.42 | 28.77 | 969.063 | 69.011 | 19.4644
2019-08-01 16:00:00 | 2.276 | 153.512 | 8.2857 | 209.538 | 8.2857 | 153.001 | 3.9393 | 333.631 | 28.53 | 968.47 | 69.6919 | 17.7685
2019-08-01 16:15:00 | 0 | 147.835 | 6.7517 | 198.444 | 6.496 | 141.778 | 0.37567 | 330.037 | 28.25 | 968.619 | 74.8082 | 16.9039
2019-08-01 16:30:00 | 0 | 144.383 | 7.7743 | 196.283 | 7.7743 | 142.194 | 1.3827 | 326.248 | 28.27 | 968.767 | 75.661 | 16.6231
2019-08-01 16:45:00 | 0 | 144.014 | 6.7517 | 198.356 | 6.496 | 146.446 | 1.774 | 327.339 | 27.8 | 968.026 | 74.4109 | 17.3177
2019-08-01 17:00:00 | 0 | 138.275 | 7.7743 | 191.256 | 7.263 | 142.313 | 5.9847 | 317.371 | 27.36 | 967.433 | 73.1175 | 18.0308
2019-08-01 17:15:00 | 0 | 147.438 | 7.0073 | 198.432 | 7.263 | 138.241 | 5.4733 | 327.113 | 26.97 | 967.628 | 75.3744 | 26.226
2019-08-01 17:30:00 | 0 | 151.633 | 7.263 | 214.908 | 6.2403 | 167.499 | 5.9847 | 326.262 | 26.76 | 967.875 | 71.9149 | 32.4555
2019-08-01 17:45:00 | 5.4567 | 149.37 | 9.3083 | 209.676 | 8.797 | 155.94 | 5.729 | 331.494 | 26.49 | 967.728 | 71.9832 | 35.888
2019-08-01 18:00:00 | 4.946 | 130.146 | 7.5187 | 191.28 | 6.7517 | 162.901 | 3.1723 | 318.039 | 26.35 | 967.876 | 68.0981 | 44.7631
2019-08-01 18:15:00 | 0.372 | 138.931 | 10.8423 | 191.304 | 10.0753 | 149.054 | 3.6837 | 325.778 | 26.12 | 967.135 | 69.7682 | 49.389
2019-08-01 18:30:00 | 0 | 137.787 | 9.0527 | 191.036 | 8.5413 | 142.849 | 4.195 | 322.517 | 25.69 | 967.795 | 73.9604 | 52.6848
2019-08-01 18:45:00 | 4.18 | 138.955 | 9.8197 | 192.472 | 8.2857 | 144.382 | 3.6837 | 317.066 | 25.57 | 967.684 | 76.0054 | 49.958
2019-08-01 19:00:00 | 1.51 | 141.486 | 8.5413 | 188.846 | 8.797 | 139.588 | 3.0523 | 328.284 | 25.46 | 967.421 | 77.7778 | 45.0365
2019-08-01 19:15:00 | 3.1587 | 135.782 | 9.564 | 183.272 | 8.03 | 127.264 | 3.428 | 319.316 | 25.1 | 967.429 | 79.6954 | 39.7381
2019-08-01 19:30:00 | 9.2867 | 133.697 | 6.2403 | 187.567 | 6.2403 | 156.138 | 9.3083 | 313.809 | 25.01 | 967.578 | 80.9952 | 24.5633
2019-08-01 19:45:00 | 0 | 139.441 | 6.496 | 197.352 | 6.7517 | 153.096 | 0 | 331.602 | 24.87 | 967.578 | 82.8362 | 22.7787
2019-08-01 20:00:00 | 3.9247 | 144.333 | 7.0073 | 195.575 | 5.9847 | 148.861 | 0.37567 | 325.517 | 24.7 | 967.726 | 83.8248 | 22.7566
2019-08-01 20:15:00 | 0 | 145.745 | 6.2403 | 197.839 | 6.7517 | 146.889 | 4.195 | 328.437 | 24.43 | 968.32 | 83.7907 | 16.8596
2019-08-01 20:30:00 | 0 | 135.036 | 3.6837 | 193.993 | 3.428 | 151.124 | 0 | 317.412 | 24.22 | 968.468 | 83.7907 | 7.8035
2019-08-01 20:45:00 | 0 | 135.134 | 3.6837 | 176.154 | 2.9167 | 159.498 | 0 | 312.206 | 24.32 | 968.765 | 83.4164 | 5.8342
2019-08-01 21:00:00 | 0 | 193.919 | 4.7063 | 243.849 | 4.7063 | 203.874 | 5.2177 | 356.78 | 24.28 | 969.21 | 83.7934 | 7.8774
2019-08-01 21:15:00 | 0 | 179.92 | 6.496 | 231.528 | 6.2403 | 184.204 | 4.195 | 355.874 | 24.2 | 969.506 | 84.7124 | 10.4379
2019-08-01 21:30:00 | 0 | 184.264 | 5.4733 | 234.83 | 4.7063 | 182.219 | 1.007 | 6.9373 | 24.03 | 969.506 | 84.4788 | 9.2667
2019-08-01 21:45:00 | 0 | 171.461 | 6.7517 | 223.219 | 7.263 | 174.284 | 0.887 | 351.83 | 24.24 | 969.655 | 82.3993 | 6.2332
2019-08-01 22:00:00 | 0 | 166.98 | 5.2177 | 222.9 | 4.962 | 167.564 | 0 | 354.602 | 24.27 | 969.506 | 82.194 | 3.4731
2019-08-01 22:15:00 | 0 | 180.518 | 3.1723 | 226.581 | 3.1723 | 180.566 | 0 | 4.3815 | 24.23 | 969.358 | 82.2979 | 1.4632
2019-08-01 22:30:00 | 0 | 165.472 | 4.962 | 222.075 | 5.2177 | 165.74 | 5.9847 | 353.193 | 24.15 | 969.506 | 81.4787 | 5.509
2019-08-01 22:45:00 | 0 | 179.647 | 6.2403 | 228 | 7.263 | 174.316 | 0 | 9.3231 | 24.27 | 969.951 | 77.2546 | 6.9057
2019-08-01 23:00:00 | 0 | 191.271 | 6.2403 | 233.876 | 5.4733 | 182.727 | 0 | 9.0548 | 24.41 | 969.803 | 74.5909 | 2.664
2019-08-01 23:15:00 | 0 | 186.112 | 5.729 | 231.978 | 4.195 | 168.075 | 0 | 4.4301 | 24.23 | 969.803 | 76.2277 | 0.8609
2019-08-01 23:30:00 | 0 | 186.293 | 1.127 | 234.209 | 0 | 220.641 | 0 | 25.1702 | 24.06 | 969.655 | 79.3008 | -0.42491
2019-08-01 23:45:00 | 0 | 337.45 | 1.6383 | 43.3906 | 0.75133 | 350.012 | 0 | 151.587 | 23.84 | 969.21 | 81.6225 | -0.25864