## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-08-02 00:00:00 | 0 | 305.901 | 1.3827 | 10.186 | 0 | 322.942 | 0 | 135.423 | 23.41 | 969.062 | 83.5318 | -0.24016
2019-08-02 00:15:00 | 0 | 8.0821 | 2.1497 | 62.2816 | 1.6383 | 356.197 | 0 | 178.342 | 23.28 | 969.062 | 85.1688 | -0.24016
2019-08-02 00:30:00 | 0 | 13.3403 | 2.9167 | 66.0062 | 2.4053 | 0.048687 | 0 | 190.635 | 23.13 | 968.765 | 87.1462 | -0.25864
2019-08-02 00:45:00 | 0 | 9.2019 | 1.127 | 66.0549 | 0.75133 | 0.048687 | 0 | 190.635 | 22.84 | 968.32 | 88.7146 | -0.25125
2019-08-02 01:00:00 | 0 | 318.756 | 1.127 | 2.4692 | 0 | 335.699 | 0 | 190.635 | 22.82 | 968.32 | 90.0784 | -0.24016
2019-08-02 01:15:00 | 0 | 274.793 | 1.127 | 309.445 | 0 | 289.35 | 0 | 147.329 | 22.65 | 968.32 | 91.3063 | -0.26972
2019-08-02 01:30:00 | 0 | 203.424 | 1.894 | 260.402 | 1.6383 | 289.167 | 0 | 2.3371 | 22.52 | 968.023 | 91.6507 | -0.25864
2019-08-02 01:45:00 | 5.9673 | 153.449 | 1.894 | 212.791 | 1.6383 | 287.519 | 2.0297 | 328.687 | 22.39 | 968.172 | 92.8126 | -0.26972
2019-08-02 02:00:00 | 0 | 148.219 | 3.428 | 198.677 | 3.1723 | 282.22 | 0 | 328.575 | 22.34 | 968.023 | 91.4514 | 0.26972
2019-08-02 02:15:00 | 0 | 135.907 | 4.7063 | 187.098 | 3.9393 | 266.457 | 0 | 322.31 | 22.5 | 968.023 | 90.5694 | 8.8565
2019-08-02 02:30:00 | 0 | 147.739 | 6.496 | 207.282 | 5.9847 | 159.45 | 3.8193 | 321.433 | 22.43 | 968.023 | 93.1607 | 11.1178
2019-08-02 02:45:00 | 0 | 145.502 | 4.962 | 194.285 | 4.4507 | 144.334 | 0 | 331.008 | 21.93 | 967.726 | 93.0945 | 0.95696
2019-08-02 03:00:00 | 0 | 89.2104 | 2.4053 | 119.416 | 1.3827 | 105.67 | 0 | 278.904 | 21.96 | 967.43 | 86.4109 | 0.73158
2019-08-02 03:15:00 | 0 | 52.3965 | 3.1723 | 102.323 | 2.661 | 60.9669 | 0 | 239.315 | 22.14 | 967.135 | 91.9011 | 1.5112
2019-08-02 03:30:00 | 0 | 76.4522 | 4.195 | 138.042 | 2.9167 | 70.1461 | 0 | 263.103 | 22.05 | 966.837 | 88.4569 | 2.1984
2019-08-02 03:45:00 | 0 | 48.6956 | 3.6837 | 97.6243 | 2.9167 | 37.1304 | 0 | 244.89 | 22.18 | 966.54 | 86.6837 | 0.29928
2019-08-02 04:00:00 | 0 | 47.1861 | 3.9393 | 96.48 | 3.9393 | 33.8922 | 0.37567 | 253.29 | 22.24 | 966.54 | 85.7289 | 0.24755
2019-08-02 04:15:00 | 0.62733 | 53.2243 | 3.9393 | 93.2661 | 4.195 | 24.64 | 0 | 249.176 | 22.37 | 966.688 | 89.7187 | 1.0493
2019-08-02 04:30:00 | 0 | 87.2869 | 3.6837 | 137.019 | 3.6837 | 62.1356 | 0 | 284.796 | 22.62 | 967.133 | 81.023 | 2.6714
2019-08-02 04:45:00 | 0 | 145.985 | 3.1723 | 211.858 | 2.4053 | 63.8868 | 0 | 311.594 | 23.8 | 967.727 | 78.2245 | 2.0765
2019-08-02 05:00:00 | 0 | 159.063 | 3.1723 | 205.643 | 3.1723 | 63.8782 | 0 | 331.319 | 23.87 | 967.578 | 81.6916 | 1.393
2019-08-02 05:15:00 | 0 | 93.9684 | 4.962 | 144.713 | 4.7063 | 67.1899 | 0 | 278.643 | 23.55 | 967.727 | 76.101 | 3.063
2019-08-02 05:30:00 | 0 | 69.3315 | 5.4733 | 141.984 | 2.4053 | 88.6119 | 0 | 271.727 | 23.96 | 967.43 | 79.5439 | 2.6086
2019-08-02 05:45:00 | 0 | 227.005 | 2.9167 | 316.99 | 2.661 | 40.508 | 0 | 187.812 | 23.42 | 967.43 | 84.5893 | -0.022169
2019-08-02 06:00:00 | 0 | 258.043 | 2.1497 | 325.656 | 2.4053 | 40.4105 | 0 | 70.1098 | 22.44 | 967.43 | 93.8289 | -0.2882
2019-08-02 06:15:00 | 0 | 278.493 | 2.9167 | 336.832 | 2.4053 | 40.5082 | 0 | 90.0235 | 21.99 | 967.578 | 91.3746 | -0.28081
2019-08-02 06:30:00 | 0 | 297.44 | 2.4053 | 4.9308 | 0.75133 | 40.6309 | 0 | 119.434 | 22.21 | 967.875 | 94.9228 | -0.32515
2019-08-02 06:45:00 | 0 | 311.438 | 1.894 | 12.6967 | 0.37567 | 40.7038 | 0 | 130.242 | 21.98 | 968.32 | 96.4228 | -0.070202
2019-08-02 07:00:00 | 0 | 21.1303 | 1.3827 | 76.5227 | 1.6383 | 41.0921 | 0 | 200.714 | 22.02 | 968.32 | 96.7951 | -0.12562
2019-08-02 07:15:00 | 0 | 347.579 | 0 | 59.5065 | 0 | 41.0921 | 0 | 211.863 | 21.95 | 968.32 | 97.2724 | -0.28081
2019-08-02 07:30:00 | 0 | 8.2766 | 1.127 | 61.208 | 0 | 41.0909 | 0 | 212.295 | 22.43 | 968.617 | 95.4284 | -0.25864
2019-08-02 07:45:00 | 0 | 8.3729 | 0 | 59.5429 | 0 | 41.0858 | 0 | 213.802 | 22.52 | 968.617 | 94.0872 | -0.26972
2019-08-02 08:00:00 | 0 | 153.826 | 0.37567 | 247.881 | 0.75133 | 41.4746 | 0 | 278.858 | 23.38 | 969.358 | 90.7449 | -0.26972
2019-08-02 08:15:00 | 0 | 155.894 | 1.127 | 224.621 | 0.75133 | 183.782 | 0 | 322.154 | 24.25 | 969.335 | 84.1861 | -0.26972
2019-08-02 08:30:00 | 0 | 331.983 | 2.1497 | 4.4254 | 1.6383 | 299.666 | 0 | 135.232 | 24.56 | 969.213 | 87.3211 | -0.26972
2019-08-02 08:45:00 | 0 | 233.036 | 0 | 297.333 | 0 | 247.831 | 0 | 71.7407 | 24.01 | 969.211 | 88.4799 | -0.2882
2019-08-02 09:00:00 | 0 | 188.502 | 1.3827 | 298.891 | 0 | 278.956 | 0 | 322.006 | 23.8 | 969.211 | 92.2291 | -0.26972
2019-08-02 09:15:00 | 0 | 135.305 | 2.9167 | 197.145 | 3.1723 | 172.489 | 0 | 322.249 | 23.65 | 969.508 | 84.9353 | -0.28081
2019-08-02 09:30:00 | 0 | 147.472 | 2.661 | 207.487 | 2.4053 | 159.299 | 0 | 328.82 | 24.39 | 970.249 | 81.2543 | -0.23647
2019-08-02 09:45:00 | 0 | 142.602 | 3.1723 | 188.573 | 3.1723 | 159.539 | 0 | 323.75 | 24.22 | 970.101 | 86.0237 | -0.12562
2019-08-02 10:00:00 | 0 | 141.339 | 4.7063 | 193.201 | 5.2177 | 144.21 | 0.63133 | 320.008 | 23.83 | 969.804 | 89.2972 | 1.6294
2019-08-02 10:15:00 | 0 | 134.55 | 5.2177 | 188.408 | 5.2177 | 137.519 | 0 | 311.541 | 23.31 | 969.235 | 89.9454 | 6.3662
2019-08-02 10:30:00 | 0 | 146.937 | 5.9847 | 196.961 | 4.962 | 144.186 | 0 | 329.895 | 22.95 | 969.204 | 91.0851 | 6.4918
2019-08-02 10:45:00 | 0 | 143.873 | 4.4507 | 200.179 | 4.195 | 156.36 | 0.37567 | 311.551 | 22.9 | 969.358 | 94.3599 | 6.4364
2019-08-02 11:00:00 | 0 | 144.489 | 6.2403 | 202.722 | 4.962 | 162.526 | 2.661 | 325.758 | 22.64 | 969.21 | 92.7965 | 6.078
2019-08-02 11:15:00 | 0 | 130.461 | 4.7063 | 184.697 | 4.7063 | 167.068 | 0.37567 | 314.396 | 22.75 | 969.358 | 89.7909 | 5.6051
2019-08-02 11:30:00 | 0 | 136.496 | 4.7063 | 187.178 | 3.1723 | 169.014 | 2.2853 | 320.6 | 23.34 | 969.655 | 87.8132 | 7.7887
2019-08-02 11:45:00 | 0 | 133.892 | 6.7517 | 186.278 | 7.0073 | 150.905 | 0.37567 | 322.986 | 23.42 | 969.503 | 87.6428 | 9.7174
2019-08-02 12:00:00 | 0 | 147.466 | 5.4733 | 191.014 | 4.962 | 140.262 | 5.729 | 323.531 | 23.4 | 969.505 | 87.5365 | 9.9724
2019-08-02 12:15:00 | 0 | 146.451 | 6.2403 | 196.683 | 4.4507 | 153.118 | 1.5183 | 351.184 | 23.92 | 969.516 | 85.8897 | 9.2075
2019-08-02 12:30:00 | 0 | 142.192 | 4.962 | 202.182 | 3.6837 | 162.512 | 0 | 328.722 | 23.79 | 969.417 | 86.0941 | 9.348
2019-08-02 12:45:00 | 0 | 143.579 | 7.5187 | 192.229 | 7.263 | 152.632 | 0 | 311.493 | 23.97 | 969.112 | 88.3777 | 7.1754
2019-08-02 13:00:00 | 0 | 133.991 | 6.7517 | 184.028 | 7.263 | 137.836 | 3.0523 | 314.072 | 24 | 969.161 | 86.0941 | 8.343
2019-08-02 13:15:00 | 0 | 162.341 | 3.428 | 200.576 | 3.428 | 163.485 | 0 | 2.5309 | 23.62 | 969.016 | 86.9121 | 5.4868
2019-08-02 13:30:00 | 0 | 193.815 | 4.4507 | 232.303 | 3.9393 | 164.291 | 0 | 0.19472 | 23.45 | 968.313 | 90.881 | 2.4829
2019-08-02 13:45:00 | 0 | 165.119 | 4.4507 | 221.253 | 4.195 | 172.324 | 0 | 351.803 | 22.85 | 968.023 | 92.2447 | -0.11084
2019-08-02 14:00:00 | 0 | 196.987 | 2.4053 | 243.517 | 1.3827 | 189.489 | 0 | 20.3998 | 23.01 | 968.023 | 91.8503 | -0.4286
2019-08-02 14:15:00 | 0 | 296.963 | 2.9167 | 9.4837 | 3.428 | 309.159 | 0 | 130.09 | 23.22 | 968.023 | 94.8841 | -0.26972
2019-08-02 14:30:00 | 0 | 225.978 | 0 | 8.6074 | 0 | 283.015 | 0 | 77.7037 | 22.88 | 968.172 | 96.4184 | -0.28081
2019-08-02 14:45:00 | 0 | 353.169 | 2.1497 | 19.2356 | 1.127 | 285.018 | 0 | 133.284 | 23.24 | 968.765 | 95.5179 | -0.25125
2019-08-02 15:00:00 | 0 | 336.227 | 2.1497 | 7.54 | 1.6383 | 325.421 | 0 | 166.994 | 24.06 | 969.188 | 94.6856 | -0.25125
2019-08-02 15:15:00 | 0 | 312.856 | 2.1497 | 6.0802 | 2.4053 | 300.98 | 0 | 137.325 | 24.17 | 968.471 | 91.0702 | -0.26233
2019-08-02 15:30:00 | 0 | 307.405 | 2.1497 | 4.6687 | 1.3827 | 302.294 | 0 | 136.57 | 23.88 | 968.173 | 92.2291 | -0.28081
2019-08-02 15:45:00 | 0 | 325.194 | 1.127 | 1.5294 | 0 | 329.939 | 0 | 142.849 | 23.63 | 967.877 | 93.5242 | -0.26972
2019-08-02 16:00:00 | 0 | 18.3975 | 2.661 | 70.0166 | 1.3827 | 3.0176 | 0 | 201.302 | 23.58 | 968.183 | 94.4104 | -0.25125
2019-08-02 16:15:00 | 0 | 9.3458 | 2.4053 | 65.4749 | 1.894 | 16.063 | 0 | 201.543 | 23.33 | 967.978 | 95.3066 | -0.25125
2019-08-02 16:30:00 | 0 | 11.1962 | 0.75133 | 65.7968 | 0 | 17.8165 | 0 | 200.071 | 23.34 | 968.17 | 94.6991 | -0.25125
2019-08-02 16:45:00 | 0 | 47.8028 | 1.3827 | 82.9075 | 0 | 36.8987 | 0 | 202.115 | 23.58 | 968.023 | 92.1766 | -0.25125
2019-08-02 17:00:00 | 0 | 82.7539 | 0.37567 | 82.907 | 0 | 36.8986 | 0 | 202.163 | 23.87 | 968.32 | 89.7218 | -0.25125
2019-08-02 17:15:00 | 0 | 82.6464 | 0 | 82.8942 | 0 | 49.6462 | 0 | 202.138 | 24.26 | 968.906 | 85.6886 | -0.26972
2019-08-02 17:30:00 | 0 | 82.4484 | 0 | 82.8657 | 0 | 49.6443 | 0 | 202.13 | 24.66 | 968.375 | 81.6633 | -0.25125
2019-08-02 17:45:00 | 0 | 52.8321 | 1.127 | 82.8656 | 0 | 49.5955 | 0 | 202.178 | 24.61 | 968.769 | 83.9809 | -0.25125
2019-08-02 18:00:00 | 0 | 28.9104 | 1.894 | 78.899 | 0.75133 | 29.5918 | 0 | 202.154 | 24.54 | 969.211 | 85.2761 | -0.25125
2019-08-02 18:15:00 | 0 | 1.7522 | 2.1497 | 49.5018 | 1.3827 | 0.048671 | 0 | 199.964 | 24.42 | 969.211 | 89.9796 | -0.26972
2019-08-02 18:30:00 | 0 | 27.937 | 1.894 | 62.935 | 0.75133 | 8.7607 | 0 | 202.397 | 23.98 | 968.766 | 92.2291 | -0.26972
2019-08-02 18:45:00 | 0 | 36.1137 | 2.4053 | 78.8016 | 1.127 | 8.7607 | 0 | 242.599 | 23.88 | 968.618 | 93.2515 | -0.2882
2019-08-02 19:00:00 | 0 | 116.911 | 2.661 | 157.727 | 2.1497 | 87.9021 | 0 | 308.412 | 23.78 | 968.727 | 91.2775 | -0.25125
2019-08-02 19:15:00 | 0 | 128.026 | 2.661 | 180.484 | 2.661 | 131.336 | 0 | 310.012 | 24.13 | 968.765 | 86.5177 | -0.25125
2019-08-02 19:30:00 | 1.3713 | 144.942 | 1.6383 | 191.559 | 0 | 146.816 | 0 | 324.154 | 24.01 | 968.765 | 88.7677 | -0.26972
2019-08-02 19:45:00 | 0 | 216.721 | 1.3827 | 192.194 | 1.3827 | 214.384 | 0 | 356.772 | 23.9 | 969.062 | 88.5979 | -0.26972
2019-08-02 20:00:00 | 0 | 219.011 | 0 | 294.069 | 0 | 219.206 | 0 | 356.815 | 23.91 | 969.358 | 88.4383 | -0.25125
2019-08-02 20:15:00 | 0 | 161.956 | 1.127 | 293.396 | 0 | 219.09 | 0 | 356.581 | 24.04 | 969.21 | 86.1904 | -0.25125
2019-08-02 20:30:00 | 0 | 161.931 | 0 | 293.395 | 0 | 219.089 | 0 | 356.58 | 24.16 | 969.506 | 85.5764 | -0.25125
2019-08-02 20:45:00 | 0 | 161.934 | 0 | 293.4 | 0 | 219.093 | 0 | 356.586 | 24.16 | 969.951 | 85.7143 | -0.25125
2019-08-02 21:00:00 | 0 | 161.93 | 0 | 293.44 | 0.75133 | 219.33 | 0 | 356.576 | 24.13 | 969.951 | 88.303 | -0.25125
2019-08-02 21:15:00 | 0 | 328.542 | 1.894 | 7.3622 | 0 | 323.113 | 0 | 356.61 | 24.04 | 969.951 | 89.942 | -0.25125
2019-08-02 21:30:00 | 0.744 | 322.14 | 1.127 | 6.5833 | 1.3827 | 323.065 | 0 | 152.221 | 23.89 | 969.803 | 89.2601 | -0.25125
2019-08-02 21:45:00 | 0 | 322.063 | 0 | 6.5829 | 0 | 323.036 | 0 | 152.243 | 23.96 | 969.951 | 85.0313 | -0.25125
2019-08-02 22:00:00 | 0 | 252.124 | 1.6383 | 307.856 | 0 | 322.987 | 0 | 148.592 | 24.31 | 969.803 | 83.8037 | -0.26972
2019-08-02 22:15:00 | 0 | 252.115 | 1.3827 | 307.869 | 0 | 323 | 0 | 148.611 | 24.44 | 969.951 | 83.6644 | -0.26233
2019-08-02 22:30:00 | 1.882 | 291.089 | 2.661 | 19.7566 | 2.1497 | 322.856 | 0 | 103.894 | 24.27 | 969.803 | 87.2107 | -0.18844
2019-08-02 22:45:00 | 0 | 311.248 | 3.428 | 7.5562 | 2.9167 | 323.371 | 0 | 117.406 | 24.06 | 969.655 | 91.3711 | 1.5888
2019-08-02 23:00:00 | 0 | 325.05 | 4.4507 | 14.9563 | 3.6837 | 323.589 | 0 | 133.058 | 23.37 | 969.21 | 95.3939 | 2.7601
2019-08-02 23:15:00 | 0 | 1.6554 | 3.428 | 65.3976 | 2.9167 | 328.25 | 0 | 175.323 | 23 | 969.506 | 96.9655 | 1.4225
2019-08-02 23:30:00 | 0 | 23.9542 | 2.9167 | 84.7752 | 2.9167 | 328.299 | 0 | 205.558 | 22.91 | 969.506 | 97.6474 | 0.044338
2019-08-02 23:45:00 | 0 | 30.0888 | 3.1723 | 81.4644 | 2.661 | 328.25 | 0 | 207.359 | 22.86 | 969.506 | 98.1247 | -0.13671