## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-08-05 00:00:00 | 0 | 142.556 | 4.195 | 174.278 | 3.9393 | 130.995 | 0 | 279.879 | 25.54 | 968.023 | 78.609 | 16.309
2019-08-05 00:15:00 | 0 | 123.474 | 5.9847 | 173.815 | 5.9847 | 127.831 | 2.7967 | 296.455 | 25.52 | 968.023 | 77.6546 | 26.444
2019-08-05 00:30:00 | 0 | 120.432 | 6.496 | 186.204 | 6.7517 | 118.022 | 3.6837 | 305.972 | 25.48 | 967.868 | 77.2456 | 24.9106
2019-08-05 00:45:00 | 0 | 122.038 | 7.0073 | 183.819 | 6.7517 | 138.881 | 1.3827 | 295.53 | 25.48 | 968.172 | 79.3591 | 30.5859
2019-08-05 01:00:00 | 0 | 140.561 | 6.2403 | 187.275 | 6.2403 | 150.637 | 2.541 | 313.25 | 25.25 | 968.023 | 80.859 | 32.4149
2019-08-05 01:15:00 | 0 | 123.888 | 6.7517 | 173.645 | 6.7517 | 129.438 | 0.37567 | 295.579 | 25.12 | 967.726 | 80.6545 | 33.1686
2019-08-05 01:30:00 | 5.712 | 124.497 | 8.03 | 169.897 | 8.03 | 125.081 | 4.7063 | 303.903 | 25.21 | 967.429 | 80.9272 | 33.5086
2019-08-05 01:45:00 | 0 | 96.5549 | 5.4733 | 179.195 | 5.2177 | 142.143 | 0 | 304.293 | 25.11 | 967.875 | 81.7794 | 33.9372
2019-08-05 02:00:00 | 4.4353 | 131.214 | 6.7517 | 183.868 | 6.496 | 137.299 | 5.2177 | 309.501 | 24.95 | 967.875 | 82.6317 | 38.2601
2019-08-05 02:15:00 | 0 | 127.004 | 5.9847 | 171.211 | 4.195 | 122.866 | 0 | 304.877 | 24.91 | 967.726 | 81.9499 | 40.9167
2019-08-05 02:30:00 | 0 | 128.707 | 5.4733 | 202.244 | 4.962 | 133.429 | 2.4053 | 305.437 | 24.99 | 968.172 | 82.1544 | 43.5622
2019-08-05 02:45:00 | 0 | 109.479 | 5.2177 | 186.204 | 5.9847 | 149.834 | 0 | 298.305 | 24.95 | 968.023 | 82.9044 | 44.1386
2019-08-05 03:00:00 | 3.6693 | 100.96 | 7.263 | 192.606 | 6.7517 | 150.516 | 5.4733 | 278.785 | 24.89 | 967.875 | 83.1089 | 46.5846
2019-08-05 03:15:00 | 3.1587 | 135.303 | 9.8197 | 189.028 | 8.2857 | 136.423 | 4.195 | 313.298 | 24.85 | 967.43 | 83.3816 | 46.071
2019-08-05 03:30:00 | 1.882 | 137.664 | 7.7743 | 172.282 | 9.8197 | 114.931 | 1.007 | 319.018 | 24.89 | 967.578 | 82.9725 | 42.3134
2019-08-05 03:45:00 | 7.4993 | 126.006 | 9.0527 | 168.777 | 7.0073 | 139.222 | 4.195 | 308.722 | 24.83 | 967.43 | 84.2679 | 43.9391
2019-08-05 04:00:00 | 0 | 119.167 | 7.7743 | 184.282 | 5.4733 | 136.618 | 1.9097 | 292.659 | 24.71 | 967.726 | 84.3363 | 38.6998
2019-08-05 04:15:00 | 5.4567 | 110.769 | 8.2857 | 168.826 | 8.797 | 106.705 | 4.4507 | 292.975 | 24.69 | 967.577 | 84.9156 | 29.9504
2019-08-05 04:30:00 | 0 | 127.734 | 5.729 | 181.093 | 5.4733 | 133.016 | 1.5183 | 321.111 | 24.7 | 967.875 | 85.6997 | 23.9906
2019-08-05 04:45:00 | 0 | 164.292 | 4.7063 | 208.986 | 3.9393 | 163.537 | 0 | 326.734 | 24.65 | 968.023 | 85.4952 | 21.6112
2019-08-05 05:00:00 | 0 | 121.114 | 4.962 | 192.484 | 4.7063 | 159.911 | 1.007 | 317.339 | 24.64 | 968.319 | 86.1088 | 28.4244
2019-08-05 05:15:00 | 0 | 148.836 | 6.2403 | 199.689 | 5.2177 | 132.115 | 0 | 279.32 | 24.56 | 968.32 | 86.5178 | 34.4397
2019-08-05 05:30:00 | 5.2013 | 134.695 | 4.7063 | 185.742 | 3.6837 | 138.443 | 5.9847 | 309.988 | 24.67 | 968.172 | 86.6542 | 32.7252
2019-08-05 05:45:00 | 0 | 110.672 | 5.9847 | 154.466 | 4.7063 | 84.0687 | 0 | 304.025 | 24.7 | 968.32 | 86.5178 | 29.2483
2019-08-05 06:00:00 | 0 | 135.084 | 5.729 | 193.555 | 4.195 | 140.244 | 0.63133 | 325.882 | 24.64 | 968.616 | 86.6542 | 25.7826
2019-08-05 06:15:00 | 0 | 133.405 | 4.962 | 205.773 | 5.9847 | 147.205 | 5.729 | 322.426 | 24.6 | 968.765 | 86.2451 | 23.3773
2019-08-05 06:30:00 | 9.0313 | 151.952 | 4.195 | 204.8 | 3.1723 | 152.682 | 4.962 | 335.447 | 24.64 | 968.913 | 85.8361 | 22.3797
2019-08-05 06:45:00 | 0 | 140.074 | 7.5187 | 198.666 | 7.263 | 146.086 | 0.37567 | 291.636 | 24.7 | 968.765 | 85.4952 | 20.8242
2019-08-05 07:00:00 | 0 | 127.973 | 4.7063 | 184.591 | 5.2177 | 160.441 | 0 | 314.845 | 24.92 | 969.21 | 84.7082 | 18.223
2019-08-05 07:15:00 | 0 | 149.201 | 6.496 | 208.486 | 5.2177 | 133.699 | 0.75133 | 313.685 | 25.01 | 969.245 | 83.0271 | 13.7227
2019-08-05 07:30:00 | 0 | 149.882 | 8.03 | 200.284 | 6.496 | 154.822 | 0 | 324.196 | 25.48 | 969.214 | 82.2768 | 9.9354
2019-08-05 07:45:00 | 0 | 136.371 | 5.2177 | 190.251 | 5.4733 | 133.646 | 5.9847 | 320.049 | 25.57 | 969.508 | 81.8652 | 10.7372
2019-08-05 08:00:00 | 0 | 104.939 | 3.428 | 189.001 | 4.962 | 132.238 | 0 | 294.743 | 25.78 | 969.756 | 81.8523 | 10.1128
2019-08-05 08:15:00 | 0 | 131.95 | 3.6837 | 187.413 | 2.661 | 123.582 | 0 | 316.155 | 25.94 | 969.806 | 81.4311 | 8.2395
2019-08-05 08:30:00 | 0 | 134.626 | 4.4507 | 195.952 | 4.7063 | 139.102 | 0 | 303.213 | 26.01 | 969.805 | 81.4992 | 5.6088
2019-08-05 08:45:00 | 0 | 131.804 | 4.4507 | 198.798 | 4.962 | 147.52 | 0 | 311.825 | 25.74 | 969.953 | 83.2028 | 3.5064
2019-08-05 09:00:00 | 0 | 147.434 | 4.4507 | 203.438 | 5.2177 | 159.355 | 0 | 326.983 | 25.95 | 970.005 | 81.9828 | 3.281
2019-08-05 09:15:00 | 0 | 123.422 | 4.195 | 173.758 | 4.4507 | 118.824 | 0 | 303.458 | 26.02 | 970.322 | 81.7788 | 2.9042
2019-08-05 09:30:00 | 0 | 154.047 | 4.962 | 208.005 | 4.7063 | 164.679 | 0 | 330.403 | 26.47 | 970.408 | 77.619 | 2.5125
2019-08-05 09:45:00 | 0 | 153.747 | 4.195 | 211.789 | 3.9393 | 165.23 | 0 | 334.814 | 26.58 | 970.398 | 78.7394 | 1.6885
2019-08-05 10:00:00 | 0 | 141.194 | 5.2177 | 186.099 | 4.4507 | 141.267 | 4.195 | 325.229 | 27.09 | 969.953 | 73.8331 | 1.5371
2019-08-05 10:15:00 | 0 | 127.742 | 2.9167 | 181.136 | 1.894 | 127.182 | 0 | 299.394 | 26.79 | 970.546 | 71.9591 | -0.048033
2019-08-05 10:30:00 | 0 | 129.931 | 3.9393 | 179.093 | 2.9167 | 133.215 | 0 | 310.681 | 27.65 | 970.546 | 66.7462 | 0.10715
2019-08-05 10:45:00 | 0.372 | 146.781 | 3.9393 | 187.61 | 3.9393 | 147.754 | 3.428 | 320.292 | 28.59 | 970.843 | 66.8675 | -0.081287
2019-08-05 11:00:00 | 0 | 141.681 | 3.9393 | 187.974 | 3.9393 | 135.894 | 0 | 328.304 | 28.14 | 970.843 | 66.0082 | -0.11454
2019-08-05 11:15:00 | 0 | 194.818 | 2.9167 | 233.694 | 3.1723 | 181.029 | 0 | 350.385 | 28.41 | 970.546 | 68.1199 | -0.084981
2019-08-05 11:30:00 | 0 | 270.522 | 2.4053 | 323.187 | 3.9393 | 288.251 | 0 | 86.2831 | 28.67 | 970.398 | 76.4646 | 0.50619
2019-08-05 11:45:00 | 0 | 262.546 | 1.3827 | 18.8327 | 0 | 315.658 | 0 | 54.085 | 27.03 | 969.657 | 75.1022 | -0.27711
2019-08-05 12:00:00 | 0 | 0.14592 | 1.3827 | 332.251 | 1.3827 | 316.354 | 0 | 183.616 | 28.58 | 970.102 | 69.4176 | -0.25864
2019-08-05 12:15:00 | 0 | 215.902 | 0.75133 | 253.246 | 0 | 122.178 | 0 | 7.4659 | 28.95 | 969.953 | 69.3461 | -0.25864
2019-08-05 12:30:00 | 0 | 34.9218 | 0.37567 | 330.288 | 0.37567 | 290.756 | 0 | 265.999 | 29.19 | 969.805 | 68.4946 | -0.25864
2019-08-05 12:45:00 | 0 | 39.7126 | 2.9167 | 91.3315 | 1.007 | 54.8632 | 0 | 232.123 | 28.78 | 969.509 | 72.2071 | -0.2143
2019-08-05 13:00:00 | 0 | 8.1718 | 3.1723 | 56.562 | 2.1497 | 356.957 | 0 | 160.955 | 28.08 | 968.768 | 74.5634 | -0.18474
2019-08-05 13:15:00 | 0 | 4.0864 | 0.37567 | 30.4958 | 0.37567 | 79.0031 | 0 | 212.686 | 28.31 | 968.916 | 75.2533 | 0.50619
2019-08-05 13:30:00 | 0 | 6.9571 | 3.1723 | 77.2775 | 3.1723 | 339.973 | 0 | 149.261 | 28.08 | 968.916 | 76.3833 | 2.1837
2019-08-05 13:45:00 | 0 | 341.552 | 3.1723 | 72.0779 | 0 | 31.9171 | 0 | 162.14 | 27.73 | 968.916 | 78.7733 | 4.722
2019-08-05 14:00:00 | 0 | 19.5343 | 3.1723 | 96.9626 | 3.9393 | 33.2302 | 0 | 197.946 | 28.05 | 969.36 | 72.7074 | 2.1282
2019-08-05 14:15:00 | 0 | 59.251 | 4.195 | 93.2482 | 3.428 | 36.1927 | 0 | 215.989 | 27.77 | 969.509 | 76.2395 | 1.5851
2019-08-05 14:30:00 | 0 | 18.5336 | 2.4053 | 81.6672 | 1.894 | 356.978 | 0 | 194.481 | 28.3 | 969.212 | 76.0328 | 0.41013
2019-08-05 14:45:00 | 2.1373 | 0.68105 | 3.1723 | 47.2537 | 3.1723 | 356.967 | 5.2177 | 187.581 | 27.77 | 968.471 | 74.8773 | 0.48033
2019-08-05 15:00:00 | 0 | 23.741 | 2.9167 | 68.9071 | 1.3827 | 0.36487 | 0 | 204.085 | 27.85 | 968.323 | 76.3131 | 0.3621
2019-08-05 15:15:00 | 0 | 18.9746 | 2.1497 | 67.2833 | 1.6383 | 15.1797 | 0 | 190.379 | 28 | 968.175 | 73.252 | -0.073897
2019-08-05 15:30:00 | 0 | 82.0173 | 0 | 155.807 | 0 | 77.9311 | 0 | 263.492 | 28.54 | 969.509 | 71.1637 | -0.27342
2019-08-05 15:45:00 | 0 | 54.8633 | 3.6837 | 107.431 | 2.9167 | 58.2679 | 0 | 239.395 | 29.3 | 969.212 | 71.2535 | -0.31776
2019-08-05 16:00:00 | 0 | 109.191 | 3.1723 | 149.089 | 1.3827 | 144.502 | 0 | 294.16 | 28.89 | 969.509 | 69.2779 | 1.9176
2019-08-05 16:15:00 | 0 | 127.722 | 4.195 | 169.006 | 4.4507 | 99.0505 | 0 | 277.38 | 28.77 | 968.471 | 71.4578 | 7.7813
2019-08-05 16:30:00 | 0 | 140.174 | 5.2177 | 193.97 | 3.1723 | 130.08 | 0 | 327.267 | 28.09 | 967.582 | 74.8428 | 27.3256
2019-08-05 16:45:00 | 0 | 137.618 | 5.9847 | 187.267 | 5.9847 | 135.575 | 4.7063 | 314.865 | 27.19 | 967.285 | 83.8841 | 51.1625
2019-08-05 17:00:00 | 0 | 173.877 | 7.0073 | 231.593 | 7.0073 | 176.626 | 0 | 353.252 | 25.49 | 966.886 | 91.7733 | 33.2904
2019-08-05 17:15:00 | 0 | 164.652 | 5.729 | 230.871 | 5.9847 | 182.611 | 0 | 341.349 | 24.63 | 966.69 | 95.7728 | 11.8383
2019-08-05 17:30:00 | 0 | 164.385 | 1.3827 | 253.968 | 0 | 157.791 | 0 | 332.324 | 24.09 | 966.694 | 94.9557 | 0.25864
2019-08-05 17:45:00 | 0 | 109.721 | 2.4053 | 156.118 | 1.6383 | 113.712 | 0 | 280.63 | 24.4 | 966.835 | 92.5158 | 0.76483
2019-08-05 18:00:00 | 0 | 62.0414 | 3.9393 | 104.74 | 3.428 | 37.1421 | 0 | 246.632 | 24.77 | 966.837 | 92.8583 | 1.175
2019-08-05 18:15:00 | 0 | 48.1894 | 1.894 | 122.037 | 2.1497 | 5.3544 | 0 | 248.419 | 24.94 | 966.985 | 85.9672 | 1.84
2019-08-05 18:30:00 | 0 | 86.0261 | 4.195 | 111.704 | 3.428 | 74.8561 | 0 | 270.246 | 26.11 | 966.937 | 80.3686 | 4.9437
2019-08-05 18:45:00 | 0 | 114.449 | 5.4733 | 184.466 | 4.4507 | 127.834 | 0 | 282.704 | 26.65 | 966.658 | 79.2093 | 18.7107
2019-08-05 19:00:00 | 0.372 | 126.958 | 7.7743 | 173.393 | 7.0073 | 125.425 | 0.63133 | 297.914 | 26.6 | 966.614 | 75.9373 | 31.9937
2019-08-05 19:15:00 | 1.2547 | 116.785 | 8.2857 | 170.327 | 7.7743 | 129.659 | 4.7063 | 301.102 | 26.65 | 966.769 | 76.8235 | 39.3464
2019-08-05 19:30:00 | 5.4567 | 145.088 | 5.2177 | 160.106 | 5.2177 | 126.13 | 4.7063 | 317.09 | 26.32 | 966.96 | 79.4138 | 31.3286
2019-08-05 19:45:00 | 1.51 | 162.244 | 7.0073 | 190.72 | 7.7743 | 100.846 | 3.9393 | 336.826 | 26.33 | 966.981 | 80.7771 | 26.4773
2019-08-05 20:00:00 | 3.6693 | 86.0986 | 7.7743 | 150.153 | 4.195 | 90.0409 | 1.5183 | 271.777 | 26.16 | 967.494 | 83.4356 | 24.8257
2019-08-05 20:15:00 | 10.0527 | 110.215 | 7.5187 | 172.006 | 2.9167 | 125.084 | 4.962 | 297.281 | 25.89 | 967.687 | 84.4581 | 12.7103
2019-08-05 20:30:00 | 0 | 112.506 | 3.6837 | 159.674 | 3.9393 | 121.705 | 0 | 287.848 | 25.86 | 967.989 | 85.5515 | 9.3738
2019-08-05 20:45:00 | 0 | 137.803 | 6.7517 | 178.697 | 5.4733 | 122.372 | 0 | 293.3 | 25.79 | 968.022 | 86.3767 | 14.2104
2019-08-05 21:00:00 | 0 | 100.86 | 2.9167 | 148.399 | 3.1723 | 94.2638 | 0 | 301.216 | 25.59 | 968.023 | 87.333 | 23.684
2019-08-05 21:15:00 | 0 | 109.528 | 3.1723 | 144.097 | 1.6383 | 122.987 | 0 | 290.735 | 25.25 | 968.171 | 84.3359 | 23.9204
2019-08-05 21:30:00 | 0 | 144.066 | 3.428 | 197.401 | 2.4053 | 156.503 | 0 | 316.365 | 25.21 | 967.994 | 82.2226 | 21.7442
2019-08-05 21:45:00 | 0 | 121.308 | 3.6837 | 176.444 | 3.9393 | 102.518 | 0 | 280.878 | 25.09 | 967.875 | 85.0179 | 21.589
2019-08-05 22:00:00 | 1.51 | 110.793 | 6.2403 | 148.551 | 4.962 | 109.09 | 4.7063 | 281.56 | 24.7 | 967.726 | 86.8587 | 24.9845
2019-08-05 22:15:00 | 0 | 130.752 | 5.2177 | 171.795 | 3.9393 | 118.217 | 0 | 286.574 | 24.58 | 968.021 | 86.8246 | 29.3075
2019-08-05 22:30:00 | 0 | 113.763 | 3.6837 | 172.039 | 1.127 | 148.374 | 0 | 315.903 | 24.58 | 968.023 | 87.3359 | 19.2021
2019-08-05 22:45:00 | 0 | 134.646 | 3.9393 | 199.421 | 2.9167 | 101.739 | 0 | 319.821 | 24.44 | 968.023 | 86.3133 | 15.0417
2019-08-05 23:00:00 | 0 | 125.962 | 5.9847 | 185.433 | 6.2403 | 134.092 | 0 | 310.146 | 24.81 | 967.875 | 84.9189 | 23.0632
2019-08-05 23:15:00 | 0.372 | 141.705 | 6.7517 | 163.763 | 5.4733 | 122.647 | 5.729 | 328.949 | 25.11 | 967.578 | 84.7452 | 31.7904
2019-08-05 23:30:00 | 0 | 146.159 | 4.962 | 180.607 | 4.4507 | 138.736 | 0 | 309.527 | 25.05 | 967.726 | 84.5409 | 31.4505
2019-08-05 23:45:00 | 8.2653 | 132.65 | 7.263 | 183.551 | 7.0073 | 150.297 | 3.0523 | 316.487 | 24.78 | 967.578 | 85.0179 | 34.6244