## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-08-06 00:00:00 | 2.5313 | 138.005 | 7.7743 | 189.15 | 5.9847 | 146.305 | 3.1723 | 327.075 | 24.71 | 967.133 | 86.2451 | 39.9893
2019-08-06 00:15:00 | 2.0207 | 136.229 | 7.7743 | 186.741 | 6.7517 | 137.957 | 1.007 | 314.784 | 24.62 | 966.837 | 86.3817 | 39.69
2019-08-06 00:30:00 | 0 | 146.477 | 5.729 | 186.013 | 4.195 | 135.013 | 0 | 308.581 | 24.69 | 966.985 | 87.1326 | 33.1243
2019-08-06 00:45:00 | 5.712 | 145.162 | 6.7517 | 185.184 | 5.9847 | 145.601 | 4.962 | 323.5 | 24.48 | 966.837 | 87.4391 | 36.4238
2019-08-06 01:00:00 | 0 | 129.486 | 5.4733 | 196.719 | 4.4507 | 142.97 | 5.729 | 314.369 | 24.49 | 966.985 | 88.7677 | 32.9506
2019-08-06 01:15:00 | 0 | 129.146 | 5.9847 | 186.131 | 5.729 | 134.062 | 0 | 318.312 | 24.64 | 966.985 | 89.1086 | 25.5572
2019-08-06 01:30:00 | 0 | 132.285 | 4.962 | 203.681 | 4.195 | 137.421 | 0 | 310.354 | 24.64 | 967.133 | 88.836 | 18.3745
2019-08-06 01:45:00 | 1.138 | 141.802 | 5.729 | 172.137 | 3.9393 | 143.531 | 1.2627 | 313.104 | 24.61 | 966.837 | 89.6542 | 15.7327
2019-08-06 02:00:00 | 0 | 148.593 | 5.4733 | 186.205 | 5.4733 | 143.433 | 0 | 319.871 | 24.6 | 966.985 | 89.1089 | 9.4551
2019-08-06 02:15:00 | 0 | 119.483 | 4.4507 | 173.184 | 3.428 | 131.751 | 5.729 | 304.1 | 24.42 | 966.985 | 89.2454 | 11.9491
2019-08-06 02:30:00 | 0 | 118.684 | 3.9393 | 166.448 | 3.428 | 132.607 | 0 | 310.194 | 24.37 | 966.985 | 90.2709 | 10.4047
2019-08-06 02:45:00 | 0 | 136.48 | 4.4507 | 175.701 | 3.428 | 140.983 | 0 | 305.965 | 24.28 | 966.985 | 90.2728 | 6.8133
2019-08-06 03:00:00 | 0 | 135.29 | 4.195 | 183.251 | 3.9393 | 136.994 | 0 | 316.829 | 24.34 | 966.837 | 90.5476 | 5.4832
2019-08-06 03:15:00 | 0 | 122.973 | 4.962 | 175.122 | 3.9393 | 106.494 | 0 | 307.506 | 24.37 | 966.985 | 89.8658 | 4.7035
2019-08-06 03:30:00 | 0 | 107.688 | 4.4507 | 163.171 | 4.195 | 108.077 | 0 | 294.169 | 24.44 | 967.133 | 89.6619 | 3.2219
2019-08-06 03:45:00 | 0 | 124.771 | 2.661 | 169.444 | 2.4053 | 111.383 | 0 | 302.239 | 24.5 | 966.985 | 89.7949 | 3.7872
2019-08-06 04:00:00 | 0 | 126.527 | 4.4507 | 176.972 | 3.9393 | 127.55 | 0 | 303.929 | 24.48 | 966.985 | 89.7978 | 5.3871
2019-08-06 04:15:00 | 0 | 134.335 | 5.9847 | 181.199 | 5.2177 | 128.81 | 5.2177 | 318.374 | 24.59 | 966.985 | 90.1007 | 7.7777
2019-08-06 04:30:00 | 0 | 128.954 | 5.729 | 168.319 | 5.4733 | 121.262 | 5.729 | 305.346 | 24.65 | 966.837 | 90.406 | 10.6522
2019-08-06 04:45:00 | 0 | 132.218 | 6.496 | 179.228 | 6.2403 | 127.448 | 2.9167 | 314.7 | 24.65 | 966.837 | 90.3058 | 12.1634
2019-08-06 05:00:00 | 0 | 122.284 | 4.962 | 192.585 | 3.9393 | 135.89 | 0 | 294.563 | 24.67 | 967.133 | 90.6443 | 12.6438
2019-08-06 05:15:00 | 0 | 120.92 | 4.7063 | 169.291 | 6.7517 | 125.326 | 0 | 306.511 | 24.62 | 966.985 | 89.8596 | 12.1117
2019-08-06 05:30:00 | 0 | 118.996 | 6.2403 | 174.911 | 7.0073 | 104.83 | 0 | 307.725 | 24.65 | 966.837 | 90.1313 | 16.6933
2019-08-06 05:45:00 | 0 | 88.7666 | 5.2177 | 153.079 | 3.1723 | 127.053 | 0 | 280.587 | 24.66 | 967.133 | 89.0407 | 17.4212
2019-08-06 06:00:00 | 0 | 116.562 | 4.195 | 193.36 | 3.6837 | 142.703 | 0 | 301.08 | 24.57 | 967.43 | 90.6085 | 14.2104
2019-08-06 06:15:00 | 0 | 127.758 | 3.6837 | 155.707 | 1.894 | 90.7134 | 0 | 287.231 | 24.44 | 967.875 | 91.6994 | 16.0615
2019-08-06 06:30:00 | 0 | 119.945 | 5.729 | 169.045 | 4.195 | 124.278 | 0 | 305.656 | 24.39 | 967.86 | 92.6879 | 14.9604
2019-08-06 06:45:00 | 0 | 117.049 | 4.195 | 184.793 | 3.428 | 142.021 | 0 | 290.127 | 24.52 | 968.023 | 90.4722 | 8.439
2019-08-06 07:00:00 | 0 | 126.521 | 4.4507 | 181.695 | 4.195 | 135.526 | 1.127 | 297.212 | 24.97 | 968.098 | 90.5262 | 9.6916
2019-08-06 07:15:00 | 0 | 107.587 | 3.9393 | 171.495 | 3.428 | 117.71 | 0 | 280.684 | 24.77 | 968.049 | 91.2747 | 9.9281
2019-08-06 07:30:00 | 0 | 132.847 | 2.9167 | 155.117 | 3.428 | 124.5 | 0 | 312.004 | 24.74 | 968.178 | 92.2972 | 7.8737
2019-08-06 07:45:00 | 0 | 56.4581 | 3.6837 | 146.6 | 1.3827 | 122.845 | 0 | 267.616 | 24.98 | 968.321 | 89.2297 | 4.1161
2019-08-06 08:00:00 | 0 | 87.6066 | 2.9167 | 158.425 | 1.6383 | 123.623 | 0.63133 | 297.23 | 25.12 | 968.47 | 89.229 | 0.81656
2019-08-06 08:15:00 | 0 | 78.9144 | 3.1723 | 133.887 | 0.75133 | 97.5297 | 0 | 279.741 | 25.56 | 968.618 | 86.4291 | 0.41752
2019-08-06 08:30:00 | 0 | 82.3169 | 2.9167 | 128.915 | 1.3827 | 69.1287 | 0 | 264.567 | 26.46 | 968.904 | 83.3576 | -0.48772
2019-08-06 08:45:00 | 0 | 120.468 | 2.1497 | 198.36 | 2.4053 | 245.12 | 0 | 329.389 | 26.99 | 968.916 | 79.5912 | -0.34362
2019-08-06 09:00:00 | 0 | 124.253 | 0.75133 | 185.086 | 0 | 245.782 | 0 | 255.901 | 27.15 | 969.509 | 80.8456 | -0.26972
2019-08-06 09:15:00 | 0 | 147.032 | 1.127 | 217.196 | 0 | 246.074 | 0 | 154.985 | 27.86 | 969.36 | 76.6475 | -0.26972
2019-08-06 09:30:00 | 0 | 200.42 | 0 | 242.492 | 0 | 245.758 | 0 | 51.1752 | 27.99 | 969.064 | 81.076 | -0.27711
2019-08-06 09:45:00 | 0 | 232.793 | 0.75133 | 306.494 | 0 | 246.658 | 0 | 54.6832 | 27.12 | 968.619 | 83.2646 | -0.26972
2019-08-06 10:00:00 | 0 | 293.433 | 1.894 | 6.9544 | 1.127 | 246.725 | 0 | 119.3 | 26.37 | 968.619 | 85.7581 | -0.25864
2019-08-06 10:15:00 | 0 | 231.74 | 0 | 323.839 | 0 | 246.677 | 0 | 90.3021 | 26.44 | 968.471 | 82.5894 | -0.24016
2019-08-06 10:30:00 | 0 | 289.638 | 1.3827 | 19.854 | 1.3827 | 309.222 | 0 | 122.949 | 27.53 | 968.619 | 81.7376 | -0.24016
2019-08-06 10:45:00 | 0 | 254.899 | 1.3827 | 14.7453 | 0 | 330.386 | 0 | 0.21894 | 27.26 | 968.619 | 80.477 | -0.24016
2019-08-06 11:00:00 | 0 | 105.093 | 0 | 121.34 | 0 | 348.169 | 0 | 229.234 | 27.59 | 968.768 | 74.6848 | -0.24016
2019-08-06 11:15:00 | 0 | 250.397 | 0.75133 | 321.353 | 0 | 273.842 | 0 | 68.6793 | 29.22 | 969.064 | 71.1543 | -0.25864
2019-08-06 11:30:00 | 0 | 14.9317 | 1.3827 | 309.52 | 0 | 284.725 | 0 | 215.27 | 28.42 | 968.619 | 70.2316 | -0.24016
2019-08-06 11:45:00 | 0 | 196.399 | 0 | 282.526 | 0 | 259.433 | 0 | 71.8864 | 29.55 | 968.619 | 72.8542 | -0.24016
2019-08-06 12:00:00 | 0 | 25.1943 | 1.127 | 115.31 | 0 | 90.7578 | 0 | 226.724 | 29.48 | 968.916 | 71.8665 | -0.24016
2019-08-06 12:15:00 | 0 | 282.195 | 2.9167 | 335.346 | 3.428 | 291.315 | 0 | 121.302 | 29.03 | 968.762 | 70.436 | -0.25864
2019-08-06 12:30:00 | 0 | 203.402 | 1.3827 | 283.304 | 0.75133 | 232.609 | 0 | 18.8714 | 29.15 | 968.619 | 71.2534 | -0.24016
2019-08-06 12:45:00 | 0 | 6.1283 | 0 | 69.785 | 0 | 274.948 | 0 | 209.92 | 29.58 | 968.026 | 71.7303 | -0.25494
2019-08-06 13:00:00 | 0 | 21.3033 | 1.6383 | 56.2638 | 1.127 | 279.229 | 0 | 192.897 | 29.06 | 967.878 | 75.6812 | -0.24016
2019-08-06 13:15:00 | 0 | 320.625 | 2.9167 | 2.325 | 1.894 | 279.379 | 0 | 147.861 | 28.56 | 967.433 | 78.4755 | -0.25125
2019-08-06 13:30:00 | 0 | 315.979 | 2.9167 | 3.1554 | 2.661 | 320.284 | 0 | 140.197 | 28.59 | 967.285 | 77.4654 | -0.25125
2019-08-06 13:45:00 | 0 | 79.2508 | 2.4053 | 77.3973 | 0.37567 | 350.329 | 0 | 162.588 | 28.61 | 966.988 | 77.6765 | -0.26972
2019-08-06 14:00:00 | 0 | 0.68116 | 0.75133 | 99.9809 | 0 | 314.013 | 0 | 146.716 | 28.37 | 966.692 | 78.0237 | -0.23647
2019-08-06 14:15:00 | 0 | 333.159 | 1.127 | 92.1965 | 0.75133 | 52.7411 | 0 | 168.708 | 28.25 | 966.988 | 77.2061 | -0.26233
2019-08-06 14:30:00 | 0 | 7.8333 | 3.6837 | 69.4264 | 2.4053 | 45.224 | 1.007 | 148.59 | 28.31 | 966.395 | 78.5008 | -0.20322
2019-08-06 14:45:00 | 0 | 355.905 | 3.428 | 76.1406 | 2.1497 | 42.621 | 0 | 161.799 | 28.17 | 966.395 | 78.3646 | -0.25125
2019-08-06 15:00:00 | 0 | 10.7526 | 3.428 | 66.799 | 2.661 | 12.6501 | 0 | 224.052 | 28.53 | 966.543 | 78.0238 | -0.25864
2019-08-06 15:15:00 | 0 | 344.18 | 2.4053 | 43.0558 | 1.6383 | 346.807 | 0 | 145.962 | 28.24 | 966.543 | 80.2044 | -0.25864
2019-08-06 15:30:00 | 0 | 4.7681 | 1.6383 | 103.29 | 0 | 97.7949 | 0 | 200.504 | 28.07 | 965.951 | 80.9881 | -0.22908
2019-08-06 15:45:00 | 0 | 0.14596 | 3.1723 | 50.7432 | 2.4053 | 1.8489 | 0 | 190.627 | 28.05 | 966.247 | 81.4991 | -0.218
2019-08-06 16:00:00 | 0 | 356.927 | 2.4053 | 39.4554 | 1.3827 | 7.1035 | 0 | 175.179 | 28.21 | 966.247 | 80.2726 | -0.18105
2019-08-06 16:15:00 | 0 | 77.0439 | 2.9167 | 49.0889 | 1.3827 | 4.2329 | 0 | 165.351 | 28.58 | 966.395 | 77.5468 | -0.16257
2019-08-06 16:30:00 | 0 | 22.1376 | 3.428 | 88.0122 | 2.661 | 48.6055 | 0 | 184.497 | 28.13 | 966.099 | 80.2385 | -0.23647
2019-08-06 16:45:00 | 0 | 39.8964 | 2.661 | 99.3487 | 0 | 3.0166 | 0 | 193.595 | 28.12 | 966.543 | 80.1363 | -0.25125
2019-08-06 17:00:00 | 0 | 6.325 | 0.75133 | 27.3892 | 1.6383 | 305.159 | 0 | 177.807 | 28.33 | 966.099 | 80.8858 | -0.28081
2019-08-06 17:15:00 | 0 | 73.1759 | 2.661 | 44.9047 | 2.1497 | 338.852 | 0 | 184.497 | 27.9 | 965.951 | 82.862 | 1.0456
2019-08-06 17:30:00 | 0 | 132.923 | 6.7517 | 194.978 | 6.7517 | 133.969 | 1.894 | 306.083 | 27.19 | 965.951 | 80.4089 | 18.4165
2019-08-06 17:45:00 | 0 | 147.073 | 7.7743 | 210.1 | 7.0073 | 142.377 | 2.1497 | 323.055 | 24.7 | 965.915 | 91.9161 | 43.1252
2019-08-06 18:00:00 | 2.3927 | 133.065 | 10.331 | 182.81 | 9.564 | 137.397 | 4.195 | 313.243 | 23.19 | 964.911 | 96.3866 | 55.949
2019-08-06 18:15:00 | 0 | 72.6756 | 6.2403 | 135.208 | 4.7063 | 85.4534 | 0 | 255.508 | 21.66 | 965.331 | 96.8097 | 55.5293
2019-08-06 18:30:00 | 0 | 117.237 | 5.9847 | 161.722 | 5.729 | 108.327 | 0 | 297.596 | 22.3 | 965.057 | 93.8952 | 36.0486
2019-08-06 18:45:00 | 0 | 99.663 | 2.661 | 154.082 | 0.75133 | 77.2181 | 0 | 279.222 | 22.05 | 965.65 | 96.3518 | 9.464
2019-08-06 19:00:00 | 0 | 139.88 | 2.1497 | 193.642 | 0 | 150.64 | 0 | 305.662 | 21.97 | 965.353 | 95.3981 | 5.2541
2019-08-06 19:15:00 | 0 | 97.3136 | 2.9167 | 147.602 | 2.9167 | 58.5293 | 0 | 279.913 | 23.59 | 965.057 | 83.8152 | 11.3912
2019-08-06 19:30:00 | 0 | 90.9984 | 5.4733 | 148.023 | 3.6837 | 73.4706 | 0 | 278.692 | 25.37 | 965.205 | 78.6922 | 9.5549
2019-08-06 19:45:00 | 0 | 114.294 | 3.428 | 190.5 | 2.4053 | 147.133 | 0 | 305.611 | 25.1 | 965.353 | 79.6113 | 18.3523
2019-08-06 20:00:00 | 0 | 127.536 | 5.4733 | 168.711 | 5.4733 | 112.516 | 0 | 313.009 | 25.32 | 965.798 | 71.1894 | 12.4664
2019-08-06 20:15:00 | 0 | 65.2087 | 3.6837 | 105.89 | 3.428 | 44.7868 | 0 | 259.837 | 24.67 | 966.095 | 82.1583 | 5.1802
2019-08-06 20:30:00 | 0 | 50.3357 | 2.661 | 112.509 | 2.4053 | 46.9281 | 0 | 257.155 | 24.21 | 966.391 | 82.3615 | 3.1406
2019-08-06 20:45:00 | 0 | 85.0914 | 3.9393 | 141.713 | 2.4053 | 81.3918 | 0 | 254.13 | 24.98 | 966.243 | 77.3824 | 2.7563
2019-08-06 21:00:00 | 0 | 77.6919 | 6.496 | 138.304 | 5.2177 | 72.824 | 0 | 269.049 | 25.35 | 966.243 | 76.223 | 4.6555
2019-08-06 21:15:00 | 0 | 80.0284 | 3.428 | 152.713 | 2.1497 | 108.214 | 0 | 281.9 | 25.78 | 966.243 | 72.405 | 10.401
2019-08-06 21:30:00 | 0 | 120.189 | 6.2403 | 183.259 | 4.7063 | 127.198 | 0 | 313.152 | 25.98 | 966.54 | 73.6322 | 13.7929
2019-08-06 21:45:00 | 0 | 130.582 | 4.4507 | 185.766 | 2.661 | 151.1 | 0 | 309.428 | 26.3 | 966.539 | 78.916 | 9.1965
2019-08-06 22:00:00 | 0 | 129.972 | 5.729 | 178.56 | 4.962 | 140.097 | 0 | 312.59 | 26.16 | 966.243 | 76.5632 | 16.0947
2019-08-06 22:15:00 | 0 | 119.869 | 6.7517 | 164.075 | 5.9847 | 127.633 | 0 | 323.487 | 26.05 | 966.391 | 79.2887 | 22.1173
2019-08-06 22:30:00 | 0 | 131.935 | 8.797 | 185.167 | 8.5413 | 133.687 | 0.37567 | 313.664 | 25.85 | 965.944 | 81.6028 | 38.7072
2019-08-06 22:45:00 | 6.2227 | 133.32 | 6.7517 | 173.968 | 7.5187 | 124.802 | 7.0073 | 320.498 | 25.53 | 966.073 | 84.4647 | 34.3768
2019-08-06 23:00:00 | 0.744 | 124.832 | 7.263 | 174.804 | 5.729 | 109.766 | 1.5183 | 303.962 | 25.46 | 966.243 | 87.4682 | 27.1239
2019-08-06 23:15:00 | 0 | 122.914 | 5.2177 | 178.609 | 5.2177 | 150.806 | 0 | 316.63 | 25.23 | 966.095 | 91.4941 | 27.9885
2019-08-06 23:30:00 | 0 | 135.206 | 7.0073 | 168.047 | 5.2177 | 128.999 | 0 | 330.774 | 25.19 | 966.391 | 92.3129 | 20.6135
2019-08-06 23:45:00 | 0 | 132.383 | 4.962 | 170.432 | 4.7063 | 138.614 | 0.887 | 314.004 | 25.25 | 965.947 | 91.6993 | 15.8287