## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-08-07 00:00:00 | 0 | 129.194 | 4.4507 | 191.462 | 4.4507 | 141.413 | 0 | 305.558 | 25.22 | 966.095 | 92.4834 | 11.842
2019-08-07 00:15:00 | 0 | 127.782 | 5.2177 | 171.917 | 5.2177 | 130.022 | 2.541 | 315.976 | 25.1 | 965.932 | 92.6538 | 14.3914
2019-08-07 00:30:00 | 0 | 129.219 | 4.195 | 183.089 | 5.2177 | 109.99 | 0 | 313.396 | 25.23 | 965.647 | 92.7902 | 12.3814
2019-08-07 00:45:00 | 0 | 133.673 | 3.428 | 190.488 | 3.428 | 136.009 | 0 | 327.683 | 25.31 | 965.798 | 92.0402 | 9.6583
2019-08-07 01:00:00 | 0 | 138.443 | 5.9847 | 177.613 | 4.4507 | 146.938 | 0 | 331.796 | 25.51 | 965.645 | 91.3584 | 5.945
2019-08-07 01:15:00 | 0 | 140.682 | 4.195 | 189.612 | 2.661 | 150.224 | 0 | 338.977 | 25.62 | 965.5 | 91.4948 | 5.812
2019-08-07 01:30:00 | 0 | 142.338 | 4.7063 | 192.727 | 2.9167 | 150.224 | 0 | 324.129 | 25.26 | 965.65 | 92.722 | 9.7101
2019-08-07 01:45:00 | 0 | 135.863 | 5.9847 | 193.604 | 6.496 | 135.522 | 5.2177 | 323.229 | 25.26 | 965.347 | 92.6538 | 12.3593
2019-08-07 02:00:00 | 0 | 136.885 | 5.729 | 180.314 | 4.962 | 134.013 | 0 | 318.361 | 25.28 | 965.057 | 92.5175 | 8.5314
2019-08-07 02:15:00 | 0 | 134.354 | 4.4507 | 185.231 | 3.6837 | 131.433 | 2.9167 | 324.032 | 25.31 | 965.057 | 92.3129 | 4.7664
2019-08-07 02:30:00 | 0 | 144.479 | 4.4507 | 198.106 | 2.661 | 157.039 | 0 | 331.699 | 24.88 | 965.057 | 94.5628 | 4.5484
2019-08-07 02:45:00 | 0 | 138.151 | 4.962 | 194.821 | 2.9167 | 142.24 | 0 | 325.809 | 24.96 | 965.056 | 94.2901 | 6.1261
2019-08-07 03:00:00 | 0 | 131.19 | 5.729 | 187.884 | 5.2177 | 129.389 | 0 | 319.724 | 25.23 | 964.908 | 92.8924 | 12.2004
2019-08-07 03:15:00 | 0 | 135.912 | 7.263 | 190.61 | 8.03 | 154.093 | 5.729 | 314.004 | 24.76 | 964.908 | 95.3809 | 19.8118
2019-08-07 03:30:00 | 0 | 134.938 | 6.496 | 192.435 | 7.0073 | 154.945 | 0 | 321.33 | 24.24 | 965.205 | 97.2217 | 26.6103
2019-08-07 03:45:00 | 8.01 | 151.684 | 7.5187 | 207.136 | 5.729 | 154.872 | 5.2177 | 337.589 | 23.27 | 964.908 | 97.8353 | 27.6522
2019-08-07 04:00:00 | 0 | 142.25 | 5.729 | 198.973 | 5.2177 | 150.672 | 0 | 336.249 | 22.72 | 964.612 | 98.4216 | 26.3701
2019-08-07 04:15:00 | 0 | 148.107 | 5.9847 | 198.168 | 4.7063 | 155.921 | 0 | 333.167 | 22.51 | 964.612 | 98.6021 | 21.1493
2019-08-07 04:30:00 | 0 | 134.28 | 4.7063 | 174.457 | 3.1723 | 117.823 | 0 | 308.946 | 22.3 | 964.463 | 98.7044 | 17.0961
2019-08-07 04:45:00 | 0 | 120.696 | 1.894 | 197.024 | 0 | 112.516 | 0 | 298.867 | 22.7 | 964.76 | 98.6703 | 17.4951
2019-08-07 05:00:00 | 0 | 109.839 | 1.894 | 171.95 | 0 | 136.86 | 0 | 295.191 | 22.69 | 964.612 | 98.6703 | 15.4371
2019-08-07 05:15:00 | 0 | 83.4503 | 4.4507 | 139.89 | 2.9167 | 73.1529 | 0 | 265.055 | 22.85 | 964.463 | 98.8069 | 10.135
2019-08-07 05:30:00 | 0 | 75.5628 | 3.6837 | 135.702 | 2.9167 | 87.9294 | 0 | 258.871 | 23.37 | 964.463 | 98.4658 | 7.5042
2019-08-07 05:45:00 | 0 | 104.824 | 4.195 | 151.404 | 2.9167 | 91.3862 | 0 | 271.675 | 23.4 | 964.463 | 95.1586 | 5.2393
2019-08-07 06:00:00 | 0 | 78.3623 | 3.1723 | 137.942 | 3.6837 | 89.0005 | 0 | 255.974 | 23.84 | 964.463 | 89.2602 | 5.0915
2019-08-07 06:15:00 | 0 | 71.0835 | 3.1723 | 123.871 | 2.9167 | 82.379 | 0 | 257.215 | 24.7 | 964.463 | 86.0212 | 3.7724
2019-08-07 06:30:00 | 0 | 60.2699 | 2.9167 | 119.38 | 2.661 | 82.3235 | 0 | 230.71 | 25.02 | 964.908 | 86.014 | 3.2108
2019-08-07 06:45:00 | 0 | 74.3819 | 0.37567 | 150.864 | 0 | 88.4989 | 0 | 274.794 | 24.84 | 965.057 | 90.1316 | 2.8302
2019-08-07 07:00:00 | 0 | 91.7357 | 0 | 210.155 | 0 | 156.381 | 0 | 279.442 | 24.13 | 965.353 | 92.4152 | 2.5938
2019-08-07 07:15:00 | 0 | 91.614 | 0 | 207.988 | 0 | 143.506 | 0 | 280.197 | 24.21 | 965.353 | 91.7675 | 3.7872
2019-08-07 07:30:00 | 0 | 91.9791 | 0 | 204.581 | 0 | 138.224 | 0 | 278.712 | 24.21 | 965.65 | 92.347 | 5.8009
2019-08-07 07:45:00 | 0 | 99.4033 | 1.127 | 176.3 | 0 | 131.045 | 0 | 281.951 | 23.99 | 965.798 | 94.018 | 9.6546
2019-08-07 08:00:00 | 0 | 96.1465 | 2.9167 | 154.743 | 1.894 | 134.459 | 0 | 292.456 | 23.52 | 965.65 | 95.1817 | 15.8324
2019-08-07 08:15:00 | 0 | 133.446 | 5.2177 | 189.614 | 4.195 | 144.254 | 0 | 307.642 | 22.68 | 965.205 | 94.8474 | 29.3629
2019-08-07 08:30:00 | 0 | 108.208 | 4.7063 | 152.353 | 5.2177 | 124.323 | 0 | 280.147 | 22.57 | 965.057 | 95.0562 | 29.3814
2019-08-07 08:45:00 | 0 | 94.7697 | 5.729 | 162.163 | 3.9393 | 87.8561 | 0 | 279.221 | 22.99 | 965.353 | 88.1689 | 19.6529
2019-08-07 09:00:00 | 0 | 98.6892 | 8.03 | 149.067 | 6.496 | 119.235 | 0 | 261.208 | 23.31 | 964.463 | 86.9417 | 13.1352
2019-08-07 09:15:00 | 0 | 91.6078 | 7.263 | 145.444 | 5.9847 | 87.8831 | 0 | 262.14 | 23.31 | 964.908 | 85.6485 | 8.5129
2019-08-07 09:30:00 | 0 | 82.7741 | 2.9167 | 104.745 | 2.9167 | 67.4365 | 0 | 242.017 | 23.48 | 965.057 | 86.8794 | 7.4931
2019-08-07 09:45:00 | 0 | 76.0523 | 3.428 | 119.47 | 3.1723 | 64.0505 | 0 | 245.734 | 23.37 | 965.205 | 87.8654 | 7.955
2019-08-07 10:00:00 | 0 | 62.5883 | 2.661 | 121.658 | 0.75133 | 35.1527 | 0 | 255.368 | 23.67 | 965.501 | 85.5107 | 3.4621
2019-08-07 10:15:00 | 0 | 59.1065 | 0 | 121.193 | 0 | 27.557 | 0 | 238.325 | 23.29 | 965.798 | 91.715 | 2.2465
2019-08-07 10:30:00 | 0 | 83.6936 | 1.894 | 140.717 | 0 | 45.474 | 0 | 269.022 | 23.35 | 965.947 | 91.4422 | 1.7624
2019-08-07 10:45:00 | 0 | 50.927 | 0 | 96.6306 | 0 | 45.1819 | 0 | 244.581 | 23.55 | 965.947 | 91.4422 | 0.69833
2019-08-07 11:00:00 | 0 | 43.035 | 0 | 17.2738 | 0 | 45.177 | 0 | 223.913 | 23.86 | 966.243 | 91.1597 | 0.88307
2019-08-07 11:15:00 | 0 | 85.6265 | 0.75133 | 138.913 | 0.37567 | 45.4419 | 0 | 268.027 | 23.81 | 966.391 | 90.8131 | 0.42491
2019-08-07 11:30:00 | 0 | 64.6458 | 2.1497 | 109.997 | 1.894 | 45.2715 | 0 | 248.263 | 23.74 | 966.095 | 89.654 | 0.96805
2019-08-07 11:45:00 | 0 | 73.5054 | 3.6837 | 130.224 | 2.4053 | 45.4662 | 0 | 246.705 | 23.97 | 966.243 | 87.6087 | -0.1404
2019-08-07 12:00:00 | 0 | 89.0583 | 3.9393 | 138.499 | 2.4053 | 48.533 | 0 | 265.423 | 24.4 | 966.095 | 85.3588 | 1.271
2019-08-07 12:15:00 | 0 | 10.7078 | 1.127 | 105.597 | 0 | 19.0793 | 0 | 218.73 | 24.71 | 966.605 | 78.3926 | 0.33993
2019-08-07 12:30:00 | 0 | 89.9922 | 0.37567 | 146.892 | 1.6383 | 24.8221 | 0 | 286.038 | 24.92 | 966.403 | 84.6967 | 0.65029
2019-08-07 12:45:00 | 0 | 98.5826 | 4.4507 | 159.352 | 3.6837 | 28.9834 | 0 | 283.678 | 24.82 | 966.245 | 83.7764 | 3.9387
2019-08-07 13:00:00 | 0 | 107.246 | 4.4507 | 162.637 | 3.1723 | 42.1489 | 0 | 270.05 | 25.06 | 965.801 | 84.3218 | 16.3977
2019-08-07 13:15:00 | 0 | 86.3663 | 7.0073 | 155.02 | 6.2403 | 55.6307 | 1.2627 | 277.496 | 24.98 | 965.652 | 82.8903 | 31.3419
2019-08-07 13:30:00 | 10.0527 | 86.78 | 7.5187 | 138.886 | 4.962 | 87.656 | 1.1427 | 279.127 | 25.02 | 964.911 | 84.2536 | 26.492
2019-08-07 13:45:00 | 0 | 125.011 | 2.1497 | 250.171 | 1.127 | 98.3149 | 0 | 283.069 | 25.46 | 966.097 | 83.4697 | 10.4416
2019-08-07 14:00:00 | 0 | 67.2127 | 5.729 | 170.541 | 5.729 | 117.196 | 0 | 279.68 | 25.6 | 965.949 | 82.1726 | 11.3616
2019-08-07 14:15:00 | 0 | 76.4584 | 3.6837 | 131.554 | 3.428 | 117.875 | 0 | 272.009 | 25.03 | 965.208 | 84.5907 | 8.6755
2019-08-07 14:30:00 | 0 | 47.5967 | 3.428 | 97.1911 | 1.6383 | 117.848 | 0 | 263.315 | 25.11 | 965.356 | 83.9751 | 1.2452
2019-08-07 14:45:00 | 0 | 52.7576 | 3.9393 | 110.945 | 3.1723 | 118.413 | 0 | 256.342 | 25.05 | 965.059 | 83.4332 | 6.2739
2019-08-07 15:00:00 | 0 | 103.231 | 4.195 | 175.754 | 3.6837 | 118.173 | 0 | 277.107 | 25.02 | 964.763 | 84.1513 | 9.4662
2019-08-07 15:15:00 | 0 | 47.454 | 2.661 | 124.649 | 2.1497 | 117.589 | 0 | 248.878 | 24.74 | 964.614 | 84.5944 | 5.9672
2019-08-07 15:30:00 | 3.2973 | 115.106 | 4.7063 | 155.069 | 4.4507 | 117.394 | 3.428 | 279.127 | 24.79 | 964.763 | 85.3442 | 19.6824
2019-08-07 15:45:00 | 0 | 111.991 | 5.9847 | 160.349 | 4.4507 | 97.6335 | 0 | 279.565 | 24.77 | 964.763 | 85.5487 | 9.4255
2019-08-07 16:00:00 | 0 | 126.544 | 4.195 | 162.613 | 3.1723 | 103.571 | 0 | 308.573 | 24.66 | 965.357 | 87.6278 | 6.5916
2019-08-07 16:15:00 | 0 | 110.385 | 4.4507 | 170.327 | 3.9393 | 95.5893 | 0 | 291.465 | 24.36 | 964.466 | 88.3435 | 13.9037
2019-08-07 16:30:00 | 0.99933 | 106.662 | 7.263 | 169.086 | 4.7063 | 114.425 | 0.37567 | 300.517 | 24.47 | 964.665 | 88.2072 | 23.9574
2019-08-07 16:45:00 | 0 | 111.943 | 4.7063 | 176.873 | 4.195 | 127.566 | 0 | 295.869 | 24.25 | 964.37 | 89.9795 | 13.5084
2019-08-07 17:00:00 | 0 | 82.5456 | 1.894 | 125.087 | 1.127 | 77.4838 | 0 | 263.382 | 24.01 | 964.806 | 91.3769 | 8.1471
2019-08-07 17:15:00 | 0 | 82.278 | 5.4733 | 133.946 | 2.9167 | 82.5944 | 0 | 268.152 | 24.44 | 965.131 | 90.5591 | 16.479
2019-08-07 17:30:00 | 0 | 103.158 | 7.0073 | 145.237 | 4.195 | 119.268 | 1.007 | 286.768 | 24.58 | 965.51 | 89.3661 | 23.95
2019-08-07 17:45:00 | 0 | 98.68 | 3.1723 | 152.952 | 3.9393 | 128.491 | 0 | 296.6 | 24.04 | 964.466 | 89.4342 | 31.3471
2019-08-07 18:00:00 | 2.648 | 97.8769 | 6.2403 | 151.516 | 6.2403 | 92.1337 | 1.654 | 277.521 | 23.68 | 964.007 | 90.4908 | 37.9408
2019-08-07 18:15:00 | 0 | 76.1581 | 4.7063 | 133.801 | 4.195 | 115.977 | 0 | 255.954 | 23.66 | 964.313 | 81.9496 | 37.2071
2019-08-07 18:30:00 | 0 | 95.3622 | 8.797 | 140.69 | 8.5413 | 80.4908 | 0 | 274.258 | 23.73 | 963.87 | 79.8364 | 36.845
2019-08-07 18:45:00 | 0 | 107.168 | 4.7063 | 146.971 | 4.7063 | 90.9576 | 0 | 277.692 | 23.77 | 964.315 | 83.3142 | 27.4121
2019-08-07 19:00:00 | 0 | 125.163 | 5.2177 | 140.775 | 3.1723 | 142.47 | 0 | 299.35 | 23.46 | 964.167 | 87.8198 | 33.2611
2019-08-07 19:15:00 | 0.62733 | 104.433 | 5.2177 | 144.585 | 5.2177 | 80.0164 | 2.0297 | 284.305 | 23.38 | 964.315 | 86.1562 | 31.6094
2019-08-07 19:30:00 | 0 | 75.368 | 3.9393 | 147.874 | 6.496 | 78.0458 | 0 | 282.192 | 23.63 | 964.463 | 84.4187 | 22.3243
2019-08-07 19:45:00 | 0 | 107.648 | 3.1723 | 163.989 | 2.1497 | 119.138 | 0 | 295.776 | 23.65 | 964.612 | 86.9417 | 21.3082
2019-08-07 20:00:00 | 0 | 150.2 | 7.263 | 199.604 | 5.4733 | 136.349 | 1.2627 | 290.615 | 23.64 | 964.463 | 85.7484 | 28.757
2019-08-07 20:15:00 | 0 | 127.074 | 5.729 | 176.04 | 5.2177 | 118.018 | 0 | 279.66 | 23.91 | 964.612 | 85.1006 | 19.2982
2019-08-07 20:30:00 | 0 | 156.895 | 4.962 | 192.958 | 5.729 | 153.17 | 5.729 | 298.843 | 24.13 | 965.057 | 85.5097 | 11.0735
2019-08-07 20:45:00 | 0 | 103.972 | 2.9167 | 155.42 | 1.6383 | 99.8088 | 0 | 299.28 | 24.06 | 965.057 | 85.2708 | 10.1387
2019-08-07 21:00:00 | 0 | 84.3265 | 3.428 | 145.926 | 3.9393 | 122.4 | 0 | 253.393 | 23.89 | 965.205 | 84.8619 | 7.7555
2019-08-07 21:15:00 | 0 | 120.599 | 4.7063 | 159.096 | 3.428 | 97.6668 | 0 | 307.899 | 23.86 | 965.353 | 84.4187 | 4.2306
2019-08-07 21:30:00 | 0 | 109.863 | 4.7063 | 159.218 | 4.195 | 116.874 | 0.37567 | 300.742 | 23.84 | 965.353 | 85.3051 | 6.8687
2019-08-07 21:45:00 | 0 | 98.7136 | 4.4507 | 169.637 | 3.1723 | 141.315 | 0 | 299.184 | 23.91 | 965.353 | 83.8732 | 8.2395
2019-08-07 22:00:00 | 0 | 105.749 | 4.4507 | 160.971 | 4.962 | 122.741 | 0 | 306.389 | 24.18 | 965.057 | 81.9638 | 7.785
2019-08-07 22:15:00 | 0 | 114.798 | 4.4507 | 164.588 | 3.428 | 101.775 | 0 | 306.494 | 24.16 | 965.65 | 83.1184 | 6.4512
2019-08-07 22:30:00 | 0 | 98.4185 | 3.6837 | 135.697 | 2.1497 | 115.629 | 0 | 298.493 | 24.08 | 965.353 | 85.2685 | 7.9439
2019-08-07 22:45:00 | 0 | 114.559 | 5.2177 | 156.366 | 3.1723 | 88.5604 | 0 | 300.589 | 24.06 | 965.501 | 86.8034 | 8.5018
2019-08-07 23:00:00 | 0 | 103.604 | 3.9393 | 153.663 | 4.195 | 103.555 | 0 | 290.242 | 24.23 | 965.501 | 85.8142 | 10.0832
2019-08-07 23:15:00 | 0 | 92.1107 | 3.9393 | 144.261 | 3.428 | 90.6015 | 0 | 289.209 | 24.14 | 965.353 | 85.709 | 7.0572
2019-08-07 23:30:00 | 0 | 100.098 | 3.6837 | 153.37 | 4.195 | 93.2818 | 0 | 286.467 | 24.16 | 965.501 | 85.95 | 4.8772
2019-08-07 23:45:00 | 0 | 128.722 | 2.661 | 173.01 | 2.4053 | 129.063 | 0 | 300.238 | 24.28 | 965.65 | 86.2548 | 3.3956