## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-08-09 00:00:00 | 0 | 125.084 | 5.2177 | 169.719 | 5.729 | 132.847 | 0 | 297.135 | 27.17 | 966.987 | 80.334 | 14.9383
2019-08-09 00:15:00 | 0 | 135.305 | 5.9847 | 173.685 | 5.2177 | 122.529 | 4.7063 | 315.873 | 27.14 | 966.69 | 81.5951 | 12.6512
2019-08-09 00:30:00 | 0 | 94.908 | 4.4507 | 153.828 | 3.9393 | 122.821 | 0 | 277.229 | 26.89 | 966.838 | 83.3674 | 14.3508
2019-08-09 00:45:00 | 0 | 123.77 | 6.2403 | 166.336 | 3.9393 | 131.606 | 0 | 303.632 | 26.67 | 966.542 | 81.7314 | 16.0172
2019-08-09 01:00:00 | 3.414 | 123.405 | 7.5187 | 179.793 | 6.7517 | 133.187 | 3.6837 | 291.732 | 26.5 | 966.546 | 85.2079 | 15.9543
2019-08-09 01:15:00 | 3.1587 | 116.712 | 3.9393 | 166.628 | 3.6837 | 126.617 | 2.9167 | 297.622 | 26.16 | 966.57 | 87.5937 | 15.9691
2019-08-09 01:30:00 | 4.946 | 123.332 | 6.7517 | 167.09 | 6.2403 | 121.336 | 3.428 | 309.254 | 25.99 | 966.459 | 87.5937 | 14.3064
2019-08-09 01:45:00 | 0 | 134.599 | 5.9847 | 185.926 | 5.2177 | 141.194 | 3.428 | 321.568 | 26.27 | 966.589 | 85.8214 | 10.3345
2019-08-09 02:00:00 | 0 | 149.711 | 5.729 | 202.06 | 5.729 | 150.904 | 5.4733 | 331.204 | 26.36 | 966.153 | 84.7648 | 6.8207
2019-08-09 02:15:00 | 0 | 147.521 | 4.962 | 202.766 | 4.195 | 140.074 | 0 | 329.16 | 26.18 | 966.211 | 85.9577 | 7.8368
2019-08-09 02:30:00 | 0 | 143.043 | 5.4733 | 182.373 | 4.4507 | 141.34 | 5.9847 | 321.446 | 26.05 | 966.564 | 87.5938 | 12.9874
2019-08-09 02:45:00 | 0 | 124.451 | 4.195 | 195.855 | 3.1723 | 148.47 | 0 | 317.991 | 26.24 | 966.393 | 86.7759 | 10.5562
2019-08-09 03:00:00 | 0 | 139.711 | 3.9393 | 200.529 | 4.4507 | 150.881 | 2.4053 | 328.385 | 26.11 | 966.461 | 86.7084 | 9.3886
2019-08-09 03:15:00 | 0 | 153.532 | 5.729 | 200.455 | 3.6837 | 136.011 | 5.2177 | 338.385 | 26.14 | 966.358 | 86.776 | 9.2112
2019-08-09 03:30:00 | 0 | 144.7 | 5.9847 | 196.173 | 5.2177 | 145.673 | 0 | 331.354 | 26.06 | 966.182 | 88.6853 | 14.8607
2019-08-09 03:45:00 | 0 | 134.624 | 5.9847 | 187.388 | 5.9847 | 128.833 | 5.9847 | 321.424 | 25.83 | 966.193 | 89.1283 | 18.1306
2019-08-09 04:00:00 | 0 | 156.7 | 4.962 | 194.693 | 5.2177 | 151.444 | 0 | 314.836 | 25.81 | 966.207 | 89.3005 | 16.8707
2019-08-09 04:15:00 | 0 | 136.094 | 6.2403 | 190.299 | 5.2177 | 143.152 | 0 | 319.257 | 25.71 | 966.388 | 90.2594 | 20.6283
2019-08-09 04:30:00 | 0.88267 | 133.369 | 6.2403 | 193.172 | 6.7517 | 133.564 | 0.75133 | 316.314 | 25.62 | 966.362 | 91.0099 | 20.8278
2019-08-09 04:45:00 | 0 | 128.436 | 5.9847 | 187.318 | 6.496 | 142.577 | 0 | 314.458 | 25.59 | 966.243 | 91.1173 | 21.4042
2019-08-09 05:00:00 | 0 | 135.42 | 7.263 | 188.995 | 7.0073 | 130.162 | 1.3827 | 320.368 | 25.51 | 966.391 | 91.082 | 19.1319
2019-08-09 05:15:00 | 2.0207 | 134.451 | 7.0073 | 181.58 | 7.263 | 130.801 | 0.63133 | 315.245 | 25.47 | 966.243 | 91.3584 | 21.3193
2019-08-09 05:30:00 | 0.88267 | 136.739 | 7.263 | 185.523 | 6.7517 | 138.589 | 5.4733 | 317.923 | 25.56 | 966.095 | 89.9267 | 27.1682
2019-08-09 05:45:00 | 0 | 136.253 | 6.7517 | 187.47 | 6.2403 | 129.657 | 2.541 | 322.231 | 25.34 | 966.241 | 91.4948 | 26.5549
2019-08-09 06:00:00 | 0 | 111.402 | 6.2403 | 158.457 | 4.4507 | 106.218 | 0 | 312.154 | 25.44 | 966.242 | 90.7448 | 21.9104
2019-08-09 06:15:00 | 0 | 129.063 | 6.7517 | 181.809 | 6.2403 | 127.725 | 0.37567 | 306.681 | 25.54 | 966.368 | 91.4884 | 25.2949
2019-08-09 06:30:00 | 0 | 110.072 | 5.729 | 176.392 | 5.729 | 143.583 | 5.2177 | 295.781 | 25.33 | 966.536 | 92.0954 | 26.7359
2019-08-09 06:45:00 | 0 | 130.73 | 6.2403 | 181.132 | 6.2403 | 127.08 | 6.2403 | 319.914 | 25.5 | 966.579 | 91.3431 | 24.9661
2019-08-09 07:00:00 | 0 | 130.365 | 6.496 | 186.437 | 7.0073 | 135.402 | 0 | 314.413 | 25.6 | 966.332 | 91.1384 | 25.3762
2019-08-09 07:15:00 | 0 | 147.326 | 4.7063 | 180.84 | 5.729 | 132.165 | 4.7063 | 309.254 | 25.9 | 966.839 | 90.4226 | 18.4188
2019-08-09 07:30:00 | 0 | 135.151 | 5.2177 | 203.289 | 4.7063 | 155.3 | 0 | 331.186 | 26.25 | 966.69 | 88.066 | 18.3892
2019-08-09 07:45:00 | 0 | 159.147 | 4.195 | 205.531 | 4.195 | 158.514 | 0 | 343.383 | 26.15 | 966.839 | 89.4989 | 18.4927
2019-08-09 08:00:00 | 0 | 136.204 | 4.7063 | 184.561 | 5.2177 | 153.676 | 3.428 | 321.126 | 25.96 | 966.839 | 91.2737 | 18.138
2019-08-09 08:15:00 | 0 | 140.072 | 4.962 | 202.372 | 5.729 | 179.397 | 3.9393 | 314.066 | 26.12 | 967.283 | 90.5913 | 14.9493
2019-08-09 08:30:00 | 0 | 152.608 | 5.4733 | 211.394 | 5.9847 | 177.304 | 0 | 332.394 | 26.56 | 967.064 | 89.0796 | 13.2017
2019-08-09 08:45:00 | 0 | 155.839 | 6.2403 | 199.479 | 4.7063 | 158.54 | 2.7967 | 327.784 | 26.81 | 967.142 | 88.6543 | 9.8542
2019-08-09 09:00:00 | 0 | 142.362 | 5.9847 | 192.911 | 5.2177 | 153.09 | 0 | 330.338 | 26.55 | 967.285 | 89.3356 | 9.2851
2019-08-09 09:15:00 | 0 | 148.079 | 5.729 | 201.839 | 5.9847 | 161.362 | 0 | 324.329 | 26.8 | 967.137 | 87.8706 | 10.6153
2019-08-09 09:30:00 | 0 | 138.081 | 5.729 | 194.979 | 5.9847 | 145.087 | 5.4733 | 324.037 | 27.28 | 967.582 | 85.1108 | 9.7729
2019-08-09 09:45:00 | 0 | 141.167 | 6.2403 | 195.923 | 4.962 | 164.18 | 0.37567 | 300.483 | 27.74 | 967.73 | 83.4738 | 8.9932
2019-08-09 10:00:00 | 0 | 135.048 | 5.729 | 191.183 | 3.9393 | 148.572 | 0 | 318.306 | 27.42 | 967.582 | 84.6918 | 5.8822
2019-08-09 10:15:00 | 0 | 143.456 | 4.962 | 185.66 | 3.428 | 146.643 | 0 | 322.308 | 27.61 | 967.73 | 83.4068 | 3.0409
2019-08-09 10:30:00 | 0 | 137.971 | 3.6837 | 203.521 | 4.195 | 162.296 | 0 | 317.999 | 28 | 967.73 | 80.1291 | 3.1332
2019-08-09 10:45:00 | 0 | 138.886 | 5.9847 | 202.388 | 6.2403 | 151.34 | 0 | 323.598 | 28.21 | 967.582 | 78.2163 | 4.0533
2019-08-09 11:00:00 | 0 | 139.906 | 5.4733 | 193.847 | 4.962 | 140.587 | 3.428 | 326.9 | 28.3 | 967.878 | 74.059 | 4.1567
2019-08-09 11:15:00 | 0 | 139.833 | 4.962 | 204.355 | 4.962 | 158.975 | 3.428 | 306.858 | 28.45 | 967.582 | 77.0567 | 2.8266
2019-08-09 11:30:00 | 0 | 118.696 | 3.9393 | 176.165 | 3.6837 | 128.669 | 0.887 | 306.227 | 28.5 | 967.137 | 75.5239 | 2.9928
2019-08-09 11:45:00 | 0 | 144.187 | 4.4507 | 203.431 | 3.9393 | 148.516 | 2.2853 | 302.7 | 28.51 | 967.73 | 76.4438 | 1.6442
2019-08-09 12:00:00 | 0 | 134.458 | 4.962 | 211.093 | 5.4733 | 158.878 | 0 | 309.17 | 28.56 | 967.285 | 77.8745 | 2.8413
2019-08-09 12:15:00 | 0 | 138.349 | 3.6837 | 190.54 | 4.4507 | 147.592 | 0 | 314.447 | 28.45 | 967.433 | 76.9887 | 1.744
2019-08-09 12:30:00 | 3.9247 | 143.023 | 4.195 | 198.426 | 4.7063 | 148.958 | 0 | 325.547 | 28.51 | 966.84 | 76.4456 | 1.7144
2019-08-09 12:45:00 | 0 | 142.934 | 5.2177 | 195.009 | 5.2177 | 143.031 | 2.661 | 332.401 | 28.62 | 967.137 | 76.4501 | 3.4953
2019-08-09 13:00:00 | 0 | 135.574 | 6.7517 | 190.573 | 6.7517 | 139.977 | 0.63133 | 319.655 | 28.47 | 966.989 | 74.7523 | 6.5288
2019-08-09 13:15:00 | 0 | 134.087 | 6.2403 | 184.804 | 5.9847 | 130.292 | 5.729 | 319.308 | 28.78 | 966.692 | 74.5804 | 8.1878
2019-08-09 13:30:00 | 0 | 131.055 | 7.7743 | 185.947 | 7.5187 | 125.752 | 0 | 307.254 | 29.28 | 966.84 | 71.3692 | 10.0869
2019-08-09 13:45:00 | 0 | 147.981 | 5.4733 | 194.431 | 7.0073 | 142.241 | 0 | 330.354 | 29.16 | 966.84 | 70.448 | 10.6005
2019-08-09 14:00:00 | 0 | 140.587 | 7.5187 | 195.015 | 7.263 | 145.33 | 1.5183 | 327.095 | 29.47 | 967.137 | 68.7447 | 8.8233
2019-08-09 14:15:00 | 0 | 142.572 | 6.2403 | 194.417 | 4.962 | 154.489 | 0 | 323.717 | 29.56 | 967.137 | 70.3752 | 6.3551
2019-08-09 14:30:00 | 0 | 144.069 | 6.7517 | 202.669 | 6.2403 | 152.872 | 5.9847 | 324.446 | 29.33 | 966.692 | 71.4597 | 9.6583
2019-08-09 14:45:00 | 0 | 166.363 | 4.962 | 212.471 | 4.962 | 144.668 | 0 | 340.826 | 29.23 | 966.099 | 72.6257 | 8.2543
2019-08-09 15:00:00 | 0 | 144.624 | 5.2177 | 189.713 | 4.4507 | 132.122 | 0 | 321.672 | 29.46 | 965.803 | 69.4261 | 6.1482
2019-08-09 15:15:00 | 0 | 148.856 | 5.9847 | 200.95 | 4.962 | 141.657 | 4.4507 | 330.598 | 29.54 | 965.803 | 68.1997 | 8.3282
2019-08-09 15:30:00 | 0 | 150.905 | 4.4507 | 227.324 | 4.4507 | 141.613 | 0 | 331.144 | 29.59 | 965.803 | 66.669 | 4.4708
2019-08-09 15:45:00 | 0 | 142.435 | 4.195 | 197.35 | 4.195 | 141.657 | 0 | 316.344 | 29.79 | 966.099 | 68.0634 | 4.1308
2019-08-09 16:00:00 | 0 | 158.731 | 3.6837 | 186.087 | 2.661 | 141.486 | 0 | 330.523 | 29.74 | 965.951 | 69.085 | 3.2921
2019-08-09 16:15:00 | 0 | 129.272 | 5.729 | 178.541 | 5.9847 | 141.262 | 0 | 327.277 | 29.81 | 966.396 | 68.8784 | 3.5951
2019-08-09 16:30:00 | 0 | 142.898 | 4.962 | 198.237 | 5.2177 | 141.341 | 0 | 323.197 | 29.83 | 966.84 | 68.5287 | 3.5766
2019-08-09 16:45:00 | 0 | 143.578 | 5.9847 | 192.255 | 5.4733 | 141.414 | 0 | 325.677 | 29.62 | 965.951 | 67.03 | 3.0778
2019-08-09 17:00:00 | 0 | 139.378 | 2.9167 | 203.696 | 3.9393 | 141.178 | 0.37567 | 325.718 | 29.67 | 965.655 | 68.3277 | 1.7181
2019-08-09 17:15:00 | 0 | 158.768 | 4.4507 | 214.236 | 4.195 | 141.451 | 0 | 343.024 | 29.83 | 965.655 | 65.8098 | 1.792
2019-08-09 17:30:00 | 0 | 145.137 | 4.7063 | 197.706 | 3.6837 | 141.927 | 0 | 327.313 | 29.83 | 965.803 | 68.3937 | 1.3819
2019-08-09 17:45:00 | 0 | 148.89 | 3.428 | 191.952 | 2.9167 | 141.837 | 0 | 336.887 | 29.71 | 965.951 | 69.1463 | 0.044338
2019-08-09 18:00:00 | 0 | 123.263 | 2.1497 | 181.652 | 1.127 | 141.845 | 0 | 311.708 | 29.55 | 965.803 | 70.9897 | -0.37687
2019-08-09 18:15:00 | 0 | 129.228 | 2.4053 | 198.834 | 2.1497 | 141.852 | 0 | 316.807 | 29.38 | 965.506 | 70.5844 | -0.30298
2019-08-09 18:30:00 | 5.712 | 129.902 | 2.1497 | 209.25 | 1.894 | 141.87 | 3.428 | 328.89 | 29.26 | 965.655 | 70.5254 | -0.25125
2019-08-09 18:45:00 | 0 | 129.42 | 1.127 | 206.534 | 0 | 141.876 | 0 | 315.474 | 29.3 | 965.21 | 70.7325 | -0.25125
2019-08-09 19:00:00 | 0 | 126.112 | 2.9167 | 173.4 | 2.4053 | 141.876 | 0 | 301.826 | 29.23 | 964.765 | 69.8467 | -0.26972
2019-08-09 19:15:00 | 0 | 124.457 | 2.661 | 176.855 | 2.661 | 141.876 | 0 | 302.24 | 29.24 | 964.617 | 68.8245 | -0.24016
2019-08-09 19:30:00 | 0 | 123.539 | 3.428 | 171.707 | 2.661 | 141.882 | 0 | 303.227 | 29.26 | 964.632 | 68.3508 | -0.2882
2019-08-09 19:45:00 | 0 | 98.0186 | 4.4507 | 152.311 | 3.1723 | 81.8606 | 0 | 278.141 | 28.66 | 964.857 | 76.0362 | 0.84981
2019-08-09 20:00:00 | 0 | 107.267 | 4.4507 | 167.985 | 2.9167 | 90.7196 | 2.4053 | 286.808 | 28.19 | 964.761 | 77.6392 | 4.988
2019-08-09 20:15:00 | 0 | 107.389 | 4.962 | 168.886 | 3.428 | 134.327 | 0 | 295.18 | 28.18 | 965.059 | 76.8894 | 10.1904
2019-08-09 20:30:00 | 0 | 130.522 | 3.6837 | 176.684 | 3.428 | 134.391 | 5.729 | 306.426 | 28.05 | 965.207 | 76.816 | 11.1215
2019-08-09 20:45:00 | 0 | 112.473 | 3.9393 | 164.746 | 3.428 | 113.106 | 0 | 280.088 | 27.82 | 965.207 | 79.8193 | 11.2951
2019-08-09 21:00:00 | 0 | 123.134 | 3.428 | 182.782 | 3.9393 | 128.488 | 0 | 311.315 | 27.82 | 965.652 | 79.3436 | 7.0461
2019-08-09 21:15:00 | 0 | 128.077 | 4.195 | 186.364 | 3.428 | 144.163 | 0 | 308.475 | 27.8 | 965.652 | 79.2774 | 9.4551
2019-08-09 21:30:00 | 0 | 108.584 | 4.962 | 187.313 | 5.4733 | 131.654 | 0 | 302.951 | 27.85 | 965.504 | 77.4369 | 6.1371
2019-08-09 21:45:00 | 0 | 124.305 | 3.6837 | 202.425 | 5.9847 | 115.642 | 0.63133 | 306.991 | 27.73 | 965.504 | 80.1636 | 10.3493
2019-08-09 22:00:00 | 0 | 109.412 | 5.9847 | 156.821 | 5.4733 | 118.124 | 0 | 326.556 | 27.66 | 964.911 | 79.2774 | 12.4775
2019-08-09 22:15:00 | 5.712 | 87.145 | 3.6837 | 174.634 | 2.661 | 116.347 | 1.127 | 286.646 | 27.55 | 965.059 | 81.3224 | 17.9717
2019-08-09 22:30:00 | 0 | 133.114 | 6.2403 | 195.757 | 5.4733 | 150.636 | 0 | 289.469 | 27.48 | 964.762 | 81.3224 | 25.2099
2019-08-09 22:45:00 | 0 | 102.063 | 5.2177 | 151.686 | 4.962 | 102.428 | 0 | 305.263 | 27.27 | 964.762 | 82.6857 | 28.5648
2019-08-09 23:00:00 | 2.5313 | 118.465 | 7.5187 | 164.316 | 6.2403 | 88.8484 | 1.894 | 291.83 | 26.97 | 964.169 | 83.0947 | 40.03
2019-08-09 23:15:00 | 2.7867 | 119.073 | 7.7743 | 150.007 | 6.2403 | 124.865 | 0.75133 | 292.316 | 26.87 | 964.466 | 84.5944 | 38.1419
2019-08-09 23:30:00 | 0 | 95.9787 | 3.6837 | 142.049 | 4.7063 | 114.109 | 0 | 280.051 | 26.72 | 964.466 | 85.2761 | 34.5801
2019-08-09 23:45:00 | 5.4567 | 111.553 | 7.5187 | 163.927 | 5.4733 | 115.204 | 0.37567 | 304.655 | 26.56 | 964.334 | 84.1172 | 36.435