## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-08-10 00:00:00 | 1.882 | 108.657 | 10.331 | 166.92 | 11.865 | 113.817 | 0.37567 | 293.095 | 26.4 | 963.727 | 85.0034 | 48.7055
2019-08-10 00:15:00 | 0.744 | 109.801 | 10.0753 | 169.816 | 8.03 | 110.75 | 1.2627 | 294.507 | 26.32 | 963.737 | 85.9577 | 56.2614
2019-08-10 00:30:00 | 0 | 111.553 | 8.03 | 158.962 | 8.03 | 118.976 | 1.6383 | 294.896 | 26.13 | 963.587 | 85.9577 | 55.4596
2019-08-10 00:45:00 | 0 | 106.102 | 7.263 | 161.055 | 7.263 | 136.959 | 5.2177 | 290.175 | 26.07 | 963.816 | 85.9236 | 58.7998
2019-08-10 01:00:00 | 0.372 | 116.055 | 9.3083 | 168.769 | 8.5413 | 116.469 | 5.2177 | 296.064 | 25.9 | 963.195 | 85.0034 | 62.3875
2019-08-10 01:15:00 | 1.3713 | 106.954 | 8.03 | 167.042 | 7.0073 | 129.075 | 4.4507 | 297.768 | 25.81 | 963.316 | 85.242 | 56.9413
2019-08-10 01:30:00 | 6.478 | 110.51 | 5.729 | 194.328 | 7.263 | 97.7823 | 2.0297 | 297.508 | 25.76 | 963.245 | 84.1196 | 53.7674
2019-08-10 01:45:00 | 3.414 | 114.07 | 8.2857 | 176.257 | 7.0073 | 116.26 | 3.9393 | 299.618 | 25.77 | 962.681 | 83.5109 | 56.9487
2019-08-10 02:00:00 | 0.372 | 118.09 | 8.2857 | 170.157 | 8.03 | 109.694 | 3.428 | 295.713 | 25.81 | 962.505 | 81.4011 | 51.2106
2019-08-10 02:15:00 | 3.042 | 114.56 | 8.797 | 169.594 | 8.2857 | 108.378 | 5.9847 | 292.666 | 25.73 | 962.832 | 82.0815 | 46.7065
2019-08-10 02:30:00 | 0.88267 | 117.678 | 6.2403 | 167.141 | 8.03 | 137.636 | 5.2177 | 289.657 | 25.77 | 962.831 | 82.3567 | 40.7911
2019-08-10 02:45:00 | 0 | 113.101 | 7.7743 | 151.003 | 6.2403 | 112.858 | 0.75133 | 304.111 | 25.52 | 963.125 | 83.1057 | 30.9332
2019-08-10 03:00:00 | 4.18 | 105.681 | 8.5413 | 167.291 | 5.4733 | 115.782 | 3.9393 | 293.532 | 25.29 | 963.401 | 84.5399 | 28.066
2019-08-10 03:15:00 | 1.904 | 93.9992 | 6.7517 | 191.803 | 5.2177 | 138.37 | 5.9847 | 284.164 | 25.24 | 963.424 | 85.6315 | 32.5553
2019-08-10 03:30:00 | 0 | 101.764 | 4.7063 | 141.736 | 4.962 | 118.436 | 3.6837 | 294.192 | 25.11 | 963.253 | 86.3814 | 46.0326
2019-08-10 03:45:00 | 6.2227 | 107.167 | 6.496 | 159.163 | 6.496 | 131.02 | 4.7063 | 298.67 | 25.02 | 963.425 | 86.8928 | 49.1673
2019-08-10 04:00:00 | 1.882 | 120.87 | 8.5413 | 188.468 | 7.263 | 123.158 | 5.9847 | 309.015 | 25.39 | 962.681 | 84.4384 | 34.7352
2019-08-10 04:15:00 | 4.18 | 128.269 | 7.7743 | 178.294 | 6.2403 | 127.247 | 1.3827 | 300.204 | 25.23 | 963.425 | 86.9269 | 22.1986
2019-08-10 04:30:00 | 0 | 120.14 | 2.9167 | 190.488 | 1.894 | 132.942 | 0 | 314.223 | 24.83 | 963.703 | 88.12 | 5.9783
2019-08-10 04:45:00 | 0 | 236.361 | 1.894 | 217.481 | 0 | 237.651 | 0 | 0.19472 | 24.58 | 963.87 | 92.3811 | 1.1676
2019-08-10 05:00:00 | 0 | 300.569 | 2.661 | 29.3849 | 3.1723 | 324.933 | 0 | 203.381 | 23.16 | 963.573 | 96.6763 | 1.0346
2019-08-10 05:15:00 | 0 | 342.875 | 3.428 | 24.9799 | 2.1497 | 339.832 | 0 | 162.079 | 22.87 | 963.722 | 97.3591 | 3.9756
2019-08-10 05:30:00 | 0 | 303.09 | 4.962 | 5.5892 | 4.962 | 298.538 | 0 | 122.273 | 22.46 | 964.018 | 97.9842 | 4.0089
2019-08-10 05:45:00 | 0 | 316.296 | 2.9167 | 1.1094 | 2.661 | 315.907 | 0 | 138.126 | 22.13 | 963.573 | 98.3973 | 3.6542
2019-08-10 06:00:00 | 0 | 341.25 | 3.428 | 29.0038 | 0 | 315.543 | 0 | 165.659 | 22.12 | 963.573 | 98.5339 | 3.015
2019-08-10 06:15:00 | 0 | 335.553 | 2.9167 | 1.158 | 1.894 | 345.729 | 0 | 157.138 | 21.94 | 964.167 | 98.6703 | 3.6505
2019-08-10 06:30:00 | 0 | 339.414 | 2.4053 | 11.2342 | 2.1497 | 2.4345 | 0 | 134.553 | 21.85 | 963.87 | 98.7767 | 3.3512
2019-08-10 06:45:00 | 0 | 0.73041 | 2.1497 | 67.8439 | 1.6383 | 20.0619 | 0 | 169.796 | 21.86 | 964.167 | 98.8201 | 2.579
2019-08-10 07:00:00 | 0 | 3.3112 | 2.4053 | 74.8079 | 1.894 | 23.3733 | 0 | 183.821 | 21.89 | 964.018 | 98.9232 | 2.9965
2019-08-10 07:15:00 | 0 | 354.615 | 4.962 | 47.7578 | 4.195 | 2.2643 | 5.4733 | 178.074 | 21.92 | 964.018 | 99.0249 | 3.9128
2019-08-10 07:30:00 | 4.4353 | 6.6464 | 3.9393 | 50.9682 | 4.962 | 10.7122 | 5.2177 | 187.609 | 21.82 | 964.018 | 99.0883 | 3.7503
2019-08-10 07:45:00 | 0 | 2.6293 | 4.195 | 54.3512 | 4.4507 | 13.7309 | 0.37567 | 177.893 | 21.79 | 964.463 | 99.1551 | 4.3747
2019-08-10 08:00:00 | 0.99933 | 353.446 | 3.9393 | 49.4331 | 4.4507 | 3.5788 | 1.2627 | 175.774 | 21.69 | 964.315 | 99.2228 | 5.7898
2019-08-10 08:15:00 | 0 | 0.097375 | 5.2177 | 60.8946 | 5.2177 | 15.7018 | 5.9847 | 180.266 | 21.86 | 964.315 | 99.0801 | 4.9511
2019-08-10 08:30:00 | 0 | 0.19475 | 4.4507 | 73.3824 | 4.4507 | 14.7523 | 0.37567 | 184.598 | 21.94 | 964.463 | 98.8749 | 4.3525
2019-08-10 08:45:00 | 0 | 356.927 | 4.7063 | 47.9189 | 4.4507 | 14.5575 | 0.37567 | 180.533 | 22.11 | 964.463 | 98.534 | 4.2786
2019-08-10 09:00:00 | 0 | 355.564 | 5.4733 | 46.7747 | 4.4507 | 6.2807 | 5.9847 | 184.014 | 22.2 | 964.612 | 98.2612 | 4.1604
2019-08-10 09:15:00 | 0 | 0.24344 | 3.6837 | 69.8038 | 4.195 | 18.8177 | 2.9167 | 184.817 | 22.32 | 964.76 | 97.8861 | 2.4903
2019-08-10 09:30:00 | 0 | 5.526 | 4.195 | 69.463 | 4.7063 | 16.2616 | 2.9167 | 180.606 | 22.53 | 964.76 | 97.7838 | 3.0889
2019-08-10 09:45:00 | 1.3713 | 14.801 | 4.4507 | 68.0754 | 3.428 | 9.494 | 2.1497 | 199.959 | 22.65 | 964.463 | 97.9884 | 3.7983
2019-08-10 10:00:00 | 0 | 7.6926 | 4.195 | 69.5844 | 4.962 | 17.4787 | 0 | 186.983 | 22.88 | 964.76 | 97.7835 | 3.2773
2019-08-10 10:15:00 | 0 | 10.4175 | 4.7063 | 66.9176 | 2.9167 | 11.099 | 0 | 196.812 | 23 | 964.76 | 97.3594 | 1.4484
2019-08-10 10:30:00 | 0 | 354.724 | 3.1723 | 60.3448 | 2.661 | 12.6079 | 0 | 177.776 | 23.34 | 964.463 | 96.0287 | 1.2378
2019-08-10 10:45:00 | 0 | 30.0593 | 3.6837 | 66.2106 | 1.6383 | 345.767 | 0 | 222.804 | 23.65 | 965.057 | 94.8015 | 0.44708
2019-08-10 11:00:00 | 0 | 61.935 | 1.6383 | 52.1804 | 0.37567 | 5.5486 | 0 | 195.247 | 24.33 | 965.277 | 92.5039 | 1.053
2019-08-10 11:15:00 | 0 | 347.29 | 2.661 | 59.9661 | 1.6383 | 331.594 | 0 | 168.547 | 24.96 | 964.767 | 90.4226 | 2.446
2019-08-10 11:30:00 | 0 | 27.353 | 1.127 | 71.5984 | 3.6837 | 301.71 | 0 | 165.505 | 24.87 | 964.763 | 91.4792 | 4.0902
2019-08-10 11:45:00 | 0 | 11.5836 | 3.428 | 83.7174 | 1.6383 | 1.3628 | 2.7967 | 179.936 | 24.45 | 964.169 | 93.6605 | 4.0348
2019-08-10 12:00:00 | 0 | 303.292 | 2.661 | 16.0164 | 3.6837 | 324.829 | 0 | 129.464 | 24.05 | 963.873 | 95.5692 | 3.4805
2019-08-10 12:15:00 | 0 | 54.9493 | 2.661 | 63.7624 | 1.127 | 0.24335 | 5.2177 | 177.405 | 23.92 | 963.578 | 96.5576 | 2.1984
2019-08-10 12:30:00 | 0.372 | 21.9018 | 4.962 | 73.5209 | 3.1723 | 2.5795 | 4.195 | 208.092 | 24.31 | 964.022 | 95.1602 | 3.403
2019-08-10 12:45:00 | 0 | 13.2384 | 4.7063 | 69.2865 | 4.195 | 37.3061 | 0 | 203.127 | 24.77 | 963.725 | 93.5924 | 2.1282
2019-08-10 13:00:00 | 0 | 30.5148 | 5.729 | 82.1541 | 3.9393 | 9.2956 | 0 | 212.46 | 25.3 | 963.725 | 89.8381 | 1.7366
2019-08-10 13:15:00 | 0 | 34.6516 | 2.4053 | 78.7717 | 0 | 112.52 | 0 | 238.084 | 25.74 | 963.873 | 89.4291 | 2.0026
2019-08-10 13:30:00 | 0 | 73.3172 | 4.7063 | 113.884 | 5.9847 | 52.9986 | 0 | 235.184 | 26.18 | 963.848 | 84.9972 | 9.6842
2019-08-10 13:45:00 | 0 | 92.122 | 4.962 | 139.23 | 3.6837 | 74.2134 | 0 | 266.39 | 25.86 | 963.743 | 85.5037 | 28.4071
2019-08-10 14:00:00 | 7.244 | 100.548 | 7.7743 | 149.535 | 5.4733 | 110.306 | 5.2177 | 277.553 | 23.53 | 962.817 | 90.7242 | 38.0605
2019-08-10 14:15:00 | 0 | 98.8499 | 5.9847 | 146.453 | 4.195 | 87.0473 | 0 | 270.17 | 23.58 | 962.39 | 88.2069 | 28.8789
2019-08-10 14:30:00 | 0 | 99.921 | 7.7743 | 137.499 | 4.7063 | 102.793 | 0 | 255.278 | 23.82 | 962.386 | 89.0252 | 22.9967
2019-08-10 14:45:00 | 0 | 82.0399 | 3.6837 | 133.347 | 4.4507 | 60.5504 | 0 | 253.177 | 23.85 | 962.335 | 85.8952 | 21.1013
2019-08-10 15:00:00 | 0 | 86.2591 | 5.9847 | 144.024 | 5.2177 | 89.7639 | 0 | 260.676 | 23.88 | 962.238 | 83.3814 | 13.4197
2019-08-10 15:15:00 | 0 | 38.7972 | 3.9393 | 71.7356 | 3.9393 | 87.2328 | 0 | 242.47 | 24.02 | 962.386 | 83.0066 | 10.5266
2019-08-10 15:30:00 | 0 | 33.7833 | 6.2403 | 87.0939 | 3.6837 | 83.3385 | 0 | 227.94 | 23.93 | 961.633 | 85.5633 | 9.6879
2019-08-10 15:45:00 | 0 | 66.4956 | 2.4053 | 60.3204 | 1.6383 | 82.5596 | 0 | 198.367 | 23.98 | 961.909 | 85.7678 | 2.1837
2019-08-10 16:00:00 | 0 | 58.3175 | 2.661 | 89.041 | 1.3827 | 82.5596 | 0 | 228.475 | 24.13 | 962.089 | 84.8815 | -0.34731
2019-08-10 16:15:00 | 0 | 26.2867 | 4.7063 | 87.8727 | 2.9167 | 82.584 | 0.887 | 205.353 | 23.86 | 961.942 | 85.0179 | 0.14779
2019-08-10 16:30:00 | 0 | 9.6385 | 2.4053 | 68.7175 | 1.127 | 82.5596 | 0 | 179.772 | 23.89 | 962.087 | 84.9497 | -0.29928
2019-08-10 16:45:00 | 0 | 345.865 | 2.9167 | 43.3801 | 2.4053 | 82.5596 | 0.75133 | 164.219 | 23.79 | 961.942 | 87.3359 | -0.033254
2019-08-10 17:00:00 | 0 | 0.1217 | 3.428 | 60.6125 | 2.9167 | 82.5596 | 0 | 182.571 | 23.57 | 961.643 | 89.654 | 0.82026
2019-08-10 17:15:00 | 0 | 0 | 2.9167 | 51.1201 | 3.428 | 82.5596 | 0 | 199.925 | 23.33 | 961.645 | 93.4719 | -0.25864
2019-08-10 17:30:00 | 0 | 344.277 | 1.6383 | 53.1251 | 0.75133 | 82.57 | 0 | 171.372 | 23.21 | 961.645 | 95.3929 | -0.29928
2019-08-10 17:45:00 | 0 | 334.966 | 2.661 | 20.7753 | 1.6383 | 82.6217 | 0 | 167.921 | 23.21 | 961.645 | 96.2828 | -0.29928
2019-08-10 18:00:00 | 0 | 339.984 | 3.1723 | 25.2792 | 3.428 | 82.5737 | 0 | 159.938 | 23.09 | 961.497 | 96.42 | -0.32145
2019-08-10 18:15:00 | 0 | 325.378 | 2.661 | 8.9203 | 2.9167 | 82.5737 | 0 | 152.805 | 23.08 | 962.09 | 97.1019 | -0.23647
2019-08-10 18:30:00 | 0 | 4.5766 | 3.9393 | 55.0272 | 2.9167 | 82.5737 | 0 | 186.083 | 23.07 | 961.497 | 97.4088 | 0.4286
2019-08-10 18:45:00 | 0 | 28.1413 | 3.428 | 80.1499 | 0.75133 | 82.5737 | 0 | 207.554 | 23.15 | 961.645 | 97.9202 | 1.0419
2019-08-10 19:00:00 | 0 | 35.5661 | 4.195 | 93.052 | 2.661 | 82.4764 | 0 | 212.91 | 22.95 | 961.645 | 98.1589 | 2.0654
2019-08-10 19:15:00 | 0 | 23.2482 | 2.1497 | 84.483 | 3.1723 | 82.4764 | 0 | 222.939 | 22.61 | 961.645 | 97.9884 | 3.1702
2019-08-10 19:30:00 | 2.9033 | 47.8597 | 4.962 | 102.4 | 4.7063 | 82.4764 | 3.1723 | 237.813 | 22.84 | 961.645 | 95.8745 | 1.877
2019-08-10 19:45:00 | 0 | 41.4819 | 5.729 | 98.2136 | 6.2403 | 79.8477 | 5.4733 | 223.598 | 22.81 | 961.497 | 93.5226 | 4.7922
2019-08-10 20:00:00 | 0 | 41.5342 | 5.2177 | 88.8263 | 4.195 | 79.5625 | 0 | 226.807 | 22.83 | 961.793 | 92.951 | 0.80548
2019-08-10 20:15:00 | 0 | 49.6179 | 6.2403 | 105.043 | 6.7517 | 79.3691 | 5.9847 | 228.904 | 22.72 | 961.497 | 91.384 | 3.6949
2019-08-10 20:30:00 | 0 | 36.9106 | 4.962 | 89.4902 | 3.428 | 79.3725 | 1.9097 | 211.287 | 22.54 | 961.645 | 91.5926 | 7.4821
2019-08-10 20:45:00 | 0 | 28.1217 | 3.9393 | 92.4869 | 1.894 | 79.3739 | 0 | 223.343 | 22.45 | 961.348 | 88.6615 | 2.7194
2019-08-10 21:00:00 | 0 | 47.7217 | 0.37567 | 108.045 | 0 | 79.3739 | 0 | 214.115 | 22.48 | 961.497 | 90.503 | -0.13671
2019-08-10 21:15:00 | 0 | 243.235 | 2.1497 | 323.669 | 0.75133 | 79.3982 | 0 | 89.6487 | 22.61 | 961.497 | 87.3657 | -0.25125
2019-08-10 21:30:00 | 0 | 320.466 | 3.1723 | 3.4435 | 3.1723 | 79.3739 | 0 | 148.522 | 22.13 | 961.645 | 96.8457 | 0.31406
2019-08-10 21:45:00 | 0 | 344.887 | 3.428 | 35.1235 | 3.428 | 79.3739 | 1.007 | 171.652 | 22.07 | 960.903 | 97.4595 | 9.5733
2019-08-10 22:00:00 | 0.62733 | 351.388 | 4.962 | 43.6452 | 3.1723 | 79.3739 | 1.3827 | 162.814 | 22.11 | 960.903 | 98.1415 | 18.0308
2019-08-10 22:15:00 | 8.2653 | 356.915 | 7.263 | 47.2 | 7.263 | 356.671 | 0 | 179.663 | 22.26 | 960.458 | 98.5507 | 29.5395
2019-08-10 22:30:00 | 9.7973 | 6.72 | 10.5867 | 65.5339 | 8.2857 | 13.0504 | 5.9847 | 193.614 | 21.93 | 960.161 | 98.9599 | 30.3014
2019-08-10 22:45:00 | 5.712 | 0.12174 | 7.0073 | 68.8452 | 5.2177 | 9.5443 | 0 | 178.81 | 21.71 | 960.31 | 99.2327 | 30.6192
2019-08-10 23:00:00 | 8.5207 | 353.555 | 8.797 | 74.5913 | 8.5413 | 4.553 | 2.661 | 178.104 | 21.65 | 960.013 | 99.3691 | 36.0846
2019-08-10 23:15:00 | 8.2653 | 6.5739 | 9.0527 | 66.2887 | 7.0073 | 6.4765 | 3.1723 | 179.103 | 21.62 | 959.865 | 99.4373 | 35.4114
2019-08-10 23:30:00 | 12.0953 | 17.2139 | 7.263 | 58.473 | 8.03 | 3.2626 | 2.9167 | 189.036 | 21.6 | 959.717 | 99.5055 | 35.7735
2019-08-10 23:45:00 | 1.138 | 9.1061 | 10.0753 | 65.5095 | 8.797 | 6.5739 | 2.661 | 190.79 | 21.51 | 959.272 | 99.5737 | 45.5796