## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-08-11 00:00:00 | 1.882 | 4.3826 | 9.564 | 70.3548 | 6.496 | 356.988 | 4.7063 | 196.73 | 21.51 | 959.123 | 99.6419 | 47.4972
2019-08-11 00:15:00 | 3.6693 | 1.0713 | 5.729 | 45.2035 | 8.03 | 10.9078 | 1.2627 | 173.697 | 21.52 | 958.827 | 99.6419 | 36.9115
2019-08-11 00:30:00 | 2.9033 | 328.769 | 5.2177 | 69.5756 | 7.5187 | 36.2539 | 5.729 | 174.355 | 21.46 | 958.691 | 99.7783 | 47.7976
2019-08-11 00:45:00 | 0.88267 | 0.87652 | 8.03 | 69.2104 | 7.7743 | 4.407 | 1.3983 | 196.365 | 21.45 | 958.391 | 99.7783 | 47.1278
2019-08-11 01:00:00 | 0.372 | 14.5113 | 9.0527 | 68.8939 | 8.797 | 12.6122 | 2.9167 | 193.663 | 21.44 | 957.937 | 99.8124 | 53.2369
2019-08-11 01:15:00 | 4.6907 | 14.5356 | 11.098 | 64.0974 | 4.7063 | 339.896 | 2.9167 | 203.45 | 21.4 | 957.099 | 99.8465 | 55.3357
2019-08-11 01:30:00 | 6.9887 | 5.2835 | 7.7743 | 46.4939 | 7.7743 | 9.8852 | 6.496 | 187.186 | 21.37 | 957.525 | 99.8465 | 45.284
2019-08-11 01:45:00 | 2.648 | 177.642 | 10.8423 | 55.2104 | 9.8197 | 3.0191 | 3.428 | 186.09 | 21.37 | 957.354 | 99.9147 | 48.2066
2019-08-11 02:00:00 | 1.3713 | 355.795 | 11.6093 | 57.6452 | 8.2857 | 12.2713 | 4.195 | 177.423 | 21.39 | 957.07 | 99.9147 | 58.3368
2019-08-11 02:15:00 | 0.372 | 0.92522 | 9.564 | 71.6695 | 9.0527 | 9.0574 | 1.007 | 176.035 | 21.39 | 956.801 | 99.9147 | 61.9166
2019-08-11 02:30:00 | 2.3927 | 1.5339 | 8.03 | 44.6678 | 8.03 | 14.1948 | 3.6837 | 166.758 | 21.38 | 956.621 | 99.9147 | 63.7139
2019-08-11 02:45:00 | 2.648 | 350.876 | 11.098 | 60.3722 | 8.2857 | 7.1096 | 3.428 | 170.995 | 21.31 | 956.014 | 99.9147 | 68.7795
2019-08-11 03:00:00 | 2.648 | 5.6243 | 12.632 | 61.3461 | 10.0753 | 3.0435 | 2.9167 | 193.297 | 21.15 | 955.927 | 99.9147 | 68.9251
2019-08-11 03:15:00 | 4.4353 | 10.3478 | 13.399 | 62.1495 | 9.8197 | 3.0922 | 3.428 | 184.313 | 20.89 | 955.743 | 99.9147 | 60.9818
2019-08-11 03:30:00 | 4.4353 | 5.6 | 9.3083 | 60.1292 | 10.331 | 13.8053 | 0.75133 | 188.015 | 20.82 | 956.227 | 99.9154 | 54.5745
2019-08-11 03:45:00 | 2.648 | 21.8157 | 9.0527 | 82.7237 | 6.496 | 5.2835 | 5.9847 | 192.032 | 20.96 | 956.109 | 99.915 | 51.6625
2019-08-11 04:00:00 | 4.6907 | 5.2348 | 10.8423 | 58.9846 | 10.5867 | 148.206 | 5.9847 | 181.733 | 21.04 | 956.114 | 99.915 | 49.5118
2019-08-11 04:15:00 | 7.4993 | 13.0993 | 12.1207 | 58.4496 | 9.0527 | 9.7392 | 2.2853 | 180.517 | 21.11 | 956.193 | 99.9159 | 62.8308
2019-08-11 04:30:00 | 9.7973 | 356.162 | 11.6093 | 45.0334 | 8.03 | 1.8504 | 4.962 | 173.09 | 21.31 | 955.838 | 99.9153 | 73.2076
2019-08-11 04:45:00 | 6.478 | 355.795 | 12.632 | 53.0191 | 8.2857 | 7.0365 | 5.729 | 183.071 | 21.46 | 956.12 | 99.9148 | 78.3012
2019-08-11 05:00:00 | 5.2013 | 42.3409 | 9.3083 | 50.6817 | 7.263 | 2.167 | 2.661 | 198.824 | 21.45 | 955.775 | 99.9148 | 80.3778
2019-08-11 05:15:00 | 10.8187 | 10.153 | 13.399 | 59.8852 | 8.797 | 14.5357 | 6.496 | 194.125 | 21.44 | 955.533 | 99.9148 | 75.6039
2019-08-11 05:30:00 | 7.244 | 6.2574 | 14.4217 | 77.1965 | 9.564 | 267.242 | 3.428 | 186.358 | 21.39 | 955.612 | 99.9148 | 74.6618
2019-08-11 05:45:00 | 10.0527 | 6.0383 | 13.1433 | 64.3652 | 8.797 | 10.7374 | 1.2627 | 184.703 | 21.24 | 955.633 | 99.9148 | 76.5683
2019-08-11 06:00:00 | 7.4993 | 4.48 | 14.166 | 68.5531 | 8.2857 | 22.8383 | 1.894 | 182.511 | 21.19 | 955.459 | 99.9148 | 76.7846
2019-08-11 06:15:00 | 3.1587 | 15.7287 | 12.8877 | 59.8122 | 7.7743 | 231.913 | 0.75133 | 198.63 | 21.02 | 955.702 | 99.9148 | 68.8719
2019-08-11 06:30:00 | 8.776 | 7.5965 | 12.3763 | 71.7184 | 8.797 | 354.067 | 3.428 | 194.174 | 20.74 | 955.394 | 99.915 | 69.186
2019-08-11 06:45:00 | 2.9033 | 4.894 | 12.1207 | 68.0926 | 8.797 | 21.0857 | 1.3827 | 186.728 | 20.57 | 955.402 | 99.9172 | 73.5978
2019-08-11 07:00:00 | 5.4567 | 0.82788 | 14.166 | 62.0333 | 6.7517 | 22.5232 | 4.195 | 185.202 | 20.57 | 954.961 | 99.9214 | 69.9812
2019-08-11 07:15:00 | 6.9887 | 11.6883 | 12.8877 | 66.201 | 12.1207 | 12.2727 | 6.2403 | 188.181 | 20.89 | 955.261 | 99.926 | 76.4553
2019-08-11 07:30:00 | 8.01 | 13.7094 | 12.3763 | 65.2761 | 1.5183 | 14.4643 | 3.9393 | 174.156 | 20.79 | 954.958 | 99.9265 | 72.5546
2019-08-11 07:45:00 | 9.2867 | 14.4156 | 15.1887 | 68.0762 | 2.661 | 16.8019 | 7.5187 | 192.151 | 20.54 | 954.816 | 99.9262 | 70.7647
2019-08-11 08:00:00 | 8.776 | 2.5325 | 11.098 | 58.8483 | 10.5867 | 25.0328 | 3.9393 | 183.484 | 20.57 | 954.964 | 99.9275 | 71.2403
2019-08-11 08:15:00 | 7.244 | 347.629 | 10.331 | 66.4933 | 2.9167 | 5.0406 | 5.4733 | 181.047 | 20.68 | 954.816 | 99.9261 | 73.548
2019-08-11 08:30:00 | 12.8613 | 4.3342 | 16.9783 | 67.8778 | 8.5413 | 17.6778 | 5.729 | 188.442 | 20.88 | 955.261 | 99.9222 | 72.1234
2019-08-11 08:45:00 | 10.8187 | 6.0385 | 13.1433 | 62.5187 | 8.03 | 19.9175 | 5.2177 | 193.915 | 20.89 | 955.261 | 99.9195 | 77.7364
2019-08-11 09:00:00 | 14.3933 | 353.441 | 19.0237 | 66.4854 | 3.9393 | 21.0857 | 8.5413 | 186.557 | 20.92 | 954.955 | 99.917 | 78.5894
2019-08-11 09:15:00 | 9.542 | 44.9975 | 11.098 | 68.8506 | 1.3827 | 4.8212 | 5.2177 | 181.062 | 20.91 | 955.098 | 99.9209 | 83.3779
2019-08-11 09:30:00 | 8.5207 | 3.3115 | 17.4897 | 63.7628 | 2.1497 | 4.6751 | 7.263 | 190.512 | 20.16 | 954.221 | 99.9222 | 83.7753
2019-08-11 09:45:00 | 6.9887 | 3.9693 | 14.4217 | 59.1916 | 2.9167 | 351.857 | 7.0073 | 177.597 | 19.94 | 954.074 | 99.9305 | 80.4442
2019-08-11 10:00:00 | 7.7547 | 343.509 | 12.8877 | 58.6812 | 0.63133 | 19.9443 | 5.2177 | 176.747 | 19.99 | 954.222 | 99.9318 | 76.4316
2019-08-11 10:15:00 | 10.5633 | 0.21917 | 13.399 | 52.228 | 7.263 | 4.9435 | 5.2177 | 168.394 | 20.1 | 954.519 | 99.9659 | 79.0327
2019-08-11 10:30:00 | 12.606 | 172.923 | 14.166 | 53.4699 | 1.2627 | 0.6575 | 6.496 | 165.959 | 20.26 | 954.371 | 99.9318 | 76.9621
2019-08-11 10:45:00 | 12.606 | 313.653 | 14.166 | 65.3293 | 3.9393 | 334.012 | 6.496 | 174.604 | 20.37 | 954.074 | 99.9318 | 75.5913
2019-08-11 11:00:00 | 7.7547 | 356.927 | 12.632 | 48.0881 | 10.331 | 25.3504 | 5.9847 | 180.229 | 20.51 | 953.926 | 99.9318 | 76.643
2019-08-11 11:15:00 | 11.074 | 1.8263 | 13.399 | 69.2711 | 3.9393 | 7.9141 | 5.9847 | 179.76 | 20.55 | 953.48 | 99.9281 | 81.1979
2019-08-11 11:30:00 | 13.1167 | 3.5309 | 18.2567 | 73.2899 | 0.37567 | 4.018 | 9.0527 | 192.424 | 20.59 | 952.739 | 99.929 | 82.6389
2019-08-11 11:45:00 | 13.8827 | 217.481 | 18.5123 | 62.8915 | 1.2627 | 18.4095 | 8.03 | 171.384 | 20.46 | 953.184 | 99.9286 | 84.043
2019-08-11 12:00:00 | 8.01 | 10.7635 | 22.0917 | 63.8186 | 1.5183 | 9.3754 | 6.7517 | 184.586 | 20.07 | 952.293 | 99.9307 | 80.6289
2019-08-11 12:15:00 | 4.6907 | 102.984 | 17.7453 | 62.2115 | 0 | 14.7085 | 7.5187 | 184.659 | 20.23 | 952.145 | 99.5898 | 80.3592
2019-08-11 12:30:00 | 9.0313 | 2.9466 | 16.2113 | 47.8933 | 0 | 18.2883 | 5.729 | 183.151 | 20.25 | 951.848 | 99.9317 | 74.6359
2019-08-11 12:45:00 | 9.7973 | 352.663 | 15.1887 | 37.0077 | 0 | 7.5247 | 4.962 | 174.627 | 20.31 | 952.739 | 99.9312 | 73.8045
2019-08-11 13:00:00 | 14.904 | 348.475 | 16.467 | 50.0602 | 0 | 12.322 | 7.0073 | 180.69 | 20.52 | 952.442 | 99.9311 | 74.8428
2019-08-11 13:15:00 | 10.5633 | 352.122 | 13.1433 | 57.9977 | 0 | 37.1603 | 7.0073 | 176.305 | 20.58 | 952.442 | 99.9297 | 74.44
2019-08-11 13:30:00 | 12.3507 | 338.644 | 11.6093 | 72.0696 | 0.75133 | 13.5146 | 7.263 | 165.462 | 20.61 | 952.145 | 99.9262 | 74.6765
2019-08-11 13:45:00 | 11.5847 | 6.1605 | 14.4217 | 58.6743 | 0 | 10.8113 | 8.03 | 182.673 | 20.57 | 952.442 | 99.923 | 75.5965
2019-08-11 14:00:00 | 8.2653 | 350.758 | 13.9103 | 35.1522 | 0 | 17.3857 | 7.263 | 163.776 | 20.68 | 952.442 | 99.9226 | 80.3644
2019-08-11 14:15:00 | 9.0313 | 45.6314 | 12.1207 | 55.7764 | 0.63133 | 283.431 | 6.496 | 163.265 | 20.59 | 952.439 | 99.9226 | 80.9761
2019-08-11 14:30:00 | 5.712 | 355.163 | 13.399 | 85.1657 | 0.37567 | 37.3035 | 2.4053 | 174.854 | 20.71 | 952.44 | 99.9218 | 78.1201
2019-08-11 14:45:00 | 0.99933 | 356.537 | 14.166 | 80.1946 | 0.63133 | 27.66 | 5.729 | 154.736 | 20.82 | 952.293 | 99.918 | 75.8921
2019-08-11 15:00:00 | 3.9247 | 12.2717 | 9.8197 | 70.9666 | 0 | 339.08 | 3.428 | 203.604 | 20.91 | 952.437 | 99.9182 | 74.5842
2019-08-11 15:15:00 | 1.3713 | 7.2559 | 9.0527 | 62.737 | 0.37567 | 336.134 | 4.195 | 134.551 | 20.91 | 952.232 | 99.9184 | 76.2247
2019-08-11 15:30:00 | 3.414 | 4.8209 | 10.0753 | 79.7289 | 0 | 295.583 | 5.4733 | 154.682 | 21.08 | 951.842 | 99.915 | 80.1634
2019-08-11 15:45:00 | 4.574 | 12.0765 | 11.098 | 64 | 0 | 327.43 | 5.9847 | 138.15 | 20.98 | 951.98 | 99.9148 | 82.1955
2019-08-11 16:00:00 | 4.18 | 353.288 | 15.7 | 58.6924 | 1.007 | 24.6401 | 5.2177 | 168.877 | 20.49 | 951.949 | 99.915 | 78.5376
2019-08-11 16:15:00 | 5.4567 | 335.479 | 20.302 | 8.9995 | 0.37567 | 346.071 | 6.496 | 162.188 | 20.5 | 952.279 | 99.9192 | 74.7837
2019-08-11 16:30:00 | 6.6167 | 33.5537 | 7.263 | 67.4636 | 0 | 333.905 | 1.2627 | 222.92 | 20.53 | 952.117 | 99.9218 | 74.5694
2019-08-11 16:45:00 | 8.2653 | 2.2403 | 11.865 | 81.6901 | 0 | 16.2909 | 5.9847 | 205.328 | 20.6 | 951.698 | 99.9281 | 78.3366
2019-08-11 17:00:00 | 1.882 | 335.013 | 7.263 | 9.8049 | 0 | 0.048701 | 5.4733 | 143.034 | 20.63 | 951.694 | 99.9253 | 79.2212
2019-08-11 17:15:00 | 8.776 | 338.55 | 11.3537 | 28.1417 | 1.3827 | 339.183 | 6.2403 | 162.64 | 20.46 | 951.543 | 99.9273 | 72.9843
2019-08-11 17:30:00 | 13.6273 | 337.391 | 17.4897 | 53.9558 | 1.007 | 47.3395 | 7.263 | 170.193 | 20.16 | 950.958 | 99.9302 | 70.505
2019-08-11 17:45:00 | 1.882 | 330.501 | 10.331 | 5.389 | 0 | 324.949 | 6.2403 | 141.8 | 20.33 | 951.106 | 99.9306 | 71.1664
2019-08-11 18:00:00 | 1.138 | 343.189 | 9.564 | 69.3951 | 0 | 230.513 | 5.9847 | 156.508 | 20.58 | 951.255 | 99.9307 | 72.2047
2019-08-11 18:15:00 | 1.3713 | 351.446 | 8.797 | 29.9178 | 0 | 332.915 | 4.962 | 129.421 | 20.87 | 951.551 | 99.9243 | 70.9447
2019-08-11 18:30:00 | 0.99933 | 324.316 | 9.564 | 99.363 | 0 | 36.9874 | 2.4053 | 138.039 | 21.03 | 951.403 | 99.9231 | 69.2451
2019-08-11 18:45:00 | 6.2227 | 322.637 | 13.9103 | 17.8614 | 0.75133 | 351.612 | 5.9847 | 131.918 | 21.06 | 951.512 | 99.9161 | 69.6552
2019-08-11 19:00:00 | 4.946 | 353.314 | 4.962 | 77.6597 | 0 | 346.886 | 5.9847 | 190.547 | 21 | 951.766 | 99.9154 | 70.0764
2019-08-11 19:15:00 | 3.1587 | 334.296 | 9.8197 | 24.7027 | 0 | 46.5775 | 2.4053 | 142.727 | 20.85 | 951.583 | 99.9149 | 64.7633
2019-08-11 19:30:00 | 7.4993 | 327.485 | 15.9557 | 20.5399 | 0 | 8.4976 | 5.9847 | 151.325 | 20.84 | 951.19 | 99.9168 | 66.3299
2019-08-11 19:45:00 | 1.6267 | 342.962 | 6.2403 | 49.956 | 0 | 13.3922 | 1.894 | 167.938 | 20.19 | 951.398 | 99.9214 | 67.0327
2019-08-11 20:00:00 | 0.372 | 25.4224 | 6.496 | 54.4165 | 0 | 199.361 | 4.4507 | 188.184 | 20.23 | 951.403 | 99.9276 | 68.5579
2019-08-11 20:15:00 | 2.9033 | 337.775 | 10.0753 | 42.3634 | 0.75133 | 266.402 | 2.4053 | 149.273 | 20.34 | 951.848 | 99.9286 | 66.1045
2019-08-11 20:30:00 | 1.7653 | 19.8468 | 6.7517 | 75.0943 | 0 | 10.5444 | 4.195 | 177.063 | 20.37 | 951.7 | 99.9315 | 70.3018
2019-08-11 20:45:00 | 0.99933 | 334.471 | 3.9393 | 38.9068 | 0 | 337.004 | 2.661 | 173.506 | 20.37 | 951.997 | 99.9308 | 71.9571
2019-08-11 21:00:00 | 3.9247 | 315.309 | 8.5413 | 336.05 | 0 | 333.062 | 5.729 | 138.124 | 20.43 | 951.7 | 99.9318 | 73.0373
2019-08-11 21:15:00 | 0.372 | 338.807 | 8.5413 | 58.7538 | 0.37567 | 342.606 | 1.774 | 161.623 | 20.43 | 951.848 | 99.9312 | 74.6617
2019-08-11 21:30:00 | 3.436 | 348.299 | 10.5867 | 53.1031 | 0 | 20.991 | 5.2177 | 154.729 | 20.44 | 951.7 | 99.9297 | 74.6375
2019-08-11 21:45:00 | 1.3713 | 350.151 | 12.8877 | 28.5813 | 0 | 5.4547 | 2.661 | 161.329 | 20.51 | 951.403 | 99.9299 | 79.3431
2019-08-11 22:00:00 | 2.1373 | 299.353 | 7.7743 | 2.6712 | 0 | 319.589 | 3.428 | 138.803 | 20.55 | 951.255 | 99.9297 | 78.5007
2019-08-11 22:15:00 | 0.62733 | 43.613 | 8.2857 | 93.7443 | 0 | 48.5319 | 4.7063 | 173.989 | 20.57 | 951.403 | 99.9285 | 78.9921
2019-08-11 22:30:00 | 1.882 | 327.203 | 7.0073 | 62.574 | 0 | 355.28 | 5.2177 | 152.705 | 20.57 | 951.255 | 99.9275 | 78.4379
2019-08-11 22:45:00 | 0.99933 | 8.4498 | 8.03 | 61.8678 | 0 | 18.7502 | 0.75133 | 164.101 | 20.56 | 951.403 | 99.8933 | 77.7322
2019-08-11 23:00:00 | 0.372 | 339.021 | 7.263 | 42.9486 | 0 | 350.199 | 5.729 | 162.376 | 20.51 | 951.7 | 99.9298 | 78.0832
2019-08-11 23:15:00 | 5.4567 | 347.347 | 11.865 | 94.8407 | 0 | 75.6595 | 3.9393 | 162.448 | 20.44 | 951.403 | 99.929 | 76.2579
2019-08-11 23:30:00 | 0 | 349.592 | 8.797 | 39.4666 | 0 | 59.6614 | 0.63133 | 168.416 | 20.34 | 951.403 | 99.9303 | 79.0069
2019-08-11 23:45:00 | 0.62733 | 327.773 | 6.7517 | 60.7501 | 0 | 317.01 | 0.63133 | 143.383 | 20.27 | 951.551 | 99.9305 | 74.8539