## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-08-12 00:00:00 | 6.478 | 1.5098 | 11.865 | 59.1926 | 0 | 9.132 | 6.2403 | 149.472 | 20.19 | 951.106 | 99.9318 | 74.3551
2019-08-12 00:15:00 | 2.648 | 339.025 | 13.9103 | 45.5793 | 0.75133 | 348.888 | 5.729 | 150.883 | 20.13 | 951.255 | 99.9309 | 75.5633
2019-08-12 00:30:00 | 4.8293 | 59.1022 | 5.4733 | 48.2342 | 0 | 3.7502 | 4.962 | 172.217 | 20.05 | 951.106 | 99.9318 | 78.3935
2019-08-12 00:45:00 | 0.99933 | 324.709 | 7.263 | 28.8014 | 0 | 324.685 | 1.127 | 144.48 | 20.03 | 951.255 | 99.9318 | 77.7691
2019-08-12 01:00:00 | 5.4567 | 352.811 | 14.933 | 30.6521 | 0 | 332.697 | 5.729 | 157.411 | 20.03 | 951.106 | 99.9318 | 75.6889
2019-08-12 01:15:00 | 5.4567 | 26.7141 | 13.9103 | 62.9428 | 0.37567 | 350.157 | 4.962 | 172.753 | 19.96 | 951.106 | 99.9318 | 73.9967
2019-08-12 01:30:00 | 3.9247 | 338.979 | 13.399 | 20.8139 | 0.37567 | 205.579 | 5.729 | 153.783 | 20.03 | 951.255 | 99.9318 | 67.8152
2019-08-12 01:45:00 | 3.9247 | 320.495 | 16.467 | 2.9882 | 0 | 347.842 | 5.9847 | 145.259 | 20.03 | 951.403 | 99.9314 | 68.399
2019-08-12 02:00:00 | 5.712 | 343.022 | 11.865 | 15.8218 | 0 | 1.729 | 5.4733 | 156.608 | 19.92 | 951.106 | 99.9318 | 71.1479
2019-08-12 02:15:00 | 2.9253 | 317.306 | 4.962 | 8.8712 | 0 | 287.767 | 5.9847 | 139.172 | 19.75 | 951.403 | 99.9318 | 60.8763
2019-08-12 02:30:00 | 0.744 | 333.281 | 5.729 | 69.2987 | 0 | 12.1516 | 4.7063 | 135.665 | 19.78 | 951.7 | 99.9318 | 64.7669
2019-08-12 02:45:00 | 2.0207 | 342.827 | 11.3537 | 43.5099 | 0 | 356.805 | 4.195 | 140.121 | 19.83 | 951.551 | 99.9318 | 64.3827
2019-08-12 03:00:00 | 0.62733 | 337.64 | 6.7517 | 16.0409 | 0 | 330.383 | 0 | 137.199 | 19.78 | 951.848 | 99.9318 | 71.9645
2019-08-12 03:15:00 | 0.744 | 312.679 | 10.8423 | 3.6111 | 0 | 347.064 | 2.0297 | 112.409 | 19.71 | 951.403 | 99.9318 | 73.424
2019-08-12 03:30:00 | 0.372 | 331.844 | 8.797 | 2.1116 | 0 | 332.697 | 4.4507 | 130.38 | 19.62 | 951.7 | 99.9318 | 74.2516
2019-08-12 03:45:00 | 1.7653 | 308.223 | 6.7517 | 7.1037 | 0 | 12.6387 | 3.9393 | 134.618 | 19.55 | 951.7 | 99.9318 | 69.9065
2019-08-12 04:00:00 | 0.372 | 306.616 | 8.797 | 2.1359 | 0 | 332.429 | 1.894 | 135.908 | 19.5 | 951.848 | 99.9318 | 69.0256
2019-08-12 04:15:00 | 1.882 | 347.235 | 8.2857 | 66.3034 | 0 | 12.0055 | 2.9167 | 150.446 | 19.48 | 951.848 | 99.9318 | 68.8017
2019-08-12 04:30:00 | 1.904 | 341.001 | 4.4507 | 35.5956 | 0 | 1.6803 | 3.6837 | 153.88 | 19.44 | 952.145 | 99.9318 | 67.0762
2019-08-12 04:45:00 | 0.62733 | 326.292 | 10.331 | 17.1611 | 0 | 311.559 | 4.4507 | 154.659 | 19.46 | 952.293 | 99.9318 | 64.5058
2019-08-12 05:00:00 | 0 | 339.101 | 5.2177 | 4.5365 | 0 | 339.393 | 2.661 | 117.547 | 19.48 | 952.293 | 99.9318 | 63.0378
2019-08-12 05:15:00 | 0 | 318.232 | 11.6093 | 8.5892 | 0 | 345.603 | 4.195 | 147.183 | 19.51 | 952.442 | 99.9318 | 68.8444
2019-08-12 05:30:00 | 2.1373 | 353.225 | 10.331 | 33.9153 | 0.75133 | 334.401 | 5.729 | 164.23 | 19.55 | 952.293 | 99.9318 | 68.2851
2019-08-12 05:45:00 | 0 | 309.173 | 7.5187 | 2.3551 | 0 | 332.745 | 0.37567 | 176.04 | 19.55 | 953.035 | 99.9318 | 70.3462
2019-08-12 06:00:00 | 0.744 | 9.4729 | 6.496 | 26.0496 | 0 | 329.482 | 0.75133 | 191.528 | 19.5 | 953.035 | 99.9318 | 68.8571
2019-08-12 06:15:00 | 2.1373 | 340.028 | 11.098 | 26.2446 | 0 | 314.507 | 4.4507 | 164.352 | 19.51 | 952.887 | 99.9323 | 67.1871
2019-08-12 06:30:00 | 2.1373 | 319.23 | 9.564 | 1.8681 | 0.37567 | 337.226 | 4.195 | 140.754 | 19.55 | 953.035 | 99.9318 | 67.7117
2019-08-12 06:45:00 | 1.2547 | 340.806 | 6.7517 | 0.74789 | 0 | 2.8735 | 1.2627 | 170.878 | 19.55 | 953.48 | 99.9318 | 70.7452
2019-08-12 07:00:00 | 3.1587 | 338.127 | 7.0073 | 22.7377 | 0 | 352.641 | 0.887 | 146.161 | 19.55 | 953.629 | 99.9318 | 63.7139
2019-08-12 07:15:00 | 0 | 316.6 | 7.0073 | 19.3912 | 0 | 308.54 | 0.37567 | 149.229 | 19.55 | 953.777 | 99.9318 | 66.2276
2019-08-12 07:30:00 | 0.372 | 340.977 | 9.564 | 12.5099 | 0 | 340.879 | 3.9393 | 152.054 | 19.52 | 954.074 | 99.9318 | 67.6584
2019-08-12 07:45:00 | 0.372 | 337.348 | 7.263 | 13.1187 | 0 | 329.994 | 0.63133 | 162.062 | 19.55 | 954.371 | 99.9318 | 63.9578
2019-08-12 08:00:00 | 0.99933 | 330.067 | 6.2403 | 97.4009 | 0 | 14.1972 | 0 | 156.802 | 19.55 | 954.519 | 99.9318 | 65.82
2019-08-12 08:15:00 | 0.372 | 329.482 | 8.2857 | 24.2232 | 0 | 347.113 | 1.6383 | 135.275 | 19.55 | 954.519 | 99.9318 | 69.282
2019-08-12 08:30:00 | 1.882 | 326.633 | 9.564 | 1.8821 | 0 | 324.32 | 2.9167 | 129.406 | 19.45 | 954.667 | 99.9318 | 68.0657
2019-08-12 08:45:00 | 0.62733 | 341.926 | 6.2403 | 20.7896 | 0 | 331.504 | 0.63133 | 153.344 | 19.44 | 954.964 | 99.9318 | 67.6691
2019-08-12 09:00:00 | 0.62733 | 319.961 | 8.2857 | 33.2091 | 0 | 325.805 | 3.6837 | 157.119 | 19.41 | 954.964 | 99.9318 | 67.5054
2019-08-12 09:15:00 | 0 | 340.002 | 9.8197 | 10.5374 | 0 | 327.875 | 1.5183 | 152.297 | 19.41 | 955.113 | 99.9318 | 71.8352
2019-08-12 09:30:00 | 0.62733 | 336.447 | 8.03 | 42.195 | 0 | 328.167 | 2.661 | 141.558 | 19.36 | 955.261 | 99.9318 | 69.4483
2019-08-12 09:45:00 | 3.5527 | 333.671 | 7.0073 | 29.191 | 0 | 4.0181 | 5.9847 | 151.177 | 19.34 | 955.261 | 99.9318 | 73.4917
2019-08-12 10:00:00 | 0 | 329.75 | 10.0753 | 12.2177 | 0 | 331.698 | 4.962 | 161.77 | 19.35 | 955.409 | 99.9318 | 68.2742
2019-08-12 10:15:00 | 2.9033 | 334.255 | 12.8877 | 2.7691 | 0 | 309.636 | 5.2177 | 149.789 | 19.35 | 955.261 | 99.9659 | 70.9299
2019-08-12 10:30:00 | 0 | 323.541 | 7.5187 | 66.3034 | 0 | 9.8626 | 2.9167 | 147.427 | 19.35 | 955.261 | 99.9318 | 68.8461
2019-08-12 10:45:00 | 0 | 312.022 | 9.3083 | 4.5225 | 0 | 345.336 | 2.4053 | 152.346 | 19.35 | 955.261 | 99.9318 | 67.6415
2019-08-12 11:00:00 | 0 | 328.874 | 9.3083 | 15.6757 | 0 | 343.777 | 2.2853 | 152.541 | 19.28 | 955.261 | 99.9318 | 70.8228
2019-08-12 11:15:00 | 1.138 | 348.04 | 10.5867 | 42.9258 | 0 | 335.499 | 2.1497 | 157.777 | 19.28 | 955.261 | 99.9323 | 70.8006
2019-08-12 11:30:00 | 0.372 | 290.986 | 11.6093 | 1.6736 | 0.37567 | 334.967 | 3.9393 | 133.329 | 19.31 | 955.261 | 99.9334 | 73.254
2019-08-12 11:45:00 | 3.414 | 340.958 | 9.0527 | 27.0732 | 0 | 335.479 | 3.1723 | 144.726 | 19.35 | 955.409 | 99.8994 | 68.7722
2019-08-12 12:00:00 | 0.88267 | 322.986 | 11.098 | 42.9997 | 0 | 347.679 | 3.428 | 144.069 | 19.42 | 955.409 | 99.9335 | 68.144
2019-08-12 12:15:00 | 1.116 | 326.126 | 10.331 | 1.9415 | 0 | 315.923 | 2.661 | 129.214 | 19.48 | 955.261 | 99.9333 | 69.4335
2019-08-12 12:30:00 | 0.99933 | 324.174 | 11.865 | 8.3944 | 0 | 310.366 | 2.4053 | 156.267 | 19.49 | 955.261 | 99.9318 | 63.6178
2019-08-12 12:45:00 | 0 | 324.539 | 9.3083 | 15.0912 | 0 | 324.466 | 2.541 | 139.245 | 19.54 | 955.558 | 99.9318 | 54.0408
2019-08-12 13:00:00 | 0 | 334.815 | 5.729 | 7.2152 | 0 | 312.826 | 0 | 155.317 | 19.64 | 955.558 | 99.9318 | 40.4844
2019-08-12 13:15:00 | 0 | 303.231 | 5.4733 | 2.0282 | 0 | 317.233 | 0.37567 | 133.108 | 19.82 | 955.706 | 99.9318 | 41.3786
2019-08-12 13:30:00 | 0 | 299.627 | 6.2403 | 17.1752 | 0 | 298.896 | 0 | 133.278 | 19.92 | 955.854 | 99.9318 | 34.8276
2019-08-12 13:45:00 | 0 | 302.427 | 4.962 | 10.04 | 0 | 312.168 | 0 | 132.572 | 19.96 | 955.854 | 99.9318 | 34.6814
2019-08-12 14:00:00 | 0 | 309.124 | 4.4507 | 13.6685 | 0 | 311.218 | 0 | 143.847 | 20.03 | 956.003 | 99.9318 | 35.223
2019-08-12 14:15:00 | 0 | 332.064 | 2.1497 | 21.0574 | 0 | 304.302 | 0 | 126.387 | 20.04 | 955.854 | 99.9317 | 35.0789
2019-08-12 14:30:00 | 0 | 312.922 | 6.2403 | 15.0809 | 0 | 307.297 | 2.541 | 139.756 | 20.1 | 955.854 | 99.9315 | 31.6464
2019-08-12 14:45:00 | 0 | 299.128 | 5.2177 | 18.7337 | 0 | 297.18 | 0 | 124.385 | 20.18 | 956.151 | 99.928 | 27.5488
2019-08-12 15:00:00 | 0 | 312.252 | 6.496 | 11.3074 | 0 | 317.901 | 0 | 143.976 | 20.28 | 956.003 | 99.9197 | 37.3844
2019-08-12 15:15:00 | 0.62733 | 301.384 | 8.2857 | 6.4867 | 0 | 313.388 | 1.007 | 136.546 | 20.4 | 956.131 | 99.917 | 43.9465
2019-08-12 15:30:00 | 0 | 299.066 | 7.5187 | 17.1756 | 0 | 305.397 | 0 | 126.22 | 20.67 | 956.229 | 99.9153 | 40.8243
2019-08-12 15:45:00 | 0 | 313.551 | 3.9393 | 2.4696 | 0 | 328.647 | 0 | 136.81 | 21.1 | 956.196 | 99.9148 | 46.8434
2019-08-12 16:00:00 | 0 | 310.946 | 6.2403 | 20.7096 | 0 | 294.341 | 2.0297 | 129.603 | 21.33 | 956.158 | 96.9139 | 61.7651
2019-08-12 16:15:00 | 1.6267 | 317.252 | 9.564 | 19.5896 | 0 | 11.6139 | 0.75133 | 141.096 | 21.36 | 956.009 | 88.8321 | 59.1413
2019-08-12 16:30:00 | 0 | 320.296 | 13.1433 | 21.2452 | 0 | 319.127 | 1.2627 | 131.673 | 21.88 | 956.899 | 84.9446 | 66.6246
2019-08-12 16:45:00 | 1.3933 | 283.36 | 6.496 | 332.337 | 0 | 269.847 | 4.195 | 140.779 | 22.09 | 956.453 | 84.2967 | 61.8451
2019-08-12 17:00:00 | 1.882 | 298.797 | 14.6773 | 51.8261 | 0 | 301.45 | 5.2177 | 124.515 | 22.15 | 957.047 | 80.2728 | 68.0675
2019-08-12 17:15:00 | 0.88267 | 297.141 | 9.8197 | 7.2209 | 0 | 319.468 | 2.4053 | 126.195 | 22.21 | 956.602 | 82.4212 | 71.4731
2019-08-12 17:30:00 | 0.88267 | 353.555 | 7.263 | 1.1304 | 0 | 324.362 | 0.887 | 166.588 | 22.04 | 956.157 | 81.9437 | 68.3251
2019-08-12 17:45:00 | 8.2653 | 319.078 | 5.4733 | 11.7739 | 0 | 326.017 | 2.4053 | 141.071 | 21.93 | 956.305 | 82.3189 | 59.4685
2019-08-12 18:00:00 | 0 | 302.885 | 6.496 | 6.1462 | 0 | 304.346 | 0.75133 | 121.69 | 21.86 | 956.453 | 82.7957 | 55.6665
2019-08-12 18:15:00 | 0 | 304.494 | 9.564 | 17.0783 | 0 | 325.238 | 1.5183 | 131.843 | 22 | 956.453 | 80.682 | 58.3802
2019-08-12 18:30:00 | 0.99933 | 292.709 | 3.1723 | 12.0174 | 0 | 304.713 | 4.962 | 113.339 | 22.12 | 956.602 | 80.682 | 62.4642
2019-08-12 18:45:00 | 6.478 | 336.341 | 9.0527 | 24.0696 | 0 | 341.016 | 4.195 | 153.83 | 22.38 | 956.75 | 79.8295 | 56.8932
2019-08-12 19:00:00 | 4.946 | 315.085 | 7.7743 | 17.2035 | 0 | 343.134 | 5.4733 | 159.843 | 22.27 | 956.75 | 80.6138 | 57.5546
2019-08-12 19:15:00 | 0 | 323.362 | 3.6837 | 8.2887 | 0 | 310.969 | 0 | 139.853 | 22.14 | 957.195 | 83.0006 | 54.9906
2019-08-12 19:30:00 | 0 | 26.1009 | 5.2177 | 75.9061 | 0 | 338.897 | 3.5637 | 158.042 | 21.65 | 956.75 | 86.5473 | 53.9474
2019-08-12 19:45:00 | 10.0527 | 346.786 | 6.496 | 30.0104 | 0 | 345.788 | 2.541 | 161.085 | 20.46 | 956.602 | 95.6862 | 57.78
2019-08-12 20:00:00 | 0 | 26.6365 | 4.7063 | 52.7269 | 0 | 2.8487 | 0 | 161.475 | 20.02 | 956.857 | 97.3913 | 60.8837
2019-08-12 20:15:00 | 0 | 310.169 | 3.1723 | 332.782 | 0 | 297.946 | 0.37567 | 146.197 | 20.03 | 957.187 | 96.9223 | 56.9006
2019-08-12 20:30:00 | 0 | 334.496 | 7.7743 | 4.1813 | 0 | 331.476 | 2.2853 | 149.398 | 19.99 | 957.338 | 96.1793 | 51.0352
2019-08-12 20:45:00 | 0 | 316.965 | 5.9847 | 4.9505 | 0 | 345.628 | 0 | 131.16 | 20.25 | 957.635 | 93.3492 | 47.0961
2019-08-12 21:00:00 | 0 | 324.149 | 4.7063 | 27.9247 | 0 | 297.07 | 0 | 147.549 | 20.28 | 957.635 | 93.9972 | 47.9295
2019-08-12 21:15:00 | 0 | 327.826 | 8.03 | 20.059 | 0 | 340.538 | 2.541 | 139.853 | 19.97 | 957.635 | 96.1118 | 46.3541
2019-08-12 21:30:00 | 0 | 328.898 | 4.962 | 12.656 | 0 | 352.154 | 5.2177 | 180.448 | 19.8 | 957.932 | 98.09 | 52.8706
2019-08-12 21:45:00 | 0 | 301.624 | 7.5187 | 3.3779 | 0 | 333.719 | 3.5637 | 140.657 | 19.48 | 957.635 | 99.352 | 50.7783
2019-08-12 22:00:00 | 0.372 | 317.671 | 5.2177 | 29.7511 | 0 | 319.741 | 5.729 | 163.402 | 19.39 | 957.338 | 99.8977 | 51.3696
2019-08-12 22:15:00 | 0 | 333.963 | 6.2403 | 11.9395 | 0 | 317.452 | 0 | 149.229 | 19.34 | 957.19 | 99.9318 | 51.7537
2019-08-12 22:30:00 | 0 | 319.23 | 7.7743 | 14.3016 | 0 | 334.158 | 2.4053 | 134.861 | 19.34 | 957.042 | 99.9318 | 58.4498
2019-08-12 22:45:00 | 0.744 | 344.142 | 7.0073 | 53.129 | 0 | 308.393 | 5.4733 | 164.498 | 19.33 | 957.042 | 99.9318 | 57.0379
2019-08-12 23:00:00 | 0.372 | 297.226 | 7.5187 | 336.866 | 0 | 307.917 | 3.9393 | 131.627 | 19.29 | 957.338 | 99.9351 | 51.2549
2019-08-12 23:15:00 | 0 | 328.56 | 4.7063 | 3.3187 | 0 | 303.477 | 3.9393 | 141.511 | 19.28 | 957.338 | 99.9328 | 48.6977
2019-08-12 23:30:00 | 0 | 323.311 | 4.4507 | 13.0837 | 0 | 332.37 | 4.7063 | 155.299 | 19.28 | 957.635 | 99.9362 | 48.1686
2019-08-12 23:45:00 | 0.372 | 356.825 | 5.2177 | 24.4936 | 0 | 341.385 | 1.774 | 153.11 | 19.28 | 957.635 | 99.9375 | 42.1138