## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-08-13 00:00:00 | 6.872 | 354.727 | 4.4507 | 17.5038 | 0 | 324.846 | 4.7063 | 154.642 | 19.29 | 957.635 | 99.9364 | 37.8426
2019-08-13 00:15:00 | 3.808 | 337.779 | 7.263 | 13.096 | 0 | 9.449 | 0.37567 | 148.871 | 19.3 | 957.487 | 99.9369 | 34.436
2019-08-13 00:30:00 | 0.372 | 347.175 | 6.496 | 43.7802 | 0 | 351.363 | 0 | 164.358 | 19.34 | 957.635 | 99.9355 | 29.5033
2019-08-13 00:45:00 | 0 | 346.054 | 6.496 | 36.6204 | 0 | 335.704 | 0 | 153.959 | 19.34 | 957.487 | 99.9354 | 24.434
2019-08-13 01:00:00 | 0 | 297.563 | 5.4733 | 16.7368 | 0 | 311.541 | 3.1723 | 137.835 | 19.34 | 957.783 | 99.9339 | 22.9376
2019-08-13 01:15:00 | 0 | 294.903 | 4.195 | 38.6885 | 0 | 10.8854 | 0 | 132.914 | 19.35 | 957.783 | 99.9321 | 23.3921
2019-08-13 01:30:00 | 0 | 294.348 | 3.9393 | 10.5999 | 0 | 309.349 | 0 | 121.714 | 19.36 | 957.635 | 99.9338 | 22.8674
2019-08-13 01:45:00 | 0 | 323.692 | 2.9167 | 10.5866 | 0 | 325.178 | 0 | 151.91 | 19.41 | 957.783 | 99.9336 | 22.7122
2019-08-13 02:00:00 | 0 | 307.785 | 3.6837 | 16.9317 | 0 | 330.31 | 0 | 112.238 | 19.35 | 957.635 | 99.9318 | 21.1234
2019-08-13 02:15:00 | 0 | 302.696 | 4.195 | 13.5085 | 0 | 331.042 | 0 | 121.127 | 19.29 | 957.635 | 99.9323 | 22.1432
2019-08-13 02:30:00 | 0 | 296.734 | 3.428 | 29.8738 | 0 | 295.517 | 3.6837 | 131.722 | 19.27 | 957.635 | 99.9336 | 21.238
2019-08-13 02:45:00 | 0 | 325.979 | 8.797 | 23.2983 | 0 | 339.129 | 0 | 135.496 | 19.23 | 957.783 | 99.9328 | 18.6627
2019-08-13 03:00:00 | 0 | 311.306 | 4.195 | 0.79758 | 0 | 341.626 | 2.1653 | 143.318 | 19.21 | 957.635 | 99.9365 | 24.1569
2019-08-13 03:15:00 | 10.8187 | 331.73 | 6.496 | 4.45 | 0 | 0.048705 | 3.428 | 136.861 | 19.23 | 957.783 | 99.9341 | 20.9646
2019-08-13 03:30:00 | 4.6907 | 330.196 | 4.962 | 14.4832 | 0 | 19.2141 | 0.75133 | 148.599 | 19.23 | 957.783 | 99.8999 | 14.7166
2019-08-13 03:45:00 | 0 | 307.136 | 1.6383 | 13.7041 | 0 | 342.935 | 0 | 156.393 | 19.27 | 957.932 | 99.9347 | 17.6022
2019-08-13 04:00:00 | 2.276 | 326.355 | 5.729 | 6.7032 | 0 | 326.574 | 1.2627 | 148.48 | 19.23 | 958.08 | 99.9361 | 22.3427
2019-08-13 04:15:00 | 0.62733 | 298.773 | 4.962 | 17.5403 | 0 | 306.615 | 0 | 140.376 | 19.27 | 958.229 | 99.9395 | 25.6238
2019-08-13 04:30:00 | 0 | 300.965 | 5.9847 | 9.1625 | 0 | 314.651 | 0 | 119.188 | 19.28 | 958.229 | 99.9394 | 23.3588
2019-08-13 04:45:00 | 0 | 324.136 | 4.7063 | 16.1396 | 0 | 338.992 | 0 | 140.029 | 19.22 | 958.229 | 99.9353 | 20.5692
2019-08-13 05:00:00 | 0 | 338.983 | 4.7063 | 16.9937 | 0 | 332.944 | 0.37567 | 149.753 | 19.21 | 958.525 | 99.906 | 17.4988
2019-08-13 05:15:00 | 0 | 310.9 | 3.428 | 8.2504 | 0 | 329.75 | 3.1723 | 139.45 | 19.16 | 958.525 | 99.9391 | 16.2315
2019-08-13 05:30:00 | 0 | 337.117 | 2.9167 | 44.0528 | 0 | 0.048709 | 0 | 190.332 | 19.17 | 958.822 | 99.9428 | 15.8361
2019-08-13 05:45:00 | 0 | 322.301 | 4.7063 | 4.1699 | 0 | 326.149 | 1.1427 | 137.454 | 19.15 | 958.822 | 99.9403 | 15.3816
2019-08-13 06:00:00 | 0 | 321.297 | 5.4733 | 2.7219 | 0 | 321.516 | 0 | 133.628 | 19.15 | 958.525 | 99.9385 | 12.5957
2019-08-13 06:15:00 | 0 | 318.926 | 4.962 | 0.16421 | 0 | 333.61 | 0 | 137.302 | 19.15 | 958.822 | 99.9356 | 13.1167
2019-08-13 06:30:00 | 0 | 326.933 | 6.7517 | 15.4844 | 0 | 335.628 | 3.428 | 141.548 | 19.15 | 958.971 | 99.9417 | 15.304
2019-08-13 06:45:00 | 2.5313 | 325.121 | 8.5413 | 0.85805 | 0 | 316.183 | 4.962 | 139.839 | 19.15 | 959.119 | 99.9386 | 13.2645
2019-08-13 07:00:00 | 0 | 319.318 | 4.962 | 7.6764 | 0 | 313.911 | 0 | 150.026 | 19.15 | 959.416 | 99.9439 | 13.9924
2019-08-13 07:15:00 | 0 | 301.877 | 4.962 | 14.3989 | 0 | 305.53 | 0 | 124.126 | 19.2 | 959.416 | 99.9008 | 14.4875
2019-08-13 07:30:00 | 0 | 302.517 | 3.6837 | 19.5616 | 0 | 330.961 | 0 | 126.832 | 19.24 | 959.564 | 99.9372 | 12.4295
2019-08-13 07:45:00 | 0 | 326.929 | 5.729 | 16.8342 | 0 | 302.917 | 0 | 144.117 | 19.34 | 959.713 | 99.9328 | 9.6694
2019-08-13 08:00:00 | 0 | 320.643 | 6.2403 | 17.3213 | 0 | 313.848 | 0 | 136.128 | 19.35 | 960.009 | 99.9318 | 8.5536
2019-08-13 08:15:00 | 0 | 306.713 | 4.4507 | 13.8633 | 0 | 309.489 | 3.9393 | 125.437 | 19.42 | 960.009 | 99.9318 | 12.0821
2019-08-13 08:30:00 | 0 | 292.76 | 5.4733 | 335.393 | 0 | 288.133 | 0 | 129.577 | 19.52 | 960.306 | 99.9318 | 11.1178
2019-08-13 08:45:00 | 0 | 303.767 | 2.661 | 14.74 | 0 | 317.623 | 0 | 127.069 | 19.6 | 960.751 | 99.9318 | 9.5364
2019-08-13 09:00:00 | 0 | 302.233 | 5.9847 | 16.0063 | 0 | 290.446 | 0 | 125.754 | 19.6 | 960.751 | 99.9318 | 11.72
2019-08-13 09:15:00 | 0 | 297.24 | 5.9847 | 336.854 | 0 | 295.584 | 0 | 123.781 | 19.59 | 960.603 | 99.9318 | 12.06
2019-08-13 09:30:00 | 0 | 288.863 | 5.4733 | 335.49 | 0 | 311.097 | 0 | 116.451 | 19.64 | 960.9 | 99.9318 | 7.6225
2019-08-13 09:45:00 | 0 | 293.295 | 5.2177 | 333.153 | 0 | 329.141 | 0 | 134.91 | 19.7 | 960.9 | 99.9318 | 8.221
2019-08-13 10:00:00 | 0 | 309.903 | 3.6837 | 330.62 | 0 | 306.421 | 0 | 127.02 | 19.91 | 961.196 | 99.9318 | 6.163
2019-08-13 10:15:00 | 0 | 307.76 | 5.4733 | 336.294 | 0 | 281.509 | 0 | 141.558 | 19.94 | 961.196 | 99.9318 | 10.2864
2019-08-13 10:30:00 | 0 | 320.153 | 3.9393 | 12.1587 | 0 | 305.907 | 0 | 159.918 | 20.02 | 961.196 | 99.931 | 11.188
2019-08-13 10:45:00 | 0 | 320.805 | 3.428 | 0.71372 | 0 | 314.011 | 0 | 139.631 | 20.01 | 961.345 | 99.9293 | 14.517
2019-08-13 11:00:00 | 0 | 329.005 | 2.9167 | 32.8901 | 0 | 356.838 | 0 | 175.618 | 20.04 | 961.79 | 99.9614 | 11.5686
2019-08-13 11:15:00 | 0 | 322.367 | 5.729 | 3.4732 | 0 | 356.822 | 0 | 145.173 | 20.13 | 961.493 | 99.9228 | 7.7592
2019-08-13 11:30:00 | 0 | 331.781 | 4.4507 | 91.1781 | 0 | 31.3617 | 0 | 199.517 | 20.19 | 961.493 | 99.9201 | 5.5977
2019-08-13 11:45:00 | 0 | 5.4052 | 0.75133 | 26.4315 | 0 | 311.946 | 0 | 213.629 | 20.38 | 961.485 | 99.9153 | 0.89785
2019-08-13 12:00:00 | 0 | 328.331 | 4.4507 | 3.2765 | 0 | 317.082 | 0 | 141.899 | 20.56 | 961.369 | 99.9149 | 1.2156
2019-08-13 12:15:00 | 0 | 9.593 | 4.195 | 33.9061 | 0 | 327.673 | 0 | 160.598 | 20.49 | 961.26 | 99.9148 | 9.1041
2019-08-13 12:30:00 | 0 | 332.445 | 3.6837 | 36.1217 | 0 | 344.278 | 0 | 154.146 | 20.28 | 961.481 | 99.9148 | 5.8453
2019-08-13 12:45:00 | 0 | 29.5096 | 0 | 61.0783 | 0 | 16.167 | 0 | 195.05 | 20.41 | 961.627 | 99.9148 | 2.0691
2019-08-13 13:00:00 | 0 | 5.7461 | 1.894 | 57.3531 | 0 | 6.8174 | 0 | 156.581 | 20.46 | 961.596 | 99.9148 | 1.6811
2019-08-13 13:15:00 | 0 | 344.181 | 0.75133 | 2.7896 | 0 | 356.89 | 0 | 130.212 | 20.66 | 961.529 | 99.9148 | 2.2354
2019-08-13 13:30:00 | 0 | 335.294 | 2.1497 | 71.8887 | 0 | 4.3826 | 0 | 151.687 | 20.95 | 961.646 | 99.9148 | 1.8844
2019-08-13 13:45:00 | 0 | 24.6388 | 2.9167 | 72.6148 | 0 | 27.0979 | 0 | 195.82 | 21.28 | 961.793 | 99.9101 | 4.371
2019-08-13 14:00:00 | 0 | 329.677 | 1.894 | 72.2911 | 0 | 33.5715 | 4.7063 | 156.61 | 21.08 | 961.497 | 99.9023 | 10.098
2019-08-13 14:15:00 | 0 | 39.7289 | 3.428 | 54.3943 | 0 | 342.978 | 1.654 | 167.265 | 21.59 | 962.09 | 99.9319 | 16.2758
2019-08-13 14:30:00 | 0 | 18.8397 | 4.7063 | 60.9816 | 0 | 2.5314 | 1.2627 | 198.791 | 21.4 | 962.238 | 99.8856 | 22.3353
2019-08-13 14:45:00 | 0 | 27.0656 | 2.4053 | 57.8135 | 0 | 319.091 | 4.4507 | 206.643 | 21.95 | 962.387 | 99.8808 | 20.7946
2019-08-13 15:00:00 | 0 | 14.482 | 5.2177 | 82.3721 | 0 | 25.6295 | 3.1723 | 172.859 | 22.11 | 962.387 | 98.6876 | 17.085
2019-08-13 15:15:00 | 0 | 34.051 | 4.195 | 73.123 | 0 | 7.1802 | 0 | 172.908 | 21.8 | 962.386 | 94.9378 | 14.5503
2019-08-13 15:30:00 | 1.3713 | 349.954 | 6.2403 | 65.9856 | 0 | 31.5419 | 5.729 | 165.497 | 22.14 | 962.055 | 93.5678 | 18.84
2019-08-13 15:45:00 | 0 | 331.132 | 5.2177 | 44.0846 | 0 | 356.786 | 0 | 149.369 | 22.58 | 962.497 | 92.1065 | 14.6242
2019-08-13 16:00:00 | 0 | 82.2432 | 3.6837 | 88.5055 | 0 | 1.8498 | 4.4507 | 178.555 | 22.02 | 962.088 | 95.3808 | 10.5155
2019-08-13 16:15:00 | 0 | 332.94 | 3.1723 | 98.8742 | 0 | 5.9145 | 4.7063 | 158.596 | 22.05 | 961.941 | 95.3809 | 8.5388
2019-08-13 16:30:00 | 0 | 355.99 | 4.7063 | 50.0248 | 0 | 0.68151 | 0 | 178.774 | 22.41 | 962.09 | 95.2446 | 9.4551
2019-08-13 16:45:00 | 0 | 198.491 | 4.962 | 57.376 | 0 | 7.9834 | 0 | 164.439 | 22.16 | 962.09 | 95.3818 | 9.7655
2019-08-13 17:00:00 | 0 | 58.7556 | 5.4733 | 54.698 | 0 | 9.8088 | 0 | 179.431 | 22.35 | 962.084 | 93.6765 | 16.2278
2019-08-13 17:15:00 | 0.372 | 187.879 | 7.0073 | 44.8171 | 0 | 17.403 | 5.2177 | 182.184 | 22.47 | 961.942 | 91.9051 | 15.1045
2019-08-13 17:30:00 | 0 | 353.339 | 4.7063 | 38.906 | 0 | 6.061 | 0 | 184.191 | 22.5 | 962.238 | 92.3197 | 12.5625
2019-08-13 17:45:00 | 0 | 1.1198 | 4.7063 | 52.5184 | 0 | 19.2555 | 0.887 | 165.144 | 22.46 | 962.238 | 92.1223 | 12.0489
2019-08-13 18:00:00 | 0 | 355.048 | 5.729 | 48.2831 | 0 | 3.1403 | 5.2177 | 181.967 | 22.25 | 962.386 | 93.6913 | 11.2434
2019-08-13 18:15:00 | 0 | 0.14606 | 6.496 | 55.3437 | 0 | 5.0148 | 1.1427 | 185.474 | 22.12 | 961.793 | 93.2833 | 8.9268
2019-08-13 18:30:00 | 0 | 18.915 | 5.4733 | 59.4577 | 0 | 4.8931 | 5.9847 | 199.496 | 22 | 962.09 | 94.1698 | 6.4697
2019-08-13 18:45:00 | 0 | 2.7265 | 4.962 | 61.3573 | 0 | 39.924 | 0 | 197.307 | 21.94 | 962.386 | 94.9889 | 4.3821
2019-08-13 19:00:00 | 0 | 0.097382 | 4.7063 | 59.074 | 0 | 0.048691 | 0 | 184.003 | 21.84 | 962.09 | 94.313 | 5.5238
2019-08-13 19:15:00 | 0 | 5.6487 | 3.9393 | 51.5094 | 0 | 19.7461 | 0 | 198.824 | 21.79 | 962.386 | 95.0041 | 7.2234
2019-08-13 19:30:00 | 0 | 7.6939 | 5.2177 | 53.6522 | 0 | 12.2713 | 1.5183 | 194.977 | 21.65 | 962.683 | 94.3222 | 7.6003
2019-08-13 19:45:00 | 0 | 355.77 | 3.9393 | 42.2817 | 0 | 5.3322 | 1.2627 | 184.654 | 21.61 | 962.832 | 94.1858 | 8.3282
2019-08-13 20:00:00 | 0 | 354.577 | 5.2177 | 43.5965 | 0 | 9.8365 | 3.9393 | 187.746 | 21.46 | 963.128 | 94.7314 | 7.9587
2019-08-13 20:15:00 | 0 | 356.184 | 4.962 | 40.3339 | 0 | 32.1391 | 5.9847 | 182.755 | 21.42 | 962.98 | 95.5839 | 9.5586
2019-08-13 20:30:00 | 0 | 39.3704 | 4.7063 | 47.0052 | 0 | 0.6087 | 1.2627 | 183.777 | 21.28 | 963.174 | 96.3683 | 9.2075
2019-08-13 20:45:00 | 0 | 1.5096 | 4.195 | 44.3269 | 0 | 6.8904 | 0.887 | 184.678 | 21.14 | 963.055 | 97.0503 | 9.141
2019-08-13 21:00:00 | 0 | 356.355 | 3.9393 | 34.8556 | 0 | 9.2035 | 3.8193 | 181.123 | 21.11 | 963.454 | 97.4595 | 8.5794
2019-08-13 21:15:00 | 0 | 6.5009 | 4.4507 | 28.647 | 0 | 18.1148 | 0 | 190.717 | 21.04 | 963.327 | 97.6643 | 6.0595
2019-08-13 21:30:00 | 0 | 161.651 | 2.4053 | 47.2996 | 0 | 9.2281 | 0 | 189.165 | 20.98 | 963.404 | 98.554 | 6.6175
2019-08-13 21:45:00 | 0 | 15.1445 | 3.9393 | 68.7002 | 0 | 20.1602 | 0 | 191.961 | 20.85 | 963.545 | 99.3021 | 6.1519
2019-08-13 22:00:00 | 0 | 11.4438 | 5.2177 | 58.4262 | 0 | 6.2332 | 0 | 196.589 | 20.82 | 963.398 | 99.5079 | 4.3156
2019-08-13 22:15:00 | 0 | 5.6004 | 4.4507 | 56.5553 | 0 | 4.6751 | 0 | 178.629 | 20.77 | 963.421 | 99.3424 | 3.1147
2019-08-13 22:30:00 | 0 | 15.9742 | 3.1723 | 63.6695 | 0 | 356.837 | 0 | 201.917 | 20.83 | 963.274 | 98.6993 | 1.1343
2019-08-13 22:45:00 | 0 | 0.53573 | 1.894 | 49.8879 | 0 | 71.5437 | 0 | 193.787 | 20.74 | 962.977 | 98.9735 | 0.90524
2019-08-13 23:00:00 | 0 | 356.922 | 4.195 | 40.9765 | 0 | 356.897 | 0 | 186.119 | 20.85 | 962.977 | 95.3601 | 3.8279
2019-08-13 23:15:00 | 0 | 356.293 | 4.7063 | 43.5099 | 0 | 356.951 | 1.5183 | 178.402 | 20.85 | 963.125 | 98.0217 | 5.9783
2019-08-13 23:30:00 | 0 | 166.758 | 3.9393 | 49.9858 | 0 | 356.942 | 0 | 185.509 | 20.66 | 962.977 | 99.1107 | 4.3821
2019-08-13 23:45:00 | 0 | 354.516 | 3.428 | 29.5806 | 0 | 354.979 | 0 | 179.157 | 20.57 | 962.977 | 99.3861 | 3.9313