## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-08-14 00:00:00 | 0 | 5.9905 | 3.1723 | 40.4895 | 0 | 355.144 | 0 | 181.639 | 20.49 | 963.125 | 99.6917 | 3.5729
2019-08-14 00:15:00 | 0 | 352.957 | 3.1723 | 39.0291 | 0 | 355.003 | 0 | 178.061 | 20.42 | 963.125 | 99.9316 | 2.6197
2019-08-14 00:30:00 | 0 | 11.1045 | 3.1723 | 67.2775 | 0 | 355.003 | 0 | 187.023 | 20.42 | 962.828 | 99.9318 | 1.2452
2019-08-14 00:45:00 | 0 | 15.0007 | 1.127 | 67.2281 | 0 | 354.903 | 0 | 194.059 | 20.34 | 962.977 | 99.931 | 0.46186
2019-08-14 01:00:00 | 0 | 5.3574 | 1.6383 | 59.29 | 0 | 355.003 | 0 | 190.7 | 20.37 | 962.977 | 99.9318 | -0.1404
2019-08-14 01:15:00 | 0 | 2.63 | 2.4053 | 52.9098 | 0 | 354.906 | 0 | 186 | 20.37 | 962.977 | 99.9318 | 0.070202
2019-08-14 01:30:00 | 0 | 3.7015 | 2.661 | 53.4455 | 0 | 354.979 | 0 | 186.195 | 20.37 | 962.977 | 99.9318 | 0.26972
2019-08-14 01:45:00 | 0 | 356.659 | 3.428 | 43.7048 | 0 | 354.321 | 0 | 174.044 | 20.37 | 962.977 | 99.9318 | 0.68724
2019-08-14 02:00:00 | 0 | 0.097408 | 2.9167 | 51.6922 | 0 | 354.906 | 0 | 184.101 | 20.34 | 962.68 | 99.9318 | 2.0543
2019-08-14 02:15:00 | 0 | 354.224 | 3.9393 | 39.6623 | 0 | 354.248 | 0 | 181.52 | 20.3 | 962.532 | 99.9318 | 2.3425
2019-08-14 02:30:00 | 0 | 348.571 | 3.428 | 40.9768 | 0 | 355.39 | 2.9167 | 177.208 | 20.26 | 962.532 | 99.965 | 3.7059
2019-08-14 02:45:00 | 0 | 355.003 | 1.894 | 50.7912 | 0 | 354.516 | 0 | 182.835 | 20.11 | 962.532 | 99.9318 | 3.8833
2019-08-14 03:00:00 | 0 | 356.903 | 4.4507 | 37.7142 | 0 | 354.516 | 0 | 182.932 | 20.04 | 962.383 | 99.9318 | 3.2404
2019-08-14 03:15:00 | 0 | 350.717 | 3.9393 | 38.396 | 0 | 354.224 | 4.7063 | 178.792 | 20.01 | 962.383 | 99.9318 | 3.0556
2019-08-14 03:30:00 | 0 | 355.539 | 2.661 | 37.8116 | 0 | 355.782 | 0 | 184.077 | 19.89 | 962.383 | 99.9318 | 4.0385
2019-08-14 03:45:00 | 0 | 353.225 | 2.9167 | 56.5383 | 0 | 355.393 | 0.37567 | 174.36 | 19.86 | 962.383 | 99.9318 | 5.2356
2019-08-14 04:00:00 | 0 | 4.5782 | 3.9393 | 49.0622 | 0 | 0.048704 | 0.37567 | 182.299 | 19.82 | 962.087 | 99.9318 | 5.4647
2019-08-14 04:15:00 | 0 | 0.97408 | 4.4507 | 55.3937 | 0 | 0.048704 | 3.9393 | 183.979 | 19.74 | 962.087 | 99.9318 | 6.514
2019-08-14 04:30:00 | 0 | 344.921 | 5.4733 | 37.6411 | 0 | 6.7211 | 0 | 170.488 | 19.7 | 962.087 | 99.9318 | 8.3725
2019-08-14 04:45:00 | 0 | 354.321 | 4.4507 | 32.2593 | 0 | 8.9128 | 0.63133 | 177.234 | 19.67 | 962.087 | 99.9318 | 7.7222
2019-08-14 05:00:00 | 0 | 345.652 | 3.6837 | 33.7692 | 0 | 0.048704 | 5.4733 | 178.427 | 19.69 | 962.383 | 99.9318 | 8.2395
2019-08-14 05:15:00 | 0 | 0.14611 | 4.4507 | 48.77 | 0 | 0.048704 | 0 | 188.192 | 19.7 | 962.383 | 99.9318 | 9.699
2019-08-14 05:30:00 | 0 | 11.9812 | 5.729 | 58.5108 | 0 | 0.048704 | 0 | 197.081 | 19.69 | 962.532 | 99.9318 | 7.9624
2019-08-14 05:45:00 | 0 | 7.9874 | 6.2403 | 59.4848 | 0 | 0.048704 | 1.3983 | 193.111 | 19.71 | 962.532 | 99.8977 | 8.2986
2019-08-14 06:00:00 | 0 | 5.26 | 5.2177 | 52.1305 | 0 | 0.048704 | 5.9847 | 192.137 | 19.78 | 962.977 | 99.8977 | 5.0213
2019-08-14 06:15:00 | 0 | 0.58445 | 4.4507 | 49.5249 | 0 | 0.048704 | 5.4733 | 188.143 | 19.76 | 963.125 | 99.9318 | 7.4821
2019-08-14 06:30:00 | 0 | 5.9419 | 4.4507 | 54.517 | 0 | 13.8563 | 4.4507 | 189.312 | 19.77 | 962.977 | 99.9318 | 7.6557
2019-08-14 06:45:00 | 0 | 10.1304 | 5.729 | 59.9229 | 0 | 0.097408 | 0 | 195.253 | 19.82 | 962.977 | 99.9314 | 6.3034
2019-08-14 07:00:00 | 0 | 14.4162 | 6.2403 | 60.6529 | 0 | 0.048704 | 0 | 200.609 | 19.97 | 962.977 | 99.9307 | 5.1802
2019-08-14 07:15:00 | 0 | 10.4222 | 6.2403 | 60.5526 | 0 | 21.4775 | 0 | 198.752 | 20.13 | 963.274 | 99.9272 | 5.3908
2019-08-14 07:30:00 | 0 | 14.3653 | 4.7063 | 52.143 | 0 | 0.048696 | 2.661 | 191.886 | 20.52 | 963.589 | 96.096 | 3.9165
2019-08-14 07:45:00 | 0 | 23.6661 | 4.7063 | 71.3531 | 0 | 0.12174 | 0 | 199.53 | 20.85 | 963.725 | 93.231 | 4.2084
2019-08-14 08:00:00 | 0 | 19.4507 | 6.496 | 65.7632 | 0 | 17.8683 | 0 | 173.766 | 21.63 | 964.018 | 91.5108 | 3.8316
2019-08-14 08:15:00 | 0 | 0.097358 | 4.962 | 51.7045 | 0 | 0.048679 | 4.4507 | 190.676 | 21.94 | 964.018 | 89.8588 | 3.7207
2019-08-14 08:30:00 | 0 | 0.097357 | 5.4733 | 56.0604 | 0 | 156.429 | 2.541 | 194.666 | 21.95 | 964.018 | 87.3352 | 3.8131
2019-08-14 08:45:00 | 5.4567 | 14.7979 | 5.729 | 58.7598 | 0 | 10.8064 | 3.1723 | 204.445 | 22.25 | 964.31 | 85.9693 | 4.0422
2019-08-14 09:00:00 | 0 | 16.1595 | 6.496 | 60.3351 | 0 | 10.6108 | 0.37567 | 194.474 | 22.79 | 964.133 | 86.0302 | 3.0815
2019-08-14 09:15:00 | 0 | 14.3335 | 2.9167 | 52.6168 | 0 | 62.6393 | 4.4507 | 165.359 | 23.29 | 964.358 | 80.6749 | 2.2391
2019-08-14 09:30:00 | 0 | 8.9797 | 7.0073 | 69.1162 | 0 | 10.4642 | 5.9847 | 184.365 | 23.82 | 964.763 | 76.619 | 1.7698
2019-08-14 09:45:00 | 0 | 30.7327 | 3.9393 | 68.6698 | 0 | 41.6583 | 0 | 213.085 | 24.12 | 964.911 | 77.9068 | 2.2206
2019-08-14 10:00:00 | 0 | 353.12 | 5.729 | 36.8213 | 0 | 354.823 | 0 | 185.771 | 24.52 | 965.208 | 78.1162 | 1.5445
2019-08-14 10:15:00 | 0 | 302.437 | 1.3827 | 56.1689 | 0 | 329.392 | 0 | 191.626 | 25.26 | 965.215 | 76.287 | 1.4225
2019-08-14 10:30:00 | 0 | 7.8333 | 3.6837 | 60.8633 | 0 | 17.6128 | 0 | 185.591 | 26.03 | 965.506 | 73.9694 | 2.0359
2019-08-14 10:45:00 | 0 | 15.7614 | 4.4507 | 63.55 | 0 | 39.1116 | 0 | 206.552 | 25.65 | 965.506 | 76.7508 | 2.9485
2019-08-14 11:00:00 | 0 | 30.3546 | 3.428 | 89.0627 | 0 | 30.0628 | 0 | 204.553 | 26.08 | 965.358 | 75.4206 | 2.7822
2019-08-14 11:15:00 | 0 | 35.6309 | 2.4053 | 83.5849 | 0 | 302.461 | 2.7967 | 206.805 | 26.58 | 965.506 | 73.1686 | 3.9978
2019-08-14 11:30:00 | 0 | 355.924 | 6.2403 | 50.6254 | 0 | 22.8609 | 0 | 188.87 | 25.91 | 965.358 | 71.8021 | 5.461
2019-08-14 11:45:00 | 0 | 27.8254 | 4.962 | 76.5132 | 0 | 290.44 | 0 | 214.65 | 26.43 | 965.506 | 72.0489 | 6.1852
2019-08-14 12:00:00 | 0 | 14.6424 | 3.9393 | 58.6847 | 0 | 297.153 | 0 | 206.818 | 26.14 | 965.358 | 72.1512 | 5.8711
2019-08-14 12:15:00 | 0 | 34.057 | 2.9167 | 70.7863 | 0 | 341.154 | 3.308 | 190.038 | 26.63 | 965.358 | 72.0594 | 5.6051
2019-08-14 12:30:00 | 0 | 28.7546 | 3.9393 | 40.7204 | 0 | 308.151 | 0 | 206.683 | 26.71 | 965.062 | 71.8228 | 4.1161
2019-08-14 12:45:00 | 0 | 6.0818 | 5.2177 | 19.3855 | 0 | 301.753 | 0 | 211.037 | 26.59 | 964.913 | 69.3697 | 3.3919
2019-08-14 13:00:00 | 0 | 31.3576 | 1.894 | 78.2814 | 0 | 39.118 | 0 | 201.672 | 26.45 | 964.765 | 72.0954 | 2.5457
2019-08-14 13:15:00 | 0 | 22.3323 | 2.9167 | 99.6892 | 0 | 38.826 | 2.7967 | 170.29 | 26.8 | 964.617 | 69.8807 | 2.2576
2019-08-14 13:30:00 | 0 | 14.4016 | 2.4053 | 42.18 | 0 | 306.327 | 0 | 203.569 | 27.45 | 964.913 | 67.0528 | 1.7624
2019-08-14 13:45:00 | 0 | 343.815 | 2.661 | 8.7789 | 0 | 313.965 | 0 | 180.945 | 27.51 | 965.062 | 65.2811 | 1.7588
2019-08-14 14:00:00 | 0 | 27.4896 | 3.9393 | 84.8011 | 0 | 56.5361 | 0 | 212.327 | 27.71 | 965.506 | 66.8484 | 1.7661
2019-08-14 14:15:00 | 0 | 5.7655 | 2.9167 | 39.796 | 0 | 25.6407 | 0 | 185.397 | 26.84 | 965.062 | 68.4838 | 1.3154
2019-08-14 14:30:00 | 0 | 6.7139 | 2.9167 | 16.6104 | 0 | 0.77843 | 0 | 192.758 | 27.5 | 965.21 | 69.7068 | 1.2969
2019-08-14 14:45:00 | 0 | 80.5077 | 2.661 | 62.8183 | 0 | 323.879 | 3.6837 | 189.424 | 28.59 | 965.506 | 63.8723 | 1.8511
2019-08-14 15:00:00 | 0 | 326.967 | 3.9393 | 17.2808 | 0 | 30.0581 | 0 | 155.859 | 27.8 | 965.358 | 66.3148 | 3.6801
2019-08-14 15:15:00 | 0 | 18.4823 | 2.661 | 47.8008 | 0 | 18.8714 | 0 | 181.686 | 27.26 | 965.062 | 65.0545 | 1.6442
2019-08-14 15:30:00 | 0 | 2.0914 | 2.9167 | 16.8872 | 0 | 309.773 | 0 | 202.235 | 27.86 | 965.062 | 62.9428 | 2.7231
2019-08-14 15:45:00 | 0 | 354.544 | 2.661 | 45.831 | 0 | 3.1128 | 0 | 150.29 | 27.98 | 964.913 | 65.3951 | 2.0765
2019-08-14 16:00:00 | 0 | 31.0308 | 2.9167 | 59.8873 | 0 | 350.337 | 0 | 201.165 | 27.79 | 964.617 | 66.451 | 2.0137
2019-08-14 16:15:00 | 0 | 6.0554 | 6.2403 | 62.8785 | 0 | 20.5251 | 1.1427 | 187.595 | 27.34 | 964.469 | 67.0981 | 2.6898
2019-08-14 16:30:00 | 0 | 0.7782 | 2.1497 | 69.2014 | 0 | 3.5992 | 0.887 | 174.706 | 27.12 | 964.321 | 67.1662 | 2.6012
2019-08-14 16:45:00 | 0 | 343.682 | 2.661 | 36.2264 | 0 | 36.1386 | 0 | 177.532 | 27.07 | 964.172 | 66.146 | 1.1454
2019-08-14 17:00:00 | 0 | 355.592 | 4.195 | 55.8856 | 0 | 32.6892 | 0 | 167.24 | 27.07 | 964.024 | 67.0397 | 1.4188
2019-08-14 17:15:00 | 0 | 352.581 | 3.9393 | 62.5081 | 0 | 335.675 | 0 | 167.74 | 26.67 | 963.283 | 69.7024 | 1.4077
2019-08-14 17:30:00 | 0 | 306.91 | 5.729 | 9.2168 | 0 | 341.211 | 0 | 135.331 | 25.97 | 962.986 | 80.3407 | 14.6601
2019-08-14 17:45:00 | 0 | 356.209 | 2.4053 | 49.2075 | 0 | 3.5042 | 0 | 165.84 | 24.78 | 961.777 | 73.7535 | 1.4151
2019-08-14 18:00:00 | 0 | 7.69 | 2.4053 | 60.7933 | 0 | 20.0523 | 0 | 184.851 | 25.09 | 961.797 | 76.7551 | -0.33254
2019-08-14 18:15:00 | 0 | 17.0348 | 2.661 | 65.8309 | 0 | 15.0879 | 0 | 199.185 | 25.04 | 962.275 | 74.5058 | -0.25125
2019-08-14 18:30:00 | 0 | 356.882 | 2.4053 | 38.3121 | 0 | 3.6019 | 0 | 183.406 | 25.73 | 962.968 | 74.5798 | -0.25125
2019-08-14 18:45:00 | 0 | 340.255 | 3.428 | 26.0488 | 0 | 346.729 | 0 | 161.585 | 25.61 | 962.683 | 72.6752 | -0.26972
2019-08-14 19:00:00 | 0 | 346.835 | 3.1723 | 31.8914 | 0 | 350.437 | 0 | 172.054 | 25.24 | 962.531 | 71.8248 | -0.2143
2019-08-14 19:15:00 | 0 | 344.502 | 3.6837 | 27.9002 | 0 | 354.432 | 0 | 161.98 | 25.27 | 962.832 | 76.1207 | -0.15888
2019-08-14 19:30:00 | 0 | 348.493 | 4.195 | 37.4413 | 0 | 0.048679 | 0 | 167.286 | 25.04 | 962.534 | 78.8137 | 0.4286
2019-08-14 19:45:00 | 0 | 2.0445 | 3.428 | 55.3065 | 0 | 13.8248 | 0 | 187.585 | 24.94 | 962.386 | 81.7453 | 1.8881
2019-08-14 20:00:00 | 0 | 0.34075 | 3.9393 | 47.8586 | 0 | 5.7441 | 0 | 185.954 | 24.5 | 962.683 | 82.768 | 1.3966
2019-08-14 20:15:00 | 0 | 356.871 | 5.2177 | 38.3913 | 0 | 0.04868 | 0 | 180.407 | 24.77 | 962.535 | 79.9056 | 1.5592
2019-08-14 20:30:00 | 0 | 68.0554 | 4.195 | 42.2137 | 0 | 356.95 | 0 | 185.303 | 24.62 | 962.683 | 86.2819 | 1.5518
2019-08-14 20:45:00 | 0 | 0.58417 | 4.4507 | 41.4347 | 0 | 2.7261 | 0 | 186.909 | 24.19 | 962.832 | 86.6566 | 1.1048
2019-08-14 21:00:00 | 0 | 69.0825 | 4.7063 | 42.1938 | 0 | 356.999 | 0 | 185.632 | 24.15 | 962.683 | 86.8675 | 1.8216
2019-08-14 21:15:00 | 0 | 0.12171 | 4.4507 | 44.7268 | 0 | 1.7527 | 0 | 185.758 | 24.27 | 962.683 | 85.7785 | 2.0026
2019-08-14 21:30:00 | 0 | 46.1798 | 4.962 | 45.2408 | 0 | 2.8239 | 0 | 184.159 | 24.13 | 962.683 | 86.1231 | 3.1185
2019-08-14 21:45:00 | 0 | 356.927 | 4.4507 | 39.1064 | 0 | 3.2134 | 0 | 181.506 | 24.09 | 962.683 | 89.0896 | 3.6431
2019-08-14 22:00:00 | 0 | 166.559 | 5.4733 | 43.8291 | 0 | 355.661 | 5.729 | 185.84 | 23.68 | 962.535 | 88.9874 | 3.8981
2019-08-14 22:15:00 | 0 | 2.8239 | 3.9393 | 55.4167 | 0 | 5.38 | 0 | 191.706 | 23.49 | 962.238 | 91.749 | 3.6025
2019-08-14 22:30:00 | 0 | 7.79 | 4.4507 | 55.7088 | 0 | 27.9709 | 0 | 198.377 | 23.34 | 962.238 | 90.6921 | 2.8044
2019-08-14 22:45:00 | 0 | 3.968 | 3.428 | 47.5537 | 0 | 354.809 | 2.7967 | 194.287 | 23.37 | 962.238 | 91.6468 | 4.0791
2019-08-14 23:00:00 | 0 | 15.3852 | 4.4507 | 56.9503 | 0 | 13.3403 | 0 | 201.906 | 23.01 | 962.09 | 93.4879 | 3.3327
2019-08-14 23:15:00 | 0 | 18.8907 | 3.428 | 60.5289 | 0 | 10.6625 | 0 | 205.631 | 22.95 | 962.238 | 93.6243 | 0.96805
2019-08-14 23:30:00 | 0 | 27.7518 | 3.9393 | 77.5694 | 0 | 25.7069 | 0 | 214.589 | 23.03 | 962.09 | 92.6014 | 1.3966
2019-08-14 23:45:00 | 0 | 35.4445 | 4.4507 | 83.8262 | 0 | 27.7519 | 0 | 222.088 | 23.28 | 962.238 | 90.0447 | 2.1652