## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-08-15 00:00:00 | 0 | 33.1562 | 4.195 | 77.6671 | 0 | 29.7237 | 0 | 216.513 | 23.34 | 962.09 | 90.3514 | 3.7355
2019-08-15 00:15:00 | 0 | 25.3418 | 4.962 | 71.7757 | 0 | 24.1733 | 0 | 215.32 | 23.24 | 962.09 | 87.76 | 4.4449
2019-08-15 00:30:00 | 0 | 39.7298 | 3.6837 | 80.3956 | 0 | 28.8236 | 0 | 212.477 | 23.22 | 961.942 | 82.3749 | 3.7614
2019-08-15 00:45:00 | 0 | 39.4386 | 3.1723 | 81.8586 | 0 | 33.888 | 0 | 217.813 | 23.15 | 962.238 | 79.5127 | 2.8487
2019-08-15 01:00:00 | 0 | 32.816 | 3.9393 | 72.1185 | 0 | 24.2468 | 0 | 212.306 | 23.74 | 962.09 | 69.6231 | 2.1541
2019-08-15 01:15:00 | 0 | 32.3288 | 3.6837 | 66.3724 | 0 | 26.8027 | 0 | 208.384 | 23.87 | 961.942 | 66.9971 | 2.6233
2019-08-15 01:30:00 | 0 | 18.4041 | 4.195 | 61.2603 | 0 | 27.0219 | 0 | 202.445 | 23.98 | 961.942 | 64.1673 | 2.095
2019-08-15 01:45:00 | 0 | 21.1303 | 3.9393 | 66.5661 | 0 | 24.8549 | 0 | 209.112 | 23.86 | 961.793 | 65.3256 | 1.5851
2019-08-15 02:00:00 | 0 | 19.1828 | 3.9393 | 65.0081 | 0 | 21.5685 | 0 | 203.391 | 23.92 | 961.793 | 64.7801 | 1.0161
2019-08-15 02:15:00 | 0 | 10.3217 | 3.428 | 58.5327 | 0 | 8.8611 | 0 | 197.427 | 24.03 | 961.793 | 66.6894 | 0.41013
2019-08-15 02:30:00 | 0 | 12.3666 | 3.428 | 61.3079 | 0 | 12.1232 | 0 | 198.06 | 23.89 | 961.942 | 67.3031 | 0.55053
2019-08-15 02:45:00 | 0 | 6.9623 | 3.6837 | 57.6077 | 0 | 11.1251 | 0 | 193.727 | 23.89 | 961.942 | 67.8486 | 0.3547
2019-08-15 03:00:00 | 0 | 0.12172 | 4.4507 | 45.6062 | 0 | 349.673 | 0 | 189.004 | 23.75 | 961.942 | 68.5987 | 0.32145
2019-08-15 03:15:00 | 0 | 0.14606 | 3.9393 | 46.0198 | 0 | 0.048687 | 0 | 182.918 | 23.54 | 961.645 | 72.0079 | 0.62073
2019-08-15 03:30:00 | 0 | 0.097375 | 3.6837 | 37.841 | 0 | 354.3 | 0 | 186.547 | 23.17 | 961.497 | 77.9753 | 1.1528
2019-08-15 03:45:00 | 0 | 354.497 | 3.9393 | 35.4799 | 0 | 346.561 | 0 | 181.411 | 22.6 | 961.645 | 79.51 | 1.7588
2019-08-15 04:00:00 | 0 | 343.426 | 4.195 | 32.0763 | 0 | 356.938 | 0 | 172.93 | 22.59 | 961.497 | 90.1896 | 2.6788
2019-08-15 04:15:00 | 0 | 350.608 | 4.4507 | 32.1043 | 0 | 352.142 | 0 | 179.784 | 22.03 | 961.2 | 92.2761 | 2.6233
2019-08-15 04:30:00 | 0 | 355.527 | 4.4507 | 33.0782 | 0 | 356.817 | 0 | 185.36 | 22.1 | 961.348 | 87.3657 | 3.2256
2019-08-15 04:45:00 | 0 | 8.1809 | 4.4507 | 54.6017 | 0 | 6.8174 | 0 | 198.995 | 21.65 | 961.052 | 90.3666 | 2.6714
2019-08-15 05:00:00 | 0 | 23.0817 | 3.6837 | 71.4504 | 0 | 21.8156 | 0 | 208.271 | 21.76 | 961.2 | 89.1389 | 1.1971
2019-08-15 05:15:00 | 0 | 15.193 | 4.195 | 64.8278 | 0 | 14.1217 | 0 | 205.934 | 22.49 | 961.228 | 76.7945 | 0.74636
2019-08-15 05:30:00 | 0 | 13.2452 | 3.1723 | 62.4904 | 0 | 14.6087 | 0 | 207.979 | 22.71 | 961.659 | 78.2268 | 0.059118
2019-08-15 05:45:00 | 0 | 58.9704 | 2.1497 | 95.6521 | 0 | 27.8539 | 0 | 250.636 | 23.17 | 961.793 | 68.8832 | -0.39904
2019-08-15 06:00:00 | 0 | 95.6235 | 1.894 | 117.982 | 0 | 39.8269 | 0 | 278.861 | 23.99 | 962.238 | 66.0086 | -0.27342
2019-08-15 06:15:00 | 0 | 128.909 | 1.3827 | 167.741 | 0 | 87.6272 | 0 | 297.3 | 25.06 | 962.387 | 64.909 | -0.25125
2019-08-15 06:30:00 | 0.372 | 152.443 | 2.4053 | 190.558 | 0 | 120.708 | 0 | 330.39 | 25.2 | 962.641 | 62.7836 | -0.25125
2019-08-15 06:45:00 | 4.18 | 161.195 | 2.4053 | 201.838 | 0 | 157.301 | 0 | 341.274 | 24.97 | 962.836 | 63.2573 | -0.25125
2019-08-15 07:00:00 | 0 | 161.582 | 1.894 | 215.511 | 0 | 158.954 | 0 | 341.318 | 25.38 | 963.131 | 63.0521 | -0.25125
2019-08-15 07:15:00 | 0.99933 | 155.695 | 2.4053 | 207.509 | 0 | 159.782 | 0 | 341.579 | 25.05 | 962.844 | 64.2595 | -0.25125
2019-08-15 07:30:00 | 0 | 182.405 | 1.894 | 222.784 | 0 | 168.83 | 0 | 343.061 | 25.21 | 962.986 | 61.9421 | -0.25125
2019-08-15 07:45:00 | 0 | 182.35 | 2.1497 | 222.728 | 0 | 176.803 | 0 | 343.049 | 26.57 | 962.986 | 60.3047 | -0.25125
2019-08-15 08:00:00 | 0 | 216.183 | 2.9167 | 250.862 | 0 | 207.038 | 0 | 356.819 | 26.43 | 963.135 | 60.6373 | -0.25125
2019-08-15 08:15:00 | 0 | 181.353 | 2.4053 | 233.447 | 0 | 198.088 | 0 | 8.4645 | 25.8 | 962.986 | 66.8376 | -0.25125
2019-08-15 08:30:00 | 0 | 224.158 | 1.6383 | 234.829 | 0 | 211.218 | 0 | 36.8002 | 26.4 | 962.69 | 63.0891 | -0.25125
2019-08-15 08:45:00 | 0 | 249.879 | 1.3827 | 302.082 | 0 | 274.149 | 0 | 56.2257 | 25.5 | 962.986 | 70.2325 | -0.25125
2019-08-15 09:00:00 | 0 | 228.791 | 2.1497 | 277.176 | 0 | 261.184 | 0 | 57.1249 | 25.51 | 963.135 | 73.9101 | -0.25125
2019-08-15 09:15:00 | 0 | 257.293 | 2.661 | 294.734 | 0 | 263.762 | 0 | 98.0048 | 25.19 | 963.283 | 78.0654 | -0.25125
2019-08-15 09:30:00 | 0 | 257.147 | 2.4053 | 298.382 | 0 | 251.165 | 0 | 89.0555 | 25.55 | 963.283 | 73.2289 | -0.25125
2019-08-15 09:45:00 | 0 | 258.46 | 2.661 | 310.833 | 0 | 264.005 | 0 | 62.6452 | 25.97 | 963.283 | 69.4823 | -0.25125
2019-08-15 10:00:00 | 0 | 258.825 | 2.661 | 320.074 | 0 | 264.71 | 0 | 66.439 | 25.94 | 962.838 | 65.327 | -0.26972
2019-08-15 10:15:00 | 0 | 270.012 | 2.1497 | 330.483 | 0 | 292.361 | 0 | 88.3259 | 26.47 | 963.283 | 62.3978 | -0.26972
2019-08-15 10:30:00 | 0 | 238.665 | 2.9167 | 299.452 | 0 | 260.26 | 0 | 62.7912 | 26.92 | 963.135 | 59.2984 | -0.25125
2019-08-15 10:45:00 | 0 | 256.028 | 2.1497 | 303.44 | 0 | 263.616 | 0 | 65.4176 | 27.2 | 962.838 | 57.5613 | -0.25125
2019-08-15 11:00:00 | 0 | 239.662 | 3.1723 | 282.137 | 0 | 241.34 | 0 | 50.4858 | 27.35 | 962.986 | 54.6662 | -0.25125
2019-08-15 11:15:00 | 0 | 265.464 | 1.6383 | 310.493 | 0 | 275.094 | 0 | 134.653 | 27.75 | 962.69 | 53.985 | -0.25125
2019-08-15 11:30:00 | 0 | 333.07 | 0.37567 | 319.491 | 0 | 262.254 | 0 | 115.952 | 27.87 | 962.542 | 55.1431 | -0.25125
2019-08-15 11:45:00 | 0 | 330.468 | 2.661 | 18.2292 | 0 | 331.125 | 0 | 162.061 | 28.45 | 962.542 | 52.0095 | -0.25125
2019-08-15 12:00:00 | 0 | 330.979 | 3.9393 | 11.5658 | 0 | 304.374 | 0 | 157.586 | 28.61 | 962.542 | 54.564 | -0.25125
2019-08-15 12:15:00 | 0 | 303.888 | 3.9393 | 34.1337 | 0 | 287.886 | 0 | 145.135 | 28.31 | 962.394 | 55.9946 | -0.25125
2019-08-15 12:30:00 | 0 | 292.82 | 4.195 | 334.886 | 0 | 293.015 | 0 | 120.946 | 28.33 | 962.245 | 50.1059 | -0.25125
2019-08-15 12:45:00 | 0 | 313.894 | 4.962 | 9.5158 | 0 | 303.191 | 0 | 172.661 | 28.56 | 962.394 | 51.0355 | -0.25125
2019-08-15 13:00:00 | 0 | 306.764 | 2.9167 | 10.6521 | 0 | 285.892 | 0 | 142.849 | 28.84 | 962.097 | 50.3237 | -0.28081
2019-08-15 13:15:00 | 0 | 263.122 | 0 | 325.055 | 0 | 293.239 | 0 | 97.5759 | 28.73 | 961.801 | 48.9608 | -0.26972
2019-08-15 13:30:00 | 0 | 326.178 | 2.1497 | 8.7122 | 0 | 304.964 | 0 | 129.42 | 28.87 | 961.801 | 49.2675 | -0.25125
2019-08-15 13:45:00 | 0 | 268.766 | 3.6837 | 315.738 | 0 | 280.005 | 0 | 134.553 | 29.14 | 962.097 | 46.9847 | -0.25125
2019-08-15 14:00:00 | 0 | 281.343 | 3.428 | 326.734 | 0 | 280.005 | 0 | 115.7 | 29.1 | 962.542 | 47.3935 | -0.25125
2019-08-15 14:15:00 | 0 | 251.931 | 2.4053 | 298.49 | 0 | 284.821 | 0 | 89.2074 | 29.37 | 962.542 | 45.8944 | -0.25125
2019-08-15 14:30:00 | 0 | 298.597 | 0.75133 | 7.1571 | 0 | 291.981 | 0 | 152.12 | 29.53 | 962.69 | 44.7978 | -0.25125
2019-08-15 14:45:00 | 0 | 289.69 | 2.9167 | 323.387 | 0 | 282.492 | 0 | 114.008 | 29.5 | 962.542 | 42.9163 | -0.26972
2019-08-15 15:00:00 | 0 | 270.279 | 1.6383 | 317.156 | 0 | 258.168 | 0 | 91.1469 | 29.53 | 962.394 | 43.9033 | -0.25125
2019-08-15 15:15:00 | 0 | 297.468 | 3.428 | 334.909 | 0 | 297.176 | 0 | 125.29 | 29.54 | 962.394 | 48.297 | -0.25125
2019-08-15 15:30:00 | 0 | 306.222 | 1.894 | 17.1105 | 0 | 292.02 | 0 | 129.862 | 29.42 | 962.227 | 51.8392 | -0.25125
2019-08-15 15:45:00 | 0 | 253.669 | 1.3827 | 282.623 | 0 | 240.464 | 0 | 89.5418 | 29.42 | 962.385 | 49.0463 | -0.25125
2019-08-15 16:00:00 | 0 | 326.164 | 3.428 | 19.8541 | 0 | 273.319 | 0 | 140.076 | 29.58 | 962.38 | 48.3311 | -0.25125
2019-08-15 16:15:00 | 0 | 317.847 | 2.4053 | 1.5177 | 0 | 283.46 | 0 | 150.533 | 29.68 | 962.284 | 49.9319 | -0.25125
2019-08-15 16:30:00 | 0 | 279.374 | 1.3827 | 336.708 | 0 | 269.015 | 0 | 142.216 | 29.92 | 962.272 | 46.1512 | -0.25125
2019-08-15 16:45:00 | 0 | 257.196 | 0 | 9.2997 | 0 | 278.013 | 0 | 62.6696 | 29.84 | 962.176 | 44.6867 | -0.25125
2019-08-15 17:00:00 | 0 | 5.8363 | 0.75133 | 9.3756 | 0 | 277.901 | 0 | 198.845 | 30 | 962.47 | 48.2946 | -0.25125
2019-08-15 17:15:00 | 0 | 346.038 | 0 | 313.686 | 0 | 251.797 | 0 | 126.044 | 30.06 | 962.297 | 45.6996 | -0.25125
2019-08-15 17:30:00 | 0 | 356.899 | 0 | 316.112 | 0 | 252.066 | 0 | 172.712 | 29.76 | 962.441 | 47.3299 | -0.25125
2019-08-15 17:45:00 | 0 | 356.925 | 0 | 316.137 | 0 | 252.084 | 0 | 172.724 | 28.82 | 962.236 | 49.036 | -0.25125
2019-08-15 18:00:00 | 0 | 356.996 | 0 | 316.179 | 0 | 288.612 | 0 | 172.734 | 28.97 | 961.393 | 50.2037 | -0.25125
2019-08-15 18:15:00 | 0 | 189.322 | 0 | 316.183 | 0 | 288.518 | 0 | 31.2253 | 29.56 | 960.966 | 48.0245 | -0.25125
2019-08-15 18:30:00 | 0 | 180.154 | 1.6383 | 226.106 | 0 | 243.455 | 0 | 356.805 | 28.83 | 960.167 | 50.6131 | -0.26233
2019-08-15 18:45:00 | 0 | 167.529 | 3.6837 | 211.933 | 0 | 199.731 | 0 | 353.834 | 28 | 959.28 | 54.4346 | -0.33993
2019-08-15 19:00:00 | 0 | 170.435 | 3.428 | 212.323 | 0 | 149.173 | 0 | 350.601 | 27.27 | 958.242 | 62.9641 | 1.0161
2019-08-15 19:15:00 | 0 | 160.042 | 4.962 | 207.106 | 0 | 148.143 | 0.887 | 356.828 | 26.55 | 958.312 | 62.3677 | 5.2725
2019-08-15 19:30:00 | 0 | 177.378 | 7.0073 | 216.269 | 0 | 164.553 | 0 | 1.8495 | 27.01 | 958.386 | 58.3495 | 6.1667
2019-08-15 19:45:00 | 0 | 174.874 | 6.496 | 218.049 | 0 | 158.91 | 0 | 0.92474 | 26.92 | 958.238 | 56.987 | 9.2408
2019-08-15 20:00:00 | 0 | 178.232 | 6.496 | 218.292 | 0 | 168.741 | 0 | 6.7409 | 26.97 | 958.54 | 58.1459 | 10.9109
2019-08-15 20:15:00 | 19.2447 | 176.626 | 8.5413 | 219.363 | 0 | 175.142 | 14.4217 | 0.24335 | 26.94 | 958.319 | 52.8289 | 12.3149
2019-08-15 20:30:00 | 0 | 165.919 | 5.4733 | 199.043 | 0 | 158.326 | 5.729 | 344.784 | 27.02 | 958.65 | 54.908 | 16.734
2019-08-15 20:45:00 | 7.244 | 169.91 | 5.2177 | 208.874 | 0 | 159.47 | 3.428 | 327.408 | 26.67 | 958.255 | 56.3735 | 27.1202
2019-08-15 21:00:00 | 1.6487 | 176.628 | 7.263 | 222.505 | 0 | 125.596 | 3.0523 | 350.628 | 26.57 | 958.332 | 57.7375 | 30.948
2019-08-15 21:15:00 | 9.0313 | 168.501 | 8.5413 | 197.343 | 0 | 156.09 | 3.6837 | 356.763 | 26.27 | 958.064 | 61.2145 | 39.908
2019-08-15 21:30:00 | 1.3933 | 161.755 | 8.2857 | 199.34 | 0 | 158.128 | 0.37567 | 343.565 | 26.04 | 957.64 | 65.5849 | 42.524
2019-08-15 21:45:00 | 4.18 | 178.408 | 5.9847 | 221.739 | 0 | 173.905 | 2.0297 | 338.172 | 25.78 | 957.937 | 65.7915 | 30.2017
2019-08-15 22:00:00 | 2.648 | 170.133 | 7.0073 | 210.739 | 0 | 158.913 | 3.9393 | 343.285 | 25.94 | 958.085 | 67.7689 | 28.842
2019-08-15 22:15:00 | 0 | 169.646 | 5.729 | 222.081 | 0 | 152 | 0 | 0.73019 | 25.82 | 958.085 | 67.3939 | 21.6814
2019-08-15 22:30:00 | 0 | 167.042 | 5.729 | 193.409 | 0 | 153.096 | 0 | 354.189 | 25.86 | 958.666 | 67.1212 | 9.4884
2019-08-15 22:45:00 | 0 | 165.265 | 5.4733 | 207.185 | 0 | 150.735 | 0 | 355.138 | 25.88 | 958.677 | 66.7121 | 9.5807
2019-08-15 23:00:00 | 0.62733 | 160.13 | 7.0073 | 203.339 | 0 | 162.977 | 0.75133 | 348.493 | 25.74 | 958.382 | 67.1553 | 22.9265
2019-08-15 23:15:00 | 2.648 | 147.327 | 7.0073 | 195.94 | 0 | 156.552 | 2.661 | 339.025 | 25.41 | 958.233 | 67.7007 | 33.564
2019-08-15 23:30:00 | 0 | 141.242 | 5.4733 | 194.139 | 0 | 167.359 | 0.63133 | 341.629 | 25.21 | 958.382 | 67.5643 | 17.4175
2019-08-15 23:45:00 | 0 | 138.662 | 5.729 | 192.289 | 0 | 145.404 | 0 | 328.73 | 25.45 | 958.53 | 67.9734 | 17.6022