## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-08-16 00:00:00 | 6.7333 | 158.645 | 7.7743 | 206.065 | 0 | 155.773 | 1.007 | 348.347 | 25.37 | 958.382 | 67.2234 | 22.0102
2019-08-16 00:15:00 | 10.308 | 155.773 | 7.0073 | 207.915 | 0 | 147.4 | 5.9847 | 343.066 | 25.31 | 958.085 | 67.2575 | 30.6524
2019-08-16 00:30:00 | 0.372 | 132.31 | 5.4733 | 208.719 | 0 | 149.664 | 5.729 | 336.981 | 25.31 | 957.64 | 68.1098 | 37.3327
2019-08-16 00:45:00 | 3.1587 | 152.122 | 4.962 | 197.328 | 0 | 154.386 | 5.4733 | 339.342 | 25.26 | 957.343 | 69.7461 | 46.4405
2019-08-16 01:00:00 | 0 | 156.625 | 5.9847 | 198.18 | 0 | 153.972 | 5.729 | 334.742 | 25.5 | 958.085 | 68.3484 | 29.2225
2019-08-16 01:15:00 | 6.478 | 150.467 | 8.03 | 187.543 | 0 | 151.392 | 5.9847 | 338.417 | 25.38 | 957.788 | 68.7234 | 40.5251
2019-08-16 01:30:00 | 0.372 | 129.194 | 4.962 | 200.492 | 0 | 142.289 | 5.729 | 341.143 | 25.64 | 957.937 | 68.2462 | 41.6779
2019-08-16 01:45:00 | 6.2227 | 151.1 | 7.5187 | 195.186 | 0 | 157.452 | 4.962 | 333.476 | 25.49 | 958.085 | 68.6552 | 39.945
2019-08-16 02:00:00 | 5.712 | 142.07 | 6.2403 | 199.007 | 0 | 152.706 | 1.2627 | 331.261 | 25.63 | 958.233 | 68.9279 | 37.2219
2019-08-16 02:15:00 | 8.01 | 147.108 | 4.7063 | 213.465 | 0 | 182.352 | 5.9847 | 330.166 | 25.59 | 958.53 | 69.5415 | 29.7952
2019-08-16 02:30:00 | 3.6693 | 3.7726 | 8.2857 | 44.1103 | 0 | 21.4918 | 5.4733 | 186.076 | 25.89 | 959.865 | 69.8824 | 16.5114
2019-08-16 02:45:00 | 4.4353 | 21.5892 | 12.632 | 76.6036 | 0 | 264.887 | 2.9167 | 196.712 | 23.03 | 959.864 | 85.3588 | 64.0923
2019-08-16 03:00:00 | 4.946 | 22.4203 | 9.8197 | 66.0295 | 0 | 14.8738 | 2.661 | 196.597 | 21.89 | 959.568 | 88.1681 | 55.5661
2019-08-16 03:15:00 | 0.88267 | 49.4672 | 7.0073 | 96.3404 | 0 | 23.5407 | 2.9167 | 226.108 | 22.06 | 959.272 | 86.3294 | 47.6531
2019-08-16 03:30:00 | 2.648 | 51.4222 | 9.3083 | 120.729 | 0 | 46.504 | 3.1723 | 234.711 | 22.22 | 958.382 | 84.7734 | 49.3623
2019-08-16 03:45:00 | 0 | 81.2974 | 6.7517 | 125.941 | 0 | 46.1635 | 0 | 254.946 | 22.67 | 957.788 | 81.9096 | 43.0006
2019-08-16 04:00:00 | 0 | 70.0974 | 6.496 | 121.802 | 0 | 58.2887 | 0 | 254.386 | 23.38 | 957.492 | 78.3632 | 43.9945
2019-08-16 04:15:00 | 0.62733 | 101.699 | 6.7517 | 154.279 | 0 | 90.0367 | 1.1427 | 276.27 | 23.77 | 957.343 | 70.587 | 41.0867
2019-08-16 04:30:00 | 0.372 | 106.163 | 8.2857 | 171.659 | 0 | 140.853 | 0.75133 | 288.986 | 25.89 | 957.492 | 61.9847 | 60.9431
2019-08-16 04:45:00 | 3.1587 | 133.497 | 11.098 | 187.524 | 0 | 128.531 | 0 | 298.761 | 26.11 | 957.64 | 66.0737 | 73.3263
2019-08-16 05:00:00 | 5.2013 | 130.947 | 10.5867 | 196.719 | 0 | 148.35 | 5.4733 | 303.952 | 25.4 | 957.64 | 66.1327 | 78.8702
2019-08-16 05:15:00 | 0 | 123.304 | 7.0073 | 181.215 | 0 | 133.746 | 0 | 296.188 | 25 | 957.788 | 70.2915 | 78.0795
2019-08-16 05:30:00 | 3.1587 | 108.53 | 11.865 | 169.508 | 0 | 119.361 | 2.4053 | 295.141 | 24.95 | 957.343 | 71.4505 | 74.6063
2019-08-16 05:45:00 | 1.7653 | 123.961 | 10.5867 | 180.972 | 0 | 133.186 | 3.1723 | 300.447 | 24.41 | 957.64 | 70.7687 | 48.6252
2019-08-16 06:00:00 | 0.88267 | 112.938 | 6.2403 | 161.601 | 0 | 94.7316 | 0.63133 | 298.117 | 24.6 | 958.53 | 69.8499 | 23.6913
2019-08-16 06:15:00 | 5.712 | 123.231 | 8.797 | 169.995 | 0 | 122.404 | 3.8193 | 307.896 | 24.77 | 957.937 | 68.7236 | 38.4892
2019-08-16 06:30:00 | 0 | 124.886 | 6.2403 | 150.766 | 0 | 105.341 | 0.37567 | 311.424 | 24.97 | 958.53 | 70.2915 | 37.7023
2019-08-16 06:45:00 | 3.5527 | 105.561 | 5.9847 | 134.361 | 0 | 100.936 | 1.007 | 291.661 | 24.4 | 958.678 | 71.6551 | 35.6737
2019-08-16 07:00:00 | 3.414 | 116.757 | 9.8197 | 170.627 | 0 | 129.997 | 0.887 | 309.234 | 24.18 | 958.827 | 72.6777 | 38.2343
2019-08-16 07:15:00 | 2.9033 | 153.096 | 7.0073 | 177.175 | 0 | 106.315 | 0.887 | 325.03 | 24.35 | 958.975 | 69.6779 | 30.0834
2019-08-16 07:30:00 | 5.9673 | 122.647 | 9.8197 | 199.64 | 0 | 141.242 | 1.5183 | 318.118 | 24.88 | 958.678 | 66.0644 | 34.0528
2019-08-16 07:45:00 | 0 | 150.637 | 5.9847 | 188.371 | 0 | 106.51 | 0 | 314.321 | 24.68 | 959.272 | 68.0416 | 28.0587
2019-08-16 08:00:00 | 0 | 112.546 | 6.2403 | 161.086 | 0 | 111.767 | 0 | 300.666 | 24.45 | 958.827 | 67.1553 | 32.4555
2019-08-16 08:15:00 | 5.2013 | 158.864 | 8.5413 | 201.49 | 0 | 125.081 | 3.1723 | 303.027 | 24.51 | 958.967 | 66.678 | 24.9402
2019-08-16 08:30:00 | 0 | 133.422 | 3.9393 | 174.609 | 0 | 156.057 | 0 | 296.343 | 24.7 | 959.865 | 68.1062 | 8.2986
2019-08-16 08:45:00 | 0 | 105.348 | 2.9167 | 157.94 | 0 | 129.124 | 0 | 306.091 | 24.67 | 959.735 | 70.2795 | 4.1161
2019-08-16 09:00:00 | 0 | 123.234 | 2.1497 | 175.462 | 0 | 135.11 | 0 | 296.673 | 24.72 | 959.753 | 68.8139 | 2.3758
2019-08-16 09:15:00 | 0 | 224.758 | 1.894 | 272.604 | 0 | 205.922 | 0 | 61.7135 | 26.19 | 960.314 | 72.221 | -0.20322
2019-08-16 09:30:00 | 0 | 174.675 | 0 | 267.67 | 0 | 259.859 | 0 | 319.009 | 25.65 | 960.397 | 71.4266 | -0.11824
2019-08-16 09:45:00 | 0 | 37.7557 | 1.127 | 126.449 | 0 | 356.976 | 0 | 208.921 | 25.92 | 960.467 | 75.9115 | -0.23647
2019-08-16 10:00:00 | 0 | 343.255 | 0 | 9.3934 | 0 | 316.544 | 0 | 191.333 | 25.3 | 960.615 | 76.7292 | -0.23278
2019-08-16 10:15:00 | 0 | 324.886 | 2.1497 | 55.9859 | 0 | 320.581 | 0 | 83.5748 | 25.71 | 960.911 | 72.8336 | -0.23647
2019-08-16 10:30:00 | 0 | 302.718 | 3.6837 | 4.0793 | 0 | 288.708 | 0 | 131.001 | 25.16 | 960.467 | 80.8706 | 0.89046
2019-08-16 10:45:00 | 0 | 356.253 | 4.7063 | 19.8541 | 0 | 307.166 | 0 | 150.981 | 24.74 | 960.17 | 82.2391 | 5.1395
2019-08-16 11:00:00 | 0 | 0.14596 | 3.6837 | 32.1816 | 0 | 24.7406 | 0.75133 | 186.589 | 25.08 | 960.615 | 78.5008 | 6.6175
2019-08-16 11:15:00 | 0 | 46.6593 | 2.4053 | 19.7567 | 0 | 309.732 | 0 | 201.063 | 24.83 | 960.022 | 79.6593 | 7.6372
2019-08-16 11:30:00 | 0 | 24.619 | 4.195 | 88.888 | 0 | 346.734 | 0.37567 | 200.601 | 24.48 | 960.022 | 79.1823 | 12.6881
2019-08-16 11:45:00 | 0 | 28.1708 | 4.962 | 68.5019 | 0 | 6.7873 | 0 | 220.695 | 24.4 | 960.022 | 77.4106 | 14.5614
2019-08-16 12:00:00 | 0 | 31.5766 | 6.7517 | 90.2017 | 0 | 42.1345 | 0 | 164.962 | 24.18 | 960.022 | 78.5008 | 14.9087
2019-08-16 12:15:00 | 0 | 9.9014 | 4.7063 | 80.79 | 0 | 39.1434 | 0 | 216.152 | 23.59 | 960.041 | 77.1743 | 7.0572
2019-08-16 12:30:00 | 0 | 340.925 | 5.729 | 59.0869 | 0 | 23.5557 | 0 | 157.103 | 23.98 | 960.141 | 74.7756 | 11.4725
2019-08-16 12:45:00 | 0 | 28.3257 | 3.1723 | 69.114 | 0 | 25.2108 | 0 | 207.551 | 23.76 | 960.166 | 75.3561 | 4.504
2019-08-16 13:00:00 | 0 | 342.475 | 3.6837 | 1.6328 | 0 | 308.019 | 0 | 211.389 | 24.92 | 960.759 | 73.5811 | 8.7937
2019-08-16 13:15:00 | 0 | 3.2851 | 4.7063 | 55.7276 | 0 | 306.828 | 0 | 218.496 | 25.06 | 960.759 | 72.6955 | 18.1712
2019-08-16 13:30:00 | 0 | 15.2339 | 3.9393 | 52.227 | 0 | 20.3199 | 0 | 181.541 | 24.74 | 960.907 | 75.3234 | 24.0461
2019-08-16 13:45:00 | 3.042 | 0.146 | 6.2403 | 56.6031 | 0 | 10.2202 | 1.6383 | 184.256 | 24.09 | 960.752 | 73.5129 | 23.3847
2019-08-16 14:00:00 | 2.5313 | 0.12167 | 6.7517 | 66.1417 | 0 | 16.7417 | 0.37567 | 179.778 | 23.37 | 960.61 | 72.7288 | 28.853
2019-08-16 14:15:00 | 5.9673 | 356.797 | 9.3083 | 71.4928 | 0 | 33.2391 | 0 | 176.781 | 23.55 | 960.61 | 65.5019 | 35.8178
2019-08-16 14:30:00 | 4.946 | 354.488 | 5.9847 | 64.3938 | 0 | 11.2914 | 0 | 179.057 | 23.46 | 960.61 | 65.7795 | 37.2647
2019-08-16 14:45:00 | 2.7867 | 354.931 | 6.7517 | 17.6225 | 0 | 22.7292 | 0.37567 | 177.283 | 23.42 | 960.61 | 66.3599 | 40.6581
2019-08-16 15:00:00 | 1.6267 | 350.892 | 5.9847 | 97.0288 | 0 | 33.3395 | 4.4507 | 153.556 | 23.53 | 960.759 | 68.0981 | 37.9387
2019-08-16 15:15:00 | 8.01 | 0 | 7.7743 | 72.3527 | 0 | 6.2299 | 2.4053 | 176.991 | 23.87 | 960.759 | 67.8255 | 32.6366
2019-08-16 15:30:00 | 4.3187 | 354.688 | 6.2403 | 56.6808 | 0 | 18.4462 | 0.63133 | 186.579 | 23.76 | 960.907 | 69.0525 | 26.6129
2019-08-16 15:45:00 | 0 | 0.12167 | 5.9847 | 61.3752 | 0 | 11.7293 | 0.37567 | 178.665 | 23.95 | 961.5 | 70.482 | 19.8007
2019-08-16 16:00:00 | 4.6907 | 0.12167 | 6.7517 | 59.6194 | 0 | 356.949 | 0.887 | 186.979 | 24.11 | 961.352 | 66.389 | 18.5851
2019-08-16 16:15:00 | 0 | 4.4774 | 3.9393 | 82.4942 | 0 | 40.8079 | 0 | 186.738 | 24.29 | 961.797 | 70.5818 | 8.9157
2019-08-16 16:30:00 | 0 | 0.14601 | 3.1723 | 76.2666 | 0 | 347.202 | 0 | 182.97 | 24.41 | 961.797 | 72.4577 | 12.3334
2019-08-16 16:45:00 | 0 | 80.6072 | 3.428 | 34.7925 | 0 | 3.1143 | 0 | 125.935 | 24.4 | 961.978 | 72.651 | 8.9009
2019-08-16 17:00:00 | 0 | 22.0938 | 4.195 | 69.3727 | 0 | 20.0498 | 0 | 203.589 | 24.37 | 961.65 | 73.2355 | 5.1137
2019-08-16 17:15:00 | 0 | 19.6602 | 3.9393 | 70.7096 | 0 | 356.999 | 0.63133 | 179.594 | 23.96 | 961.694 | 77.0853 | 7.2123
2019-08-16 17:30:00 | 0 | 354.194 | 4.7063 | 60.8647 | 0 | 40.3959 | 1.007 | 179.908 | 23.94 | 961.201 | 76.0038 | 10.9552
2019-08-16 17:45:00 | 0 | 79.0112 | 3.6837 | 41.783 | 0 | 6.3267 | 0.37567 | 159.288 | 23.96 | 961.352 | 76.6133 | 12.2595
2019-08-16 18:00:00 | 0 | 0.65705 | 4.962 | 69.1885 | 0 | 30.273 | 0.37567 | 140.414 | 23.75 | 961.352 | 79.0724 | 15.8546
2019-08-16 18:15:00 | 0 | 345.757 | 2.661 | 57.9705 | 0 | 28.7157 | 0 | 161.83 | 23.55 | 961.352 | 76.6189 | 21.807
2019-08-16 18:30:00 | 7.7547 | 354.031 | 7.0073 | 68.021 | 0 | 0.048671 | 5.2177 | 155.235 | 23.49 | 960.965 | 70.7566 | 21.3562
2019-08-16 18:45:00 | 0 | 331.818 | 8.03 | 18.9673 | 0 | 341.919 | 2.0297 | 144.113 | 23.46 | 961.198 | 68.8592 | 16.5751
2019-08-16 19:00:00 | 0 | 19.8614 | 3.9393 | 81.7412 | 0 | 20.543 | 0 | 194.501 | 23.3 | 960.903 | 70.9746 | 15.825
2019-08-16 19:15:00 | 4.6907 | 10.9301 | 6.7517 | 69.3885 | 0 | 0.048687 | 1.3827 | 199.663 | 22.57 | 961.052 | 72.6547 | 18.6368
2019-08-16 19:30:00 | 11.5847 | 5.3556 | 7.5187 | 66.274 | 0 | 15.1418 | 5.9847 | 197.719 | 22.95 | 961.2 | 69.2806 | 18.2636
2019-08-16 19:45:00 | 9.542 | 20.5467 | 7.263 | 69.0034 | 0 | 31.9886 | 6.496 | 200.623 | 22.94 | 961.497 | 67.7144 | 20.3327
2019-08-16 20:00:00 | 6.2227 | 19.3794 | 7.5187 | 78.5523 | 0 | 355.962 | 0.63133 | 200.732 | 23.07 | 961.645 | 63.2858 | 15.5331
2019-08-16 20:15:00 | 12.3507 | 21.0842 | 6.496 | 65.0916 | 0 | 23.2024 | 7.5187 | 196.137 | 23.11 | 962.09 | 60.287 | 17.3251
2019-08-16 20:30:00 | 0 | 14.6817 | 5.2177 | 70.7684 | 0 | 8.4974 | 5.2177 | 199.652 | 22.99 | 962.238 | 59.8123 | 16.9815
2019-08-16 20:45:00 | 7.7547 | 19.1374 | 7.5187 | 78.8035 | 0 | 22.9356 | 4.7063 | 203.353 | 23.09 | 962.238 | 58.653 | 19.3056
2019-08-16 21:00:00 | 0 | 11.2487 | 5.9847 | 67.5061 | 0 | 28.8278 | 0 | 201.697 | 23.1 | 962.238 | 56.5388 | 12.7103
2019-08-16 21:15:00 | 0 | 0.097391 | 4.4507 | 67.2139 | 0 | 24.1774 | 2.2853 | 197.217 | 23.3 | 962.683 | 55.1066 | 11.8346
2019-08-16 21:30:00 | 0 | 17.7006 | 5.729 | 69.404 | 0 | 10.932 | 0.63133 | 196.679 | 23.22 | 962.386 | 55.3786 | 8.9415
2019-08-16 21:45:00 | 0 | 12.953 | 4.195 | 87.1304 | 0 | 36.1322 | 0 | 197.948 | 23.31 | 962.832 | 54.5609 | 4.2638
2019-08-16 22:00:00 | 0 | 18.1633 | 5.2177 | 75.7835 | 0 | 15.5094 | 0.37567 | 203.254 | 23.38 | 962.832 | 55.3107 | 4.8107
2019-08-16 22:15:00 | 0 | 31.0191 | 3.1723 | 86.0591 | 0 | 47.1374 | 0 | 212.216 | 23.36 | 963.128 | 53.9471 | 1.4114
2019-08-16 22:30:00 | 0 | 16.4589 | 4.195 | 70.2564 | 0 | 27.3667 | 0 | 197.313 | 23.47 | 963.128 | 53.8101 | 1.0161
2019-08-16 22:45:00 | 0 | 22.5947 | 2.9167 | 84.3785 | 0 | 37.9824 | 0 | 202.597 | 23.61 | 963.425 | 53.6058 | 0.39904
2019-08-16 23:00:00 | 0 | 30.1913 | 3.6837 | 78.9495 | 0 | 18.8452 | 0 | 207.443 | 23.59 | 963.276 | 53.5379 | 1.404
2019-08-16 23:15:00 | 0 | 19.7704 | 3.1723 | 78.56 | 0 | 28.1217 | 0 | 201.113 | 23.55 | 963.276 | 52.7195 | 0.93849
2019-08-16 23:30:00 | 0 | 16.9461 | 4.195 | 73.8365 | 0 | 16.167 | 0 | 201.113 | 23.57 | 963.128 | 52.7195 | 0.97544
2019-08-16 23:45:00 | 0 | 4.3095 | 3.1723 | 61.1259 | 0 | 6.3304 | 0 | 187.378 | 23.71 | 963.276 | 52.7188 | 1.0013