## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-08-17 00:00:00 | 0 | 0.24347 | 3.1723 | 50.3152 | 0 | 354.912 | 0 | 177.468 | 23.72 | 963.276 | 52.2411 | 0.29189
2019-08-17 00:15:00 | 0 | 351.773 | 1.894 | 56.013 | 0 | 7.7912 | 0 | 171.942 | 23.69 | 963.425 | 53.1281 | -0.10346
2019-08-17 00:30:00 | 0 | 337.727 | 3.428 | 33.9507 | 0 | 346.638 | 0 | 159.004 | 23.87 | 963.128 | 52.4427 | -0.018474
2019-08-17 00:45:00 | 0 | 308.122 | 1.6383 | 0.71803 | 0 | 313.235 | 0 | 139.648 | 23.63 | 963.425 | 54.5567 | -0.25125
2019-08-17 01:00:00 | 0.372 | 249.857 | 1.3827 | 302 | 0 | 256.042 | 0 | 78.5947 | 22.88 | 963.425 | 56.1296 | 0.53575
2019-08-17 01:15:00 | 0 | 220.494 | 3.1723 | 268.132 | 0 | 199.457 | 0 | 48.0139 | 22.24 | 963.276 | 59.8806 | 0.6466
2019-08-17 01:30:00 | 0 | 233.544 | 2.661 | 268.424 | 0 | 201.064 | 0 | 71.5826 | 21.83 | 962.99 | 60.4944 | 0.41382
2019-08-17 01:45:00 | 0 | 252.195 | 2.9167 | 291.652 | 0 | 233.374 | 0 | 84.9252 | 22.67 | 963.399 | 58.2438 | 1.6036
2019-08-17 02:00:00 | 0 | 250.272 | 3.9393 | 294.209 | 0 | 236.466 | 0 | 80.8105 | 21.94 | 963.092 | 65.8825 | 3.7761
2019-08-17 02:15:00 | 0 | 249.884 | 5.2177 | 285.374 | 0 | 237.248 | 0 | 75.2843 | 20.94 | 963.042 | 74.7152 | 6.8207
2019-08-17 02:30:00 | 0 | 245.641 | 5.4733 | 280.866 | 0 | 223.896 | 0 | 68.6177 | 20.68 | 963.112 | 76.0504 | 7.3786
2019-08-17 02:45:00 | 0 | 244.271 | 5.2177 | 293.21 | 0 | 234.433 | 0 | 71.5936 | 20.74 | 962.977 | 73.2935 | 5.0435
2019-08-17 03:00:00 | 0 | 255.16 | 4.7063 | 296.04 | 0 | 246.929 | 0 | 74.9067 | 21.03 | 962.977 | 72.5102 | 6.9168
2019-08-17 03:15:00 | 0 | 256.353 | 4.7063 | 309.068 | 0 | 247.367 | 0 | 78.1942 | 20.96 | 963.422 | 71.6235 | 8.7014
2019-08-17 03:30:00 | 0 | 257.839 | 4.4507 | 303.078 | 0 | 241.937 | 0 | 80.0693 | 21.11 | 963.274 | 71.6917 | 9.614
2019-08-17 03:45:00 | 0 | 261.004 | 4.195 | 305.683 | 0 | 257.546 | 0 | 82.8698 | 21.14 | 963.422 | 69.6453 | 10.2901
2019-08-17 04:00:00 | 0 | 256.719 | 4.195 | 297.014 | 0 | 252.457 | 0 | 87.3505 | 21.16 | 963.422 | 66.1664 | 11.6425
2019-08-17 04:15:00 | 0 | 252.92 | 4.7063 | 308.508 | 0 | 265.631 | 0 | 82.4801 | 21.45 | 963.719 | 65.8936 | 10.7853
2019-08-17 04:30:00 | 0 | 268.651 | 4.962 | 308.192 | 0 | 253.723 | 0 | 94.8753 | 21.56 | 963.57 | 64.3247 | 10.0648
2019-08-17 04:45:00 | 0 | 268.286 | 4.195 | 312.404 | 0 | 263.781 | 0 | 91.1251 | 21.51 | 963.57 | 63.5061 | 9.9613
2019-08-17 05:00:00 | 0 | 272.936 | 5.2177 | 318.004 | 0 | 268.845 | 0 | 102.156 | 21.45 | 963.867 | 63.0285 | 8.0363
2019-08-17 05:15:00 | 0 | 285.551 | 3.6837 | 324.58 | 0 | 292.516 | 0 | 112.116 | 21.46 | 963.719 | 63.779 | 6.8761
2019-08-17 05:30:00 | 0 | 272.179 | 6.2403 | 322.653 | 0 | 284.72 | 0 | 103.446 | 21.33 | 964.016 | 62.6186 | 5.9265
2019-08-17 05:45:00 | 0 | 284.427 | 3.428 | 320.289 | 0 | 281.651 | 0 | 107.342 | 21.42 | 964.164 | 62.5502 | 4.0865
2019-08-17 06:00:00 | 0 | 278.395 | 3.6837 | 329.029 | 0 | 270.117 | 0 | 105.524 | 21.76 | 964.452 | 58.3125 | 2.8672
2019-08-17 06:15:00 | 0 | 277.59 | 4.4507 | 336.866 | 0 | 300.89 | 0 | 111.976 | 22.22 | 964.464 | 55.7545 | 2.1172
2019-08-17 06:30:00 | 0 | 276.788 | 2.9167 | 318.305 | 0 | 265.59 | 0 | 113.393 | 22.56 | 964.76 | 54.7223 | 1.5814
2019-08-17 06:45:00 | 0 | 273.044 | 3.6837 | 318.055 | 0 | 276.597 | 0 | 103.152 | 22.83 | 964.76 | 53.9294 | 0.4323
2019-08-17 07:00:00 | 0 | 279.256 | 3.6837 | 11.6284 | 0 | 288.723 | 0 | 103.842 | 23.03 | 965.118 | 54.3982 | 0.27342
2019-08-17 07:15:00 | 0 | 302.245 | 2.9167 | 304.099 | 0 | 238.049 | 0 | 100.189 | 23.05 | 965.213 | 53.9877 | 0.33254
2019-08-17 07:30:00 | 0 | 268.198 | 2.4053 | 307.259 | 0 | 269.634 | 0 | 95.0045 | 22.92 | 965.059 | 53.3738 | -0.048033
2019-08-17 07:45:00 | 0 | 285.445 | 1.894 | 327.109 | 0 | 283.012 | 0 | 96.8518 | 23.29 | 965.504 | 54.4291 | 0.17366
2019-08-17 08:00:00 | 0 | 261.456 | 3.428 | 324.626 | 0 | 270.922 | 0 | 102.368 | 23.46 | 965.737 | 55.1067 | 0.17735
2019-08-17 08:15:00 | 0 | 285.6 | 4.962 | 330.529 | 0 | 279.665 | 0 | 110.445 | 24.08 | 965.952 | 52.0614 | 1.7107
2019-08-17 08:30:00 | 0 | 288.422 | 3.1723 | 336.854 | 0 | 281.513 | 0 | 105.823 | 23.61 | 965.803 | 53.9694 | 0.98283
2019-08-17 08:45:00 | 0 | 285.016 | 4.962 | 324.52 | 0 | 285.916 | 0 | 105.969 | 23.93 | 965.951 | 52.2658 | 3.6653
2019-08-17 09:00:00 | 0 | 293.506 | 4.195 | 34.9792 | 0 | 293.969 | 0 | 121.465 | 23.76 | 965.951 | 53.3561 | 2.6233
2019-08-17 09:15:00 | 0 | 292.46 | 4.7063 | 333.911 | 0 | 283.776 | 0 | 124.409 | 24.13 | 965.951 | 55.2641 | 2.2649
2019-08-17 09:30:00 | 0 | 300.732 | 3.1723 | 10.6584 | 0 | 278.886 | 0 | 132.631 | 24.37 | 965.951 | 53.0494 | 2.3388
2019-08-17 09:45:00 | 0 | 330.848 | 3.6837 | 18.1025 | 0 | 293.02 | 0 | 141.486 | 24.79 | 966.099 | 52.2317 | 2.6049
2019-08-17 10:00:00 | 0 | 315.012 | 3.1723 | 18.3458 | 0 | 290.247 | 0 | 122.998 | 25.03 | 966.396 | 54.7189 | 2.1947
2019-08-17 10:15:00 | 0 | 302.807 | 3.1723 | 17.4701 | 0 | 280.232 | 0 | 129.899 | 25.43 | 966.248 | 49.0262 | 0.91263
2019-08-17 10:30:00 | 0 | 297.233 | 5.2177 | 0.33441 | 0 | 296.187 | 0 | 115.026 | 25.37 | 966.396 | 51.0316 | 1.5445
2019-08-17 10:45:00 | 0 | 305.302 | 3.9393 | 19.8541 | 0 | 303.162 | 0 | 131.344 | 25.67 | 966.396 | 49.3955 | 3.1
2019-08-17 11:00:00 | 0 | 309.105 | 4.962 | 336.828 | 0 | 286.97 | 0 | 130.691 | 25.71 | 966.396 | 45.4109 | 4.2454
2019-08-17 11:15:00 | 0 | 301.034 | 4.7063 | 34.9236 | 0 | 289.018 | 0 | 119.163 | 26.35 | 966.544 | 42.0049 | 6.0041
2019-08-17 11:30:00 | 0 | 300.21 | 6.2403 | 336.837 | 0 | 283.646 | 0 | 120.284 | 26.22 | 966.692 | 41.4262 | 6.4216
2019-08-17 11:45:00 | 0 | 29.1415 | 3.9393 | 12.7417 | 0 | 332.501 | 0 | 147.873 | 26.24 | 966.248 | 46.7084 | 7.3823
2019-08-17 12:00:00 | 0 | 306.324 | 5.9847 | 11.8262 | 0 | 299.342 | 0 | 126.354 | 26.84 | 966.396 | 38.9775 | 7.5338
2019-08-17 12:15:00 | 0 | 301.364 | 4.962 | 19.1242 | 0 | 309.805 | 0 | 127.304 | 27.39 | 966.248 | 42.6235 | 6.6951
2019-08-17 12:30:00 | 0 | 300.002 | 5.9847 | 19.4161 | 0 | 288.471 | 0 | 126.598 | 26.32 | 966.248 | 36.0136 | 7.205
2019-08-17 12:45:00 | 0 | 22.4328 | 4.4507 | 79.1228 | 0 | 16.9827 | 0 | 196.859 | 26.62 | 965.821 | 40.8236 | 6.8613
2019-08-17 13:00:00 | 0 | 326.942 | 3.1723 | 319.645 | 0 | 356.12 | 0 | 128.781 | 27.41 | 965.948 | 40.4903 | 6.8946
2019-08-17 13:15:00 | 0 | 322.558 | 3.9393 | 8.2284 | 0 | 305.572 | 0 | 127.952 | 26.94 | 965.652 | 40.6943 | 6.8465
2019-08-17 13:30:00 | 0 | 271.013 | 3.6837 | 313.188 | 0 | 253.079 | 0 | 96.6322 | 27.28 | 965.8 | 38.4444 | 5.509
2019-08-17 13:45:00 | 0 | 321.218 | 4.7063 | 15.1574 | 0 | 277.415 | 0 | 143.575 | 27.16 | 965.949 | 41.0349 | 6.0337
2019-08-17 14:00:00 | 0 | 285.404 | 4.962 | 19.854 | 0 | 300.127 | 0 | 108.438 | 27.36 | 966.542 | 35.4122 | 4.2269
2019-08-17 14:15:00 | 0 | 311.229 | 2.9167 | 334.613 | 0 | 256.41 | 0 | 131.295 | 27.36 | 966.767 | 37.7247 | 3.9646
2019-08-17 14:30:00 | 0 | 289.079 | 5.729 | 333.522 | 0 | 279.081 | 0 | 116.186 | 27.72 | 966.696 | 36.4566 | 5.6125
2019-08-17 14:45:00 | 0 | 316.86 | 3.9393 | 7.9581 | 0 | 291.925 | 0 | 127.474 | 27.36 | 966.544 | 37.0017 | 4.4523
2019-08-17 15:00:00 | 0 | 331.627 | 2.1497 | 24.9565 | 0 | 348.826 | 0 | 139.297 | 27.88 | 966.989 | 36.5588 | 5.0508
2019-08-17 15:15:00 | 0 | 307.153 | 3.6837 | 15.2813 | 0 | 309.536 | 0 | 130.372 | 27.84 | 966.989 | 36.0419 | 5.8194
2019-08-17 15:30:00 | 0 | 284.53 | 4.962 | 331.126 | 0 | 265.436 | 0 | 109.259 | 27.55 | 966.989 | 36.757 | 5.4573
2019-08-17 15:45:00 | 0 | 295.956 | 4.7063 | 19.8541 | 0 | 300.844 | 0 | 106.143 | 27.73 | 966.989 | 37.4034 | 4.0865
2019-08-17 16:00:00 | 0 | 312.882 | 2.661 | 5.1147 | 0 | 307.434 | 0 | 131.243 | 27.64 | 967.137 | 39.7878 | 2.7674
2019-08-17 16:15:00 | 0 | 302.658 | 2.661 | 336.846 | 0 | 269.775 | 0 | 126.326 | 27.19 | 967.285 | 39.7525 | 1.2599
2019-08-17 16:30:00 | 0 | 258.304 | 4.7063 | 299.547 | 0 | 253.536 | 0 | 92.8142 | 27.26 | 967.285 | 36.5858 | 0.32145
2019-08-17 16:45:00 | 0 | 277.909 | 2.9167 | 331.801 | 0 | 269.348 | 0 | 111.495 | 27.25 | 967.137 | 39.5497 | 0.5764
2019-08-17 17:00:00 | 0 | 291.875 | 3.9393 | 332.683 | 0 | 287.254 | 0 | 113.807 | 26.96 | 966.692 | 37.8811 | 0.35101
2019-08-17 17:15:00 | 0 | 287.334 | 3.1723 | 333.373 | 0 | 294.607 | 0 | 114.418 | 26.96 | 966.692 | 41.2888 | 0.56162
2019-08-17 17:30:00 | 0 | 283.108 | 4.4507 | 335.064 | 0 | 286.027 | 0 | 106.135 | 26.94 | 966.544 | 39.1126 | 0.23278
2019-08-17 17:45:00 | 0 | 288.714 | 3.9393 | 332.84 | 0 | 292.655 | 0 | 113.437 | 26.61 | 966.396 | 39.7956 | 0.12562
2019-08-17 18:00:00 | 0 | 305.937 | 2.4053 | 35.3928 | 0 | 336.2 | 0 | 125.236 | 26.43 | 965.951 | 41.9421 | 0.055423
2019-08-17 18:15:00 | 0 | 312.262 | 1.6383 | 7.1553 | 0 | 314.452 | 0 | 126.89 | 26.29 | 965.506 | 41.8399 | -0.19213
2019-08-17 18:30:00 | 0 | 298.971 | 2.9167 | 17.3719 | 0 | 307.098 | 0 | 120.503 | 25.97 | 965.637 | 42.8746 | -0.25864
2019-08-17 18:45:00 | 0 | 320.3 | 2.4053 | 8.1974 | 0 | 308.473 | 0 | 132.53 | 25.66 | 965.059 | 44.7168 | -0.29559
2019-08-17 19:00:00 | 3.414 | 338.31 | 2.1497 | 18.6446 | 0 | 336.558 | 0 | 156.233 | 25.6 | 965.059 | 44.7512 | -0.28081
2019-08-17 19:15:00 | 1.3713 | 0.14602 | 2.4053 | 43.0829 | 0 | 356.91 | 0 | 186.523 | 25.6 | 965.49 | 44.4484 | -0.28081
2019-08-17 19:30:00 | 0 | 0.58415 | 3.428 | 59.4442 | 0 | 10.0766 | 0 | 184.201 | 25.47 | 965.486 | 46.2587 | 0.41013
2019-08-17 19:45:00 | 0 | 352.242 | 2.9167 | 37.5386 | 0 | 8.3728 | 0 | 167.31 | 25.28 | 965.65 | 46.361 | 0.39535
2019-08-17 20:00:00 | 0 | 0.14604 | 3.1723 | 41.6534 | 0 | 3.0182 | 0 | 177.269 | 25.25 | 965.798 | 46.4302 | 0.62812
2019-08-17 20:15:00 | 0 | 0.14605 | 2.9167 | 52.2452 | 0 | 17.0876 | 0 | 183.631 | 25.1 | 965.798 | 46.16 | 1.0309
2019-08-17 20:30:00 | 0 | 8.2766 | 2.9167 | 57.8983 | 0 | 9.2504 | 0 | 190.364 | 24.92 | 966.095 | 46.1635 | 0.47663
2019-08-17 20:45:00 | 0 | 84.4238 | 2.4053 | 48.4057 | 0 | 2.8725 | 0 | 184.622 | 24.94 | 966.243 | 44.596 | 0.3547
2019-08-17 21:00:00 | 0 | 11.977 | 3.1723 | 57.7287 | 0 | 13.1455 | 0 | 195.332 | 25.06 | 966.243 | 44.8683 | -0.048033
2019-08-17 21:15:00 | 0 | 15.4826 | 3.1723 | 66.5659 | 0 | 24.1489 | 0 | 196.088 | 25.05 | 966.391 | 44.9369 | -0.29559
2019-08-17 21:30:00 | 2.648 | 18.1117 | 2.9167 | 68.757 | 0 | 25.0253 | 0 | 201.931 | 24.83 | 966.54 | 45.1074 | -0.28081
2019-08-17 21:45:00 | 0 | 32.0358 | 3.1723 | 76.7404 | 0 | 30.9647 | 0 | 219.407 | 24.96 | 966.391 | 43.7089 | -0.29559
2019-08-17 22:00:00 | 6.478 | 30.4783 | 2.661 | 84.5804 | 0 | 40.2157 | 1.6383 | 216.683 | 25 | 966.391 | 43.0958 | -0.28081
2019-08-17 22:15:00 | 4.4353 | 39.2663 | 2.661 | 94.61 | 0 | 50.0019 | 0.37567 | 222.793 | 24.98 | 966.391 | 42.9594 | -0.28081
2019-08-17 22:30:00 | 0 | 37.8788 | 1.3827 | 95.4377 | 0 | 52.3876 | 0 | 219.41 | 25.01 | 966.688 | 41.4592 | -0.28081
2019-08-17 22:45:00 | 0 | 37.8788 | 1.127 | 94.9995 | 0 | 41.8711 | 0 | 219.702 | 25.26 | 966.688 | 41.1183 | -0.28081
2019-08-17 23:00:00 | 0 | 37.8788 | 0 | 94.9995 | 0 | 41.8711 | 0 | 218.923 | 25.25 | 966.688 | 40.7774 | -0.26972
2019-08-17 23:15:00 | 0 | 37.8788 | 0 | 94.9995 | 0 | 41.8711 | 0 | 218.923 | 24.89 | 966.688 | 40.4364 | -0.26972
2019-08-17 23:30:00 | 0 | 37.8788 | 0.75133 | 95.0482 | 0 | 41.9685 | 0 | 218.923 | 24.63 | 966.54 | 40.641 | -0.28081
2019-08-17 23:45:00 | 0 | 37.8804 | 0.75133 | 96.5626 | 0 | 50.0041 | 0 | 218.932 | 24.91 | 966.688 | 40.37 | -0.28081