## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-08-18 00:00:00 | 0 | 37.8797 | 1.3827 | 96.5603 | 0 | 105.849 | 0 | 218.928 | 24.98 | 966.688 | 40.5738 | -0.28081
2019-08-18 00:15:00 | 0 | 240.129 | 1.6383 | 321.157 | 0 | 105.848 | 0 | 151.371 | 24.98 | 966.54 | 41.2894 | -0.28081
2019-08-18 00:30:00 | 0 | 274.402 | 1.3827 | 336.83 | 0 | 105.749 | 0 | 90.0473 | 24.68 | 966.688 | 42.6526 | -0.26233
2019-08-18 00:45:00 | 0 | 310.187 | 1.6383 | 4.9766 | 0 | 308.921 | 0 | 91.654 | 24.65 | 966.54 | 42.2775 | -0.28081
2019-08-18 01:00:00 | 0 | 310.26 | 1.127 | 27.9084 | 0 | 353.349 | 0 | 92.0921 | 24.51 | 966.54 | 42.7549 | -0.26233
2019-08-18 01:15:00 | 0 | 310.24 | 0 | 28.0064 | 0 | 353.865 | 0 | 125.932 | 24.53 | 966.243 | 42.7554 | -0.26233
2019-08-18 01:30:00 | 0 | 310.26 | 0 | 28.0058 | 0 | 353.811 | 0 | 125.954 | 24.45 | 965.947 | 43.9823 | -0.28081
2019-08-18 01:45:00 | 0 | 310.286 | 0 | 28.0135 | 0 | 3.2139 | 0 | 125.95 | 24.28 | 965.798 | 43.0005 | -0.28081
2019-08-18 02:00:00 | 0 | 204.984 | 1.3827 | 27.9652 | 0 | 7.5965 | 0 | 18.4069 | 24.39 | 965.65 | 42.6939 | -0.28081
2019-08-18 02:15:00 | 3.6693 | 172.48 | 2.1497 | 209.113 | 0 | 116.967 | 0 | 356.793 | 24.4 | 965.798 | 43.0349 | -0.28081
2019-08-18 02:30:00 | 2.648 | 161.718 | 2.9167 | 215.346 | 0 | 116.967 | 0 | 345.496 | 24.19 | 965.798 | 43.7852 | -0.28081
2019-08-18 02:45:00 | 0 | 171.336 | 3.428 | 209.722 | 0 | 119.11 | 0 | 356.793 | 24.15 | 965.65 | 44.8082 | -0.28081
2019-08-18 03:00:00 | 2.276 | 174.037 | 3.9393 | 208.892 | 0 | 165.442 | 0 | 1.1687 | 24.26 | 965.947 | 45.1488 | -0.23278
2019-08-18 03:15:00 | 0 | 177.714 | 3.1723 | 210.452 | 0 | 161.913 | 0 | 1.8748 | 23.79 | 965.798 | 46.0357 | -0.19213
2019-08-18 03:30:00 | 0.744 | 177.009 | 3.1723 | 210.915 | 0 | 160.209 | 0 | 6.1357 | 23.91 | 965.947 | 45.1492 | -0.011085
2019-08-18 03:45:00 | 0 | 168.341 | 3.428 | 206.337 | 0 | 157.433 | 0 | 0.19478 | 23.8 | 965.947 | 44.4672 | 1.4742
2019-08-18 04:00:00 | 0 | 154 | 3.9393 | 196.428 | 0 | 142.678 | 0 | 349.391 | 23.86 | 966.095 | 44.9446 | 1.5112
2019-08-18 04:15:00 | 0 | 158.454 | 3.6837 | 195.817 | 0 | 155.435 | 0 | 354.549 | 23.74 | 965.947 | 45.1487 | 1.744
2019-08-18 04:30:00 | 0 | 139.44 | 2.4053 | 193.628 | 0 | 164.299 | 0 | 351.972 | 24 | 966.243 | 43.5465 | 2.1578
2019-08-18 04:45:00 | 0 | 157.896 | 3.6837 | 195.819 | 0 | 152.125 | 0 | 349.172 | 23.78 | 966.391 | 43.1372 | 2.8709
2019-08-18 05:00:00 | 0.372 | 148.619 | 2.661 | 196.355 | 0 | 142.97 | 0 | 337.729 | 23.74 | 966.54 | 43.3759 | 3.1923
2019-08-18 05:15:00 | 0 | 139.27 | 3.1723 | 185.057 | 0 | 141.51 | 0 | 351.972 | 23.75 | 966.688 | 43.717 | 3.5101
2019-08-18 05:30:00 | 0 | 147.11 | 3.6837 | 198.473 | 0 | 154.803 | 0 | 331.423 | 23.88 | 967.133 | 45.1492 | 5.4721
2019-08-18 05:45:00 | 0 | 149.882 | 4.7063 | 189.095 | 0 | 136.175 | 0 | 334.07 | 23.22 | 966.985 | 46.4441 | 8.3282
2019-08-18 06:00:00 | 0 | 140.999 | 2.4053 | 183.295 | 0 | 137.007 | 0 | 323.821 | 22.96 | 966.985 | 48.4148 | 9.1817
2019-08-18 06:15:00 | 0 | 145.234 | 4.4507 | 199.458 | 0 | 161.983 | 0 | 325.572 | 22.77 | 967.43 | 48.4146 | 8.3614
2019-08-18 06:30:00 | 0 | 136.404 | 3.9393 | 169.855 | 0 | 152.59 | 0 | 327.208 | 22.76 | 967.578 | 48.8853 | 7.1532
2019-08-18 06:45:00 | 0 | 147.108 | 5.2177 | 186.983 | 0 | 138.881 | 0 | 334.182 | 23 | 968.004 | 48.3382 | 7.6188
2019-08-18 07:00:00 | 0 | 148.718 | 5.2177 | 188.171 | 0 | 138.472 | 0 | 342.7 | 23.05 | 968.264 | 47.7178 | 5.679
2019-08-18 07:15:00 | 0 | 148.494 | 4.7063 | 189.284 | 0 | 145.915 | 0 | 331.545 | 23.3 | 968.639 | 47.3074 | 3.983
2019-08-18 07:30:00 | 1.2547 | 137.86 | 4.195 | 190.963 | 0 | 151.025 | 0 | 332.494 | 23.91 | 968.766 | 46.1486 | 2.7933
2019-08-18 07:45:00 | 0 | 153.407 | 2.1497 | 195.948 | 0 | 147.469 | 0 | 334.946 | 24.28 | 969.063 | 44.1027 | 1.6479
2019-08-18 08:00:00 | 0 | 151.612 | 3.6837 | 198.514 | 0 | 154.142 | 0 | 332.466 | 24.67 | 969.265 | 44.9079 | 1.441
2019-08-18 08:15:00 | 0 | 153.553 | 3.9393 | 199.722 | 0 | 152.871 | 0 | 339.363 | 24.66 | 969.509 | 45.6559 | 1.9472
2019-08-18 08:30:00 | 0 | 154.331 | 3.9393 | 196.487 | 0 | 149.222 | 0 | 336.249 | 24.98 | 969.36 | 44.8722 | 1.2008
2019-08-18 08:45:00 | 0 | 167.857 | 3.9393 | 200.403 | 0 | 155.596 | 0 | 2.8949 | 24.75 | 969.509 | 44.1567 | 0.7907
2019-08-18 09:00:00 | 0 | 152.409 | 3.9393 | 194.078 | 0 | 148.006 | 0 | 339.898 | 25.25 | 969.509 | 42.7257 | 1.0715
2019-08-18 09:15:00 | 0 | 152.043 | 2.9167 | 202.835 | 0 | 161.336 | 0 | 356.146 | 25.29 | 969.805 | 43.1343 | 0.3621
2019-08-18 09:30:00 | 0 | 161.521 | 3.1723 | 193.286 | 0 | 151.013 | 0 | 350.044 | 25.53 | 969.953 | 42.1097 | 0.62812
2019-08-18 09:45:00 | 0 | 149.443 | 2.661 | 201.245 | 0 | 168.172 | 0 | 322.771 | 25.77 | 969.805 | 41.0159 | 0.2882
2019-08-18 10:00:00 | 0 | 154.205 | 1.3827 | 196.082 | 0 | 157.319 | 0 | 351.632 | 26.11 | 970.102 | 37.2674 | -0.4323
2019-08-18 10:15:00 | 0 | 67.3178 | 0 | 140.123 | 0 | 159.248 | 0 | 238.725 | 27.65 | 970.546 | 34.6748 | -0.30298
2019-08-18 10:30:00 | 0 | 28.5016 | 1.127 | 106.215 | 0 | 120.719 | 0 | 193.602 | 27.96 | 970.546 | 38.1812 | -0.28081
2019-08-18 10:45:00 | 0 | 73.9535 | 1.894 | 109.765 | 0 | 27.383 | 0 | 252.429 | 27.92 | 970.967 | 38.045 | -0.28081
2019-08-18 11:00:00 | 0 | 32.5872 | 1.6383 | 91.8665 | 0 | 17.8014 | 0 | 206.515 | 28.08 | 970.591 | 41.5531 | -0.28081
2019-08-18 11:15:00 | 0 | 35.3109 | 1.6383 | 70.1741 | 0 | 13.6185 | 0 | 179.254 | 28.16 | 970.349 | 27.9632 | -0.28081
2019-08-18 11:30:00 | 0 | 205.445 | 4.195 | 257.818 | 0 | 212.449 | 0 | 37.1348 | 27.93 | 970.04 | 41.5531 | -0.29559
2019-08-18 11:45:00 | 0 | 259.311 | 2.661 | 257.623 | 0 | 217.507 | 0 | 30.4471 | 27.45 | 969.805 | 43.3243 | -0.28081
2019-08-18 12:00:00 | 1.3933 | 232.974 | 3.6837 | 270.877 | 0 | 202.551 | 0.37567 | 69.3086 | 27.56 | 969.36 | 42.064 | -0.28081
2019-08-18 12:15:00 | 0 | 253.566 | 4.4507 | 301.184 | 0 | 241.04 | 0 | 83.2815 | 27.33 | 969.36 | 43.9788 | -0.28081
2019-08-18 12:30:00 | 0 | 231.593 | 2.661 | 278.249 | 0 | 223.906 | 0 | 53.2032 | 27.85 | 969.212 | 41.5672 | -0.28081
2019-08-18 12:45:00 | 0 | 280.443 | 3.9393 | 286.229 | 0 | 252.418 | 0 | 59.9906 | 27.77 | 968.767 | 41.7036 | -0.28081
2019-08-18 13:00:00 | 0 | 215.708 | 6.496 | 257.499 | 0 | 249.45 | 0 | 23.354 | 27.89 | 968.915 | 40.9199 | -0.28081
2019-08-18 13:15:00 | 0 | 136.037 | 3.1723 | 193.203 | 0 | 179.534 | 0 | 344.058 | 28.1 | 968.767 | 36.7291 | -0.25125
2019-08-18 13:30:00 | 0 | 152.774 | 5.2177 | 202.788 | 0 | 148.103 | 0 | 335.422 | 28.37 | 968.915 | 34.1738 | -0.088676
2019-08-18 13:45:00 | 0 | 144.163 | 3.9393 | 178.851 | 0 | 136.281 | 0 | 339.486 | 28.16 | 969.212 | 31.7549 | 0.044338
2019-08-18 14:00:00 | 0 | 141.559 | 3.1723 | 185.321 | 0 | 135.794 | 0 | 330.727 | 28.54 | 970.101 | 32.0273 | -0.27342
2019-08-18 14:15:00 | 0 | 145.963 | 2.9167 | 195.562 | 0 | 145.111 | 0 | 317.201 | 28.6 | 970.694 | 33.3561 | -0.29928
2019-08-18 14:30:00 | 0 | 205.121 | 3.1723 | 241.121 | 0 | 174.737 | 0 | 31.1379 | 29.48 | 970.397 | 32.776 | -0.28081
2019-08-18 14:45:00 | 0 | 269.015 | 2.9167 | 308.023 | 0 | 208.207 | 0 | 53.9976 | 29.28 | 970.101 | 34.1684 | -0.28081
2019-08-18 15:00:00 | 0 | 217.562 | 3.428 | 253.156 | 0 | 216.054 | 0 | 59.4124 | 29.32 | 969.656 | 33.2775 | -0.28081
2019-08-18 15:15:00 | 0 | 202.965 | 1.3827 | 253.489 | 0 | 223.149 | 0 | 32.1008 | 29.38 | 970.101 | 34.8093 | -0.28081
2019-08-18 15:30:00 | 0 | 253.305 | 1.6383 | 308.863 | 0 | 272.371 | 0 | 59.0461 | 29.03 | 970.101 | 34.9455 | -0.28081
2019-08-18 15:45:00 | 0 | 188.836 | 2.661 | 233.329 | 0 | 208.072 | 0 | 2.821 | 29.35 | 970.249 | 33.9237 | -0.28081
2019-08-18 16:00:00 | 0 | 151.482 | 4.195 | 200.353 | 0 | 156.029 | 0 | 316.047 | 29.14 | 970.694 | 34.2303 | -0.28081
2019-08-18 16:15:00 | 1.2547 | 157.197 | 2.4053 | 196.121 | 0 | 157.562 | 0 | 334.578 | 28.75 | 970.694 | 33.7534 | -0.28081
2019-08-18 16:30:00 | 0 | 151.749 | 2.9167 | 201.107 | 0 | 156.759 | 0 | 332.876 | 28.73 | 970.842 | 36.9891 | -0.26972
2019-08-18 16:45:00 | 8.01 | 158.072 | 1.894 | 199.404 | 0 | 155.932 | 0 | 334.092 | 28.72 | 970.546 | 33.9918 | -0.26972
2019-08-18 17:00:00 | 0 | 142.995 | 2.9167 | 186.807 | 0 | 151.944 | 0 | 327.72 | 28.49 | 970.101 | 38.4877 | -0.26972
2019-08-18 17:15:00 | 6.478 | 145.426 | 2.1497 | 193.908 | 0 | 149.172 | 0 | 325.677 | 28.25 | 969.36 | 35.4905 | -0.26972
2019-08-18 17:30:00 | 0 | 138.151 | 2.1497 | 186.838 | 0 | 144.524 | 0 | 320.837 | 28.2 | 969.36 | 35.9045 | -0.26972
2019-08-18 17:45:00 | 7.7547 | 138.078 | 2.1497 | 184.685 | 0 | 137.397 | 0 | 315.079 | 28.08 | 968.767 | 34.3436 | -0.26972
2019-08-18 18:00:00 | 0 | 138.47 | 1.3827 | 184.664 | 0 | 140.124 | 0 | 326.567 | 27.96 | 968.619 | 35.7751 | -0.26972
2019-08-18 18:15:00 | 0 | 79.648 | 0 | 106.989 | 0 | 134.604 | 0 | 300.273 | 27.77 | 968.619 | 43.2715 | -0.28081
2019-08-18 18:30:00 | 0 | 135.882 | 1.894 | 171.753 | 0 | 134.227 | 0 | 329.168 | 27.31 | 968.581 | 39.2618 | -0.2143
2019-08-18 18:45:00 | 0 | 160.748 | 1.3827 | 198.808 | 0 | 142.108 | 0 | 354.638 | 27.22 | 968.173 | 41.7147 | -0.29928
2019-08-18 19:00:00 | 0 | 168.157 | 0 | 198.824 | 0 | 142.021 | 0 | 356.805 | 26.8 | 968.173 | 42.8766 | -0.26972
2019-08-18 19:15:00 | 0 | 168.157 | 0 | 198.824 | 0 | 142.021 | 0 | 356.805 | 26.63 | 967.965 | 42.9789 | -0.2882
2019-08-18 19:30:00 | 0 | 160.626 | 1.894 | 198.792 | 0 | 142.422 | 0 | 347.926 | 26.78 | 968.317 | 42.1983 | -0.26972
2019-08-18 19:45:00 | 5.4567 | 168.721 | 2.4053 | 213.44 | 0 | 155.87 | 0 | 350.635 | 26.86 | 968.171 | 40.2931 | -0.26972
2019-08-18 20:00:00 | 0.62733 | 167.651 | 3.428 | 208.767 | 0 | 153.144 | 0 | 351.414 | 26.83 | 968.616 | 40.0204 | -0.26972
2019-08-18 20:15:00 | 0 | 172.519 | 3.1723 | 215.801 | 0 | 155.968 | 0 | 351.317 | 26.82 | 968.32 | 40.5659 | -0.10346
2019-08-18 20:30:00 | 0 | 163.367 | 2.661 | 203.778 | 0 | 149.274 | 0 | 334.206 | 26.82 | 968.913 | 38.3842 | -0.17735
2019-08-18 20:45:00 | 0 | 154.02 | 3.1723 | 202.95 | 0 | 150.224 | 0 | 337.273 | 26.68 | 968.616 | 39.8841 | -0.10346
2019-08-18 21:00:00 | 0 | 153.777 | 3.428 | 201.709 | 0 | 148.276 | 0 | 335.447 | 26.66 | 968.616 | 40.225 | -0.12193
2019-08-18 21:15:00 | 0 | 154.02 | 2.9167 | 201.733 | 0 | 148.179 | 0 | 336.226 | 26.69 | 969.062 | 38.3842 | -0.2143
2019-08-18 21:30:00 | 0 | 146.621 | 2.661 | 196.33 | 0 | 134.598 | 0 | 326.588 | 26.93 | 969.209 | 37.8388 | -0.30667
2019-08-18 21:45:00 | 0 | 130.752 | 2.4053 | 185.766 | 0 | 135.522 | 0 | 326.004 | 26.77 | 969.21 | 35.9298 | -0.26972
2019-08-18 22:00:00 | 0 | 137.664 | 2.9167 | 179.876 | 0 | 139.173 | 0 | 322.839 | 26.96 | 969.21 | 33.6117 | -0.26972
2019-08-18 22:15:00 | 0 | 148.763 | 2.9167 | 181.726 | 0 | 141.851 | 0 | 333.208 | 27.13 | 969.358 | 33.339 | -0.26972
2019-08-18 22:30:00 | 1.2547 | 151.027 | 3.1723 | 193.092 | 0 | 147.79 | 0 | 337.54 | 27.13 | 969.21 | 33.3049 | -0.26972
2019-08-18 22:45:00 | 0 | 147.595 | 3.6837 | 192.776 | 0 | 142.727 | 0 | 336.932 | 26.92 | 969.21 | 35.1116 | -0.24386
2019-08-18 23:00:00 | 0 | 141.242 | 3.9393 | 188.03 | 0 | 142.435 | 0 | 327.999 | 26.68 | 969.358 | 36.6115 | 0.36949
2019-08-18 23:15:00 | 0 | 132.845 | 4.962 | 181.629 | 0 | 141.753 | 0 | 311.229 | 26.42 | 969.358 | 39.8159 | 1.2858
2019-08-18 23:30:00 | 0 | 122.087 | 4.962 | 170.773 | 0 | 123.912 | 0 | 311.497 | 26.35 | 969.354 | 37.4297 | 5.1543
2019-08-18 23:45:00 | 0 | 129.876 | 4.7063 | 168.047 | 0 | 118.436 | 0 | 313.323 | 26.27 | 969.358 | 39.475 | 6.8798