## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-08-19 00:00:00 | 0 | 128.853 | 5.729 | 167.22 | 0 | 118.047 | 0.37567 | 306.873 | 26.12 | 969.21 | 43.7702 | 13.1167
2019-08-19 00:15:00 | 0.99933 | 136.399 | 7.0073 | 175.957 | 0 | 136.034 | 0.887 | 310.524 | 25.93 | 969.358 | 42.2021 | 18.6109
2019-08-19 00:30:00 | 0 | 128.756 | 7.0073 | 178.513 | 0 | 126.176 | 0.63133 | 313.639 | 25.85 | 969.21 | 44.6565 | 23.8059
2019-08-19 00:45:00 | 0 | 140.05 | 6.2403 | 171.747 | 0 | 119.75 | 1.5183 | 318.02 | 25.39 | 969.21 | 46.2928 | 22.6679
2019-08-19 01:00:00 | 6.7333 | 131.068 | 7.263 | 185.377 | 0 | 116.367 | 2.661 | 314.953 | 25.14 | 968.765 | 47.2473 | 32.5036
2019-08-19 01:15:00 | 5.9673 | 119.629 | 8.03 | 159.261 | 0 | 133.892 | 3.6837 | 309.939 | 25 | 968.616 | 51.7471 | 34.8461
2019-08-19 01:30:00 | 9.2867 | 115.42 | 7.263 | 186.282 | 0 | 133.237 | 4.195 | 305.808 | 24.46 | 968.913 | 56.1798 | 30.2127
2019-08-19 01:45:00 | 0.62733 | 125.091 | 7.7743 | 167.746 | 0 | 112.385 | 2.661 | 305.633 | 24.09 | 968.765 | 57.9561 | 30.6635
2019-08-19 02:00:00 | 5.712 | 141.485 | 8.2857 | 182.856 | 0 | 134.645 | 3.428 | 323.624 | 24 | 969.062 | 60.109 | 26.0856
2019-08-19 02:15:00 | 0 | 136.811 | 7.0073 | 188.796 | 0 | 137.615 | 4.962 | 319.559 | 23.99 | 968.765 | 61.9843 | 32.7954
2019-08-19 02:30:00 | 0 | 132.308 | 5.4733 | 170.416 | 0 | 131.407 | 0.887 | 318.78 | 23.89 | 968.616 | 63.1776 | 38.6444
2019-08-19 02:45:00 | 4.4353 | 125.711 | 7.0073 | 174.506 | 0 | 142.362 | 4.4507 | 311.599 | 23.61 | 968.32 | 64.6437 | 41.3749
2019-08-19 03:00:00 | 3.9247 | 131.431 | 8.797 | 187.238 | 0 | 140.901 | 0.75133 | 319.535 | 23.5 | 968.023 | 65.8029 | 38.8144
2019-08-19 03:15:00 | 0 | 125.639 | 7.0073 | 211.389 | 0 | 156.458 | 0 | 302.522 | 23.29 | 968.32 | 66.5537 | 41.2788
2019-08-19 03:30:00 | 0 | 134.988 | 7.0073 | 192.036 | 0 | 123.059 | 5.4733 | 320.197 | 23.26 | 968.172 | 66.8267 | 40.2775
2019-08-19 03:45:00 | 5.9673 | 138.937 | 8.5413 | 182.745 | 0 | 145.899 | 5.2177 | 317.896 | 23.15 | 968.023 | 66.9657 | 38.7146
2019-08-19 04:00:00 | 3.808 | 144.441 | 5.9847 | 194.435 | 0 | 149.432 | 3.9393 | 307.069 | 23.03 | 968.468 | 67.4443 | 32.5664
2019-08-19 04:15:00 | 0 | 142.433 | 8.03 | 184.884 | 0 | 133.594 | 0 | 327.79 | 23 | 968.765 | 68.3365 | 33.2758
2019-08-19 04:30:00 | 0 | 138.221 | 6.2403 | 182.328 | 0 | 136.687 | 2.4053 | 318.515 | 22.9 | 968.616 | 69.6668 | 30.0132
2019-08-19 04:45:00 | 0.372 | 123.516 | 5.9847 | 184.643 | 0 | 155.534 | 4.7063 | 319.565 | 22.82 | 968.913 | 69.0196 | 34.2143
2019-08-19 05:00:00 | 0 | 128.922 | 5.729 | 173.443 | 0 | 115.847 | 1.2627 | 308.511 | 22.76 | 968.616 | 68.474 | 37.7428
2019-08-19 05:15:00 | 4.574 | 134.205 | 6.2403 | 187.005 | 0 | 146.038 | 2.4053 | 321.756 | 22.87 | 968.913 | 68.0648 | 38.2232
2019-08-19 05:30:00 | 2.7867 | 129.287 | 5.9847 | 205.729 | 0 | 142.97 | 1.007 | 321.075 | 22.95 | 969.21 | 67.2464 | 40.4881
2019-08-19 05:45:00 | 4.4353 | 132.793 | 7.0073 | 190.487 | 0 | 147.256 | 3.9393 | 330.083 | 23.04 | 969.21 | 66.4279 | 41.6409
2019-08-19 06:00:00 | 8.2653 | 159.853 | 5.9847 | 209.919 | 0 | 133.535 | 3.6837 | 332.17 | 23.13 | 969.358 | 65.7056 | 42.5646
2019-08-19 06:15:00 | 0 | 138.856 | 5.4733 | 208.782 | 0 | 161.959 | 0.37567 | 307.071 | 23.18 | 969.358 | 66.0757 | 39.6457
2019-08-19 06:30:00 | 6.7333 | 136.373 | 7.0073 | 184.73 | 0 | 149.105 | 3.6837 | 317.515 | 23.2 | 969.951 | 65.5302 | 35.4742
2019-08-19 06:45:00 | 1.138 | 147.842 | 6.496 | 201.276 | 0 | 146.649 | 5.729 | 325.038 | 23.26 | 969.951 | 65.9979 | 36.0321
2019-08-19 07:00:00 | 2.0207 | 138.346 | 7.7743 | 185.985 | 0 | 136.618 | 5.9847 | 324.884 | 23.34 | 970.097 | 66.0644 | 34.5025
2019-08-19 07:15:00 | 0 | 105.821 | 7.0073 | 176.48 | 0 | 129.454 | 2.2853 | 335.012 | 23.45 | 970.536 | 64.9694 | 29.3555
2019-08-19 07:30:00 | 0 | 135.792 | 7.7743 | 186.608 | 0 | 108.366 | 2.541 | 331.57 | 23.62 | 970.469 | 64.8262 | 28.5205
2019-08-19 07:45:00 | 0 | 145.185 | 7.7743 | 200.357 | 0 | 140.926 | 1.3983 | 322.225 | 23.72 | 970.546 | 66.1895 | 29.6992
2019-08-19 08:00:00 | 3.042 | 131.606 | 7.7743 | 175.948 | 0 | 125.887 | 5.4733 | 319.353 | 23.77 | 970.703 | 65.0989 | 25.9267
2019-08-19 08:15:00 | 0 | 134.064 | 6.2403 | 188.652 | 0 | 153.97 | 0 | 312.564 | 24.13 | 970.694 | 64.8262 | 28.0845
2019-08-19 08:30:00 | 0 | 148.056 | 5.729 | 190.72 | 0 | 123.283 | 0 | 336.072 | 24.16 | 970.99 | 63.0539 | 23.9093
2019-08-19 08:45:00 | 0 | 142.721 | 6.7517 | 191.15 | 0 | 130.627 | 5.4733 | 327.322 | 24.29 | 971.287 | 63.6308 | 19.5383
2019-08-19 09:00:00 | 11.074 | 148.487 | 7.263 | 200.224 | 0 | 147.708 | 3.9393 | 332.746 | 24.52 | 971.435 | 61.7556 | 18.4003
2019-08-19 09:15:00 | 2.648 | 143.284 | 6.7517 | 200.23 | 0 | 155.11 | 4.4507 | 320.855 | 24.83 | 971.435 | 66.1199 | 19.2391
2019-08-19 09:30:00 | 6.478 | 150.094 | 7.7743 | 203.121 | 0 | 164.062 | 4.962 | 332.406 | 24.89 | 971.381 | 65.3686 | 21.1123
2019-08-19 09:45:00 | 0 | 153.245 | 8.2857 | 204.076 | 0 | 159.401 | 4.962 | 343.207 | 24.96 | 971.238 | 65.4314 | 19.4718
2019-08-19 10:00:00 | 0 | 140.778 | 5.4733 | 206.544 | 0 | 154.647 | 3.9393 | 336.325 | 24.97 | 971.321 | 66.995 | 15.0971
2019-08-19 10:15:00 | 0 | 165.339 | 6.7517 | 215.1 | 0 | 168.089 | 0.37567 | 341.992 | 25.02 | 971.278 | 68.124 | 13.7337
2019-08-19 10:30:00 | 0 | 140.831 | 6.2403 | 194.531 | 0 | 156.671 | 2.7967 | 328.184 | 25.38 | 971.423 | 64.2707 | 13.161
2019-08-19 10:45:00 | 0 | 125.94 | 6.7517 | 176.891 | 0 | 138.641 | 0.75133 | 314.291 | 25.81 | 971.42 | 63.8619 | 11.6905
2019-08-19 11:00:00 | 0 | 140.709 | 4.7063 | 197.801 | 0 | 144.552 | 3.5637 | 306.085 | 26.16 | 971.585 | 61.2609 | 13.8741
2019-08-19 11:15:00 | 0 | 131.877 | 5.729 | 187.534 | 0 | 138.786 | 3.5637 | 319.731 | 26.23 | 971.732 | 60.3407 | 11.6055
2019-08-19 11:30:00 | 0 | 155.207 | 5.9847 | 204.442 | 0 | 148.225 | 2.4053 | 341.966 | 26.4 | 971.732 | 61.6695 | 12.7694
2019-08-19 11:45:00 | 0 | 150.828 | 4.7063 | 194.979 | 0 | 149.636 | 3.9393 | 327.126 | 26.39 | 971.584 | 60.8518 | 7.7038
2019-08-19 12:00:00 | 0 | 142.265 | 4.195 | 205.026 | 0 | 138.373 | 0 | 317.177 | 26.5 | 971.88 | 60.8859 | 5.3575
2019-08-19 12:15:00 | 0 | 108.134 | 5.729 | 170.919 | 0 | 129.299 | 5.729 | 309.465 | 26.67 | 971.436 | 56.3884 | 4.5816
2019-08-19 12:30:00 | 0 | 134.772 | 5.2177 | 192.132 | 0 | 143.968 | 4.195 | 324.84 | 26.84 | 971.732 | 52.0273 | 3.2773
2019-08-19 12:45:00 | 0 | 148.298 | 4.7063 | 197.095 | 0 | 149.417 | 0 | 336.833 | 27.18 | 971.584 | 55.7411 | 3.3032
2019-08-19 13:00:00 | 0 | 152.485 | 3.1723 | 188.633 | 0 | 144.359 | 0 | 312.122 | 27.19 | 971.6 | 55.8783 | 2.6677
2019-08-19 13:15:00 | 0 | 143.873 | 4.962 | 193.328 | 0 | 145.576 | 0 | 321.391 | 27.66 | 971.288 | 55.8443 | 3.8426
2019-08-19 13:30:00 | 0 | 167.078 | 4.195 | 222.055 | 0 | 168.684 | 0 | 83.1013 | 27.81 | 971.289 | 53.4924 | 2.3647
2019-08-19 13:45:00 | 0 | 132.242 | 6.7517 | 191.573 | 0 | 160.462 | 3.428 | 324.086 | 27.61 | 971.436 | 53.2198 | 4.2934
2019-08-19 14:00:00 | 0 | 130.296 | 7.0073 | 185.467 | 0 | 143.895 | 0.63133 | 344.301 | 27.7 | 971.732 | 54.1738 | 4.6851
2019-08-19 14:15:00 | 0 | 140.319 | 5.729 | 189.675 | 0 | 144.965 | 0.887 | 320.631 | 27.97 | 972.029 | 52.8791 | 5.5053
2019-08-19 14:30:00 | 0 | 178.464 | 5.4733 | 223.271 | 0 | 156.812 | 1.894 | 347.123 | 28.16 | 971.88 | 49.3015 | 6.817
2019-08-19 14:45:00 | 0 | 149.697 | 5.729 | 206.321 | 0 | 165.265 | 0 | 330.044 | 28.12 | 971.88 | 52.7045 | 4.1345
2019-08-19 15:00:00 | 0 | 127.064 | 3.9393 | 172.541 | 0 | 150.754 | 3.1723 | 327.145 | 27.97 | 972.473 | 52.5978 | 3.148
2019-08-19 15:15:00 | 0 | 156.348 | 4.195 | 189.664 | 0 | 149.562 | 0 | 323.301 | 28.15 | 972.177 | 52.1887 | 4.1752
2019-08-19 15:30:00 | 0 | 152.943 | 5.2177 | 198.128 | 0 | 150.413 | 2.541 | 346.31 | 28.14 | 972.029 | 50.0767 | 4.5521
2019-08-19 15:45:00 | 0 | 140.802 | 7.263 | 201.066 | 0 | 155.347 | 5.2177 | 325.409 | 28.3 | 971.732 | 52.8007 | 6.9685
2019-08-19 16:00:00 | 0 | 144.113 | 5.4733 | 192.412 | 0 | 140.148 | 0 | 328.651 | 28.07 | 972.029 | 52.5293 | 9.311
2019-08-19 16:15:00 | 0 | 131.881 | 6.496 | 194.458 | 0 | 136.478 | 0 | 328.679 | 28.15 | 971.88 | 50.3498 | 10.3123
2019-08-19 16:30:00 | 0 | 131.418 | 5.729 | 178.283 | 0 | 134.823 | 2.541 | 314.864 | 28.06 | 971.732 | 48.2377 | 11.2656
2019-08-19 16:45:00 | 5.2013 | 133.463 | 8.2857 | 188.502 | 0 | 145.333 | 5.729 | 311.9 | 28.16 | 971.732 | 47.6933 | 13.3901
2019-08-19 17:00:00 | 0 | 139.577 | 6.7517 | 210.115 | 0 | 163.953 | 0 | 310.976 | 28.02 | 971.139 | 48.4116 | 14.6538
2019-08-19 17:15:00 | 0.62733 | 155.693 | 7.263 | 194.784 | 0 | 146.595 | 5.729 | 339.29 | 27.8 | 970.991 | 46.8824 | 12.5551
2019-08-19 17:30:00 | 0 | 137.448 | 5.9847 | 196.414 | 0 | 152.969 | 1.3983 | 331.165 | 27.74 | 970.991 | 44.9744 | 13.6598
2019-08-19 17:45:00 | 0 | 145.087 | 5.2177 | 198.7 | 0 | 165.911 | 0 | 337.733 | 27.55 | 970.546 | 46.4736 | 14.3397
2019-08-19 18:00:00 | 0 | 140.854 | 4.7063 | 192.4 | 0 | 143.627 | 0 | 325.983 | 27.18 | 969.953 | 48.2453 | 13.8483
2019-08-19 18:15:00 | 0 | 134.418 | 3.9393 | 187.904 | 0 | 140.649 | 0 | 315.293 | 27.09 | 970.054 | 49.4847 | 12.8359
2019-08-19 18:30:00 | 0 | 131.793 | 5.2177 | 187.106 | 0 | 131.354 | 0.63133 | 312.86 | 26.95 | 969.952 | 48.6679 | 13.7707
2019-08-19 18:45:00 | 0 | 136.619 | 6.7517 | 181.326 | 0 | 132.676 | 1.1427 | 320.448 | 26.95 | 969.952 | 44.717 | 14.0109
2019-08-19 19:00:00 | 0 | 127.177 | 5.4733 | 182.495 | 0 | 131.654 | 0 | 304.728 | 26.92 | 969.952 | 45.2624 | 14.4173
2019-08-19 19:15:00 | 0 | 139.977 | 4.962 | 178.674 | 0 | 111.699 | 3.428 | 319.742 | 26.98 | 969.804 | 46.4213 | 15.9322
2019-08-19 19:30:00 | 0 | 133.626 | 5.729 | 196.098 | 0 | 136.375 | 0 | 304.63 | 26.72 | 969.863 | 46.6258 | 19.2871
2019-08-19 19:45:00 | 4.3187 | 130.073 | 6.2403 | 192.934 | 0 | 99.41 | 4.962 | 321.276 | 26.77 | 970.599 | 41.8541 | 21.6555
2019-08-19 20:00:00 | 0.88267 | 107.392 | 4.7063 | 158.233 | 0 | 124.5 | 1.007 | 280.125 | 26.83 | 970.578 | 43.6265 | 28.8457
2019-08-19 20:15:00 | 0 | 109.607 | 3.9393 | 161.836 | 0 | 123.381 | 0 | 275.722 | 26.44 | 970.752 | 45.3993 | 25.7605
2019-08-19 20:30:00 | 11.3293 | 148.281 | 7.0073 | 192.602 | 0 | 139.982 | 5.2177 | 331.46 | 26.3 | 970.835 | 47.6501 | 24.8626
2019-08-19 20:45:00 | 6.2227 | 133.757 | 8.03 | 187.548 | 0 | 134.293 | 5.4733 | 311.735 | 26.5 | 970.99 | 44.6523 | 28.066
2019-08-19 21:00:00 | 5.9673 | 133.056 | 7.7743 | 191.935 | 0 | 139.213 | 3.6837 | 311.332 | 26.55 | 970.833 | 43.6993 | 34.5801
2019-08-19 21:15:00 | 0.372 | 139.991 | 5.729 | 202.009 | 0 | 147.535 | 5.4733 | 330.483 | 25.97 | 970.838 | 47.3802 | 30.5748
2019-08-19 21:30:00 | 0 | 133.403 | 5.2177 | 185.349 | 0 | 149.442 | 0 | 323.077 | 25.47 | 970.83 | 48.7464 | 21.0902
2019-08-19 21:45:00 | 0 | 139.952 | 4.4507 | 196.962 | 0 | 156.406 | 0 | 323.74 | 25.15 | 970.545 | 48.8836 | 19.5938
2019-08-19 22:00:00 | 4.946 | 135.255 | 6.2403 | 195.794 | 0 | 138.687 | 4.962 | 321.038 | 25.19 | 970.545 | 50.7926 | 20.6283
2019-08-19 22:15:00 | 0.88267 | 129.9 | 5.2177 | 191.048 | 0 | 147.546 | 0.37567 | 307.311 | 24.82 | 970.693 | 51.2016 | 23.6766
2019-08-19 22:30:00 | 5.712 | 134.94 | 7.5187 | 188.495 | 0 | 134.843 | 6.2403 | 320.531 | 24.58 | 970.248 | 50.2478 | 23.1482
2019-08-19 22:45:00 | 0 | 147.025 | 5.729 | 195.84 | 0 | 134.514 | 3.1723 | 329.541 | 24.59 | 970.545 | 50.5249 | 18.5444
2019-08-19 23:00:00 | 0 | 134.439 | 5.2177 | 182.328 | 0 | 125.506 | 0 | 315.737 | 24.49 | 970.396 | 52.0246 | 19.1062
2019-08-19 23:15:00 | 1.51 | 136.927 | 6.2403 | 192.268 | 0 | 141.528 | 5.729 | 309.176 | 24.58 | 970.545 | 53.9356 | 22.0287
2019-08-19 23:30:00 | 4.18 | 137.784 | 8.03 | 195.39 | 0 | 141.581 | 4.4507 | 323.621 | 24.49 | 970.248 | 55.3693 | 21.6961
2019-08-19 23:45:00 | 8.776 | 148.957 | 5.729 | 196.364 | 0 | 132.963 | 5.9847 | 323.036 | 24.21 | 970.693 | 57.3466 | 18.8511