## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-08-20 00:00:00 | 1.2547 | 126.563 | 8.03 | 190.524 | 0 | 145.405 | 2.661 | 310.284 | 24.08 | 970.1 | 58.0293 | 16.7783
2019-08-20 00:15:00 | 0 | 134.474 | 6.7517 | 186.799 | 0 | 140.998 | 4.7063 | 325.353 | 24.03 | 970.1 | 58.7453 | 11.9787
2019-08-20 00:30:00 | 0 | 142.191 | 8.03 | 198.63 | 0 | 128.291 | 5.2177 | 320.995 | 23.92 | 969.803 | 58.9839 | 12.4775
2019-08-20 00:45:00 | 1.2547 | 149.105 | 6.2403 | 187.213 | 0 | 138.102 | 3.428 | 327.325 | 23.62 | 969.951 | 59.5295 | 10.0241
2019-08-20 01:00:00 | 2.7867 | 129.484 | 5.729 | 187.822 | 0 | 150.809 | 0.37567 | 321.434 | 23.62 | 969.803 | 59.3931 | 8.7309
2019-08-20 01:15:00 | 2.7867 | 142.824 | 7.0073 | 194.103 | 0 | 136.203 | 3.1723 | 324.404 | 23.41 | 969.803 | 59.4613 | 10.0943
2019-08-20 01:30:00 | 0 | 127.512 | 4.195 | 200.481 | 0 | 143.968 | 1.1427 | 304.953 | 23.33 | 969.803 | 60.4841 | 9.1078
2019-08-20 01:45:00 | 0 | 150.157 | 4.7063 | 204.335 | 0 | 136.257 | 0 | 326.168 | 22.76 | 969.506 | 62.5321 | 9.6842
2019-08-20 02:00:00 | 0 | 152.173 | 5.729 | 208.162 | 0 | 152.197 | 0 | 337.532 | 22.48 | 969.21 | 62.1991 | 16.1243
2019-08-20 02:15:00 | 0 | 146.623 | 4.7063 | 194.943 | 0 | 150.616 | 0.887 | 322.268 | 22.51 | 969.21 | 62.6769 | 13.246
2019-08-20 02:30:00 | 2.9033 | 149.301 | 7.5187 | 196.014 | 0 | 145.941 | 1.007 | 313.551 | 22.26 | 969.062 | 62.5405 | 12.1708
2019-08-20 02:45:00 | 0 | 152.223 | 5.729 | 191.339 | 0 | 144.602 | 5.9847 | 319.589 | 22.33 | 968.913 | 62.4041 | 12.7324
2019-08-20 03:00:00 | 0 | 153.489 | 5.729 | 208.188 | 0 | 140.219 | 0 | 344.449 | 22.27 | 968.913 | 62.9838 | 14.8348
2019-08-20 03:15:00 | 0 | 146.136 | 6.7517 | 197.743 | 0 | 143.141 | 0 | 324.508 | 22.15 | 968.953 | 63.8363 | 21.2934
2019-08-20 03:30:00 | 0 | 142.678 | 4.4507 | 196.623 | 0 | 154.706 | 3.6837 | 336.049 | 21.95 | 968.797 | 64.2796 | 26.8209
2019-08-20 03:45:00 | 3.2973 | 150.202 | 6.496 | 206.946 | 0 | 156.678 | 3.1723 | 333.663 | 21.83 | 968.46 | 64.3138 | 33.6802
2019-08-20 04:00:00 | 0.62733 | 139.611 | 9.564 | 194.383 | 0 | 156.971 | 5.4733 | 321.636 | 21.84 | 968.371 | 63.6319 | 32.6403
2019-08-20 04:15:00 | 5.4567 | 150.911 | 7.0073 | 207.608 | 0 | 147.38 | 4.7063 | 324.514 | 21.97 | 968.228 | 64.0422 | 36.3815
2019-08-20 04:30:00 | 2.648 | 121.934 | 5.9847 | 227.544 | 0 | 136.251 | 3.0523 | 299.186 | 21.8 | 967.813 | 64.5866 | 44.7113
2019-08-20 04:45:00 | 2.9033 | 142.001 | 10.5867 | 189.301 | 0 | 128.707 | 2.541 | 320.161 | 21.78 | 967.679 | 64.9298 | 46.9171
2019-08-20 05:00:00 | 4.18 | 139.978 | 9.0527 | 182.285 | 0 | 159.018 | 1.894 | 324.27 | 21.7 | 967.857 | 65.2697 | 47.2497
2019-08-20 05:15:00 | 2.5313 | 143.483 | 12.1207 | 194.847 | 0 | 142.12 | 4.195 | 326.994 | 21.81 | 967.668 | 65.7466 | 43.2149
2019-08-20 05:30:00 | 3.6693 | 130.36 | 8.03 | 183.282 | 0 | 130.871 | 3.428 | 334.689 | 21.57 | 967.852 | 66.7698 | 42.9932
2019-08-20 05:45:00 | 0.372 | 149.401 | 9.3083 | 204.175 | 0 | 156.608 | 5.2177 | 326.803 | 21.45 | 968.018 | 67.6569 | 33.7007
2019-08-20 06:00:00 | 2.1373 | 138.198 | 11.3537 | 183.548 | 0 | 154.633 | 2.9167 | 322.195 | 21.56 | 967.981 | 68.0648 | 38.5262
2019-08-20 06:15:00 | 0.372 | 135.179 | 8.5413 | 204.243 | 0 | 185.847 | 3.6837 | 330.887 | 21.55 | 968.024 | 69.5652 | 32.6624
2019-08-20 06:30:00 | 1.3713 | 151.784 | 11.098 | 197.694 | 0 | 154.097 | 3.1723 | 326.699 | 21.43 | 968.023 | 69.838 | 38.626
2019-08-20 06:45:00 | 0.372 | 141.122 | 10.8423 | 192.328 | 0 | 143.775 | 5.2177 | 322.216 | 21.33 | 968.023 | 69.5541 | 35.3227
2019-08-20 07:00:00 | 1.882 | 144.139 | 10.0753 | 192.472 | 0 | 146.038 | 4.4507 | 327.009 | 21.5 | 968.023 | 69.3488 | 37.3881
2019-08-20 07:15:00 | 0.62733 | 142.897 | 9.564 | 197.973 | 0 | 136.252 | 2.1497 | 325.548 | 21.73 | 968.023 | 68.7351 | 43.2001
2019-08-20 07:30:00 | 1.2547 | 157.514 | 8.2857 | 191.406 | 0 | 165.765 | 5.2177 | 322.354 | 21.85 | 968.468 | 68.8652 | 44.6263
2019-08-20 07:45:00 | 3.414 | 144.091 | 12.8877 | 190.928 | 0 | 140.44 | 3.6837 | 329.097 | 21.92 | 968.32 | 67.7693 | 43.9354
2019-08-20 08:00:00 | 0.62733 | 144.991 | 11.6093 | 195.064 | 0 | 156.941 | 5.9847 | 324.008 | 22.17 | 968.32 | 66.7462 | 46.3354
2019-08-20 08:15:00 | 0.372 | 145.064 | 9.564 | 194.261 | 0 | 140.293 | 1.774 | 325.079 | 22.12 | 968.468 | 67.053 | 42.4907
2019-08-20 08:30:00 | 0.99933 | 143.725 | 11.865 | 194.115 | 0 | 148.617 | 3.428 | 327.245 | 22.36 | 968.748 | 64.9736 | 47.4788
2019-08-20 08:45:00 | 0.744 | 139.871 | 10.331 | 204.13 | 0 | 160.266 | 4.4507 | 329.246 | 22.67 | 968.765 | 64.288 | 51.5706
2019-08-20 09:00:00 | 0.62733 | 141.657 | 11.6093 | 188.36 | 0 | 147.108 | 2.661 | 331.425 | 23.22 | 968.95 | 56.9872 | 56.1707
2019-08-20 09:15:00 | 3.6693 | 138.541 | 12.8877 | 193.908 | 0 | 150.952 | 5.4733 | 322.711 | 23.53 | 968.572 | 56.3736 | 58.2743
2019-08-20 09:30:00 | 3.1587 | 141.437 | 14.6773 | 197.899 | 0.37567 | 153.946 | 5.2177 | 317.504 | 23.83 | 968.474 | 49.4206 | 54.8787
2019-08-20 09:45:00 | 2.1373 | 147.74 | 14.6773 | 198.069 | 0 | 146.012 | 5.4733 | 328.917 | 24.23 | 968.47 | 48.1595 | 53.276
2019-08-20 10:00:00 | 1.6267 | 143.214 | 12.1207 | 200.235 | 0 | 141.194 | 4.4507 | 329.501 | 24.64 | 968.915 | 49.4547 | 48.2369
2019-08-20 10:15:00 | 3.414 | 151.171 | 10.0753 | 204.348 | 0.37567 | 159.689 | 2.1497 | 321.081 | 24.93 | 969.063 | 50.1023 | 53.3699
2019-08-20 10:30:00 | 7.4993 | 122.305 | 8.797 | 172.778 | 0 | 162.7 | 3.9393 | 322.529 | 24.88 | 969.211 | 51.8386 | 48.9102
2019-08-20 10:45:00 | 2.9033 | 154.304 | 10.331 | 211.371 | 0 | 160.071 | 2.4053 | 329.852 | 25.23 | 969.063 | 49.7593 | 45.0396
2019-08-20 11:00:00 | 4.4353 | 145.275 | 9.3083 | 197.109 | 0 | 146.37 | 5.9847 | 334.181 | 25.59 | 968.766 | 49.0432 | 58.7259
2019-08-20 11:15:00 | 0.744 | 142.842 | 12.1207 | 197.524 | 0 | 142.696 | 2.1497 | 330.313 | 25.4 | 968.766 | 49.1797 | 56.8652
2019-08-20 11:30:00 | 0.744 | 137.275 | 13.1433 | 188.724 | 0 | 140.414 | 4.4507 | 320.447 | 25.53 | 968.173 | 49.0795 | 59.3503
2019-08-20 11:45:00 | 0.744 | 139.877 | 11.3537 | 188.453 | 0 | 150.949 | 1.894 | 328.789 | 26.01 | 968.618 | 48.8743 | 53.4708
2019-08-20 12:00:00 | 0.88267 | 135.132 | 10.5867 | 183.635 | 0 | 147.567 | 1.007 | 325.456 | 26.07 | 968.618 | 51.192 | 51.5579
2019-08-20 12:15:00 | 6.9887 | 128.49 | 8.2857 | 181.375 | 0 | 152.582 | 7.263 | 309.107 | 26.32 | 968.766 | 51.0564 | 50.5539
2019-08-20 12:30:00 | 3.808 | 143.066 | 12.3763 | 188.674 | 0 | 136.52 | 1.007 | 332.783 | 26.09 | 967.877 | 50.7493 | 58.0727
2019-08-20 12:45:00 | 2.648 | 143.326 | 11.098 | 201.048 | 0 | 155.858 | 1.894 | 325.805 | 25.82 | 967.877 | 49.1447 | 56.1801
2019-08-20 13:00:00 | 0.372 | 143.524 | 11.865 | 196.04 | 0 | 144.108 | 1.894 | 326.08 | 25.96 | 967.728 | 48.8049 | 53.4016
2019-08-20 13:15:00 | 6.2227 | 128.992 | 12.1207 | 184.28 | 0 | 139.383 | 2.9167 | 321.227 | 26.16 | 967.728 | 48.2922 | 54.5692
2019-08-20 13:30:00 | 2.3927 | 143.789 | 10.8423 | 199.175 | 0 | 154.447 | 1.007 | 324.127 | 26.32 | 967.432 | 49.9287 | 54.6763
2019-08-20 13:45:00 | 1.116 | 159.435 | 7.7743 | 196.79 | 0 | 153.4 | 1.2627 | 319.138 | 26.57 | 968.025 | 50.6443 | 54.1842
2019-08-20 14:00:00 | 6.7333 | 152.236 | 11.098 | 196.09 | 0 | 152.09 | 4.195 | 333.674 | 26.66 | 968.47 | 49.8958 | 48.5593
2019-08-20 14:15:00 | 4.946 | 138.758 | 9.0527 | 196.167 | 0 | 159.856 | 3.428 | 332.853 | 26.98 | 968.618 | 48.4313 | 44.5503
2019-08-20 14:30:00 | 4.6907 | 160.151 | 9.3083 | 211.224 | 0 | 148.18 | 2.1497 | 347.311 | 26.93 | 967.672 | 48.7316 | 45.672
2019-08-20 14:45:00 | 3.9247 | 143.792 | 8.5413 | 196.82 | 0 | 125.274 | 1.774 | 320.704 | 26.8 | 967.577 | 48.6349 | 41.1015
2019-08-20 15:00:00 | 3.414 | 156.451 | 7.0073 | 187.506 | 0 | 161.975 | 2.661 | 334.658 | 26.94 | 967.431 | 49.2839 | 36.1984
2019-08-20 15:15:00 | 6.478 | 148.128 | 9.0527 | 223.522 | 0.37567 | 190.545 | 2.4053 | 329.791 | 26.94 | 967.58 | 46.4891 | 36.4777
2019-08-20 15:30:00 | 0 | 163.064 | 5.9847 | 222.151 | 0 | 170.292 | 0 | 321.505 | 27.01 | 968.025 | 47.8848 | 31.593
2019-08-20 15:45:00 | 0 | 172.848 | 4.7063 | 219.54 | 0 | 164.6 | 0 | 341.681 | 26.97 | 968.069 | 49.3437 | 26.3738
2019-08-20 16:00:00 | 0 | 138.13 | 7.263 | 197.607 | 0 | 151.048 | 0 | 327.152 | 26.86 | 967.73 | 49.6425 | 21.9104
2019-08-20 16:15:00 | 0 | 148.736 | 6.496 | 201.304 | 0 | 156.423 | 2.9167 | 328.318 | 26.98 | 967.433 | 49.7104 | 22.4794
2019-08-20 16:30:00 | 0 | 139.954 | 4.7063 | 198.847 | 0 | 172.771 | 0 | 311.727 | 26.92 | 967.433 | 50.8348 | 23.5472
2019-08-20 16:45:00 | 0 | 160.024 | 5.4733 | 211.594 | 0 | 162.505 | 0 | 330.338 | 26.86 | 967.73 | 51.0392 | 23.7394
2019-08-20 17:00:00 | 0 | 160.225 | 6.2403 | 208.879 | 0 | 165.626 | 0 | 350.691 | 26.82 | 967.585 | 50.4963 | 15.0639
2019-08-20 17:15:00 | 0 | 152.747 | 6.2403 | 198.474 | 0 | 153.477 | 0 | 327.2 | 26.54 | 967.116 | 54.0536 | 14.1697
2019-08-20 17:30:00 | 0 | 161.187 | 2.4053 | 210.076 | 0 | 206.545 | 0 | 337.509 | 26.44 | 967.135 | 52.2801 | 13.161
2019-08-20 17:45:00 | 8.01 | 147.615 | 5.729 | 209.283 | 0 | 154.21 | 5.2177 | 336.867 | 26.32 | 967.135 | 51.1918 | 13.0428
2019-08-20 18:00:00 | 3.2973 | 164.069 | 6.7517 | 228.634 | 0 | 175.19 | 0 | 346.195 | 26.31 | 967.283 | 50.8521 | 13.6451
2019-08-20 18:15:00 | 0 | 179.984 | 4.4507 | 241.289 | 0 | 184.219 | 1.3983 | 4.9157 | 26.34 | 967.431 | 51.3974 | 10.5303
2019-08-20 18:30:00 | 0 | 173.584 | 3.1723 | 231.433 | 0 | 186.02 | 0 | 335.171 | 26.32 | 967.135 | 52.6926 | 9.3923
2019-08-20 18:45:00 | 0 | 191.909 | 4.7063 | 235.473 | 0 | 206.997 | 0 | 13.1411 | 26.02 | 967.324 | 53.9877 | 3.4436
2019-08-20 19:00:00 | 0 | 151.439 | 5.2177 | 226.079 | 0 | 192.882 | 0 | 346.39 | 25.76 | 967.762 | 54.3967 | 3.0076
2019-08-20 19:15:00 | 0 | 165.875 | 2.4053 | 215.014 | 0 | 161.008 | 0 | 353.749 | 25.38 | 967.71 | 56.3411 | 1.4521
2019-08-20 19:30:00 | 0 | 161.783 | 4.962 | 204.091 | 0 | 152.996 | 0 | 348.1 | 24.91 | 967.578 | 57.746 | 3.1111
2019-08-20 19:45:00 | 0 | 172.47 | 3.9393 | 222.3 | 0 | 165.411 | 4.962 | 349.272 | 24.81 | 967.875 | 58.3262 | 4.7701
2019-08-20 20:00:00 | 0 | 152.536 | 4.195 | 205.311 | 0 | 153.631 | 0 | 351.633 | 24.97 | 967.875 | 56.1104 | 3.4879
2019-08-20 20:15:00 | 0 | 180.794 | 4.7063 | 245.422 | 0 | 189.142 | 0 | 4.3081 | 25.15 | 968.171 | 53.7583 | 0.60965
2019-08-20 20:30:00 | 0 | 173.589 | 3.9393 | 222.981 | 0 | 183.958 | 0 | 356.769 | 25.23 | 968.022 | 54.5423 | 0.41752
2019-08-20 20:45:00 | 0 | 165.046 | 3.6837 | 208.013 | 0 | 160.836 | 0 | 352.509 | 25.51 | 968.171 | 52.0198 | 1.3301
2019-08-20 21:00:00 | 0 | 165.801 | 4.4507 | 198.861 | 0 | 159.643 | 0 | 5.4764 | 25.6 | 968.449 | 49.8381 | 1.1121
2019-08-20 21:15:00 | 0 | 145.94 | 2.4053 | 201.441 | 0 | 147.108 | 0 | 334.839 | 25.65 | 968.172 | 51.2698 | 0.9348
2019-08-20 21:30:00 | 0 | 166.774 | 3.6837 | 209.035 | 0 | 158.304 | 0 | 348.25 | 25.77 | 968.172 | 50.3835 | 2.18
2019-08-20 21:45:00 | 0 | 149.445 | 3.6837 | 202.707 | 0 | 158.499 | 0 | 340.169 | 25.53 | 968.305 | 50.6562 | 1.9693
2019-08-20 22:00:00 | 0 | 157.525 | 4.195 | 202.561 | 0 | 154.483 | 0 | 341.873 | 25.53 | 968 | 50.5198 | 1.2636
2019-08-20 22:15:00 | 0 | 158.499 | 3.1723 | 198.252 | 0 | 163.172 | 0 | 343.869 | 25.55 | 968.018 | 48.645 | 0.50619
2019-08-20 22:30:00 | 0 | 153.144 | 3.6837 | 199.421 | 0 | 140.731 | 0 | 327.926 | 25.49 | 968.023 | 47.52 | 0.76114
2019-08-20 22:45:00 | 0 | 155.14 | 4.7063 | 200.808 | 0 | 160.081 | 0 | 342.725 | 25.52 | 968.023 | 47.0428 | 1.1084
2019-08-20 23:00:00 | 0 | 147.011 | 4.7063 | 192.241 | 0 | 126.006 | 1.1427 | 333.573 | 25.45 | 968.023 | 48.2018 | 1.138
2019-08-20 23:15:00 | 0 | 135.717 | 3.6837 | 184.063 | 0 | 136.496 | 0 | 321.622 | 25.53 | 967.845 | 46.361 | 0.8572
2019-08-20 23:30:00 | 0 | 131.239 | 3.1723 | 183.478 | 0 | 131.044 | 0 | 323.959 | 25.65 | 968.172 | 45.6792 | 0.56901
2019-08-20 23:45:00 | 0 | 127.539 | 3.6837 | 177.077 | 0 | 138.054 | 0 | 323.618 | 25.56 | 968.172 | 46.0201 | 0.62812