## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-08-21 00:00:00 | 0 | 139.125 | 3.1723 | 190.293 | 0 | 144.382 | 0 | 324.738 | 25.59 | 967.875 | 46.9064 | 0.63182
2019-08-21 00:15:00 | 0 | 133.186 | 2.9167 | 177.637 | 0 | 140.877 | 0 | 319.115 | 25.48 | 967.726 | 47.52 | 0.31406
2019-08-21 00:30:00 | 0 | 135.693 | 3.1723 | 178.318 | 0 | 126.76 | 0 | 318.604 | 25.53 | 967.874 | 45.611 | -0.15888
2019-08-21 00:45:00 | 0 | 117.17 | 1.3827 | 171.017 | 0 | 110.501 | 0 | 331.31 | 25.54 | 967.874 | 46.7701 | -0.3584
2019-08-21 01:00:00 | 0 | 117.146 | 0 | 171.041 | 0 | 176.242 | 0 | 331.31 | 25.31 | 967.875 | 47.3837 | -0.25125
2019-08-21 01:15:00 | 0 | 117.17 | 1.6383 | 171.017 | 0 | 134.452 | 0 | 319.773 | 25.21 | 967.575 | 46.361 | -0.25125
2019-08-21 01:30:00 | 6.9887 | 121.99 | 2.1497 | 177.807 | 0 | 135.62 | 3.1723 | 321.014 | 25.36 | 967.568 | 47.0428 | -0.25125
2019-08-21 01:45:00 | 0 | 122.476 | 1.6383 | 179.535 | 0 | 137.567 | 0 | 328.072 | 25.13 | 967.726 | 48.5427 | -0.25125
2019-08-21 02:00:00 | 0 | 124.667 | 1.127 | 183.478 | 0 | 179.528 | 0 | 352.242 | 25.04 | 968.023 | 48.8154 | -0.25125
2019-08-21 02:15:00 | 0.99933 | 160.738 | 1.894 | 205.822 | 0 | 166.263 | 0 | 347.812 | 25 | 967.875 | 50.0426 | -0.25125
2019-08-21 02:30:00 | 0 | 198.61 | 2.4053 | 248.952 | 0 | 219.25 | 0 | 2.9694 | 24.78 | 967.875 | 50.7926 | -0.25125
2019-08-21 02:45:00 | 0 | 183.204 | 1.894 | 257.422 | 0 | 202.115 | 0 | 1.2657 | 24.6 | 967.875 | 52.1561 | -0.26972
2019-08-21 03:00:00 | 0 | 227.38 | 1.894 | 258.542 | 0 | 214.821 | 0 | 47.024 | 24.46 | 968.023 | 53.1447 | -0.26972
2019-08-21 03:15:00 | 0 | 239.216 | 3.1723 | 285.81 | 0 | 239.556 | 0 | 64.745 | 24.06 | 967.875 | 60.271 | -0.30667
2019-08-21 03:30:00 | 6.9887 | 277.152 | 2.1497 | 328.211 | 0 | 276.592 | 0.37567 | 102.048 | 23.25 | 967.43 | 59.5975 | -0.26972
2019-08-21 03:45:00 | 12.606 | 282.387 | 2.1497 | 319.01 | 0 | 273.307 | 3.428 | 101.951 | 23.11 | 967.578 | 63.6551 | -0.28081
2019-08-21 04:00:00 | 0 | 250.048 | 2.1497 | 290.284 | 0 | 194.974 | 0 | 98.6315 | 22.47 | 967.133 | 68.6776 | -0.16996
2019-08-21 04:15:00 | 0 | 220.932 | 3.428 | 261.656 | 0 | 204.619 | 0 | 40.32 | 22 | 967.43 | 71.202 | -0.014779
2019-08-21 04:30:00 | 0 | 214.723 | 2.1497 | 254.643 | 0 | 183.242 | 0 | 22.3756 | 21.67 | 967.586 | 76.5217 | -0.23278
2019-08-21 04:45:00 | 0 | 184.824 | 1.3827 | 253.28 | 0 | 195.172 | 0 | 355.235 | 21.58 | 967.46 | 72.8389 | -0.2882
2019-08-21 05:00:00 | 0 | 184.751 | 1.127 | 253.28 | 0 | 201.843 | 0 | 355.235 | 21.89 | 967.923 | 70.1108 | -0.26972
2019-08-21 05:15:00 | 0 | 184.8 | 0 | 253.28 | 0 | 201.843 | 0 | 355.235 | 22.4 | 968.088 | 69.4288 | -0.26972
2019-08-21 05:30:00 | 0 | 68.0035 | 1.127 | 15.8122 | 0 | 297.043 | 0 | 183.339 | 22.5 | 968.182 | 66.4961 | -0.2882
2019-08-21 05:45:00 | 0 | 352.289 | 1.127 | 28.793 | 0 | 356.16 | 0 | 169.29 | 22.69 | 968.636 | 67.8602 | -0.26972
2019-08-21 06:00:00 | 0 | 334.49 | 2.1497 | 27.6243 | 0 | 353.676 | 0 | 163.179 | 22.56 | 968.767 | 66.9054 | -0.2882
2019-08-21 06:15:00 | 11.5847 | 334.49 | 2.1497 | 21.4887 | 0 | 341.843 | 14.166 | 145.795 | 22.22 | 968.765 | 67.6556 | -0.26972
2019-08-21 06:30:00 | 0 | 334.563 | 1.3827 | 21.5374 | 0 | 348.028 | 0 | 146.842 | 22.4 | 968.913 | 67.5192 | -0.25125
2019-08-21 06:45:00 | 0 | 334.588 | 0.75133 | 21.5861 | 0 | 353.165 | 0 | 146.817 | 22.47 | 969.21 | 69.2924 | -0.25125
2019-08-21 07:00:00 | 0 | 334.582 | 1.6383 | 36.9729 | 0 | 355.302 | 0 | 146.839 | 22.46 | 969.507 | 69.6322 | -0.26972
2019-08-21 07:15:00 | 7.4993 | 326.449 | 2.1497 | 11.8463 | 0 | 325.231 | 1.3827 | 144.55 | 22.54 | 969.358 | 70.7913 | -0.2882
2019-08-21 07:30:00 | 0 | 329.569 | 1.894 | 40.5679 | 0 | 327.524 | 0 | 156.702 | 22.46 | 969.803 | 70.3044 | -0.25125
2019-08-21 07:45:00 | 3.6693 | 356.927 | 1.894 | 42.5146 | 0 | 3.3108 | 0 | 161.691 | 22.34 | 969.803 | 67.3031 | -0.2882
2019-08-21 08:00:00 | 0 | 0.073031 | 2.1497 | 57.9971 | 0 | 13.1456 | 0 | 161.958 | 22.39 | 970.248 | 68.2578 | -0.25125
2019-08-21 08:15:00 | 0 | 349.813 | 2.661 | 60.2355 | 0 | 15.7744 | 0 | 189.488 | 22.46 | 970.248 | 73.2344 | -0.25125
2019-08-21 08:30:00 | 0 | 7.3994 | 2.661 | 69.1341 | 0 | 29.5004 | 0 | 149.644 | 22.18 | 970.1 | 73.0208 | -0.25125
2019-08-21 08:45:00 | 0 | 8.179 | 2.1497 | 61.4002 | 0 | 31.7422 | 0 | 161.072 | 21.99 | 970.1 | 79.095 | -0.26972
2019-08-21 09:00:00 | 0 | 16.0655 | 1.894 | 67.046 | 0 | 26.9706 | 0 | 200.162 | 22.18 | 970.545 | 79.1958 | -0.25125
2019-08-21 09:15:00 | 0 | 356.868 | 0 | 65.773 | 0 | 8.5676 | 0 | 158.695 | 22.42 | 970.99 | 77.3142 | -0.25125
2019-08-21 09:30:00 | 0 | 19.715 | 0 | 3.2544 | 0 | 0.58415 | 0 | 141.023 | 23.35 | 971.284 | 75.0639 | -0.25125
2019-08-21 09:45:00 | 0 | 97.442 | 0 | 331.049 | 0 | 54.7564 | 0 | 216.884 | 23.99 | 971.635 | 74.9172 | -0.25125
2019-08-21 10:00:00 | 0 | 3.1149 | 0.37567 | 38.1129 | 0 | 54.7059 | 0 | 176.967 | 25.07 | 971.884 | 66.7348 | -0.24016
2019-08-21 10:15:00 | 0 | 22.0958 | 1.6383 | 63.419 | 0 | 0.048669 | 0 | 200.103 | 25.13 | 972.028 | 68.8458 | -0.25125
2019-08-21 10:30:00 | 0 | 26.8575 | 1.894 | 65.9244 | 0 | 18.2942 | 0 | 218.631 | 25.47 | 972.041 | 65.8271 | -0.26972
2019-08-21 10:45:00 | 0 | 333.743 | 3.1723 | 54.2463 | 0 | 355.2 | 0 | 176.128 | 24.65 | 971.88 | 67.8706 | -0.2882
2019-08-21 11:00:00 | 0 | 295.769 | 1.007 | 19.854 | 0 | 306.497 | 0 | 109.107 | 25.32 | 971.584 | 69.1312 | -0.19583
2019-08-21 11:15:00 | 0 | 14.8141 | 2.4053 | 58.4006 | 0 | 10.8005 | 0 | 200.246 | 25.73 | 971.732 | 62.2443 | -0.26972
2019-08-21 11:30:00 | 0 | 16.9774 | 4.195 | 71.7706 | 0 | 33.1522 | 0 | 198.816 | 25.25 | 971.584 | 62.2041 | -0.26972
2019-08-21 11:45:00 | 0 | 16.6374 | 3.428 | 70.5086 | 0 | 280.525 | 0 | 214.316 | 25.51 | 971.139 | 63.9775 | -0.26972
2019-08-21 12:00:00 | 0 | 24.0836 | 1.894 | 77.8427 | 0 | 0.048654 | 5.2177 | 157.103 | 25.72 | 970.991 | 62.5889 | -0.29928
2019-08-21 12:15:00 | 0 | 303.115 | 3.6837 | 14.0155 | 0 | 305.67 | 0 | 125.917 | 25.37 | 971.139 | 67.0528 | 2.0211
2019-08-21 12:30:00 | 0 | 34.8364 | 4.7063 | 81.079 | 0 | 3.1139 | 0 | 201.209 | 25.46 | 970.843 | 66.1329 | 2.9817
2019-08-21 12:45:00 | 0 | 30.0683 | 2.4053 | 4.1081 | 0 | 329.194 | 0 | 177.904 | 25.87 | 971.139 | 65.3492 | 3.0926
2019-08-21 13:00:00 | 0 | 354.567 | 3.428 | 70.6427 | 0 | 6.6413 | 0 | 186.808 | 25.28 | 970.398 | 63.5434 | 5.1137
2019-08-21 13:15:00 | 0 | 34.3985 | 3.6837 | 102.9 | 0 | 7.4198 | 0 | 212.984 | 25.77 | 970.695 | 64.293 | 3.6727
2019-08-21 13:30:00 | 0 | 329.827 | 3.9393 | 15.8401 | 0 | 325.01 | 0 | 156.642 | 25.4 | 970.546 | 68.6201 | 3.8648
2019-08-21 13:45:00 | 0 | 126.357 | 0.75133 | 131.512 | 0 | 310.443 | 0.37567 | 156.766 | 25.45 | 970.718 | 70.5293 | 3.6949
2019-08-21 14:00:00 | 0 | 15.8138 | 3.428 | 43.6933 | 0 | 309.513 | 0 | 197.795 | 25.43 | 970.314 | 71.8284 | 2.7527
2019-08-21 14:15:00 | 0 | 77.9446 | 2.4053 | 131.267 | 0 | 106.748 | 0 | 252.25 | 26.2 | 970.993 | 67.2578 | 1.1195
2019-08-21 14:30:00 | 0 | 20.4834 | 2.661 | 51.8136 | 0 | 25.3002 | 0 | 207.461 | 26.24 | 970.991 | 65.3833 | 1.744
2019-08-21 14:45:00 | 0 | 356.927 | 4.4507 | 68.356 | 0 | 19.3157 | 0 | 180.191 | 26.17 | 971.287 | 63.4072 | 1.8142
2019-08-21 15:00:00 | 0 | 10.7764 | 1.127 | 59.011 | 0 | 303.029 | 0 | 192.978 | 26.16 | 971.584 | 64.1199 | 1.1491
2019-08-21 15:15:00 | 0 | 353.267 | 4.4507 | 18.6379 | 0 | 292.168 | 0 | 165.883 | 26.92 | 971.88 | 63.635 | 1.3634
2019-08-21 15:30:00 | 0 | 28.7254 | 2.1497 | 59.9982 | 0 | 9.4373 | 0 | 186.727 | 26.52 | 971.139 | 62.5447 | 1.2193
2019-08-21 15:45:00 | 0 | 29.5767 | 3.9393 | 102.32 | 0 | 57.3292 | 0.887 | 200.518 | 27.04 | 971.88 | 61.0799 | 3.1813
2019-08-21 16:00:00 | 0 | 354.2 | 3.428 | 51.0394 | 0 | 356.948 | 0 | 159.541 | 26.72 | 971.732 | 61.8565 | 3.2367
2019-08-21 16:15:00 | 0 | 4.7669 | 3.9393 | 48.1226 | 0 | 350.779 | 0 | 190.554 | 26.86 | 971.732 | 61.858 | 3.7687
2019-08-21 16:30:00 | 0 | 3.0646 | 3.6837 | 51.1186 | 0 | 14.107 | 0 | 191.271 | 26.38 | 971.287 | 62.1344 | 2.4571
2019-08-21 16:45:00 | 0 | 78.8361 | 2.1497 | 46.0657 | 0 | 6.2271 | 0 | 169.008 | 26.41 | 971.139 | 63.0941 | 1.6885
2019-08-21 17:00:00 | 0 | 319.652 | 4.7063 | 3.8401 | 0 | 321.696 | 0 | 138.492 | 26.55 | 971.287 | 61.6684 | 1.5888
2019-08-21 17:15:00 | 0 | 323.866 | 3.1723 | 9.8493 | 0 | 315.279 | 0 | 151.85 | 26.44 | 970.695 | 64.0545 | 1.6811
2019-08-21 17:30:00 | 0 | 335.519 | 2.661 | 11.3333 | 0 | 321.117 | 0 | 155.645 | 26.33 | 970.695 | 66.5758 | 1.0789
2019-08-21 17:45:00 | 0 | 299.734 | 2.4053 | 0.34372 | 0 | 323.599 | 0 | 129.931 | 26.16 | 970.398 | 66.9165 | 1.6701
2019-08-21 18:00:00 | 0 | 326.068 | 4.4507 | 24.9194 | 0 | 338.113 | 0 | 153.544 | 25.89 | 970.185 | 68.6379 | 3.2884
2019-08-21 18:15:00 | 0 | 337.483 | 5.2177 | 24.1655 | 0 | 343.785 | 0 | 160.796 | 25.63 | 969.804 | 66.6618 | 5.4277
2019-08-21 18:30:00 | 0 | 342.739 | 4.962 | 27.9407 | 0 | 326.143 | 0 | 162.171 | 25.59 | 969.656 | 65.3374 | 6.4623
2019-08-21 18:45:00 | 0 | 337.045 | 4.4507 | 23.5116 | 0 | 357 | 0 | 169.91 | 25.51 | 969.676 | 65.0988 | 7.6927
2019-08-21 19:00:00 | 0 | 353.366 | 3.9393 | 40.3301 | 0 | 0.048673 | 0 | 165.731 | 25.4 | 969.748 | 65.2381 | 7.4266
2019-08-21 19:15:00 | 0 | 346.545 | 4.4507 | 34.0336 | 0 | 0.073018 | 0 | 162.563 | 25.18 | 969.951 | 66.6096 | 6.2332
2019-08-21 19:30:00 | 0 | 347.617 | 3.428 | 40.362 | 0 | 12.4375 | 0 | 173.127 | 24.98 | 969.803 | 67.7689 | 6.3662
2019-08-21 19:45:00 | 0 | 356.817 | 4.4507 | 40.5811 | 0 | 356.939 | 0 | 184.932 | 24.85 | 969.951 | 69.337 | 5.6494
2019-08-21 20:00:00 | 0 | 4.7706 | 3.428 | 57.5215 | 0 | 12.4132 | 0 | 190.092 | 24.7 | 970.248 | 71.3824 | 5.86
2019-08-21 20:15:00 | 0 | 1.7525 | 3.9393 | 56.9133 | 0 | 12.2185 | 0 | 191.358 | 24.56 | 969.951 | 71.5872 | 6.0485
2019-08-21 20:30:00 | 0 | 11.489 | 3.9393 | 59.4247 | 0 | 0.048682 | 0 | 192.708 | 24.44 | 969.951 | 73.023 | 3.8426
2019-08-21 20:45:00 | 0 | 7.8869 | 3.6837 | 56.8239 | 0 | 3.7974 | 0 | 191.914 | 24.44 | 970.248 | 71.9356 | 3.1517
2019-08-21 21:00:00 | 0 | 9.8102 | 3.6837 | 61.5976 | 0 | 17.1861 | 0 | 195.888 | 24.44 | 970.1 | 72.2789 | 3.2662
2019-08-21 21:15:00 | 0 | 0.14606 | 2.9167 | 54.2237 | 0 | 8.8854 | 0 | 189.028 | 24.43 | 970.1 | 72.1444 | 4.238
2019-08-21 21:30:00 | 0 | 10.5406 | 4.962 | 63.8382 | 0 | 26.7776 | 0 | 191.995 | 24.41 | 970.1 | 70.916 | 5.9007
2019-08-21 21:45:00 | 0 | 9.5184 | 5.2177 | 60.2367 | 0 | 19.8644 | 0 | 190.83 | 24.25 | 970.248 | 72.9969 | 6.1741
2019-08-21 22:00:00 | 0 | 13.7785 | 4.7063 | 65.8845 | 0 | 15.0931 | 0 | 193.849 | 23.86 | 969.951 | 74.2925 | 6.7837
2019-08-21 22:15:00 | 0 | 16.4563 | 4.962 | 61.5513 | 0 | 21.5198 | 0 | 198.863 | 23.78 | 969.951 | 74.2243 | 6.95
2019-08-21 22:30:00 | 0 | 23.3699 | 3.1723 | 63.7422 | 0 | 17.7222 | 0 | 199.91 | 23.7 | 969.803 | 73.8493 | 6.1039
2019-08-21 22:45:00 | 0 | 25.9017 | 4.4507 | 68.4162 | 0 | 21.5685 | 0 | 207.262 | 23.61 | 970.248 | 73.6106 | 5.5829
2019-08-21 23:00:00 | 0 | 24.8305 | 4.195 | 70.948 | 0 | 18.5012 | 0 | 204.779 | 23.72 | 969.803 | 72.8264 | 5.775
2019-08-21 23:15:00 | 0 | 27.8248 | 3.9393 | 68.6597 | 0 | 26.9728 | 0 | 205.728 | 23.73 | 969.951 | 72.6901 | 5.0176
2019-08-21 23:30:00 | 0 | 17.6248 | 4.4507 | 77.326 | 0 | 24.9523 | 0 | 206.873 | 23.67 | 970.248 | 72.5537 | 4.5853
2019-08-21 23:45:00 | 0 | 24.5385 | 4.962 | 74.7458 | 0 | 20.6922 | 0 | 208.821 | 23.59 | 970.248 | 71.1901 | 4.2638