## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-08-22 00:00:00 | 0 | 28.4334 | 4.7063 | 78.6406 | 0 | 16.9432 | 0 | 213.884 | 23.57 | 970.1 | 70.5081 | 4.6333
2019-08-22 00:15:00 | 0 | 35.713 | 3.9393 | 85.5321 | 0 | 41.4825 | 0 | 219.804 | 23.61 | 969.951 | 70.8164 | 4.3969
2019-08-22 00:30:00 | 0 | 36.224 | 3.6837 | 85.0691 | 0 | 40.8251 | 0 | 214.569 | 23.39 | 969.803 | 72.6232 | 5.2947
2019-08-22 00:45:00 | 0 | 30.8696 | 4.7063 | 79.328 | 0 | 24.4425 | 0 | 218.619 | 23.41 | 969.655 | 71.7396 | 6.5879
2019-08-22 01:00:00 | 0 | 37.3484 | 5.4733 | 90.2921 | 0 | 19.6481 | 0 | 219.635 | 23.38 | 969.506 | 70.4496 | 6.8502
2019-08-22 01:15:00 | 0 | 29.9706 | 4.195 | 79.9668 | 0 | 15.7035 | 0 | 214.201 | 23.44 | 969.21 | 68.0611 | 4.4153
2019-08-22 01:30:00 | 0 | 29.9708 | 4.7063 | 78.1659 | 0 | 22.4963 | 0 | 214.446 | 23.36 | 969.803 | 66.0498 | 2.8635
2019-08-22 01:45:00 | 0 | 29.1672 | 4.7063 | 65.4808 | 0 | 6.5979 | 0 | 203.513 | 23.54 | 969.803 | 61.6848 | 2.7822
2019-08-22 02:00:00 | 0 | 12.2708 | 4.4507 | 60.88 | 0 | 14.9002 | 0 | 195.626 | 23.54 | 969.803 | 63.3562 | 2.2095
2019-08-22 02:15:00 | 0 | 17.1395 | 4.7063 | 59.7572 | 0 | 15.8735 | 0 | 195.157 | 23.53 | 969.803 | 61.8536 | 1.9509
2019-08-22 02:30:00 | 0 | 21.4476 | 3.6837 | 71.2436 | 0 | 27.5581 | 0 | 204.276 | 23.63 | 969.951 | 61.1684 | 1.3264
2019-08-22 02:45:00 | 0 | 24.88 | 3.1723 | 76.8421 | 0 | 20.3519 | 0 | 206.635 | 23.6 | 969.951 | 60.5542 | 0.33993
2019-08-22 03:00:00 | 0 | 27.7523 | 3.428 | 76.6947 | 0 | 47.0328 | 0 | 208.531 | 23.83 | 969.803 | 59.2918 | -0.036948
2019-08-22 03:15:00 | 0 | 33.2048 | 3.1723 | 80.1012 | 0 | 34.568 | 0 | 213.859 | 23.9 | 969.951 | 58.4385 | 0.036949
2019-08-22 03:30:00 | 0 | 26.9728 | 2.1497 | 75.1351 | 0 | 31.2573 | 0 | 203.197 | 23.89 | 969.951 | 58.984 | -0.30298
2019-08-22 03:45:00 | 0 | 16.1642 | 1.6383 | 76.3036 | 0 | 30.5757 | 0 | 198.401 | 23.96 | 969.951 | 58.9158 | -0.30667
2019-08-22 04:00:00 | 6.2227 | 348.651 | 2.4053 | 34.3839 | 0 | 340.764 | 0 | 176.638 | 23.96 | 970.396 | 59.1887 | -0.26972
2019-08-22 04:15:00 | 0 | 343.708 | 3.428 | 24.8897 | 0 | 343.733 | 0 | 170.43 | 23.61 | 970.396 | 63.6891 | -0.26972
2019-08-22 04:30:00 | 0 | 354.987 | 3.1723 | 39.205 | 0 | 351.043 | 0 | 176.13 | 23.26 | 970.248 | 64.3041 | -0.28081
2019-08-22 04:45:00 | 0 | 356.842 | 3.6837 | 45.8276 | 0 | 3.9195 | 0 | 179.882 | 22.96 | 970.1 | 66.5213 | -0.19583
2019-08-22 05:00:00 | 0 | 353.752 | 4.195 | 38.6259 | 0 | 0.048693 | 0 | 173.005 | 23.26 | 970.396 | 67.7877 | 0.41013
2019-08-22 05:15:00 | 0 | 2.1425 | 4.4507 | 59.8587 | 0 | 16.5317 | 0 | 183.651 | 22.78 | 970.248 | 67.7901 | 2.4127
2019-08-22 05:30:00 | 0 | 3.2139 | 4.962 | 60.2504 | 0 | 15.2904 | 0 | 185.36 | 22.76 | 970.1 | 66.9736 | 5.9893
2019-08-22 05:45:00 | 0 | 9.7878 | 4.4507 | 62.6365 | 0 | 13.2939 | 0 | 192.104 | 22.54 | 970.396 | 65.0298 | 4.9991
2019-08-22 06:00:00 | 0 | 19.405 | 3.6837 | 72.5209 | 0 | 25.8572 | 0 | 203.789 | 22.88 | 970.545 | 60.9713 | 3.2478
2019-08-22 06:15:00 | 0 | 23.7596 | 3.9393 | 68.1247 | 0 | 28.1415 | 0 | 193.728 | 23.31 | 970.693 | 58.4388 | 3.8131
2019-08-22 06:30:00 | 0 | 14.5088 | 4.4507 | 60.042 | 0 | 21.252 | 0 | 196.94 | 23.61 | 971.138 | 57.5861 | 3.669
2019-08-22 06:45:00 | 0 | 19.2283 | 4.4507 | 69.9593 | 0 | 10.9042 | 0 | 203.723 | 23.69 | 971.138 | 57.4061 | 3.7835
2019-08-22 07:00:00 | 0 | 10.1248 | 3.428 | 52.4797 | 0 | 15.893 | 0 | 192.882 | 23.84 | 971.405 | 56.1078 | 1.9804
2019-08-22 07:15:00 | 0 | 7.9577 | 4.962 | 65.9526 | 0 | 23.3133 | 0 | 183.976 | 24 | 971.505 | 56.8508 | 1.7661
2019-08-22 07:30:00 | 0 | 11.5836 | 4.7063 | 67.3397 | 0 | 11.827 | 0 | 201.521 | 23.97 | 971.288 | 55.8964 | 1.2452
2019-08-22 07:45:00 | 0 | 17.6188 | 3.9393 | 64.8575 | 0 | 44.8258 | 0 | 199.72 | 24.18 | 971.584 | 58.2141 | 0.86829
2019-08-22 08:00:00 | 0 | 41.1737 | 3.1723 | 60.1087 | 0 | 11.4858 | 0 | 211.295 | 24.63 | 972.028 | 57.1892 | -0.23647
2019-08-22 08:15:00 | 0 | 33.9653 | 2.661 | 86.4456 | 0 | 14.6956 | 0 | 209.266 | 24.97 | 972.448 | 57.1799 | -0.18474
2019-08-22 08:30:00 | 0 | 26.5165 | 4.195 | 70.5941 | 0 | 25.3245 | 0 | 204.494 | 25.19 | 972.474 | 51.2436 | -0.084981
2019-08-22 08:45:00 | 0 | 12.7961 | 4.4507 | 67.237 | 0 | 25.0083 | 0 | 192.087 | 25.13 | 972.325 | 54.1738 | -0.26233
2019-08-22 09:00:00 | 0 | 26.7111 | 3.9393 | 73.7566 | 0 | 33.3281 | 0 | 199.288 | 25.61 | 972.77 | 53.0835 | -0.23647
2019-08-22 09:15:00 | 0 | 19.0717 | 3.428 | 74.7258 | 0 | 28.3156 | 0 | 199.012 | 25.83 | 972.77 | 51.7866 | -0.12193
2019-08-22 09:30:00 | 0 | 8.7576 | 5.2177 | 65.4352 | 0 | 11.4822 | 1.3827 | 197.557 | 25.68 | 972.325 | 43.8493 | 0.088676
2019-08-22 09:45:00 | 0 | 0.72981 | 3.6837 | 49.4046 | 0 | 0.048654 | 0 | 202.132 | 26.17 | 972.473 | 43.6793 | 0.21061
2019-08-22 10:00:00 | 0 | 346.594 | 2.1497 | 68.0108 | 0 | 23.742 | 0 | 151.988 | 26.44 | 972.622 | 45.2106 | 0.38796
2019-08-22 10:15:00 | 0 | 3.7701 | 5.2177 | 57.3477 | 0 | 344.368 | 0 | 183.105 | 26.61 | 972.325 | 45.2738 | 0.011085
2019-08-22 10:30:00 | 0 | 25.2224 | 5.729 | 64.1314 | 0 | 344.674 | 0 | 188.913 | 27.29 | 972.77 | 46.5329 | 0.55053
2019-08-22 10:45:00 | 0 | 0.14593 | 3.9393 | 76.9946 | 0 | 36.3608 | 0 | 180.977 | 26.71 | 972.622 | 44.4875 | 0.65768
2019-08-22 11:00:00 | 0 | 1.9702 | 4.7063 | 66.0301 | 0 | 30.0388 | 0 | 201.126 | 27.34 | 972.473 | 44.9326 | 1.9361
2019-08-22 11:15:00 | 0 | 332.802 | 2.9167 | 71.1843 | 0 | 54.0928 | 0 | 174.391 | 27.58 | 972.77 | 47.2139 | 2.2169
2019-08-22 11:30:00 | 0 | 10.6774 | 1.894 | 24.3634 | 0 | 288.702 | 0 | 195.208 | 27.13 | 972.473 | 45.4079 | 3.6949
2019-08-22 11:45:00 | 0 | 330.208 | 4.195 | 3.9469 | 0 | 322.765 | 0 | 160.142 | 27.47 | 972.325 | 49.5315 | 4.286
2019-08-22 12:00:00 | 0 | 12.113 | 2.4053 | 16.8742 | 0 | 311.144 | 0 | 178.46 | 27.24 | 972.473 | 47.2159 | 6.0669
2019-08-22 12:15:00 | 0 | 313.497 | 3.1723 | 9.0539 | 0 | 301.627 | 0 | 157.041 | 27.25 | 972.177 | 44.9701 | 4.0643
2019-08-22 12:30:00 | 0 | 21.6981 | 1.6383 | 53.0728 | 0 | 341.671 | 0 | 208.029 | 27.43 | 972.473 | 46.1633 | 3.6911
2019-08-22 12:45:00 | 0 | 356.882 | 4.4507 | 11.438 | 0 | 317.331 | 0 | 152.56 | 28.14 | 972.77 | 46.6721 | 4.6814
2019-08-22 13:00:00 | 0 | 67.7896 | 2.1497 | 8.7382 | 0.37567 | 292.952 | 1.2627 | 226.671 | 27.63 | 972.325 | 47.7613 | 5.4388
2019-08-22 13:15:00 | 0 | 15.6158 | 2.661 | 14.5397 | 0 | 6.689 | 0 | 156.402 | 27.69 | 972.177 | 50.1464 | 6.5288
2019-08-22 13:30:00 | 0 | 9.9979 | 4.962 | 85.7929 | 0 | 355.789 | 0 | 235.936 | 27.5 | 971.88 | 49.9122 | 9.1263
2019-08-22 13:45:00 | 0 | 305.186 | 5.729 | 336.829 | 0 | 268.358 | 0 | 129.022 | 27.59 | 972.325 | 51.1719 | 10.5081
2019-08-22 14:00:00 | 0 | 331.066 | 4.4507 | 55.4757 | 0 | 320.121 | 3.6837 | 188.945 | 28.05 | 972.622 | 51.5766 | 9.4219
2019-08-22 14:15:00 | 0 | 290.806 | 2.1497 | 150.261 | 0 | 9.6319 | 0 | 234.109 | 27.49 | 972.325 | 51.6097 | 9.4514
2019-08-22 14:30:00 | 0 | 331.575 | 3.6837 | 17.7136 | 0 | 309.611 | 0 | 141.61 | 27.35 | 972.325 | 52.2917 | 9.0524
2019-08-22 14:45:00 | 0 | 327.472 | 4.4507 | 2.6925 | 0 | 277.758 | 0 | 125.356 | 27.76 | 972.622 | 53.0725 | 12.629
2019-08-22 15:00:00 | 0 | 317.656 | 5.4733 | 13.0548 | 0 | 324.102 | 0 | 142.435 | 27.26 | 971.88 | 52.3929 | 13.8002
2019-08-22 15:15:00 | 0 | 321.785 | 3.6837 | 13.6673 | 0 | 357.01 | 0 | 142.235 | 26.74 | 971.287 | 54.9892 | 8.0954
2019-08-22 15:30:00 | 0 | 14.426 | 3.1723 | 48.9916 | 0 | 313.479 | 0 | 142.946 | 27.49 | 972.029 | 52.2658 | 7.8109
2019-08-22 15:45:00 | 0 | 76.1681 | 2.661 | 64.2204 | 0 | 298.834 | 0 | 191.114 | 26.6 | 971.436 | 59.5571 | 8.6681
2019-08-22 16:00:00 | 0 | 310.195 | 3.9393 | 9.4177 | 0 | 319.901 | 0 | 127.182 | 26.29 | 971.436 | 58.8075 | 4.7479
2019-08-22 16:15:00 | 0 | 337.273 | 3.428 | 2.188 | 0 | 2.6275 | 0 | 132.35 | 26.1 | 971.022 | 59.4254 | 3.7872
2019-08-22 16:30:00 | 0 | 20.7819 | 2.9167 | 59.0395 | 0 | 7.4951 | 0 | 176.428 | 26.03 | 971.28 | 60.8371 | 3.3956
2019-08-22 16:45:00 | 0 | 0.14601 | 1.6383 | 59.1369 | 0 | 27.8391 | 0 | 159.077 | 25.92 | 970.99 | 60.394 | 1.8179
2019-08-22 17:00:00 | 0 | 333.131 | 2.9167 | 26.2344 | 0 | 353.353 | 0 | 137.438 | 25.64 | 970.99 | 62.3684 | 2.8894
2019-08-22 17:15:00 | 0 | 45.5071 | 2.4053 | 24.3877 | 0 | 7.3979 | 0 | 169.642 | 25.4 | 970.842 | 63.0197 | 2.1615
2019-08-22 17:30:00 | 0 | 348.969 | 2.9167 | 35.3873 | 0 | 353.155 | 0 | 184.754 | 25.34 | 970.694 | 64.8262 | 0.90524
2019-08-22 17:45:00 | 0 | 321.835 | 2.661 | 27.2106 | 0 | 16.9861 | 0 | 157.474 | 25.16 | 970.636 | 66.7348 | 0.43969
2019-08-22 18:00:00 | 0 | 342.793 | 1.6383 | 52.7151 | 0 | 355.666 | 0 | 156.138 | 25.03 | 970.455 | 66.3267 | 0.86829
2019-08-22 18:15:00 | 0 | 340.595 | 3.1723 | 16.8974 | 0 | 0.048677 | 0 | 165.138 | 24.9 | 970.683 | 66.3007 | 1.5925
2019-08-22 18:30:00 | 0 | 352.485 | 3.6837 | 45.1326 | 0 | 1.4117 | 0 | 175.537 | 24.81 | 971.286 | 66.8826 | 2.2945
2019-08-22 18:45:00 | 0 | 66.885 | 4.195 | 45.8141 | 0 | 9.0543 | 0 | 180.064 | 24.72 | 970.99 | 68.3143 | 2.7527
2019-08-22 19:00:00 | 0 | 2.6287 | 3.9393 | 56.3044 | 0 | 18.8875 | 0 | 187.147 | 24.53 | 970.99 | 70.1551 | 1.9398
2019-08-22 19:15:00 | 0 | 11.1966 | 3.6837 | 63.5365 | 0 | 26.093 | 0 | 192.655 | 24.46 | 971.138 | 70.7032 | 1.138
2019-08-22 19:30:00 | 0 | 16.0656 | 3.9393 | 69.9675 | 0 | 24.0984 | 0 | 194.93 | 24.44 | 971.286 | 70.0255 | 1.8881
2019-08-22 19:45:00 | 0 | 10.5154 | 3.6837 | 67.5312 | 0 | 13.5094 | 0 | 191.347 | 24.53 | 971.435 | 68.7965 | 1.3043
2019-08-22 20:00:00 | 0 | 9.5422 | 3.9393 | 63.3482 | 0 | 17.8186 | 0 | 192.865 | 24.57 | 971.731 | 68.7996 | 1.3634
2019-08-22 20:15:00 | 0 | 18.5978 | 3.428 | 70.1408 | 0 | 16.4556 | 0 | 196.908 | 24.62 | 971.583 | 68.7663 | 0.84981
2019-08-22 20:30:00 | 0.372 | 27.9464 | 2.9167 | 70.0468 | 0 | 27.1187 | 0 | 196.501 | 24.68 | 971.731 | 68.0529 | -0.13301
2019-08-22 20:45:00 | 0 | 12.1475 | 3.1723 | 62.9631 | 0 | 15.2878 | 0 | 191.804 | 24.71 | 971.731 | 66.212 | -0.25864
2019-08-22 21:00:00 | 0 | 11.3928 | 3.1723 | 67.4425 | 0 | 16.4563 | 0 | 193.191 | 24.71 | 971.731 | 65.9393 | -0.15518
2019-08-22 21:15:00 | 0 | 11.8797 | 3.6837 | 63.8396 | 0 | 18.1117 | 0 | 193.459 | 24.78 | 971.583 | 64.1323 | -0.13671
2019-08-22 21:30:00 | 0 | 3.2863 | 3.6837 | 56.5107 | 0 | 8.6662 | 0 | 188.806 | 24.79 | 971.583 | 63.4151 | -0.218
2019-08-22 21:45:00 | 0 | 5.7449 | 3.1723 | 56.9228 | 0 | 12.6825 | 0 | 191.991 | 24.89 | 971.88 | 63.2773 | -0.22539
2019-08-22 22:00:00 | 0 | 10.2237 | 2.1497 | 58.5757 | 0 | 14.4591 | 0 | 193.007 | 24.84 | 971.731 | 60.8207 | -0.30298
2019-08-22 22:15:00 | 0.62733 | 10.2231 | 2.4053 | 58.5723 | 0 | 14.1177 | 0 | 193.023 | 25.13 | 971.88 | 60.7499 | -0.26972
2019-08-22 22:30:00 | 0 | 5.3549 | 2.1497 | 56.9154 | 0 | 1.8499 | 0 | 189.806 | 25.12 | 971.88 | 61.6349 | -0.26972
2019-08-22 22:45:00 | 0 | 2.8721 | 1.894 | 56.3302 | 0 | 11.9753 | 0 | 187.978 | 25.05 | 971.583 | 59.9295 | -0.25125
2019-08-22 23:00:00 | 0 | 0.14604 | 2.9167 | 54.9659 | 0 | 10.0279 | 0 | 187.682 | 25.05 | 971.731 | 59.2126 | -0.25125
2019-08-22 23:15:00 | 0 | 4.2838 | 2.661 | 57.0347 | 0 | 12.6079 | 0 | 192.209 | 24.99 | 971.731 | 60.5421 | -0.25125
2019-08-22 23:30:00 | 0 | 4.2839 | 2.1497 | 57.0126 | 0 | 12.5596 | 0 | 190.633 | 24.99 | 971.583 | 61.5666 | -0.25125
2019-08-22 23:45:00 | 0.372 | 4.2838 | 1.894 | 57.0114 | 0 | 9.3465 | 0 | 192.163 | 24.98 | 971.88 | 62.5882 | -0.25125