## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-08-23 00:00:00 | 5.2013 | 0.14604 | 2.1497 | 54.9668 | 0 | 356.896 | 0.37567 | 182.33 | 24.98 | 972.028 | 63.1337 | -0.25125
2019-08-23 00:15:00 | 8.5207 | 351.466 | 2.4053 | 35.665 | 0 | 350.93 | 1.5183 | 169.502 | 25.05 | 971.88 | 62.6561 | -0.25125
2019-08-23 00:30:00 | 0 | 351.025 | 1.894 | 34.6179 | 0 | 351.365 | 0 | 176.096 | 24.99 | 972.028 | 62.2465 | -0.25125
2019-08-23 00:45:00 | 8.2653 | 350.832 | 2.4053 | 26.2454 | 0 | 344.893 | 9.8197 | 172.568 | 25.03 | 972.177 | 61.565 | -0.25125
2019-08-23 01:00:00 | 12.3507 | 346.449 | 2.4053 | 24.5901 | 0 | 353.946 | 2.1497 | 159.546 | 24.99 | 971.88 | 61.6329 | -0.25125
2019-08-23 01:15:00 | 0 | 340.121 | 3.428 | 24.2979 | 0 | 353.945 | 0 | 161.42 | 24.97 | 971.88 | 59.2466 | -0.25125
2019-08-23 01:30:00 | 0 | 349.272 | 2.9167 | 34.4232 | 0 | 7.3749 | 0 | 171.01 | 24.72 | 971.583 | 63.201 | -0.25125
2019-08-23 01:45:00 | 0 | 351.466 | 1.894 | 36.3222 | 0 | 356.918 | 0 | 168.991 | 24.38 | 971.731 | 64.531 | -0.25125
2019-08-23 02:00:00 | 0 | 347.344 | 1.6383 | 36.276 | 0 | 356.934 | 0 | 171.408 | 24.44 | 971.731 | 65.6589 | -0.25125
2019-08-23 02:15:00 | 2.0207 | 349.277 | 2.661 | 34.6225 | 0 | 348.376 | 0.75133 | 175.186 | 24.09 | 971.731 | 67.1609 | -0.26233
2019-08-23 02:30:00 | 4.6907 | 348.589 | 2.4053 | 32.4831 | 0 | 348.541 | 0.37567 | 160.736 | 24.17 | 971.731 | 69.5509 | -0.25125
2019-08-23 02:45:00 | 7.244 | 342.17 | 2.4053 | 31.3645 | 0 | 343.582 | 0.63133 | 159.303 | 24.1 | 971.731 | 69.0411 | -0.25125
2019-08-23 03:00:00 | 6.9887 | 344.706 | 2.4053 | 32.704 | 0 | 356.927 | 0 | 164.49 | 24.15 | 971.583 | 67.3713 | -0.25125
2019-08-23 03:15:00 | 0.372 | 344.682 | 1.6383 | 33.1909 | 0 | 0.048687 | 0 | 164.709 | 24.13 | 971.583 | 65.1892 | -0.25125
2019-08-23 03:30:00 | 0 | 331.682 | 1.3827 | 33.1665 | 0 | 0.048687 | 0 | 151.515 | 24.3 | 971.731 | 65.3937 | -0.25125
2019-08-23 03:45:00 | 0 | 320.116 | 1.127 | 32.9712 | 0 | 0.048687 | 0 | 151.513 | 24.32 | 971.583 | 68.4274 | -0.25125
2019-08-23 04:00:00 | 0 | 320.119 | 1.3827 | 31.5111 | 0 | 0.048687 | 0 | 151.49 | 24.3 | 971.583 | 67.2348 | -0.25125
2019-08-23 04:15:00 | 0 | 320.119 | 1.3827 | 27.2267 | 0 | 346.459 | 0 | 151.515 | 24.54 | 971.88 | 65.6665 | -0.25125
2019-08-23 04:30:00 | 0 | 320.168 | 1.6383 | 23.0882 | 0 | 346.361 | 0 | 151.515 | 24.57 | 971.583 | 65.8028 | -0.25125
2019-08-23 04:45:00 | 0 | 320.119 | 0.37567 | 23.0882 | 0 | 346.312 | 0 | 151.515 | 24.58 | 971.731 | 65.0527 | -0.25125
2019-08-23 05:00:00 | 0 | 320.115 | 0.75133 | 23.0877 | 0 | 346.308 | 0 | 151.513 | 24.76 | 971.583 | 61.9835 | -0.25125
2019-08-23 05:15:00 | 0 | 320.119 | 0.75133 | 23.0883 | 0 | 346.313 | 0 | 151.515 | 24.82 | 971.731 | 63.3481 | -0.26972
2019-08-23 05:30:00 | 0 | 320.119 | 1.3827 | 23.0883 | 0 | 341.59 | 0 | 151.515 | 24.69 | 971.88 | 63.8936 | -0.25125
2019-08-23 05:45:00 | 0 | 320.119 | 1.894 | 23.137 | 0 | 354.785 | 0 | 151.515 | 24.65 | 972.028 | 66.212 | -0.25125
2019-08-23 06:00:00 | 0 | 338.009 | 1.3827 | 24.4024 | 0 | 7.3761 | 0 | 151.514 | 24.33 | 972.177 | 63.4839 | -0.25125
2019-08-23 06:15:00 | 0 | 337.923 | 0 | 24.4008 | 0 | 7.3514 | 0 | 151.508 | 24.65 | 972.325 | 62.7315 | -0.25125
2019-08-23 06:30:00 | 0 | 337.887 | 1.3827 | 24.396 | 0 | 342.463 | 0 | 151.492 | 24.91 | 972.918 | 64.5656 | -0.25125
2019-08-23 06:45:00 | 0 | 338.368 | 1.127 | 24.3953 | 0 | 346.863 | 0 | 151.538 | 24.6 | 973.066 | 66.8826 | -0.25125
2019-08-23 07:00:00 | 0 | 338.368 | 1.6383 | 24.3953 | 0 | 286.087 | 0 | 151.562 | 24.62 | 972.767 | 64.5645 | -0.25125
2019-08-23 07:15:00 | 0 | 338.364 | 1.3827 | 24.3947 | 0 | 286.083 | 0 | 151.877 | 24.86 | 973.363 | 61.7002 | -0.25125
2019-08-23 07:30:00 | 0 | 338.361 | 0.37567 | 24.388 | 0 | 307.553 | 0 | 152.316 | 24.92 | 973.267 | 62.3726 | -0.25125
2019-08-23 07:45:00 | 0 | 24.2137 | 0.75133 | 24.3878 | 0 | 57.2368 | 0 | 154.384 | 26.06 | 973.234 | 57.9414 | -0.25125
2019-08-23 08:00:00 | 0 | 11.096 | 1.127 | 59.8378 | 0 | 42.0967 | 0 | 196.443 | 26.95 | 973.878 | 57.1187 | -0.25125
2019-08-23 08:15:00 | 0 | 24.4245 | 1.127 | 61.4472 | 0 | 28.1221 | 0 | 196.466 | 26.14 | 973.956 | 61.1244 | -0.25125
2019-08-23 08:30:00 | 0 | 348.705 | 1.894 | 45.6832 | 0 | 357.024 | 0 | 173.258 | 25.9 | 973.807 | 62.351 | -0.25125
2019-08-23 08:45:00 | 0 | 308.078 | 2.1497 | 11.1387 | 0 | 313.138 | 0 | 181.991 | 26.3 | 974.104 | 64.8041 | -0.25125
2019-08-23 09:00:00 | 0 | 19.0724 | 3.428 | 29.6516 | 0 | 289.784 | 0 | 201.672 | 26.08 | 974.252 | 69.1653 | -0.25125
2019-08-23 09:15:00 | 0 | 317.979 | 3.9393 | 4.236 | 0 | 311.095 | 0 | 146.717 | 25.67 | 973.956 | 68.7564 | -0.29928
2019-08-23 09:30:00 | 0 | 300.683 | 2.4053 | 3.3603 | 0 | 302.824 | 0 | 125.041 | 25.13 | 973.659 | 68.4838 | -0.25125
2019-08-23 09:45:00 | 0 | 42.4021 | 3.1723 | 65.9233 | 0 | 25.4705 | 0 | 237.311 | 26.63 | 974.252 | 65.7581 | -0.25125
2019-08-23 10:00:00 | 0 | 304.286 | 1.894 | 118.619 | 0 | 263.568 | 0 | 158.321 | 26.95 | 974.4 | 66.0548 | -0.25125
2019-08-23 10:15:00 | 0 | 0.14591 | 1.6383 | 10.0581 | 0 | 269.258 | 0 | 192.143 | 27.51 | 974.4 | 63.6241 | -0.25125
2019-08-23 10:30:00 | 0 | 341.339 | 3.1723 | 33.1123 | 0 | 306.222 | 0 | 165.441 | 27.57 | 974.678 | 61.1376 | -0.26972
2019-08-23 10:45:00 | 0 | 32.7331 | 1.3827 | 7.0624 | 0 | 305.809 | 0 | 203.305 | 27.37 | 974.753 | 65.9401 | -0.25125
2019-08-23 11:00:00 | 0 | 12.1351 | 3.6837 | 67.3531 | 0 | 270.814 | 0 | 196.277 | 27.35 | 974.399 | 61.921 | -0.26972
2019-08-23 11:15:00 | 0 | 326.845 | 3.6837 | 19.8541 | 0 | 270.425 | 0 | 122.591 | 27.29 | 974.4 | 64.5777 | -0.29928
2019-08-23 11:30:00 | 0 | 324.904 | 2.9167 | 5.0437 | 0 | 275.584 | 0 | 160.798 | 27.18 | 973.955 | 62.603 | -0.17366
2019-08-23 11:45:00 | 0 | 73.9292 | 2.9167 | 98.2137 | 0 | 275.094 | 0 | 180.397 | 27.56 | 974.103 | 62.7384 | -0.17735
2019-08-23 12:00:00 | 0 | 8.4629 | 3.1723 | 20.734 | 0 | 276.164 | 0 | 178.986 | 27.44 | 973.807 | 57.0164 | -0.16257
2019-08-23 12:15:00 | 0 | 19.601 | 1.6383 | 329.583 | 0 | 276.067 | 0 | 220.766 | 27.97 | 973.659 | 56.0627 | 0.16257
2019-08-23 12:30:00 | 0 | 33.8275 | 4.962 | 65.0672 | 0 | 31.2253 | 0 | 212.4 | 28.77 | 974.251 | 50.8175 | 0.40643
2019-08-23 12:45:00 | 0 | 356.903 | 2.9167 | 60.4952 | 0 | 321.3 | 0 | 149.804 | 27.81 | 973.807 | 54.6322 | 1.5445
2019-08-23 13:00:00 | 0 | 340.809 | 2.4053 | 58.405 | 0 | 332.2 | 0 | 139.398 | 27.7 | 973.51 | 57.8008 | 1.2378
2019-08-23 13:15:00 | 0 | 19.9931 | 2.661 | 72.3282 | 0 | 59.0794 | 0 | 215.06 | 28.27 | 973.214 | 51.7109 | 0.3547
2019-08-23 13:30:00 | 0 | 7.2968 | 1.894 | 35.626 | 0 | 329.548 | 0 | 192.368 | 27.43 | 972.917 | 55.3222 | 0.17735
2019-08-23 13:45:00 | 0 | 354.111 | 3.6837 | 21.9105 | 0 | 306.29 | 0 | 245.017 | 27.57 | 973.214 | 51.7485 | 0.67246
2019-08-23 14:00:00 | 0 | 351.204 | 2.661 | 20.7686 | 0 | 277.84 | 0 | 196.886 | 28.55 | 973.51 | 47.7301 | 0.39165
2019-08-23 14:15:00 | 0 | 350.174 | 2.9167 | 71.3138 | 0 | 37.8477 | 0 | 165.377 | 27.61 | 973.066 | 48.785 | 0.29559
2019-08-23 14:30:00 | 0 | 26.4391 | 2.661 | 97.237 | 0 | 300.925 | 0 | 177.291 | 27.99 | 973.659 | 47.7263 | 0.059118
2019-08-23 14:45:00 | 0 | 322.059 | 3.1723 | 332.239 | 0 | 261.724 | 0 | 148.785 | 28.89 | 973.955 | 45.9136 | -0.12193
2019-08-23 15:00:00 | 0 | 317.166 | 4.4507 | 1.8383 | 0 | 312.788 | 0 | 166.851 | 28.63 | 973.955 | 44.891 | -0.2882
2019-08-23 15:15:00 | 0 | 318.674 | 3.428 | 19.8541 | 0 | 309.238 | 0 | 161.915 | 28.55 | 973.659 | 45.436 | -0.24755
2019-08-23 15:30:00 | 0 | 28.5016 | 2.661 | 54.9749 | 0 | 307.706 | 0 | 232.099 | 28.86 | 973.807 | 45.0273 | 0.036949
2019-08-23 15:45:00 | 0 | 309.335 | 3.428 | 16.3035 | 0 | 297.589 | 0 | 130.154 | 28.46 | 973.51 | 44.4142 | 0.011085
2019-08-23 16:00:00 | 2.0207 | 313.518 | 2.9167 | 6.6733 | 0 | 333.216 | 0 | 171.812 | 28.53 | 973.659 | 43.6649 | 0.84981
2019-08-23 16:15:00 | 0 | 297.128 | 3.9393 | 336.32 | 0 | 305.932 | 0 | 122.664 | 28.14 | 973.362 | 44.8571 | 2.2982
2019-08-23 16:30:00 | 0 | 309.546 | 3.6837 | 3.5827 | 0 | 309.181 | 0 | 141.165 | 27.87 | 973.214 | 45.7826 | 2.3573
2019-08-23 16:45:00 | 0 | 328.684 | 4.4507 | 12.0585 | 0 | 347.049 | 0 | 138.158 | 27.79 | 973.066 | 47.2163 | 2.1652
2019-08-23 17:00:00 | 0 | 354.177 | 3.1723 | 28.1188 | 0 | 341.989 | 0 | 148.127 | 27.52 | 972.621 | 47.0526 | 1.308
2019-08-23 17:15:00 | 0 | 347.196 | 2.1497 | 4.2298 | 0 | 328.708 | 0 | 167.078 | 27.19 | 972.621 | 47.632 | 1.6848
2019-08-23 17:30:00 | 0 | 331.238 | 3.1723 | 21.5507 | 0 | 347.585 | 0 | 138.859 | 27.2 | 972.176 | 46.5417 | 1.4151
2019-08-23 17:45:00 | 0 | 335 | 3.9393 | 21.6591 | 0 | 356.779 | 0 | 160.212 | 26.95 | 971.905 | 48.4627 | 1.8548
2019-08-23 18:00:00 | 0 | 354.95 | 2.9167 | 47.3546 | 0 | 3.796 | 0 | 173.399 | 26.72 | 972.176 | 45.8039 | 2.1689
2019-08-23 18:15:00 | 0 | 356.164 | 4.4507 | 54.7077 | 0 | 350.129 | 0 | 181.391 | 26.71 | 971.732 | 43.4209 | 2.409
2019-08-23 18:30:00 | 0 | 355.442 | 2.661 | 45.6081 | 0 | 2.6282 | 0 | 172.221 | 26.66 | 971.732 | 44.1036 | 2.2539
2019-08-23 18:45:00 | 0 | 348.726 | 4.195 | 43.272 | 0 | 356.854 | 0 | 173.073 | 26.87 | 971.88 | 45.1261 | 2.9817
2019-08-23 19:00:00 | 0 | 1.0221 | 3.428 | 54.5636 | 0 | 17.1321 | 0 | 179.4 | 26.62 | 971.639 | 49.0797 | 2.0285
2019-08-23 19:15:00 | 0 | 5.2564 | 3.6837 | 54.8556 | 0 | 12.411 | 0 | 181.372 | 26.32 | 972.094 | 48.3299 | 2.4682
2019-08-23 19:30:00 | 0 | 3.6991 | 3.9393 | 55.6375 | 0 | 7.3009 | 0 | 186.66 | 26.26 | 972.025 | 47.8548 | 2.1356
2019-08-23 19:45:00 | 0 | 8.178 | 4.195 | 57.8857 | 0 | 16.9401 | 0 | 192.451 | 26.21 | 972.473 | 47.4513 | 2.4756
2019-08-23 20:00:00 | 0 | 8.1781 | 4.195 | 63.7766 | 0 | 15.5286 | 0 | 190.627 | 26.12 | 972.468 | 46.4973 | 2.0543
2019-08-23 20:15:00 | 0 | 9.0543 | 4.195 | 60.6125 | 0 | 12.6566 | 0 | 189.654 | 26.14 | 972.621 | 43.1225 | 1.8437
2019-08-23 20:30:00 | 0 | 11.8777 | 3.9393 | 63.3385 | 0 | 27.6497 | 0 | 193.061 | 26.4 | 972.77 | 40.225 | 1.2008
2019-08-23 20:45:00 | 0 | 9.249 | 4.4507 | 62.2676 | 0 | 18.7171 | 0 | 193.524 | 26.46 | 972.621 | 41.0431 | 2.4275
2019-08-23 21:00:00 | 0 | 18.1086 | 4.7063 | 68.7175 | 0 | 16.2101 | 0 | 196.931 | 26.23 | 972.621 | 40.7704 | 2.967
2019-08-23 21:15:00 | 0 | 20.2261 | 4.4507 | 71.3219 | 0 | 25.4105 | 0 | 203.186 | 26.26 | 972.473 | 39.4068 | 2.7342
2019-08-23 21:30:00 | 0 | 22.3924 | 4.7063 | 74.0722 | 0 | 34.6108 | 0 | 203.332 | 26.38 | 972.473 | 39.066 | 3.1221
2019-08-23 21:45:00 | 0 | 20.4939 | 4.195 | 68.6932 | 0 | 19.3743 | 0 | 204.622 | 26.35 | 972.473 | 39.7477 | 2.9226
2019-08-23 22:00:00 | 0 | 36.8014 | 4.195 | 88.1648 | 0 | 39.8195 | 0 | 217.936 | 26.34 | 972.443 | 40.5659 | 2.0174
2019-08-23 22:15:00 | 0 | 30.6678 | 4.195 | 75.849 | 0 | 23.3659 | 0 | 213.92 | 26.41 | 972.621 | 40.4636 | 1.8696
2019-08-23 22:30:00 | 0 | 32.0795 | 3.9393 | 82.4207 | 0 | 28.0878 | 0 | 214.261 | 26.34 | 972.768 | 39.475 | 1.2636
2019-08-23 22:45:00 | 0 | 45.3689 | 4.962 | 87.8727 | 0 | 43.7381 | 0 | 225.652 | 26.41 | 972.473 | 38.5887 | 1.755
2019-08-23 23:00:00 | 0 | 48.6547 | 3.428 | 103.645 | 0 | 35.7791 | 0 | 215.989 | 26.48 | 972.77 | 39.1 | 1.7661
2019-08-23 23:15:00 | 0 | 41.4502 | 4.4507 | 83.7837 | 0 | 36.4119 | 0 | 214.553 | 26.22 | 972.621 | 38.1456 | 1.8253
2019-08-23 23:30:00 | 0 | 52.2083 | 3.6837 | 101.357 | 0 | 52.5977 | 0 | 226.674 | 26.27 | 972.473 | 37.3615 | 3.0002
2019-08-23 23:45:00 | 0 | 46.9266 | 4.4507 | 108.44 | 0 | 52.9141 | 0 | 221.538 | 26.33 | 972.762 | 37.4297 | 3.4103