## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-08-24 00:00:00 | 0 | 48.5817 | 3.9393 | 103.839 | 0 | 58.8773 | 0 | 218.423 | 26.41 | 972.443 | 37.4297 | 3.0002
2019-08-24 00:15:00 | 0 | 53.3278 | 4.4507 | 104.618 | 0 | 62.2848 | 0 | 231.688 | 26.39 | 972.473 | 37.0888 | 1.7661
2019-08-24 00:30:00 | 0 | 62.8677 | 3.428 | 100.527 | 0 | 43.5912 | 0 | 233.217 | 26.58 | 972.473 | 37.6335 | 1.7403
2019-08-24 00:45:00 | 0 | 58.0494 | 2.661 | 116.276 | 0 | 60.3616 | 0 | 232.417 | 26.39 | 972.473 | 38.9975 | 1.3375
2019-08-24 01:00:00 | 0 | 53.3276 | 3.9393 | 94.395 | 0 | 49.847 | 0 | 232.441 | 26.39 | 972.325 | 38.7248 | 0.88307
2019-08-24 01:15:00 | 0 | 56.8079 | 3.6837 | 93.7618 | 0 | 32.712 | 0 | 238.355 | 26.28 | 972.325 | 38.5883 | 0.72419
2019-08-24 01:30:00 | 0 | 56.0256 | 2.1497 | 109.38 | 0 | 72.4293 | 0 | 233.692 | 26.43 | 972.322 | 37.2225 | 0.48402
2019-08-24 01:45:00 | 0 | 74.769 | 2.661 | 120.484 | 0 | 70.1933 | 0 | 215.277 | 26.63 | 972.31 | 36.0652 | 0.18105
2019-08-24 02:00:00 | 0 | 84.8863 | 1.6383 | 119.79 | 0 | 59.4058 | 0 | 249.791 | 26.77 | 972.308 | 35.7892 | -0.059118
2019-08-24 02:15:00 | 0 | 75.4413 | 3.1723 | 127.378 | 0 | 62.7867 | 0 | 254.846 | 26.71 | 972.084 | 35.3791 | -0.32145
2019-08-24 02:30:00 | 0 | 22.778 | 2.1497 | 40.7412 | 0 | 336.243 | 0 | 229.386 | 26.64 | 972.305 | 37.0144 | -0.24755
2019-08-24 02:45:00 | 0 | 35.628 | 2.4053 | 77.1495 | 0 | 20.0529 | 0 | 221.823 | 26.16 | 972.313 | 37.8333 | -0.26233
2019-08-24 03:00:00 | 0 | 47.3367 | 2.1497 | 86.4771 | 0 | 26.5767 | 0 | 233.884 | 25.98 | 972.468 | 38.6198 | -0.25125
2019-08-24 03:15:00 | 0 | 71.068 | 1.6383 | 113.52 | 0 | 47.4111 | 0 | 250.32 | 26.07 | 972.016 | 38.246 | -0.25125
2019-08-24 03:30:00 | 0 | 68.6861 | 1.6383 | 111.336 | 0 | 45.9043 | 0 | 247.095 | 26.14 | 972.323 | 35.9979 | -0.26233
2019-08-24 03:45:00 | 0 | 145.453 | 2.4053 | 204.118 | 0 | 99.6947 | 0 | 326.393 | 26.18 | 971.88 | 38.7251 | -0.096066
2019-08-24 04:00:00 | 0 | 134.841 | 1.6383 | 190.683 | 0 | 106.802 | 0 | 314.442 | 25.49 | 972.147 | 40.225 | 0.17366
2019-08-24 04:15:00 | 0 | 101.155 | 1.894 | 154.758 | 0 | 106.802 | 0 | 286.841 | 25.59 | 972.028 | 36.8843 | 0.99022
2019-08-24 04:30:00 | 0 | 106.802 | 0.75133 | 167.074 | 0 | 106.753 | 0 | 273.941 | 25.56 | 972.177 | 39.066 | 2.0728
2019-08-24 04:45:00 | 3.1587 | 82.5596 | 1.127 | 135.724 | 0 | 71.7529 | 0 | 255.881 | 25.8 | 972.028 | 40.634 | 2.6751
2019-08-24 05:00:00 | 0 | 82.511 | 1.894 | 126.524 | 0 | 47.9002 | 0 | 255.395 | 25.25 | 972.177 | 44.0429 | 1.7292
2019-08-24 05:15:00 | 1.116 | 61.0435 | 2.4053 | 109.486 | 0 | 52.5734 | 0 | 234.852 | 25.27 | 972.177 | 40.4977 | 1.3449
2019-08-24 05:30:00 | 0 | 73.2133 | 2.9167 | 123.798 | 0 | 69.2703 | 0 | 249.456 | 25.33 | 972.177 | 43.1566 | 1.9767
2019-08-24 05:45:00 | 8.776 | 91.8087 | 2.4053 | 136.82 | 0 | 70.0248 | 1.2627 | 276.716 | 25.46 | 972.177 | 40.9068 | 1.9213
2019-08-24 06:00:00 | 2.648 | 82.5597 | 2.4053 | 127.984 | 0 | 72.191 | 0 | 259.727 | 25.81 | 972.325 | 40.8386 | 1.9324
2019-08-24 06:15:00 | 10.8187 | 78.568 | 2.1497 | 126.962 | 0 | 78.568 | 5.9847 | 256.831 | 25.47 | 972.473 | 41.9635 | 2.0654
2019-08-24 06:30:00 | 10.0527 | 71.1688 | 2.1497 | 118.273 | 0 | 83.3386 | 4.4507 | 239.087 | 25.58 | 972.621 | 40.4977 | 2.1319
2019-08-24 06:45:00 | 5.9673 | 79.4929 | 2.661 | 138.499 | 0 | 104.563 | 0 | 252.231 | 25.54 | 972.918 | 41.6567 | 2.4201
2019-08-24 07:00:00 | 7.4993 | 81.7808 | 2.1497 | 132.56 | 0 | 98.137 | 0 | 265.179 | 25.59 | 973.066 | 42.8839 | 2.0765
2019-08-24 07:15:00 | 5.2013 | 58.6583 | 2.1497 | 115.133 | 0 | 73.9922 | 0.37567 | 233.44 | 25.51 | 973.066 | 42.4067 | 1.611
2019-08-24 07:30:00 | 0 | 62.6013 | 2.4053 | 110.655 | 0 | 30.181 | 0 | 241.156 | 25.24 | 973.362 | 46.4974 | 0.83503
2019-08-24 07:45:00 | 6.2227 | 62.6013 | 2.4053 | 112.602 | 0 | 56.7598 | 0 | 237.31 | 24.85 | 973.357 | 48.5427 | 0.48033
2019-08-24 08:00:00 | 6.478 | 55.5915 | 1.894 | 110.095 | 0 | 72.2884 | 1.3827 | 222.488 | 24.68 | 973.659 | 48.6791 | -0.0073897
2019-08-24 08:15:00 | 0 | 30.4709 | 1.3827 | 108.674 | 0 | 62.8888 | 0 | 218.407 | 24.7 | 973.942 | 49.4255 | -0.26233
2019-08-24 08:30:00 | 0 | 54.6101 | 2.4053 | 107.01 | 0 | 61.9109 | 0 | 231.484 | 24.97 | 973.903 | 43.9685 | -0.34731
2019-08-24 08:45:00 | 0 | 51.7614 | 2.1497 | 109.099 | 0 | 36.5517 | 0 | 224.567 | 25.48 | 974.345 | 44.0014 | -0.26233
2019-08-24 09:00:00 | 0 | 48.2327 | 2.661 | 93.8896 | 0 | 57.3342 | 0 | 222.863 | 25.74 | 974.55 | 47.6483 | -0.26233
2019-08-24 09:15:00 | 0 | 18.8842 | 1.6383 | 71.6469 | 0 | 23.654 | 0 | 201.302 | 25.8 | 974.549 | 45.9781 | -0.28081
2019-08-24 09:30:00 | 0 | 46.2097 | 0.37567 | 72.76 | 0 | 18.1043 | 0 | 242.704 | 25.62 | 974.549 | 57.0513 | -0.28081
2019-08-24 09:45:00 | 0 | 108.436 | 1.6383 | 171.661 | 0 | 134.912 | 0 | 273.62 | 26.06 | 974.401 | 52.7595 | -0.28081
2019-08-24 10:00:00 | 1.51 | 148.918 | 1.6383 | 205.129 | 0 | 186.099 | 0 | 312.168 | 25.9 | 974.649 | 52.3466 | -0.28081
2019-08-24 10:15:00 | 0 | 29.2902 | 1.127 | 98.0367 | 0 | 45.9302 | 0 | 255.657 | 26.86 | 974.554 | 44.5662 | -0.28081
2019-08-24 10:30:00 | 0 | 132.729 | 2.4053 | 184.907 | 0 | 168.343 | 0 | 300.367 | 27.54 | 974.697 | 48.4157 | -0.26972
2019-08-24 10:45:00 | 0 | 52.9767 | 0.75133 | 95.0018 | 0 | 237.982 | 0 | 224.482 | 28.38 | 974.845 | 43.1965 | -0.28081
2019-08-24 11:00:00 | 0 | 61.6046 | 2.1497 | 136.529 | 0 | 82.2286 | 0 | 259.722 | 28.22 | 975.438 | 32.2574 | -0.28081
2019-08-24 11:15:00 | 0 | 136.477 | 2.4053 | 178.928 | 0 | 126.896 | 0 | 324.924 | 28.7 | 975.438 | 35.3542 | -0.28081
2019-08-24 11:30:00 | 0 | 14.8831 | 0.37567 | 46.9254 | 0 | 114.882 | 0 | 183.534 | 28.32 | 975.141 | 38.1471 | -0.2882
2019-08-24 11:45:00 | 0 | 325.872 | 1.894 | 33.8905 | 0 | 263.3 | 0 | 133.948 | 28.42 | 974.845 | 53.1676 | -0.26972
2019-08-24 12:00:00 | 0 | 302.672 | 3.1723 | 19.7568 | 0 | 289.686 | 0 | 125.412 | 27.55 | 974.104 | 52.9973 | -0.25125
2019-08-24 12:15:00 | 0 | 298.737 | 2.661 | 16.7412 | 0 | 304.331 | 0 | 114.762 | 27.17 | 973.956 | 55.723 | -0.29559
2019-08-24 12:30:00 | 0 | 311.064 | 5.2177 | 12.5816 | 0 | 286.036 | 0 | 125.092 | 27.27 | 974.252 | 57.741 | 0.10715
2019-08-24 12:45:00 | 0 | 101.648 | 3.428 | 141.313 | 0 | 328.221 | 0 | 272.253 | 27.4 | 973.956 | 58.6625 | 0.0036948
2019-08-24 13:00:00 | 0 | 18.7544 | 2.1497 | 25.6333 | 0 | 297.589 | 0 | 196.35 | 27.52 | 973.807 | 55.4632 | -0.30298
2019-08-24 13:15:00 | 0 | 25.2022 | 4.962 | 61.5909 | 0 | 0.19461 | 0 | 180.624 | 27.14 | 973.807 | 55.5351 | -0.059118
2019-08-24 13:30:00 | 0 | 10.6065 | 4.195 | 54.5371 | 0 | 0.26759 | 0 | 189.335 | 26.69 | 973.659 | 55.161 | -0.0036948
2019-08-24 13:45:00 | 0 | 5.6195 | 4.4507 | 53.8567 | 0 | 18.1966 | 0 | 193.132 | 26.72 | 973.659 | 47.4955 | 0.014779
2019-08-24 14:00:00 | 0 | 25.6162 | 4.195 | 69.6202 | 0 | 0.048654 | 0 | 182.549 | 27.26 | 973.511 | 44.3608 | 1.3264
2019-08-24 14:15:00 | 0 | 13.3311 | 4.962 | 59.2082 | 0 | 13.2338 | 0.63133 | 187.025 | 26.74 | 973.214 | 47.5634 | 3.1295
2019-08-24 14:30:00 | 0 | 29.9223 | 5.2177 | 78.3301 | 0 | 37.0988 | 1.1427 | 208.41 | 26.31 | 972.77 | 55.0596 | 4.2158
2019-08-24 14:45:00 | 0 | 344.666 | 3.9393 | 53.0056 | 0 | 28.9006 | 0 | 158.248 | 25.78 | 972.473 | 51.8569 | 5.4942
2019-08-24 15:00:00 | 0 | 4.1368 | 4.195 | 69.8163 | 0 | 5.9375 | 5.4733 | 180.995 | 25.4 | 972.268 | 61.0733 | 6.1297
2019-08-24 15:15:00 | 0.372 | 335.472 | 3.6837 | 30.4692 | 0 | 25.0399 | 1.5183 | 142.428 | 25.17 | 972.176 | 61.7558 | 8.1582
2019-08-24 15:30:00 | 0 | 346.682 | 4.195 | 38.4049 | 0 | 15.2583 | 0 | 178.232 | 25 | 972.028 | 63.531 | 8.3171
2019-08-24 15:45:00 | 0 | 356.026 | 4.4507 | 40.4004 | 0 | 7.0086 | 0 | 178.403 | 24.78 | 971.88 | 59.7819 | 7.1052
2019-08-24 16:00:00 | 0 | 8.1524 | 4.7063 | 59.82 | 0 | 2.7742 | 0 | 197.895 | 24.8 | 972.065 | 58.1459 | 7.0572
2019-08-24 16:15:00 | 0 | 8.7607 | 5.2177 | 57.1188 | 0 | 15.1366 | 0 | 197.409 | 24.76 | 972.171 | 61.2133 | 6.3662
2019-08-24 16:30:00 | 0 | 16.256 | 5.2177 | 62.2536 | 0 | 148.665 | 2.541 | 202.933 | 24.7 | 971.965 | 62.3722 | 3.8907
2019-08-24 16:45:00 | 0 | 7.9823 | 4.7063 | 67.4155 | 0 | 30.5419 | 2.661 | 193.107 | 24.71 | 972.154 | 62.9195 | 4.4855
2019-08-24 17:00:00 | 0 | 16.6458 | 4.7063 | 63.1804 | 0 | 0.048672 | 0 | 196.829 | 24.69 | 971.877 | 63.8053 | 2.9374
2019-08-24 17:15:00 | 0 | 11.0983 | 4.195 | 56.3498 | 0 | 20.4687 | 0 | 201.06 | 24.63 | 971.877 | 64.3231 | 3.0113
2019-08-24 17:30:00 | 0 | 9.7358 | 5.2177 | 57.1075 | 0 | 0 | 0 | 198.026 | 24.55 | 971.728 | 65.1099 | 3.9794
2019-08-24 17:45:00 | 0.744 | 13.6301 | 4.4507 | 60.8072 | 0 | 13.5328 | 0 | 199.122 | 24.41 | 971.731 | 66.4053 | 2.2797
2019-08-24 18:00:00 | 0 | 25.3131 | 3.9393 | 70.4457 | 0 | 24.9237 | 0 | 215.161 | 24.34 | 971.87 | 66.0644 | 1.6627
2019-08-24 18:15:00 | 0 | 28.5259 | 3.1723 | 71.6626 | 0 | 24.3395 | 0 | 223.12 | 24.18 | 971.583 | 68.587 | 1.5777
2019-08-24 18:30:00 | 0 | 34.3674 | 3.428 | 86.4854 | 0 | 39.3327 | 0 | 219.323 | 24.08 | 971.731 | 65.9281 | 1.4373
2019-08-24 18:45:00 | 0 | 35.0762 | 2.9167 | 82.624 | 0 | 30.4269 | 0 | 221.873 | 23.96 | 971.583 | 66.3427 | 1.6331
2019-08-24 19:00:00 | 0 | 32.2795 | 3.6837 | 68.4155 | 0 | 23.2724 | 0 | 216.243 | 23.95 | 971.731 | 63.0408 | 1.404
2019-08-24 19:15:00 | 0 | 25.4143 | 3.6837 | 76.3018 | 0 | 20.9839 | 0 | 207.575 | 24.24 | 971.583 | 63.006 | 1.2452
2019-08-24 19:30:00 | 0 | 40.3127 | 3.428 | 88.377 | 0 | 35.298 | 0 | 217.898 | 24.14 | 971.731 | 64.6431 | 1.2895
2019-08-24 19:45:00 | 0 | 39.1445 | 4.195 | 89.741 | 0 | 31.2572 | 0 | 227.126 | 24.36 | 971.583 | 62.2569 | 1.84
2019-08-24 20:00:00 | 0 | 51.7059 | 3.9393 | 99.8925 | 0 | 54.7002 | 0 | 235.89 | 24.53 | 971.583 | 60.2113 | 1.9841
2019-08-24 20:15:00 | 0 | 51.1674 | 4.195 | 99.8126 | 0 | 60.3688 | 0 | 249.776 | 24.7 | 972.177 | 60.3443 | 1.3043
2019-08-24 20:30:00 | 0 | 57.7643 | 4.7063 | 112.836 | 0 | 49.5609 | 0 | 246.88 | 24.57 | 972.177 | 60.6853 | 1.3117
2019-08-24 20:45:00 | 0 | 54.9164 | 3.6837 | 106.58 | 0 | 61.781 | 0 | 229.768 | 24.48 | 972.177 | 61.4355 | 0.80548
2019-08-24 21:00:00 | 0 | 64.166 | 1.894 | 99.374 | 0 | 62.2673 | 0 | 252.915 | 24.48 | 972.028 | 60.2759 | 0.27342
2019-08-24 21:15:00 | 0 | 111.027 | 3.428 | 105.778 | 0 | 51.4117 | 0 | 246.883 | 24.62 | 972.028 | 60.5498 | 0.31776
2019-08-24 21:30:00 | 0 | 101.575 | 2.661 | 117.526 | 0 | 54.0368 | 0 | 278.63 | 24.53 | 972.177 | 60.2045 | 0.062812
2019-08-24 21:45:00 | 0 | 49.4121 | 3.1723 | 89.6073 | 0 | 48.974 | 0 | 282.306 | 24.44 | 972.325 | 62.1479 | -0.27711
2019-08-24 22:00:00 | 0 | 53.5499 | 2.9167 | 88.4629 | 0 | 48.9738 | 0 | 258.354 | 24.21 | 972.177 | 62.7272 | -0.077592
2019-08-24 22:15:00 | 0 | 55.8182 | 3.428 | 93.8273 | 0 | 45.5699 | 0 | 253.482 | 24.11 | 972.028 | 62.6641 | -0.084981
2019-08-24 22:30:00 | 0 | 70.7866 | 3.9393 | 113.297 | 0 | 45.6656 | 0 | 261.896 | 24.28 | 971.88 | 62.2528 | -0.022169
2019-08-24 22:45:00 | 0 | 82.0121 | 4.7063 | 138.255 | 0 | 66.7976 | 0 | 276.465 | 24.46 | 971.731 | 57.9599 | 0.68724
2019-08-24 23:00:00 | 0 | 61.537 | 3.6837 | 103.853 | 0 | 55.5975 | 0 | 237.312 | 24.92 | 972.028 | 55.7756 | 0.4286
2019-08-24 23:15:00 | 0 | 26.1906 | 2.4053 | 61.3952 | 0 | 52.4785 | 0 | 240.388 | 24.62 | 971.88 | 59.5221 | -0.21061
2019-08-24 23:30:00 | 0 | 33.1295 | 3.6837 | 71.7694 | 0 | 14.5078 | 0 | 222.729 | 23.76 | 971.583 | 65.3893 | -0.099761
2019-08-24 23:45:00 | 0 | 12.5611 | 3.9393 | 57.4117 | 0 | 9.64 | 0 | 197.692 | 23.14 | 971.583 | 73.8482 | 0.92741