## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-08-25 00:00:00 | 0 | 25.7556 | 4.195 | 71.0453 | 0 | 16.4563 | 0 | 218.119 | 22.63 | 971.583 | 76.1677 | 1.2636
2019-08-25 00:15:00 | 0 | 50.7809 | 3.1723 | 78.0076 | 0 | 20.9356 | 0 | 238.227 | 22.55 | 971.435 | 67.1667 | 0.82395
2019-08-25 00:30:00 | 0 | 65.0706 | 3.9393 | 105.979 | 0 | 46.4477 | 0 | 253.32 | 23.41 | 971.435 | 63.8254 | 0.84242
2019-08-25 00:45:00 | 0 | 63.0014 | 4.4507 | 104.64 | 0 | 36.0773 | 0 | 257.507 | 23.9 | 971.435 | 62.939 | 2.3277
2019-08-25 01:00:00 | 0 | 70.5966 | 2.661 | 114.085 | 0 | 67.3346 | 0 | 275.984 | 24 | 971.435 | 62.4957 | 4.1826
2019-08-25 01:15:00 | 0 | 98.6892 | 3.428 | 136.554 | 0 | 85.8358 | 0 | 287.328 | 24.33 | 971.731 | 60.2114 | 5.7122
2019-08-25 01:30:00 | 0 | 95.8408 | 4.195 | 149.797 | 0 | 101.367 | 0 | 305.926 | 24.51 | 971.583 | 59.4952 | 8.4686
2019-08-25 01:45:00 | 0 | 94.4262 | 5.2177 | 144.899 | 0 | 87.6102 | 0 | 272.154 | 24.68 | 971.731 | 59.4595 | 10.2532
2019-08-25 02:00:00 | 0 | 104.624 | 4.195 | 155.144 | 0 | 109.93 | 0 | 298.827 | 24.67 | 971.583 | 59.4582 | 13.5305
2019-08-25 02:15:00 | 0 | 72.2712 | 4.4507 | 139.975 | 0 | 113.409 | 0 | 297.264 | 24.57 | 971.583 | 59.8661 | 11.3986
2019-08-25 02:30:00 | 0 | 94.2235 | 3.6837 | 142.792 | 0 | 89.5744 | 0 | 270.67 | 24.44 | 971.435 | 59.9317 | 12.6105
2019-08-25 02:45:00 | 0 | 90.6959 | 3.428 | 152.653 | 0 | 102.526 | 0 | 254.197 | 24.35 | 971.731 | 60.6829 | 7.4562
2019-08-25 03:00:00 | 0 | 63.2623 | 2.4053 | 137.365 | 0 | 54.6699 | 0 | 244.992 | 24.15 | 971.435 | 61.7048 | 6.0411
2019-08-25 03:15:00 | 0 | 75.3378 | 3.428 | 137.856 | 0 | 93.1803 | 0 | 274.453 | 24.05 | 971.88 | 61.2635 | 5.4832
2019-08-25 03:30:00 | 1.51 | 95.4458 | 6.496 | 157.333 | 0 | 85.0517 | 1.007 | 279.035 | 23.97 | 971.731 | 62.7988 | 4.9031
2019-08-25 03:45:00 | 0 | 61.6382 | 4.7063 | 111.845 | 0 | 58.9847 | 0 | 251.251 | 23.21 | 971.286 | 67.7122 | 3.2256
2019-08-25 04:00:00 | 0 | 104.882 | 2.661 | 144.189 | 0 | 75.4723 | 0 | 281.852 | 22.59 | 971.583 | 70.9577 | 2.1098
2019-08-25 04:15:00 | 0 | 75.3808 | 2.9167 | 127.45 | 0 | 74.0904 | 0 | 260.57 | 21.72 | 970.99 | 75.7033 | 0.68355
2019-08-25 04:30:00 | 0 | 74.2688 | 3.6837 | 141.541 | 0 | 77.7266 | 0 | 282.343 | 21.17 | 971.131 | 76.5982 | 2.1134
2019-08-25 04:45:00 | 0 | 58.0551 | 2.661 | 117.54 | 0 | 73.543 | 0 | 230.978 | 20.98 | 970.99 | 81.8554 | 3.1185
2019-08-25 05:00:00 | 0 | 48.9231 | 3.6837 | 108.091 | 0 | 64.5571 | 0 | 242.351 | 20.37 | 970.99 | 82.5375 | 3.8168
2019-08-25 05:15:00 | 0 | 85.2342 | 2.1497 | 128.454 | 0 | 80.388 | 0 | 280.153 | 20.77 | 970.99 | 79.6747 | 5.2504
2019-08-25 05:30:00 | 0 | 97.678 | 2.9167 | 137.926 | 0 | 83.3344 | 0 | 287.798 | 21.25 | 971.286 | 79.1969 | 7.1532
2019-08-25 05:45:00 | 0 | 93.7069 | 5.2177 | 138.045 | 0 | 83.966 | 0 | 276.007 | 20.9 | 971.286 | 74.2841 | 6.8207
2019-08-25 06:00:00 | 0 | 40.7165 | 3.1723 | 97.6688 | 0 | 49.191 | 0 | 246.442 | 21.05 | 972.028 | 80.4912 | 4.9659
2019-08-25 06:15:00 | 0 | 50.6039 | 3.9393 | 107.362 | 0 | 42.7138 | 0 | 232.734 | 20.43 | 971.88 | 86.6993 | 6.6249
2019-08-25 06:30:00 | 0 | 59.7354 | 4.7063 | 96.987 | 0 | 52.4055 | 0 | 243.812 | 20.15 | 971.88 | 89.1542 | 7.6225
2019-08-25 06:45:00 | 0 | 72.9342 | 4.962 | 111.33 | 0 | 64.1188 | 0 | 246.856 | 20.14 | 971.731 | 86.2893 | 12.3482
2019-08-25 07:00:00 | 0 | 57.5925 | 2.9167 | 109.48 | 0 | 61.7323 | 0 | 244.591 | 20.33 | 972.028 | 85.7436 | 10.3677
2019-08-25 07:15:00 | 0 | 60.0033 | 2.9167 | 125.04 | 0 | 49.4589 | 0 | 273.229 | 20.56 | 972.028 | 82.6058 | 9.4625
2019-08-25 07:30:00 | 0 | 58.1769 | 3.6837 | 106.436 | 0 | 53.9153 | 0 | 245.492 | 20.88 | 972.028 | 82.3329 | 6.8872
2019-08-25 07:45:00 | 0 | 63.4613 | 3.6837 | 101.541 | 0 | 56.3992 | 0 | 249.267 | 21.01 | 972.473 | 76.8077 | 5.4351
2019-08-25 08:00:00 | 0 | 96.4294 | 2.661 | 138.67 | 0 | 78.5072 | 0 | 278.964 | 21.31 | 972.473 | 73.1208 | 4.5114
2019-08-25 08:15:00 | 0 | 110.348 | 2.1497 | 153.946 | 0 | 118.529 | 0 | 283.636 | 21.73 | 972.762 | 71.4428 | 7.4229
2019-08-25 08:30:00 | 0 | 143.871 | 2.9167 | 199.204 | 0 | 153.805 | 0 | 292.15 | 22 | 972.889 | 73.0095 | 6.1556
2019-08-25 08:45:00 | 0 | 113.485 | 4.195 | 158.056 | 0 | 139.123 | 0 | 286.671 | 21.87 | 972.92 | 70.2472 | 10.7372
2019-08-25 09:00:00 | 0 | 139.732 | 4.7063 | 197.694 | 0 | 141.217 | 0 | 312.87 | 22.55 | 972.77 | 64.5865 | 11.6757
2019-08-25 09:15:00 | 0 | 105.621 | 1.894 | 137.141 | 0 | 99.7287 | 0 | 253.144 | 22.52 | 973.363 | 65.9506 | 5.4905
2019-08-25 09:30:00 | 0 | 105.936 | 3.1723 | 173.781 | 0 | 121.737 | 0 | 302.249 | 22.68 | 973.512 | 66.7339 | 4.2565
2019-08-25 09:45:00 | 0 | 103.877 | 3.1723 | 167.037 | 0 | 127.856 | 0 | 290.817 | 22.99 | 973.512 | 67.0321 | 7.3306
2019-08-25 10:00:00 | 0 | 118.53 | 7.0073 | 148.435 | 0 | 102.195 | 0 | 286.721 | 22.74 | 973.512 | 68.9742 | 6.9131
2019-08-25 10:15:00 | 0 | 72.9093 | 3.9393 | 147.022 | 0 | 123.861 | 0 | 288.059 | 22.73 | 973.66 | 69.4852 | 4.7331
2019-08-25 10:30:00 | 0 | 109.547 | 4.195 | 163.843 | 0 | 91.6783 | 0 | 284.943 | 22.81 | 973.808 | 67.6441 | 6.4216
2019-08-25 10:45:00 | 0 | 96.5714 | 3.428 | 142.397 | 0 | 86.9556 | 0 | 276.909 | 22.84 | 973.512 | 67.0304 | 7.8959
2019-08-25 11:00:00 | 0 | 106.114 | 3.1723 | 144.953 | 0 | 85.3976 | 0 | 301.837 | 22.76 | 973.363 | 67.8486 | 9.4884
2019-08-25 11:15:00 | 0 | 89.0492 | 3.428 | 124.09 | 0 | 80.4802 | 0 | 281.096 | 22.97 | 973.66 | 68.5987 | 1.973
2019-08-25 11:30:00 | 0 | 44.841 | 3.6837 | 106.198 | 0 | 33.9838 | 0 | 261.987 | 22.59 | 973.363 | 70.133 | 0.95327
2019-08-25 11:45:00 | 0 | 32.2066 | 1.6383 | 54.3212 | 0 | 299.135 | 0 | 229.415 | 22.44 | 973.66 | 85.9188 | -0.062812
2019-08-25 12:00:00 | 0 | 25.5122 | 1.6383 | 64.8377 | 0 | 7.8873 | 0 | 213.08 | 22.02 | 973.363 | 86.8053 | -0.30667
2019-08-25 12:15:00 | 0 | 5.2582 | 0 | 60.3098 | 0 | 302.884 | 0 | 204.462 | 22.18 | 973.215 | 85.271 | -0.28081
2019-08-25 12:30:00 | 0 | 26.0705 | 0.75133 | 67.5344 | 0 | 14.9948 | 0 | 204.474 | 22.29 | 973.512 | 88.641 | -0.29928
2019-08-25 12:45:00 | 0 | 50.6266 | 2.1497 | 98.802 | 0 | 36.899 | 0 | 231.86 | 22.26 | 973.215 | 84.8821 | -0.29928
2019-08-25 13:00:00 | 0 | 36.8987 | 3.1723 | 82.8832 | 0 | 16.1614 | 0 | 225.603 | 22.2 | 972.918 | 86.0406 | -0.29928
2019-08-25 13:15:00 | 0 | 26.7735 | 3.428 | 66.5514 | 0 | 16.2588 | 0 | 211.681 | 22.77 | 972.77 | 79.7 | -0.25494
2019-08-25 13:30:00 | 0 | 6.2309 | 4.195 | 59.6876 | 0 | 0.68151 | 0 | 194.4 | 23.15 | 972.74 | 78.5069 | -0.30298
2019-08-25 13:45:00 | 0 | 343.224 | 1.6383 | 55.5472 | 0 | 23.7545 | 0 | 155.378 | 23.67 | 973.066 | 76.8338 | -0.29928
2019-08-25 14:00:00 | 0 | 315.849 | 2.4053 | 33.5379 | 0 | 20.7824 | 0 | 140.999 | 23.76 | 972.624 | 78.6299 | -0.23278
2019-08-25 14:15:00 | 0 | 8.3227 | 2.661 | 55.6587 | 0 | 13.1411 | 0 | 189.159 | 23.57 | 972.623 | 80.0954 | -0.15149
2019-08-25 14:30:00 | 0 | 8.3714 | 2.9167 | 58.1409 | 0 | 9.4421 | 0 | 179.303 | 23.59 | 972.475 | 81.3906 | 0.38057
2019-08-25 14:45:00 | 0 | 350.332 | 4.195 | 39.938 | 0 | 12.7274 | 0 | 170.615 | 23.57 | 972.325 | 83.5038 | 0.99391
2019-08-25 15:00:00 | 0 | 333.808 | 3.9393 | 73.0098 | 0 | 11.2429 | 0 | 154.019 | 23.2 | 972.518 | 84.9353 | 1.1934
2019-08-25 15:15:00 | 0 | 68.7961 | 4.195 | 44.9268 | 0 | 5.9865 | 0 | 196.8 | 23.67 | 972.179 | 82.6858 | 1.1195
2019-08-25 15:30:00 | 0 | 20.4417 | 3.6837 | 51.7894 | 0 | 0.48671 | 0 | 199.112 | 23.52 | 972.473 | 82.5494 | 0.75005
2019-08-25 15:45:00 | 0 | 16.6697 | 3.428 | 66.8286 | 0 | 13.8712 | 0 | 200.499 | 23.59 | 972.325 | 81.0839 | 0.20691
2019-08-25 16:00:00 | 0 | 1.5575 | 3.1723 | 44.2454 | 0 | 325.121 | 0 | 201.497 | 23.64 | 972.028 | 82.4813 | 0.73527
2019-08-25 16:15:00 | 0 | 352.766 | 3.9393 | 42.2256 | 0 | 356.027 | 0 | 175.653 | 23.61 | 971.584 | 87.3892 | 1.223
2019-08-25 16:30:00 | 0 | 336.339 | 3.428 | 45.0241 | 0 | 3.334 | 0 | 178.719 | 23.03 | 971.554 | 88.2754 | 0.95696
2019-08-25 16:45:00 | 0.62733 | 351.505 | 2.9167 | 54.1369 | 0 | 0.048678 | 0 | 162.415 | 22.99 | 971.723 | 88.4935 | 1.3412
2019-08-25 17:00:00 | 0 | 336.177 | 3.9393 | 42.869 | 0 | 38.9189 | 0 | 168.965 | 22.97 | 971.583 | 88.0177 | 1.7661
2019-08-25 17:15:00 | 0 | 2.726 | 3.9393 | 47.4935 | 0 | 0.048679 | 1.9097 | 190.311 | 22.77 | 971.435 | 88.495 | 1.6036
2019-08-25 17:30:00 | 0 | 0.53552 | 4.195 | 48.2542 | 0 | 347.892 | 0 | 192.519 | 22.52 | 970.99 | 89.5939 | 1.8807
2019-08-25 17:45:00 | 0 | 354.016 | 3.9393 | 36.2074 | 0 | 0.048685 | 0 | 171.3 | 22.54 | 971.286 | 89.1203 | 3.9609
2019-08-25 18:00:00 | 0 | 336.623 | 4.4507 | 47.2126 | 0 | 0.048687 | 3.8193 | 167.532 | 22.31 | 970.99 | 89.8052 | 6.248
2019-08-25 18:15:00 | 0 | 356.927 | 4.7063 | 42.758 | 0 | 346.97 | 3.1723 | 183.868 | 22.01 | 970.841 | 90.6239 | 4.4818
2019-08-25 18:30:00 | 0 | 3.2377 | 3.6837 | 44.5594 | 0 | 352.009 | 0 | 201.371 | 21.73 | 970.99 | 91.3058 | 3.0298
2019-08-25 18:45:00 | 2.648 | 18.6985 | 3.1723 | 60.5156 | 0 | 7.8884 | 0 | 208.8 | 21.65 | 970.841 | 91.864 | 2.5457
2019-08-25 19:00:00 | 0 | 41.3669 | 3.1723 | 84.5495 | 0 | 16.6539 | 0 | 230.476 | 21.66 | 970.693 | 91.867 | 1.3375
2019-08-25 19:15:00 | 0 | 44.1182 | 3.1723 | 79.0469 | 0 | 19.9652 | 0 | 223.781 | 21.66 | 970.396 | 92.5831 | 0.83503
2019-08-25 19:30:00 | 0 | 48.6226 | 2.9167 | 84.3061 | 0 | 15.9722 | 0 | 234.81 | 21.62 | 970.723 | 92.8218 | 1.3264
2019-08-25 19:45:00 | 0 | 48.4765 | 3.6837 | 99.6695 | 0 | 46.2609 | 0 | 232.57 | 21.81 | 970.72 | 88.2523 | 0.82395
2019-08-25 20:00:00 | 0 | 90.8417 | 1.6383 | 122.021 | 0 | 72.9461 | 0 | 236.101 | 22.37 | 971.016 | 81.5004 | -0.17366
2019-08-25 20:15:00 | 0 | 61.7461 | 2.1497 | 120.755 | 0 | 26.6852 | 0 | 264.466 | 23.08 | 971.287 | 76.5217 | -0.070202
2019-08-25 20:30:00 | 0 | 90.3791 | 0.75133 | 130.737 | 0 | 78.0104 | 0 | 284.65 | 23.53 | 971.583 | 71.6794 | -0.24386
2019-08-25 20:45:00 | 0 | 90.9126 | 3.6837 | 143.784 | 0 | 86.384 | 0 | 280.894 | 23.99 | 971.287 | 68.1314 | 0.10715
2019-08-25 21:00:00 | 0 | 87.5414 | 2.1497 | 125.286 | 0 | 58.5232 | 0 | 268.053 | 24.18 | 971.732 | 69.6227 | 0.34731
2019-08-25 21:15:00 | 0 | 93.3824 | 3.6837 | 140.693 | 0 | 98.0563 | 0 | 283.555 | 24.3 | 972.028 | 65.1892 | 0.70941
2019-08-25 21:30:00 | 0 | 107.502 | 4.4507 | 170.221 | 0 | 136.032 | 0 | 296.189 | 24.42 | 971.583 | 63.2799 | 1.0124
2019-08-25 21:45:00 | 0 | 106.357 | 3.428 | 180.664 | 0 | 125.515 | 0 | 297.843 | 24.55 | 971.88 | 63.7569 | 1.4927
2019-08-25 22:00:00 | 0 | 115.024 | 3.6837 | 173.337 | 0 | 158.039 | 0 | 291.613 | 24.42 | 971.732 | 63.8254 | 1.4779
2019-08-25 22:15:00 | 0 | 96.3514 | 3.428 | 150.258 | 0 | 139.926 | 0 | 327.103 | 24.31 | 971.732 | 65.8705 | 1.8253
2019-08-25 22:30:00 | 0 | 119.477 | 4.962 | 167.735 | 0 | 108.181 | 0 | 298.886 | 24.1 | 971.583 | 67.37 | 5.5681
2019-08-25 22:45:00 | 0 | 114.558 | 3.428 | 177.544 | 0 | 142.31 | 0 | 264 | 23.96 | 971.583 | 69.4834 | 6.4808
2019-08-25 23:00:00 | 0 | 133.596 | 4.4507 | 187.575 | 0 | 144.842 | 0 | 302.051 | 23.83 | 971.732 | 70.7794 | 8.4945
2019-08-25 23:15:00 | 0 | 92.798 | 3.9393 | 167.324 | 0 | 143.944 | 0 | 298.21 | 23.76 | 971.732 | 72.2127 | 8.8048
2019-08-25 23:30:00 | 0 | 115.51 | 3.1723 | 184.364 | 0 | 132.575 | 0 | 310.38 | 23.61 | 971.583 | 74.1557 | 8.6386
2019-08-25 23:45:00 | 0 | 111.031 | 3.428 | 163.038 | 0 | 129.166 | 0 | 303.344 | 23.52 | 971.732 | 75.3488 | 10.9478