## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-08-26 00:00:00 | 0 | 106.552 | 5.729 | 161.945 | 0 | 107.136 | 0 | 267.05 | 23.35 | 971.435 | 75.9632 | 16.5603
2019-08-26 00:15:00 | 0 | 122.643 | 6.7517 | 182.077 | 0 | 127.488 | 0 | 295.459 | 23.26 | 970.99 | 70.9171 | 23.4364
2019-08-26 00:30:00 | 0 | 134.182 | 5.729 | 167.032 | 0 | 128.632 | 0 | 320.338 | 23.33 | 970.99 | 68.0532 | 28.9306
2019-08-26 00:45:00 | 0 | 137.542 | 7.0073 | 196.853 | 0 | 153.243 | 0 | 317.441 | 23.53 | 970.842 | 59.4613 | 32.0639
2019-08-26 01:00:00 | 0 | 121.913 | 5.4733 | 178.888 | 0 | 123.52 | 0 | 298.38 | 23.42 | 970.842 | 66.1098 | 29.4257
2019-08-26 01:15:00 | 0 | 126.733 | 4.7063 | 191.571 | 0 | 142.264 | 0 | 304.564 | 23.44 | 970.693 | 63.5186 | 36.0247
2019-08-26 01:30:00 | 4.946 | 141.072 | 7.0073 | 189.842 | 0 | 132.843 | 4.7063 | 301.448 | 23.28 | 969.952 | 63.9618 | 44.4785
2019-08-26 01:45:00 | 0 | 155.653 | 3.6837 | 173.8 | 0 | 130.506 | 1.007 | 329.807 | 23.13 | 970.248 | 59.9385 | 33.8743
2019-08-26 02:00:00 | 0 | 139.294 | 4.962 | 203.84 | 0 | 106.065 | 0 | 324.891 | 23.4 | 970.1 | 58.5748 | 23.9574
2019-08-26 02:15:00 | 0 | 134.84 | 4.195 | 193.251 | 0 | 132.527 | 0 | 306.682 | 23.05 | 970.397 | 64.3709 | 12.3408
2019-08-26 02:30:00 | 0 | 131.431 | 4.7063 | 184.049 | 0 | 152.148 | 1.2627 | 302.275 | 22.97 | 970.1 | 61.4388 | 9.0339
2019-08-26 02:45:00 | 0 | 130.777 | 4.195 | 184.832 | 0 | 152.638 | 0 | 308.854 | 23.03 | 970.248 | 59.5988 | 11.2139
2019-08-26 03:00:00 | 0 | 114.855 | 4.4507 | 173.341 | 0 | 134.16 | 0 | 304.983 | 23.07 | 969.803 | 63.0764 | 17.3806
2019-08-26 03:15:00 | 8.5207 | 129.119 | 6.2403 | 186.532 | 0 | 124.786 | 4.4507 | 315.179 | 22.86 | 969.507 | 62.9392 | 28.4946
2019-08-26 03:30:00 | 6.7333 | 130.411 | 9.3083 | 186.852 | 0 | 121.477 | 2.2853 | 302.622 | 22.81 | 969.358 | 67.5771 | 33.9076
2019-08-26 03:45:00 | 2.0207 | 129.145 | 6.496 | 195.324 | 0 | 118.58 | 1.2627 | 298.605 | 23.02 | 969.21 | 60.9626 | 37.0334
2019-08-26 04:00:00 | 5.712 | 127.928 | 8.5413 | 172.683 | 0 | 112.688 | 2.4053 | 310.215 | 23.4 | 969.358 | 58.0982 | 28.0069
2019-08-26 04:15:00 | 0.62733 | 102.852 | 6.2403 | 182.637 | 0 | 131.699 | 0 | 310.065 | 23.54 | 969.358 | 59.8023 | 26.4625
2019-08-26 04:30:00 | 4.6907 | 125.2 | 8.2857 | 202.355 | 0 | 123.349 | 2.9167 | 300.912 | 23.35 | 969.507 | 62.2571 | 25.3984
2019-08-26 04:45:00 | 3.042 | 123.934 | 6.2403 | 173.63 | 0 | 141.558 | 0 | 299.33 | 23.15 | 968.913 | 64.9165 | 36.9337
2019-08-26 05:00:00 | 0 | 122.254 | 9.0527 | 168.59 | 0 | 126.636 | 2.4053 | 305.513 | 23.23 | 969.21 | 66.0757 | 34.8609
2019-08-26 05:15:00 | 4.18 | 132.064 | 7.5187 | 180.032 | 0 | 136.179 | 1.5183 | 317.977 | 23.37 | 969.21 | 61.848 | 36.8338
2019-08-26 05:30:00 | 3.414 | 129.241 | 7.263 | 179.156 | 0 | 123.934 | 0 | 313.498 | 23.24 | 969.358 | 64.5755 | 34.5023
2019-08-26 05:45:00 | 0 | 130.409 | 7.0073 | 181.809 | 0 | 138.175 | 0 | 317.514 | 23.28 | 969.21 | 62.5298 | 31.4468
2019-08-26 06:00:00 | 0 | 137.444 | 6.496 | 192.691 | 0 | 145.332 | 0 | 306.536 | 23.44 | 969.358 | 61.0297 | 28.6424
2019-08-26 06:15:00 | 7.7547 | 130.166 | 5.9847 | 185.388 | 0 | 144.553 | 4.7063 | 313.327 | 23.56 | 969.507 | 59.8704 | 24.8331
2019-08-26 06:30:00 | 0 | 126.173 | 6.7517 | 173.41 | 0 | 124.542 | 0.63133 | 305.367 | 23.57 | 970.1 | 58.4384 | 25.3873
2019-08-26 06:45:00 | 0 | 123.057 | 5.729 | 184.049 | 0 | 136.373 | 0.63133 | 293.609 | 23.75 | 969.803 | 57.0747 | 22.3982
2019-08-26 07:00:00 | 0 | 129.897 | 5.9847 | 189.743 | 0 | 134.059 | 0 | 308.626 | 23.56 | 969.803 | 59.5971 | 23.03
2019-08-26 07:15:00 | 0 | 122.883 | 3.9393 | 185.455 | 0 | 149.271 | 0 | 286.736 | 23.69 | 970.248 | 57.0049 | 14.1476
2019-08-26 07:30:00 | 0 | 113.186 | 3.6837 | 175.653 | 0 | 189.276 | 0 | 314.9 | 23.73 | 970.397 | 55.8412 | 8.0141
2019-08-26 07:45:00 | 0 | 113.131 | 3.428 | 168.803 | 0 | 129.828 | 0 | 294.145 | 23.77 | 970.397 | 56.7245 | 3.6136
2019-08-26 08:00:00 | 0 | 106.023 | 2.4053 | 157.581 | 0 | 83.728 | 0 | 280.537 | 23.84 | 970.693 | 57.2013 | 2.2095
2019-08-26 08:15:00 | 0 | 115.637 | 1.894 | 166.611 | 0 | 100.79 | 0 | 285.819 | 23.78 | 970.693 | 54.6105 | 1.5075
2019-08-26 08:30:00 | 0 | 133.089 | 2.9167 | 178.392 | 0 | 125.422 | 0 | 317.582 | 23.83 | 970.397 | 53.997 | 1.6553
2019-08-26 08:45:00 | 0 | 128.221 | 2.9167 | 171.869 | 0 | 117.998 | 0 | 316.876 | 23.94 | 970.373 | 54.2015 | 1.356
2019-08-26 09:00:00 | 0 | 136.277 | 2.661 | 161.962 | 0 | 129.243 | 0 | 317.704 | 23.86 | 970.693 | 54.8833 | 0.92371
2019-08-26 09:15:00 | 0 | 120.87 | 1.127 | 161.865 | 0 | 134.963 | 0 | 303.417 | 23.87 | 970.693 | 55.8377 | 1.5703
2019-08-26 09:30:00 | 0 | 143.482 | 1.3827 | 305.054 | 0 | 270.023 | 0 | 259.07 | 23.99 | 971.134 | 55.4969 | 0.20322
2019-08-26 09:45:00 | 0 | 136.009 | 0 | 263.872 | 0 | 270.266 | 0 | 310.718 | 24.17 | 971.138 | 61.0193 | 0.72789
2019-08-26 10:00:00 | 0 | 44.1934 | 0 | 206.004 | 0 | 271.195 | 0 | 324.953 | 24.56 | 971.003 | 57.0215 | 0.78331
2019-08-26 10:15:00 | 0 | 160.808 | 1.6383 | 209.848 | 0 | 165.919 | 0 | 339.308 | 24.85 | 971.293 | 59.1684 | 0.82764
2019-08-26 10:30:00 | 0 | 139.685 | 1.6383 | 204.494 | 0 | 166.843 | 0 | 295.091 | 24.47 | 970.694 | 62.6449 | 1.2267
2019-08-26 10:45:00 | 0 | 134.623 | 2.4053 | 200.795 | 0 | 135.597 | 0 | 314.802 | 24.16 | 970.842 | 62.8834 | 1.3301
2019-08-26 11:00:00 | 0 | 128.685 | 3.1723 | 215.469 | 0 | 163.826 | 0 | 349.991 | 23.95 | 970.694 | 65.0307 | 1.1602
2019-08-26 11:15:00 | 0 | 124.573 | 2.1497 | 191.791 | 0 | 159.835 | 0 | 317.139 | 23.69 | 970.437 | 65.576 | 1.1011
2019-08-26 11:30:00 | 0 | 108.365 | 2.9167 | 180.743 | 0 | 149.857 | 0 | 295.529 | 23.83 | 970.37 | 66.0532 | 1.3708
2019-08-26 11:45:00 | 0 | 112.235 | 3.6837 | 158.086 | 0 | 111.456 | 0 | 295.87 | 23.88 | 970.368 | 63.3265 | -0.033254
2019-08-26 12:00:00 | 0 | 109.217 | 1.6383 | 161.177 | 0 | 135.451 | 0 | 287.352 | 24.01 | 970.404 | 63.531 | -0.081287
2019-08-26 12:15:00 | 0 | 126.812 | 4.4507 | 173.369 | 0 | 103.863 | 0 | 309.351 | 24.15 | 970.177 | 61.8269 | 0.1404
2019-08-26 12:30:00 | 0 | 108.54 | 3.428 | 162.961 | 0 | 105.036 | 0 | 285.198 | 23.83 | 969.875 | 64.7265 | 0.12193
2019-08-26 12:45:00 | 0 | 98.4286 | 2.1497 | 148.477 | 0 | 96.8708 | 0 | 291.148 | 23.89 | 969.946 | 64.6324 | -0.22539
2019-08-26 13:00:00 | 0 | 44.59 | 1.3827 | 113.648 | 0 | 38.6512 | 0 | 237.189 | 23.93 | 969.924 | 66.2008 | -0.26603
2019-08-26 13:15:00 | 0 | 57.636 | 1.3827 | 109.145 | 0 | 1.436 | 0 | 291.66 | 23.74 | 969.951 | 69.337 | -0.28081
2019-08-26 13:30:00 | 0 | 110.696 | 1.127 | 144.852 | 0 | 21.005 | 0 | 273.381 | 23.72 | 969.803 | 64.4281 | -0.26972
2019-08-26 13:45:00 | 0 | 60.8488 | 1.894 | 102.014 | 0 | 34.3674 | 0 | 257.488 | 23.77 | 969.655 | 68.0416 | -0.26972
2019-08-26 14:00:00 | 0 | 48.5817 | 2.4053 | 88.0675 | 0 | 34.27 | 0 | 236.824 | 23.4 | 969.352 | 69.746 | -0.26972
2019-08-26 14:15:00 | 0 | 23.2449 | 2.9167 | 77.458 | 0 | 17.7196 | 0 | 216.262 | 23.06 | 968.913 | 81.2021 | -0.28081
2019-08-26 14:30:00 | 0 | 50.9988 | 2.4053 | 96.4817 | 0 | 29.7959 | 0 | 236.201 | 22.47 | 968.765 | 80.5981 | -0.26972
2019-08-26 14:45:00 | 0.99933 | 53.4099 | 2.661 | 97.7743 | 0 | 30.6486 | 0 | 252.516 | 23.03 | 968.468 | 77.2926 | -0.2882
2019-08-26 15:00:00 | 0 | 5.599 | 2.9167 | 63.2554 | 0 | 14.022 | 0 | 192.972 | 22.65 | 968.765 | 78.8271 | -0.28081
2019-08-26 15:15:00 | 0 | 8.6666 | 3.428 | 67.3478 | 0 | 4.6741 | 0 | 191.81 | 22.64 | 968.616 | 73.3742 | -0.19213
2019-08-26 15:30:00 | 0 | 42.4131 | 1.894 | 80.2624 | 0 | 33.1124 | 0 | 279.824 | 22.27 | 968.32 | 75.6337 | 0.47294
2019-08-26 15:45:00 | 0 | 27.6348 | 3.428 | 77.7321 | 0 | 12.7583 | 0 | 215.356 | 22.17 | 967.875 | 83.4782 | 0.16627
2019-08-26 16:00:00 | 0 | 33.2104 | 4.195 | 94.4348 | 0 | 32.4313 | 0 | 217.572 | 21.54 | 968.023 | 80.8184 | 0.58009
2019-08-26 16:15:00 | 0 | 37.4226 | 3.428 | 92.2921 | 0 | 18.9426 | 0 | 217.889 | 22.27 | 968.034 | 75.7715 | 0.56162
2019-08-26 16:30:00 | 0 | 51.4956 | 4.7063 | 101.569 | 0 | 31.8226 | 3.6837 | 231.061 | 22 | 968.023 | 65.4049 | 0.20322
2019-08-26 16:45:00 | 0 | 71.0956 | 3.6837 | 116.908 | 0 | 58.1182 | 0 | 266.292 | 22.81 | 968.468 | 63.2907 | -0.16627
2019-08-26 17:00:00 | 0 | 114.628 | 3.1723 | 160.488 | 0 | 77.4252 | 0 | 297.868 | 23.64 | 968.172 | 51.6618 | -0.18844
2019-08-26 17:15:00 | 0 | 60.8127 | 3.6837 | 98.0223 | 0 | 15.191 | 1.774 | 259.464 | 24.04 | 968.172 | 65.8053 | -0.13301
2019-08-26 17:30:00 | 0 | 123.203 | 2.9167 | 142.178 | 0 | 69.769 | 0 | 306.39 | 22.8 | 968.172 | 55.5745 | 1.09
2019-08-26 17:45:00 | 0 | 103.898 | 4.962 | 155.492 | 0 | 85.8838 | 0 | 291.026 | 24.64 | 968.023 | 44.2547 | 6.7726
2019-08-26 18:00:00 | 0 | 118.797 | 4.195 | 174.311 | 0 | 122.911 | 0 | 324.623 | 24.72 | 968.023 | 37.1633 | 7.604
2019-08-26 18:15:00 | 0 | 122.495 | 4.195 | 178.544 | 0 | 133.377 | 1.3827 | 309.403 | 25.05 | 968.468 | 43.5724 | 11.2804
2019-08-26 18:30:00 | 0 | 110.41 | 4.195 | 166.742 | 0 | 122.385 | 0 | 301.168 | 25.12 | 968.32 | 45.5452 | 14.4432
2019-08-26 18:45:00 | 0 | 135.766 | 4.962 | 183.625 | 0 | 121.211 | 0 | 320.6 | 25.16 | 968.765 | 53.997 | 8.8491
2019-08-26 19:00:00 | 0 | 101.715 | 2.4053 | 122.751 | 0 | 67.4692 | 0 | 302.662 | 25.38 | 968.913 | 51.3039 | 3.4103
2019-08-26 19:15:00 | 0 | 80.1257 | 1.127 | 13.5744 | 0 | 323.01 | 0 | 233.781 | 24.8 | 969.21 | 53.622 | 0.58379
2019-08-26 19:30:00 | 0 | 107.971 | 1.894 | 132.245 | 0 | 75.3069 | 0 | 310.72 | 24.63 | 969.358 | 55.429 | -0.29928
2019-08-26 19:45:00 | 0 | 86.0423 | 1.894 | 132.393 | 0 | 66.3998 | 0 | 281.883 | 24.46 | 969.358 | 54.8164 | -0.084981
2019-08-26 20:00:00 | 0 | 122.285 | 3.428 | 159.898 | 0 | 80.2252 | 0 | 312.503 | 24.46 | 969.358 | 58.7027 | -0.096066
2019-08-26 20:15:00 | 0 | 127.506 | 4.195 | 179.462 | 0 | 121.98 | 0 | 311.827 | 24.79 | 969.358 | 68.2884 | 0.72789
2019-08-26 20:30:00 | 0 | 130.317 | 3.428 | 182.071 | 0 | 128.905 | 0 | 316.591 | 24.77 | 969.358 | 70.293 | 1.0937
2019-08-26 20:45:00 | 0 | 253.181 | 2.4053 | 16.0083 | 0 | 305.851 | 0 | 349.76 | 24.81 | 969.803 | 58.8378 | -0.23278
2019-08-26 21:00:00 | 0 | 328.449 | 3.1723 | 21.8654 | 0 | 336.7 | 0.37567 | 174.569 | 24.27 | 969.952 | 56.1805 | -0.25125
2019-08-26 21:15:00 | 0 | 345.58 | 2.1497 | 30.2414 | 0 | 336.355 | 0 | 155.812 | 24.16 | 969.952 | 56.6611 | -0.23278
2019-08-26 21:30:00 | 0 | 325.419 | 3.6837 | 12.279 | 0 | 325.078 | 3.428 | 151.804 | 24.21 | 969.952 | 53.0503 | 1.2341
2019-08-26 21:45:00 | 0 | 315.322 | 3.9393 | 25.1817 | 0 | 0.048687 | 0 | 152.78 | 23.4 | 969.655 | 56.2562 | 0.787
2019-08-26 22:00:00 | 1.3933 | 329.467 | 3.9393 | 25.7661 | 0 | 350.744 | 2.7967 | 155.946 | 23.62 | 969.952 | 49.267 | 0.24755
2019-08-26 22:15:00 | 0 | 332.121 | 3.9393 | 25.9608 | 0 | 346.654 | 0 | 157.504 | 23.96 | 969.803 | 44.255 | 1.4003
2019-08-26 22:30:00 | 0 | 344.633 | 3.1723 | 44.2673 | 0 | 356.927 | 0 | 168.02 | 24.22 | 969.803 | 42.073 | 0.90154
2019-08-26 22:45:00 | 0 | 335.036 | 2.661 | 29.4412 | 0 | 354.584 | 0 | 157.087 | 24.35 | 969.803 | 44.527 | 0.10715
2019-08-26 23:00:00 | 1.51 | 46.8372 | 2.4053 | 85.3594 | 0 | 355.88 | 0 | 179.802 | 24.39 | 969.507 | 50.5285 | -0.31776
2019-08-26 23:15:00 | 0 | 144.796 | 1.3827 | 146.146 | 0 | 0.53556 | 0 | 306.316 | 24.68 | 969.358 | 47.0849 | -0.26233
2019-08-26 23:30:00 | 0 | 165.265 | 0 | 194.413 | 0 | 0.43817 | 0 | 306.722 | 24.99 | 969.358 | 65.5284 | -0.25125
2019-08-26 23:45:00 | 0 | 159.397 | 2.1497 | 194.436 | 0 | 12.9017 | 0 | 324.003 | 24.87 | 969.062 | 63.2777 | -0.25125