## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-08-27 00:00:00 | 0 | 179.789 | 1.3827 | 216.238 | 0 | 253.74 | 0 | 21.4939 | 24.72 | 969.21 | 66.8209 | -0.25125
2019-08-27 00:15:00 | 0 | 246.004 | 1.6383 | 11.042 | 0 | 318.155 | 0 | 44.2545 | 24.24 | 969.358 | 51.1395 | -0.25125
2019-08-27 00:30:00 | 0 | 11.6848 | 2.1497 | 55.4641 | 0 | 10.1268 | 0 | 120.548 | 24.14 | 968.913 | 45.6181 | -0.25125
2019-08-27 00:45:00 | 0 | 0.92506 | 3.1723 | 54.1992 | 0 | 15.3851 | 0 | 181.773 | 24.04 | 968.765 | 47.0506 | -0.26603
2019-08-27 01:00:00 | 0 | 10.4191 | 3.1723 | 67.345 | 0 | 12.3666 | 0 | 201.979 | 23.86 | 968.32 | 45.2778 | -0.26972
2019-08-27 01:15:00 | 0 | 356.923 | 3.6837 | 49.9143 | 0 | 8.9584 | 3.6837 | 177.585 | 23.85 | 968.172 | 42.6862 | -0.16257
2019-08-27 01:30:00 | 0 | 356.927 | 2.9167 | 59.3603 | 0 | 15.8234 | 1.1427 | 174.008 | 23.76 | 968.172 | 48.1418 | -0.19583
2019-08-27 01:45:00 | 0 | 5.0635 | 2.1497 | 59.7499 | 0 | 14.5088 | 0 | 188.323 | 23.65 | 968.023 | 49.8466 | -0.26233
2019-08-27 02:00:00 | 0 | 356.927 | 3.428 | 54.3456 | 0 | 12.5126 | 0 | 178.536 | 23.65 | 968.172 | 47.8691 | 0.73158
2019-08-27 02:15:00 | 0 | 23.5647 | 3.9393 | 87.599 | 0 | 30.9651 | 1.3983 | 198.304 | 23.44 | 968.172 | 48.1418 | 1.4336
2019-08-27 02:30:00 | 0 | 20.4243 | 3.1723 | 84.7021 | 0 | 37.9274 | 0 | 212.496 | 23.84 | 968.023 | 48.6192 | -0.19583
2019-08-27 02:45:00 | 0 | 1.631 | 2.1497 | 61.7693 | 0 | 15.9692 | 0 | 180.238 | 24.17 | 968.172 | 51.2097 | -0.25125
2019-08-27 03:00:00 | 0 | 356.927 | 2.9167 | 60.7723 | 0 | 14.8983 | 0 | 170.503 | 24.04 | 968.172 | 48.6873 | -0.17366
2019-08-27 03:15:00 | 0 | 7.1083 | 3.428 | 66.5661 | 0 | 13.8272 | 0 | 187.422 | 24.17 | 968.023 | 45.9598 | -0.2143
2019-08-27 03:30:00 | 0 | 83.0363 | 3.428 | 56.5365 | 0 | 4.1871 | 0 | 179.364 | 24.35 | 968.172 | 44.9369 | -0.19213
2019-08-27 03:45:00 | 0 | 356.732 | 3.1723 | 55.8792 | 0 | 15.6286 | 0 | 176.784 | 24.44 | 968.172 | 45.5165 | -0.1441
2019-08-27 04:00:00 | 0 | 351.863 | 4.4507 | 41.2243 | 0 | 355.369 | 0 | 177.027 | 24.45 | 968.172 | 43.2322 | 0.13301
2019-08-27 04:15:00 | 0 | 0.24343 | 3.6837 | 54.0042 | 0 | 355.342 | 0 | 181.481 | 24.21 | 967.875 | 43.641 | 0.13671
2019-08-27 04:30:00 | 0 | 4.8687 | 2.661 | 59.3845 | 0 | 3.7002 | 0 | 190.732 | 24.1 | 967.727 | 47.4598 | -0.15149
2019-08-27 04:45:00 | 0 | 82.8653 | 4.195 | 43.2931 | 0 | 348.843 | 0 | 182.065 | 23.79 | 967.875 | 49.0962 | -0.070202
2019-08-27 05:00:00 | 0 | 1.9962 | 3.6837 | 55.1733 | 0 | 3.0186 | 0.75133 | 187.495 | 22.82 | 967.727 | 49.301 | 4.0606
2019-08-27 05:15:00 | 0 | 13.3403 | 4.195 | 66.8582 | 0 | 17.1379 | 0 | 196.624 | 22.62 | 967.875 | 51.7559 | 4.0126
2019-08-27 05:30:00 | 0 | 18.9394 | 4.962 | 76.4253 | 0 | 22.9804 | 1.007 | 201.639 | 22.74 | 967.727 | 51.074 | 5.6014
2019-08-27 05:45:00 | 0 | 19.0378 | 5.729 | 74.5803 | 0 | 25.7811 | 0 | 202.061 | 23.01 | 967.43 | 51.2813 | 5.7492
2019-08-27 06:00:00 | 0 | 17.2362 | 4.7063 | 75.7243 | 0 | 28.8241 | 0 | 196.583 | 23.12 | 968.023 | 51.6904 | 1.8068
2019-08-27 06:15:00 | 0 | 13.7542 | 4.195 | 64.7893 | 0 | 21.5199 | 0 | 197.793 | 23.21 | 968.32 | 52.3016 | 2.4275
2019-08-27 06:30:00 | 0 | 15.7748 | 5.4733 | 63.9376 | 0 | 6.6702 | 0 | 195.87 | 23.13 | 968.32 | 53.5292 | 5.5571
2019-08-27 06:45:00 | 0 | 12.5126 | 5.2177 | 64.7158 | 0 | 8.2768 | 0 | 195.041 | 22.84 | 968.913 | 54.5515 | 6.8022
2019-08-27 07:00:00 | 0 | 7.4005 | 4.4507 | 61.8921 | 0 | 356.976 | 0 | 195.236 | 22.67 | 969.21 | 56.2564 | 7.4414
2019-08-27 07:15:00 | 0 | 21.6172 | 4.7063 | 75.4272 | 0 | 22.8831 | 0 | 204.876 | 22.57 | 969.062 | 60.4159 | 6.2702
2019-08-27 07:30:00 | 0 | 22.3962 | 4.7063 | 72.2869 | 0 | 11.1737 | 0 | 207.067 | 22.41 | 969.21 | 62.5298 | 3.3919
2019-08-27 07:45:00 | 0 | 9.9321 | 3.9393 | 68.0739 | 0 | 17.7706 | 0 | 194.503 | 22.6 | 969.21 | 62.6651 | 4.8698
2019-08-27 08:00:00 | 0 | 13.8757 | 4.962 | 69.1937 | 0 | 14.0217 | 0 | 200.588 | 22.7 | 969.358 | 61.0286 | 3.7614
2019-08-27 08:15:00 | 0 | 13.0477 | 4.195 | 66.855 | 0 | 24.854 | 0 | 197.639 | 22.81 | 969.507 | 65.3914 | 1.5112
2019-08-27 08:30:00 | 0 | 10.5156 | 4.195 | 65.3665 | 0 | 31.9607 | 0 | 193.054 | 22.58 | 969.507 | 75.0367 | 2.3314
2019-08-27 08:45:00 | 0 | 4.138 | 4.4507 | 63.4422 | 0 | 18.7919 | 0 | 191.351 | 22.46 | 969.358 | 79.0924 | 2.6751
2019-08-27 09:00:00 | 0 | 356.867 | 3.1723 | 44.6504 | 0 | 4.7709 | 0 | 182.413 | 22.48 | 969.358 | 80.3534 | 1.9213
2019-08-27 09:15:00 | 0 | 19.1073 | 4.962 | 71.3257 | 0 | 15.4074 | 0 | 190.876 | 22.54 | 969.358 | 81.8851 | 1.2415
2019-08-27 09:30:00 | 0 | 20.0562 | 3.9393 | 68.8654 | 0 | 13.9468 | 0 | 194.988 | 22.56 | 969.655 | 81.7129 | 0.51728
2019-08-27 09:45:00 | 0 | 0.14604 | 4.195 | 71.7866 | 0 | 14.7987 | 0 | 177.171 | 22.53 | 969.952 | 81.7814 | 0.41752
2019-08-27 10:00:00 | 0 | 11.2449 | 4.4507 | 78.0883 | 0 | 22.3924 | 0 | 176.145 | 22.75 | 969.952 | 81.0636 | 0.051728
2019-08-27 10:15:00 | 0 | 66.0818 | 3.428 | 51.3635 | 0 | 20.4939 | 0 | 174.758 | 22.79 | 970.1 | 81.8817 | -0.096066
2019-08-27 10:30:00 | 0 | 21.5648 | 3.9393 | 76.0681 | 0 | 17.8165 | 0 | 197.345 | 22.86 | 969.78 | 82.2226 | -0.011085
2019-08-27 10:45:00 | 0 | 0.36508 | 1.6383 | 59.1738 | 0 | 20.4443 | 0 | 170.174 | 23.06 | 970.248 | 82.3561 | -0.25864
2019-08-27 11:00:00 | 0 | 27.0611 | 3.428 | 86.0055 | 0 | 45.7508 | 0 | 176.189 | 23.63 | 970.536 | 80.948 | -0.31406
2019-08-27 11:15:00 | 0 | 29.8352 | 1.6383 | 74.0076 | 0 | 25.1141 | 0 | 207.118 | 23.77 | 970.695 | 82.0041 | -0.31037
2019-08-27 11:30:00 | 0 | 5.5482 | 3.1723 | 74.6116 | 0 | 0.048669 | 0 | 195.696 | 24.76 | 970.99 | 77.1608 | -0.29928
2019-08-27 11:45:00 | 0 | 25.332 | 1.3827 | 61.1791 | 0 | 317.781 | 0 | 199.565 | 24.93 | 971.139 | 79.0693 | -0.2882
2019-08-27 12:00:00 | 0 | 29.5104 | 1.3827 | 27.9271 | 0 | 319.919 | 0 | 204.091 | 25.15 | 970.748 | 78.3009 | -0.26972
2019-08-27 12:15:00 | 0 | 308.273 | 2.9167 | 7.0823 | 0 | 299.929 | 0 | 185.081 | 25.43 | 970.843 | 74.4123 | -0.25125
2019-08-27 12:30:00 | 0 | 327.881 | 3.6837 | 12.9938 | 0 | 320.339 | 0 | 153.869 | 24.96 | 970.398 | 78.1942 | -0.26972
2019-08-27 12:45:00 | 0 | 6.3007 | 2.661 | 21.502 | 0 | 299.807 | 0 | 177.272 | 25.15 | 970.398 | 76.9336 | -0.26972
2019-08-27 13:00:00 | 0 | 289.395 | 3.1723 | 336.83 | 0 | 276.015 | 0 | 119.178 | 25.36 | 970.843 | 77.7172 | -0.28081
2019-08-27 13:15:00 | 0 | 299.272 | 3.1723 | 19.854 | 0 | 284.943 | 0 | 115.335 | 25.03 | 970.398 | 77.7513 | -0.19952
2019-08-27 13:30:00 | 0 | 303.675 | 2.9167 | 5.8416 | 0 | 302.094 | 0 | 129.031 | 25.12 | 970.25 | 75.9796 | -0.19952
2019-08-27 13:45:00 | 0 | 308.589 | 3.6837 | 6.176 | 0 | 292.533 | 0 | 159.78 | 25.21 | 970.25 | 77.2743 | -0.24755
2019-08-27 14:00:00 | 0 | 310.414 | 3.1723 | 7.4472 | 0 | 290.028 | 0 | 123.046 | 25.7 | 970.546 | 72.4361 | -0.26972
2019-08-27 14:15:00 | 0 | 326.153 | 2.1497 | 4.8136 | 0 | 272.853 | 0 | 144.333 | 25.6 | 969.953 | 74.1056 | -0.28081
2019-08-27 14:30:00 | 0 | 301.072 | 3.1723 | 14.7453 | 0 | 303.505 | 0 | 124.968 | 25.84 | 970.102 | 75.5707 | -0.2882
2019-08-27 14:45:00 | 0 | 308.176 | 3.1723 | 15.0373 | 0 | 298.299 | 0 | 124.433 | 25.88 | 969.953 | 76.4225 | -0.26972
2019-08-27 15:00:00 | 0 | 293.75 | 3.428 | 336.83 | 0 | 290.465 | 0 | 117.378 | 26.08 | 970.546 | 73.0835 | -0.29189
2019-08-27 15:15:00 | 0 | 287.425 | 2.661 | 334.251 | 0 | 274.288 | 0 | 127.255 | 25.69 | 970.102 | 74.4804 | -0.25125
2019-08-27 15:30:00 | 0 | 303.018 | 3.1723 | 10.2205 | 0 | 315.62 | 0 | 123.874 | 26.19 | 970.102 | 71.4821 | -0.28081
2019-08-27 15:45:00 | 0 | 317.323 | 3.6837 | 1.3168 | 0 | 321.701 | 0 | 138.494 | 26.02 | 970.102 | 73.1176 | -0.25125
2019-08-27 16:00:00 | 0 | 288.471 | 2.4053 | 333.619 | 0 | 278.156 | 0 | 106.918 | 26.04 | 969.805 | 73.2539 | -0.25864
2019-08-27 16:15:00 | 0 | 293.972 | 3.1723 | 336.834 | 0 | 277.624 | 0 | 115.214 | 25.88 | 969.805 | 74.822 | -0.15888
2019-08-27 16:30:00 | 0 | 274.28 | 2.4053 | 312.65 | 0 | 262.966 | 0 | 99.6343 | 25.72 | 969.699 | 74.9005 | -0.21061
2019-08-27 16:45:00 | 0 | 299.512 | 1.127 | 3.4587 | 0 | 294.474 | 0 | 115.736 | 25.81 | 969.479 | 76.5487 | -0.2143
2019-08-27 17:00:00 | 0 | 296.879 | 2.1497 | 13.3811 | 0 | 293.132 | 0 | 117.535 | 25.66 | 969.359 | 77.5019 | -0.26972
2019-08-27 17:15:00 | 0 | 298.992 | 1.6383 | 5.7889 | 0 | 305.684 | 0 | 124.103 | 25.52 | 969.211 | 77.1599 | -0.26972
2019-08-27 17:30:00 | 0 | 277.593 | 1.3827 | 328.19 | 0 | 283.118 | 0 | 97.4874 | 25.49 | 969.359 | 77.7096 | -0.26972
2019-08-27 17:45:00 | 0 | 310.325 | 1.3827 | 3.7027 | 0 | 304.046 | 0 | 114.084 | 25.78 | 969.656 | 77.5733 | -0.25125
2019-08-27 18:00:00 | 0 | 285.381 | 1.3827 | 19.854 | 0 | 283.799 | 0 | 103.231 | 25.45 | 969.211 | 78.3231 | -0.25125
2019-08-27 18:15:00 | 0 | 285.332 | 1.127 | 19.854 | 0 | 283.604 | 0 | 110.166 | 25.55 | 969.507 | 78.4594 | -0.25125
2019-08-27 18:30:00 | 4.4353 | 252.528 | 1.894 | 289.157 | 0 | 241.261 | 0.75133 | 76.3157 | 25.23 | 969.359 | 80.4362 | -0.25125
2019-08-27 18:45:00 | 0 | 253.258 | 2.4053 | 300.497 | 0 | 241.31 | 0 | 77.8975 | 25.11 | 969.108 | 79.1411 | -0.29189
2019-08-27 19:00:00 | 0 | 249.264 | 2.661 | 300.5 | 0 | 241.427 | 0 | 70.2865 | 25.04 | 969.472 | 79.7613 | -0.28081
2019-08-27 19:15:00 | 0 | 243.492 | 3.1723 | 290.913 | 0 | 235.704 | 0 | 63.5261 | 24.97 | 969.209 | 81.0294 | -0.26972
2019-08-27 19:30:00 | 0 | 235.801 | 4.195 | 283.806 | 0 | 225.676 | 0 | 56.7841 | 24.84 | 969.358 | 80.0409 | -0.0036948
2019-08-27 19:45:00 | 0 | 226.893 | 3.6837 | 274.606 | 0 | 217.741 | 0 | 53.1575 | 24.78 | 969.21 | 80.1091 | 0.37318
2019-08-27 20:00:00 | 0 | 214.602 | 3.6837 | 259.393 | 0 | 199.146 | 0 | 43.7625 | 24.44 | 969.358 | 84.8474 | 0.91263
2019-08-27 20:15:00 | 0 | 227.362 | 3.6837 | 270.258 | 0 | 204.458 | 0 | 53.3539 | 24.27 | 969.803 | 85.0205 | 1.9804
2019-08-27 20:30:00 | 0 | 220.082 | 3.1723 | 267.244 | 0 | 213.193 | 0 | 47.517 | 24.16 | 969.655 | 85.3359 | 2.9005
2019-08-27 20:45:00 | 0 | 205.874 | 3.428 | 269.836 | 0 | 211.449 | 0 | 49.9045 | 24 | 969.803 | 86.5325 | 3.4879
2019-08-27 21:00:00 | 0 | 218.408 | 2.4053 | 261.968 | 0 | 231.894 | 0 | 48.224 | 23.9 | 969.803 | 87.6221 | 3.4214
2019-08-27 21:15:00 | 0 | 228.514 | 3.6837 | 285.294 | 0 | 209.161 | 0 | 54.3594 | 23.65 | 969.951 | 89.4647 | 4.0976
2019-08-27 21:30:00 | 0 | 233.991 | 3.6837 | 278.113 | 0 | 214.419 | 0 | 56.1609 | 23.56 | 969.803 | 90.7944 | 3.7946
2019-08-27 21:45:00 | 0 | 208.942 | 3.9393 | 249.898 | 0 | 198.352 | 0 | 41.0921 | 23.49 | 969.803 | 91.4422 | 3.451
2019-08-27 22:00:00 | 0 | 208.333 | 2.9167 | 247.561 | 0 | 176.54 | 0 | 44.2081 | 23.3 | 969.951 | 92.3968 | 2.5494
2019-08-27 22:15:00 | 0 | 215.904 | 3.428 | 272.587 | 0 | 205.363 | 0 | 49.5881 | 23.15 | 969.655 | 92.7378 | 2.4977
2019-08-27 22:30:00 | 0 | 213.034 | 3.1723 | 257.862 | 0 | 194.947 | 0 | 42.5289 | 23.05 | 969.655 | 93.6936 | 2.2945
2019-08-27 22:45:00 | 0 | 209.753 | 3.6837 | 252.148 | 0 | 197.167 | 0 | 37.1986 | 22.9 | 969.655 | 94.1053 | 1.1897
2019-08-27 23:00:00 | 0.62733 | 231.648 | 3.6837 | 253.79 | 0 | 197.637 | 0 | 51.5152 | 22.88 | 969.358 | 93.4269 | 1.1971
2019-08-27 23:15:00 | 0 | 227.844 | 3.6837 | 274.313 | 0 | 202.474 | 0 | 59.0184 | 22.95 | 969.358 | 93.2299 | 1.2267
2019-08-27 23:30:00 | 0 | 208.123 | 2.661 | 265.403 | 0 | 214.308 | 0 | 41.6344 | 22.82 | 969.21 | 93.9805 | 1.2969
2019-08-27 23:45:00 | 0.372 | 213.263 | 3.6837 | 256.786 | 0 | 193.419 | 0 | 42.633 | 22.74 | 969.358 | 94.6632 | 0.43969