## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-08-28 00:00:00 | 0 | 209.391 | 3.1723 | 244.588 | 0 | 187.332 | 0 | 32.0904 | 22.58 | 969.506 | 95.4817 | 0.77592
2019-08-28 00:15:00 | 0 | 194.32 | 3.9393 | 240.692 | 0 | 175.499 | 0 | 30.1183 | 22.5 | 969.062 | 95.4134 | 1.1787
2019-08-28 00:30:00 | 0 | 201.551 | 4.195 | 246.657 | 0 | 211.558 | 0 | 30.873 | 22.47 | 969.21 | 95.1406 | 1.7624
2019-08-28 00:45:00 | 0 | 202.939 | 4.195 | 245.245 | 0 | 196.243 | 0 | 20.5739 | 22.49 | 969.062 | 95.277 | 1.4151
2019-08-28 01:00:00 | 0 | 193.151 | 4.195 | 234.97 | 0 | 179.541 | 0 | 20.16 | 22.34 | 968.913 | 96.5729 | 2.1467
2019-08-28 01:15:00 | 0 | 194.028 | 4.7063 | 238.33 | 0 | 199.847 | 5.9847 | 20.8174 | 22.26 | 969.062 | 96.0955 | 3.5249
2019-08-28 01:30:00 | 0 | 195.756 | 3.9393 | 240.449 | 0 | 181.44 | 3.9393 | 27.8296 | 22.35 | 969.062 | 95.9932 | 3.4325
2019-08-28 01:45:00 | 0 | 203.937 | 3.428 | 232.195 | 0 | 189.036 | 0 | 33.6974 | 22.33 | 968.765 | 94.3904 | 3.5618
2019-08-28 02:00:00 | 0 | 213.092 | 4.195 | 252.915 | 0 | 198.8 | 0 | 40.1252 | 22.52 | 968.617 | 88.8661 | 3.1369
2019-08-28 02:15:00 | 0 | 211.777 | 4.4507 | 254.108 | 0 | 195.708 | 0 | 37.593 | 22.63 | 968.799 | 85.5925 | 3.5914
2019-08-28 02:30:00 | 0 | 206.25 | 4.7063 | 243.76 | 0 | 198.313 | 0 | 29.7043 | 22.87 | 968.768 | 82.8644 | 3.451
2019-08-28 02:45:00 | 0 | 190.059 | 3.6837 | 240.01 | 0 | 188.939 | 0 | 16.2887 | 22.81 | 968.765 | 80.8866 | 2.1984
2019-08-28 03:00:00 | 0 | 197.071 | 4.7063 | 236.212 | 0 | 188.55 | 0 | 27.6591 | 22.56 | 968.468 | 84.4672 | 2.409
2019-08-28 03:15:00 | 0 | 191.203 | 4.195 | 229.346 | 0 | 178.543 | 0 | 18.2122 | 22.43 | 968.468 | 85.2515 | 1.8881
2019-08-28 03:30:00 | 0 | 188.574 | 2.661 | 233.388 | 0 | 181.878 | 0 | 12.32 | 22.5 | 968.617 | 85.2174 | 1.0124
2019-08-28 03:45:00 | 0 | 186.723 | 3.428 | 234.362 | 0 | 174.842 | 0 | 18.6748 | 22.42 | 968.028 | 86.0699 | 1.404
2019-08-28 04:00:00 | 0 | 195.683 | 3.6837 | 242.153 | 0 | 188.403 | 0 | 17.7252 | 22.37 | 968.202 | 85.5925 | 1.8511
2019-08-28 04:15:00 | 0.372 | 193.906 | 3.9393 | 233.68 | 0 | 181.635 | 0 | 32.6504 | 22.31 | 968.023 | 86.4791 | 1.973
2019-08-28 04:30:00 | 0 | 206.664 | 3.9393 | 243.76 | 0 | 188.866 | 0 | 30.8 | 22.41 | 968.361 | 86.7178 | 1.6959
2019-08-28 04:45:00 | 0 | 211.826 | 3.1723 | 248.313 | 0 | 193.76 | 0 | 38.1774 | 22.29 | 968.517 | 87.2975 | -0.11454
2019-08-28 05:00:00 | 0 | 237.245 | 2.661 | 283.69 | 0 | 227.701 | 0 | 55.9756 | 22.18 | 968.666 | 89.0025 | 0.41752
2019-08-28 05:15:00 | 0 | 220.567 | 3.1723 | 269.276 | 0 | 218.546 | 0 | 52.9322 | 21.61 | 968.445 | 93.8107 | 1.053
2019-08-28 05:30:00 | 0 | 207.249 | 3.428 | 258.685 | 0 | 191.666 | 0 | 51.4226 | 21.3 | 968.319 | 95.7545 | 1.138
2019-08-28 05:45:00 | 2.0207 | 228.441 | 3.6837 | 259.452 | 0 | 190.018 | 0 | 62.3573 | 21.18 | 968.448 | 96.4064 | 1.0493
2019-08-28 06:00:00 | 0 | 222.023 | 2.1497 | 246.34 | 0 | 183.696 | 0 | 66.1832 | 21.09 | 968.317 | 97.0589 | 0.24016
2019-08-28 06:15:00 | 0 | 207.464 | 2.9167 | 228.714 | 0 | 170.793 | 0 | 58.2459 | 21.15 | 968.615 | 96.9237 | 0.070202
2019-08-28 06:30:00 | 0 | 209.788 | 3.1723 | 247.057 | 0 | 180.034 | 0 | 57.1221 | 21.34 | 968.592 | 96.2354 | 0.63182
2019-08-28 06:45:00 | 0 | 199.336 | 3.9393 | 236.918 | 0 | 198.727 | 0 | 35.6696 | 21.54 | 968.653 | 95.2089 | 1.6627
2019-08-28 07:00:00 | 0.372 | 200.845 | 3.428 | 235.287 | 0 | 170.776 | 0 | 26.6852 | 21.78 | 968.617 | 93.8449 | 2.4682
2019-08-28 07:15:00 | 0 | 189.2 | 4.195 | 227.625 | 0 | 172.256 | 0 | 19.9375 | 21.57 | 968.617 | 94.5452 | 2.6049
2019-08-28 07:30:00 | 0 | 196.793 | 3.1723 | 252.112 | 0 | 165.414 | 0 | 25.0251 | 22.09 | 968.913 | 91.0324 | 2.2576
2019-08-28 07:45:00 | 0 | 184.202 | 3.1723 | 229.578 | 0 | 185.371 | 0 | 1.3143 | 22.57 | 969.358 | 90.0293 | 1.925
2019-08-28 08:00:00 | 0 | 197.053 | 1.894 | 234.348 | 0 | 147.887 | 0 | 38.4321 | 22.68 | 969.803 | 90.0631 | 0.10715
2019-08-28 08:15:00 | 0 | 205.005 | 3.6837 | 268.307 | 0 | 190.915 | 0 | 49.6208 | 22.41 | 969.726 | 92.1968 | 0.12932
2019-08-28 08:30:00 | 0 | 191.568 | 4.195 | 235.643 | 0 | 188.648 | 0 | 10.4399 | 21.74 | 969.722 | 96.0123 | 0.69094
2019-08-28 08:45:00 | 0 | 182.449 | 4.962 | 229.771 | 0 | 194.545 | 0 | 7.7643 | 21.3 | 970.098 | 97.6305 | 0.69094
2019-08-28 09:00:00 | 0 | 199.149 | 4.7063 | 236.08 | 0 | 177.706 | 0 | 37.4835 | 21.31 | 970.1 | 97.4279 | 0.218
2019-08-28 09:15:00 | 0 | 164.734 | 3.428 | 212.521 | 0 | 171.598 | 0 | 0.19472 | 21.72 | 970.396 | 93.3378 | -0.2845
2019-08-28 09:30:00 | 0 | 185.126 | 2.9167 | 228.482 | 0 | 179.139 | 0 | 31.3006 | 22.8 | 970.841 | 86.6883 | -0.3547
2019-08-28 09:45:00 | 0 | 193.15 | 2.9167 | 228.805 | 0 | 155.017 | 0 | 63.3694 | 23.47 | 970.997 | 80.3682 | -0.26972
2019-08-28 10:00:00 | 0 | 148.7 | 2.1497 | 207.248 | 0 | 149.26 | 0 | 325.53 | 23.58 | 971.139 | 81.8605 | -0.25125
2019-08-28 10:15:00 | 0 | 162.121 | 2.4053 | 198.587 | 0 | 151.222 | 0 | 340.397 | 24.53 | 971.176 | 76.9704 | -0.26233
2019-08-28 10:30:00 | 0 | 153.261 | 3.1723 | 240.154 | 0 | 198.728 | 0 | 0.29192 | 25.49 | 970.843 | 70.6985 | -0.26972
2019-08-28 10:45:00 | 0 | 163.746 | 1.6383 | 241.249 | 0 | 195.784 | 0 | 341.844 | 25.48 | 970.546 | 65.724 | -0.25125
2019-08-28 11:00:00 | 0 | 205.102 | 3.6837 | 232.831 | 0 | 155.037 | 0 | 31.3576 | 26.08 | 970.546 | 59.4889 | -0.25125
2019-08-28 11:15:00 | 0 | 192.086 | 3.6837 | 221.543 | 0 | 177.222 | 0 | 34.7389 | 26.55 | 970.546 | 58.1599 | -0.25125
2019-08-28 11:30:00 | 0 | 221.299 | 4.195 | 219.933 | 0 | 176.587 | 0 | 55.6836 | 25.89 | 970.102 | 61.9409 | -0.25125
2019-08-28 11:45:00 | 0 | 194.081 | 3.9393 | 250.42 | 0 | 174.766 | 0 | 27.9761 | 26.51 | 969.953 | 58.3305 | -0.26972
2019-08-28 12:00:00 | 0 | 192.476 | 3.428 | 261.026 | 0 | 191.357 | 0 | 46.635 | 27.22 | 969.805 | 55.0937 | -0.26972
2019-08-28 12:15:00 | 0 | 237.82 | 3.9393 | 295.374 | 0 | 242.856 | 0 | 59.5036 | 28.13 | 969.953 | 40.0338 | -0.26972
2019-08-28 12:30:00 | 0 | 235.387 | 3.428 | 275.571 | 0 | 237.673 | 0 | 72.9562 | 28.57 | 969.805 | 27.3933 | -0.2882
2019-08-28 12:45:00 | 0 | 249.79 | 4.4507 | 289.757 | 0 | 231.448 | 0 | 66.3886 | 28.66 | 969.953 | 27.3594 | -0.22539
2019-08-28 13:00:00 | 0 | 278.132 | 3.1723 | 279.953 | 0 | 248.282 | 0 | 82.9554 | 28.92 | 969.805 | 30.3237 | 0.4286
2019-08-28 13:15:00 | 0 | 279.226 | 4.195 | 333.424 | 0 | 294.504 | 0 | 101.785 | 29.53 | 969.953 | 26.3714 | 2.7305
2019-08-28 13:30:00 | 0 | 293.36 | 4.962 | 332.451 | 0 | 297.642 | 0 | 123.144 | 29.45 | 969.953 | 34.0034 | 2.6455
2019-08-28 13:45:00 | 0 | 288.811 | 5.2177 | 34.8089 | 0 | 290.563 | 0 | 108.888 | 29.71 | 969.657 | 30.5281 | 2.3721
2019-08-28 14:00:00 | 0 | 264.314 | 3.428 | 311.189 | 0 | 259.765 | 0 | 101.055 | 29.9 | 969.657 | 29.9489 | 1.829
2019-08-28 14:15:00 | 0 | 241.008 | 4.962 | 290.511 | 0 | 256.553 | 0 | 72.9569 | 29.06 | 970.102 | 35.0256 | 2.834
2019-08-28 14:30:00 | 0 | 258.11 | 3.9393 | 293.965 | 0 | 249.522 | 0 | 79.0385 | 29.44 | 970.102 | 27.7682 | 2.2391
2019-08-28 14:45:00 | 0 | 255.422 | 4.195 | 303.455 | 0 | 269.116 | 0 | 71.3167 | 29.46 | 970.102 | 31.4094 | 3.3512
2019-08-28 15:00:00 | 0 | 257.454 | 4.7063 | 287.972 | 0 | 214.136 | 0 | 80.8481 | 29.56 | 970.102 | 30.3861 | 4.3156
2019-08-28 15:15:00 | 0 | 240.79 | 4.195 | 283.121 | 0 | 238.504 | 0 | 72.9592 | 29.48 | 969.953 | 28.6455 | 5.7824
2019-08-28 15:30:00 | 0 | 305.055 | 6.496 | 19.8541 | 0 | 306.66 | 0 | 117.557 | 29.86 | 969.953 | 28.1335 | 6.6433
2019-08-28 15:45:00 | 0 | 258.752 | 4.962 | 304.364 | 0 | 266.315 | 0 | 65.5635 | 30.16 | 970.546 | 32.2207 | 6.9168
2019-08-28 16:00:00 | 0 | 251.262 | 4.7063 | 296.12 | 0 | 242.604 | 0 | 88.0098 | 29.44 | 970.25 | 34.5368 | 5.1137
2019-08-28 16:15:00 | 0 | 249.851 | 5.4733 | 284.885 | 0 | 240.926 | 0.37567 | 66.3903 | 29.26 | 969.953 | 33.2766 | 1.4927
2019-08-28 16:30:00 | 0 | 265.561 | 4.195 | 301.13 | 0 | 260.965 | 0 | 86.4047 | 29.16 | 969.509 | 31.6417 | 0.84981
2019-08-28 16:45:00 | 0 | 236.558 | 3.9393 | 283.347 | 0 | 226.829 | 0 | 76.1286 | 29.22 | 969.509 | 31.2033 | -0.11454
2019-08-28 17:00:00 | 0 | 252.583 | 2.661 | 286.778 | 0 | 248.91 | 0 | 68.7891 | 29.16 | 969.064 | 31.5126 | -0.36949
2019-08-28 17:15:00 | 0 | 237.549 | 2.9167 | 276.778 | 0 | 245.187 | 0 | 53.0751 | 29.43 | 969.212 | 29.4342 | -0.29189
2019-08-28 17:30:00 | 0 | 239.433 | 2.9167 | 293.471 | 0 | 252.859 | 0 | 69.8548 | 29.51 | 969.657 | 31.4083 | -0.18474
2019-08-28 17:45:00 | 0 | 239.622 | 3.428 | 285.097 | 0 | 240.206 | 0 | 59.4191 | 29.4 | 969.657 | 29.9769 | -0.19213
2019-08-28 18:00:00 | 0 | 213.746 | 2.661 | 264.987 | 0 | 220.143 | 0 | 42.6374 | 29.37 | 969.509 | 31.0674 | -0.12562
2019-08-28 18:15:00 | 0 | 235.936 | 3.428 | 232.963 | 0 | 190.695 | 0 | 44.4874 | 29.06 | 969.064 | 31.9542 | 0.070202
2019-08-28 18:30:00 | 0 | 207.777 | 3.9393 | 250.905 | 0 | 199.457 | 0 | 37.8771 | 28.75 | 968.471 | 33.4581 | 0.82026
2019-08-28 18:45:00 | 0 | 225.828 | 3.6837 | 265.065 | 0 | 199.433 | 0 | 41.6723 | 28.43 | 968.175 | 32.7087 | 1.4447
2019-08-28 19:00:00 | 0.744 | 221.612 | 4.195 | 258.767 | 0 | 210.322 | 0 | 43.6752 | 28.35 | 968.471 | 31.2153 | 1.8437
2019-08-28 19:15:00 | 0 | 218.033 | 4.195 | 254.537 | 0 | 223.095 | 0 | 40.4919 | 28.36 | 968.469 | 31.014 | 1.962
2019-08-28 19:30:00 | 0 | 211.125 | 4.195 | 253.859 | 0 | 205.869 | 0 | 36.0149 | 28.21 | 968.469 | 31.4916 | 2.2206
2019-08-28 19:45:00 | 0 | 209.868 | 2.661 | 245.888 | 0 | 229.726 | 0 | 38.2551 | 28.2 | 968.766 | 31.4246 | 2.5716
2019-08-28 20:00:00 | 0 | 217.753 | 3.6837 | 255.452 | 0 | 207.337 | 0 | 44.0957 | 28.13 | 968.766 | 31.6292 | 2.6197
2019-08-28 20:15:00 | 0 | 211.158 | 4.195 | 249.247 | 0 | 201.205 | 0 | 36.6491 | 28.09 | 968.914 | 32.1063 | 1.84
2019-08-28 20:30:00 | 0 | 220.819 | 4.4507 | 289.546 | 0 | 199.623 | 0.63133 | 42.5139 | 28.13 | 969.211 | 30.8793 | 2.6455
2019-08-28 20:45:00 | 0 | 233.036 | 3.9393 | 273.923 | 0 | 230.505 | 0 | 44.4607 | 28.18 | 969.062 | 29.7887 | 3.0482
2019-08-28 21:00:00 | 0 | 222.06 | 4.195 | 267.595 | 0 | 211.572 | 0 | 48.8898 | 27.96 | 969.359 | 30.1295 | 2.1873
2019-08-28 21:15:00 | 0 | 231.965 | 4.195 | 269.08 | 0 | 221.038 | 0 | 59.6217 | 28.37 | 969.359 | 28.3231 | 3.584
2019-08-28 21:30:00 | 0 | 285.795 | 2.4053 | 17.4691 | 0 | 233.863 | 0 | 110.677 | 28.15 | 969.656 | 29.7887 | 1.3412
2019-08-28 21:45:00 | 0 | 319.134 | 3.428 | 0.92107 | 0 | 338.505 | 0 | 136.935 | 27.02 | 969.656 | 34.6285 | 1.6073
2019-08-28 22:00:00 | 0 | 316.92 | 3.9393 | 31.6883 | 0 | 4.0883 | 0 | 132.287 | 26.25 | 969.578 | 39.8773 | 2.6898
2019-08-28 22:15:00 | 0 | 267.3 | 3.9393 | 309.696 | 0 | 274.698 | 0 | 90.2356 | 26.71 | 969.402 | 38.5821 | 4.1161
2019-08-28 22:30:00 | 0 | 266.099 | 5.2177 | 301.441 | 0 | 220.711 | 0 | 90.8252 | 26.73 | 969.483 | 38.8572 | 6.6138
2019-08-28 22:45:00 | 0 | 247.913 | 4.4507 | 289.654 | 0 | 223.65 | 0 | 68.8228 | 26.82 | 969.743 | 37.4927 | 4.1161
2019-08-28 23:00:00 | 0 | 258.309 | 4.962 | 292.871 | 0 | 231.928 | 0 | 89.3153 | 26.97 | 969.324 | 35.2438 | 5.6383
2019-08-28 23:15:00 | 0 | 252.703 | 3.428 | 290.769 | 0 | 240.608 | 0 | 83.2285 | 26.92 | 969.613 | 36.4697 | 3.1
2019-08-28 23:30:00 | 0 | 246.551 | 3.1723 | 292.868 | 0 | 230.635 | 0 | 86.6373 | 26.95 | 969.48 | 36.3341 | 3.3697
2019-08-28 23:45:00 | 0 | 279.018 | 2.661 | 312.29 | 0 | 259.621 | 0 | 106.496 | 26.66 | 969.626 | 38.652 | 1.8216