## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-08-29 00:00:00 | 0 | 309.193 | 3.6837 | 7.3441 | 0 | 315.375 | 0 | 135.175 | 26.32 | 969.182 | 40.7342 | 1.5962
2019-08-29 00:15:00 | 0 | 353.263 | 3.1723 | 39.6804 | 0 | 356.963 | 0 | 154.337 | 25.89 | 969.498 | 39.884 | 1.0678
2019-08-29 00:30:00 | 0 | 338.465 | 4.195 | 31.0156 | 0 | 3.3588 | 0 | 151.587 | 26.53 | 969.358 | 40.0886 | 1.2932
2019-08-29 00:45:00 | 0 | 333.695 | 4.962 | 22.4968 | 0 | 355.698 | 0 | 146.061 | 26.87 | 969.506 | 38.0433 | 3.0963
2019-08-29 01:00:00 | 2.5313 | 328.681 | 5.2177 | 12.1282 | 0 | 336.104 | 0.37567 | 145.453 | 26.48 | 969.21 | 36.2025 | 8.4058
2019-08-29 01:15:00 | 0 | 337.102 | 3.6837 | 47.1771 | 0 | 355.576 | 0 | 149.25 | 26.34 | 969.21 | 37.0206 | 15.0934
2019-08-29 01:30:00 | 0 | 356.282 | 3.9393 | 22.8132 | 0 | 5.233 | 0 | 170.474 | 25.81 | 968.765 | 40.0204 | 19.2501
2019-08-29 01:45:00 | 0 | 353.41 | 4.7063 | 62.3406 | 0 | 15.1635 | 0 | 153.217 | 25.07 | 968.764 | 43.1566 | 21.2823
2019-08-29 02:00:00 | 5.9673 | 345.962 | 6.496 | 50.7306 | 0 | 2.3366 | 2.661 | 169.476 | 24.51 | 968.468 | 44.9293 | 23.0743
2019-08-29 02:15:00 | 6.478 | 6.5963 | 7.5187 | 58.1327 | 0 | 178.513 | 0 | 182.456 | 23.87 | 968.468 | 48.5444 | 30.9533
2019-08-29 02:30:00 | 7.7547 | 19.9616 | 11.3537 | 80.3194 | 0 | 15.8963 | 4.7063 | 194.942 | 22.98 | 968.023 | 47.255 | 33.6674
2019-08-29 02:45:00 | 2.0207 | 4.4306 | 12.3763 | 63.2554 | 0 | 32.3527 | 4.962 | 194.36 | 23.09 | 968.023 | 38.7317 | 40.8576
2019-08-29 03:00:00 | 7.4993 | 7.7169 | 8.5413 | 65.1298 | 0 | 27.0702 | 1.3827 | 185.182 | 23.16 | 968.172 | 37.1633 | 49.3521
2019-08-29 03:15:00 | 4.6907 | 21.1803 | 11.3537 | 73.7775 | 1.007 | 29.9445 | 4.4507 | 199.849 | 22.93 | 967.43 | 35.3925 | 52.4816
2019-08-29 03:30:00 | 5.9673 | 4.4313 | 9.0527 | 55.6722 | 1.6383 | 15.5824 | 5.729 | 202.985 | 22.69 | 967.726 | 35.737 | 60.8267
2019-08-29 03:45:00 | 5.2013 | 15.9235 | 9.3083 | 62.5147 | 0 | 16.6296 | 5.9847 | 203.523 | 22.63 | 967.43 | 35.8738 | 58.0497
2019-08-29 04:00:00 | 7.244 | 15.7287 | 10.5867 | 61.9548 | 0 | 353.019 | 1.894 | 199.336 | 22.76 | 967.726 | 34.3052 | 59.7109
2019-08-29 04:15:00 | 5.712 | 24.64 | 12.3763 | 74.1774 | 2.4053 | 29.8991 | 0.63133 | 197.972 | 22.7 | 967.281 | 34.7144 | 60.5089
2019-08-29 04:30:00 | 5.4567 | 16.2887 | 9.564 | 64.3408 | 0 | 39.0052 | 6.2403 | 203.256 | 22.41 | 967.726 | 36.5217 | 58.2529
2019-08-29 04:45:00 | 2.7867 | 14.5113 | 10.331 | 64 | 2.2853 | 20.9391 | 4.4507 | 197.899 | 22 | 967.75 | 37.647 | 56.2615
2019-08-29 05:00:00 | 1.882 | 15.8748 | 7.5187 | 61.6626 | 0.63133 | 18.3583 | 4.7063 | 198.435 | 21.99 | 967.754 | 36.9309 | 55.0126
2019-08-29 05:15:00 | 2.9033 | 18.8452 | 9.8197 | 73.0817 | 0 | 22.7652 | 0.37567 | 200.723 | 21.9 | 967.816 | 38.1245 | 45.7568
2019-08-29 05:30:00 | 2.9033 | 6.0139 | 10.0753 | 70.8174 | 0 | 18.2365 | 4.4507 | 191.885 | 21.99 | 968.066 | 36.7604 | 43.9945
2019-08-29 05:45:00 | 12.8613 | 12.1496 | 8.5413 | 69.8678 | 0 | 14.073 | 7.0073 | 199.676 | 21.71 | 968.085 | 38.7383 | 36.361
2019-08-29 06:00:00 | 7.4993 | 11.5411 | 8.2857 | 67.4344 | 0 | 352.611 | 4.4507 | 198.73 | 21.67 | 968.092 | 37.4431 | 34.6281
2019-08-29 06:15:00 | 8.01 | 17.8226 | 7.7743 | 69.9166 | 0 | 352.411 | 4.7063 | 199.312 | 21.64 | 968.291 | 38.7724 | 30.1684
2019-08-29 06:30:00 | 5.712 | 10.4696 | 9.8197 | 73.0817 | 0 | 28.5357 | 5.4733 | 203.183 | 21.68 | 968.073 | 38.3291 | 31.7831
2019-08-29 06:45:00 | 6.7333 | 17.6035 | 9.0527 | 73.4957 | 0 | 53.5409 | 5.2177 | 193.127 | 21.79 | 968.023 | 38.5337 | 29.1265
2019-08-29 07:00:00 | 10.5633 | 15.0937 | 7.7743 | 72.7534 | 0 | 19.3297 | 5.9847 | 199.627 | 21.95 | 968.32 | 38.3924 | 26.6066
2019-08-29 07:15:00 | 7.244 | 13.243 | 6.7517 | 72.7494 | 0 | 6.8893 | 8.5413 | 201.176 | 22.06 | 968.913 | 37.7088 | 20.763
2019-08-29 07:30:00 | 6.9887 | 20.9843 | 7.5187 | 78.8353 | 1.5183 | 13.243 | 5.729 | 204.536 | 22.53 | 968.913 | 36.2769 | 21.0237
2019-08-29 07:45:00 | 2.1373 | 12.9005 | 7.0073 | 67.2366 | 0 | 19.7646 | 2.4053 | 184.21 | 22.8 | 969.358 | 35.045 | 15.9839
2019-08-29 08:00:00 | 6.9887 | 6.9855 | 7.263 | 64.2148 | 0 | 64.3781 | 5.9847 | 190.189 | 22.69 | 969.655 | 37.7024 | 13.1315
2019-08-29 08:15:00 | 1.51 | 352.923 | 7.5187 | 75.3136 | 1.1427 | 14.0196 | 0 | 182.814 | 22.81 | 969.952 | 37.9751 | 12.3038
2019-08-29 08:30:00 | 0.372 | 23.5583 | 7.7743 | 81.8507 | 0.37567 | 18.6422 | 1.007 | 188.101 | 22.74 | 970.1 | 37.9372 | 13.8298
2019-08-29 08:45:00 | 12.3507 | 84.1528 | 4.962 | 63.5201 | 0 | 19.9796 | 14.166 | 184.513 | 22.9 | 970.2 | 39.7074 | 16.8817
2019-08-29 09:00:00 | 0 | 24.9924 | 4.195 | 68.0454 | 0 | 20.393 | 0 | 204.807 | 22.97 | 970.248 | 41.3088 | 13.6377
2019-08-29 09:15:00 | 8.776 | 10.1479 | 6.496 | 64.1031 | 0 | 0.048671 | 3.308 | 202.835 | 23.23 | 970.56 | 37.6278 | 15.6366
2019-08-29 09:30:00 | 0 | 177.454 | 5.9847 | 79.0207 | 0 | 20.9528 | 3.9393 | 175.604 | 23.47 | 970.694 | 39.6046 | 14.4801
2019-08-29 09:45:00 | 2.7867 | 10.9509 | 7.7743 | 68.0454 | 0 | 40.5427 | 0 | 200.426 | 23.61 | 970.397 | 36.7757 | 14.6575
2019-08-29 10:00:00 | 7.244 | 331.375 | 7.7743 | 52.5194 | 0 | 22.7049 | 4.195 | 170.226 | 23.89 | 970.842 | 35.651 | 13.368
2019-08-29 10:15:00 | 0 | 28.2531 | 6.496 | 80.7233 | 0 | 18.4217 | 0 | 212.324 | 24.01 | 970.842 | 34.6964 | 15.4703
2019-08-29 10:30:00 | 11.5847 | 352.704 | 7.263 | 64.8787 | 0 | 60.2279 | 5.9847 | 171.948 | 24.38 | 970.99 | 34.3887 | 21.8365
2019-08-29 10:45:00 | 0 | 29.152 | 7.5187 | 72.9312 | 0 | 27.8623 | 7.7743 | 168.318 | 24.43 | 970.99 | 34.5241 | 21.6703
2019-08-29 11:00:00 | 0 | 27.1085 | 5.9847 | 85.0273 | 0 | 13.6516 | 0.37567 | 176.351 | 24.66 | 970.842 | 35.0702 | 20.7724
2019-08-29 11:15:00 | 0 | 10.2937 | 5.9847 | 67.6057 | 0 | 18.2269 | 3.9393 | 192.903 | 24.58 | 970.694 | 34.9005 | 15.2819
2019-08-29 11:30:00 | 11.3293 | 349.197 | 9.8197 | 70.2801 | 2.1497 | 13.8219 | 5.729 | 181.826 | 24.85 | 970.773 | 33.4681 | 19.9226
2019-08-29 11:45:00 | 7.4993 | 25.7937 | 7.263 | 75.2662 | 0 | 16.2305 | 6.7517 | 181.699 | 25.37 | 970.812 | 36.7049 | 19.0765
2019-08-29 12:00:00 | 0 | 335.429 | 3.9393 | 62.3247 | 0 | 1.8976 | 0 | 147.28 | 25.54 | 970.703 | 36.0485 | 18.6146
2019-08-29 12:15:00 | 0 | 11.8959 | 8.03 | 75.2649 | 0 | 0.17029 | 5.2177 | 195.468 | 25.71 | 970.843 | 32.845 | 20.3401
2019-08-29 12:30:00 | 0 | 0.14596 | 2.1497 | 27.1459 | 0 | 253.075 | 0.63133 | 201.331 | 25.85 | 970.991 | 35.4344 | 15.2782
2019-08-29 12:45:00 | 0 | 3.5032 | 3.428 | 41.6469 | 0 | 25.9822 | 3.1723 | 173.385 | 26.13 | 971.072 | 36.5259 | 14.7092
2019-08-29 13:00:00 | 0 | 303.358 | 4.195 | 0.48992 | 0 | 312.021 | 0 | 114.641 | 25.89 | 971.274 | 37.7292 | 14.3434
2019-08-29 13:15:00 | 2.5313 | 306.095 | 5.729 | 8.2225 | 0 | 292.395 | 1.5183 | 127.314 | 26.08 | 971.138 | 38.5455 | 13.9
2019-08-29 13:30:00 | 2.1593 | 344.405 | 4.962 | 12.6811 | 0 | 347.544 | 2.0297 | 164.038 | 25.65 | 970.842 | 37.1492 | 18.7883
2019-08-29 13:45:00 | 0 | 334.145 | 4.195 | 50.158 | 0 | 36.5513 | 0 | 137.079 | 25.84 | 970.842 | 38.0022 | 17.9459
2019-08-29 14:00:00 | 0 | 334.675 | 2.9167 | 5.0161 | 0 | 301.191 | 0 | 244.272 | 26.21 | 970.397 | 35.241 | 24.4414
2019-08-29 14:15:00 | 0 | 356.798 | 3.9393 | 72.1255 | 0 | 3.869 | 0 | 169.821 | 26.4 | 971.138 | 33.5008 | 15.8213
2019-08-29 14:30:00 | 0 | 305.879 | 6.496 | 18.4426 | 0 | 312.936 | 0 | 124.323 | 26.3 | 971.435 | 33.9791 | 20.5877
2019-08-29 14:45:00 | 0 | 309.891 | 4.4507 | 0.14361 | 0 | 321.863 | 0.887 | 120.915 | 26.27 | 971.567 | 36.3985 | 23.732
2019-08-29 15:00:00 | 0 | 26.8088 | 2.4053 | 6.328 | 0 | 306.282 | 0 | 198.852 | 26.42 | 971.338 | 36.2185 | 26.2999
2019-08-29 15:15:00 | 0 | 355.443 | 4.962 | 33.5926 | 0 | 4.1356 | 0 | 158.199 | 26.35 | 971.139 | 36.5247 | 20.3364
2019-08-29 15:30:00 | 0 | 0.14596 | 4.4507 | 43.1775 | 0 | 7.4441 | 0 | 173.331 | 26.4 | 971.287 | 35.0256 | 17.4149
2019-08-29 15:45:00 | 0 | 342.185 | 5.729 | 22.3535 | 0 | 0.048654 | 1.007 | 151.169 | 26.44 | 970.991 | 33.3561 | 16.6896
2019-08-29 16:00:00 | 0 | 307.859 | 5.2177 | 56.4357 | 0 | 317.006 | 0 | 122.657 | 26.57 | 971.436 | 33.1176 | 21.3747
2019-08-29 16:15:00 | 0 | 355.054 | 4.7063 | 36.0983 | 0 | 312.044 | 0 | 164.913 | 26.05 | 971.287 | 34.8552 | 18.5196
2019-08-29 16:30:00 | 0 | 331.14 | 4.195 | 9.4844 | 0 | 299.175 | 3.0523 | 172.479 | 26.07 | 971.139 | 36.5929 | 20.6025
2019-08-29 16:45:00 | 0 | 11.4824 | 2.4053 | 39.0175 | 0 | 311.46 | 5.2177 | 170.946 | 25.85 | 971.436 | 37.6831 | 20.5359
2019-08-29 17:00:00 | 0 | 349.264 | 4.962 | 9.2412 | 0 | 356.173 | 0 | 165.935 | 25.87 | 971.436 | 37.6831 | 15.958
2019-08-29 17:15:00 | 0 | 355.808 | 5.9847 | 44.9777 | 0 | 0.85145 | 0 | 168.343 | 25.41 | 971.287 | 38.9779 | 14.687
2019-08-29 17:30:00 | 0 | 2.5057 | 4.7063 | 47.2158 | 0 | 354.884 | 2.4053 | 192.938 | 25.14 | 971.287 | 39.7956 | 16.5086
2019-08-29 17:45:00 | 0 | 6.2277 | 4.4507 | 51.5703 | 0 | 35.177 | 0 | 185.518 | 24.96 | 971.139 | 42.0443 | 15.7474
2019-08-29 18:00:00 | 0 | 352.57 | 3.9393 | 37.9101 | 0 | 3.6011 | 2.7967 | 180.738 | 24.83 | 970.85 | 40.2125 | 12.1634
2019-08-29 18:15:00 | 0 | 225.629 | 4.962 | 55.2908 | 0 | 6.5703 | 0 | 181 | 24.68 | 970.841 | 40.5574 | 12.9985
2019-08-29 18:30:00 | 0 | 10.2207 | 5.2177 | 61.5953 | 0 | 0.12168 | 5.9847 | 193.196 | 24.49 | 970.397 | 41.9898 | 11.1547
2019-08-29 18:45:00 | 0 | 7.0573 | 4.962 | 66.0012 | 0 | 0.19468 | 0 | 192.566 | 23.99 | 970.249 | 41.2406 | 10.05
2019-08-29 19:00:00 | 0 | 23.7059 | 3.6837 | 68.4956 | 0 | 14.6519 | 0 | 205.346 | 23.93 | 970.522 | 40.9054 | 7.1643
2019-08-29 19:15:00 | 0 | 17.5488 | 4.962 | 77.5528 | 0 | 32.3959 | 0 | 210.026 | 23.87 | 970.396 | 40.0545 | 6.6803
2019-08-29 19:30:00 | 0 | 40.3124 | 4.7063 | 91.4921 | 0 | 41.6513 | 0 | 219.479 | 23.7 | 970.396 | 40.2993 | 6.4549
2019-08-29 19:45:00 | 0 | 39.7289 | 4.4507 | 78.251 | 0 | 40.0697 | 0 | 235.939 | 23.82 | 970.396 | 39.209 | 5.1728
2019-08-29 20:00:00 | 0 | 40.8487 | 3.9393 | 89.9847 | 0 | 37.2702 | 0 | 226.323 | 23.82 | 970.396 | 37.7088 | 3.2219
2019-08-29 20:15:00 | 0 | 29.3098 | 3.1723 | 76.9608 | 0 | 35.2496 | 0 | 208.357 | 23.8 | 970.841 | 38.3907 | 1.611
2019-08-29 20:30:00 | 0 | 36.5179 | 3.428 | 90.0164 | 0 | 23.761 | 0 | 218.767 | 23.68 | 970.841 | 38.3933 | 0.7131
2019-08-29 20:45:00 | 0 | 31.8453 | 3.1723 | 86.8327 | 0 | 48.9853 | 0 | 220.19 | 23.78 | 970.693 | 37.9861 | -0.35101
2019-08-29 21:00:00 | 0 | 26.295 | 2.9167 | 82.6722 | 0 | 33.1609 | 0 | 211.115 | 23.89 | 970.841 | 38.3963 | -0.51728
2019-08-29 21:15:00 | 0 | 41.0244 | 2.1497 | 96.8648 | 0 | 49.4727 | 0 | 217.49 | 23.9 | 971.138 | 37.6114 | -0.40274
2019-08-29 21:30:00 | 2.648 | 46.1634 | 2.1497 | 85.7667 | 0 | 45.8712 | 2.9167 | 225.29 | 23.9 | 970.99 | 36.965 | -0.2882
2019-08-29 21:45:00 | 1.882 | 38.2748 | 2.1497 | 93.3878 | 0 | 50.7896 | 0 | 215.843 | 23.91 | 970.841 | 37.306 | -0.25125
2019-08-29 22:00:00 | 0.372 | 32.1148 | 2.4053 | 88.6887 | 0 | 48.8417 | 2.9167 | 204.863 | 23.92 | 971.138 | 37.0332 | -0.25125
2019-08-29 22:15:00 | 8.2653 | 30.2887 | 1.6383 | 87.9095 | 0 | 45.7252 | 1.6383 | 209.756 | 23.96 | 970.99 | 36.624 | -0.25125
2019-08-29 22:30:00 | 0 | 26.7826 | 1.3827 | 74.6643 | 0 | 35.353 | 0 | 197.631 | 24.03 | 970.99 | 36.4876 | -0.25125
2019-08-29 22:45:00 | 0 | 26.7826 | 0.75133 | 74.6643 | 0 | 35.2556 | 0 | 183.29 | 23.97 | 970.99 | 36.283 | -0.25125
2019-08-29 23:00:00 | 0 | 26.8069 | 1.3827 | 74.6643 | 0 | 35.9374 | 0 | 182.876 | 24.03 | 970.841 | 36.2148 | -0.25125
2019-08-29 23:15:00 | 0 | 26.7826 | 0.37567 | 74.6643 | 0 | 35.9374 | 0 | 182.901 | 24.02 | 970.841 | 36.2148 | -0.25125
2019-08-29 23:30:00 | 0 | 26.7826 | 0 | 74.6643 | 0 | 35.9374 | 0 | 182.901 | 23.91 | 970.693 | 36.4194 | -0.25125
2019-08-29 23:45:00 | 0 | 26.7826 | 0 | 74.6643 | 0 | 35.9861 | 0 | 182.39 | 23.7 | 970.696 | 37.0332 | -0.25125