## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-08-30 00:00:00 | 0 | 26.7826 | 0 | 74.6643 | 0 | 99.2904 | 0 | 58.8487 | 23.53 | 970.796 | 37.306 | -0.26233
2019-08-30 00:15:00 | 0 | 26.7828 | 0 | 74.665 | 0 | 19.7706 | 0 | 50.2299 | 23.6 | 970.629 | 37.1699 | -0.25125
2019-08-30 00:30:00 | 0 | 167.71 | 2.1497 | 240.428 | 0 | 164.252 | 0 | 6.9636 | 23.63 | 970.619 | 37.2383 | -0.25125
2019-08-30 00:45:00 | 0 | 202.063 | 3.9393 | 242.981 | 0 | 192.64 | 0 | 26.953 | 23.51 | 970.917 | 37.4425 | -0.19583
2019-08-30 01:00:00 | 1.7653 | 205.301 | 3.1723 | 238.623 | 0 | 183.437 | 0 | 30.6783 | 23.61 | 970.698 | 37.7494 | -0.16257
2019-08-30 01:15:00 | 0 | 198.776 | 3.6837 | 238.209 | 0 | 194.734 | 0 | 29.5583 | 23.46 | 970.842 | 38.6019 | -0.16257
2019-08-30 01:30:00 | 0 | 204.376 | 3.6837 | 239.304 | 0 | 197.51 | 0 | 35.4991 | 23.5 | 971.138 | 38.0563 | -0.092371
2019-08-30 01:45:00 | 0 | 206.786 | 3.9393 | 246 | 0 | 200.139 | 0 | 42.0487 | 23.42 | 970.693 | 38.3973 | -0.033254
2019-08-30 02:00:00 | 0 | 209.367 | 3.6837 | 245.099 | 0 | 197.753 | 0 | 38.2748 | 23.16 | 970.842 | 38.6019 | 0.24755
2019-08-30 02:15:00 | 0 | 208.685 | 3.6837 | 246.024 | 0 | 196.024 | 0 | 39.6139 | 23.24 | 970.842 | 38.3973 | 0.2882
2019-08-30 02:30:00 | 0 | 220.275 | 4.4507 | 258.49 | 0 | 203.694 | 0 | 44.2156 | 23.37 | 970.99 | 38.6701 | 0.72789
2019-08-30 02:45:00 | 0 | 222.246 | 4.4507 | 261.119 | 0 | 202.013 | 0 | 48.2086 | 23.24 | 970.99 | 39.2838 | 0.81287
2019-08-30 03:00:00 | 0 | 231.256 | 3.428 | 264.723 | 0 | 207.59 | 0 | 58.7513 | 23.15 | 970.99 | 39.1475 | 0.32145
2019-08-30 03:15:00 | 0 | 233.057 | 4.195 | 274.097 | 0 | 227.896 | 0 | 47.7461 | 23.33 | 970.99 | 39.2157 | 1.2156
2019-08-30 03:30:00 | 0 | 228.626 | 5.4733 | 271.151 | 0 | 210.292 | 0 | 56.7304 | 23.47 | 971.138 | 39.4203 | 2.1356
2019-08-30 03:45:00 | 0 | 234.348 | 5.2177 | 273.976 | 0 | 220.08 | 0 | 55.8782 | 23.36 | 970.99 | 39.6249 | 2.4608
2019-08-30 04:00:00 | 0 | 228.331 | 4.7063 | 275.968 | 0 | 222.22 | 0 | 65.7869 | 23.42 | 971.138 | 39.2151 | 3.2441
2019-08-30 04:15:00 | 0 | 234.663 | 4.962 | 260.291 | 0 | 221.978 | 0 | 65.5441 | 23.36 | 970.99 | 39.3519 | 2.4017
2019-08-30 04:30:00 | 0 | 219.853 | 4.4507 | 266.686 | 0 | 204.709 | 0 | 59.5527 | 23.16 | 970.99 | 39.7599 | 2.5494
2019-08-30 04:45:00 | 0 | 231.642 | 4.7063 | 267.544 | 0 | 205.517 | 1.2627 | 57.314 | 23.06 | 971.138 | 39.7608 | 3.6838
2019-08-30 05:00:00 | 0 | 233.544 | 4.7063 | 258.977 | 0 | 211.193 | 2.0297 | 54.1496 | 22.88 | 971.138 | 40.7161 | 3.4547
2019-08-30 05:15:00 | 0 | 225.461 | 5.2177 | 258.149 | 0 | 204.984 | 0 | 52.2017 | 22.8 | 970.99 | 41.2958 | 3.3882
2019-08-30 05:30:00 | 0 | 216.866 | 4.4507 | 251.43 | 0 | 198.094 | 0 | 50.9113 | 22.8 | 970.99 | 41.3981 | 4.6518
2019-08-30 05:45:00 | 0 | 220.713 | 4.7063 | 241.983 | 0 | 206.323 | 5.2177 | 45.1409 | 22.69 | 971.435 | 42.2165 | 4.8476
2019-08-30 06:00:00 | 0 | 223.294 | 4.7063 | 265.308 | 0 | 202.866 | 3.6837 | 46.553 | 22.55 | 970.99 | 42.6939 | 6.3108
2019-08-30 06:15:00 | 0 | 221.273 | 4.195 | 257.809 | 0 | 208.417 | 3.308 | 49.7669 | 22.71 | 971.287 | 42.6257 | 5.206
2019-08-30 06:30:00 | 0 | 227.419 | 4.7063 | 257.987 | 0.63133 | 206.725 | 5.9847 | 54.0976 | 22.94 | 971.583 | 42.7596 | 4.3488
2019-08-30 06:45:00 | 0 | 211.255 | 4.195 | 249.095 | 0 | 193.557 | 0 | 49.5881 | 23.08 | 971.88 | 42.8231 | 4.3932
2019-08-30 07:00:00 | 0 | 214.725 | 4.7063 | 258.234 | 0 | 211.463 | 0 | 42.3802 | 23.2 | 971.732 | 43.1618 | 4.5077
2019-08-30 07:15:00 | 0 | 212.168 | 4.962 | 255.013 | 0 | 197.418 | 0 | 36.2659 | 23.31 | 972.325 | 43.2249 | 5.7418
2019-08-30 07:30:00 | 0 | 211.215 | 3.9393 | 256.492 | 0 | 195.686 | 4.4507 | 34.9266 | 23.34 | 972.473 | 43.6332 | 4.3562
2019-08-30 07:45:00 | 0 | 207.826 | 3.1723 | 232.895 | 0 | 181.835 | 3.6837 | 41.9059 | 23.27 | 972.21 | 43.5586 | 4.4449
2019-08-30 08:00:00 | 0 | 214.443 | 4.4507 | 247.105 | 0 | 200.426 | 0 | 45.0935 | 23.33 | 972.055 | 43.831 | 3.5323
2019-08-30 08:15:00 | 0 | 207.605 | 3.1723 | 248.079 | 0 | 175.02 | 0 | 46.8456 | 23.47 | 972.622 | 43.5242 | 1.7107
2019-08-30 08:30:00 | 0 | 232.087 | 2.661 | 267.182 | 1.2627 | 174.825 | 3.428 | 60.084 | 23.52 | 972.622 | 44.8535 | 1.5999
2019-08-30 08:45:00 | 0 | 221.877 | 2.9167 | 233.95 | 0 | 171.263 | 0 | 57.9149 | 24.09 | 972.622 | 43.9648 | 0.97544
2019-08-30 09:00:00 | 0 | 240.952 | 1.6383 | 259.156 | 0 | 180.41 | 0 | 51.5631 | 24.32 | 973.215 | 45.3957 | 0.059118
2019-08-30 09:15:00 | 0 | 192.473 | 2.9167 | 245.374 | 0 | 207.705 | 0 | 33.628 | 25.06 | 973.329 | 44.508 | -0.34362
2019-08-30 09:30:00 | 0 | 178.61 | 2.4053 | 231.056 | 0 | 189.362 | 0 | 0.19462 | 25.47 | 973.218 | 44.7701 | -0.2882
2019-08-30 09:45:00 | 0 | 260.105 | 3.428 | 312.016 | 0 | 230.621 | 0 | 58.7499 | 25.21 | 973.511 | 46.678 | -0.2882
2019-08-30 10:00:00 | 0 | 247.795 | 2.4053 | 300.338 | 0 | 256.723 | 0 | 66.1694 | 24.85 | 973.511 | 46.3371 | -0.26972
2019-08-30 10:15:00 | 0 | 257.663 | 3.1723 | 304.341 | 0 | 255.523 | 0 | 73.076 | 24.92 | 973.511 | 46.4379 | -0.26972
2019-08-30 10:30:00 | 0 | 253.78 | 3.6837 | 301.872 | 0 | 258.646 | 0 | 72.8839 | 25.02 | 973.363 | 41.4991 | -0.26972
2019-08-30 10:45:00 | 0 | 230.475 | 4.4507 | 274.942 | 0 | 243.66 | 0 | 55.7577 | 24.97 | 973.511 | 43.4072 | 0.0073897
2019-08-30 11:00:00 | 0 | 244.852 | 2.9167 | 314.911 | 0 | 256.553 | 0 | 72.0325 | 25.26 | 973.659 | 42.6235 | 0.025864
2019-08-30 11:15:00 | 0 | 248.477 | 4.7063 | 290.511 | 0 | 255.24 | 0 | 96.0433 | 25.68 | 973.363 | 42.4191 | 0.099761
2019-08-30 11:30:00 | 0 | 295.015 | 5.2177 | 333.351 | 0 | 271.49 | 0 | 123.874 | 25.78 | 973.363 | 45.5537 | 0.048033
2019-08-30 11:45:00 | 0 | 298.559 | 4.962 | 18.735 | 0 | 297.148 | 0 | 157.441 | 25.84 | 973.363 | 46.4725 | 1.7809
2019-08-30 12:00:00 | 0 | 327.49 | 4.195 | 32.1531 | 0 | 326.687 | 0 | 153.321 | 25.98 | 973.511 | 46.3677 | 1.6553
2019-08-30 12:15:00 | 0 | 340.482 | 3.9393 | 9.1904 | 0 | 336.517 | 4.4507 | 150.476 | 26.44 | 973.363 | 49.2639 | 1.7809
2019-08-30 12:30:00 | 0 | 0.8271 | 4.195 | 63.0018 | 0 | 326.753 | 0.37567 | 174.518 | 26.8 | 973.214 | 46.6427 | 3.6838
2019-08-30 12:45:00 | 0 | 32.7929 | 3.428 | 59.7442 | 0 | 344.034 | 0 | 198.168 | 26.83 | 973.066 | 43.4753 | 5.0767
2019-08-30 13:00:00 | 0 | 43.3022 | 1.6383 | 17.0807 | 0 | 296.62 | 0 | 181.456 | 27.05 | 972.918 | 45.2811 | 7.8922
2019-08-30 13:15:00 | 0 | 3.3085 | 4.195 | 64.1717 | 0 | 319.025 | 0 | 185.859 | 27.21 | 972.77 | 43.1346 | 9.178
2019-08-30 13:30:00 | 0 | 338.477 | 6.2403 | 3.1637 | 0 | 307.357 | 0 | 159.64 | 27.22 | 973.187 | 42.1885 | 11.1363
2019-08-30 13:45:00 | 0 | 0.146 | 5.2177 | 51.6376 | 0 | 346.508 | 0.37567 | 177.683 | 27 | 972.994 | 42.4983 | 13.4603
2019-08-30 14:00:00 | 0 | 19.3215 | 5.729 | 9.1039 | 0 | 302.087 | 0 | 203.776 | 26.46 | 972.579 | 45.6696 | 20.5101
2019-08-30 14:15:00 | 0 | 23.848 | 3.6837 | 58.1629 | 0 | 344.968 | 0 | 220.229 | 26.27 | 973.315 | 45.6701 | 18.1565
2019-08-30 14:30:00 | 0 | 24.2821 | 6.7517 | 63.6979 | 0 | 306.324 | 0 | 211.337 | 27.27 | 973.162 | 39.5631 | 15.1415
2019-08-30 14:45:00 | 0 | 333.525 | 1.6383 | 71.8592 | 0 | 23.281 | 0 | 182.234 | 26.82 | 973.511 | 40.0341 | 14.5909
2019-08-30 15:00:00 | 0 | 42.9373 | 1.3827 | 110.174 | 0 | 261.37 | 0 | 118.205 | 27.53 | 973.511 | 36.9336 | 13.2793
2019-08-30 15:15:00 | 0 | 342.18 | 3.6837 | 20.6743 | 0 | 347.046 | 0.75133 | 158.44 | 27.04 | 973.511 | 41.5327 | 12.2189
2019-08-30 15:30:00 | 0 | 6.0565 | 3.1723 | 66.8832 | 0 | 314.891 | 0 | 235.353 | 26.97 | 973.511 | 40.4709 | 13.1204
2019-08-30 15:45:00 | 0 | 23.2284 | 5.729 | 69.4112 | 0 | 39.2816 | 0 | 203.461 | 27.02 | 973.956 | 40.0954 | 12.7546
2019-08-30 16:00:00 | 0 | 5.497 | 5.729 | 71.9408 | 0 | 14.3505 | 1.894 | 194.559 | 26.13 | 973.363 | 37.7449 | 12.7066
2019-08-30 16:15:00 | 0 | 37.5822 | 2.661 | 5.4684 | 0 | 299.247 | 2.0297 | 199.174 | 26.14 | 973.066 | 38.2933 | 12.0932
2019-08-30 16:30:00 | 0 | 356.235 | 4.7063 | 64.8261 | 0 | 36.295 | 4.4507 | 178.483 | 26.31 | 973.511 | 38.0909 | 11.0402
2019-08-30 16:45:00 | 0 | 345.595 | 6.2403 | 83.9922 | 0 | 356.809 | 0.75133 | 183.659 | 26.08 | 973.807 | 39.5888 | 11.3949
2019-08-30 17:00:00 | 0 | 8.3197 | 4.4507 | 71.687 | 0 | 28.3648 | 3.1723 | 194.856 | 25.93 | 973.659 | 41.5665 | 7.9254
2019-08-30 17:15:00 | 0 | 352.694 | 2.4053 | 43.2504 | 0 | 1.1677 | 0 | 179.996 | 26.24 | 973.363 | 40.7496 | 6.7135
2019-08-30 17:30:00 | 0 | 334.862 | 2.4053 | 0.48968 | 0 | 314.111 | 0 | 165.619 | 26.03 | 973.659 | 40.4089 | 7.2936
2019-08-30 17:45:00 | 0 | 346.929 | 4.7063 | 32.3032 | 0 | 341.796 | 3.6837 | 158.905 | 25.8 | 973.363 | 41.7036 | 6.7061
2019-08-30 18:00:00 | 0 | 343.766 | 3.6837 | 24.0807 | 0 | 334.497 | 0 | 158.321 | 25.57 | 972.918 | 42.385 | 5.6938
2019-08-30 18:15:00 | 0 | 340.882 | 3.428 | 9.7823 | 0 | 2.8464 | 0 | 157.985 | 25.29 | 972.948 | 42.4885 | 6.1002
2019-08-30 18:30:00 | 1.7653 | 354.884 | 3.9393 | 30.517 | 0 | 5.4751 | 0 | 172.113 | 25.07 | 972.613 | 44.6461 | 7.5264
2019-08-30 18:45:00 | 0 | 342.957 | 3.6837 | 35.9711 | 0 | 356.171 | 0 | 163.168 | 24.82 | 972.325 | 44.9895 | 8.5573
2019-08-30 19:00:00 | 0 | 0.14601 | 3.428 | 40.2544 | 0 | 3.5043 | 2.0297 | 189.061 | 24.55 | 972.086 | 47.0007 | 10.1534
2019-08-30 19:15:00 | 0 | 6.669 | 4.4507 | 61.1229 | 0 | 21.6377 | 0 | 188.703 | 24.19 | 972.172 | 49.0536 | 10.3086
2019-08-30 19:30:00 | 0 | 1.8012 | 4.4507 | 54.14 | 0 | 13.095 | 0.63133 | 188.685 | 24.25 | 972.176 | 45.8849 | 11.1252
2019-08-30 19:45:00 | 0 | 11.1002 | 4.7063 | 62.1805 | 0 | 24.6103 | 0 | 201.435 | 24.08 | 972.77 | 47.0486 | 10.7077
2019-08-30 20:00:00 | 0 | 18.5986 | 4.962 | 69.7307 | 0 | 24.9523 | 5.729 | 198.157 | 23.98 | 972.918 | 46.3689 | 12.6105
2019-08-30 20:15:00 | 0 | 17.7222 | 5.9847 | 68.5136 | 0 | 9.3723 | 3.6837 | 202.539 | 23.98 | 972.918 | 45.3461 | 14.1808
2019-08-30 20:30:00 | 0 | 17.3327 | 5.2177 | 66.9556 | 0 | 12.5126 | 1.9097 | 204.049 | 23.9 | 972.918 | 44.3914 | 14.5429
2019-08-30 20:45:00 | 0 | 9.348 | 5.9847 | 73.6014 | 0 | 22.4205 | 1.894 | 194.092 | 23.82 | 972.918 | 43.8459 | 15.5442
2019-08-30 21:00:00 | 0 | 20.6678 | 4.962 | 70.4124 | 0 | 22.4449 | 5.729 | 200.714 | 23.91 | 973.066 | 43.9823 | 17.2106
2019-08-30 21:15:00 | 0 | 17.1866 | 5.729 | 71.3375 | 0 | 11.2224 | 0.75133 | 195.942 | 23.76 | 973.066 | 42.8912 | 18.5296
2019-08-30 21:30:00 | 1.6487 | 19.1828 | 5.4733 | 62.1112 | 0 | 53.9212 | 0 | 203.002 | 23.65 | 972.918 | 42.2775 | 14.3286
2019-08-30 21:45:00 | 0 | 19.3292 | 6.2403 | 69.2455 | 0 | 24.2224 | 2.661 | 205.927 | 23.71 | 973.066 | 41.801 | 11.1843
2019-08-30 22:00:00 | 0 | 22.8102 | 5.729 | 75.0386 | 0 | 22.7859 | 4.195 | 202.59 | 23.82 | 973.066 | 41.7324 | 10.5414
2019-08-30 22:15:00 | 0 | 21.2037 | 5.4733 | 65.5938 | 0 | 31.3065 | 1.3983 | 204.466 | 23.91 | 973.215 | 41.4258 | 9.9059
2019-08-30 22:30:00 | 0 | 28.5326 | 5.2177 | 74.9951 | 0 | 53.1943 | 0 | 207.592 | 23.84 | 973.066 | 40.8481 | 8.4353
2019-08-30 22:45:00 | 0 | 20.5472 | 5.4733 | 70.9042 | 0 | 27.5342 | 0 | 208.247 | 23.86 | 973.215 | 40.1658 | 6.9426
2019-08-30 23:00:00 | 0 | 28.3851 | 4.7063 | 81.5876 | 0 | 31.0386 | 0 | 208.531 | 23.98 | 973.215 | 39.9597 | 5.7492
2019-08-30 23:15:00 | 0 | 28.7261 | 4.4507 | 79.6162 | 0 | 32.9863 | 3.0523 | 207.242 | 23.92 | 973.215 | 39.4825 | 4.9954
2019-08-30 23:30:00 | 0 | 17.2357 | 4.962 | 80.2252 | 0 | 22.6158 | 0 | 208.241 | 23.88 | 973.363 | 39.3804 | 4.3267
2019-08-30 23:45:00 | 0 | 28.8721 | 4.7063 | 77.9606 | 0 | 34.4225 | 0 | 210.357 | 23.9 | 973.363 | 39.9598 | 4.1715