## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-08-31 00:00:00 | 0 | 39.731 | 4.962 | 98.9008 | 0 | 55.117 | 0 | 221.393 | 23.71 | 973.215 | 39.9612 | 3.4325
2019-08-31 00:15:00 | 0 | 29.5049 | 5.2177 | 75.1363 | 0 | 29.1154 | 0 | 213.472 | 23.67 | 973.215 | 40.5051 | 3.5175
2019-08-31 00:30:00 | 0 | 28.5816 | 4.7063 | 85.9516 | 0 | 35.1792 | 0 | 211.319 | 23.71 | 973.215 | 39.2801 | 2.8155
2019-08-31 00:45:00 | 0 | 28.9241 | 4.962 | 77.4606 | 0 | 32.7709 | 0 | 214.034 | 23.67 | 973.215 | 39.0437 | 1.6848
2019-08-31 01:00:00 | 0 | 23.2249 | 3.9393 | 82.0531 | 0 | 36.225 | 0 | 202.816 | 23.77 | 973.215 | 39.0743 | 0.66877
2019-08-31 01:15:00 | 0 | 27.316 | 3.428 | 75.3382 | 0 | 24.151 | 0 | 208.059 | 23.7 | 972.77 | 40.0308 | 0.1404
2019-08-31 01:30:00 | 0 | 27.7312 | 3.1723 | 78.9216 | 0 | 31.8458 | 0 | 208.605 | 23.55 | 972.918 | 40.5782 | 0.34731
2019-08-31 01:45:00 | 0 | 31.1652 | 3.428 | 76.5147 | 0 | 32.626 | 0 | 213.701 | 23.58 | 972.77 | 39.9659 | 0.099761
2019-08-31 02:00:00 | 3.6693 | 32.8209 | 2.661 | 91.3182 | 0 | 52.6887 | 0 | 211.85 | 23.49 | 972.77 | 41.6709 | -0.11454
2019-08-31 02:15:00 | 0 | 38.5669 | 2.9167 | 90.5148 | 0 | 21.6209 | 0 | 212.678 | 23.24 | 972.77 | 42.8303 | -0.16627
2019-08-31 02:30:00 | 0 | 36.8139 | 2.1497 | 88.153 | 0 | 38.3722 | 0 | 211.51 | 23.37 | 972.77 | 42.5575 | -0.29559
2019-08-31 02:45:00 | 0.372 | 37.3009 | 2.9167 | 103.297 | 0 | 49.0852 | 0 | 219.374 | 23.51 | 972.77 | 40.5797 | -0.26972
2019-08-31 03:00:00 | 0 | 65.4469 | 2.661 | 137.871 | 0 | 61.5756 | 0 | 273.621 | 23.47 | 972.77 | 40.5797 | -0.29189
2019-08-31 03:15:00 | 0 | 79.6661 | 2.4053 | 137.214 | 0 | 87.4574 | 0 | 260.595 | 23.37 | 972.77 | 40.682 | 1.5001
2019-08-31 03:30:00 | 0 | 95.4921 | 2.4053 | 166.748 | 0 | 111.513 | 0 | 285.016 | 23.02 | 972.621 | 42.8985 | 3.6394
2019-08-31 03:45:00 | 0 | 101.774 | 4.4507 | 151.141 | 0 | 95.4435 | 0 | 282.094 | 22.92 | 972.507 | 42.1824 | 3.8648
2019-08-31 04:00:00 | 0 | 103.235 | 2.661 | 161.44 | 0 | 116.577 | 0 | 282.629 | 23.21 | 972.622 | 45.1151 | 3.1997
2019-08-31 04:15:00 | 0 | 112.925 | 3.428 | 167.283 | 0 | 115.701 | 0 | 288.473 | 23.41 | 972.771 | 44.9446 | 1.3043
2019-08-31 04:30:00 | 0 | 108.299 | 2.4053 | 154.136 | 0 | 100.264 | 0 | 288.278 | 23.58 | 972.77 | 44.058 | 0.14779
2019-08-31 04:45:00 | 8.776 | 102.066 | 2.1497 | 148 | 0 | 98.073 | 0 | 285.405 | 23.27 | 972.77 | 50.4007 | 0.39165
2019-08-31 05:00:00 | 6.478 | 107.715 | 3.1723 | 158.713 | 0 | 104.403 | 0 | 296.167 | 23.39 | 972.77 | 48.4228 | -0.16996
2019-08-31 05:15:00 | 0 | 107.958 | 2.4053 | 166.723 | 0 | 125.586 | 0 | 299.405 | 23.37 | 972.918 | 51.4237 | -0.092371
2019-08-31 05:30:00 | 2.0207 | 107.35 | 2.4053 | 156.984 | 0 | 106.838 | 0 | 294.414 | 22.88 | 972.918 | 55.584 | -0.14779
2019-08-31 05:45:00 | 0 | 107.423 | 1.894 | 162.925 | 0 | 110.953 | 0 | 303.301 | 22.9 | 972.918 | 56.0614 | -0.28081
2019-08-31 06:00:00 | 4.0633 | 106.741 | 2.661 | 164.459 | 0 | 121.082 | 0 | 287.353 | 22.67 | 972.918 | 59.0281 | -0.22169
2019-08-31 06:15:00 | 0 | 105.548 | 1.3827 | 157.934 | 0 | 117.6 | 0 | 289.739 | 22.72 | 973.512 | 58.3802 | -0.22908
2019-08-31 06:30:00 | 0 | 105.67 | 1.127 | 157.934 | 0 | 117.356 | 0 | 283.433 | 23.1 | 973.363 | 56.1978 | -0.26972
2019-08-31 06:45:00 | 0 | 106.186 | 2.4053 | 158.268 | 0 | 105.748 | 0 | 297.331 | 23.36 | 973.808 | 57.2789 | -0.26972
2019-08-31 07:00:00 | 0 | 105.538 | 0 | 158.168 | 0 | 289.403 | 0 | 299.382 | 24.17 | 974.253 | 53.7251 | -0.26972
2019-08-31 07:15:00 | 0 | 105.524 | 0 | 158.146 | 0 | 289.442 | 0 | 296.476 | 24.68 | 974.402 | 49.8325 | -0.26972
2019-08-31 07:30:00 | 0 | 105.567 | 0 | 158.135 | 0 | 289.445 | 0 | 296.478 | 25.74 | 974.402 | 50.9203 | -0.26972
2019-08-31 07:45:00 | 0 | 101.718 | 1.127 | 74.2232 | 0 | 265.441 | 0 | 293.158 | 24.55 | 974.371 | 54.2585 | -0.26972
2019-08-31 08:00:00 | 0 | 99.4741 | 0.75133 | 16.4909 | 0 | 265.362 | 0 | 136.281 | 24.67 | 974.701 | 49.1996 | -0.26233
2019-08-31 08:15:00 | 0 | 99.4978 | 1.3827 | 14.4472 | 0 | 265.457 | 0 | 115.992 | 25.05 | 974.845 | 50.2896 | -0.25125
2019-08-31 08:30:00 | 0 | 96.2261 | 1.6383 | 74.7666 | 0 | 265.376 | 0 | 228.646 | 24.92 | 975.141 | 50.4197 | -0.25125
2019-08-31 08:45:00 | 0 | 82.4036 | 1.894 | 88.696 | 0 | 265.404 | 0 | 242.249 | 25.15 | 975.29 | 51.2333 | -0.24016
2019-08-31 09:00:00 | 0 | 320.911 | 2.4053 | 8.0595 | 0 | 265.367 | 0 | 172.566 | 24.59 | 975.141 | 49.6595 | -0.25125
2019-08-31 09:15:00 | 0 | 331.611 | 3.6837 | 330.045 | 0 | 265.561 | 0 | 181.929 | 24.38 | 975.29 | 47.8883 | -0.24016
2019-08-31 09:30:00 | 0 | 313.737 | 2.9167 | 8.327 | 0 | 266.631 | 0 | 185.893 | 24.82 | 975.734 | 44.9251 | -0.25125
2019-08-31 09:45:00 | 0 | 329.911 | 3.428 | 18.9104 | 0 | 324.658 | 0 | 148.589 | 24.93 | 975.586 | 45.8451 | -0.26972
2019-08-31 10:00:00 | 0 | 286.383 | 2.661 | 7.8403 | 0 | 320.722 | 0 | 152.895 | 25.33 | 975.734 | 43.7678 | -0.25125
2019-08-31 10:15:00 | 0 | 2.9183 | 2.661 | 23.4827 | 0 | 334.681 | 0 | 165.93 | 25.4 | 975.438 | 43.325 | -0.26233
2019-08-31 10:30:00 | 0 | 311.539 | 3.6837 | 10.4666 | 0 | 237.436 | 0 | 135.949 | 25.61 | 975.734 | 42.7813 | -0.25125
2019-08-31 10:45:00 | 0 | 49.1244 | 3.9393 | 13.1711 | 0 | 288.618 | 0 | 225.291 | 26.13 | 975.883 | 40.7701 | -0.26972
2019-08-31 11:00:00 | 0 | 27.4559 | 3.1723 | 72.8006 | 0 | 284.579 | 0 | 210.479 | 25.66 | 975.734 | 44.6185 | -0.27711
2019-08-31 11:15:00 | 0 | 297.274 | 3.428 | 19.8541 | 0 | 290.464 | 0 | 120.743 | 25.59 | 975.586 | 44.6868 | -0.28081
2019-08-31 11:30:00 | 0 | 295.918 | 4.195 | 331.366 | 0 | 280.013 | 0 | 106.762 | 25.65 | 975.734 | 47.8553 | -0.25125
2019-08-31 11:45:00 | 0 | 229.691 | 0 | 18.8326 | 0 | 302.558 | 0 | 36.9685 | 25.37 | 975.734 | 47.0417 | -0.27342
2019-08-31 12:00:00 | 0 | 303.178 | 3.1723 | 331.381 | 0 | 293.839 | 0 | 116.47 | 26.17 | 975.734 | 45.8818 | -0.29928
2019-08-31 12:15:00 | 0 | 336.713 | 5.2177 | 6.2172 | 0 | 322.438 | 0 | 149.958 | 25.86 | 975.141 | 47.2439 | -0.24016
2019-08-31 12:30:00 | 0 | 332.473 | 0 | 30.495 | 0 | 317.563 | 0 | 176.343 | 26.47 | 975.141 | 45.1375 | -0.25864
2019-08-31 12:45:00 | 0 | 346.479 | 1.6383 | 123.126 | 0 | 288.538 | 0 | 111.382 | 27.41 | 975.29 | 44.2203 | -0.24016
2019-08-31 13:00:00 | 0 | 356.926 | 2.661 | 65.3634 | 0 | 356.853 | 0 | 207.728 | 26.68 | 974.993 | 45.6557 | -0.25125
2019-08-31 13:15:00 | 0 | 344.666 | 2.661 | 1.2682 | 0 | 304.964 | 0 | 149.855 | 26.34 | 975.141 | 47.2232 | -0.25125
2019-08-31 13:30:00 | 0 | 350.602 | 1.3827 | 49.1862 | 0 | 348.948 | 0 | 200.99 | 26.22 | 974.845 | 45.9966 | -0.26233
2019-08-31 13:45:00 | 0 | 305.791 | 0 | 17.251 | 0 | 310.803 | 0 | 117.062 | 26.65 | 974.697 | 42.2828 | -0.26972
2019-08-31 14:00:00 | 0 | 290.271 | 2.4053 | 329.118 | 0 | 274.556 | 0 | 112.683 | 27.54 | 974.55 | 47.0528 | -0.022169
2019-08-31 14:15:00 | 0 | 166.787 | 2.1497 | 206.534 | 0 | 164.402 | 0 | 351.283 | 26.98 | 974.697 | 36.0136 | 0.19952
2019-08-31 14:30:00 | 0 | 150.585 | 5.729 | 210.572 | 0 | 173.136 | 0 | 330.703 | 27.44 | 975.141 | 37.5469 | 0.099761
2019-08-31 14:45:00 | 0 | 167.954 | 4.4507 | 191.719 | 0 | 154.891 | 0 | 353.01 | 27.95 | 975.586 | 36.4225 | -0.14779
2019-08-31 15:00:00 | 2.5313 | 166.906 | 3.428 | 212.273 | 0 | 177.586 | 0 | 343.641 | 27.56 | 975.29 | 35.877 | 0.38426
2019-08-31 15:15:00 | 0 | 143.238 | 2.9167 | 190.964 | 0 | 164.305 | 0 | 340.53 | 27.15 | 974.845 | 36.3884 | -0.12193
2019-08-31 15:30:00 | 0 | 178.94 | 3.428 | 246.464 | 0 | 207.158 | 0 | 356.494 | 28.26 | 976.031 | 37.4767 | -0.2882
2019-08-31 15:45:00 | 0 | 4.2807 | 1.3827 | 48.2965 | 0 | 329.322 | 0 | 157.997 | 29.4 | 976.179 | 37.7777 | -0.20691
2019-08-31 16:00:00 | 0 | 34.5327 | 2.9167 | 59.6685 | 0 | 10.603 | 0 | 223.32 | 27.13 | 975.438 | 44.9592 | -0.28081
2019-08-31 16:15:00 | 0 | 353.554 | 1.3827 | 64.8375 | 0 | 9.9236 | 0 | 175.415 | 26.96 | 975.29 | 45.852 | -0.25125
2019-08-31 16:30:00 | 0 | 11.0899 | 3.1723 | 57.8236 | 0 | 10.5062 | 0 | 196.699 | 27.83 | 976.031 | 46.4598 | -0.2882
2019-08-31 16:45:00 | 0 | 15.9555 | 2.9167 | 59.9723 | 0 | 21.1606 | 0 | 198.082 | 26.49 | 974.845 | 47.7593 | -0.26972
2019-08-31 17:00:00 | 0 | 14.7883 | 1.894 | 62.2115 | 0 | 42.6138 | 0 | 164.326 | 26.77 | 975.29 | 48.2371 | -0.25864
2019-08-31 17:15:00 | 0 | 0.14594 | 3.1723 | 50.0528 | 0 | 355.007 | 0 | 187.367 | 26.39 | 974.697 | 49.9423 | -0.28081
2019-08-31 17:30:00 | 0 | 347.194 | 3.1723 | 31.0623 | 0 | 13.6717 | 0 | 167.588 | 26.13 | 973.956 | 49.9486 | -0.033254
2019-08-31 17:45:00 | 0 | 347.488 | 3.428 | 34.7116 | 0 | 10.0228 | 0 | 170.8 | 26.05 | 974.104 | 49.9489 | 0.83873
2019-08-31 18:00:00 | 0 | 336.079 | 2.661 | 21.648 | 0 | 1.8975 | 0 | 169.122 | 25.92 | 973.975 | 51.414 | 1.1934
2019-08-31 18:15:00 | 0 | 14.2351 | 3.1723 | 52.222 | 0 | 352.983 | 0 | 184.108 | 25.64 | 973.546 | 51.1891 | 2.8081
2019-08-31 18:30:00 | 0 | 356.933 | 3.1723 | 55.5331 | 0 | 356.836 | 0 | 185.183 | 25.54 | 973.362 | 52.1446 | 3.2219
2019-08-31 18:45:00 | 0 | 10.4155 | 4.4507 | 62.8376 | 0 | 9.5638 | 0 | 193.953 | 25.33 | 973.214 | 51.8064 | 3.3845
2019-08-31 19:00:00 | 0 | 11.0969 | 3.9393 | 64.0544 | 0 | 22.6806 | 0 | 191.884 | 25.24 | 973.338 | 52.2836 | 3.2182
2019-08-31 19:15:00 | 0 | 19.7635 | 3.9393 | 72.3918 | 0 | 30.5214 | 0 | 198.048 | 25 | 973.51 | 52.1214 | 4.1973
2019-08-31 19:30:00 | 0 | 19.3743 | 4.4507 | 71.6383 | 0 | 34.2457 | 0 | 205.231 | 24.99 | 973.66 | 52.1561 | 4.4006
2019-08-31 19:45:00 | 0 | 21.005 | 4.195 | 78.0396 | 0 | 38.5781 | 5.2177 | 213.774 | 24.93 | 973.808 | 52.0879 | 4.7183
2019-08-31 20:00:00 | 0 | 31.7398 | 4.195 | 85.2478 | 0 | 45.2487 | 1.007 | 214.366 | 24.93 | 973.808 | 50.9989 | 5.3538
2019-08-31 20:15:00 | 0 | 40.8209 | 3.6837 | 86.6163 | 0 | 43.9123 | 0 | 214.06 | 24.97 | 973.956 | 50.3196 | 4.1419
2019-08-31 20:30:00 | 0 | 25.5114 | 4.195 | 83.3602 | 0 | 26.6312 | 0 | 223.493 | 24.96 | 973.808 | 49.2996 | 4.504
2019-08-31 20:45:00 | 0 | 30.1856 | 3.9393 | 84.2865 | 0 | 24.0755 | 0 | 220.915 | 24.83 | 973.956 | 49.1979 | 2.4201
2019-08-31 21:00:00 | 0 | 50.9754 | 3.1723 | 105.321 | 0 | 42.7473 | 0 | 229.17 | 24.88 | 973.956 | 48.4143 | 1.7366
2019-08-31 21:15:00 | 0 | 51.4862 | 3.1723 | 107.316 | 0 | 59.3005 | 0 | 241.243 | 24.73 | 973.956 | 49.5732 | 2.1061
2019-08-31 21:30:00 | 0 | 77.4106 | 2.9167 | 110.381 | 0 | 55.2098 | 0 | 239.096 | 24.82 | 974.253 | 47.2199 | 1.0346
2019-08-31 21:45:00 | 0 | 45.8635 | 1.894 | 112.624 | 0 | 65.1436 | 0 | 227.735 | 24.99 | 973.956 | 47.0508 | 0.12562
2019-08-31 22:00:00 | 0 | 60.6644 | 1.6383 | 103.958 | 0 | 58.863 | 0 | 262.23 | 25.03 | 973.956 | 46.3007 | -0.16627
2019-08-31 22:15:00 | 0 | 132.235 | 3.1723 | 163.064 | 0 | 105.165 | 0 | 317.295 | 25.27 | 974.105 | 44.9369 | -0.24386
2019-08-31 22:30:00 | 0 | 134.958 | 3.1723 | 183.703 | 0 | 132.037 | 0 | 321.085 | 25.76 | 974.401 | 45.0039 | -0.029559
2019-08-31 22:45:00 | 0 | 122.414 | 4.195 | 167.528 | 0 | 120.735 | 0 | 304.563 | 25.59 | 973.956 | 46.1606 | 0.80178
2019-08-31 23:00:00 | 0 | 129.682 | 3.9393 | 178.029 | 0 | 125.301 | 0 | 316.758 | 25.51 | 974.253 | 46.8388 | 2.3979
2019-08-31 23:15:00 | 0 | 154.825 | 3.9393 | 194.116 | 0 | 147.012 | 0 | 338.127 | 25.26 | 974.378 | 47.1112 | 4.9585
2019-08-31 23:30:00 | 0 | 135.21 | 4.7063 | 183.582 | 0 | 133.652 | 0 | 320.342 | 24.8 | 974.105 | 49.2942 | 7.1237
2019-08-31 23:45:00 | 0 | 133.174 | 4.4507 | 185.615 | 0 | 128.013 | 0 | 321.774 | 24.17 | 974.253 | 51.8882 | 9.3849