## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-09-01 00:00:00 | 0 | 144.139 | 6.2403 | 183.902 | 0 | 120.16 | 0 | 333.922 | 24.29 | 973.956 | 49.9147 | 8.9526
2019-09-01 00:15:00 | 0 | 129.46 | 3.428 | 178.449 | 0 | 138.467 | 0 | 314.301 | 23.57 | 973.956 | 56.9382 | 8.0585
2019-09-01 00:30:00 | 0 | 125.979 | 3.6837 | 163.21 | 0 | 110.033 | 0 | 313.449 | 23.98 | 974.253 | 59.8704 | 11.7459
2019-09-01 00:45:00 | 0 | 130.263 | 4.195 | 153.716 | 0 | 109.547 | 0 | 322.067 | 23.41 | 973.808 | 58.1998 | 22.5755
2019-09-01 01:00:00 | 0 | 117.896 | 5.4733 | 169.296 | 0 | 100.953 | 0 | 310.796 | 23.2 | 973.808 | 61.6434 | 23.4068
2019-09-01 01:15:00 | 0 | 128.682 | 7.263 | 176.26 | 0 | 120.454 | 2.7967 | 310.092 | 23.13 | 973.66 | 58.0298 | 21.1825
2019-09-01 01:30:00 | 0 | 130.435 | 8.2857 | 167.254 | 0 | 126.686 | 5.4733 | 313.38 | 23.48 | 973.511 | 61.5419 | 24.168
2019-09-01 01:45:00 | 3.9247 | 127.587 | 7.5187 | 181.276 | 0 | 131.774 | 3.9393 | 315.376 | 23.61 | 973.511 | 58.5756 | 23.3958
2019-09-01 02:00:00 | 2.3927 | 130.75 | 8.5413 | 172.851 | 0 | 118.871 | 4.962 | 314.035 | 23.43 | 973.363 | 61.5073 | 26.8024
2019-09-01 02:15:00 | 8.01 | 128.44 | 8.03 | 175.362 | 0 | 130.704 | 6.7517 | 314.015 | 22.86 | 973.363 | 68.2591 | 27.8407
2019-09-01 02:30:00 | 7.7547 | 128.153 | 8.2857 | 171.962 | 0 | 116.249 | 5.4733 | 311.059 | 22.8 | 973.511 | 70.2739 | 32.3632
2019-09-01 02:45:00 | 3.414 | 138.142 | 8.5413 | 185.533 | 0 | 140.601 | 2.9167 | 316.286 | 22.47 | 973.363 | 71.5392 | 33.6009
2019-09-01 03:00:00 | 4.18 | 124.222 | 4.7063 | 182.501 | 0 | 96.8068 | 1.3827 | 311.238 | 22.5 | 973.363 | 70.6563 | 33.8928
2019-09-01 03:15:00 | 4.18 | 133.67 | 7.5187 | 178.751 | 0 | 123.224 | 3.1723 | 309.777 | 22.62 | 973.363 | 70.7928 | 38.4042
2019-09-01 03:30:00 | 9.2867 | 141.266 | 8.797 | 188.953 | 0 | 131.819 | 7.5187 | 325.287 | 22.54 | 973.363 | 68.0648 | 38.3155
2019-09-01 03:45:00 | 4.18 | 137.443 | 8.5413 | 182.842 | 0 | 120.765 | 0.37567 | 315.499 | 22.35 | 973.363 | 72.7707 | 41.8441
2019-09-01 04:00:00 | 6.478 | 132.063 | 9.564 | 179.53 | 0 | 133.767 | 8.5413 | 311.798 | 22.51 | 973.066 | 67.7238 | 42.9119
2019-09-01 04:15:00 | 3.042 | 136.056 | 9.8197 | 185.739 | 0 | 143.433 | 2.661 | 317.958 | 22.32 | 973.215 | 68.7468 | 43.7876
2019-09-01 04:30:00 | 2.7867 | 112.243 | 6.2403 | 173.078 | 0 | 125.903 | 1.3983 | 308.779 | 22.3 | 973.363 | 71.3384 | 41.1938
2019-09-01 04:45:00 | 1.3713 | 133.621 | 9.564 | 183.889 | 0 | 128.045 | 4.195 | 316.327 | 22.12 | 973.66 | 67.7238 | 40.3108
2019-09-01 05:00:00 | 8.01 | 135.228 | 8.03 | 185.812 | 0 | 135.715 | 2.661 | 320.953 | 22.16 | 973.514 | 72.2933 | 43.0856
2019-09-01 05:15:00 | 3.414 | 133.718 | 9.0527 | 184.4 | 0 | 129.676 | 4.195 | 315.962 | 22.27 | 973.66 | 68.9514 | 43.0893
2019-09-01 05:30:00 | 6.2227 | 136.64 | 8.2857 | 185.447 | 0 | 132.087 | 5.2177 | 323.169 | 22.21 | 973.66 | 70.1108 | 38.77
2019-09-01 05:45:00 | 6.9887 | 144.821 | 7.7743 | 179.555 | 0 | 128.483 | 1.2627 | 324.97 | 22.24 | 973.835 | 71.6112 | 45.0513
2019-09-01 06:00:00 | 6.478 | 128.776 | 8.2857 | 176.536 | 0 | 148.376 | 4.7063 | 314.915 | 22.05 | 973.813 | 73.4527 | 42.2875
2019-09-01 06:15:00 | 1.51 | 144.943 | 6.496 | 192.143 | 0 | 145.356 | 1.6383 | 332.202 | 21.96 | 973.972 | 73.4527 | 36.8265
2019-09-01 06:30:00 | 0.372 | 135.666 | 7.5187 | 184.887 | 0 | 130.285 | 5.729 | 319.711 | 21.92 | 973.808 | 76.5217 | 37.3475
2019-09-01 06:45:00 | 6.478 | 133.767 | 8.5413 | 179.019 | 0 | 130.529 | 3.428 | 316.765 | 22 | 973.957 | 76.3853 | 35.2156
2019-09-01 07:00:00 | 2.276 | 135.345 | 7.5187 | 186.682 | 0 | 139.533 | 4.962 | 318.703 | 22.18 | 974.402 | 73.2457 | 36.228
2019-09-01 07:15:00 | 0 | 129.314 | 5.9847 | 190.477 | 0 | 151.832 | 5.9847 | 315.252 | 22.11 | 974.55 | 76.8501 | 30.7596
2019-09-01 07:30:00 | 0 | 151.855 | 5.4733 | 205.641 | 0 | 130.53 | 3.428 | 316.223 | 22.27 | 974.847 | 72.4171 | 31.3027
2019-09-01 07:45:00 | 0.744 | 143.864 | 8.797 | 188.566 | 0 | 148.854 | 0 | 327.723 | 22.57 | 975.292 | 70.9137 | 25.487
2019-09-01 08:00:00 | 0 | 149.445 | 7.263 | 193.433 | 0 | 135.352 | 1.774 | 327.927 | 22.57 | 975.44 | 74.314 | 25.4944
2019-09-01 08:15:00 | 0 | 132.261 | 4.7063 | 180.509 | 0 | 142.97 | 3.9393 | 308.917 | 22.53 | 975.737 | 75.2685 | 20.9461
2019-09-01 08:30:00 | 0 | 134.322 | 5.9847 | 191.45 | 0 | 146.978 | 4.4507 | 321.263 | 22.72 | 976.148 | 74.7869 | 17.048
2019-09-01 08:45:00 | 0 | 136.4 | 5.9847 | 189.747 | 0 | 149.663 | 1.2627 | 324.537 | 22.83 | 976 | 75.9032 | 13.3975
2019-09-01 09:00:00 | 0 | 143.408 | 5.2177 | 189.187 | 0 | 140.026 | 2.541 | 326.532 | 23.19 | 976.036 | 70.6885 | 13.246
2019-09-01 09:15:00 | 0 | 140.731 | 7.5187 | 200.917 | 0 | 166.332 | 5.729 | 323.612 | 22.98 | 976.18 | 72.5972 | 8.3947
2019-09-01 09:30:00 | 2.648 | 138.42 | 7.0073 | 191.231 | 0 | 139.588 | 4.195 | 322.736 | 23.58 | 976.773 | 72.6653 | 9.7101
2019-09-01 09:45:00 | 0 | 135.784 | 6.2403 | 186.158 | 0 | 165.861 | 0 | 325.955 | 23.66 | 976.477 | 73.4793 | 6.4882
2019-09-01 10:00:00 | 0 | 148.263 | 6.2403 | 202.164 | 0 | 158.727 | 0 | 327.6 | 23.64 | 976.625 | 70.9553 | 4.8365
2019-09-01 10:15:00 | 0 | 151.164 | 3.9393 | 197.451 | 0 | 139.362 | 1.774 | 340.363 | 23.88 | 976.773 | 71.0601 | 2.4866
2019-09-01 10:30:00 | 0 | 139.412 | 5.4733 | 180.833 | 0 | 133.864 | 0 | 317.395 | 24.09 | 977.218 | 72.3218 | 3.6616
2019-09-01 10:45:00 | 0 | 173.922 | 4.4507 | 230.275 | 0 | 207.013 | 0 | 354.779 | 24.63 | 976.927 | 60.9994 | 2.0691
2019-09-01 11:00:00 | 0 | 161.456 | 2.1497 | 219.324 | 0 | 158.171 | 0 | 0.21901 | 24.74 | 977.038 | 63.7999 | 1.0419
2019-09-01 11:15:00 | 0 | 173.072 | 3.1723 | 183.053 | 0 | 142.263 | 0 | 356.316 | 25.17 | 977.515 | 62.7125 | 0.16257
2019-09-01 11:30:00 | 0 | 134.62 | 3.6837 | 193.733 | 0 | 156.935 | 0 | 334.872 | 25.01 | 977.218 | 63.9727 | -0.24755
2019-09-01 11:45:00 | 0 | 195.436 | 3.6837 | 207.287 | 0 | 162.052 | 0 | 12.1174 | 25.91 | 977.177 | 61.2735 | 0.033254
2019-09-01 12:00:00 | 0 | 196.209 | 4.962 | 235.351 | 0 | 172.318 | 0 | 0.99747 | 25.89 | 976.571 | 54.8582 | 0.39904
2019-09-01 12:15:00 | 0 | 201.247 | 3.9393 | 257.299 | 0 | 201.88 | 0 | 10.3154 | 26.42 | 976.352 | 48.3848 | 1.4521
2019-09-01 12:30:00 | 0 | 136.427 | 3.428 | 181.259 | 0 | 143.385 | 0 | 327.347 | 26.42 | 976.329 | 53.3223 | 1.5445
2019-09-01 12:45:00 | 0 | 132.364 | 7.0073 | 185.491 | 0 | 160.608 | 0 | 318.174 | 26.74 | 976.476 | 50.7666 | 2.9707
2019-09-01 13:00:00 | 0 | 166.3 | 3.6837 | 219.354 | 0 | 172.941 | 0 | 346.661 | 26.38 | 976.476 | 51.0392 | 1.0124
2019-09-01 13:15:00 | 0 | 171.603 | 5.9847 | 212.956 | 0 | 165.814 | 0 | 337.198 | 26.97 | 976.179 | 45.1108 | 1.5629
2019-09-01 13:30:00 | 0 | 167.005 | 3.1723 | 215.365 | 0 | 152.58 | 0 | 354.397 | 26.89 | 976.179 | 45.4174 | 1.925
2019-09-01 13:45:00 | 0 | 180.41 | 4.195 | 234.242 | 0 | 196.563 | 0 | 3.1869 | 26.72 | 975.883 | 47.4617 | 1.6922
2019-09-01 14:00:00 | 0 | 171.263 | 3.6837 | 219.16 | 0 | 172.868 | 0 | 356.757 | 26.94 | 975.737 | 48.6883 | 4.5853
2019-09-01 14:15:00 | 0 | 115.409 | 4.195 | 166.494 | 0 | 124.848 | 0 | 308.398 | 26.59 | 975.883 | 52.0619 | 3.3882
2019-09-01 14:30:00 | 0 | 197.587 | 3.6837 | 245.071 | 0 | 193.208 | 0 | 8.9525 | 26.33 | 976.081 | 50.5629 | 3.0224
2019-09-01 14:45:00 | 0 | 205.495 | 3.9393 | 229.442 | 0 | 198.95 | 0 | 22.0217 | 26.48 | 975.802 | 47.917 | 1.1158
2019-09-01 15:00:00 | 0 | 183.895 | 3.428 | 239.892 | 0 | 182.022 | 0 | 0.21901 | 26.74 | 975.882 | 49.0097 | 0.75375
2019-09-01 15:15:00 | 0 | 178.181 | 3.428 | 225.175 | 0 | 177.402 | 0.887 | 8.2982 | 26.93 | 975.705 | 44.8869 | 1.4927
2019-09-01 15:30:00 | 0 | 185.089 | 4.962 | 233.469 | 0 | 200.468 | 0.37567 | 9.3445 | 26.93 | 975.72 | 43.9658 | 0.88676
2019-09-01 15:45:00 | 0 | 235.757 | 3.1723 | 303.023 | 0 | 265.543 | 0 | 39.52 | 26.87 | 975.735 | 56.2023 | 0.46186
2019-09-01 16:00:00 | 0 | 245.406 | 3.1723 | 298.359 | 0 | 246.355 | 0 | 67.0396 | 25.72 | 975.735 | 58.3806 | -0.20691
2019-09-01 16:15:00 | 0 | 216.388 | 2.9167 | 271.608 | 0 | 238.922 | 0 | 36.308 | 25.58 | 975.29 | 55.4868 | -0.22539
2019-09-01 16:30:00 | 0 | 201.388 | 1.6383 | 225.555 | 0 | 202.994 | 0 | 15.1844 | 25.87 | 975.439 | 55.5525 | -0.24016
2019-09-01 16:45:00 | 0 | 214.606 | 1.127 | 261.502 | 0 | 204.848 | 0 | 12.4593 | 26.29 | 975.29 | 56.5079 | -0.24016
2019-09-01 17:00:00 | 0 | 175.2 | 1.894 | 241.535 | 0 | 180.359 | 0 | 350.789 | 26.24 | 975.439 | 53.0289 | -0.24016
2019-09-01 17:15:00 | 0 | 185.402 | 1.3827 | 251.763 | 0 | 204.042 | 0 | 14.6491 | 26.8 | 975.735 | 51.6674 | -0.26233
2019-09-01 17:30:00 | 0 | 181.391 | 3.428 | 223.809 | 0 | 156.374 | 0 | 50.0077 | 26.44 | 975.439 | 52.0094 | 0.036948
2019-09-01 17:45:00 | 0 | 183.97 | 2.9167 | 230.891 | 0 | 196.576 | 0 | 7.4464 | 26.32 | 975.142 | 48.3967 | -0.13301
2019-09-01 18:00:00 | 0 | 312.205 | 2.1497 | 6.957 | 0 | 184.646 | 0 | 131.233 | 26.26 | 975.439 | 60.3237 | -0.25125
2019-09-01 18:15:00 | 0 | 252.422 | 0 | 295.18 | 0 | 250.937 | 0 | 48.377 | 25.74 | 975.142 | 53.3723 | -0.25125
2019-09-01 18:30:00 | 0 | 261.338 | 0 | 335.029 | 0 | 319.913 | 0 | 74.3445 | 25.48 | 974.994 | 58.623 | -0.25125
2019-09-01 18:45:00 | 0 | 261.338 | 0.75133 | 335.004 | 0 | 307.015 | 0 | 74.3446 | 25.36 | 974.868 | 56.8507 | -0.25125
2019-09-01 19:00:00 | 0 | 277.975 | 1.6383 | 334.976 | 0 | 306.644 | 0 | 100.049 | 25.25 | 975.105 | 56.1723 | -0.26972
2019-09-01 19:15:00 | 0 | 277.981 | 0.75133 | 334.967 | 0 | 304.682 | 0 | 99.2078 | 25.39 | 975.143 | 55.0877 | -0.25125
2019-09-01 19:30:00 | 0 | 277.982 | 1.127 | 334.968 | 0 | 304.682 | 0 | 99.2322 | 25.29 | 975.143 | 56.0423 | -0.25125
2019-09-01 19:45:00 | 0 | 277.957 | 0.75133 | 334.968 | 0 | 304.682 | 0 | 101.009 | 25.24 | 975.588 | 57.6104 | -0.25125
2019-09-01 20:00:00 | 0 | 277.978 | 1.127 | 334.994 | 0 | 304.705 | 0 | 100.992 | 25.19 | 975.736 | 56.5237 | -0.25125
2019-09-01 20:15:00 | 0 | 277.949 | 0.75133 | 335.019 | 0 | 304.726 | 0 | 100.926 | 25.25 | 975.885 | 57.9596 | -0.25125
2019-09-01 20:30:00 | 0 | 251.249 | 0.75133 | 334.977 | 0 | 304.683 | 0 | 63.3418 | 25.25 | 975.885 | 58.9154 | -0.25125
2019-09-01 20:45:00 | 0 | 242.682 | 1.3827 | 334.444 | 0 | 300.742 | 0 | 52.2902 | 25.22 | 976.033 | 56.9382 | -0.26972
2019-09-01 21:00:00 | 0 | 221.746 | 1.894 | 267.499 | 0 | 212.301 | 0 | 34.1785 | 25.12 | 976.033 | 59.6658 | -0.26972
2019-09-01 21:15:00 | 0 | 211.425 | 2.4053 | 257.956 | 0 | 211.839 | 0 | 28.336 | 25.05 | 976.33 | 56.4609 | -0.26972
2019-09-01 21:30:00 | 0 | 202.803 | 2.661 | 253.203 | 0 | 216.557 | 0 | 29.4309 | 25.25 | 976.478 | 51.4139 | 0.15888
2019-09-01 21:45:00 | 0 | 176.917 | 4.195 | 220.011 | 0 | 155.155 | 0.37567 | 0.19473 | 25.04 | 976.033 | 53.8317 | 0.84981
2019-09-01 22:00:00 | 0 | 176.629 | 4.7063 | 211.643 | 0 | 172.15 | 0 | 2.9211 | 23.99 | 976.033 | 56.3218 | 2.409
2019-09-01 22:15:00 | 0 | 177.027 | 5.2177 | 226.09 | 0 | 169.602 | 0 | 0.19475 | 24.28 | 976.181 | 51.2103 | 2.3536
2019-09-01 22:30:00 | 0.62733 | 168.921 | 3.9393 | 224.605 | 0 | 165.196 | 0 | 0.19475 | 24.17 | 976.033 | 52.3014 | 2.3721
2019-09-01 22:45:00 | 0 | 164.125 | 3.1723 | 208.952 | 0 | 148.472 | 0 | 351.741 | 23.81 | 976.181 | 52.2673 | 1.7366
2019-09-01 23:00:00 | 0 | 172.158 | 3.6837 | 212.312 | 0 | 168.483 | 1.007 | 78.9465 | 23.63 | 975.736 | 54.8244 | 1.5555
2019-09-01 23:15:00 | 0 | 164.174 | 5.2177 | 210.924 | 0 | 157.284 | 0.37567 | 344.585 | 23.34 | 975.736 | 55.9154 | 3.972
2019-09-01 23:30:00 | 0 | 165.926 | 5.729 | 208.368 | 0 | 154.874 | 1.1427 | 353.421 | 23.08 | 975.736 | 58.3021 | 7.0793
2019-09-01 23:45:00 | 0 | 160.845 | 6.2403 | 207.282 | 0 | 158.338 | 0 | 353.826 | 22.81 | 975.44 | 59.3274 | 7.6335