## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-09-02 00:00:00 | 0 | 166.384 | 5.2177 | 213.994 | 0 | 155.72 | 4.7063 | 74.8168 | 22.82 | 975.736 | 60.082 | 6.5621
2019-09-02 00:15:00 | 0 | 160.593 | 5.4733 | 200.949 | 0 | 157.379 | 2.661 | 351.741 | 22.8 | 975.588 | 60.2196 | 5.3317
2019-09-02 00:30:00 | 0 | 170.042 | 5.2177 | 209.061 | 0 | 154.144 | 0 | 356.568 | 22.58 | 975.44 | 60.7663 | 6.0189
2019-09-02 00:45:00 | 0 | 165.078 | 5.729 | 208.212 | 0 | 157.019 | 2.0297 | 1.0713 | 22.67 | 975.736 | 60.2216 | 6.3367
2019-09-02 01:00:00 | 0 | 166.296 | 4.962 | 203.27 | 0 | 161.913 | 0 | 0.19478 | 22.72 | 975.736 | 60.8695 | 7.7813
2019-09-02 01:15:00 | 0 | 169.242 | 5.729 | 214.25 | 0 | 171.75 | 1.2627 | 0.19478 | 22.47 | 975.736 | 62.1313 | 8.1767
2019-09-02 01:30:00 | 0 | 168.779 | 6.2403 | 219.899 | 0 | 162.984 | 3.308 | 349.781 | 22.52 | 975.588 | 63.0861 | 8.5092
2019-09-02 01:45:00 | 0 | 159.064 | 5.4733 | 203.489 | 0 | 147.937 | 3.5637 | 345.934 | 22.28 | 975.291 | 61.1083 | 8.7088
2019-09-02 02:00:00 | 0 | 165.176 | 6.2403 | 218.195 | 0 | 165.516 | 0.75133 | 356.306 | 22.21 | 975.44 | 63.5635 | 9.8948
2019-09-02 02:15:00 | 0 | 162.083 | 5.729 | 201.419 | 0 | 149.617 | 4.7063 | 347.443 | 22.17 | 975.296 | 64.9275 | 10.0389
2019-09-02 02:30:00 | 0 | 161.158 | 6.2403 | 204.852 | 0 | 159.624 | 5.729 | 348.539 | 22.05 | 975.588 | 61.5857 | 9.9724
2019-09-02 02:45:00 | 0 | 164.007 | 5.729 | 208.675 | 0 | 159.527 | 2.661 | 353.043 | 22.06 | 975.449 | 66.8372 | 10.364
2019-09-02 03:00:00 | 0 | 160.671 | 6.2403 | 213.203 | 0 | 154.609 | 5.9847 | 352.313 | 21.85 | 975.315 | 66.7008 | 8.6866
2019-09-02 03:15:00 | 0 | 159.089 | 5.4733 | 211.962 | 0 | 155.071 | 2.7967 | 352.581 | 21.86 | 975.199 | 67.0418 | 9.8172
2019-09-02 03:30:00 | 0 | 161.183 | 5.9847 | 207.676 | 0 | 157.384 | 0.37567 | 355.624 | 21.89 | 975.224 | 67.7238 | 7.1532
2019-09-02 03:45:00 | 0 | 172.773 | 3.9393 | 228.836 | 0 | 174.77 | 1.5183 | 4.894 | 21.67 | 975.406 | 68.4745 | 6.1224
2019-09-02 04:00:00 | 0 | 176.741 | 4.4507 | 225.45 | 0 | 172.383 | 0 | 1.8991 | 21.93 | 975.294 | 65.3709 | 5.5607
2019-09-02 04:15:00 | 0 | 183.048 | 4.195 | 227.423 | 0 | 158.554 | 0 | 352.728 | 22.03 | 975.361 | 64.3821 | 4.4338
2019-09-02 04:30:00 | 0 | 169.73 | 4.4507 | 216.833 | 0 | 174.624 | 0 | 1.5583 | 21.92 | 975.304 | 65.4053 | 4.3636
2019-09-02 04:45:00 | 0.372 | 176.303 | 4.962 | 222.164 | 0 | 169.827 | 0.887 | 0.24348 | 21.94 | 975.498 | 66.4282 | 5.3723
2019-09-02 05:00:00 | 0 | 175.502 | 5.2177 | 220.78 | 0 | 166.445 | 5.4733 | 0 | 21.64 | 975.492 | 69.0208 | 8.4316
2019-09-02 05:15:00 | 0.99933 | 171.848 | 5.729 | 214.983 | 0 | 164.714 | 4.962 | 0.19478 | 21.67 | 975.55 | 67.2468 | 8.3614
2019-09-02 05:30:00 | 1.51 | 171.052 | 5.2177 | 218.329 | 0 | 170.638 | 0.37567 | 1.4609 | 21.66 | 975.578 | 66.5678 | 7.4673
2019-09-02 05:45:00 | 0 | 170.419 | 5.9847 | 219.157 | 0 | 170.663 | 2.0297 | 2.9219 | 21.45 | 975.732 | 67.5908 | 8.2395
2019-09-02 06:00:00 | 0.62733 | 172.077 | 5.4733 | 223.883 | 0 | 169.764 | 5.9847 | 0.58438 | 21.71 | 975.881 | 65.75 | 5.2725
2019-09-02 06:15:00 | 0 | 173.021 | 4.4507 | 222.463 | 0.37567 | 167.469 | 5.4733 | 6.4767 | 21.61 | 976.019 | 67.112 | 3.318
2019-09-02 06:30:00 | 0 | 171.701 | 3.6837 | 210.964 | 0 | 151.346 | 0 | 352.922 | 21.79 | 976.34 | 66.0188 | 1.6073
2019-09-02 06:45:00 | 0 | 175.597 | 3.428 | 216.612 | 0 | 167.221 | 0 | 4.8452 | 21.86 | 976.488 | 64.757 | 0.44338
2019-09-02 07:00:00 | 0 | 184.307 | 3.9393 | 230.239 | 0 | 172.523 | 0 | 4.2607 | 22.3 | 976.627 | 62.9478 | 0.13671
2019-09-02 07:15:00 | 0 | 182.773 | 3.428 | 234.563 | 0 | 186.717 | 0 | 10.833 | 22.24 | 976.627 | 64.8485 | 0.16627
2019-09-02 07:30:00 | 0 | 199.01 | 2.9167 | 240.064 | 0 | 184.379 | 0 | 23.6377 | 22.42 | 976.923 | 63.9618 | -0.029559
2019-09-02 07:45:00 | 0 | 219.009 | 2.4053 | 255.143 | 0 | 200.728 | 0 | 50.827 | 22.99 | 977.22 | 62.5267 | -0.34362
2019-09-02 08:00:00 | 0 | 203.865 | 2.4053 | 235.415 | 0 | 165.506 | 0 | 33.515 | 23.26 | 977.665 | 63.5408 | -0.26972
2019-09-02 08:15:00 | 0 | 255.401 | 1.127 | 306.484 | 0 | 230.554 | 0 | 60.3763 | 23.86 | 977.711 | 58.2483 | -0.25125
2019-09-02 08:30:00 | 0 | 254.068 | 2.1497 | 298.09 | 0 | 246.257 | 0 | 87.9177 | 23.31 | 977.663 | 60.5957 | -0.25125
2019-09-02 08:45:00 | 0 | 286.13 | 0.75133 | 316.796 | 0 | 246.343 | 0 | 102.036 | 23.68 | 978.108 | 58.0085 | -0.25125
2019-09-02 09:00:00 | 0 | 261.007 | 1.6383 | 307.007 | 0 | 253.295 | 0 | 77.1904 | 23.95 | 977.964 | 57.3769 | -0.25125
2019-09-02 09:15:00 | 0 | 230.791 | 1.127 | 306.324 | 0 | 267.111 | 0 | 49.1894 | 24.6 | 978.254 | 56.0136 | -0.26972
2019-09-02 09:30:00 | 0 | 278.174 | 1.3827 | 326.574 | 0 | 271.752 | 0 | 97.2489 | 24.88 | 978.106 | 56.1778 | -0.26972
2019-09-02 09:45:00 | 0 | 288.682 | 2.1497 | 322.459 | 0 | 288.269 | 0 | 93.9329 | 24.73 | 978.403 | 51.7105 | -0.25125
2019-09-02 10:00:00 | 0 | 261.071 | 0 | 290.737 | 0 | 186.695 | 0 | 80.8704 | 24.82 | 978.254 | 50.1427 | -0.27342
2019-09-02 10:15:00 | 0 | 307.204 | 2.9167 | 0.54439 | 0 | 330.77 | 0 | 126.218 | 25.23 | 978.254 | 53.0329 | -0.26233
2019-09-02 10:30:00 | 0 | 301.367 | 2.1497 | 10.1992 | 0 | 333.785 | 0 | 140.786 | 25.1 | 978.254 | 55.4171 | -0.2882
2019-09-02 10:45:00 | 0 | 320.771 | 0 | 17.2085 | 0 | 323.325 | 0 | 131.13 | 25.18 | 978.254 | 57.0856 | -0.25864
2019-09-02 11:00:00 | 0 | 300.007 | 2.4053 | 326.603 | 0 | 275.76 | 0 | 129.745 | 25.76 | 978.403 | 48.2986 | -0.25125
2019-09-02 11:15:00 | 0 | 292.342 | 3.428 | 318.427 | 0 | 272.23 | 0 | 93.8968 | 25.93 | 978.403 | 48.7067 | -0.24016
2019-09-02 11:30:00 | 0 | 311.893 | 3.9393 | 9.9612 | 0 | 349.369 | 0 | 115.224 | 26.21 | 978.254 | 47.2418 | -0.25125
2019-09-02 11:45:00 | 0 | 303.33 | 3.6837 | 12.0234 | 0 | 290.563 | 5.2177 | 121.716 | 26.68 | 978.254 | 43.4607 | -0.28081
2019-09-02 12:00:00 | 0 | 301.821 | 3.428 | 19.7568 | 0 | 282.366 | 0 | 126.506 | 26.47 | 978.403 | 48.3992 | -0.1404
2019-09-02 12:15:00 | 0 | 329.641 | 4.195 | 2.3733 | 0 | 294.598 | 0 | 165.417 | 26.78 | 978.106 | 49.0463 | -0.23278
2019-09-02 12:30:00 | 0 | 339.902 | 3.428 | 21.1988 | 0 | 331.05 | 0 | 160.223 | 27.23 | 978.254 | 47.1762 | -0.23278
2019-09-02 12:45:00 | 0 | 50.47 | 3.428 | 94.8039 | 0 | 353.727 | 0 | 224.792 | 27.17 | 977.661 | 46.3293 | -0.26233
2019-09-02 13:00:00 | 0 | 352.194 | 2.9167 | 23.106 | 0 | 291.914 | 0 | 180.427 | 26.54 | 977.81 | 48.2775 | -0.26972
2019-09-02 13:15:00 | 0 | 318.296 | 3.9393 | 19.7081 | 0 | 253.804 | 0 | 138.299 | 27.12 | 977.81 | 48.552 | -0.22539
2019-09-02 13:30:00 | 0 | 302.483 | 5.729 | 326.953 | 0 | 277.061 | 0 | 135.137 | 28.16 | 977.81 | 46.3373 | -0.16257
2019-09-02 13:45:00 | 0 | 317.809 | 4.195 | 8.8582 | 0 | 296.571 | 0 | 164.84 | 27.58 | 977.365 | 45.1789 | -0.17735
2019-09-02 14:00:00 | 0 | 11.4337 | 2.1497 | 10.0683 | 0 | 300.804 | 0 | 187.319 | 28.19 | 977.217 | 40.7155 | -0.14779
2019-09-02 14:15:00 | 0 | 30.6035 | 3.1723 | 67.1883 | 0 | 14.8395 | 0 | 205.491 | 28.59 | 977.661 | 38.7393 | 0.11084
2019-09-02 14:30:00 | 0 | 323.526 | 3.6837 | 7.3436 | 0 | 319.804 | 0 | 140.319 | 28.26 | 977.513 | 39.3526 | 0.13671
2019-09-02 14:45:00 | 0 | 341.127 | 3.1723 | 334.165 | 0 | 297.148 | 0 | 160.907 | 28.17 | 977.81 | 42.0058 | 2.8857
2019-09-02 15:00:00 | 0 | 286.744 | 3.428 | 19.8541 | 0 | 250.965 | 0 | 104.419 | 28.01 | 977.365 | 43.7746 | 5.4093
2019-09-02 15:15:00 | 0 | 299.184 | 4.195 | 19.1487 | 0 | 354.517 | 0 | 120.661 | 28.21 | 977.661 | 37.6752 | 4.6555
2019-09-02 15:30:00 | 0 | 305.373 | 2.661 | 4.6594 | 0 | 304.085 | 0 | 115.345 | 28.22 | 977.661 | 41.7578 | 4.0939
2019-09-02 15:45:00 | 0 | 340.415 | 2.661 | 6.8678 | 0 | 315.658 | 0 | 191.875 | 27.86 | 977.217 | 42.4046 | 3.8796
2019-09-02 16:00:00 | 0 | 340.147 | 2.1497 | 34.8632 | 0 | 299.17 | 0 | 110.529 | 27.88 | 977.217 | 42.8815 | 3.3143
2019-09-02 16:15:00 | 0 | 327.818 | 1.894 | 28.4431 | 0 | 356.951 | 0 | 121.862 | 27.8 | 977.661 | 44.6185 | 3.366
2019-09-02 16:30:00 | 0 | 325.848 | 4.195 | 41.8184 | 0 | 345.765 | 0 | 134.045 | 27.42 | 977.217 | 45.47 | 5.1691
2019-09-02 16:45:00 | 0 | 351.135 | 4.7063 | 6.6306 | 0 | 323.313 | 0 | 121.382 | 27.44 | 976.92 | 45.098 | 5.642
2019-09-02 17:00:00 | 0 | 299.269 | 3.9393 | 15.1841 | 0 | 305.495 | 0 | 125.847 | 27.39 | 976.92 | 45.7161 | 5.1358
2019-09-02 17:15:00 | 0 | 325.797 | 4.195 | 24.4645 | 0 | 349.173 | 0 | 137.212 | 27 | 976.772 | 46.8086 | 5.376
2019-09-02 17:30:00 | 0 | 333.761 | 1.894 | 5.5916 | 0 | 343.735 | 1.2627 | 143.892 | 26.81 | 976.327 | 49.1302 | 6.1113
2019-09-02 17:45:00 | 0 | 319.171 | 3.1723 | 10.7557 | 0 | 313.065 | 0 | 130.174 | 26.54 | 975.883 | 48.586 | 4.7959
2019-09-02 18:00:00 | 0 | 340.506 | 2.9167 | 24.8591 | 0 | 331.821 | 0 | 148.006 | 26.31 | 975.734 | 50.6985 | 4.0126
2019-09-02 18:15:00 | 1.2547 | 304.783 | 3.6837 | 19.8982 | 0 | 335.899 | 0 | 142.077 | 26.02 | 975.505 | 53.0518 | 3.5766
2019-09-02 18:30:00 | 0 | 330.988 | 2.9167 | 18.8076 | 0 | 322.568 | 0 | 160.408 | 25.78 | 975.288 | 54.3249 | 2.2834
2019-09-02 18:45:00 | 0 | 315.727 | 2.9167 | 25.0934 | 0 | 325.217 | 0 | 127.493 | 25.53 | 974.845 | 53.1015 | 1.84
2019-09-02 19:00:00 | 0 | 344.784 | 4.195 | 27.6 | 0 | 351.889 | 0 | 164.045 | 25.58 | 975.112 | 53.1697 | 2.5384
2019-09-02 19:15:00 | 1.138 | 348.471 | 3.9393 | 34.8578 | 0 | 345.015 | 0 | 165.815 | 25.45 | 975.129 | 52.63 | 3.6246
2019-09-02 19:30:00 | 0 | 339.366 | 2.9167 | 39.8265 | 0 | 1.8011 | 0 | 165.801 | 25.35 | 975.291 | 53.6219 | 4.2158
2019-09-02 19:45:00 | 0 | 343.455 | 4.195 | 33.0845 | 0 | 356.939 | 4.195 | 162.904 | 25.23 | 975.44 | 54.2015 | 4.3082
2019-09-02 20:00:00 | 0 | 353.848 | 3.6837 | 42.8933 | 0 | 7.3992 | 0 | 171.74 | 25.16 | 975.588 | 56.1786 | 4.1863
2019-09-02 20:15:00 | 0 | 354.437 | 3.9393 | 45.5716 | 0 | 2.8234 | 0 | 180.139 | 24.95 | 975.736 | 55.9067 | 4.2971
2019-09-02 20:30:00 | 0 | 2.0446 | 2.9167 | 51.9254 | 0 | 7.4725 | 0 | 181.043 | 24.98 | 975.736 | 56.6575 | 4.5225
2019-09-02 20:45:00 | 0 | 0.14605 | 3.1723 | 46.8919 | 0 | 12.7065 | 0 | 184.805 | 24.78 | 975.44 | 56.8663 | 4.1715
2019-09-02 21:00:00 | 0 | 6.9133 | 4.4507 | 58.87 | 0 | 12.6581 | 0 | 193.864 | 24.76 | 975.588 | 56.288 | 2.9817
2019-09-02 21:15:00 | 0 | 13.6566 | 4.195 | 61.623 | 0 | 10.5163 | 0 | 195.647 | 24.71 | 975.588 | 54.278 | 2.5384
2019-09-02 21:30:00 | 0 | 22.5902 | 3.428 | 72.4056 | 0 | 25.5114 | 0 | 206.379 | 24.94 | 975.736 | 53.2543 | 1.9952
2019-09-02 21:45:00 | 0 | 37.3918 | 3.9393 | 77.6179 | 0 | 27.1431 | 0 | 223.815 | 24.99 | 975.736 | 54.1424 | 1.1491
2019-09-02 22:00:00 | 0 | 50.0012 | 3.9393 | 104.005 | 0 | 33.2773 | 0 | 229.996 | 24.94 | 975.588 | 54.1417 | 0.83503
2019-09-02 22:15:00 | 0 | 45.473 | 4.4507 | 98.9162 | 0 | 45.5703 | 0 | 230.943 | 24.95 | 975.736 | 54.4823 | 0.45077
2019-09-02 22:30:00 | 0 | 76.998 | 3.428 | 103.348 | 0 | 54.1396 | 0 | 237.323 | 24.82 | 975.736 | 54.6873 | 0.24386
2019-09-02 22:45:00 | 0 | 72.6899 | 1.6383 | 121.193 | 0 | 54.2375 | 0 | 252.686 | 24.82 | 975.44 | 55.3697 | 0.24016
2019-09-02 23:00:00 | 0 | 97.4228 | 4.4507 | 141.154 | 0 | 110.203 | 0 | 285.428 | 24.67 | 975.143 | 56.2561 | 0.27342
2019-09-02 23:15:00 | 0 | 86.6634 | 4.195 | 142.908 | 0 | 93.6257 | 0 | 278.54 | 24.72 | 975.44 | 57.6883 | 0.83134
2019-09-02 23:30:00 | 0 | 96.1075 | 4.4507 | 143.198 | 0 | 89.3887 | 0 | 278.05 | 24.46 | 975.291 | 60.8924 | 4.0459
2019-09-02 23:45:00 | 0 | 92.8461 | 5.729 | 138.574 | 0 | 96.1081 | 0 | 269.872 | 24.15 | 975.291 | 62.9385 | 7.2678