## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-09-03 00:00:00 | 0 | 94.4778 | 5.4733 | 130.127 | 0 | 77.4129 | 0 | 290.931 | 23.92 | 975.143 | 64.5755 | 8.8824
2019-09-03 00:15:00 | 0 | 96.3522 | 4.4507 | 145.999 | 0 | 120.55 | 0 | 286.282 | 23.72 | 975.291 | 66.0757 | 10.9811
2019-09-03 00:30:00 | 0 | 136.13 | 4.195 | 190.743 | 0 | 145.478 | 0 | 317.88 | 22.94 | 975.143 | 71.3945 | 7.4599
2019-09-03 00:45:00 | 0 | 147.113 | 6.2403 | 193.159 | 0 | 159.894 | 5.2177 | 324.9 | 22.33 | 974.55 | 74.2264 | 8.8011
2019-09-03 01:00:00 | 0 | 149.739 | 5.9847 | 195.77 | 0 | 157.968 | 5.9847 | 337.119 | 22.16 | 974.253 | 74.5436 | 13.8926
2019-09-03 01:15:00 | 0 | 140.365 | 5.2177 | 202.344 | 0 | 155.996 | 2.1497 | 334.003 | 21.94 | 974.105 | 74.0324 | 14.6685
2019-09-03 01:30:00 | 0 | 142.264 | 6.496 | 190.876 | 0 | 160.525 | 3.6837 | 326.821 | 21.93 | 973.956 | 74.0324 | 16.08
2019-09-03 01:45:00 | 0 | 143.238 | 6.496 | 192.386 | 0 | 145.308 | 5.2177 | 322.511 | 21.7 | 974.003 | 74.919 | 18.1306
2019-09-03 02:00:00 | 0 | 134.522 | 5.9847 | 196.744 | 0 | 140.097 | 3.8193 | 318.007 | 21.65 | 974.102 | 75.6351 | 19.0063
2019-09-03 02:15:00 | 0 | 136.008 | 4.962 | 204.634 | 0 | 149.058 | 4.962 | 316.012 | 21.55 | 974.462 | 77.2041 | 17.8609
2019-09-03 02:30:00 | 0 | 142.88 | 4.7063 | 203.718 | 0 | 159.242 | 1.774 | 327.786 | 21.08 | 974.22 | 80.0037 | 14.1771
2019-09-03 02:45:00 | 0 | 148.445 | 2.9167 | 224.827 | 0 | 165.345 | 0 | 310.502 | 20.94 | 974.253 | 80.6932 | 13.9813
2019-09-03 03:00:00 | 0 | 154.124 | 4.195 | 208.47 | 0 | 184.344 | 0 | 330.968 | 20.85 | 974.254 | 82.4352 | 15.9174
2019-09-03 03:15:00 | 0 | 141.68 | 4.4507 | 205.938 | 0 | 158.337 | 5.9847 | 321.397 | 20.57 | 974.106 | 83.6971 | 16.5012
2019-09-03 03:30:00 | 0 | 143.092 | 5.4733 | 206.425 | 1.774 | 209.817 | 5.4733 | 322.42 | 20.48 | 973.66 | 82.8103 | 17.7168
2019-09-03 03:45:00 | 0 | 139.78 | 4.7063 | 200.775 | 0 | 162.963 | 2.661 | 324.125 | 20.78 | 973.957 | 81.412 | 17.1515
2019-09-03 04:00:00 | 0 | 139.951 | 4.962 | 198.681 | 0 | 168.905 | 0 | 327.169 | 20.94 | 973.957 | 79.8772 | 13.73
2019-09-03 04:15:00 | 0 | 128.262 | 4.7063 | 193.421 | 0 | 166.811 | 4.7063 | 333.403 | 20.92 | 974.106 | 77.7626 | 12.7583
2019-09-03 04:30:00 | 0 | 137.248 | 3.6837 | 195.734 | 0 | 151.226 | 0 | 315.602 | 21.12 | 974.106 | 77.558 | 10.8592
2019-09-03 04:45:00 | 0 | 140.949 | 4.962 | 197.439 | 0 | 155.025 | 0.75133 | 317.452 | 20.95 | 973.957 | 78.6494 | 11.4097
2019-09-03 05:00:00 | 0 | 134.52 | 4.195 | 190.645 | 0 | 153.807 | 0.63133 | 315.602 | 20.92 | 973.957 | 78.7858 | 11.4577
2019-09-03 05:15:00 | 0 | 153.856 | 3.9393 | 198.462 | 0 | 150.836 | 0.63133 | 326.706 | 20.83 | 974.106 | 79.1269 | 13.0243
2019-09-03 05:30:00 | 0.372 | 133.838 | 4.195 | 183.388 | 0 | 144.115 | 0 | 323.126 | 20.9 | 974.254 | 79.5361 | 13.1684
2019-09-03 05:45:00 | 0 | 131.306 | 4.7063 | 189.67 | 0 | 142.41 | 0 | 317.477 | 21.06 | 974.254 | 79.6726 | 12.1228
2019-09-03 06:00:00 | 0 | 135.251 | 5.729 | 186.7 | 0 | 139.537 | 0 | 319.449 | 21.05 | 974.254 | 80.5593 | 11.6794
2019-09-03 06:15:00 | 0 | 139.098 | 4.195 | 190.206 | 0 | 148.352 | 0 | 313.653 | 20.99 | 974.551 | 81.9236 | 8.1508
2019-09-03 06:30:00 | 0 | 142.698 | 1.6383 | 183.187 | 0 | 149.224 | 0 | 339.261 | 21.12 | 974.699 | 80.4205 | 4.3932
2019-09-03 06:45:00 | 0 | 140.648 | 3.9393 | 180.063 | 0 | 148.683 | 0 | 336.814 | 21.29 | 974.996 | 78.3714 | 2.749
2019-09-03 07:00:00 | 0 | 137.867 | 4.195 | 183.196 | 0 | 132.071 | 0 | 309.798 | 21.58 | 974.972 | 76.4587 | 4.0237
2019-09-03 07:15:00 | 0 | 143.652 | 2.4053 | 194.261 | 0 | 165.468 | 0 | 315.646 | 21.63 | 974.97 | 76.3854 | 4.6925
2019-09-03 07:30:00 | 0 | 141.704 | 3.9393 | 186.616 | 0 | 143.433 | 0 | 327.6 | 21.67 | 975.156 | 75.7033 | 4.1161
2019-09-03 07:45:00 | 0 | 138.88 | 2.1497 | 195.016 | 0 | 161.085 | 0 | 308.39 | 21.98 | 975.292 | 76.0784 | 2.1282
2019-09-03 08:00:00 | 0 | 146.403 | 2.661 | 194.444 | 0 | 156.847 | 0 | 321.24 | 22.86 | 975.737 | 72.1448 | 0.89415
2019-09-03 08:15:00 | 0 | 145.502 | 2.9167 | 188.42 | 0 | 161.42 | 0 | 329.266 | 23.01 | 976.182 | 73.1552 | 1.1934
2019-09-03 08:30:00 | 0 | 141.706 | 3.428 | 204.276 | 0 | 174.632 | 0 | 318.309 | 22.47 | 976.09 | 75.3242 | 0.68355
2019-09-03 08:45:00 | 0 | 139.689 | 1.3827 | 190.847 | 0 | 145.529 | 0 | 308.703 | 22.3 | 976.14 | 75.7007 | -0.15518
2019-09-03 09:00:00 | 0 | 73.6633 | 2.661 | 118.396 | 0 | 187.091 | 0 | 251.385 | 23.97 | 976.415 | 65.0989 | -0.44708
2019-09-03 09:15:00 | 0 | 66.2854 | 0 | 164.548 | 0 | 185.813 | 0 | 248.765 | 24.77 | 976.625 | 64.4131 | -0.27711
2019-09-03 09:30:00 | 0 | 321.715 | 1.894 | 324.048 | 0 | 267.998 | 0 | 135.799 | 25.17 | 976.952 | 66.6467 | -0.26233
2019-09-03 09:45:00 | 0 | 323.867 | 2.1497 | 10.6765 | 0 | 316.35 | 0 | 233.418 | 24.53 | 976.476 | 67.598 | -0.25125
2019-09-03 10:00:00 | 0 | 35.858 | 1.3827 | 64.3173 | 0 | 10.3876 | 0 | 234.926 | 24.41 | 976.327 | 66.5755 | -0.26972
2019-09-03 10:15:00 | 0 | 31.6252 | 2.1497 | 95.2131 | 0 | 278.886 | 0 | 215.611 | 25.4 | 976.476 | 64.6337 | -0.25125
2019-09-03 10:30:00 | 0 | 18.3426 | 1.127 | 63.5875 | 0 | 289.005 | 0 | 191.429 | 25.12 | 976.624 | 64.429 | -0.25125
2019-09-03 10:45:00 | 0 | 320.335 | 2.4053 | 1.0184 | 0 | 242.295 | 0 | 163.184 | 25.16 | 976.476 | 63.0317 | -0.26972
2019-09-03 11:00:00 | 0 | 348.191 | 1.127 | 44.4663 | 0 | 141.875 | 0 | 197.486 | 25.25 | 976.031 | 64.3266 | -0.28081
2019-09-03 11:15:00 | 0 | 15.6666 | 4.7063 | 72.3943 | 0 | 5.1573 | 0 | 202.815 | 24.1 | 975.29 | 66.6439 | 0.16257
2019-09-03 11:30:00 | 0 | 15.6707 | 3.428 | 96.289 | 0 | 4.9883 | 0 | 218.246 | 24.49 | 975.691 | 65.9113 | 0.018474
2019-09-03 11:45:00 | 0 | 35.3102 | 2.4053 | 81.0391 | 0 | 5.0616 | 0 | 216.387 | 24.87 | 975.735 | 63.462 | -0.27342
2019-09-03 12:00:00 | 0 | 215.559 | 0 | 336.872 | 0 | 4.3073 | 0 | 109.264 | 24.6 | 975.587 | 63.6322 | -0.26972
2019-09-03 12:15:00 | 0 | 44.4349 | 1.6383 | 92.523 | 0 | 0.97338 | 0 | 238.503 | 25.29 | 975.439 | 62.3701 | -0.15888
2019-09-03 12:30:00 | 0 | 270.51 | 2.661 | 318.844 | 0 | 348.529 | 0 | 112.088 | 25.52 | 975.587 | 60.3268 | 0.044338
2019-09-03 12:45:00 | 0 | 23.3572 | 2.4053 | 72.1151 | 0 | 7.4208 | 0 | 201.334 | 25.97 | 975.23 | 60.7239 | -0.15149
2019-09-03 13:00:00 | 0 | 88.2391 | 1.127 | 166.356 | 0 | 7.3958 | 0 | 227.033 | 25.52 | 975.372 | 66.4431 | -0.26972
2019-09-03 13:15:00 | 0 | 305.707 | 3.1723 | 331.57 | 0 | 292.74 | 0 | 122.259 | 25.66 | 975.257 | 62.5631 | -0.25125
2019-09-03 13:30:00 | 0 | 296.692 | 2.9167 | 12.4331 | 0 | 287.495 | 0 | 142.677 | 25.52 | 974.564 | 60.8616 | -0.30667
2019-09-03 13:45:00 | 0 | 309.279 | 1.894 | 18.2462 | 0 | 342.878 | 0 | 146.367 | 25.87 | 974.492 | 58.8819 | 0.029559
2019-09-03 14:00:00 | 0 | 18.2704 | 2.4053 | 87.2382 | 0 | 35.3244 | 0 | 188.591 | 25.81 | 974.569 | 57.7537 | 0.54314
2019-09-03 14:15:00 | 0 | 20.2662 | 4.7063 | 66.4174 | 0 | 10.4616 | 0 | 193.223 | 25.8 | 974.273 | 59.7667 | 1.3597
2019-09-03 14:30:00 | 0 | 8.2972 | 3.1723 | 71.9264 | 0 | 43.9193 | 0.887 | 172.903 | 25.63 | 974.392 | 58.615 | 0.99391
2019-09-03 14:45:00 | 0 | 20.0518 | 2.1497 | 81.1595 | 0 | 89.1625 | 0 | 207.308 | 25.41 | 974.547 | 56.1676 | 0.36579
2019-09-03 15:00:00 | 0 | 14.3051 | 3.428 | 45.3219 | 0 | 72.7421 | 0 | 188.983 | 26.2 | 974.592 | 53.8701 | 0.28081
2019-09-03 15:15:00 | 0 | 15.1801 | 1.6383 | 56.9709 | 0 | 1.9948 | 0 | 141.097 | 26.4 | 974.697 | 52.8791 | 0.29189
2019-09-03 15:30:00 | 0 | 25.6894 | 2.661 | 80.106 | 0 | 351.599 | 0 | 215.489 | 26.74 | 975.141 | 48.3816 | 1.4521
2019-09-03 15:45:00 | 0 | 324.511 | 2.9167 | 320.371 | 0 | 313.492 | 0 | 154.07 | 26.58 | 974.4 | 47.0134 | 1.4151
2019-09-03 16:00:00 | 0 | 355.464 | 2.1497 | 43.8292 | 0 | 350.769 | 0 | 206.375 | 26.9 | 974.549 | 43.9488 | 1.574
2019-09-03 16:15:00 | 0 | 0.14595 | 3.9393 | 70.2924 | 0 | 54.3165 | 0 | 185.036 | 26.77 | 974.252 | 46.4005 | 1.7514
2019-09-03 16:30:00 | 0 | 137.326 | 4.962 | 180.844 | 0 | 141.973 | 0.75133 | 315.473 | 26.12 | 973.659 | 47.0868 | 1.3338
2019-09-03 16:45:00 | 0 | 146.717 | 4.7063 | 189.578 | 0 | 154.234 | 0 | 329.316 | 25.33 | 973.511 | 48.586 | 0.43969
2019-09-03 17:00:00 | 0 | 147.266 | 3.6837 | 197.638 | 0 | 165.662 | 0 | 331.445 | 25.63 | 973.475 | 48.5986 | 0.38057
2019-09-03 17:15:00 | 0 | 155.936 | 3.428 | 206.433 | 0 | 152.042 | 0 | 337.058 | 25.3 | 973.214 | 49.6916 | 0.22539
2019-09-03 17:30:00 | 0 | 178.816 | 2.9167 | 237.176 | 0 | 186.116 | 0 | 4.575 | 25.42 | 972.77 | 51.0564 | -0.12193
2019-09-03 17:45:00 | 0 | 179.546 | 3.6837 | 227.539 | 0 | 182.953 | 0 | 352.328 | 25.43 | 972.77 | 52.3517 | -0.12193
2019-09-03 18:00:00 | 0 | 173.925 | 4.4507 | 223.67 | 0 | 176.991 | 0 | 356.416 | 25.24 | 972.333 | 52.2836 | 0.19213
2019-09-03 18:15:00 | 0 | 179.96 | 4.962 | 228.026 | 0 | 183.148 | 0 | 1.4601 | 25.08 | 972.096 | 52.863 | 2.2021
2019-09-03 18:30:00 | 0 | 139.737 | 4.962 | 187.391 | 0 | 124.259 | 1.007 | 325.396 | 24.64 | 972.28 | 56.4431 | 6.9943
2019-09-03 18:45:00 | 1.51 | 139.343 | 5.2177 | 187.908 | 0 | 137.469 | 0 | 321.719 | 24.27 | 972.325 | 55.9058 | 7.3971
2019-09-03 19:00:00 | 0 | 132.261 | 6.7517 | 181.434 | 0 | 137.226 | 1.127 | 315.197 | 24.22 | 972.024 | 55.0196 | 14.5614
2019-09-03 19:15:00 | 0 | 128.149 | 4.962 | 171.213 | 0 | 129.488 | 0 | 300.061 | 23.86 | 972.325 | 56.2474 | 18.755
2019-09-03 19:30:00 | 1.2547 | 154.384 | 5.729 | 197.36 | 0 | 129.189 | 4.4507 | 315.876 | 23.64 | 972.473 | 56.2551 | 17.5099
2019-09-03 19:45:00 | 2.1373 | 125.443 | 7.0073 | 165.864 | 0 | 134.133 | 2.541 | 314.641 | 23.61 | 972.325 | 55.9153 | 21.1789
2019-09-03 20:00:00 | 0 | 129.07 | 4.195 | 166.375 | 0 | 139.781 | 0.37567 | 307.387 | 23.4 | 972.473 | 57.8247 | 22.9856
2019-09-03 20:15:00 | 0 | 129.021 | 6.2403 | 184.73 | 0 | 115.632 | 0 | 309.189 | 23.08 | 972.621 | 58.5748 | 29.1782
2019-09-03 20:30:00 | 0 | 120.964 | 5.2177 | 166.253 | 0 | 129.168 | 0 | 293.244 | 22.97 | 972.473 | 55.7109 | 31.6094
2019-09-03 20:45:00 | 2.3927 | 135.911 | 8.5413 | 186.922 | 0 | 136.52 | 2.0297 | 315.568 | 22.97 | 972.473 | 54.4154 | 29.5218
2019-09-03 21:00:00 | 3.1587 | 131.045 | 9.564 | 180.475 | 0 | 125.448 | 2.4053 | 311.44 | 22.95 | 972.325 | 53.3938 | 29.193
2019-09-03 21:15:00 | 3.9247 | 135.531 | 8.03 | 180.753 | 0 | 141.397 | 6.2403 | 313.931 | 22.79 | 972.325 | 53.601 | 29.0045
2019-09-03 21:30:00 | 6.9887 | 139.746 | 6.7517 | 191.201 | 0 | 145.055 | 6.7517 | 319.058 | 22.73 | 972.177 | 55.7161 | 25.7235
2019-09-03 21:45:00 | 0 | 132.936 | 7.263 | 181.936 | 0 | 155.117 | 3.5637 | 321.458 | 22.5 | 972.177 | 56.4691 | 25.8713
2019-09-03 22:00:00 | 0 | 144.528 | 6.2403 | 179.749 | 0 | 133.913 | 5.729 | 329.085 | 22.36 | 972.177 | 57.8686 | 26.7987
2019-09-03 22:15:00 | 0 | 130.456 | 7.0073 | 188.003 | 0 | 156.045 | 4.962 | 316.619 | 22.23 | 972.028 | 57.971 | 27.933
2019-09-03 22:30:00 | 4.18 | 134.254 | 7.7743 | 187.492 | 0 | 143.701 | 3.9393 | 326.869 | 22.2 | 972.028 | 58.1074 | 22.4831
2019-09-03 22:45:00 | 3.414 | 128.094 | 6.2403 | 187.76 | 0 | 129.457 | 3.6837 | 318.956 | 22.1 | 971.583 | 58.653 | 23.9204
2019-09-03 23:00:00 | 5.2013 | 141.023 | 7.7743 | 178.459 | 0 | 127.777 | 5.4733 | 304.737 | 22.14 | 971.583 | 58.1756 | 23.2258
2019-09-03 23:15:00 | 0 | 137.005 | 5.9847 | 197.11 | 0 | 151.443 | 0 | 308.73 | 22.17 | 971.583 | 58.312 | 19.7785
2019-09-03 23:30:00 | 0 | 134.035 | 7.263 | 184.254 | 0 | 141.169 | 4.4507 | 327.892 | 22.13 | 971.731 | 57.6982 | 20.6283
2019-09-03 23:45:00 | 0 | 161.767 | 4.195 | 210.744 | 0.63133 | 167.61 | 3.428 | 347.809 | 21.93 | 971.731 | 59.1304 | 19.2945