## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-09-04 00:00:00 | 0 | 152.758 | 4.195 | 205.12 | 0 | 158.042 | 5.729 | 331.398 | 21.65 | 971.734 | 60.2898 | 17.5875
2019-09-04 00:15:00 | 0 | 147.67 | 3.9393 | 190.56 | 0 | 150.031 | 3.428 | 325.116 | 21.56 | 971.489 | 59.8806 | 20.4436
2019-09-04 00:30:00 | 4.4353 | 132.087 | 5.2177 | 193.579 | 0 | 145.99 | 2.0297 | 317.447 | 21.45 | 971.459 | 57.7664 | 24.8589
2019-09-04 00:45:00 | 0 | 142.094 | 5.9847 | 190.804 | 0 | 135.91 | 0.37567 | 317.35 | 21.61 | 971.479 | 59.3351 | 24.2677
2019-09-04 01:00:00 | 0 | 133.186 | 4.4507 | 183.261 | 0 | 146.602 | 3.428 | 309.444 | 21.62 | 971.834 | 59.7798 | 22.1617
2019-09-04 01:15:00 | 0 | 153.248 | 7.5187 | 202.519 | 0 | 156.413 | 5.9847 | 332.597 | 21.61 | 971.704 | 60.4955 | 23.9832
2019-09-04 01:30:00 | 0 | 143.896 | 6.2403 | 192.727 | 0 | 155.924 | 5.729 | 332.007 | 21.45 | 971.224 | 60.3582 | 16.1206
2019-09-04 01:45:00 | 0.744 | 140.4 | 6.7517 | 195.519 | 0 | 149.751 | 1.2627 | 324.971 | 21.36 | 971.397 | 58.9645 | 16.6342
2019-09-04 02:00:00 | 4.6907 | 150.132 | 6.496 | 207.438 | 0 | 156.316 | 5.9847 | 331.015 | 21.17 | 970.97 | 60.2229 | 22.1469
2019-09-04 02:15:00 | 3.9247 | 145.369 | 5.2177 | 203.191 | 0 | 134.387 | 3.9393 | 326.946 | 21.1 | 971.12 | 59.8175 | 17.4729
2019-09-04 02:30:00 | 0 | 143.423 | 6.7517 | 187.464 | 0 | 142.741 | 2.2853 | 319.354 | 21.21 | 971.435 | 60.4323 | 15.0676
2019-09-04 02:45:00 | 1.904 | 135.536 | 5.4733 | 186.688 | 0 | 149.878 | 2.7967 | 318.701 | 21.32 | 971.286 | 62.2067 | 16.2906
2019-09-04 03:00:00 | 0 | 134.878 | 7.7743 | 180.162 | 0 | 131.786 | 0 | 321.599 | 21.27 | 971.575 | 63.298 | 14.1106
2019-09-04 03:15:00 | 0 | 143.103 | 6.7517 | 197.906 | 0 | 151.285 | 5.9847 | 326.871 | 21.13 | 971.257 | 65.2396 | 11.5723
2019-09-04 03:30:00 | 0 | 150.166 | 5.729 | 209.23 | 0 | 157.057 | 4.195 | 327.848 | 20.84 | 971.284 | 66.6725 | 9.2925
2019-09-04 03:45:00 | 0 | 148.789 | 5.9847 | 197.071 | 0 | 146.329 | 5.9847 | 331.402 | 20.62 | 971.286 | 68.7578 | 8.6496
2019-09-04 04:00:00 | 0.744 | 144.747 | 4.7063 | 216.65 | 0 | 163.473 | 1.3827 | 333.497 | 20.44 | 970.99 | 70.6678 | 10.1128
2019-09-04 04:15:00 | 0 | 157.411 | 4.7063 | 205.475 | 0 | 155.56 | 0.37567 | 339.272 | 20.26 | 971.286 | 72.1009 | 7.4747
2019-09-04 04:30:00 | 0 | 157.022 | 5.2177 | 208.86 | 0 | 158.824 | 0 | 341.415 | 20.06 | 971.286 | 73.3288 | 12.1339
2019-09-04 04:45:00 | 0.372 | 151.956 | 5.729 | 195.588 | 0 | 149.205 | 5.2177 | 336.983 | 20 | 971.286 | 76.7394 | 10.4675
2019-09-04 05:00:00 | 0 | 153.344 | 6.496 | 196.976 | 0 | 153.783 | 5.9847 | 337.859 | 19.78 | 971.138 | 81.105 | 10.1424
2019-09-04 05:15:00 | 0 | 160.747 | 5.729 | 208.665 | 0 | 166.714 | 4.4507 | 349.889 | 19.56 | 971.138 | 83.015 | 14.5688
2019-09-04 05:30:00 | 0 | 156.123 | 5.2177 | 204.626 | 0 | 173.681 | 4.195 | 341.614 | 19.54 | 971.286 | 86.1539 | 10.5894
2019-09-04 05:45:00 | 0 | 155.623 | 4.962 | 200.697 | 0 | 149.778 | 3.9393 | 347.07 | 19.5 | 971.583 | 85.2052 | 4.371
2019-09-04 06:00:00 | 0 | 164.294 | 4.7063 | 208.468 | 0 | 157.134 | 0 | 346.976 | 19.42 | 971.731 | 86.9115 | 3.2515
2019-09-04 06:15:00 | 0 | 162.98 | 4.4507 | 207.519 | 0 | 159.594 | 0 | 354.795 | 19.42 | 971.88 | 89.4359 | 1.6183
2019-09-04 06:30:00 | 0 | 175.646 | 3.9393 | 225.812 | 0 | 173.892 | 0 | 8.9138 | 19.46 | 971.88 | 90.4602 | 2.8968
2019-09-04 06:45:00 | 0 | 189.448 | 4.195 | 234.278 | 0.887 | 185.064 | 3.428 | 11.7385 | 19.6 | 971.88 | 90.7298 | 4.9252
2019-09-04 07:00:00 | 0 | 184.638 | 4.7063 | 215.509 | 0 | 159.652 | 0 | 17.4848 | 19.68 | 971.88 | 91.4739 | 3.2108
2019-09-04 07:15:00 | 0 | 193.355 | 4.4507 | 229.51 | 0 | 150.885 | 0 | 14.806 | 19.89 | 972.177 | 89.9045 | 2.0543
2019-09-04 07:30:00 | 0 | 184.827 | 3.428 | 211.362 | 0 | 172.31 | 0 | 1.9238 | 20.12 | 972.177 | 88.6063 | 1.0235
2019-09-04 07:45:00 | 0 | 206.33 | 2.9167 | 246.471 | 0 | 197.127 | 0.37567 | 20.7937 | 20.26 | 972.473 | 87.0958 | 0.062812
2019-09-04 08:00:00 | 0 | 181.586 | 3.6837 | 221.579 | 0 | 179.59 | 0 | 11.687 | 20.54 | 972.362 | 85.1833 | -0.088676
2019-09-04 08:15:00 | 0 | 176.376 | 2.4053 | 227.983 | 0 | 181.391 | 0 | 356.014 | 20.72 | 972.473 | 83.2737 | -0.39165
2019-09-04 08:30:00 | 0 | 155.372 | 2.4053 | 199.57 | 0 | 156.662 | 0 | 351.302 | 21.17 | 972.918 | 80.0598 | -0.27342
2019-09-04 08:45:00 | 0 | 202.418 | 1.894 | 237.088 | 0 | 171.895 | 0 | 9.639 | 22.12 | 973.363 | 74.1815 | -0.24016
2019-09-04 09:00:00 | 0 | 172.3 | 2.661 | 217.74 | 0 | 175.536 | 0 | 21.6105 | 22.87 | 973.724 | 71.7813 | -0.24016
2019-09-04 09:15:00 | 0 | 224.056 | 2.9167 | 253.432 | 0 | 164.605 | 0 | 49.3521 | 22.93 | 973.809 | 71.9155 | -0.24016
2019-09-04 09:30:00 | 0 | 204.209 | 1.3827 | 249.254 | 0 | 180.338 | 0 | 352.84 | 23.3 | 973.808 | 70.3772 | -0.24016
2019-09-04 09:45:00 | 0 | 172.47 | 1.894 | 248.886 | 0 | 229.278 | 0 | 12.3592 | 24.23 | 973.718 | 67.4675 | -0.25125
2019-09-04 10:00:00 | 0 | 178.828 | 1.6383 | 281.096 | 0 | 219.284 | 0 | 21.7484 | 23.74 | 974.104 | 67.3936 | -0.24016
2019-09-04 10:15:00 | 0 | 306.984 | 1.127 | 161.091 | 0 | 273.534 | 0 | 121.222 | 23.88 | 974.104 | 66.2351 | -0.25125
2019-09-04 10:30:00 | 0 | 19.8996 | 1.894 | 73.1484 | 0 | 337.514 | 0 | 193.619 | 23.99 | 973.956 | 67.598 | -0.25125
2019-09-04 10:45:00 | 0 | 329.927 | 3.1723 | 2.9684 | 0 | 283.601 | 0 | 136.837 | 23.91 | 973.923 | 65.4277 | -0.25125
2019-09-04 11:00:00 | 0 | 327.402 | 2.4053 | 27.1124 | 0 | 325.017 | 0 | 208.404 | 23.84 | 973.506 | 64.0752 | -0.25125
2019-09-04 11:15:00 | 0 | 342.246 | 2.4053 | 7.1821 | 0 | 337.769 | 0 | 147.445 | 24.98 | 973.659 | 65.0976 | -0.28081
2019-09-04 11:30:00 | 0 | 274.676 | 2.4053 | 332.397 | 0 | 323.294 | 0 | 120.718 | 24.16 | 973.481 | 66.1161 | -0.24016
2019-09-04 11:45:00 | 0 | 58.938 | 1.894 | 103.424 | 0 | 15.4767 | 0 | 259.405 | 24.68 | 973.511 | 60.4271 | -0.26233
2019-09-04 12:00:00 | 0 | 3.8928 | 2.661 | 56.7856 | 0 | 356.97 | 0 | 198.703 | 24.66 | 972.845 | 62.0859 | -0.24016
2019-09-04 12:15:00 | 0 | 43.0103 | 1.127 | 91.3209 | 0 | 72.957 | 0 | 179.193 | 24.98 | 972.919 | 57.9898 | -0.25864
2019-09-04 12:30:00 | 0 | 49.7976 | 2.661 | 102.219 | 0 | 54.59 | 0 | 222.496 | 25.22 | 972.77 | 56.4566 | -0.25864
2019-09-04 12:45:00 | 0 | 17.029 | 0.75133 | 131.996 | 0 | 39.0207 | 0 | 212.643 | 25.9 | 972.77 | 55.1278 | -0.25864
2019-09-04 13:00:00 | 0 | 35.9068 | 4.962 | 3.3846 | 0 | 276.55 | 0 | 219.455 | 26.01 | 972.77 | 55.9796 | -0.24016
2019-09-04 13:15:00 | 0 | 3.868 | 2.661 | 72.1267 | 0 | 11.677 | 0 | 181.31 | 25.48 | 972.325 | 57.5469 | -0.24016
2019-09-04 13:30:00 | 0 | 242.687 | 1.6383 | 294.793 | 0 | 297.472 | 0 | 79.2577 | 25.52 | 972.029 | 55.9455 | -0.24016
2019-09-04 13:45:00 | 0 | 288.057 | 2.661 | 328.559 | 0 | 284.724 | 0 | 121.806 | 25.52 | 971.88 | 55.3322 | -0.24016
2019-09-04 14:00:00 | 0 | 236.849 | 3.6837 | 321.163 | 0 | 240.23 | 0 | 92.7835 | 25.65 | 972.029 | 54.753 | -0.25125
2019-09-04 14:15:00 | 0 | 287.765 | 3.6837 | 18.2484 | 0 | 290.32 | 0 | 110.664 | 25.62 | 972.177 | 54.5826 | -0.2845
2019-09-04 14:30:00 | 0 | 319.658 | 0.37567 | 16.4239 | 0 | 271.636 | 0 | 216.803 | 26.4 | 972.325 | 53.9694 | -0.26603
2019-09-04 14:45:00 | 0 | 72.8353 | 3.428 | 9.4907 | 0 | 279.032 | 0 | 139.394 | 26.5 | 972.177 | 54.5145 | -0.26972
2019-09-04 15:00:00 | 0 | 293.969 | 2.9167 | 3.3603 | 0 | 316.325 | 0 | 118.084 | 27.04 | 972.325 | 52.2658 | -0.26233
2019-09-04 15:15:00 | 0 | 314.441 | 3.6837 | 2.7054 | 0 | 317.919 | 0 | 133.832 | 26.77 | 972.325 | 52.7027 | -0.24016
2019-09-04 15:30:00 | 0 | 297.552 | 3.9393 | 17.2757 | 0 | 298.647 | 0 | 118.773 | 26.67 | 972.177 | 53.1102 | -0.27342
2019-09-04 15:45:00 | 0 | 293.824 | 3.9393 | 18.3703 | 0 | 294.359 | 0 | 125.678 | 26.81 | 972.029 | 52.2574 | -0.26972
2019-09-04 16:00:00 | 0 | 286.627 | 3.428 | 325.417 | 0 | 260.334 | 0 | 106.318 | 26.21 | 972.029 | 52.837 | -0.26233
2019-09-04 16:15:00 | 0 | 277.598 | 3.6837 | 332.325 | 0 | 307.226 | 0 | 95.257 | 26.51 | 971.732 | 51.9208 | 0.22539
2019-09-04 16:30:00 | 0 | 289.2 | 4.195 | 14.94 | 0 | 309.805 | 0 | 113.388 | 26.47 | 971.88 | 50.2214 | 0.46555
2019-09-04 16:45:00 | 0 | 284.529 | 3.1723 | 326.928 | 0 | 235.291 | 0 | 121.976 | 26.27 | 972.029 | 51.2436 | 0.44708
2019-09-04 17:00:00 | 0 | 307.762 | 3.1723 | 330.31 | 0 | 326.372 | 0 | 116.819 | 26.47 | 971.732 | 49.8807 | 0.66877
2019-09-04 17:15:00 | 0 | 310.389 | 2.1497 | 6.6688 | 0 | 300.877 | 0 | 112.999 | 25.88 | 970.991 | 53.2198 | 0.4988
2019-09-04 17:30:00 | 0 | 292.314 | 2.1497 | 15.6211 | 0 | 305.159 | 0 | 152.19 | 25.76 | 971.139 | 53.0153 | 0.65399
2019-09-04 17:45:00 | 0 | 300.688 | 3.6837 | 13.3829 | 0 | 306.526 | 0 | 122.075 | 25.54 | 970.422 | 52.3348 | 0.39165
2019-09-04 18:00:00 | 0 | 326.039 | 3.428 | 10.3699 | 0 | 330.614 | 0 | 143.868 | 25.33 | 970.494 | 53.9185 | 0.52467
2019-09-04 18:15:00 | 0 | 328.179 | 2.9167 | 15.3341 | 0 | 338.546 | 0 | 149.416 | 25.1 | 970.397 | 54.8726 | 0.56901
2019-09-04 18:30:00 | 0 | 338.554 | 3.428 | 25.0691 | 0 | 351.743 | 0 | 156.768 | 24.94 | 969.952 | 55.76 | 0.40643
2019-09-04 18:45:00 | 0 | 343.132 | 3.9393 | 23.7554 | 0 | 346.612 | 0 | 162.245 | 24.7 | 969.759 | 55.2493 | 0.5025
2019-09-04 19:00:00 | 0 | 0 | 2.9167 | 46.4468 | 0 | 356.963 | 0 | 181.865 | 24.68 | 969.951 | 56.9967 | 0.19213
2019-09-04 19:15:00 | 0 | 2.6287 | 2.661 | 55.454 | 0 | 12.2674 | 0 | 184.984 | 24.47 | 969.951 | 58.7023 | -0.26972
2019-09-04 19:30:00 | 0 | 0.14605 | 2.1497 | 52.7315 | 0 | 9.6878 | 0 | 183.046 | 24.45 | 969.803 | 56.7961 | -0.28081
2019-09-04 19:45:00 | 0 | 5.4529 | 2.661 | 54.4909 | 0 | 1.4606 | 0 | 188.686 | 24.5 | 970.248 | 56.9377 | -0.26972
2019-09-04 20:00:00 | 0 | 27.1428 | 3.428 | 75.6206 | 0 | 9.7373 | 0 | 208.89 | 24.42 | 970.248 | 57.6876 | -0.28081
2019-09-04 20:15:00 | 0.99933 | 37.1483 | 3.1723 | 80.2955 | 0 | 20.7894 | 0 | 222.938 | 24.18 | 969.951 | 57.2107 | -0.22908
2019-09-04 20:30:00 | 0 | 61.3704 | 3.6837 | 115.57 | 0 | 52.7771 | 0 | 244.63 | 24.32 | 970.1 | 56.3928 | -0.077592
2019-09-04 20:45:00 | 0 | 61.4678 | 4.195 | 118.929 | 0 | 62.7093 | 0 | 243.704 | 24.17 | 970.248 | 56.3246 | 0.39535
2019-09-04 21:00:00 | 0 | 70.2558 | 3.9393 | 124.65 | 0 | 64.316 | 0 | 243.218 | 24.03 | 970.248 | 53.7334 | 1.5925
2019-09-04 21:15:00 | 0 | 71.473 | 2.4053 | 150.406 | 0 | 64.6568 | 0 | 258.359 | 24.04 | 970.1 | 53.8357 | 1.4521
2019-09-04 21:30:00 | 0 | 74.662 | 2.1497 | 134.242 | 0 | 69.4768 | 0 | 235.647 | 24.11 | 970.1 | 51.7559 | 0.96066
2019-09-04 21:45:00 | 0 | 89.8768 | 3.428 | 140.766 | 0 | 79.8716 | 0 | 271.773 | 24.25 | 970.248 | 50.5966 | 0.73897
2019-09-04 22:00:00 | 0 | 101.367 | 3.9393 | 148.604 | 0 | 102.341 | 0 | 284.334 | 23.88 | 970.1 | 50.0511 | 2.1578
2019-09-04 22:15:00 | 0 | 109.571 | 3.9393 | 157.733 | 0 | 114.853 | 0 | 292.66 | 24.42 | 970.248 | 51.5513 | 2.7157
2019-09-04 22:30:00 | 0 | 142.581 | 4.195 | 192.52 | 0 | 136.057 | 0 | 310.577 | 23.22 | 970.248 | 55.7791 | 3.3401
2019-09-04 22:45:00 | 0 | 136.105 | 3.6837 | 197.973 | 0 | 148.35 | 0 | 318.975 | 22.91 | 969.951 | 61.9161 | 3.2958
2019-09-04 23:00:00 | 0 | 159.335 | 3.9393 | 193.746 | 0 | 150.352 | 0 | 331.452 | 23.14 | 969.803 | 62.805 | 2.8081
2019-09-04 23:15:00 | 0 | 144.257 | 3.9393 | 196.908 | 0 | 145.401 | 0 | 323.135 | 22.88 | 969.951 | 63.357 | 2.7674
2019-09-04 23:30:00 | 0 | 154.633 | 3.9393 | 202.977 | 0 | 143.262 | 0 | 332.42 | 23 | 969.655 | 62.9155 | 2.845
2019-09-04 23:45:00 | 0 | 152.856 | 4.962 | 204.779 | 0 | 150.616 | 0 | 331.739 | 23.15 | 969.951 | 62.3359 | 2.3499