## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-09-05 00:00:00 | 0 | 150.786 | 4.195 | 199.228 | 0 | 146.233 | 0 | 326.845 | 23.17 | 969.655 | 61.7221 | 1.4632
2019-09-05 00:15:00 | 0 | 157.089 | 4.195 | 208.233 | 0 | 153.656 | 0 | 337.991 | 23.32 | 969.803 | 59.8796 | 1.4188
2019-09-05 00:30:00 | 0 | 167.415 | 3.428 | 207.213 | 0 | 150.396 | 0 | 348.464 | 23.58 | 969.655 | 60.4259 | 0.92741
2019-09-05 00:45:00 | 0 | 169.996 | 3.9393 | 209.745 | 0 | 157.725 | 0 | 63.5963 | 23.36 | 969.506 | 62.2675 | 0.83873
2019-09-05 01:00:00 | 0 | 168.073 | 2.9167 | 218.754 | 0 | 158.455 | 0 | 356.792 | 23.02 | 969.21 | 62.8132 | 0.73158
2019-09-05 01:15:00 | 0 | 176.595 | 2.9167 | 210.988 | 0 | 154.852 | 0 | 8.6191 | 22.81 | 969.21 | 63.8022 | 0.44708
2019-09-05 01:30:00 | 0 | 186.017 | 3.428 | 221.409 | 0 | 164.494 | 0 | 12.0522 | 22.9 | 969.358 | 64.8934 | 0.38796
2019-09-05 01:45:00 | 0 | 202.525 | 3.1723 | 242.908 | 0 | 172.967 | 0 | 38.6643 | 22.68 | 969.21 | 66.0869 | 0.22908
2019-09-05 02:00:00 | 0 | 210.463 | 3.428 | 244.052 | 0 | 193.03 | 0 | 38.1287 | 22.69 | 969.21 | 66.3938 | 0.48402
2019-09-05 02:15:00 | 0 | 221.468 | 3.428 | 256.64 | 0 | 197.753 | 0 | 50.5461 | 22.66 | 969.21 | 66.4279 | 0.40274
2019-09-05 02:30:00 | 0 | 224.097 | 3.428 | 259.318 | 0 | 197.315 | 0 | 50.2052 | 22.69 | 969.358 | 66.4961 | 0.26233
2019-09-05 02:45:00 | 0 | 214.748 | 3.428 | 255.082 | 0 | 204.132 | 0 | 50.5948 | 22.68 | 969.21 | 66.2233 | 0.73527
2019-09-05 03:00:00 | 0 | 207.249 | 3.1723 | 258.101 | 0 | 206.08 | 0 | 39.4678 | 22.69 | 968.913 | 66.6326 | 1.3708
2019-09-05 03:15:00 | 0 | 216.574 | 3.6837 | 259.05 | 0 | 202.696 | 0 | 42.9982 | 22.5 | 968.915 | 66.462 | 2.7933
2019-09-05 03:30:00 | 0 | 202.963 | 3.9393 | 241.593 | 0 | 187.576 | 0 | 24.007 | 22.32 | 968.617 | 67.6897 | 2.8229
2019-09-05 03:45:00 | 0 | 198.63 | 3.9393 | 247.583 | 0 | 195.27 | 0 | 30.0452 | 22.15 | 968.617 | 68.3376 | 3.3512
2019-09-05 04:00:00 | 0 | 203.864 | 3.428 | 249.506 | 0 | 201.624 | 0 | 35.913 | 21.94 | 968.658 | 69.2924 | 3.5212
2019-09-05 04:15:00 | 0 | 220.737 | 4.195 | 250.09 | 0 | 194.783 | 0 | 45.3113 | 21.86 | 968.812 | 69.838 | 3.2367
2019-09-05 04:30:00 | 0 | 208.417 | 3.9393 | 245.878 | 0 | 193.565 | 0 | 34.7443 | 21.76 | 968.766 | 70.52 | 3.3365
2019-09-05 04:45:00 | 0.372 | 203.116 | 3.6837 | 243.209 | 0 | 193.231 | 0 | 27.027 | 21.55 | 968.914 | 71.5455 | 2.5938
2019-09-05 05:00:00 | 0 | 205.524 | 3.6837 | 237.191 | 0 | 206.06 | 0 | 33.065 | 21.45 | 968.755 | 71.8855 | 3.2662
2019-09-05 05:15:00 | 0 | 205.271 | 4.4507 | 241.959 | 0 | 193.608 | 0 | 31.4116 | 21.32 | 968.912 | 72.0955 | 3.4584
2019-09-05 05:30:00 | 0 | 209.267 | 3.9393 | 249.364 | 0 | 198.845 | 0 | 35.1132 | 21.38 | 968.912 | 71.6869 | 2.8302
2019-09-05 05:45:00 | 0 | 214.974 | 3.428 | 266.08 | 0 | 196.613 | 0 | 38.2803 | 21.31 | 969.061 | 71.5534 | 3.5766
2019-09-05 06:00:00 | 0 | 215.997 | 3.6837 | 248.036 | 0 | 190.745 | 0 | 35.066 | 21.33 | 969.506 | 72.2016 | 3.148
2019-09-05 06:15:00 | 0 | 208.44 | 3.9393 | 246.54 | 0 | 193.634 | 0 | 33.0435 | 21.46 | 969.506 | 71.7553 | 2.8857
2019-09-05 06:30:00 | 0 | 208.175 | 3.428 | 251.901 | 0 | 205.277 | 0 | 58.2714 | 21.46 | 969.654 | 71.006 | 2.1208
2019-09-05 06:45:00 | 0 | 204.207 | 3.428 | 257.276 | 0 | 192.788 | 0 | 38.2508 | 21.67 | 969.559 | 69.907 | 1.6701
2019-09-05 07:00:00 | 0 | 227.847 | 3.428 | 235.092 | 0 | 179.59 | 0 | 35.3287 | 21.84 | 969.511 | 69.7698 | 0.69463
2019-09-05 07:15:00 | 2.1373 | 199.454 | 3.428 | 242.489 | 0 | 185.868 | 0 | 28.7056 | 22.06 | 969.803 | 68.3364 | 0.35101
2019-09-05 07:30:00 | 0 | 203.513 | 2.4053 | 245.2 | 0 | 171.964 | 0 | 37.611 | 22.1 | 970.1 | 68.1897 | -0.23278
2019-09-05 07:45:00 | 0.88267 | 192.599 | 2.661 | 231.119 | 0 | 177.775 | 0 | 34.6153 | 22.27 | 970.397 | 68.6641 | -0.36579
2019-09-05 08:00:00 | 0.372 | 192.234 | 3.428 | 231.452 | 0 | 181.963 | 0 | 24.9481 | 22.47 | 970.397 | 67.9053 | -0.31776
2019-09-05 08:15:00 | 0.88267 | 178.74 | 2.9167 | 221.484 | 0 | 168.761 | 0 | 18.8865 | 22.93 | 970.67 | 65.9927 | -0.29189
2019-09-05 08:30:00 | 0 | 184.049 | 2.661 | 191.475 | 0 | 174.996 | 0 | 18.0082 | 22.97 | 970.619 | 65.4738 | -0.26972
2019-09-05 08:45:00 | 0 | 162.463 | 3.6837 | 216.053 | 0 | 176.724 | 0 | 356.805 | 23.13 | 970.843 | 66.5985 | -0.26972
2019-09-05 09:00:00 | 0.62733 | 189.157 | 3.1723 | 230.554 | 0 | 185.677 | 0 | 8.1766 | 23.63 | 970.99 | 64.1438 | -0.22539
2019-09-05 09:15:00 | 0 | 191.341 | 3.9393 | 233.199 | 0 | 168.102 | 0 | 18.7861 | 23.89 | 971.139 | 62.3695 | -0.070202
2019-09-05 09:30:00 | 0 | 188.646 | 2.661 | 231.722 | 0 | 169.177 | 0 | 1.7521 | 24.22 | 971.435 | 61.0081 | -0.25125
2019-09-05 09:45:00 | 0 | 171.71 | 3.9393 | 215.167 | 0 | 172.853 | 0 | 343.079 | 24.86 | 971.085 | 60.3184 | -0.25125
2019-09-05 10:00:00 | 0.88267 | 197.39 | 2.4053 | 247.866 | 0 | 196.758 | 0 | 52.279 | 25.3 | 971.584 | 54.6509 | -0.24016
2019-09-05 10:15:00 | 0 | 240.035 | 1.6383 | 257.086 | 0 | 180.969 | 0 | 24.546 | 25.54 | 971.287 | 55.5366 | -0.25125
2019-09-05 10:30:00 | 0 | 183.548 | 3.428 | 226.579 | 0 | 198.801 | 0 | 354.081 | 25.77 | 971.436 | 57.6491 | -0.25125
2019-09-05 10:45:00 | 0 | 208.155 | 3.428 | 258.919 | 0 | 202.269 | 0 | 339.685 | 25.45 | 971.436 | 55.3632 | -0.26233
2019-09-05 11:00:00 | 0 | 175.613 | 3.9393 | 219.349 | 0 | 170.869 | 0 | 352.564 | 25.53 | 971.287 | 56.4211 | -0.26972
2019-09-05 11:15:00 | 0 | 190.457 | 2.661 | 236.991 | 0 | 215.003 | 0 | 34.2768 | 25.47 | 970.991 | 54.4804 | 0.11454
2019-09-05 11:30:00 | 0 | 158.126 | 3.9393 | 212.275 | 0 | 160.461 | 1.6383 | 348.315 | 25.58 | 970.991 | 53.6286 | 0.3621
2019-09-05 11:45:00 | 0 | 179.339 | 4.962 | 225.606 | 0 | 170.046 | 5.9847 | 0.92443 | 25.58 | 970.695 | 52.6746 | 2.2058
2019-09-05 12:00:00 | 0 | 191.868 | 6.496 | 242.83 | 0 | 193.498 | 5.9847 | 13.8908 | 26.07 | 970.25 | 51.6184 | 3.6985
2019-09-05 12:15:00 | 0 | 210.746 | 5.729 | 245.214 | 0 | 199.19 | 0 | 15.5693 | 26.4 | 970.546 | 51.7206 | 3.4916
2019-09-05 12:30:00 | 0 | 203.374 | 5.9847 | 247.014 | 0 | 198.631 | 0 | 21.3835 | 25.88 | 970.398 | 50.5962 | 2.8635
2019-09-05 12:45:00 | 0 | 177.198 | 4.962 | 225.193 | 0 | 195.152 | 5.4733 | 355.784 | 25.98 | 970.695 | 51.1414 | 3.2219
2019-09-05 13:00:00 | 0 | 180.361 | 3.428 | 223.976 | 0 | 194.495 | 3.308 | 346.004 | 26.1 | 969.805 | 51.7206 | 4.2934
2019-09-05 13:15:00 | 0.372 | 189.156 | 6.2403 | 233.651 | 0 | 193 | 1.127 | 0.3406 | 26.04 | 970.2 | 51.247 | 3.7244
2019-09-05 13:30:00 | 0.372 | 189.907 | 5.9847 | 236.567 | 0 | 193.216 | 0.37567 | 0.92448 | 26.18 | 969.551 | 50.0878 | 5.4536
2019-09-05 13:45:00 | 0 | 180.469 | 4.195 | 206.694 | 0 | 161.444 | 0 | 9.5125 | 26.59 | 969.752 | 50.5312 | 2.5901
2019-09-05 14:00:00 | 0 | 190.021 | 4.195 | 226.923 | 0 | 179.682 | 0 | 3.4058 | 26.73 | 969.683 | 50.665 | 0.68355
2019-09-05 14:15:00 | 0 | 132.218 | 3.9393 | 183.618 | 0 | 134.383 | 0 | 349.094 | 26.97 | 969.805 | 49.8808 | 0.30667
2019-09-05 14:30:00 | 0 | 142.751 | 4.195 | 192.521 | 0 | 135.186 | 0 | 309.976 | 27.19 | 970.102 | 49.6423 | 0.43599
2019-09-05 14:45:00 | 0 | 204.007 | 4.7063 | 235.945 | 0 | 181.918 | 0 | 33.0605 | 26.96 | 970.398 | 47.0869 | 0.036949
2019-09-05 15:00:00 | 0 | 213.105 | 3.428 | 221.519 | 0 | 166.884 | 0 | 28.7059 | 27.18 | 970.398 | 45.9966 | 0.86829
2019-09-05 15:15:00 | 0 | 193.236 | 4.7063 | 240.373 | 0 | 199.731 | 0 | 29.8466 | 27.38 | 969.953 | 47.4572 | 1.9509
2019-09-05 15:30:00 | 0 | 150.935 | 2.9167 | 188.025 | 0 | 129.408 | 0 | 324.201 | 27.24 | 970.102 | 46.9121 | 1.1676
2019-09-05 15:45:00 | 0 | 155.598 | 1.894 | 185.048 | 0 | 156.596 | 0 | 336.931 | 27.12 | 970.25 | 45.9901 | 1.1417
2019-09-05 16:00:00 | 0 | 168.218 | 4.4507 | 208.929 | 0 | 150.754 | 0 | 13.5966 | 27.45 | 970.398 | 45.9209 | 1.2156
2019-09-05 16:15:00 | 0 | 109.283 | 3.1723 | 178.913 | 0 | 170.65 | 0.37567 | 298.467 | 27.66 | 969.953 | 46.3976 | 1.5555
2019-09-05 16:30:00 | 0 | 137.867 | 5.4733 | 185 | 0 | 122.981 | 2.7967 | 323.797 | 27.2 | 969.953 | 46.9441 | 1.3966
2019-09-05 16:45:00 | 0 | 139.727 | 3.9393 | 202.069 | 0 | 146.659 | 0 | 323.239 | 26.95 | 969.657 | 48.1744 | 2.2428
2019-09-05 17:00:00 | 0 | 132.583 | 4.4507 | 179.944 | 0 | 130.977 | 0 | 318.223 | 26.83 | 969.36 | 50.971 | 1.0678
2019-09-05 17:15:00 | 0 | 172.041 | 2.9167 | 206.242 | 0 | 143.627 | 0 | 5.2546 | 26.68 | 969.36 | 51.3799 | 0.76853
2019-09-05 17:30:00 | 0 | 179.631 | 2.9167 | 199.771 | 0 | 162.602 | 0 | 355.2 | 26.61 | 968.916 | 51.5503 | 1.7366
2019-09-05 17:45:00 | 0 | 181.066 | 3.6837 | 223.076 | 0 | 186.929 | 0 | 356.586 | 26.36 | 968.471 | 52.0954 | 2.2576
2019-09-05 18:00:00 | 0 | 161.896 | 3.6837 | 210.275 | 0 | 161.871 | 0 | 342.748 | 26.18 | 968.457 | 53.031 | 3.7059
2019-09-05 18:15:00 | 0 | 167.413 | 4.195 | 217.493 | 0 | 174.81 | 0 | 348.818 | 25.91 | 968.025 | 52.0746 | 6.2295
2019-09-05 18:30:00 | 0 | 157.863 | 3.9393 | 208.752 | 0 | 176.237 | 0 | 342.325 | 25.66 | 967.728 | 53.8854 | 9.1595
2019-09-05 18:45:00 | 0 | 179.084 | 5.729 | 226.469 | 0 | 168.887 | 5.9847 | 337.118 | 25.34 | 967.588 | 52.9652 | 11.587
2019-09-05 19:00:00 | 1.7653 | 157.092 | 4.195 | 195.938 | 0 | 148.988 | 5.2177 | 345.53 | 25.25 | 968.012 | 52.0134 | 10.6412
2019-09-05 19:15:00 | 0 | 159.253 | 3.9393 | 204.216 | 0 | 152.56 | 2.9167 | 346.765 | 25.27 | 967.875 | 51.8834 | 8.5868
2019-09-05 19:30:00 | 0 | 156.698 | 4.4507 | 201.344 | 0 | 147.497 | 0 | 340.802 | 25.13 | 968.022 | 52.9743 | 8.7457
2019-09-05 19:45:00 | 0 | 155.53 | 4.7063 | 202.293 | 0 | 152.852 | 0 | 343.358 | 25.05 | 968.023 | 53.3151 | 7.4858
2019-09-05 20:00:00 | 0 | 161.104 | 4.7063 | 208.403 | 0 | 167.018 | 0 | 346.961 | 24.92 | 968.023 | 54.4743 | 7.9365
2019-09-05 20:15:00 | 0 | 162.209 | 4.195 | 207.662 | 0 | 164.838 | 0 | 348.078 | 24.92 | 968.172 | 54.8868 | 6.3219
2019-09-05 20:30:00 | 0 | 151.96 | 3.9393 | 205.761 | 0 | 149.769 | 0 | 336.683 | 24.78 | 968.468 | 55.9771 | 4.6814
2019-09-05 20:45:00 | 0 | 155.429 | 3.428 | 197.942 | 0 | 150.049 | 0 | 339.193 | 24.75 | 968.32 | 55.8454 | 2.6381
2019-09-05 21:00:00 | 0.62733 | 156.918 | 3.428 | 202.012 | 0 | 158.524 | 0 | 348.622 | 24.8 | 968.468 | 55.8467 | 1.622
2019-09-05 21:15:00 | 0 | 160.766 | 3.9393 | 204.911 | 0 | 153.073 | 0 | 347.774 | 24.79 | 968.468 | 56.1882 | 1.3154
2019-09-05 21:30:00 | 0 | 158.501 | 3.6837 | 199.628 | 0 | 148.399 | 0 | 344.511 | 24.77 | 968.468 | 56.188 | 0.77961
2019-09-05 21:45:00 | 0 | 159.789 | 3.9393 | 201.45 | 0 | 147.909 | 0 | 343.409 | 24.79 | 968.468 | 56.1188 | 0.61334
2019-09-05 22:00:00 | 0.744 | 159.11 | 3.6837 | 200.943 | 0 | 152.659 | 0 | 344.025 | 24.79 | 968.616 | 56.5291 | 0.1441
2019-09-05 22:15:00 | 1.51 | 158.891 | 4.195 | 203.864 | 0 | 145.453 | 0 | 342.808 | 24.64 | 968.616 | 56.9383 | 0.18844
2019-09-05 22:30:00 | 0 | 158.915 | 3.428 | 205.301 | 0 | 149.081 | 0 | 346.24 | 24.71 | 968.616 | 56.8701 | 0.15888
2019-09-05 22:45:00 | 0 | 161.399 | 2.9167 | 211.07 | 0 | 185.061 | 0 | 0.19475 | 24.71 | 968.616 | 56.6655 | -0.014779
2019-09-05 23:00:00 | 0 | 165.172 | 3.428 | 219.177 | 0 | 174.398 | 0 | 1.3146 | 24.57 | 968.468 | 56.7678 | 0.088676
2019-09-05 23:15:00 | 0 | 170.26 | 3.6837 | 213.456 | 0 | 182.334 | 0 | 4.8931 | 24.56 | 968.616 | 57.4156 | 0.25125
2019-09-05 23:30:00 | 0 | 173.23 | 3.1723 | 217.399 | 0 | 165.951 | 0 | 7.5709 | 24.51 | 968.468 | 57.3815 | 0.22908
2019-09-05 23:45:00 | 0 | 173.129 | 3.6837 | 211.237 | 0 | 160.276 | 0 | 0.53555 | 24.48 | 968.32 | 56.7328 | 0.54314