## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-09-06 00:00:00 | 0 | 170.6 | 3.6837 | 210.096 | 0 | 164.807 | 0 | 353.714 | 24.44 | 968.172 | 57.1428 | 0.59118
2019-09-06 00:15:00 | 0 | 165.513 | 3.6837 | 202.672 | 0 | 149.616 | 0 | 350.5 | 24.15 | 968.023 | 57.8247 | 0.7168
2019-09-06 00:30:00 | 0 | 163.078 | 3.6837 | 201.552 | 0 | 152.537 | 0 | 351.547 | 24.09 | 968.023 | 57.5179 | 0.93849
2019-09-06 00:45:00 | 0 | 159.694 | 3.9393 | 203.499 | 0 | 148.107 | 0 | 349.234 | 23.99 | 967.875 | 58.5748 | 0.50619
2019-09-06 01:00:00 | 0 | 162.007 | 2.9167 | 204.473 | 0 | 151.953 | 0 | 352.642 | 24.13 | 967.726 | 58.3703 | 0.092371
2019-09-06 01:15:00 | 0 | 161.764 | 3.1723 | 200.846 | 0 | 154.534 | 0 | 344.852 | 24.13 | 967.875 | 58.4044 | 0.27342
2019-09-06 01:30:00 | 0.372 | 160.741 | 3.9393 | 201.26 | 0 | 150.639 | 0 | 346.8 | 24.12 | 967.875 | 58.7112 | 0.787
2019-09-06 01:45:00 | 0 | 157.26 | 3.9393 | 199.994 | 0 | 152.391 | 0 | 343.343 | 23.91 | 967.875 | 59.4613 | 0.82395
2019-09-06 02:00:00 | 0 | 161.691 | 3.1723 | 207.54 | 0 | 154.582 | 0 | 350.305 | 23.87 | 967.578 | 60.1432 | 0.58379
2019-09-06 02:15:00 | 1.3713 | 169.067 | 3.1723 | 218.617 | 0 | 157.552 | 0.37567 | 0.19475 | 23.89 | 967.43 | 58.8135 | 0.20322
2019-09-06 02:30:00 | 0 | 171.16 | 2.1497 | 217.132 | 0 | 136.519 | 0 | 356.732 | 23.81 | 967.43 | 58.984 | -0.10715
2019-09-06 02:45:00 | 0.372 | 173.791 | 3.1723 | 215.064 | 0 | 162.617 | 0 | 0.24344 | 24 | 967.43 | 57.2796 | -0.3584
2019-09-06 03:00:00 | 0 | 180.508 | 2.9167 | 222.268 | 0 | 167.606 | 0 | 3.1647 | 24.15 | 967.578 | 57.8589 | -0.30298
2019-09-06 03:15:00 | 0 | 181.677 | 2.1497 | 231.178 | 0 | 169.164 | 0 | 7.2788 | 23.93 | 967.43 | 59.1204 | -0.26972
2019-09-06 03:30:00 | 0.372 | 181.774 | 2.661 | 224.922 | 0 | 165.294 | 0 | 6.8162 | 23.98 | 967.578 | 59.2227 | -0.26972
2019-09-06 03:45:00 | 0 | 181.872 | 2.4053 | 228.622 | 0 | 178.098 | 0 | 6.9136 | 24.01 | 967.43 | 59.5295 | -0.25125
2019-09-06 04:00:00 | 0 | 181.993 | 2.661 | 233.369 | 0 | 187.836 | 0 | 14.7036 | 24.02 | 967.43 | 59.8023 | -0.25125
2019-09-06 04:15:00 | 1.2547 | 181.068 | 3.1723 | 223.778 | 0 | 167.874 | 0 | 2.6291 | 23.96 | 967.726 | 59.8705 | -0.12932
2019-09-06 04:30:00 | 0.372 | 179.9 | 2.9167 | 224.557 | 0 | 167.436 | 0 | 15.58 | 23.34 | 967.43 | 60.6887 | 0.26972
2019-09-06 04:45:00 | 1.2547 | 177.029 | 2.9167 | 211.973 | 0 | 146.575 | 0 | 0.19475 | 23.43 | 967.726 | 61.0984 | 2.4312
2019-09-06 05:00:00 | 0 | 154.151 | 2.9167 | 222.985 | 0 | 140.907 | 0 | 356.066 | 22.87 | 967.726 | 62.3961 | 2.7711
2019-09-06 05:15:00 | 0.372 | 158.844 | 2.9167 | 198.106 | 0 | 141.216 | 1.2627 | 0.19478 | 22.88 | 967.875 | 61.9262 | 2.4238
2019-09-06 05:30:00 | 0 | 153.099 | 2.9167 | 194.918 | 0 | 130.602 | 0 | 60.7965 | 23.04 | 967.726 | 62.6087 | 2.7194
2019-09-06 05:45:00 | 0 | 151.419 | 3.9393 | 189.61 | 0 | 159.989 | 0 | 341.623 | 22.84 | 967.726 | 62.9495 | 2.2021
2019-09-06 06:00:00 | 0 | 153.27 | 3.1723 | 188.563 | 0 | 148.181 | 0 | 6.4035 | 22.84 | 967.875 | 61.8585 | 1.0013
2019-09-06 06:15:00 | 0 | 149.033 | 0.37567 | 181.722 | 0 | 37.593 | 0 | 340.236 | 23.02 | 967.875 | 63.0861 | 0.25864
2019-09-06 06:30:00 | 0 | 148.205 | 1.6383 | 67.8469 | 0 | 27.9513 | 0 | 211.68 | 22.73 | 968.023 | 62.1313 | 0.67246
2019-09-06 06:45:00 | 0 | 148.541 | 0 | 67.7222 | 0 | 30.9694 | 0 | 211.746 | 23.37 | 968.765 | 60.3219 | 1.0456
2019-09-06 07:00:00 | 0 | 148.984 | 2.4053 | 195.685 | 0 | 146.452 | 0 | 325.573 | 23.05 | 968.765 | 63.3482 | 1.7772
2019-09-06 07:15:00 | 6.478 | 145.761 | 2.4053 | 190.536 | 0 | 148.706 | 0 | 323.264 | 22.68 | 968.913 | 63.7533 | 1.3708
2019-09-06 07:30:00 | 0 | 145.21 | 0 | 166.855 | 0 | 120.725 | 0 | 298.793 | 23.23 | 969.21 | 60.9854 | 0.60965
2019-09-06 07:45:00 | 0 | 145.246 | 0 | 166.863 | 0 | 120.811 | 0 | 298.694 | 24.41 | 969.803 | 57.7419 | -0.32515
2019-09-06 08:00:00 | 0 | 145.036 | 0 | 86.6602 | 0 | 25.4057 | 0 | 212.712 | 25.3 | 969.659 | 55.4865 | -0.32145
2019-09-06 08:15:00 | 0 | 74.6545 | 1.3827 | 75.8731 | 0 | 60.3465 | 0 | 211.821 | 25.19 | 969.88 | 57.3911 | -0.25125
2019-09-06 08:30:00 | 0 | 73.0788 | 0.75133 | 62.4204 | 0 | 9.8282 | 0 | 214.103 | 25.15 | 969.954 | 56.8315 | -0.26972
2019-09-06 08:45:00 | 0 | 56.9984 | 2.661 | 103.022 | 0 | 28.3411 | 0 | 209.7 | 25.04 | 969.953 | 60.3067 | -0.25125
2019-09-06 09:00:00 | 0 | 28.316 | 3.6837 | 71.1513 | 0 | 345.995 | 0 | 195.293 | 25.04 | 970.25 | 58.6697 | -0.25125
2019-09-06 09:15:00 | 0 | 26.5611 | 1.894 | 37.4031 | 0 | 80.2428 | 0 | 203.222 | 25.08 | 970.25 | 58.4578 | -0.24016
2019-09-06 09:30:00 | 0 | 18.7773 | 1.894 | 65.8114 | 0 | 7.4428 | 0 | 212.704 | 25.62 | 970.398 | 56.6854 | -0.24016
2019-09-06 09:45:00 | 0 | 8.6585 | 2.9167 | 59.4584 | 0 | 46.9892 | 0 | 217.045 | 25.5 | 970.25 | 58.8622 | -0.25125
2019-09-06 10:00:00 | 0 | 6.2258 | 0.75133 | 100.625 | 0 | 58.4158 | 0 | 172.183 | 25.64 | 970.546 | 56.0306 | -0.24016
2019-09-06 10:15:00 | 0 | 3.2587 | 1.894 | 78.4425 | 0 | 356.976 | 0 | 204.108 | 26.59 | 970.546 | 55.7221 | -0.26972
2019-09-06 10:30:00 | 0 | 19.6496 | 4.4507 | 55.5828 | 0 | 10.7003 | 0 | 163.617 | 26.46 | 970.398 | 51.3965 | -0.26972
2019-09-06 10:45:00 | 0 | 6.2499 | 2.4053 | 61.9057 | 0 | 35.8946 | 0 | 207.926 | 26.57 | 970.102 | 52.3842 | -0.15518
2019-09-06 11:00:00 | 0 | 28.1369 | 1.3827 | 73.3842 | 0 | 278.207 | 0 | 205.226 | 27.34 | 970.25 | 53.5422 | -0.25494
2019-09-06 11:15:00 | 0 | 356.806 | 2.661 | 55.4369 | 0 | 1.6537 | 0.37567 | 156.102 | 26.93 | 970.25 | 54.0191 | -0.13301
2019-09-06 11:30:00 | 0 | 336.791 | 2.661 | 67.6936 | 0 | 20.5251 | 0 | 141.9 | 26.54 | 969.805 | 53.7807 | -0.15149
2019-09-06 11:45:00 | 0 | 26.5318 | 3.1723 | 60.7871 | 0 | 316.412 | 0 | 205.688 | 27.12 | 970.102 | 50.8175 | -0.15149
2019-09-06 12:00:00 | 0 | 22.276 | 2.9167 | 82.3092 | 0 | 74.5128 | 0 | 176.092 | 26.81 | 969.657 | 52.248 | -0.15518
2019-09-06 12:15:00 | 0 | 15.8802 | 4.195 | 43.9098 | 0 | 23.5406 | 0 | 198.49 | 27.88 | 969.212 | 51.9074 | -0.033254
2019-09-06 12:30:00 | 0 | 11.4549 | 3.6837 | 75.141 | 0 | 28.9898 | 0 | 186.537 | 26.88 | 969.212 | 48.4703 | -0.036948
2019-09-06 12:45:00 | 0 | 350.572 | 4.4507 | 53.0916 | 0 | 336.44 | 0 | 202.054 | 28.24 | 969.36 | 46.228 | 0.55792
2019-09-06 13:00:00 | 0 | 13.1345 | 3.1723 | 60.7527 | 0 | 45.3869 | 0 | 201.906 | 28.68 | 969.36 | 46.1935 | 1.1269
2019-09-06 13:15:00 | 0 | 29.674 | 2.9167 | 85.6103 | 0 | 30.2578 | 1.6383 | 211.537 | 27.43 | 969.064 | 46.1932 | 0.60965
2019-09-06 13:30:00 | 0 | 17.1968 | 2.9167 | 30.7876 | 0 | 7.6133 | 1.007 | 227.425 | 28.63 | 968.916 | 44.4229 | 1.7218
2019-09-06 13:45:00 | 0 | 314.156 | 2.1497 | 12.8977 | 0 | 306.932 | 0 | 138.544 | 28.59 | 968.768 | 49.668 | 2.664
2019-09-06 14:00:00 | 0 | 37.579 | 4.195 | 78.8485 | 0 | 287.205 | 0 | 209.25 | 28.2 | 968.916 | 48.4415 | 2.6455
2019-09-06 14:15:00 | 0 | 351.909 | 2.661 | 17.8957 | 0 | 1.8729 | 1.1427 | 181.354 | 28.49 | 968.916 | 50.0433 | 2.8968
2019-09-06 14:30:00 | 0 | 30.0373 | 4.4507 | 22.6602 | 0 | 302.221 | 0 | 253.335 | 28.58 | 969.064 | 50.04 | 4.1715
2019-09-06 14:45:00 | 0 | 20.574 | 3.428 | 58.9643 | 0 | 325.074 | 0 | 195.259 | 28.17 | 968.768 | 50.6138 | 4.8144
2019-09-06 15:00:00 | 0 | 278.99 | 5.9847 | 3.317 | 0 | 321.889 | 0 | 131.324 | 28.55 | 968.916 | 48.7407 | 6.3367
2019-09-06 15:15:00 | 0 | 288.056 | 3.6837 | 25.5248 | 0 | 333.873 | 0 | 119.454 | 28.52 | 968.768 | 48.4333 | 6.1704
2019-09-06 15:30:00 | 0 | 33.3168 | 1.894 | 46.6335 | 0 | 316.169 | 0 | 222.833 | 28.71 | 968.768 | 48.4333 | 6.0817
2019-09-06 15:45:00 | 0 | 326.772 | 3.428 | 13.8473 | 0 | 333.387 | 0 | 258.193 | 28.25 | 968.619 | 49.7957 | 6.4808
2019-09-06 16:00:00 | 0 | 325.167 | 2.661 | 328.586 | 0 | 296.3 | 0 | 150.387 | 28.1 | 968.471 | 50 | 6.4586
2019-09-06 16:15:00 | 0 | 20.3309 | 3.6837 | 61.0073 | 0 | 339.496 | 0 | 164.568 | 27.95 | 968.175 | 51.6698 | 6.9131
2019-09-06 16:30:00 | 0 | 25.0268 | 3.9393 | 71.5462 | 0 | 0.072965 | 0 | 157.336 | 27.75 | 967.878 | 51.6066 | 6.8946
2019-09-06 16:45:00 | 0 | 20.2367 | 3.428 | 50.4392 | 0 | 9.0724 | 0 | 183.444 | 27.52 | 967.878 | 49.8041 | 9.1152
2019-09-06 17:00:00 | 0 | 309.051 | 3.6837 | 24.0772 | 0 | 25.882 | 2.0297 | 159.622 | 27.18 | 967.582 | 50.6944 | 8.4575
2019-09-06 17:15:00 | 0 | 343.012 | 4.195 | 38.9202 | 0 | 17.3939 | 3.428 | 164.475 | 26.95 | 967.433 | 51.2436 | 9.0819
2019-09-06 17:30:00 | 0 | 341.041 | 4.195 | 53.7111 | 0 | 7.0792 | 0 | 153.382 | 26.75 | 966.989 | 50.8688 | 9.5438
2019-09-06 17:45:00 | 0 | 352.426 | 5.9847 | 21.8912 | 0 | 13.1853 | 0.37567 | 180.872 | 26.57 | 967.137 | 51.1073 | 9.2556
2019-09-06 18:00:00 | 0 | 83.3706 | 4.962 | 68.1402 | 0 | 4.3316 | 0 | 178.324 | 26.37 | 966.833 | 52.1457 | 9.9022
2019-09-06 18:15:00 | 0 | 355.895 | 5.4733 | 37.0893 | 0 | 0.70571 | 1.2627 | 175.186 | 26.16 | 966.245 | 53.032 | 10.8
2019-09-06 18:30:00 | 0 | 10.7076 | 5.2177 | 57.4838 | 0 | 11.5836 | 0 | 187.723 | 25.96 | 966.393 | 53.5106 | 12.2891
2019-09-06 18:45:00 | 0 | 19.2006 | 3.428 | 63.081 | 0 | 41.5648 | 0 | 196.046 | 25.72 | 966.275 | 54.1922 | 13.4234
2019-09-06 19:00:00 | 0 | 7.6903 | 5.9847 | 58.7523 | 0 | 9.9779 | 0 | 191.113 | 25.58 | 966.177 | 54.467 | 14.5318
2019-09-06 19:15:00 | 0 | 2.8234 | 4.7063 | 53.1155 | 0 | 3.8943 | 1.2627 | 188.533 | 25.43 | 966.391 | 55.2238 | 12.5071
2019-09-06 19:30:00 | 0 | 10.393 | 4.195 | 62.2432 | 0 | 12.4618 | 0 | 191.114 | 25.3 | 966.539 | 55.6332 | 13.4566
2019-09-06 19:45:00 | 0 | 17.4028 | 5.4733 | 66.1132 | 0 | 16.5996 | 0 | 198.099 | 25.35 | 966.688 | 55.2923 | 14.9863
2019-09-06 20:00:00 | 0 | 17.8167 | 4.962 | 63.0474 | 0 | 19.6179 | 0 | 204.381 | 25.37 | 966.688 | 55.1566 | 13.6746
2019-09-06 20:15:00 | 0 | 23.366 | 4.4507 | 67.3304 | 0 | 17.3785 | 0 | 206.984 | 25.33 | 966.836 | 54.6106 | 12.9837
2019-09-06 20:30:00 | 0 | 21.0294 | 4.962 | 68.5961 | 0 | 15.4313 | 0 | 194.23 | 25.16 | 966.837 | 55.6333 | 14.8865
2019-09-06 20:45:00 | 0 | 15.48 | 5.4733 | 57.9844 | 0 | 18.7902 | 0 | 200.364 | 24.99 | 966.54 | 55.8381 | 13.6525
2019-09-06 21:00:00 | 0 | 15.3829 | 4.962 | 59.8352 | 0 | 11.7806 | 4.4507 | 198.663 | 25.02 | 966.54 | 56.2479 | 12.1487
2019-09-06 21:15:00 | 0 | 21.1527 | 5.4733 | 63.1747 | 0 | 18.7429 | 5.2177 | 198.821 | 24.94 | 966.391 | 56.3876 | 11.7164
2019-09-06 21:30:00 | 0 | 18.256 | 6.2403 | 69.8194 | 0 | 23.1729 | 4.4507 | 206.731 | 24.99 | 966.391 | 55.91 | 10.4897
2019-09-06 21:45:00 | 0 | 15.4809 | 5.2177 | 84.2043 | 0 | 14.1422 | 0 | 204.173 | 24.7 | 966.391 | 56.7618 | 9.2519
2019-09-06 22:00:00 | 0 | 16.9429 | 5.729 | 69.3155 | 0 | 30.3074 | 0 | 211.056 | 24.65 | 966.243 | 57.0055 | 7.1717
2019-09-06 22:15:00 | 0 | 25.1224 | 5.729 | 77.4711 | 0 | 32.5472 | 0 | 218.653 | 24.54 | 966.243 | 57.6878 | 7.6077
2019-09-06 22:30:00 | 0 | 23.6377 | 4.4507 | 84.0935 | 0 | 28.8229 | 0 | 208.796 | 24.65 | 965.947 | 57.552 | 8.2986
2019-09-06 22:45:00 | 0 | 43.7454 | 4.4507 | 85.4807 | 0 | 55.0408 | 0 | 215.562 | 24.59 | 966.243 | 57.279 | 7.3971
2019-09-06 23:00:00 | 0 | 13.1456 | 3.9393 | 75.0375 | 0 | 23.9541 | 0 | 197.987 | 24.57 | 966.095 | 58.0292 | 6.3736
2019-09-06 23:15:00 | 0 | 35.1517 | 4.195 | 62.7671 | 0 | 36.2471 | 0 | 203.68 | 24.45 | 965.947 | 58.4375 | 6.1926
2019-09-06 23:30:00 | 0 | 17.8196 | 4.962 | 72.0434 | 0 | 19.8401 | 0 | 207.603 | 24.57 | 966.095 | 58.5748 | 3.8944
2019-09-06 23:45:00 | 0 | 18.0387 | 4.4507 | 66.6148 | 0 | 27.7274 | 0 | 203.075 | 24.4 | 965.65 | 59.2226 | 3.6394