## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-09-07 00:00:00 | 0 | 20.3269 | 4.195 | 70.7531 | 0 | 20.3269 | 0 | 201.882 | 24.35 | 965.798 | 59.4612 | 3.6801
2019-09-07 00:15:00 | 0 | 18.6959 | 4.7063 | 70.5341 | 0 | 20.4487 | 0 | 203.343 | 24.36 | 965.65 | 58.9158 | 2.9337
2019-09-07 00:30:00 | 0 | 15.2878 | 4.195 | 65.5679 | 0 | 20.3513 | 0 | 202.247 | 24.41 | 965.798 | 58.7111 | 2.627
2019-09-07 00:45:00 | 0 | 14.801 | 4.195 | 60.3585 | 0 | 12.5126 | 0 | 200.592 | 24.17 | 965.501 | 59.5977 | 3.1702
2019-09-07 01:00:00 | 0 | 10.2243 | 4.195 | 53.6153 | 0 | 24.3193 | 0 | 198.693 | 23.96 | 965.353 | 61.0978 | 2.8266
2019-09-07 01:15:00 | 0 | 7.1083 | 4.7063 | 54.4914 | 0 | 18.5742 | 0 | 192.753 | 23.88 | 965.205 | 61.2341 | 2.93
2019-09-07 01:30:00 | 0 | 6.232 | 4.195 | 54.9785 | 0 | 2.9212 | 0 | 193.289 | 23.47 | 965.057 | 62.7344 | 2.8118
2019-09-07 01:45:00 | 0 | 4.9661 | 3.428 | 49.5255 | 0 | 4.7227 | 0 | 189.394 | 23.36 | 965.205 | 62.8026 | 3.0815
2019-09-07 02:00:00 | 0 | 6.1346 | 3.6837 | 38.2549 | 0 | 0.048688 | 0 | 186.985 | 23.27 | 964.612 | 63.9623 | 3.0224
2019-09-07 02:15:00 | 0 | 3.8953 | 3.428 | 54.4005 | 0 | 13.1467 | 0 | 185.125 | 23.04 | 964.463 | 65.4674 | 3.3734
2019-09-07 02:30:00 | 0 | 10.5667 | 3.9393 | 56.5235 | 0 | 22.0099 | 0 | 190.956 | 22.87 | 964.463 | 65.6081 | 4.2602
2019-09-07 02:45:00 | 0 | 7.3043 | 4.4507 | 63.2688 | 0 | 9.2521 | 0 | 194.537 | 23 | 964.315 | 64.8929 | 4.94
2019-09-07 03:00:00 | 0 | 12.1739 | 4.7063 | 63.4643 | 0 | 12.6609 | 0 | 197.923 | 23.23 | 964.463 | 60.8354 | 5.0582
2019-09-07 03:15:00 | 0.372 | 13.2209 | 4.962 | 59.1791 | 0 | 13.5374 | 0 | 197.339 | 23.38 | 964.315 | 57.4936 | 4.8107
2019-09-07 03:30:00 | 0 | 11.8817 | 4.4507 | 60.4449 | 0 | 17.8225 | 0 | 196.121 | 23.63 | 964.463 | 56.675 | 4.0274
2019-09-07 03:45:00 | 0 | 7.8883 | 4.7063 | 54.0384 | 0 | 57.9452 | 0.37567 | 189.004 | 23.76 | 964.167 | 52.1716 | 4.6777
2019-09-07 04:00:00 | 0 | 7.1087 | 3.9393 | 60.6063 | 0 | 353.149 | 0 | 191.303 | 23.78 | 964.315 | 54.4183 | 4.0791
2019-09-07 04:15:00 | 0 | 1.8989 | 4.4507 | 53.8616 | 0 | 11.1985 | 0 | 187.551 | 23.72 | 964.167 | 53.6673 | 3.3291
2019-09-07 04:30:00 | 0 | 1.1442 | 4.195 | 39.5961 | 0 | 353.608 | 1.774 | 189.719 | 23.64 | 964.315 | 50.4286 | 3.1074
2019-09-07 04:45:00 | 0 | 2.0205 | 4.7063 | 42.3201 | 0 | 356.929 | 0 | 183.309 | 23.55 | 964.315 | 53.6654 | 3.6099
2019-09-07 05:00:00 | 0 | 352.461 | 3.6837 | 39.6929 | 0 | 5.9888 | 0 | 178.348 | 23.19 | 964.315 | 64.0324 | 3.7429
2019-09-07 05:15:00 | 0 | 356.301 | 4.7063 | 35.2201 | 0 | 0.14608 | 0 | 169.556 | 22.37 | 964.315 | 63.665 | 3.754
2019-09-07 05:30:00 | 0 | 343.84 | 5.2177 | 27.2591 | 0 | 351.729 | 0 | 163.885 | 22.73 | 964.167 | 62.9497 | 4.5779
2019-09-07 05:45:00 | 0 | 341.405 | 4.195 | 25.9687 | 0 | 349.878 | 0 | 162.79 | 22.16 | 964.167 | 69.7698 | 4.9511
2019-09-07 06:00:00 | 0.88267 | 344.132 | 4.7063 | 24.8974 | 0 | 0.31652 | 0 | 156.118 | 21.59 | 964.018 | 73.9983 | 5.5386
2019-09-07 06:15:00 | 0.744 | 337.656 | 4.7063 | 21.7809 | 0 | 348.612 | 2.9167 | 154.73 | 21.28 | 964.052 | 73.1117 | 5.3021
2019-09-07 06:30:00 | 0 | 339.457 | 4.7063 | 28.793 | 0 | 356.988 | 0 | 162.23 | 21.54 | 964.403 | 73.9301 | 4.6629
2019-09-07 06:45:00 | 0 | 335.854 | 3.9393 | 28.5982 | 0 | 0.48696 | 0 | 160.257 | 21.72 | 964.327 | 70.5882 | 5.509
2019-09-07 07:00:00 | 0 | 341.113 | 4.4507 | 30.7409 | 0 | 0.58435 | 0 | 152.831 | 21.66 | 964.464 | 74.2029 | 4.6444
2019-09-07 07:15:00 | 0 | 349.169 | 2.1497 | 46.0945 | 0 | 46.0592 | 0 | 162.327 | 21.86 | 964.464 | 70.5777 | 4.4892
2019-09-07 07:30:00 | 0 | 346.019 | 2.4053 | 46.117 | 0 | 23.175 | 0 | 163.345 | 22.01 | 964.612 | 69.7575 | 4.8994
2019-09-07 07:45:00 | 0 | 350.797 | 2.661 | 46.5229 | 0 | 24.2433 | 0 | 161.914 | 22.24 | 964.908 | 71.931 | 3.6246
2019-09-07 08:00:00 | 0 | 11.5856 | 3.1723 | 65.4561 | 0 | 22.222 | 0 | 185.297 | 22.43 | 965.205 | 68.5189 | 3.063
2019-09-07 08:15:00 | 0 | 3.3097 | 3.6837 | 70.1157 | 0 | 4.7698 | 0 | 182.835 | 22.96 | 965.553 | 64.7934 | 2.4349
2019-09-07 08:30:00 | 0 | 29.8352 | 3.9393 | 83.0847 | 0 | 34.3129 | 0 | 212.18 | 23.38 | 965.508 | 63.4629 | 2.8007
2019-09-07 08:45:00 | 0 | 30.0031 | 2.9167 | 76.1414 | 0 | 5.84 | 0 | 189.655 | 23.94 | 965.801 | 62.1627 | 1.9583
2019-09-07 09:00:00 | 0 | 4.0879 | 2.1497 | 46.3793 | 0 | 339.804 | 0 | 203.956 | 24.31 | 965.992 | 60.3203 | 2.2797
2019-09-07 09:15:00 | 0 | 326.714 | 3.1723 | 66.0208 | 0 | 298.154 | 0 | 145.476 | 24.91 | 965.805 | 55.4005 | 2.3536
2019-09-07 09:30:00 | 0 | 79.6956 | 2.4053 | 44.7101 | 0 | 281.513 | 0 | 202.182 | 25.28 | 966.099 | 53.6968 | 2.8007
2019-09-07 09:45:00 | 0 | 17.2966 | 3.1723 | 83.9983 | 0 | 126.598 | 0 | 206.245 | 25.75 | 966.099 | 51.4481 | 2.4682
2019-09-07 10:00:00 | 0 | 86.7881 | 5.2177 | 2.2435 | 0.37567 | 254.04 | 0 | 295.707 | 25.5 | 966.248 | 52.9746 | 2.0174
2019-09-07 10:15:00 | 0 | 28.2143 | 2.4053 | 20.6675 | 0 | 296.786 | 0 | 200.176 | 25.41 | 965.951 | 56.8211 | 1.9583
2019-09-07 10:30:00 | 0 | 32.1794 | 2.4053 | 61.4821 | 0 | 317.148 | 0 | 193.344 | 25.29 | 965.655 | 57.1966 | 1.9176
2019-09-07 10:45:00 | 0 | 6.9806 | 4.195 | 41.1717 | 0 | 341.613 | 0 | 209.346 | 25.58 | 965.951 | 58.1157 | 3.2736
2019-09-07 11:00:00 | 0 | 25.8305 | 3.6837 | 65.1776 | 0 | 12.4775 | 0 | 194.361 | 26.08 | 965.951 | 57.8768 | 3.9276
2019-09-07 11:15:00 | 0 | 342.486 | 5.4733 | 0.97978 | 0 | 294.862 | 3.308 | 144.962 | 26.06 | 965.951 | 55.9691 | 5.195
2019-09-07 11:30:00 | 0 | 312.324 | 2.9167 | 8.763 | 0 | 278.857 | 0 | 138.662 | 26.26 | 965.803 | 57.3314 | 4.2491
2019-09-07 11:45:00 | 0 | 290.512 | 4.4507 | 6.3803 | 0 | 329.206 | 0 | 117.348 | 26.89 | 965.803 | 56.2717 | 4.3784
2019-09-07 12:00:00 | 0 | 7.2717 | 3.1723 | 15.4278 | 0 | 267.425 | 0 | 204.728 | 26.74 | 965.655 | 55.3847 | 5.2688
2019-09-07 12:15:00 | 0 | 280.38 | 4.4507 | 329.55 | 0 | 289.379 | 0 | 103.659 | 26.98 | 965.803 | 55.0472 | 5.0878
2019-09-07 12:30:00 | 0 | 356.87 | 3.1723 | 46.0618 | 0 | 8.6834 | 0 | 174.932 | 27.14 | 965.062 | 53.8926 | 6.3514
2019-09-07 12:45:00 | 0 | 296.816 | 6.7517 | 19.854 | 0 | 294.456 | 0 | 113.234 | 26.61 | 965.21 | 54.8509 | 5.1765
2019-09-07 13:00:00 | 0 | 16.0802 | 4.7063 | 65.1448 | 0 | 15.2288 | 0 | 159.732 | 27.43 | 965.358 | 54.8552 | 5.3132
2019-09-07 13:15:00 | 0 | 353.351 | 4.7063 | 31.4761 | 0 | 0.048654 | 0 | 158.807 | 27.48 | 965.506 | 51.5843 | 3.7392
2019-09-07 13:30:00 | 0 | 299.588 | 4.4507 | 336.878 | 0 | 260.592 | 0 | 135.648 | 27.88 | 965.358 | 53.7649 | 5.2799
2019-09-07 13:45:00 | 0 | 31.8198 | 4.4507 | 71.3482 | 0 | 351.137 | 0 | 198.874 | 27.81 | 965.358 | 53.4583 | 4.0643
2019-09-07 14:00:00 | 0 | 329.237 | 3.428 | 44.2711 | 0 | 36.3197 | 0 | 158.415 | 27.37 | 965.21 | 51.856 | 2.8672
2019-09-07 14:15:00 | 0 | 304.234 | 4.195 | 19.4162 | 0 | 306.667 | 0 | 122.146 | 27.61 | 965.358 | 51.8909 | 2.5347
2019-09-07 14:30:00 | 0 | 267.477 | 3.1723 | 325.998 | 0 | 269.18 | 0 | 123.62 | 27.87 | 965.951 | 50.0808 | 2.4571
2019-09-07 14:45:00 | 0 | 293.13 | 5.4733 | 18.7595 | 0 | 307.165 | 0.37567 | 126.656 | 27.84 | 965.655 | 50.1131 | 4.2306
2019-09-07 15:00:00 | 0 | 299.854 | 3.6837 | 14.4543 | 0 | 280.834 | 0 | 116.313 | 27.93 | 965.803 | 47.3856 | 2.9633
2019-09-07 15:15:00 | 0 | 274.946 | 2.4053 | 31.4672 | 0 | 277.962 | 0 | 101.572 | 28.19 | 965.951 | 48.782 | 2.2539
2019-09-07 15:30:00 | 0 | 301.004 | 4.7063 | 3.2667 | 0 | 301.226 | 0 | 120.661 | 28.13 | 965.803 | 48.7113 | 1.1713
2019-09-07 15:45:00 | 0 | 303.393 | 3.428 | 3.3637 | 0 | 351.353 | 0 | 140.142 | 28.06 | 965.803 | 49.4617 | 0.84981
2019-09-07 16:00:00 | 0 | 273.988 | 2.661 | 323.203 | 0 | 271.797 | 0 | 91.2962 | 28.23 | 965.655 | 48.3674 | 0.28081
2019-09-07 16:15:00 | 0 | 304.788 | 3.1723 | 318.129 | 0 | 284.895 | 0 | 122.81 | 28.41 | 966.099 | 49.8638 | 0.16627
2019-09-07 16:30:00 | 0 | 294.304 | 3.9393 | 18.7596 | 0 | 301.498 | 0 | 115.375 | 28.05 | 965.655 | 51.3662 | 0.46555
2019-09-07 16:45:00 | 0 | 289.442 | 3.6837 | 328.839 | 0 | 271.833 | 0 | 119.571 | 27.82 | 965.655 | 51.0304 | 0.17366
2019-09-07 17:00:00 | 0 | 307.011 | 2.1497 | 1.9901 | 0 | 329.954 | 0 | 124.329 | 27.88 | 965.506 | 53.0116 | -0.11084
2019-09-07 17:15:00 | 0 | 269.566 | 2.4053 | 307.658 | 0 | 264.385 | 0 | 103.049 | 27.73 | 965.655 | 54.1051 | -0.13671
2019-09-07 17:30:00 | 0 | 240.546 | 3.1723 | 325.347 | 0 | 275.869 | 0 | 64.0532 | 27.52 | 965.506 | 54.5485 | -0.23647
2019-09-07 17:45:00 | 0 | 250.934 | 3.428 | 296.593 | 0 | 242.882 | 0 | 82.6634 | 27.33 | 965.506 | 54.3441 | -0.20691
2019-09-07 18:00:00 | 0 | 252.71 | 2.1497 | 306.761 | 0 | 253.391 | 0 | 92.297 | 27.07 | 965.21 | 53.9012 | -0.20691
2019-09-07 18:15:00 | 0 | 252.757 | 1.127 | 332.176 | 0 | 297.018 | 0 | 122.121 | 27.03 | 965.085 | 54.3202 | -0.20691
2019-09-07 18:30:00 | 0 | 252.691 | 1.127 | 333.533 | 0 | 320.463 | 0 | 134.814 | 26.92 | 964.91 | 53.9861 | -0.20691
2019-09-07 18:45:00 | 0 | 252.698 | 0.37567 | 333.495 | 0 | 320.448 | 0 | 134.818 | 26.73 | 964.614 | 54.601 | -0.20691
2019-09-07 19:00:00 | 0 | 252.674 | 1.127 | 333.471 | 0 | 320.448 | 0 | 134.818 | 26.6 | 964.614 | 54.6694 | -0.20691
2019-09-07 19:15:00 | 0 | 252.674 | 1.127 | 333.447 | 0 | 320.302 | 0 | 134.283 | 26.57 | 965.084 | 54.3967 | -0.20691
2019-09-07 19:30:00 | 0 | 252.71 | 1.127 | 332.062 | 0 | 318.839 | 0 | 115.658 | 26.65 | 965.194 | 54.3363 | -0.22169
2019-09-07 19:45:00 | 0 | 252.596 | 1.6383 | 331.414 | 0 | 215.015 | 0 | 114.956 | 26.6 | 965.353 | 54.6787 | -0.20691
2019-09-07 20:00:00 | 0 | 232.345 | 1.6383 | 267.62 | 0 | 194.035 | 0 | 59.2667 | 26.52 | 965.798 | 54.8151 | -0.22169
2019-09-07 20:15:00 | 0 | 218.277 | 1.894 | 266.135 | 0 | 192.477 | 0 | 43.5677 | 26.55 | 965.947 | 54.4401 | -0.22169
2019-09-07 20:30:00 | 0 | 207.154 | 2.4053 | 244.303 | 0 | 189.848 | 0 | 39.5517 | 26.59 | 966.076 | 53.1106 | -0.24016
2019-09-07 20:45:00 | 1.6267 | 203.649 | 2.9167 | 245.715 | 0 | 203.43 | 0 | 25.7999 | 26.72 | 966.391 | 52.5652 | -0.22169
2019-09-07 21:00:00 | 0 | 200.363 | 3.428 | 243.208 | 0 | 199.657 | 0 | 21.078 | 26.77 | 966.391 | 52.1561 | -0.25864
2019-09-07 21:15:00 | 2.0207 | 201.458 | 3.6837 | 242.283 | 0 | 194.108 | 0 | 22.9765 | 26.69 | 966.391 | 52.7697 | -0.14779
2019-09-07 21:30:00 | 0 | 194.108 | 3.6837 | 239.143 | 0 | 189.654 | 0 | 18.498 | 26.63 | 966.391 | 52.497 | -0.24016
2019-09-07 21:45:00 | 0 | 189.994 | 2.9167 | 232.376 | 0 | 186.635 | 0 | 13.2894 | 26.5 | 966.218 | 53.247 | -0.059118
2019-09-07 22:00:00 | 0 | 201.288 | 3.428 | 239.069 | 0 | 204.184 | 0 | 25.9946 | 26.44 | 966.391 | 51.6788 | -0.011085
2019-09-07 22:15:00 | 0 | 188.266 | 3.9393 | 231.525 | 0 | 195.3 | 0 | 8.2998 | 26.48 | 966.391 | 53.3833 | 1.3634
2019-09-07 22:30:00 | 0 | 184.761 | 4.195 | 224.271 | 0 | 167.286 | 0 | 10.1252 | 25.63 | 965.947 | 55.9741 | 2.3869
2019-09-07 22:45:00 | 0.99933 | 183.374 | 3.428 | 229.699 | 0 | 168.332 | 0 | 13.8979 | 25.38 | 966.087 | 55.9059 | 3.196
2019-09-07 23:00:00 | 0 | 188.437 | 4.4507 | 225.878 | 0 | 177.435 | 0 | 9.9549 | 25.6 | 966.095 | 54.3378 | 3.2219
2019-09-07 23:15:00 | 0 | 186.051 | 3.9393 | 228.141 | 0 | 180.356 | 0 | 12.5349 | 25.28 | 965.947 | 55.3605 | 4.1456
2019-09-07 23:30:00 | 0 | 169.16 | 2.9167 | 203.924 | 0 | 214.188 | 0 | 3.4075 | 25.36 | 966.095 | 55.0196 | 3.6246
2019-09-07 23:45:00 | 0 | 148.449 | 2.9167 | 195.919 | 0 | 151.394 | 0 | 356.774 | 24.91 | 965.947 | 56.8613 | 1.9176