## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-09-08 00:00:00 | 0 | 165.451 | 2.4053 | 201.145 | 0 | 206.759 | 0 | 10.6373 | 25.07 | 965.798 | 57.411 | 2.845
2019-09-08 00:15:00 | 0 | 177.386 | 3.9393 | 201.763 | 0 | 146.422 | 0 | 4.333 | 25.14 | 965.65 | 57.0727 | 2.8192
2019-09-08 00:30:00 | 0 | 173.517 | 5.2177 | 208.265 | 0 | 163.585 | 0 | 5.4772 | 24.96 | 965.798 | 56.8686 | 4.1899
2019-09-08 00:45:00 | 0 | 160.4 | 3.1723 | 202.257 | 0 | 154.777 | 0 | 2.3613 | 24.92 | 965.65 | 57.2791 | 4.6075
2019-09-08 01:00:00 | 0 | 182.236 | 4.195 | 213.893 | 0.37567 | 168.701 | 5.2177 | 10.2243 | 24.89 | 965.947 | 57.1424 | 6.0041
2019-09-08 01:15:00 | 0 | 178.947 | 4.4507 | 213.354 | 0 | 157.647 | 0 | 5.0634 | 25.01 | 965.501 | 56.3918 | 5.3169
2019-09-08 01:30:00 | 0 | 181.409 | 3.9393 | 224.507 | 0 | 162.64 | 0 | 0.24344 | 24.95 | 965.65 | 55.7789 | 4.8255
2019-09-08 01:45:00 | 0 | 181.284 | 4.4507 | 209.118 | 0 | 162.831 | 0 | 8.7149 | 25.1 | 965.501 | 55.8802 | 4.892
2019-09-08 02:00:00 | 0 | 188.222 | 5.2177 | 217.347 | 0 | 183.305 | 0 | 12.1716 | 24.82 | 965.205 | 59.3921 | 6.2036
2019-09-08 02:15:00 | 0 | 183.161 | 4.962 | 220.442 | 0 | 165.512 | 0 | 10.0539 | 24.58 | 965.353 | 58.4383 | 6.8392
2019-09-08 02:30:00 | 0 | 187.544 | 4.7063 | 229.157 | 0.887 | 185.499 | 2.0297 | 12.7317 | 24.65 | 965.057 | 58.7112 | 8.1804
2019-09-08 02:45:00 | 0 | 178.074 | 5.2177 | 223.729 | 1.774 | 173.424 | 3.6837 | 6.9623 | 24.6 | 965.205 | 59.1885 | 8.3393
2019-09-08 03:00:00 | 0 | 181.726 | 4.4507 | 227.186 | 0 | 185.596 | 0 | 4.5036 | 24.46 | 965.057 | 58.8817 | 8.2173
2019-09-08 03:15:00 | 0 | 188.469 | 4.4507 | 232.395 | 1.774 | 186.959 | 5.2177 | 11.3928 | 24.43 | 965.057 | 58.2339 | 7.9476
2019-09-08 03:30:00 | 0 | 184.963 | 4.4507 | 228.111 | 0 | 187.836 | 0 | 13.0482 | 24.58 | 965.353 | 56.9383 | 6.7468
2019-09-08 03:45:00 | 0 | 184.72 | 4.195 | 228.354 | 0 | 171.526 | 0.887 | 13.7542 | 24.45 | 965.205 | 58.8476 | 7.6483
2019-09-08 04:00:00 | 0 | 163.392 | 4.962 | 219.732 | 0 | 155.943 | 0 | 11.1492 | 24.37 | 965.057 | 57.7555 | 8.7716
2019-09-08 04:15:00 | 2.648 | 180.192 | 5.9847 | 220.735 | 0.63133 | 181.433 | 5.4733 | 2.9456 | 24.17 | 965.057 | 58.0293 | 10.3677
2019-09-08 04:30:00 | 0 | 175.177 | 6.2403 | 212.482 | 0 | 192.778 | 0.37567 | 1.3876 | 24.37 | 965.353 | 56.8701 | 8.7716
2019-09-08 04:45:00 | 0 | 165.804 | 5.4733 | 210.874 | 0 | 162.322 | 0 | 356.778 | 24.5 | 965.501 | 55.2332 | 7.5523
2019-09-08 05:00:00 | 0 | 160.863 | 6.7517 | 209.683 | 0 | 156.53 | 2.661 | 356.781 | 24.1 | 965.501 | 58.3703 | 9.7174
2019-09-08 05:15:00 | 0 | 153.56 | 4.7063 | 196.756 | 0 | 157.796 | 0 | 346.021 | 23.7 | 965.353 | 60.5182 | 9.795
2019-09-08 05:30:00 | 0 | 166.511 | 4.962 | 211.338 | 0 | 161.204 | 0 | 351.109 | 23.32 | 965.65 | 61.1319 | 10.1904
2019-09-08 05:45:00 | 0 | 167.633 | 4.4507 | 202.407 | 0 | 152.978 | 0 | 350.018 | 23.22 | 965.798 | 62.0875 | 8.9489
2019-09-08 06:00:00 | 0 | 168.163 | 3.428 | 203.406 | 0 | 156.793 | 0 | 355.926 | 23.11 | 965.65 | 62.4696 | 7.0904
2019-09-08 06:15:00 | 0 | 159.181 | 2.9167 | 207.134 | 0 | 172.523 | 0 | 355.224 | 23.4 | 965.65 | 60.0152 | 7.0202
2019-09-08 06:30:00 | 0 | 165.831 | 4.7063 | 209.613 | 0 | 169.848 | 0 | 14.5334 | 23.82 | 965.947 | 59.3257 | 6.7024
2019-09-08 06:45:00 | 0 | 182.918 | 5.4733 | 219.469 | 0 | 160.571 | 0.63133 | 356.781 | 23.7 | 966.391 | 58.7794 | 6.8946
2019-09-08 07:00:00 | 0 | 154.241 | 5.729 | 199.399 | 0 | 150.201 | 4.195 | 349.203 | 23.88 | 966.688 | 57.4064 | 7.3453
2019-09-08 07:15:00 | 0 | 162.734 | 5.4733 | 199.567 | 0 | 156.162 | 0 | 347.13 | 24.13 | 967.133 | 57.2013 | 7.652
2019-09-08 07:30:00 | 0 | 160.233 | 5.4733 | 202.023 | 0 | 156.193 | 2.0297 | 349.986 | 24.23 | 967.075 | 57.3991 | 8.8048
2019-09-08 07:45:00 | 0 | 154.067 | 6.496 | 200.673 | 0 | 152.145 | 1.2627 | 334.685 | 24.38 | 966.999 | 56.6462 | 9.9022
2019-09-08 08:00:00 | 0.372 | 152.145 | 6.7517 | 198.167 | 0 | 146.256 | 5.9847 | 345.562 | 24.25 | 967.135 | 57.1916 | 8.3688
2019-09-08 08:15:00 | 0 | 147.537 | 6.2403 | 189.029 | 0 | 148.437 | 1.894 | 336.783 | 24.48 | 967.58 | 56.1659 | 9.7137
2019-09-08 08:30:00 | 0 | 156.863 | 6.496 | 196.41 | 0 | 151.898 | 2.2853 | 335.043 | 24.65 | 967.877 | 57.1223 | 10.3345
2019-09-08 08:45:00 | 0 | 155.761 | 5.729 | 189.271 | 0 | 151.819 | 5.4733 | 340.869 | 24.61 | 967.867 | 57.7332 | 11.757
2019-09-08 09:00:00 | 0 | 146.043 | 5.729 | 198.31 | 0 | 153.099 | 1.2627 | 341.529 | 24.44 | 967.834 | 58.9565 | 10.4416
2019-09-08 09:15:00 | 0 | 148.478 | 6.496 | 199.932 | 0 | 151.86 | 0 | 324.789 | 24.7 | 967.891 | 60.0381 | 8.6496
2019-09-08 09:30:00 | 0 | 153.748 | 5.4733 | 192.425 | 0 | 166.057 | 0 | 328.246 | 24.94 | 968.175 | 58.7395 | 9.5807
2019-09-08 09:45:00 | 0 | 139.71 | 5.729 | 201.377 | 0 | 159.099 | 0 | 317.493 | 25.17 | 968.175 | 58.6372 | 9.699
2019-09-08 10:00:00 | 0 | 141.267 | 6.7517 | 195.003 | 0 | 154.526 | 5.729 | 333.768 | 25.59 | 968.471 | 58.3646 | 10.4158
2019-09-08 10:15:00 | 0.372 | 141.267 | 6.496 | 187.34 | 0 | 146.425 | 4.7063 | 325.107 | 25.75 | 968.323 | 55.6048 | 11.4429
2019-09-08 10:30:00 | 0 | 139.735 | 6.496 | 194.005 | 0 | 181.431 | 5.9847 | 337.125 | 26.08 | 968.471 | 57.2402 | 14.118
2019-09-08 10:45:00 | 0 | 142.411 | 5.2177 | 191.281 | 0 | 145.014 | 0.887 | 330.167 | 26.48 | 968.916 | 55.8092 | 12.0637
2019-09-08 11:00:00 | 0 | 145.598 | 6.496 | 189.262 | 0 | 142.824 | 2.2853 | 320.923 | 26.95 | 968.768 | 51.2436 | 10.9848
2019-09-08 11:15:00 | 0 | 140.051 | 4.4507 | 211.667 | 0 | 178.658 | 0.37567 | 327.029 | 27.03 | 968.619 | 51.7206 | 9.9317
2019-09-08 11:30:00 | 0 | 144.185 | 5.2177 | 191.351 | 0 | 150.413 | 0 | 326.952 | 27.34 | 968.916 | 48.7558 | 7.6816
2019-09-08 11:45:00 | 0 | 145.896 | 5.9847 | 186.999 | 0 | 149.083 | 3.6837 | 338.909 | 27.7 | 968.471 | 49.1594 | 5.1063
2019-09-08 12:00:00 | 0 | 199.838 | 4.195 | 231.792 | 0 | 184.879 | 0.75133 | 0.77834 | 28.27 | 968.916 | 46.8405 | 4.6629
2019-09-08 12:15:00 | 0 | 135.844 | 5.729 | 190.491 | 0 | 150.17 | 1.774 | 318.217 | 28.08 | 968.471 | 46.9426 | 4.0569
2019-09-08 12:30:00 | 0 | 135.577 | 4.4507 | 170.912 | 0 | 119.913 | 0 | 289.664 | 28.23 | 968.619 | 46.5002 | 3.3512
2019-09-08 12:45:00 | 0 | 137.682 | 6.496 | 204.84 | 0 | 160.451 | 2.2853 | 343.062 | 28.57 | 968.619 | 46.709 | 4.1604
2019-09-08 13:00:00 | 0 | 146.351 | 4.7063 | 204.975 | 0 | 134.406 | 0 | 337.244 | 28.57 | 968.619 | 46.2688 | 2.8672
2019-09-08 13:15:00 | 0 | 193.571 | 6.2403 | 230.764 | 0 | 193.644 | 0 | 8.2226 | 28.99 | 968.323 | 45.2129 | 2.7416
2019-09-08 13:30:00 | 0 | 146.765 | 7.0073 | 204.563 | 0 | 167.176 | 0 | 30.4332 | 28.63 | 967.878 | 46.0307 | 3.3771
2019-09-08 13:45:00 | 0 | 184.716 | 4.962 | 220.449 | 0 | 205.953 | 0 | 356.732 | 28.93 | 968.175 | 44.77 | 2.2021
2019-09-08 14:00:00 | 0 | 129.225 | 4.962 | 173.571 | 0 | 132.826 | 0 | 306.716 | 29.05 | 968.026 | 43.4412 | 2.7933
2019-09-08 14:15:00 | 0 | 181.453 | 3.9393 | 241.318 | 0 | 181.867 | 3.6837 | 351.352 | 29.22 | 968.026 | 43.611 | 3.9978
2019-09-08 14:30:00 | 0 | 198.783 | 4.7063 | 200.773 | 0 | 172.026 | 0 | 21.187 | 29.59 | 968.471 | 45.1068 | 3.4547
2019-09-08 14:45:00 | 0 | 164.958 | 5.9847 | 229.651 | 0 | 178.263 | 0 | 0.72969 | 29.44 | 968.175 | 45.3416 | 2.8709
2019-09-08 15:00:00 | 0 | 182.909 | 7.5187 | 229.456 | 0 | 185.146 | 0 | 0.82698 | 29.79 | 968.175 | 43.1273 | 3.6727
2019-09-08 15:15:00 | 0 | 195.258 | 7.263 | 231.808 | 0 | 190.321 | 2.0297 | 18.7524 | 29.54 | 968.175 | 43.5687 | 4.6629
2019-09-08 15:30:00 | 0 | 199.347 | 3.9393 | 238.791 | 0 | 188.572 | 0 | 6.4211 | 29.48 | 968.471 | 43.2626 | 4.1013
2019-09-08 15:45:00 | 0 | 132.986 | 4.4507 | 173.788 | 0 | 127.587 | 0.63133 | 322.809 | 29.84 | 968.323 | 41.5224 | 5.9635
2019-09-08 16:00:00 | 0 | 189.532 | 6.7517 | 231.648 | 0 | 202.641 | 0.37567 | 10.0202 | 29.62 | 968.619 | 43.396 | 4.1789
2019-09-08 16:15:00 | 0 | 203.134 | 7.0073 | 231.291 | 0 | 185.671 | 0 | 44.5329 | 29.71 | 968.619 | 42.7161 | 5.5607
2019-09-08 16:30:00 | 0 | 184.828 | 6.496 | 229.965 | 0 | 186.044 | 0 | 0.24323 | 29.59 | 968.323 | 42.9906 | 6.1741
2019-09-08 16:45:00 | 0 | 192.613 | 6.7517 | 234.515 | 0 | 186.484 | 0 | 13.5965 | 29.46 | 968.026 | 43.1272 | 5.7122
2019-09-08 17:00:00 | 0 | 185.326 | 5.4733 | 237.763 | 0 | 186.785 | 0 | 354.451 | 29.29 | 968.323 | 43.7426 | 6.1926
2019-09-08 17:15:00 | 0 | 184.42 | 4.4507 | 235.745 | 0 | 186.147 | 0 | 51.7426 | 29.16 | 968.175 | 44.3602 | 5.3575
2019-09-08 17:30:00 | 0 | 182.745 | 4.195 | 236.553 | 0 | 197.876 | 0 | 0.34058 | 28.98 | 967.878 | 45.1789 | 5.6974
2019-09-08 17:45:00 | 0 | 193.06 | 3.9393 | 235.386 | 0 | 193.741 | 0 | 356.732 | 28.71 | 967.878 | 45.5196 | 6.3958
2019-09-08 18:00:00 | 0 | 192.087 | 3.6837 | 237.478 | 0 | 181.212 | 0 | 352.791 | 28.49 | 967.73 | 46.9506 | 6.0669
2019-09-08 18:15:00 | 0 | 178.963 | 3.9393 | 205.893 | 0 | 183.39 | 0 | 0.21896 | 28.32 | 967.825 | 48.0443 | 6.4586
2019-09-08 18:30:00 | 0 | 169.954 | 2.9167 | 209.915 | 0 | 158.857 | 0 | 349.787 | 27.94 | 967.721 | 49.6919 | 6.0817
2019-09-08 18:45:00 | 0 | 161.691 | 3.9393 | 206.586 | 0 | 160.109 | 0 | 333.967 | 27.75 | 967.431 | 50.7102 | 6.5066
2019-09-08 19:00:00 | 0 | 165.625 | 4.195 | 210.649 | 0 | 175.53 | 0 | 344.684 | 27.58 | 967.728 | 50.5109 | 6.2997
2019-09-08 19:15:00 | 0 | 166.381 | 4.7063 | 207.73 | 0 | 158.375 | 0 | 340.525 | 27.49 | 967.58 | 50.1022 | 4.722
2019-09-08 19:30:00 | 0 | 165.602 | 4.195 | 203.301 | 0 | 152.12 | 0 | 344.394 | 27.49 | 967.876 | 50.5794 | 4.0089
2019-09-08 19:45:00 | 0 | 152.753 | 3.6837 | 195.976 | 0 | 142.751 | 0 | 333.906 | 27.46 | 967.876 | 49.6932 | 2.6012
2019-09-08 20:00:00 | 0 | 149.687 | 3.9393 | 194.662 | 0 | 137.398 | 0 | 337.872 | 27.54 | 967.747 | 48.3299 | 2.0913
2019-09-08 20:15:00 | 0 | 160.394 | 3.6837 | 206.392 | 0 | 161.806 | 0 | 345.879 | 27.49 | 967.897 | 48.6026 | 1.3264
2019-09-08 20:30:00 | 0 | 160.102 | 3.6837 | 203.447 | 0 | 155.016 | 0 | 346.876 | 27.43 | 968.324 | 48.1936 | 0.66877
2019-09-08 20:45:00 | 0.372 | 164.312 | 3.6837 | 209.629 | 0 | 165.237 | 0.37567 | 356.611 | 27.46 | 968.691 | 48.1936 | 0.22169
2019-09-08 21:00:00 | 0 | 155.527 | 3.6837 | 202.961 | 0 | 161.197 | 0 | 3.0906 | 27.29 | 968.439 | 49.0797 | 0.26972
2019-09-08 21:15:00 | 0 | 163.777 | 3.428 | 205.589 | 0 | 160.808 | 0 | 354.883 | 27.05 | 968.748 | 50.1022 | 0.46186
2019-09-08 21:30:00 | 0 | 181.226 | 2.661 | 227.807 | 0 | 155.454 | 0 | 3.1149 | 26.93 | 968.989 | 50.8521 | 0.78331
2019-09-08 21:45:00 | 0 | 175.312 | 3.1723 | 211.381 | 0 | 155.187 | 0 | 4.0883 | 26.8 | 969.242 | 51.4996 | 0.60226
2019-09-08 22:00:00 | 0 | 176.751 | 3.6837 | 210.898 | 0 | 155.676 | 0 | 0.75441 | 26.61 | 969.019 | 52.1481 | 0.52467
2019-09-08 22:15:00 | 0 | 176.977 | 3.6837 | 205.115 | 0 | 149.622 | 0 | 356.728 | 26.61 | 969.171 | 52.866 | 0.32515
2019-09-08 22:30:00 | 0 | 178.326 | 3.428 | 209.825 | 0 | 143.936 | 0 | 0.24338 | 26.66 | 968.892 | 52.835 | 0.25125
2019-09-08 22:45:00 | 0 | 170.059 | 3.428 | 204.871 | 0 | 141.485 | 0 | 355.184 | 26.61 | 968.597 | 52.4285 | 0.16257
2019-09-08 23:00:00 | 0 | 174.514 | 3.6837 | 202.049 | 0 | 145.891 | 0 | 353.944 | 26.65 | 968.765 | 52.2241 | -0.0036948
2019-09-08 23:15:00 | 0 | 162.001 | 3.6837 | 197.81 | 0 | 147.008 | 0 | 346.978 | 26.67 | 968.6 | 52.6324 | 0.48772
2019-09-08 23:30:00 | 0 | 158.913 | 4.195 | 199.713 | 0 | 144.285 | 0 | 342.359 | 26.43 | 968.765 | 53.3151 | 0.53575
2019-09-08 23:45:00 | 0 | 159.058 | 4.4507 | 202.122 | 0 | 151.099 | 0 | 347.592 | 26.33 | 968.755 | 53.2468 | 0.96066