## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-09-09 00:00:00 | 0 | 156.381 | 4.195 | 196.914 | 0 | 149.055 | 0 | 341.946 | 26.26 | 968.765 | 52.7015 | 1.7735
2019-09-09 00:15:00 | 0.88267 | 155.627 | 4.195 | 191.291 | 0 | 150.905 | 0 | 342.287 | 26.11 | 968.759 | 53.4856 | 2.8709
2019-09-09 00:30:00 | 0 | 151.367 | 3.9393 | 187.373 | 0 | 144.65 | 0 | 341.629 | 25.88 | 968.763 | 55.2241 | 4.3562
2019-09-09 00:45:00 | 0 | 138.589 | 3.428 | 183.527 | 0 | 144.285 | 0 | 330.677 | 25.87 | 968.468 | 54.0651 | 3.5434
2019-09-09 01:00:00 | 0 | 138.93 | 3.6837 | 183.381 | 0 | 134.159 | 0 | 336.226 | 25.72 | 968.456 | 55.4968 | 3.2699
2019-09-09 01:15:00 | 0 | 143.287 | 3.6837 | 181.166 | 0 | 131.044 | 0 | 341.021 | 25.87 | 968.468 | 54.8151 | 2.8487
2019-09-09 01:30:00 | 0 | 150.832 | 3.428 | 183.478 | 0 | 131.579 | 0 | 340.12 | 26 | 968.32 | 54.781 | 2.6603
2019-09-09 01:45:00 | 0 | 159.74 | 3.428 | 195.307 | 0 | 141.802 | 0 | 345.67 | 26.1 | 968.32 | 55.3605 | 2.5014
2019-09-09 02:00:00 | 0 | 150.321 | 3.428 | 191.17 | 0 | 140.512 | 0 | 339.001 | 25.77 | 968.172 | 56.1104 | 2.7379
2019-09-09 02:15:00 | 0 | 140.463 | 3.1723 | 188.833 | 0 | 133.088 | 0 | 325.809 | 25.95 | 968.134 | 55.7014 | 4.3784
2019-09-09 02:30:00 | 0 | 138.297 | 3.428 | 181.531 | 0 | 124.424 | 0 | 324.154 | 25.89 | 968.011 | 55.1219 | 5.3206
2019-09-09 02:45:00 | 0 | 129.413 | 3.1723 | 166.538 | 0 | 107.07 | 0 | 320.673 | 25.91 | 968.172 | 54.6105 | 8.0252
2019-09-09 03:00:00 | 0 | 130.387 | 5.2177 | 168.217 | 0 | 129.438 | 0 | 314.905 | 25.84 | 968.023 | 57.7808 | 8.1139
2019-09-09 03:15:00 | 0 | 142.8 | 4.195 | 172.891 | 0 | 110.234 | 0 | 326.101 | 25.17 | 968.023 | 59.3148 | 10.183
2019-09-09 03:30:00 | 0 | 135.961 | 3.428 | 177.442 | 0 | 134.354 | 0 | 320.819 | 24.86 | 968.171 | 59.1103 | 8.4686
2019-09-09 03:45:00 | 0 | 140.684 | 4.195 | 190.71 | 0 | 141.56 | 0 | 323.184 | 24.76 | 968.023 | 59.7245 | 7.3638
2019-09-09 04:00:00 | 0 | 140.179 | 4.7063 | 184.22 | 0 | 137.648 | 0 | 327.677 | 24.88 | 968.172 | 59.9318 | 5.5792
2019-09-09 04:15:00 | 0 | 150.82 | 4.4507 | 185.175 | 0 | 148.97 | 0 | 331.921 | 24.75 | 968.172 | 60.7515 | 5.1469
2019-09-09 04:30:00 | 0 | 150.829 | 3.428 | 182.095 | 0 | 137.173 | 0 | 340.339 | 25 | 968.023 | 58.0617 | 5.2467
2019-09-09 04:45:00 | 0.372 | 152.018 | 2.661 | 194.164 | 0 | 145.665 | 0 | 337.507 | 25.31 | 968.172 | 56.7989 | 4.8809
2019-09-09 05:00:00 | 0 | 135.582 | 2.9167 | 192.135 | 0 | 148.093 | 0 | 328.658 | 25.27 | 968.32 | 57.4784 | 5.2799
2019-09-09 05:15:00 | 0 | 149.466 | 2.4053 | 186.575 | 0 | 134.519 | 0 | 353.826 | 25.18 | 968.616 | 56.4594 | 4.8661
2019-09-09 05:30:00 | 0 | 146.984 | 3.1723 | 187.745 | 0 | 138.853 | 0 | 325.638 | 25.16 | 968.765 | 56.1188 | 5.0361
2019-09-09 05:45:00 | 0.744 | 122.933 | 2.4053 | 188.11 | 0 | 109.253 | 0 | 303.268 | 25.09 | 968.765 | 56.5282 | 5.1876
2019-09-09 06:00:00 | 0 | 109.837 | 0 | 146.411 | 0 | 57.0851 | 0 | 288.006 | 24.92 | 968.913 | 57.2102 | 4.5003
2019-09-09 06:15:00 | 0 | 102.729 | 1.127 | 150.647 | 0 | 105.456 | 0 | 288.177 | 24.99 | 968.913 | 55.6762 | 3.9794
2019-09-09 06:30:00 | 0 | 100.387 | 1.6383 | 146.135 | 0 | 73.6347 | 0 | 284.632 | 25.3 | 969.21 | 56.9686 | 3.8242
2019-09-09 06:45:00 | 0 | 95.2191 | 3.1723 | 144.175 | 0 | 74.0917 | 0 | 286.655 | 25.23 | 969.655 | 58.5325 | 3.1923
2019-09-09 07:00:00 | 5.712 | 86.6487 | 2.661 | 145.874 | 0 | 107.216 | 0 | 256.709 | 25.34 | 969.803 | 57.5422 | 3.1886
2019-09-09 07:15:00 | 0 | 86.1094 | 2.4053 | 135.669 | 0 | 83.5295 | 0 | 270.984 | 25.53 | 970.248 | 57.8123 | 2.8413
2019-09-09 07:30:00 | 0 | 78.652 | 1.894 | 126.523 | 0 | 78.9441 | 0 | 259.464 | 25.95 | 970.455 | 57.2598 | 2.3758
2019-09-09 07:45:00 | 0 | 76.7038 | 2.1497 | 140.708 | 0 | 99.968 | 0 | 262.647 | 26.42 | 970.397 | 54.9411 | 2.4608
2019-09-09 08:00:00 | 0 | 90.8152 | 0 | 120.968 | 0 | 82.4443 | 0 | 275.39 | 27.22 | 971.263 | 54.1214 | 3.2219
2019-09-09 08:15:00 | 0 | 95.3867 | 0 | 86.1637 | 0 | 109.569 | 0 | 238.406 | 27.78 | 971.142 | 53.4925 | 2.1541
2019-09-09 08:30:00 | 0 | 51.0802 | 1.3827 | 162.429 | 0 | 130.863 | 0 | 219.839 | 26.91 | 971.584 | 55.87 | 1.7588
2019-09-09 08:45:00 | 0 | 26.3621 | 2.4053 | 70.3706 | 0 | 85.0203 | 0 | 245.187 | 28.41 | 972.029 | 52.9303 | 2.1061
2019-09-09 09:00:00 | 0 | 58.5354 | 0.37567 | 115.407 | 0 | 350.677 | 0 | 245.669 | 28.15 | 972.177 | 52.6567 | 1.1787
2019-09-09 09:15:00 | 0 | 16.8286 | 2.4053 | 50.7191 | 0 | 7.8307 | 0 | 213.033 | 28.3 | 972.313 | 49.9319 | 0.39165
2019-09-09 09:30:00 | 0 | 28.1125 | 2.9167 | 98.0921 | 0 | 65.9526 | 0 | 215.878 | 28.23 | 972.323 | 51.0218 | 0.070202
2019-09-09 09:45:00 | 0 | 86.4534 | 2.9167 | 111.662 | 0 | 160.383 | 0 | 257.05 | 27.73 | 972.014 | 51.4305 | 0.033254
2019-09-09 10:00:00 | 0 | 24.0513 | 4.195 | 68.7636 | 0 | 272.273 | 0 | 213.179 | 28.29 | 972.137 | 47.9905 | 0.24016
2019-09-09 10:15:00 | 0 | 25.7779 | 3.9393 | 72.1196 | 0 | 61.1861 | 0 | 199.074 | 29.29 | 972.241 | 46.6621 | 0.27342
2019-09-09 10:30:00 | 0 | 65.8067 | 3.1723 | 122.581 | 0 | 0.048638 | 0 | 216.121 | 28.79 | 972.08 | 43.8692 | 1.7661
2019-09-09 10:45:00 | 0 | 48.2971 | 2.661 | 108.89 | 0 | 105.446 | 0 | 244.355 | 29.4 | 972.246 | 45.7766 | 1.7624
2019-09-09 11:00:00 | 0 | 137.328 | 3.428 | 183.524 | 0 | 130.543 | 0 | 312.667 | 28.93 | 972.173 | 53.4401 | 3.935
2019-09-09 11:15:00 | 0 | 101.312 | 3.9393 | 147.654 | 0 | 140.952 | 0 | 287.156 | 29.03 | 971.878 | 38.1471 | 5.3095
2019-09-09 11:30:00 | 0 | 108.608 | 4.962 | 157.114 | 0 | 102.309 | 0 | 286.597 | 28.7 | 971.732 | 41.3147 | 3.8537
2019-09-09 11:45:00 | 0 | 116.73 | 2.661 | 193.811 | 0 | 169.697 | 1.9097 | 299.705 | 29.25 | 971.583 | 36.1035 | 0.89046
2019-09-09 12:00:00 | 0 | 87.2316 | 2.9167 | 115.991 | 0 | 80.1061 | 0 | 253.937 | 29.62 | 971.88 | 35.797 | 0.37687
2019-09-09 12:15:00 | 0 | 159.58 | 4.195 | 216.087 | 0 | 128.963 | 0 | 336.086 | 29.52 | 971.583 | 35.1499 | 3.2034
2019-09-09 12:30:00 | 0 | 110.359 | 2.661 | 172.921 | 0 | 126.166 | 0 | 282.439 | 29.83 | 971.287 | 36.7166 | 3.0667
2019-09-09 12:45:00 | 0 | 178.111 | 0.75133 | 256.918 | 0 | 215.27 | 0 | 350.483 | 30.15 | 971.287 | 38.9305 | 3.3993
2019-09-09 13:00:00 | 0 | 65.8067 | 2.9167 | 122.8 | 0 | 154.084 | 0 | 256.393 | 30.81 | 971.287 | 39.5095 | 4.456
2019-09-09 13:15:00 | 0 | 61.5752 | 2.9167 | 108.209 | 0 | 68.9681 | 0 | 229.545 | 31.33 | 971.287 | 36.955 | 4.105
2019-09-09 13:30:00 | 0 | 66.366 | 3.428 | 96.2925 | 0 | 63.1316 | 0 | 256.807 | 30.95 | 970.99 | 37.2616 | 7.4488
2019-09-09 13:45:00 | 0 | 99.9016 | 4.195 | 170.805 | 0 | 108.462 | 3.1723 | 281.831 | 31.01 | 971.139 | 35.4905 | 8.4353
2019-09-09 14:00:00 | 0 | 76.7501 | 2.4053 | 112.513 | 0 | 107.44 | 0 | 260.114 | 30.27 | 970.842 | 36.1376 | 4.9548
2019-09-09 14:15:00 | 0 | 77.1149 | 2.9167 | 105.047 | 0 | 100.193 | 0 | 256.417 | 30.34 | 971.139 | 35.4905 | 1.8179
2019-09-09 14:30:00 | 0 | 108.705 | 3.1723 | 283.693 | 0 | 103.695 | 0 | 272.906 | 31.07 | 971.287 | 34.8093 | 3.5988
2019-09-09 14:45:00 | 0 | 24.9268 | 5.2177 | 77.0807 | 0 | 12.7431 | 0.887 | 205.202 | 30.65 | 971.137 | 35.7289 | 3.5507
2019-09-09 15:00:00 | 0 | 153.354 | 1.3827 | 157.916 | 0 | 12.7431 | 0 | 317.847 | 30.08 | 970.99 | 34.4687 | 3.0926
2019-09-09 15:15:00 | 0 | 75.9719 | 2.1497 | 126.983 | 0 | 12.7431 | 0 | 244.939 | 30.7 | 971.435 | 33.6512 | 3.0704
2019-09-09 15:30:00 | 0 | 132.027 | 3.428 | 140.455 | 0 | 12.7431 | 0 | 328.571 | 31.48 | 971.543 | 34.4346 | 3.3882
2019-09-09 15:45:00 | 0 | 86.1372 | 3.9393 | 151.107 | 0 | 111.964 | 0 | 270.522 | 31.03 | 971.345 | 34.0259 | 3.0926
2019-09-09 16:00:00 | 0 | 91.9008 | 3.6837 | 141.185 | 0 | 102.042 | 0 | 277.696 | 30.59 | 971.375 | 35.4564 | 1.1602
2019-09-09 16:15:00 | 0 | 84.6294 | 0.75133 | 110.033 | 0 | 112.742 | 0 | 259.725 | 31.3 | 970.93 | 34.1962 | 0.31776
2019-09-09 16:30:00 | 0 | 286.476 | 3.428 | 333.79 | 0 | 239.686 | 0 | 108.632 | 30.88 | 971.253 | 42.9837 | -0.11824
2019-09-09 16:45:00 | 0 | 296.008 | 4.195 | 18.3463 | 0 | 248.441 | 0 | 117.508 | 29.6 | 970.545 | 44.0055 | -0.33623
2019-09-09 17:00:00 | 0 | 304.471 | 3.428 | 8.3999 | 0 | 251.067 | 0 | 123.953 | 29.59 | 969.953 | 45.0613 | -0.2143
2019-09-09 17:15:00 | 2.9033 | 289.534 | 3.1723 | 336.858 | 0 | 251.104 | 0 | 116.066 | 29.27 | 969.953 | 47.0778 | -0.22169
2019-09-09 17:30:00 | 0 | 284.596 | 2.4053 | 15.9132 | 0 | 251.049 | 0 | 136.18 | 29.15 | 969.805 | 49.1981 | -0.20691
2019-09-09 17:45:00 | 0 | 305.013 | 2.661 | 12.41 | 0 | 251.055 | 0 | 135.94 | 28.87 | 969.212 | 51.3117 | -0.20691
2019-09-09 18:00:00 | 4.946 | 308.613 | 2.1497 | 7.2526 | 0 | 251.055 | 0 | 126.987 | 28.63 | 969.212 | 52.402 | -0.20691
2019-09-09 18:15:00 | 10.0527 | 287.087 | 1.894 | 335.301 | 0 | 251.058 | 0 | 114.728 | 28.39 | 969.26 | 53.0159 | -0.20691
2019-09-09 18:30:00 | 0 | 269.108 | 1.3827 | 317.681 | 0 | 251.077 | 0 | 107.823 | 28.27 | 969.463 | 53.6436 | -0.22169
2019-09-09 18:45:00 | 0 | 262.167 | 1.3827 | 311.711 | 0 | 251.046 | 0 | 95.9461 | 28.06 | 969.359 | 54.801 | -0.22169
2019-09-09 19:00:00 | 0 | 262.213 | 1.3827 | 325.075 | 0 | 251.092 | 0 | 95.9542 | 27.83 | 969.211 | 55.6918 | -0.22169
2019-09-09 19:15:00 | 0 | 238.754 | 1.6383 | 325.076 | 0 | 251.092 | 0 | 40.2994 | 27.72 | 969.211 | 54.8739 | -0.20691
2019-09-09 19:30:00 | 0 | 238.754 | 0 | 325.076 | 0 | 251.044 | 0 | 40.2994 | 27.64 | 969.517 | 55.6919 | -0.22169
2019-09-09 19:45:00 | 0 | 144.455 | 1.6383 | 210.261 | 0 | 251.044 | 0 | 325.315 | 27.57 | 969.828 | 54.8739 | -0.22539
2019-09-09 20:00:00 | 1.6267 | 156.525 | 3.1723 | 198.118 | 0 | 169.277 | 0 | 339.065 | 27.81 | 970.065 | 54.1922 | -0.25864
2019-09-09 20:15:00 | 0 | 153.021 | 3.428 | 202.45 | 0 | 169.277 | 0 | 338.164 | 27.9 | 970.192 | 53.2379 | -0.22169
2019-09-09 20:30:00 | 0 | 150.295 | 3.9393 | 197.339 | 0 | 167.914 | 0 | 334.271 | 28.02 | 970.14 | 51.6019 | -0.12562
2019-09-09 20:45:00 | 0 | 136.132 | 4.4507 | 184.222 | 0 | 134.526 | 3.9393 | 320.302 | 27.97 | 970.858 | 48.3299 | 0.76114
2019-09-09 21:00:00 | 0 | 116.615 | 4.195 | 167.309 | 0 | 126.447 | 0 | 299.374 | 28.12 | 970.696 | 45.0579 | 4.7146
2019-09-09 21:15:00 | 0 | 94.2996 | 5.2177 | 146.211 | 0 | 86.0499 | 0 | 276.985 | 27.93 | 970.994 | 42.7403 | 13.6266
2019-09-09 21:30:00 | 0 | 99.6047 | 6.2403 | 156.723 | 0 | 90.99 | 0 | 283.604 | 27.81 | 970.99 | 42.7403 | 24.1828
2019-09-09 21:45:00 | 0 | 112.77 | 8.2857 | 163.245 | 0 | 74.1985 | 0.63133 | 293.801 | 27.44 | 970.842 | 43.9673 | 29.3519
2019-09-09 22:00:00 | 0 | 92.3771 | 5.9847 | 147.403 | 0 | 96.6114 | 2.2853 | 274.99 | 27.24 | 970.709 | 44.1036 | 28.9269
2019-09-09 22:15:00 | 5.4567 | 99.5803 | 7.7743 | 144.361 | 0 | 89.9192 | 3.8193 | 282.947 | 27.18 | 970.725 | 46.2849 | 30.1352
2019-09-09 22:30:00 | 0.372 | 79.3576 | 5.9847 | 143.631 | 0 | 102.355 | 0 | 273.043 | 26.94 | 971.04 | 48.8752 | 29.4442
2019-09-09 22:45:00 | 0 | 98.4122 | 5.4733 | 156.577 | 0 | 90.5763 | 0 | 279.711 | 26.68 | 971.087 | 49.8296 | 27.3234
2019-09-09 23:00:00 | 0 | 102.695 | 4.195 | 170.57 | 0 | 113.598 | 0 | 292.779 | 26.51 | 971.042 | 48.8752 | 24.471
2019-09-09 23:15:00 | 0 | 88.7754 | 4.4507 | 154.655 | 0 | 95.492 | 0 | 291.051 | 26.48 | 971.093 | 49.4206 | 19.9965
2019-09-09 23:30:00 | 0 | 86.1996 | 5.2177 | 142.178 | 0 | 83.0359 | 0 | 300.165 | 26.36 | 970.97 | 51.1951 | 18.3153
2019-09-09 23:45:00 | 0 | 116.24 | 3.9393 | 166.335 | 0 | 95.2119 | 0 | 287.412 | 26.18 | 971.257 | 52.222 | 12.7509