## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-09-10 00:00:00 | 0 | 120.43 | 4.4507 | 157.214 | 0 | 102.565 | 0.37567 | 297.133 | 26.12 | 971.138 | 52.0532 | 11.3838
2019-09-10 00:15:00 | 0 | 98.039 | 5.4733 | 135.48 | 0 | 123.109 | 0 | 275.254 | 26.24 | 970.681 | 52.8376 | 11.3506
2019-09-10 00:30:00 | 0 | 99.0129 | 4.4507 | 146.896 | 0 | 105.828 | 0 | 293.412 | 26.29 | 971.136 | 53.6559 | 9.3886
2019-09-10 00:45:00 | 0 | 93.4638 | 3.6837 | 151.886 | 0 | 109.82 | 0 | 299.741 | 26.21 | 970.99 | 54.4742 | 8.0585
2019-09-10 01:00:00 | 0 | 139.392 | 3.1723 | 174.862 | 0 | 124.326 | 0 | 316.925 | 26.21 | 970.99 | 55.1559 | 5.7122
2019-09-10 01:15:00 | 0 | 142.654 | 3.1723 | 195.161 | 0 | 128.513 | 0 | 319.481 | 25.85 | 970.987 | 55.4287 | 3.5544
2019-09-10 01:30:00 | 0 | 120.432 | 3.9393 | 169.215 | 0 | 120.432 | 0 | 306.094 | 25.8 | 971.286 | 55.0196 | 0.87568
2019-09-10 01:45:00 | 0 | 135.839 | 1.3827 | 144.633 | 0 | 115.807 | 0 | 312.008 | 25.93 | 970.99 | 55.2241 | -0.13301
2019-09-10 02:00:00 | 0 | 113.398 | 1.894 | 174.862 | 0 | 115.856 | 0 | 322.693 | 25.8 | 971.138 | 55.3605 | 0.72419
2019-09-10 02:15:00 | 0 | 110.307 | 3.1723 | 153.882 | 0 | 114.59 | 0 | 287.158 | 25.77 | 970.841 | 56.724 | 0.38057
2019-09-10 02:30:00 | 0 | 99.3539 | 4.4507 | 148.016 | 0 | 83.6306 | 0 | 280.172 | 25.59 | 970.693 | 56.8263 | 0.52836
2019-09-10 02:45:00 | 0 | 89.1313 | 3.1723 | 133.144 | 0 | 75.7446 | 0 | 262.648 | 25.61 | 971.138 | 57.3376 | 0.77961
2019-09-10 03:00:00 | 0 | 80.8559 | 2.661 | 137.258 | 0 | 87.4762 | 0 | 272.14 | 25.52 | 970.99 | 58.224 | 0.80178
2019-09-10 03:15:00 | 0 | 66.3008 | 2.4053 | 136.503 | 0 | 84.4095 | 0 | 253.277 | 25.43 | 970.99 | 57.8831 | 1.1417
2019-09-10 03:30:00 | 0 | 97.6502 | 2.9167 | 150.766 | 0 | 83.8253 | 0 | 266.615 | 25.38 | 971.138 | 57.4058 | 0.081287
2019-09-10 03:45:00 | 0 | 106.51 | 2.9167 | 151.959 | 0 | 88.1094 | 0 | 285.601 | 25.54 | 970.841 | 56.9969 | 0.45816
2019-09-10 04:00:00 | 0 | 83.1438 | 3.1723 | 137.501 | 0 | 89.9589 | 0 | 271.873 | 25.54 | 971.138 | 55.0196 | 0.24755
2019-09-10 04:15:00 | 4.18 | 97.5536 | 2.4053 | 149.989 | 0 | 90.7384 | 0 | 281.854 | 25.8 | 970.99 | 55.3268 | 0.16627
2019-09-10 04:30:00 | 0 | 88.9853 | 2.1497 | 134.775 | 0 | 74.1869 | 0 | 265.642 | 25.84 | 971.138 | 56.7922 | 0.19213
2019-09-10 04:45:00 | 0 | 67.6882 | 2.9167 | 125.55 | 0 | 42.0587 | 0 | 249.529 | 25.4 | 971.138 | 58.1899 | 0.18105
2019-09-10 05:00:00 | 0 | 59.6568 | 2.661 | 98.5348 | 0 | 21.7112 | 0 | 243.155 | 25.13 | 971.138 | 59.0768 | 0.77592
2019-09-10 05:15:00 | 0 | 64.0629 | 3.428 | 113.87 | 0 | 50.1891 | 0 | 250.921 | 25.05 | 971.138 | 57.7138 | 0.55792
2019-09-10 05:30:00 | 0 | 70.8531 | 3.1723 | 133.803 | 0 | 74.9665 | 0 | 256.59 | 25.23 | 971.435 | 56.7587 | 0.787
2019-09-10 05:45:00 | 0 | 76.1108 | 3.428 | 133.147 | 0 | 77.8876 | 0 | 253.086 | 25.38 | 971.435 | 55.0545 | 0.75005
2019-09-10 06:00:00 | 0.744 | 70.1469 | 2.661 | 129.835 | 0 | 78.6658 | 0 | 252.427 | 25.73 | 971.583 | 51.0656 | -0.23647
2019-09-10 06:15:00 | 0 | 74.771 | 2.9167 | 132.146 | 0 | 81.294 | 0 | 252.498 | 26 | 972.177 | 50.963 | -0.218
2019-09-10 06:30:00 | 0 | 60.362 | 2.4053 | 117.567 | 0 | 63.5749 | 0 | 242.957 | 26.02 | 972.322 | 50.7244 | -0.13301
2019-09-10 06:45:00 | 0 | 30.5696 | 1.6383 | 63.8473 | 0 | 63.3784 | 0 | 227.471 | 26.05 | 972.918 | 51.882 | -0.13301
2019-09-10 07:00:00 | 0 | 351.568 | 1.894 | 6.1768 | 0 | 30.3722 | 0 | 163.25 | 25.75 | 972.881 | 55.763 | -0.13301
2019-09-10 07:15:00 | 0 | 354.672 | 1.894 | 32.1762 | 0 | 30.3712 | 0 | 172.079 | 25.61 | 973.012 | 51.4667 | -0.13301
2019-09-10 07:30:00 | 0.744 | 356.887 | 2.1497 | 34.4152 | 0 | 30.3956 | 0 | 184.418 | 25.86 | 973.496 | 52.6938 | -0.13301
2019-09-10 07:45:00 | 0 | 331.935 | 2.1497 | 19.2286 | 0 | 30.3706 | 0 | 146.402 | 26.27 | 973.829 | 56.4417 | -0.13301
2019-09-10 08:00:00 | 0 | 316.692 | 1.894 | 1.2199 | 0 | 30.3941 | 0 | 147.371 | 25.92 | 974.104 | 59.3713 | -0.13301
2019-09-10 08:15:00 | 0 | 343.26 | 0 | 41.0749 | 0 | 353.383 | 0 | 148.964 | 25.65 | 974.159 | 57.4577 | -0.13301
2019-09-10 08:30:00 | 0 | 176.647 | 1.894 | 244.265 | 0 | 352.905 | 0 | 80.8782 | 25.92 | 974.374 | 61.9535 | -0.13301
2019-09-10 08:45:00 | 0 | 244.054 | 1.6383 | 306.062 | 0 | 198.377 | 0 | 77.0926 | 25.26 | 974.668 | 63.2569 | -0.13301
2019-09-10 09:00:00 | 0 | 215.9 | 1.3827 | 286.815 | 0 | 149.417 | 0 | 344.145 | 25.63 | 974.994 | 62.5075 | -0.13301
2019-09-10 09:15:00 | 0 | 175.697 | 1.6383 | 226.803 | 0 | 149.415 | 0 | 351.417 | 25.57 | 974.994 | 62.7795 | -0.13301
2019-09-10 09:30:00 | 0 | 202.61 | 1.3827 | 249.895 | 0 | 149.463 | 0 | 24.2859 | 25.63 | 975.112 | 61.6545 | -0.13301
2019-09-10 09:45:00 | 0 | 351.381 | 1.894 | 24.677 | 0 | 141.137 | 0 | 197.105 | 26.19 | 975.587 | 61.0051 | -0.13301
2019-09-10 10:00:00 | 0 | 299.467 | 2.9167 | 9.9772 | 0 | 266.188 | 0 | 158.418 | 26.31 | 975.44 | 65.0087 | -0.14779
2019-09-10 10:15:00 | 0 | 307.105 | 3.428 | 17.1294 | 0 | 297.91 | 0.37567 | 137.059 | 25.15 | 974.993 | 71.2777 | -0.13301
2019-09-10 10:30:00 | 0 | 317.42 | 1.6383 | 1.1159 | 0 | 315.766 | 0 | 138.081 | 25.29 | 975.141 | 70.3918 | -0.15518
2019-09-10 10:45:00 | 0 | 9.8525 | 4.7063 | 8.9006 | 0 | 332.162 | 0 | 193.595 | 25.68 | 975.141 | 71.9591 | -0.033254
2019-09-10 11:00:00 | 0 | 6.2521 | 3.6837 | 68.7209 | 0 | 18.7319 | 0 | 186.783 | 26.09 | 974.549 | 75.9114 | 1.3782
2019-09-10 11:15:00 | 0 | 334.541 | 3.1723 | 34.0093 | 0 | 356.948 | 0 | 158.306 | 24.74 | 974.128 | 81.3677 | 3.0593
2019-09-10 11:30:00 | 0 | 8.5412 | 3.9393 | 61.227 | 0 | 23.1173 | 1.5183 | 154.959 | 24.72 | 973.804 | 79.8184 | 5.2947
2019-09-10 11:45:00 | 0 | 16.9617 | 4.7063 | 59.5033 | 0 | 25.8927 | 2.0297 | 165.115 | 24.65 | 973.807 | 78.868 | 5.5016
2019-09-10 12:00:00 | 2.5313 | 339.673 | 5.729 | 52.8114 | 0 | 16.5481 | 0.37567 | 171.418 | 24.76 | 973.807 | 78.0504 | 8.5979
2019-09-10 12:15:00 | 0 | 8.8094 | 6.2403 | 59.82 | 0 | 1.4845 | 0 | 197.749 | 24.7 | 973.832 | 77.0961 | 10.7705
2019-09-10 12:30:00 | 5.8507 | 4.5507 | 7.5187 | 56.194 | 0 | 9.1014 | 0.63133 | 198.82 | 24.71 | 973.278 | 77.3688 | 12.3962
2019-09-10 12:45:00 | 3.042 | 3.4556 | 6.2403 | 56.2427 | 0 | 12.4597 | 0 | 189.427 | 24.86 | 973.774 | 74.5739 | 11.7644
2019-09-10 13:00:00 | 0 | 11.827 | 7.7743 | 65.2711 | 0 | 30.9303 | 0 | 194.561 | 24.82 | 973.556 | 75.1193 | 11.2767
2019-09-10 13:15:00 | 0 | 6.0352 | 6.496 | 61.0368 | 0 | 9.9288 | 0 | 192.298 | 25 | 973.573 | 74.9148 | 10.6412
2019-09-10 13:30:00 | 5.4567 | 13.9442 | 7.7743 | 67.4613 | 0 | 49.6198 | 2.661 | 197.068 | 25.21 | 973.557 | 73.6537 | 14.1808
2019-09-10 13:45:00 | 4.946 | 7.4953 | 9.564 | 65.6362 | 1.5183 | 0.073006 | 3.9393 | 186.166 | 24.94 | 973.068 | 74.8466 | 19.1541
2019-09-10 14:00:00 | 10.8187 | 16.329 | 8.03 | 65.6848 | 3.428 | 14.2849 | 4.962 | 204.733 | 24.83 | 973.66 | 72.8698 | 20.3984
2019-09-10 14:15:00 | 0.744 | 2.6769 | 6.7517 | 60.6474 | 0 | 25.3575 | 2.541 | 189.475 | 24.98 | 973.515 | 71.711 | 17.2401
2019-09-10 14:30:00 | 2.3927 | 1.3628 | 6.7517 | 61.9615 | 1.894 | 19.1276 | 1.6383 | 192.055 | 25.04 | 973.215 | 71.6428 | 20.1037
2019-09-10 14:45:00 | 0 | 18.3975 | 7.7743 | 71.8904 | 0 | 29.6892 | 0 | 206.242 | 24.96 | 973.66 | 73.2106 | 23.7135
2019-09-10 15:00:00 | 3.1587 | 6.0838 | 10.0753 | 62.7889 | 3.6837 | 6.6436 | 1.3827 | 191.592 | 24.82 | 973.215 | 74.4376 | 21.3082
2019-09-10 15:15:00 | 1.6267 | 14.5282 | 7.0073 | 78.3149 | 0 | 25.5765 | 5.729 | 175.75 | 24.7 | 973.359 | 74.8125 | 18.6504
2019-09-10 15:30:00 | 8.01 | 11.1456 | 9.0527 | 66.4149 | 0 | 18.9086 | 0.37567 | 195.948 | 24.58 | 973.203 | 75.5283 | 20.5692
2019-09-10 15:45:00 | 6.7333 | 0.7301 | 8.2857 | 75.8132 | 0 | 356.969 | 4.7063 | 191.213 | 24.62 | 973.33 | 74.3391 | 22.1875
2019-09-10 16:00:00 | 6.9887 | 5.9386 | 8.2857 | 61.315 | 0 | 36.1914 | 4.4507 | 198.748 | 24.62 | 973.486 | 73.3905 | 15.4795
2019-09-10 16:15:00 | 5.712 | 15.0658 | 9.3083 | 65.8677 | 0 | 46.9985 | 0 | 196.415 | 24.74 | 973.509 | 72.4714 | 17.2087
2019-09-10 16:30:00 | 15.4147 | 11.0497 | 7.7743 | 65.5502 | 0 | 24.2413 | 9.8197 | 186.969 | 24.64 | 973.808 | 73.2886 | 17.8368
2019-09-10 16:45:00 | 9.2867 | 15.6746 | 9.0527 | 67.6222 | 1.654 | 9.5167 | 2.4053 | 196.225 | 24.44 | 973.808 | 73.2912 | 7.9456
2019-09-10 17:00:00 | 9.7973 | 13.6058 | 7.0073 | 66.1862 | 0 | 350.027 | 7.0073 | 199.608 | 24.37 | 973.808 | 73.6322 | 14.9726
2019-09-10 17:15:00 | 5.4567 | 17.9626 | 7.5187 | 72.0034 | 0 | 17.8165 | 0.37567 | 199.706 | 24.17 | 974.103 | 73.7685 | 18.4705
2019-09-10 17:30:00 | 8.2653 | 5.5007 | 8.5413 | 64.5312 | 4.195 | 0.17038 | 2.9167 | 189.824 | 24.03 | 973.956 | 72.9504 | 16.8226
2019-09-10 17:45:00 | 8.01 | 47.8759 | 6.7517 | 66.0647 | 2.9167 | 47.8516 | 8.5413 | 186.1 | 23.96 | 974.105 | 72.3369 | 24.0017
2019-09-10 18:00:00 | 2.276 | 14.1902 | 7.263 | 54.1154 | 0 | 355.949 | 1.127 | 182.745 | 23.75 | 973.956 | 71.3157 | 27.0491
2019-09-10 18:15:00 | 7.244 | 353.684 | 7.5187 | 54.7288 | 0 | 27.433 | 5.729 | 164.233 | 23.5 | 974.401 | 70.7066 | 22.4559
2019-09-10 18:30:00 | 2.7867 | 0.19475 | 8.797 | 65.4937 | 0 | 13.2671 | 2.661 | 188.247 | 23.13 | 974.401 | 70.6434 | 25.875
2019-09-10 18:45:00 | 9.0313 | 11.6363 | 8.03 | 73.3823 | 0 | 9.6888 | 5.729 | 194.871 | 22.93 | 974.105 | 71.599 | 24.4414
2019-09-10 19:00:00 | 10.0527 | 4.6496 | 6.7517 | 60.1394 | 0 | 13.9489 | 7.263 | 189.881 | 22.72 | 974.698 | 71.8718 | 23.1334
2019-09-10 19:15:00 | 4.6907 | 2.1666 | 8.2857 | 61.1618 | 2.0297 | 12.8048 | 5.729 | 185.742 | 22.56 | 974.55 | 71.4627 | 22.0028
2019-09-10 19:30:00 | 1.51 | 26.2449 | 10.331 | 72.6118 | 3.9393 | 13.8041 | 1.007 | 194.499 | 22.44 | 974.55 | 71.6738 | 20.0704
2019-09-10 19:45:00 | 9.2867 | 27.6346 | 8.5413 | 81.262 | 0 | 29.8015 | 6.2403 | 210.802 | 22.43 | 974.698 | 70.7924 | 20.8649
2019-09-10 20:00:00 | 0.372 | 11.8574 | 7.263 | 67.7982 | 2.1497 | 15.8748 | 0.37567 | 195.61 | 22.28 | 974.846 | 70.3836 | 20.0445
2019-09-10 20:15:00 | 3.6693 | 11.127 | 9.3083 | 66.6052 | 1.007 | 52.0556 | 7.263 | 192.689 | 22.2 | 975.291 | 69.7016 | 14.6316
2019-09-10 20:30:00 | 2.276 | 10.9565 | 8.2857 | 66.2156 | 1.894 | 0.36522 | 3.1723 | 190.984 | 22.11 | 975.143 | 69.3265 | 13.9148
2019-09-10 20:45:00 | 6.7333 | 13.0261 | 7.7743 | 58.3513 | 0 | 8.473 | 1.6383 | 197.169 | 21.96 | 975.452 | 69.6675 | 14.5244
2019-09-10 21:00:00 | 1.6267 | 10.6643 | 6.496 | 63.5617 | 0 | 22.1322 | 0.887 | 194.32 | 21.71 | 975.588 | 70.5882 | 13.6007
2019-09-10 21:15:00 | 8.2653 | 11.5652 | 8.5413 | 57.4261 | 0 | 9.4713 | 0.75133 | 197.68 | 21.57 | 975.615 | 70.6564 | 13.2497
2019-09-10 21:30:00 | 3.9247 | 20.3792 | 8.2857 | 64.6333 | 0 | 39.468 | 0.887 | 198.216 | 21.45 | 975.534 | 70.4521 | 17.3214
2019-09-10 21:45:00 | 4.574 | 11.5652 | 8.2857 | 67.5792 | 0 | 24.9322 | 1.2627 | 201.405 | 21.23 | 975.584 | 72.8389 | 16.1502
2019-09-10 22:00:00 | 6.2227 | 13.5139 | 7.263 | 62.5686 | 0 | 13.6843 | 3.1723 | 200.371 | 20.87 | 975.654 | 73.3208 | 15.9248
2019-09-10 22:15:00 | 13.8827 | 22.3048 | 8.2857 | 68.0505 | 0 | 35.0887 | 6.496 | 201.79 | 20.92 | 975.714 | 73.1872 | 13.5084
2019-09-10 22:30:00 | 9.542 | 33.5813 | 6.496 | 84.4696 | 0 | 26.4949 | 3.428 | 215.758 | 20.57 | 975.589 | 75.0338 | 11.1437
2019-09-10 22:45:00 | 0 | 23.1831 | 5.9847 | 79.8918 | 0 | 17.1194 | 0 | 213.567 | 20.35 | 975.144 | 74.7612 | 8.7272
2019-09-10 23:00:00 | 0 | 26.7872 | 5.9847 | 72.294 | 0 | 11.2993 | 6.2403 | 202.657 | 20.52 | 975.441 | 72.2033 | 8.2284
2019-09-10 23:15:00 | 0 | 13.8076 | 6.2403 | 67.7645 | 0 | 11.5185 | 2.661 | 197.568 | 20.44 | 975.441 | 71.794 | 6.9426
2019-09-10 23:30:00 | 0 | 21.4297 | 6.2403 | 71.5147 | 0 | 4.6269 | 0 | 206.286 | 20.53 | 975.441 | 71.3506 | 7.3749
2019-09-10 23:45:00 | 0 | 20.9427 | 6.496 | 72.0018 | 0 | 0.73056 | 0 | 203.972 | 20.37 | 975.441 | 71.8963 | 7.6742