## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-09-11 00:00:00 | 0 | 25.9105 | 5.729 | 73.2681 | 0 | 14.4651 | 4.075 | 205.628 | 20.1 | 975.441 | 72.1009 | 7.8146
2019-09-11 00:15:00 | 0 | 10.1548 | 4.962 | 51.4487 | 0 | 8.6693 | 0 | 195.644 | 20.29 | 975.738 | 71.4188 | 7.8072
2019-09-11 00:30:00 | 0 | 19.8225 | 6.2403 | 69.4204 | 0 | 8.8154 | 4.4507 | 205.92 | 19.91 | 975.293 | 72.9536 | 5.7713
2019-09-11 00:45:00 | 0 | 26.2027 | 4.195 | 78.3333 | 0 | 45.1729 | 0 | 205.823 | 19.69 | 975.441 | 72.4079 | 3.7835
2019-09-11 01:00:00 | 0 | 17.9239 | 4.4507 | 73.2236 | 0 | 21.6255 | 0 | 210.118 | 20.13 | 975.589 | 70.3988 | 3.7059
2019-09-11 01:15:00 | 0 | 23.9634 | 5.2177 | 74.0271 | 0 | 17.9238 | 0 | 210.824 | 19.76 | 975.589 | 72.6498 | 4.3304
2019-09-11 01:30:00 | 0 | 23.8677 | 4.7063 | 72.9381 | 0 | 21.5053 | 0 | 211.692 | 19.56 | 975.589 | 71.2908 | 4.0606
2019-09-11 01:45:00 | 0.372 | 15.3436 | 5.4733 | 65.7296 | 0 | 15.0027 | 0 | 200.588 | 19.47 | 975.589 | 72.8944 | 5.3575
2019-09-11 02:00:00 | 0 | 17.5605 | 5.2177 | 68.0703 | 0 | 15.1005 | 2.4053 | 201.032 | 19.56 | 975.471 | 72.5214 | 7.3453
2019-09-11 02:15:00 | 0 | 27.8634 | 5.4733 | 79.2755 | 0 | 25.7444 | 0 | 211.776 | 19.28 | 975.609 | 74.6034 | 7.8109
2019-09-11 02:30:00 | 0 | 30.1042 | 5.2177 | 81.906 | 0 | 23.6498 | 3.6837 | 220.91 | 18.9 | 975.322 | 72.3861 | 3.536
2019-09-11 02:45:00 | 0 | 62.5952 | 1.3827 | 135.246 | 0 | 24.4536 | 0 | 249.772 | 19.23 | 975.422 | 74.5693 | 0.83134
2019-09-11 03:00:00 | 0 | 34.6831 | 2.9167 | 76.3528 | 0 | 24.3074 | 0 | 238.495 | 19.66 | 975.51 | 71.738 | 0.82395
2019-09-11 03:15:00 | 0 | 356.915 | 3.428 | 35.532 | 0 | 321.842 | 0 | 192.413 | 19.36 | 975.718 | 74.3305 | 1.2932
2019-09-11 03:30:00 | 0 | 7.1607 | 3.6837 | 42.0594 | 0 | 344.542 | 0 | 197.431 | 19.32 | 975.502 | 76.8207 | 5.2467
2019-09-11 03:45:00 | 0 | 24.2587 | 4.195 | 71.8713 | 0 | 30.3234 | 0 | 210.534 | 18.8 | 975.521 | 79.2086 | 4.4634
2019-09-11 04:00:00 | 0 | 38.2878 | 3.6837 | 88.4335 | 0 | 33.9524 | 0 | 220.082 | 18.51 | 975.442 | 79.5156 | 1.4816
2019-09-11 04:15:00 | 0 | 31.2733 | 2.9167 | 64.6132 | 0 | 352.384 | 0 | 214.821 | 18.94 | 975.584 | 75.6609 | 1.4742
2019-09-11 04:30:00 | 0 | 42.8668 | 3.6837 | 98.0785 | 0 | 22.4807 | 0 | 229.63 | 19.47 | 975.607 | 75.5927 | 0.49141
2019-09-11 04:45:00 | 0 | 53.0964 | 3.1723 | 97.2504 | 0 | 38.9698 | 0 | 239.567 | 19.66 | 975.674 | 72.4203 | -0.099761
2019-09-11 05:00:00 | 0 | 59.5264 | 3.6837 | 102.706 | 0 | 34.3909 | 0 | 249.358 | 19.83 | 975.743 | 71.2946 | -0.19583
2019-09-11 05:15:00 | 0 | 50.0729 | 3.9393 | 102.162 | 0 | 39.6004 | 0 | 244.787 | 19.99 | 975.738 | 71.5627 | -0.12193
2019-09-11 05:30:00 | 0 | 71.1112 | 3.9393 | 119.544 | 0 | 61.857 | 0 | 262.454 | 20.15 | 976.035 | 69.2393 | -0.13671
2019-09-11 05:45:00 | 0 | 110.095 | 1.894 | 148.126 | 0 | 85.1346 | 0 | 289.74 | 20.81 | 976.332 | 65.2798 | -0.12193
2019-09-11 06:00:00 | 0 | 92.9272 | 1.894 | 88.9751 | 0 | 23.9624 | 0 | 284.772 | 20.99 | 976.628 | 70.0546 | 0.055423
2019-09-11 06:15:00 | 0 | 1.1202 | 2.9167 | 54.03 | 0 | 1.2663 | 0 | 200.368 | 19.29 | 976.332 | 79.3316 | 1.441
2019-09-11 06:30:00 | 0 | 8.6693 | 4.195 | 61.6766 | 0 | 5.6497 | 0 | 196.107 | 18.78 | 976.332 | 81.3779 | 1.6922
2019-09-11 06:45:00 | 0 | 6.3319 | 3.6837 | 66.0171 | 0 | 28.0554 | 0 | 189.569 | 18.7 | 976.777 | 81.8611 | 1.8585
2019-09-11 07:00:00 | 0 | 8.7681 | 3.1723 | 55.8444 | 0 | 2.533 | 0 | 193.094 | 18.6 | 976.628 | 85.3482 | 2.0396
2019-09-11 07:15:00 | 0 | 11.1063 | 3.9393 | 68.5582 | 0 | 12.1293 | 0 | 199.134 | 18.87 | 976.954 | 82.8238 | 3.5212
2019-09-11 07:30:00 | 0 | 10.4244 | 4.4507 | 63.7851 | 0 | 17.8774 | 0 | 195.239 | 18.84 | 976.691 | 85.5876 | 5.3169
2019-09-11 07:45:00 | 0 | 16.9519 | 5.4733 | 67.8038 | 0 | 11.1551 | 2.2853 | 203.228 | 18.69 | 976.842 | 88.0778 | 6.2628
2019-09-11 08:00:00 | 0 | 9.8399 | 4.4507 | 63.298 | 0 | 29.8119 | 0 | 202.253 | 18.31 | 976.979 | 90.9432 | 0.41013
2019-09-11 08:15:00 | 0 | 179.188 | 0 | 309.149 | 0 | 354.771 | 0 | 212.166 | 18.46 | 977.453 | 89.374 | 1.4742
2019-09-11 08:30:00 | 0 | 19.7772 | 3.1723 | 66.2207 | 0 | 339.963 | 0 | 192.779 | 18.61 | 977.601 | 89.6469 | 1.6959
2019-09-11 08:45:00 | 0 | 24.3561 | 3.428 | 75.5247 | 0 | 14.9303 | 0 | 216.916 | 18.68 | 977.857 | 89.9539 | 0.20691
2019-09-11 09:00:00 | 0 | 56.1128 | 2.1497 | 85.4063 | 0 | 39.6491 | 0 | 231.61 | 18.86 | 977.965 | 85.9912 | -0.018474
2019-09-11 09:15:00 | 0 | 11.4942 | 2.9167 | 68.8362 | 0 | 4.286 | 0 | 208.356 | 19.13 | 977.816 | 86.4941 | 0.41382
2019-09-11 09:30:00 | 0 | 11.4454 | 4.195 | 64.0631 | 0 | 18.7023 | 0 | 197.056 | 19.23 | 977.816 | 87.0396 | 0.53206
2019-09-11 09:45:00 | 0 | 330.806 | 3.9393 | 13.363 | 0 | 337.488 | 0 | 160.537 | 18.98 | 978.112 | 89.5316 | 4.3451
2019-09-11 10:00:00 | 0 | 340.631 | 5.2177 | 23.2547 | 0 | 328.304 | 0 | 163.105 | 18.6 | 977.816 | 93.6001 | 5.1211
2019-09-11 10:15:00 | 0 | 356.915 | 3.428 | 44.9821 | 0 | 351.849 | 0 | 165.914 | 18.21 | 977.869 | 95.2413 | 3.5471
2019-09-11 10:30:00 | 0 | 0.12178 | 3.9393 | 47.5152 | 0 | 5.3096 | 0 | 177.532 | 18.29 | 977.96 | 93.9451 | 4.5003
2019-09-11 10:45:00 | 0 | 8.8656 | 4.4507 | 56.7705 | 0 | 0.12178 | 0 | 187.64 | 18.34 | 978.179 | 93.5357 | 5.6088
2019-09-11 11:00:00 | 0 | 9.3528 | 5.9847 | 61.5443 | 0 | 10.0834 | 0 | 189.807 | 18.38 | 978.031 | 95.8554 | 3.754
2019-09-11 11:15:00 | 0 | 15.0034 | 4.962 | 63.8825 | 0 | 8.1349 | 0 | 198.259 | 18.4 | 978.18 | 96.4012 | 1.9028
2019-09-11 11:30:00 | 0 | 17.7069 | 3.9393 | 73.3814 | 0 | 15.3931 | 0 | 196.189 | 18.37 | 978.128 | 96.9469 | 1.9583
2019-09-11 11:45:00 | 0 | 19.8746 | 4.4507 | 67.4872 | 0 | 0.048712 | 0 | 200.475 | 18.42 | 977.986 | 97.2198 | 1.5888
2019-09-11 12:00:00 | 0 | 15.8315 | 4.962 | 63.1031 | 0 | 9.2553 | 1.2627 | 196.14 | 18.45 | 977.907 | 96.367 | 2.5162
2019-09-11 12:15:00 | 0 | 18.4132 | 5.2177 | 68.5102 | 0 | 14.8572 | 3.308 | 203.715 | 18.52 | 977.755 | 96.674 | 2.5014
2019-09-11 12:30:00 | 0 | 30.0551 | 4.4507 | 77.7642 | 0 | 38.5309 | 0 | 214.599 | 18.58 | 977.688 | 95.9223 | 1.6405
2019-09-11 12:45:00 | 0 | 17.4627 | 4.4507 | 71.7219 | 0 | 35.0959 | 0 | 207.458 | 18.79 | 977.682 | 92.6114 | 2.0359
2019-09-11 13:00:00 | 0 | 18.752 | 3.6837 | 70.6913 | 0 | 9.0837 | 0 | 209.413 | 18.98 | 977.519 | 93.0811 | 0.47294
2019-09-11 13:15:00 | 0 | 28.5405 | 3.428 | 75.9469 | 0 | 25.6183 | 0 | 216.952 | 19.23 | 977.519 | 92.0192 | 1.3782
2019-09-11 13:30:00 | 0 | 32.5586 | 4.962 | 86.2721 | 0 | 95.4111 | 0 | 214.833 | 19.5 | 977.37 | 85.9482 | 0.46186
2019-09-11 13:45:00 | 0 | 30.9265 | 3.6837 | 91.5302 | 0 | 35.4072 | 0 | 216.461 | 19.85 | 977.519 | 78.2388 | 0.048033
2019-09-11 14:00:00 | 0 | 33.9951 | 3.6837 | 83.4465 | 0 | 61.1961 | 0 | 219.41 | 19.81 | 977.222 | 81.3774 | 0.044338
2019-09-11 14:15:00 | 0 | 16.1697 | 2.661 | 61.7983 | 0 | 3.6772 | 0 | 212.739 | 19.71 | 977.37 | 84.2428 | 0.036949
2019-09-11 14:30:00 | 0 | 3.8963 | 2.661 | 57.488 | 0 | 7.5978 | 0 | 194.377 | 19.72 | 976.925 | 85.1296 | 0.27711
2019-09-11 14:45:00 | 0 | 14.8788 | 3.9393 | 60.482 | 0 | 16.5834 | 0 | 198.514 | 19.76 | 977.074 | 83.1501 | 1.053
2019-09-11 15:00:00 | 0 | 9.91 | 4.4507 | 63.3704 | 0 | 354.008 | 0 | 197.664 | 19.88 | 976.609 | 84.0956 | 3.6727
2019-09-11 15:15:00 | 0 | 19.966 | 4.4507 | 73.84 | 0 | 14.4144 | 0 | 211.152 | 19.7 | 976.307 | 83.4813 | 3.0593
2019-09-11 15:30:00 | 0 | 14.1713 | 5.729 | 64.2483 | 0 | 72.0494 | 0.37567 | 192.651 | 19.76 | 976.01 | 83.8241 | 4.0865
2019-09-11 15:45:00 | 0 | 8.6683 | 4.962 | 66.7315 | 0 | 0.34089 | 0 | 197.471 | 19.89 | 976.004 | 82.5278 | 3.7133
2019-09-11 16:00:00 | 0 | 3.5552 | 3.9393 | 56.9482 | 0 | 9.2776 | 0.63133 | 190.934 | 19.96 | 976.035 | 80.3505 | 3.6136
2019-09-11 16:15:00 | 0 | 0.097405 | 3.428 | 53.1506 | 0 | 356.938 | 4.4507 | 183.875 | 19.9 | 975.589 | 78.4418 | 2.2243
2019-09-11 16:30:00 | 0 | 10.6662 | 4.962 | 67.3749 | 0 | 5.8445 | 0 | 196.959 | 19.9 | 975.738 | 78.7858 | 1.7514
2019-09-11 16:45:00 | 0 | 10.0817 | 3.9393 | 60.5563 | 0 | 6.9647 | 0 | 195.449 | 19.71 | 975.738 | 82.8103 | 0.31037
2019-09-11 17:00:00 | 0 | 349.603 | 3.1723 | 29.2162 | 0 | 339.765 | 0 | 167.52 | 19.42 | 975.738 | 89.5649 | 1.2969
2019-09-11 17:15:00 | 0 | 4.7981 | 3.6837 | 60.4721 | 0 | 5.5532 | 0 | 190.634 | 18.97 | 975.448 | 91.4202 | 2.5494
2019-09-11 17:30:00 | 0 | 8.5246 | 3.1723 | 66.7078 | 0 | 15.4905 | 0 | 191.731 | 18.84 | 975.542 | 92.0348 | 1.8991
2019-09-11 17:45:00 | 0 | 18.9247 | 2.661 | 66.7078 | 0 | 8.3298 | 0 | 206.954 | 18.75 | 975.7 | 90.875 | 1.2969
2019-09-11 18:00:00 | 0 | 14.1996 | 3.1723 | 64.7593 | 0 | 353.968 | 0 | 196.944 | 18.68 | 975.862 | 92.9899 | 1.6996
2019-09-11 18:15:00 | 0 | 12.7139 | 3.1723 | 69.1921 | 0 | 20.2643 | 0 | 198.746 | 18.52 | 975.739 | 96.367 | 1.4927
2019-09-11 18:30:00 | 0 | 30.299 | 3.428 | 90.7717 | 0 | 38.8237 | 0 | 210.12 | 18.34 | 975.727 | 98.0385 | 0.14779
2019-09-11 18:45:00 | 0 | 46.7638 | 3.9393 | 96.9094 | 0 | 39.0916 | 0 | 231.091 | 18.22 | 975.739 | 98.0385 | -0.13671
2019-09-11 19:00:00 | 0 | 55.7755 | 2.9167 | 112.692 | 0 | 65.2744 | 0 | 240.785 | 18.3 | 975.739 | 94.6614 | -0.18474
2019-09-11 19:15:00 | 0 | 49.9788 | 2.9167 | 94.6199 | 0 | 27.7173 | 0 | 236.766 | 18.52 | 976.036 | 91.3525 | 0
2019-09-11 19:30:00 | 0 | 49.9788 | 2.9167 | 94.6199 | 0 | 27.7173 | 0 | 236.766 | 18.52 | 976.036 | 91.3525 | 0
2019-09-11 19:45:00 | 0 | 42.7937 | 3.6837 | 89.4564 | 0 | 13.7369 | 0 | 229.41 | 18.42 | 975.887 | 94.6273 | -0.099761
2019-09-11 20:00:00 | 0 | 42.4771 | 3.6837 | 101.147 | 0 | 32.6372 | 0 | 237.862 | 18.25 | 976.036 | 93.8087 | 0.088676
2019-09-11 20:15:00 | 0 | 37.6302 | 3.6837 | 73.3327 | 0 | 24.9894 | 0 | 232.017 | 18.45 | 976.184 | 94.9344 | 1.2821
2019-09-11 20:30:00 | 0 | 53.9732 | 4.7063 | 90.5769 | 0 | 17.7313 | 0 | 244.122 | 18.13 | 975.887 | 96.5035 | 3.9276
2019-09-11 20:45:00 | 0 | 54.7282 | 5.729 | 88.2387 | 0 | 33.7089 | 2.541 | 242.392 | 18.18 | 975.887 | 96.0601 | 5.2984
2019-09-11 21:00:00 | 0 | 35.3408 | 4.195 | 73.625 | 0 | 24.3074 | 2.541 | 236.108 | 18.3 | 975.739 | 93.4675 | 5.4573
2019-09-11 21:15:00 | 0 | 51.8542 | 7.0073 | 103.364 | 0 | 28.8864 | 4.4507 | 236.108 | 18.48 | 975.591 | 90.0563 | 3.3032
2019-09-11 21:30:00 | 0 | 42.0874 | 5.9847 | 89.2616 | 0 | 21.1411 | 4.962 | 228.168 | 18.77 | 975.294 | 87.6002 | 1.9583
2019-09-11 21:45:00 | 0 | 74.2376 | 4.195 | 118.416 | 0 | 53.9733 | 0 | 249.943 | 18.73 | 975.442 | 85.1784 | 0.56901
2019-09-11 22:00:00 | 0 | 43.4026 | 3.428 | 93.9867 | 0 | 50.6608 | 0 | 285.064 | 18.89 | 975.739 | 83.3703 | -0.17735
2019-09-11 22:15:00 | 0 | 59.5264 | 1.894 | 104.509 | 0 | 50.6608 | 0 | 249.748 | 19.06 | 975.739 | 81.9376 | -0.13301
2019-09-11 22:30:00 | 0 | 95.2569 | 0.75133 | 126.186 | 0 | 50.6608 | 0 | 285.016 | 19.06 | 975.739 | 82.0741 | -0.13301
2019-09-11 22:45:00 | 0 | 109.992 | 0.75133 | 104.46 | 0 | 50.6608 | 0 | 300.019 | 19.38 | 975.739 | 80.5731 | -0.13301
2019-09-11 23:00:00 | 0 | 122.95 | 0 | 192.483 | 0 | 50.7095 | 0 | 303.526 | 19.19 | 975.737 | 79.9591 | -0.13301
2019-09-11 23:15:00 | 0 | 96.3042 | 1.3827 | 152.344 | 0 | 50.9287 | 0 | 291.665 | 19.45 | 975.729 | 79.3451 | -0.13301
2019-09-11 23:30:00 | 0 | 83.5903 | 0.75133 | 142.309 | 0 | 50.953 | 0 | 274.226 | 19.09 | 975.25 | 82.4834 | -0.13301
2019-09-11 23:45:00 | 0 | 93.9173 | 3.1723 | 128.329 | 0 | 51.1479 | 0 | 266.602 | 18.74 | 974.993 | 85.4171 | -0.12193