## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-09-12 00:00:00 | 0 | 108.921 | 4.7063 | 168.224 | 0 | 102.101 | 0 | 281.021 | 18.57 | 974.7 | 83.8479 | -0.13301
2019-09-12 00:15:00 | 0 | 76.3321 | 3.6837 | 149.032 | 0 | 111.161 | 0 | 264.776 | 18.51 | 974.551 | 84.3937 | 0.070202
2019-09-12 00:30:00 | 0 | 100.128 | 3.428 | 156.972 | 0 | 104.439 | 0 | 271.206 | 18.45 | 974.552 | 81.1189 | 0.073897
2019-09-12 00:45:00 | 0 | 91.3601 | 3.6837 | 117.515 | 0 | 49.3456 | 0 | 292.567 | 18.43 | 974.255 | 79.0042 | 0.32884
2019-09-12 01:00:00 | 0 | 81.0586 | 4.195 | 130.426 | 0 | 50.6616 | 0 | 264.804 | 18.36 | 974.106 | 83.8493 | -0.014779
2019-09-12 01:15:00 | 0 | 123.828 | 3.6837 | 138.56 | 0 | 46.7156 | 0 | 275.228 | 18.45 | 974.403 | 80.0283 | -0.13301
2019-09-12 01:30:00 | 0 | 114.231 | 0.37567 | 186.981 | 0 | 46.6668 | 0 | 309.667 | 18.68 | 974.255 | 79.1753 | -0.066507
2019-09-12 01:45:00 | 0 | 53.6809 | 1.6383 | 97.1043 | 0 | 44.3038 | 0 | 261.073 | 18.67 | 974.255 | 81.3918 | -0.11084
2019-09-12 02:00:00 | 0 | 77.5256 | 1.127 | 83.4162 | 0 | 44.3282 | 0 | 277.952 | 18.18 | 974.106 | 86.918 | -0.055423
2019-09-12 02:15:00 | 0 | 60.7442 | 2.4053 | 101.318 | 0 | 60.6468 | 0 | 256.08 | 18.03 | 973.958 | 91.0797 | -0.022169
2019-09-12 02:30:00 | 0 | 37.3136 | 1.6383 | 66.7566 | 0 | 11.009 | 0 | 232.065 | 17.65 | 973.809 | 97.9021 | 0.42121
2019-09-12 02:45:00 | 0 | 63.7161 | 2.9167 | 82.3939 | 0 | 6.5275 | 0 | 267.822 | 17.26 | 973.661 | 98.858 | 0.27711
2019-09-12 03:00:00 | 0 | 6.3326 | 1.894 | 54.9687 | 0 | 4.9687 | 0 | 200.258 | 17.3 | 973.661 | 99.0285 | -0.12193
2019-09-12 03:15:00 | 0 | 348.731 | 0.75133 | 48.392 | 0 | 355.551 | 0 | 183.962 | 17.29 | 973.809 | 99.0961 | -0.13301
2019-09-12 03:30:00 | 0 | 0.097425 | 0 | 0.14273 | 0 | 307.134 | 0 | 181.26 | 17.31 | 973.958 | 99.1312 | -0.17366
2019-09-12 03:45:00 | 0 | 331.483 | 0.37567 | 39.9197 | 0 | 348.752 | 0 | 160.029 | 17.12 | 973.958 | 99.4091 | -0.066507
2019-09-12 04:00:00 | 0 | 336.012 | 1.6383 | 33.3917 | 0 | 344.05 | 0 | 154.329 | 16.99 | 974.106 | 99.5451 | -0.11084
2019-09-12 04:15:00 | 0 | 332.833 | 1.894 | 36.824 | 0 | 347.764 | 0 | 159.39 | 16.84 | 973.958 | 99.5756 | -0.13301
2019-09-12 04:30:00 | 0 | 4.7739 | 0.37567 | 66.2474 | 0 | 15.1012 | 0 | 179.948 | 16.83 | 973.958 | 99.6786 | -0.13301
2019-09-12 04:45:00 | 0 | 356.839 | 0 | 48.2013 | 0 | 5.31 | 0 | 174.108 | 16.86 | 973.958 | 99.7502 | -0.13301
2019-09-12 05:00:00 | 0 | 44.725 | 0 | 88.987 | 0 | 4.5797 | 0 | 251.64 | 16.67 | 974.403 | 99.9309 | 0
2019-09-12 05:15:00 | 0 | 44.725 | 0 | 88.987 | 0 | 4.5797 | 0 | 251.64 | 16.67 | 974.403 | 99.9309 | 0
2019-09-12 05:30:00 | 0 | 44.725 | 0 | 88.987 | 0 | 4.5797 | 0 | 251.64 | 16.67 | 974.403 | 99.9309 | 0
2019-09-12 05:45:00 | 0 | 44.725 | 0 | 88.987 | 0 | 4.5797 | 0 | 251.64 | 16.67 | 974.403 | 99.9309 | 0
2019-09-12 06:00:00 | 0 | 44.725 | 0 | 88.987 | 0 | 4.5797 | 0 | 251.64 | 16.67 | 974.403 | 99.9309 | 0
2019-09-12 06:15:00 | 0 | 44.725 | 0 | 88.987 | 0 | 4.5797 | 0 | 251.64 | 16.67 | 974.403 | 99.9309 | 0
2019-09-12 06:30:00 | 0 | 44.725 | 0 | 88.987 | 0 | 4.5797 | 0 | 251.64 | 16.67 | 974.403 | 99.9309 | 0
2019-09-12 06:45:00 | 0 | 81.0641 | 0 | 89.4414 | 0 | 11.7894 | 0 | 256.151 | 16.75 | 974.255 | 99.8891 | 0
2019-09-12 07:00:00 | 0 | 57.0219 | 1.894 | 85.6159 | 0 | 31.2756 | 0 | 246.6 | 16.87 | 974.255 | 99.9562 | 0
2019-09-12 07:15:00 | 0 | 39.3617 | 0.75133 | 72.4611 | 0 | 11.1557 | 0 | 233.15 | 16.8 | 974.403 | 99.9204 | 0
2019-09-12 07:30:00 | 0 | 95.2157 | 1.3827 | 73.1453 | 0 | 11.0099 | 0 | 243.654 | 16.98 | 974.403 | 99.8886 | 0
2019-09-12 07:45:00 | 0 | 37.4123 | 0.75133 | 73.7012 | 0 | 7.0149 | 0 | 238.041 | 17.04 | 974.552 | 99.9182 | 0
2019-09-12 08:00:00 | 0 | 23.0911 | 1.894 | 62.329 | 0 | 1.4615 | 0 | 215.712 | 17.1 | 974.552 | 99.9211 | 0
2019-09-12 08:15:00 | 0 | 32.0538 | 1.127 | 61.4012 | 0 | 2.1434 | 0 | 231.757 | 17.23 | 974.552 | 99.9184 | 0
2019-09-12 08:30:00 | 0 | 3.3369 | 2.1497 | 52.5825 | 0 | 350.832 | 0 | 196.46 | 17.2 | 974.552 | 99.9506 | 0
2019-09-12 08:45:00 | 0 | 48.0801 | 3.1723 | 88.777 | 0 | 35.6826 | 0 | 242.69 | 17.21 | 974.552 | 99.9171 | 0
2019-09-12 09:00:00 | 0 | 129.746 | 1.3827 | 162.332 | 0 | 117.982 | 0 | 320.968 | 17.26 | 974.997 | 99.9498 | 0
2019-09-12 09:15:00 | 0 | 88.0962 | 0.75133 | 187.441 | 0 | 69.8534 | 0 | 301.285 | 17.53 | 975.145 | 99.9148 | 0
2019-09-12 09:30:00 | 0 | 72.1429 | 1.3827 | 157.556 | 0 | 44.6204 | 0 | 299.897 | 17.6 | 975.133 | 99.9489 | 0
2019-09-12 09:45:00 | 0 | 139.561 | 1.6383 | 178.99 | 0 | 102.466 | 0 | 299.946 | 17.57 | 975.138 | 99.9148 | 0
2019-09-12 10:00:00 | 0 | 119.783 | 0 | 154.585 | 0 | 132.692 | 0 | 283.116 | 17.7 | 975.14 | 99.9489 | 0
2019-09-12 10:15:00 | 0 | 164.648 | 0 | 202.956 | 0 | 178.945 | 0 | 320.99 | 17.85 | 975.262 | 99.9489 | 0
2019-09-12 10:30:00 | 0 | 251.938 | 0.75133 | 330.701 | 0 | 305.959 | 0 | 54.8495 | 18.37 | 975.296 | 99.6751 | 0
2019-09-12 10:45:00 | 0 | 130.47 | 1.6383 | 162.249 | 0 | 180.982 | 0 | 313.255 | 18.26 | 974.996 | 99.535 | 0
2019-09-12 11:00:00 | 0 | 135.878 | 1.6383 | 129.005 | 0 | 85.9252 | 0 | 301.372 | 18 | 974.848 | 93.1229 | 0
2019-09-12 11:15:00 | 0 | 96.5812 | 0.75133 | 156.749 | 0 | 150.254 | 0 | 310.589 | 18.41 | 975.145 | 90.2467 | 0
2019-09-12 11:30:00 | 0 | 104.738 | 1.127 | 139.944 | 0 | 99.4292 | 0 | 294.903 | 18.84 | 975.441 | 86.6303 | 0
2019-09-12 11:45:00 | 0 | 107.879 | 0 | 107.263 | 0 | 25.4235 | 0 | 310.829 | 19.15 | 975.441 | 94.9523 | 0
2019-09-12 12:00:00 | 0 | 115.618 | 0 | 146.852 | 0 | 41.2017 | 0 | 293.721 | 18.9 | 975.145 | 95.7666 | 0
2019-09-12 12:15:00 | 0 | 39.0348 | 0.75133 | 91.9663 | 0 | 0.34091 | 0 | 252.058 | 18.82 | 974.848 | 97.3702 | 0
2019-09-12 12:30:00 | 0 | 69.1102 | 0 | 90.2646 | 0 | 4.6755 | 0 | 284.379 | 18.68 | 974.551 | 98.1231 | 0
2019-09-12 12:45:00 | 0 | 52.5026 | 1.6383 | 37.8601 | 0 | 304.106 | 0 | 311.071 | 18.29 | 974.848 | 96.2479 | 0
2019-09-12 13:00:00 | 0 | 35.4552 | 0.75133 | 86.0735 | 0 | 14.8055 | 0 | 221.254 | 19.01 | 974.403 | 96.1426 | 0
2019-09-12 13:15:00 | 0 | 18.9921 | 0 | 68.5324 | 0 | 0.048698 | 0 | 242.758 | 18.93 | 974.549 | 97.0544 | 0
2019-09-12 13:30:00 | 0 | 102.991 | 0.75133 | 78.3653 | 0 | 25.2244 | 0 | 264.685 | 18.95 | 974.27 | 96.7776 | 0
2019-09-12 13:45:00 | 0 | 89.9896 | 0.37567 | 45.8365 | 0 | 347.346 | 0 | 283.944 | 18.97 | 973.908 | 95.8227 | 0
2019-09-12 14:00:00 | 0 | 42.5603 | 1.3827 | 99.5243 | 0 | 26.1984 | 0 | 247.351 | 18.98 | 973.601 | 95.2095 | 0
2019-09-12 14:15:00 | 0 | 22.5974 | 0 | 97.8812 | 0 | 0.0487 | 0 | 233.961 | 18.76 | 973.512 | 95.4243 | 0
2019-09-12 14:30:00 | 0 | 32.9237 | 1.6383 | 88.9016 | 0 | 37.0149 | 0 | 228.762 | 18.96 | 973.067 | 95.4976 | 0
2019-09-12 14:45:00 | 0 | 32.9237 | 1.6383 | 88.9016 | 0 | 37.0149 | 0 | 228.762 | 18.96 | 973.067 | 95.4976 | 0
2019-09-12 15:00:00 | 0 | 32.9237 | 1.6383 | 88.9016 | 0 | 37.0149 | 0 | 228.762 | 18.96 | 973.067 | 95.4976 | 0
2019-09-12 15:15:00 | 0 | 32.9237 | 1.6383 | 88.9016 | 0 | 37.0149 | 0 | 228.762 | 18.96 | 973.067 | 95.4976 | 0
2019-09-12 15:30:00 | 0 | 32.9237 | 1.6383 | 88.9016 | 0 | 37.0149 | 0 | 228.762 | 18.96 | 973.067 | 95.4976 | 0
2019-09-12 15:45:00 | 0 | 32.9237 | 1.6383 | 88.9016 | 0 | 37.0149 | 0 | 228.762 | 18.96 | 973.067 | 95.4976 | 0
2019-09-12 16:00:00 | 0 | 110.485 | 3.1723 | 193.372 | 0 | 120.494 | 0 | 306.592 | 19.05 | 971.88 | 94.4749 | 0
2019-09-12 16:15:00 | 0 | 110.485 | 3.1723 | 193.372 | 0 | 120.494 | 0 | 306.592 | 19.05 | 971.88 | 94.4749 | 0
2019-09-12 16:30:00 | 0 | 110.485 | 3.1723 | 193.372 | 0 | 120.494 | 0 | 306.592 | 19.05 | 971.88 | 94.4749 | 0
2019-09-12 16:45:00 | 0 | 110.485 | 3.1723 | 193.372 | 0 | 120.494 | 0 | 306.592 | 19.05 | 971.88 | 94.4749 | 0
2019-09-12 17:00:00 | 0 | 110.485 | 3.1723 | 193.372 | 0 | 120.494 | 0 | 306.592 | 19.05 | 971.88 | 94.4749 | 0
2019-09-12 17:15:00 | 0 | 110.485 | 3.1723 | 193.372 | 0 | 120.494 | 0 | 306.592 | 19.05 | 971.88 | 94.4749 | 0
2019-09-12 17:30:00 | 0 | 126.265 | 3.6837 | 175.157 | 0 | 126.387 | 0 | 307.566 | 20.12 | 972.029 | 81.071 | 0
2019-09-12 17:45:00 | 0 | 142.313 | 2.4053 | 186.456 | 0 | 141.558 | 0 | 302.987 | 20.47 | 971.88 | 79.6044 | 0
2019-09-12 18:00:00 | 0 | 134.545 | 3.9393 | 194.614 | 0 | 120.031 | 0.37567 | 335.546 | 20.55 | 971.583 | 79.2633 | 0
2019-09-12 18:15:00 | 0 | 127.775 | 3.9393 | 177.543 | 0 | 122.734 | 0.37567 | 302.062 | 20.57 | 971.435 | 78.4448 | 0
2019-09-12 18:30:00 | 0 | 113.87 | 2.1497 | 161.13 | 0 | 122.637 | 0 | 325.294 | 20.72 | 971.287 | 78.4789 | 0
2019-09-12 18:45:00 | 0 | 118.886 | 4.7063 | 160.74 | 0 | 130.113 | 1.5183 | 295.097 | 20.72 | 971.287 | 78.7176 | 0
2019-09-12 19:00:00 | 0 | 136.663 | 4.962 | 194.151 | 0 | 131.842 | 2.1497 | 300.235 | 20.86 | 971.583 | 77.9672 | 0
2019-09-12 19:15:00 | 0 | 139.22 | 3.1723 | 163.102 | 0 | 107.441 | 1.2627 | 307.833 | 21.01 | 971.88 | 76.8076 | 0
2019-09-12 19:30:00 | 0 | 115.716 | 3.1723 | 174.516 | 0 | 130.132 | 0 | 306.823 | 21.1 | 971.88 | 76.5319 | 0
2019-09-12 19:45:00 | 0 | 130.739 | 4.195 | 180.505 | 0 | 127.16 | 0 | 304.677 | 21.11 | 972.029 | 76.4629 | 0
2019-09-12 20:00:00 | 0 | 103.247 | 2.9167 | 159.806 | 0 | 163.369 | 0 | 331.413 | 21.05 | 971.88 | 76.8719 | 0
2019-09-12 20:15:00 | 0 | 116.226 | 3.9393 | 170.398 | 0 | 136.242 | 0 | 279.643 | 21.05 | 971.88 | 78.6451 | 0
2019-09-12 20:30:00 | 0 | 127.428 | 4.4507 | 195.262 | 0 | 121.194 | 0 | 305.92 | 21.09 | 972.029 | 76.2585 | 0
2019-09-12 20:45:00 | 0 | 143.786 | 4.962 | 190.87 | 0 | 131.977 | 0.37567 | 313.457 | 21.34 | 972.029 | 76.426 | 0
2019-09-12 21:00:00 | 0 | 109.156 | 5.2177 | 187.647 | 0 | 139.276 | 0 | 307.21 | 21.32 | 972.025 | 75.5703 | 0
2019-09-12 21:15:00 | 0 | 126.591 | 8.03 | 187.503 | 0 | 128.661 | 0 | 312.399 | 21.35 | 971.87 | 75.3321 | 0
2019-09-12 21:30:00 | 0 | 125.247 | 5.9847 | 176.343 | 0 | 135.619 | 5.729 | 309.732 | 21.47 | 971.833 | 72.6351 | 0
2019-09-12 21:45:00 | 0 | 154.998 | 3.6837 | 199.812 | 0 | 149.35 | 0 | 341.454 | 21.62 | 971.78 | 70.6565 | 0
2019-09-12 22:00:00 | 0 | 139.075 | 6.496 | 200.348 | 0 | 149.35 | 0 | 323.875 | 22.03 | 971.693 | 67.9966 | 0
2019-09-12 22:15:00 | 0 | 142.581 | 5.2177 | 198.181 | 0 | 146.769 | 4.7063 | 316.911 | 22.14 | 971.624 | 69.0537 | 0
2019-09-12 22:30:00 | 0 | 130.967 | 4.962 | 183.353 | 0 | 140.487 | 0 | 303.666 | 22.16 | 971.585 | 67.451 | 0
2019-09-12 22:45:00 | 0 | 128.362 | 5.729 | 178.63 | 0 | 111.61 | 0 | 310.532 | 22.19 | 971.303 | 68.5422 | 0
2019-09-12 23:00:00 | 0 | 107.593 | 4.962 | 167.478 | 0 | 102.991 | 0 | 284.529 | 22.25 | 970.99 | 67.8602 | 0
2019-09-12 23:15:00 | 0 | 126.39 | 6.2403 | 174.32 | 0 | 122.153 | 1.5183 | 327.43 | 22.41 | 971.138 | 68.0648 | 0
2019-09-12 23:30:00 | 0 | 133.45 | 6.2403 | 183.84 | 0 | 130.577 | 0 | 319.809 | 22.25 | 970.99 | 69.2583 | 0
2019-09-12 23:45:00 | 1.904 | 128.021 | 7.0073 | 177.558 | 0 | 126.341 | 6.2403 | 306.393 | 22.26 | 970.693 | 68.815 | 0